## A000188
SN: | A000188
Item #: | RGB26HA
Item Description: | 3-Wavelength WDM: 473, 640, and 532 nm
Fiber Type: | Thorlabs 460HP
Port Name: | Channel 1
Test Wavelength (nm): | 473
Insertion Loss (dB): | -0.06
Isolation Channel 2 (dB): | -21.55
Isolation Channel 3 (dB): | -16.6
Port Name: | Channel 2
Test Wavelength (nm): | 532
Insertion Loss (dB): | -0.15
Isolation Channel 1 (dB): | -60
Isolation Channel 3 (dB): | -24.46
Port Name: | Channel 3
Test Wavelength (nm): | 640
Insertion Loss (dB): | -0.17
Isolation Channel 1 (dB): | -60
Isolation Channel 2 (dB): | -23.8
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 | Insertion Loss (dB) - Channel 2 | Insertion Loss (dB) - Channel 3
458 | -0.867 | -15.985 | -8.082
458.395 | -0.86 | -16.31 | -8.315
458.79 | -0.82 | -18 | -9.527
459.184 | -0.822 | -18.072 | -10.076
459.579 | -0.798 | -17.324 | -9.761
459.974 | -0.731 | -16.101 | -8.588
460.369 | -0.79 | -17.088 | -9.527
460.764 | -0.752 | -17.144 | -9.85
461.158 | -0.649 | -16.967 | -10.03
461.553 | -0.517 | -17.576 | -10.776
461.948 | -0.404 | -20.13 | -13.479
462.343 | -0.351 | -21.006 | -14.548
462.737 | -0.34 | -19.863 | -13.61
463.132 | -0.224 | -18.471 | -12.232
463.527 | -0.174 | -19.48 | -13.421
463.922 | -0.128 | -20.666 | -14.816
464.317 | -0.046 | -20.478 | -14.768
464.711 | -0.156 | -21.072 | -15.533
465.106 | -0.173 | -21.993 | -16.533
465.501 | -0.118 | -22.894 | -17.49
465.896 | -0.089 | -22.955 | -17.788
466.291 | -0.091 | -22.746 | -17.722
466.685 | -0.117 | -25.051 | -20.138
467.08 | -0.161 | -31.606 | -26.983
467.475 | -0.172 | -47.283 | -45.136
467.87 | -0.119 | -56.134 | -55.442
468.265 | -0.039 | -57.327 | -56.582
468.659 | 0.019 | -50.131 | -47.313
469.054 | 0.056 | -53.098 | -51.126
469.449 | 0.062 | -57.134 | -56.315
469.844 | 0.042 | -59.843 | -59.798
470.238 | 0.041 | -60 | -60
470.633 | 0.045 | -60 | -60
471.028 | 0.033 | -60 | -60
471.423 | -0.004 | -60 | -60
471.818 | 0.024 | -60 | -60
472.212 | 0.061 | -60 | -60
472.607 | 0.083 | -60 | -60
473.002 | 0.055 | -60 | -60
473.397 | 0.022 | -60 | -60
473.792 | -0.003 | -60 | -60
474.186 | -0.015 | -60 | -60
474.581 | -0.01 | -60 | -60
474.976 | -0.005 | -60 | -60
475.371 | -0.006 | -60 | -60
475.766 | -0.022 | -60 | -60
476.16 | -0.04 | -60 | -60
476.555 | -0.047 | -59.923 | -59.916
476.95 | -0.043 | -58.481 | -58.336
477.345 | -0.039 | -50.813 | -49.975
477.739 | -0.056 | -40.274 | -38.834
478.134 | -0.083 | -30.714 | -28.969
478.529 | -0.114 | -24.904 | -23.257
478.924 | -0.139 | -22.506 | -21
479.319 | -0.158 | -20.911 | -19.528
479.713 | -0.168 | -19.738 | -18.455
480.108 | -0.167 | -19.03 | -17.828
480.503 | -0.172 | -18.304 | -17.183
480.898 | -0.189 | -17.447 | -16.41
481.293 | -0.219 | -16.512 | -15.563
481.687 | -0.251 | -15.984 | -15.138
482.082 | -0.277 | -15.728 | -14.991
482.477 | -0.297 | -15.528 | -14.895
482.872 | -0.313 | -15.147 | -14.601
483.267 | -0.338 | -14.627 | -14.173
483.661 | -0.373 | -14.105 | -13.759
484.056 | -0.412 | -13.673 | -13.449
484.451 | -0.427 | -13.49 | -13.384
484.846 | -0.436 | -13.353 | -13.35
485.24 | -0.466 | -13.107 | -13.198
485.635 | -0.526 | -12.664 | -12.847
486.03 | -0.564 | -12.183 | -12.461
486.425 | -0.577 | -11.811 | -12.182
486.82 | -0.581 | -11.555 | -12.024
487.214 | -0.605 | -11.36 | -11.944
487.609 | -0.651 | -11.07 | -11.776
488.004 | -0.706 | -10.719 | -11.552
488.399 | -0.763 | -10.369 | -11.328
488.794 | -0.821 | -10.142 | -11.217
489.188 | -0.867 | -9.919 | -11.088
489.583 | -0.903 | -9.658 | -10.918
489.978 | -0.936 | -9.343 | -10.715
490.373 | -0.969 | -9.032 | -10.545
490.768 | -1.007 | -8.729 | -10.382
491.162 | -1.059 | -8.458 | -10.242
491.557 | -1.13 | -8.283 | -10.197
491.952 | -1.201 | -8.152 | -10.156
492.347 | -1.273 | -8.031 | -10.101
492.741 | -1.342 | -7.894 | -10.034
493.136 | -1.385 | -7.702 | -9.942
493.531 | -1.425 | -7.495 | -9.862
493.926 | -1.475 | -7.286 | -9.793
494.321 | -1.544 | -7.071 | -9.708
494.715 | -1.617 | -6.857 | -9.602
495.11 | -1.693 | -6.672 | -9.511
495.505 | -1.771 | -6.518 | -9.444
495.9 | -1.835 | -6.345 | -9.373
496.295 | -1.904 | -6.182 | -9.331
496.689 | -1.985 | -6.048 | -9.314
497.084 | -2.078 | -5.951 | -9.31
497.479 | -2.16 | -5.856 | -9.338
497.874 | -2.234 | -5.718 | -9.335
498.269 | -2.301 | -5.534 | -9.289
498.663 | -2.356 | -5.34 | -9.234
499.058 | -2.406 | -5.163 | -9.172
499.453 | -2.49 | -5.009 | -9.131
499.848 | -2.624 | -4.872 | -9.122
500.242 | -2.743 | -4.722 | -9.092
500.637 | -2.843 | -4.556 | -9.033
501.032 | -2.935 | -4.404 | -8.983
501.427 | -3.034 | -4.3 | -8.991
501.822 | -3.144 | -4.189 | -8.997
502.216 | -3.254 | -4.069 | -8.989
502.611 | -3.354 | -3.96 | -8.982
503.006 | -3.432 | -3.889 | -9.02
503.401 | -3.535 | -3.812 | -9.093
503.796 | -3.661 | -3.707 | -9.167
504.19 | -3.796 | -3.577 | -9.215
504.585 | -3.929 | -3.477 | -9.255
504.98 | -4.054 | -3.386 | -9.271
505.375 | -4.175 | -3.281 | -9.261
505.77 | -4.304 | -3.16 | -9.254
506.164 | -4.449 | -3.04 | -9.283
506.559 | -4.617 | -2.925 | -9.336
506.954 | -4.804 | -2.814 | -9.397
507.349 | -4.971 | -2.711 | -9.457
507.743 | -5.114 | -2.617 | -9.522
508.138 | -5.237 | -2.533 | -9.589
508.533 | -5.355 | -2.459 | -9.652
508.928 | -5.497 | -2.384 | -9.703
509.323 | -5.655 | -2.299 | -9.746
509.717 | -5.813 | -2.204 | -9.794
510.112 | -5.961 | -2.122 | -9.869
510.507 | -6.14 | -2.055 | -9.957
510.902 | -6.347 | -1.998 | -10.041
511.297 | -6.551 | -1.941 | -10.114
511.691 | -6.735 | -1.88 | -10.187
512.086 | -6.911 | -1.814 | -10.274
512.481 | -7.086 | -1.744 | -10.376
512.876 | -7.248 | -1.672 | -10.48
513.271 | -7.408 | -1.598 | -10.585
513.665 | -7.572 | -1.523 | -10.7
514.06 | -7.75 | -1.451 | -10.825
514.455 | -7.963 | -1.389 | -10.949
514.85 | -8.2 | -1.336 | -11.063
515.245 | -8.449 | -1.29 | -11.17
515.639 | -8.694 | -1.245 | -11.279
516.034 | -8.941 | -1.198 | -11.4
516.429 | -9.21 | -1.147 | -11.532
516.824 | -9.515 | -1.089 | -11.671
517.218 | -9.852 | -1.015 | -11.812
517.613 | -10.184 | -0.935 | -11.95
518.008 | -10.501 | -0.858 | -12.084
518.403 | -10.823 | -0.799 | -12.225
518.798 | -11.178 | -0.764 | -12.395
519.192 | -11.565 | -0.744 | -12.598
519.587 | -11.956 | -0.728 | -12.821
519.982 | -12.308 | -0.702 | -13.038
520.377 | -12.61 | -0.659 | -13.228
520.772 | -12.894 | -0.607 | -13.401
521.166 | -13.199 | -0.556 | -13.58
521.561 | -13.566 | -0.519 | -13.791
521.956 | -14.001 | -0.494 | -14.027
522.351 | -14.52 | -0.474 | -14.27
522.745 | -15.163 | -0.451 | -14.498
523.14 | -15.967 | -0.425 | -14.706
523.535 | -16.947 | -0.397 | -14.908
523.93 | -18.083 | -0.369 | -15.129
524.325 | -19.383 | -0.343 | -15.393
524.719 | -21.379 | -0.318 | -15.691
525.114 | -25.706 | -0.293 | -16.008
525.509 | -34.091 | -0.27 | -16.339
525.904 | -44.971 | -0.251 | -16.69
526.299 | -54.018 | -0.236 | -17.065
526.693 | -58.865 | -0.226 | -17.459
527.088 | -60 | -0.22 | -17.861
527.483 | -60 | -0.212 | -18.267
527.878 | -60 | -0.201 | -18.68
528.273 | -60 | -0.188 | -19.095
528.667 | -60 | -0.179 | -19.49
529.062 | -60 | -0.174 | -19.863
529.457 | -60 | -0.171 | -20.24
529.852 | -59.853 | -0.171 | -20.658
530.247 | -58.495 | -0.172 | -21.134
530.641 | -53.775 | -0.174 | -21.652
531.036 | -44.031 | -0.173 | -22.197
531.431 | -31.813 | -0.166 | -22.788
531.826 | -23.741 | -0.158 | -23.474
532.22 | -20.845 | -0.153 | -24.284
532.615 | -20.249 | -0.154 | -25.175
533.01 | -19.826 | -0.163 | -26.037
533.405 | -18.988 | -0.175 | -26.866
533.8 | -17.922 | -0.193 | -27.851
534.194 | -16.971 | -0.212 | -29.669
534.589 | -16.312 | -0.23 | -33.405
534.984 | -15.877 | -0.244 | -39.931
535.379 | -15.531 | -0.253 | -48.474
535.774 | -15.149 | -0.265 | -55.665
536.168 | -14.69 | -0.284 | -59.046
536.563 | -14.169 | -0.309 | -58.522
536.958 | -13.623 | -0.335 | -53.371
537.353 | -13.117 | -0.356 | -43.486
537.747 | -12.697 | -0.374 | -33.83
538.142 | -12.366 | -0.399 | -28.414
538.537 | -12.083 | -0.437 | -26.414
538.932 | -11.794 | -0.479 | -25.541
539.327 | -11.467 | -0.522 | -24.827
539.721 | -11.078 | -0.562 | -24.176
540.116 | -10.637 | -0.598 | -23.586
540.511 | -10.194 | -0.63 | -23.083
540.906 | -9.794 | -0.66 | -22.638
541.301 | -9.454 | -0.693 | -22.146
541.695 | -9.163 | -0.733 | -21.544
542.09 | -8.904 | -0.782 | -20.891
542.485 | -8.67 | -0.834 | -20.283
542.88 | -8.453 | -0.883 | -19.764
543.275 | -8.245 | -0.926 | -19.31
543.669 | -8.036 | -0.969 | -18.903
544.064 | -7.831 | -1.016 | -18.563
544.459 | -7.638 | -1.066 | -18.287
544.854 | -7.456 | -1.116 | -18.036
545.248 | -7.269 | -1.166 | -17.774
545.643 | -7.071 | -1.218 | -17.495
546.038 | -6.87 | -1.277 | -17.224
546.433 | -6.674 | -1.34 | -16.973
546.828 | -6.484 | -1.404 | -16.731
547.222 | -6.297 | -1.468 | -16.481
547.617 | -6.116 | -1.533 | -16.227
548.012 | -5.944 | -1.602 | -15.992
548.407 | -5.78 | -1.676 | -15.787
548.802 | -5.627 | -1.75 | -15.598
549.196 | -5.482 | -1.821 | -15.404
549.591 | -5.342 | -1.893 | -15.197
549.986 | -5.201 | -1.966 | -14.985
550.381 | -5.058 | -2.04 | -14.789
550.776 | -4.914 | -2.118 | -14.619
551.17 | -4.768 | -2.199 | -14.474
551.565 | -4.627 | -2.285 | -14.342
551.96 | -4.494 | -2.37 | -14.216
552.355 | -4.366 | -2.451 | -14.09
552.75 | -4.24 | -2.532 | -13.958
553.144 | -4.111 | -2.619 | -13.824
553.539 | -3.977 | -2.714 | -13.699
553.934 | -3.845 | -2.817 | -13.589
554.329 | -3.721 | -2.923 | -13.495
554.723 | -3.607 | -3.027 | -13.41
555.118 | -3.502 | -3.127 | -13.331
555.513 | -3.402 | -3.221 | -13.256
555.908 | -3.302 | -3.31 | -13.181
556.303 | -3.202 | -3.4 | -13.106
556.697 | -3.103 | -3.495 | -13.036
557.092 | -3.008 | -3.6 | -12.975
557.487 | -2.915 | -3.712 | -12.926
557.882 | -2.823 | -3.826 | -12.887
558.277 | -2.735 | -3.942 | -12.854
558.671 | -2.65 | -4.059 | -12.82
559.066 | -2.57 | -4.179 | -12.778
559.461 | -2.491 | -4.3 | -12.73
559.856 | -2.41 | -4.424 | -12.686
560.25 | -2.327 | -4.552 | -12.655
560.645 | -2.244 | -4.687 | -12.636
561.04 | -2.163 | -4.83 | -12.626
561.435 | -2.083 | -4.976 | -12.621
561.83 | -2.005 | -5.122 | -12.617
562.224 | -1.928 | -5.268 | -12.615
562.619 | -1.855 | -5.414 | -12.616
563.014 | -1.789 | -5.562 | -12.619
563.409 | -1.726 | -5.712 | -12.624
563.804 | -1.665 | -5.866 | -12.635
564.198 | -1.605 | -6.022 | -12.653
564.593 | -1.547 | -6.18 | -12.678
564.988 | -1.491 | -6.338 | -12.711
565.383 | -1.437 | -6.501 | -12.751
565.778 | -1.384 | -6.673 | -12.799
566.172 | -1.328 | -6.852 | -12.855
566.567 | -1.272 | -7.033 | -12.913
566.962 | -1.219 | -7.215 | -12.97
567.357 | -1.168 | -7.397 | -13.023
567.752 | -1.119 | -7.584 | -13.078
568.146 | -1.072 | -7.781 | -13.142
568.541 | -1.026 | -7.992 | -13.221
568.936 | -0.977 | -8.217 | -13.314
569.331 | -0.927 | -8.46 | -13.419
569.725 | -0.874 | -8.726 | -13.531
570.12 | -0.821 | -9.006 | -13.649
570.515 | -0.77 | -9.288 | -13.769
570.91 | -0.724 | -9.561 | -13.893
571.305 | -0.684 | -9.818 | -14.021
571.699 | -0.649 | -10.063 | -14.152
572.094 | -0.617 | -10.306 | -14.286
572.489 | -0.588 | -10.555 | -14.425
572.884 | -0.559 | -10.812 | -14.572
573.279 | -0.53 | -11.074 | -14.726
573.673 | -0.502 | -11.339 | -14.885
574.068 | -0.474 | -11.609 | -15.049
574.463 | -0.447 | -11.887 | -15.22
574.858 | -0.423 | -12.174 | -15.401
575.253 | -0.401 | -12.474 | -15.596
575.647 | -0.38 | -12.789 | -15.802
576.042 | -0.36 | -13.116 | -16.019
576.437 | -0.341 | -13.456 | -16.249
576.832 | -0.323 | -13.812 | -16.494
577.226 | -0.303 | -14.179 | -16.75
577.621 | -0.283 | -14.547 | -17.009
578.016 | -0.265 | -14.914 | -17.269
578.411 | -0.25 | -15.28 | -17.531
578.806 | -0.235 | -15.648 | -17.798
579.2 | -0.221 | -16.02 | -18.073
579.595 | -0.207 | -16.4 | -18.36
579.99 | -0.195 | -16.786 | -18.652
580.385 | -0.185 | -17.17 | -18.943
580.78 | -0.177 | -17.549 | -19.226
581.174 | -0.17 | -17.923 | -19.502
581.569 | -0.163 | -18.293 | -19.772
581.964 | -0.156 | -18.655 | -20.033
582.359 | -0.148 | -18.999 | -20.278
582.753 | -0.142 | -19.314 | -20.494
583.148 | -0.135 | -19.599 | -20.684
583.543 | -0.131 | -19.854 | -20.845
583.938 | -0.128 | -20.07 | -20.966
584.333 | -0.124 | -20.244 | -21.043
584.727 | -0.121 | -20.376 | -21.076
585.122 | -0.12 | -20.461 | -21.06
585.517 | -0.122 | -20.49 | -20.99
585.912 | -0.125 | -20.468 | -20.874
586.307 | -0.129 | -20.396 | -20.708
586.701 | -0.132 | -20.267 | -20.482
587.096 | -0.136 | -20.088 | -20.202
587.491 | -0.14 | -19.871 | -19.886
587.886 | -0.143 | -19.622 | -19.539
588.281 | -0.149 | -19.35 | -19.163
588.675 | -0.157 | -19.063 | -18.774
589.07 | -0.167 | -18.77 | -18.38
589.465 | -0.178 | -18.474 | -17.983
589.86 | -0.188 | -18.173 | -17.578
590.255 | -0.2 | -17.859 | -17.159
590.649 | -0.215 | -17.525 | -16.72
591.044 | -0.233 | -17.174 | -16.26
591.439 | -0.246 | -16.816 | -15.793
591.834 | -0.257 | -16.467 | -15.335
592.228 | -0.272 | -16.143 | -14.904
592.623 | -0.291 | -15.855 | -14.511
593.018 | -0.312 | -15.599 | -14.151
593.413 | -0.334 | -15.372 | -13.823
593.808 | -0.355 | -15.172 | -13.524
594.202 | -0.377 | -14.985 | -13.238
594.597 | -0.398 | -14.8 | -12.956
594.992 | -0.42 | -14.617 | -12.677
595.387 | -0.441 | -14.442 | -12.404
595.782 | -0.463 | -14.271 | -12.134
596.176 | -0.486 | -14.103 | -11.866
596.571 | -0.514 | -13.938 | -11.601
596.966 | -0.542 | -13.78 | -11.342
597.361 | -0.571 | -13.629 | -11.092
597.755 | -0.599 | -13.487 | -10.852
598.15 | -0.629 | -13.351 | -10.619
598.545 | -0.661 | -13.222 | -10.39
598.94 | -0.696 | -13.097 | -10.167
599.335 | -0.73 | -12.973 | -9.951
599.729 | -0.762 | -12.855 | -9.736
600.124 | -0.794 | -12.746 | -9.522
600.519 | -0.829 | -12.644 | -9.313
600.914 | -0.864 | -12.546 | -9.116
601.309 | -0.9 | -12.454 | -8.923
601.703 | -0.936 | -12.366 | -8.732
602.098 | -0.973 | -12.28 | -8.543
602.493 | -1.014 | -12.195 | -8.353
602.888 | -1.06 | -12.109 | -8.157
603.283 | -1.11 | -12.019 | -7.959
603.677 | -1.165 | -11.924 | -7.758
604.072 | -1.222 | -11.831 | -7.559
604.467 | -1.279 | -11.743 | -7.36
604.862 | -1.336 | -11.663 | -7.164
605.257 | -1.392 | -11.595 | -6.979
605.651 | -1.446 | -11.536 | -6.802
606.046 | -1.502 | -11.486 | -6.632
606.441 | -1.561 | -11.44 | -6.465
606.836 | -1.621 | -11.397 | -6.301
607.23 | -1.685 | -11.357 | -6.139
607.625 | -1.751 | -11.321 | -5.981
608.02 | -1.817 | -11.29 | -5.824
608.415 | -1.886 | -11.265 | -5.667
608.81 | -1.957 | -11.244 | -5.513
609.204 | -2.029 | -11.228 | -5.365
609.599 | -2.104 | -11.217 | -5.222
609.994 | -2.178 | -11.209 | -5.08
610.389 | -2.255 | -11.204 | -4.938
610.784 | -2.335 | -11.201 | -4.8
611.178 | -2.416 | -11.204 | -4.664
611.573 | -2.5 | -11.21 | -4.528
611.968 | -2.587 | -11.219 | -4.395
612.363 | -2.676 | -11.234 | -4.267
612.758 | -2.765 | -11.253 | -4.144
613.152 | -2.857 | -11.274 | -4.024
613.547 | -2.953 | -11.297 | -3.907
613.942 | -3.049 | -11.325 | -3.792
614.337 | -3.144 | -11.358 | -3.68
614.731 | -3.239 | -11.394 | -3.571
615.126 | -3.339 | -11.434 | -3.463
615.521 | -3.444 | -11.479 | -3.356
615.916 | -3.551 | -11.529 | -3.251
616.311 | -3.659 | -11.582 | -3.148
616.705 | -3.769 | -11.639 | -3.048
617.1 | -3.882 | -11.698 | -2.948
617.495 | -3.996 | -11.761 | -2.85
617.89 | -4.11 | -11.828 | -2.757
618.285 | -4.227 | -11.899 | -2.67
618.679 | -4.348 | -11.974 | -2.584
619.074 | -4.473 | -12.052 | -2.498
619.469 | -4.601 | -12.134 | -2.413
619.864 | -4.729 | -12.218 | -2.327
620.259 | -4.859 | -12.307 | -2.243
620.653 | -4.991 | -12.403 | -2.161
621.048 | -5.129 | -12.505 | -2.084
621.443 | -5.269 | -12.611 | -2.009
621.838 | -5.413 | -12.722 | -1.935
622.232 | -5.562 | -12.839 | -1.859
622.627 | -5.716 | -12.959 | -1.789
623.022 | -5.873 | -13.081 | -1.721
623.417 | -6.029 | -13.206 | -1.654
623.812 | -6.187 | -13.337 | -1.586
624.206 | -6.346 | -13.472 | -1.521
624.601 | -6.508 | -13.613 | -1.46
624.996 | -6.676 | -13.759 | -1.403
625.391 | -6.855 | -13.917 | -1.344
625.786 | -7.038 | -14.081 | -1.284
626.18 | -7.223 | -14.251 | -1.226
626.575 | -7.41 | -14.427 | -1.173
626.97 | -7.601 | -14.607 | -1.119
627.365 | -7.795 | -14.791 | -1.066
627.76 | -7.99 | -14.979 | -1.015
628.154 | -8.188 | -15.173 | -0.967
628.549 | -8.39 | -15.377 | -0.922
628.944 | -8.597 | -15.591 | -0.879
629.339 | -8.812 | -15.813 | -0.836
629.733 | -9.032 | -16.043 | -0.793
630.128 | -9.258 | -16.283 | -0.751
630.523 | -9.491 | -16.535 | -0.71
630.918 | -9.736 | -16.795 | -0.672
631.313 | -9.987 | -17.061 | -0.634
631.707 | -10.24 | -17.334 | -0.597
632.102 | -10.494 | -17.617 | -0.566
632.497 | -10.757 | -17.909 | -0.532
632.892 | -11.02 | -18.206 | -0.501
633.287 | -11.285 | -18.51 | -0.472
633.681 | -11.56 | -18.836 | -0.444
634.076 | -11.85 | -19.179 | -0.416
634.471 | -12.147 | -19.531 | -0.39
634.866 | -12.451 | -19.887 | -0.367
635.26 | -12.76 | -20.258 | -0.34
635.655 | -13.073 | -20.636 | -0.316
636.05 | -13.389 | -21.014 | -0.296
636.445 | -13.706 | -21.39 | -0.281
636.84 | -14.028 | -21.78 | -0.262
637.234 | -14.355 | -22.178 | -0.244
637.629 | -14.687 | -22.58 | -0.229
638.024 | -15.031 | -22.98 | -0.215
638.419 | -15.38 | -23.367 | -0.201
638.814 | -15.723 | -23.729 | -0.189
639.208 | -16.046 | -24.042 | -0.181
639.603 | -16.339 | -24.276 | -0.174
639.998 | -16.6 | -24.452 | -0.167
640.393 | -16.825 | -24.57 | -0.16
640.788 | -17.006 | -24.597 | -0.153
641.182 | -17.146 | -24.547 | -0.15
641.577 | -17.25 | -24.441 | -0.15
641.972 | -17.316 | -24.279 | -0.15
642.367 | -17.312 | -24.041 | -0.156
642.762 | -17.26 | -23.758 | -0.159
643.156 | -17.159 | -23.435 | -0.161
643.551 | -16.997 | -23.068 | -0.168
643.946 | -16.791 | -22.667 | -0.18
644.341 | -16.556 | -22.254 | -0.191
644.735 | -16.294 | -21.838 | -0.199
645.13 | -16.003 | -21.434 | -0.212
645.525 | -15.701 | -21.032 | -0.226
645.92 | -15.389 | -20.633 | -0.241
646.315 | -15.063 | -20.244 | -0.255
646.709 | -14.732 | -19.866 | -0.274
647.104 | -14.401 | -19.494 | -0.295
647.499 | -14.071 | -19.128 | -0.317
647.894 | -13.741 | -18.774 | -0.338
648.289 | -13.414 | -18.437 | -0.364
648.683 | -13.091 | -18.111 | -0.389
649.078 | -12.774 | -17.794 | -0.412
649.473 | -12.468 | -17.489 | -0.439
649.868 | -12.168 | -17.194 | -0.47
650.263 | -11.871 | -16.909 | -0.503
650.657 | -11.576 | -16.628 | -0.534
651.052 | -11.286 | -16.357 | -0.567
651.447 | -11.004 | -16.097 | -0.601
651.842 | -10.731 | -15.85 | -0.637
652.236 | -10.464 | -15.613 | -0.678
652.631 | -10.202 | -15.382 | -0.717
653.026 | -9.947 | -15.159 | -0.755
653.421 | -9.706 | -14.949 | -0.796
653.816 | -9.474 | -14.746 | -0.838
654.21 | -9.249 | -14.552 | -0.881
654.605 | -9.029 | -14.366 | -0.924
655 | -8.816 | -14.189 | -0.967