## A011353
SN: | A011353
Item #: | RGB50HA
Item Description: | 3-Wavelength WDM: 488, 561, and 640 nm
Port Name: | Channel 1
Test Wavelength (nm): | 488
Insertion Loss (dB): | -0.2
Isolation Channel 2 (dB): | -25.87
Isolation Channel 3 (dB): | -31.64
Port Name: | Channel 2
Test Wavelength (nm): | 561
Insertion Loss (dB): | -0.09
Isolation Channel 1 (dB): | -20.71
Isolation Channel 3 (dB): | -18.93
Port Name: | Channel 3
Test Wavelength (nm): | 640
Insertion Loss (dB): | -0.29
Isolation Channel 1 (dB): | -24.11
Isolation Channel 2 (dB): | -25.8
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 | Insertion Loss (dB) - Channel 2 | Insertion Loss (dB) - Channel 3
473 | -0.494 | -12.161 | -16.783
473.365 | -0.491 | -12.226 | -16.829
473.729 | -0.48 | -12.451 | -16.989
474.094 | -0.467 | -12.687 | -17.162
474.459 | -0.455 | -12.933 | -17.381
474.824 | -0.445 | -13.189 | -17.682
475.188 | -0.424 | -13.454 | -18.169
475.553 | -0.397 | -13.717 | -18.709
475.918 | -0.364 | -13.973 | -19.281
476.283 | -0.338 | -14.229 | -19.755
476.647 | -0.319 | -14.5 | -20.181
477.012 | -0.31 | -14.79 | -20.56
477.377 | -0.299 | -15.125 | -20.866
477.741 | -0.285 | -15.475 | -21.162
478.106 | -0.269 | -15.835 | -21.445
478.471 | -0.256 | -16.186 | -21.635
478.836 | -0.242 | -16.532 | -21.803
479.2 | -0.228 | -16.874 | -21.975
479.565 | -0.208 | -17.225 | -22.28
479.93 | -0.188 | -17.581 | -22.694
480.295 | -0.17 | -17.946 | -23.179
480.659 | -0.166 | -18.342 | -23.709
481.024 | -0.171 | -18.772 | -24.287
481.389 | -0.181 | -19.207 | -24.891
481.754 | -0.191 | -19.604 | -25.498
482.118 | -0.197 | -19.911 | -25.915
482.483 | -0.2 | -20.156 | -26.21
482.848 | -0.2 | -20.337 | -26.382
483.212 | -0.198 | -20.526 | -26.425
483.577 | -0.197 | -20.764 | -26.372
483.942 | -0.198 | -21.089 | -26.204
484.307 | -0.207 | -21.434 | -26.021
484.671 | -0.216 | -21.718 | -25.9
485.036 | -0.223 | -21.902 | -25.876
485.401 | -0.223 | -21.997 | -25.844
485.766 | -0.218 | -22.054 | -25.746
486.13 | -0.208 | -22.076 | -25.569
486.495 | -0.205 | -22.055 | -25.357
486.86 | -0.206 | -21.967 | -25.127
487.224 | -0.209 | -21.774 | -24.872
487.589 | -0.208 | -21.212 | -24.54
487.954 | -0.203 | -20.76 | -24.163
488.319 | -0.197 | -20.383 | -23.757
488.683 | -0.19 | -19.775 | -23.374
489.048 | -0.181 | -19.116 | -23.011
489.413 | -0.17 | -18.501 | -22.66
489.778 | -0.156 | -18.152 | -22.304
490.142 | -0.153 | -17.912 | -21.957
490.507 | -0.159 | -17.678 | -21.628
490.872 | -0.173 | -17.329 | -21.332
491.236 | -0.187 | -17.007 | -21.03
491.601 | -0.197 | -16.725 | -20.713
491.966 | -0.2 | -16.483 | -20.373
492.331 | -0.218 | -16.112 | -20.064
492.695 | -0.24 | -15.689 | -19.779
493.06 | -0.256 | -15.283 | -19.514
493.425 | -0.262 | -15.056 | -19.24
493.79 | -0.272 | -14.838 | -18.972
494.154 | -0.293 | -14.529 | -18.722
494.519 | -0.332 | -14.066 | -18.495
494.884 | -0.356 | -13.698 | -18.254
495.249 | -0.354 | -13.49 | -17.988
495.613 | -0.338 | -13.248 | -17.724
495.978 | -0.323 | -12.978 | -17.467
496.343 | -0.315 | -12.682 | -17.223
496.707 | -0.324 | -12.357 | -17.023
497.072 | -0.329 | -12.112 | -16.836
497.437 | -0.33 | -11.925 | -16.652
497.802 | -0.329 | -11.659 | -16.457
498.166 | -0.33 | -11.396 | -16.257
498.531 | -0.345 | -11.146 | -16.069
498.896 | -0.415 | -10.903 | -15.934
499.261 | -0.515 | -10.671 | -15.831
499.625 | -0.609 | -10.442 | -15.726
499.99 | -0.652 | -10.216 | -15.58
500.355 | -0.685 | -10.062 | -15.43
500.719 | -0.718 | -9.96 | -15.283
501.084 | -0.749 | -9.882 | -15.135
501.449 | -0.765 | -9.74 | -14.987
501.814 | -0.777 | -9.592 | -14.841
502.178 | -0.797 | -9.493 | -14.703
502.543 | -0.827 | -9.405 | -14.577
502.908 | -0.866 | -9.264 | -14.46
503.273 | -0.908 | -9.029 | -14.347
503.637 | -0.935 | -8.749 | -14.22
504.002 | -0.956 | -8.486 | -14.085
504.367 | -0.986 | -8.276 | -13.955
504.731 | -1.066 | -8.164 | -13.878
505.096 | -1.152 | -8.068 | -13.808
505.461 | -1.218 | -7.944 | -13.719
505.826 | -1.228 | -7.725 | -13.577
506.19 | -1.243 | -7.519 | -13.444
506.555 | -1.284 | -7.376 | -13.342
506.92 | -1.357 | -7.371 | -13.279
507.285 | -1.425 | -7.389 | -13.209
507.649 | -1.477 | -7.368 | -13.124
508.014 | -1.505 | -7.224 | -13.022
508.379 | -1.525 | -6.988 | -12.912
508.743 | -1.545 | -6.736 | -12.805
509.108 | -1.58 | -6.566 | -12.713
509.473 | -1.624 | -6.462 | -12.63
509.838 | -1.664 | -6.382 | -12.542
510.202 | -1.683 | -6.294 | -12.433
510.567 | -1.695 | -6.212 | -12.322
510.932 | -1.725 | -6.163 | -12.228
511.297 | -1.789 | -6.16 | -12.167
511.661 | -1.871 | -6.115 | -12.125
512.026 | -1.952 | -6.007 | -12.084
512.391 | -2.017 | -5.84 | -12.03
512.755 | -2.049 | -5.682 | -11.945
513.12 | -2.075 | -5.578 | -11.855
513.485 | -2.116 | -5.54 | -11.783
513.85 | -2.188 | -5.524 | -11.748
514.214 | -2.26 | -5.488 | -11.713
514.579 | -2.305 | -5.409 | -11.649
514.944 | -2.295 | -5.266 | -11.529
515.309 | -2.28 | -5.089 | -11.406
515.673 | -2.299 | -4.899 | -11.317
516.038 | -2.393 | -4.724 | -11.304
516.403 | -2.524 | -4.577 | -11.33
516.768 | -2.659 | -4.463 | -11.36
517.132 | -2.747 | -4.383 | -11.345
517.497 | -2.783 | -4.319 | -11.278
517.862 | -2.784 | -4.265 | -11.176
518.226 | -2.774 | -4.221 | -11.069
518.591 | -2.778 | -4.193 | -10.978
518.956 | -2.792 | -4.17 | -10.899
519.321 | -2.804 | -4.131 | -10.817
519.685 | -2.809 | -4.07 | -10.73
520.05 | -2.824 | -4.001 | -10.654
520.415 | -2.875 | -3.939 | -10.615
520.78 | -2.972 | -3.876 | -10.622
521.144 | -3.092 | -3.794 | -10.651
521.509 | -3.217 | -3.671 | -10.685
521.874 | -3.34 | -3.501 | -10.72
522.238 | -3.474 | -3.314 | -10.767
522.603 | -3.624 | -3.141 | -10.83
522.968 | -3.771 | -3.023 | -10.89
523.333 | -3.899 | -2.951 | -10.932
523.697 | -3.999 | -2.905 | -10.947
524.062 | -4.073 | -2.861 | -10.935
524.427 | -4.135 | -2.817 | -10.91
524.792 | -4.197 | -2.782 | -10.885
525.156 | -4.268 | -2.765 | -10.872
525.521 | -4.348 | -2.757 | -10.87
525.886 | -4.429 | -2.749 | -10.87
526.25 | -4.495 | -2.735 | -10.858
526.615 | -4.542 | -2.715 | -10.828
526.98 | -4.576 | -2.687 | -10.784
527.345 | -4.609 | -2.652 | -10.738
527.709 | -4.657 | -2.626 | -10.705
528.074 | -4.724 | -2.614 | -10.691
528.439 | -4.808 | -2.611 | -10.695
528.804 | -4.893 | -2.586 | -10.702
529.168 | -4.976 | -2.524 | -10.707
529.533 | -5.063 | -2.418 | -10.717
529.898 | -5.174 | -2.295 | -10.75
530.263 | -5.312 | -2.177 | -10.811
530.627 | -5.477 | -2.073 | -10.899
530.992 | -5.653 | -1.98 | -10.996
531.357 | -5.823 | -1.895 | -11.086
531.721 | -5.976 | -1.82 | -11.161
532.086 | -6.107 | -1.755 | -11.217
532.451 | -6.226 | -1.698 | -11.262
532.816 | -6.337 | -1.653 | -11.3
533.18 | -6.438 | -1.621 | -11.327
533.545 | -6.53 | -1.6 | -11.345
533.91 | -6.615 | -1.584 | -11.356
534.275 | -6.699 | -1.567 | -11.366
534.639 | -6.781 | -1.547 | -11.374
535.004 | -6.86 | -1.527 | -11.379
535.369 | -6.934 | -1.511 | -11.38
535.733 | -7.007 | -1.498 | -11.38
536.098 | -7.079 | -1.484 | -11.38
536.463 | -7.149 | -1.471 | -11.381
536.828 | -7.224 | -1.456 | -11.384
537.192 | -7.307 | -1.44 | -11.394
537.557 | -7.407 | -1.421 | -11.421
537.922 | -7.522 | -1.402 | -11.466
538.287 | -7.65 | -1.384 | -11.524
538.651 | -7.782 | -1.37 | -11.585
539.016 | -7.908 | -1.355 | -11.642
539.381 | -8.03 | -1.336 | -11.696
539.745 | -8.162 | -1.303 | -11.76
540.11 | -8.323 | -1.245 | -11.854
540.475 | -8.517 | -1.167 | -11.977
540.84 | -8.746 | -1.077 | -12.134
541.204 | -9.013 | -0.987 | -12.328
541.569 | -9.307 | -0.904 | -12.551
541.934 | -9.611 | -0.835 | -12.785
542.299 | -9.895 | -0.782 | -12.998
542.663 | -10.14 | -0.739 | -13.173
543.028 | -10.336 | -0.703 | -13.301
543.393 | -10.493 | -0.681 | -13.39
543.758 | -10.637 | -0.668 | -13.468
544.122 | -10.777 | -0.659 | -13.543
544.487 | -10.91 | -0.653 | -13.612
544.852 | -11.039 | -0.646 | -13.677
545.216 | -11.172 | -0.637 | -13.744
545.581 | -11.316 | -0.625 | -13.822
545.946 | -11.467 | -0.612 | -13.91
546.311 | -11.622 | -0.598 | -14.001
546.675 | -11.775 | -0.587 | -14.09
547.04 | -11.924 | -0.581 | -14.175
547.405 | -12.063 | -0.577 | -14.251
547.77 | -12.188 | -0.571 | -14.313
548.134 | -12.309 | -0.561 | -14.374
548.499 | -12.443 | -0.55 | -14.448
548.864 | -12.603 | -0.541 | -14.544
549.228 | -12.785 | -0.529 | -14.66
549.593 | -12.971 | -0.511 | -14.78
549.958 | -13.147 | -0.491 | -14.895
550.323 | -13.316 | -0.478 | -15.002
550.687 | -13.491 | -0.472 | -15.114
551.052 | -13.708 | -0.466 | -15.267
551.417 | -14.013 | -0.452 | -15.509
551.782 | -14.418 | -0.428 | -15.854
552.146 | -14.895 | -0.398 | -16.272
552.511 | -15.383 | -0.365 | -16.703
552.876 | -15.836 | -0.331 | -17.099
553.24 | -16.262 | -0.297 | -17.465
553.605 | -16.703 | -0.264 | -17.846
553.97 | -17.185 | -0.231 | -18.268
554.335 | -17.711 | -0.2 | -18.733
554.699 | -18.254 | -0.176 | -19.216
555.064 | -18.764 | -0.158 | -19.669
555.429 | -19.21 | -0.145 | -20.056
555.794 | -19.599 | -0.134 | -20.384
556.158 | -19.984 | -0.124 | -20.706
556.523 | -20.408 | -0.114 | -21.068
556.888 | -20.873 | -0.105 | -21.473
557.253 | -21.344 | -0.098 | -21.883
557.617 | -21.798 | -0.095 | -22.279
557.982 | -22.23 | -0.097 | -22.653
558.347 | -22.627 | -0.102 | -22.994
558.711 | -22.977 | -0.105 | -23.285
559.076 | -23.284 | -0.103 | -23.531
559.441 | -23.585 | -0.098 | -23.771
559.806 | -23.907 | -0.093 | -24.034
560.17 | -24.297 | -0.091 | -24.364
560.535 | -24.848 | -0.09 | -24.857
560.9 | -25.645 | -0.09 | -25.597
561.265 | -26.69 | -0.091 | -26.582
561.629 | -27.815 | -0.094 | -27.646
561.994 | -28.796 | -0.097 | -28.566
562.359 | -30.757 | -0.099 | -30.467
562.723 | -35.654 | -0.099 | -35.333
563.088 | -43.591 | -0.097 | -43.315
563.453 | -51.904 | -0.094 | -51.74
563.818 | -57.32 | -0.092 | -57.258
564.182 | -59.353 | -0.093 | -59.334
564.547 | -58.152 | -0.097 | -58.053
564.912 | -53.09 | -0.103 | -52.765
565.277 | -45.148 | -0.107 | -44.555
565.641 | -36.863 | -0.109 | -36.074
566.006 | -30.75 | -0.109 | -29.859
566.371 | -27.36 | -0.107 | -26.409
566.735 | -25.69 | -0.104 | -24.679
567.1 | -24.834 | -0.101 | -23.762
567.465 | -24.277 | -0.1 | -23.145
567.83 | -23.816 | -0.1 | -22.623
568.194 | -23.38 | -0.101 | -22.126
568.559 | -22.909 | -0.103 | -21.596
568.924 | -22.382 | -0.109 | -21.008
569.289 | -21.798 | -0.118 | -20.363
569.653 | -21.188 | -0.128 | -19.69
570.018 | -20.596 | -0.138 | -19.034
570.383 | -20.071 | -0.149 | -18.446
570.747 | -19.648 | -0.161 | -17.962
571.112 | -19.314 | -0.173 | -17.567
571.477 | -19.039 | -0.183 | -17.232
571.842 | -18.799 | -0.191 | -16.929
572.206 | -18.564 | -0.199 | -16.63
572.571 | -18.324 | -0.209 | -16.327
572.936 | -18.08 | -0.219 | -16.02
573.301 | -17.834 | -0.229 | -15.713
573.665 | -17.589 | -0.24 | -15.404
574.03 | -17.342 | -0.253 | -15.093
574.395 | -17.09 | -0.268 | -14.778
574.76 | -16.835 | -0.285 | -14.459
575.124 | -16.58 | -0.304 | -14.14
575.489 | -16.328 | -0.324 | -13.824
575.854 | -16.077 | -0.345 | -13.51
576.218 | -15.831 | -0.368 | -13.2
576.583 | -15.592 | -0.393 | -12.897
576.948 | -15.363 | -0.419 | -12.605
577.313 | -15.146 | -0.443 | -12.324
577.677 | -14.94 | -0.466 | -12.056
578.042 | -14.745 | -0.49 | -11.798
578.407 | -14.563 | -0.514 | -11.554
578.772 | -14.396 | -0.537 | -11.322
579.136 | -14.241 | -0.561 | -11.101
579.501 | -14.097 | -0.587 | -10.891
579.866 | -13.965 | -0.614 | -10.696
580.23 | -13.843 | -0.641 | -10.51
580.595 | -13.731 | -0.668 | -10.334
580.96 | -13.625 | -0.693 | -10.165
581.325 | -13.527 | -0.717 | -10.002
581.689 | -13.437 | -0.74 | -9.845
582.054 | -13.354 | -0.765 | -9.698
582.419 | -13.275 | -0.791 | -9.555
582.784 | -13.2 | -0.816 | -9.416
583.148 | -13.132 | -0.839 | -9.282
583.513 | -13.07 | -0.862 | -9.152
583.878 | -13.012 | -0.886 | -9.025
584.242 | -12.959 | -0.909 | -8.901
584.607 | -12.909 | -0.934 | -8.78
584.972 | -12.859 | -0.96 | -8.663
585.337 | -12.808 | -0.987 | -8.545
585.701 | -12.76 | -1.013 | -8.429
586.066 | -12.715 | -1.037 | -8.314
586.431 | -12.673 | -1.06 | -8.2
586.796 | -12.633 | -1.086 | -8.087
587.16 | -12.593 | -1.115 | -7.976
587.525 | -12.553 | -1.146 | -7.867
587.89 | -12.511 | -1.176 | -7.759
588.255 | -12.468 | -1.206 | -7.648
588.619 | -12.424 | -1.237 | -7.536
588.984 | -12.382 | -1.266 | -7.422
589.349 | -12.341 | -1.297 | -7.307
589.713 | -12.301 | -1.331 | -7.194
590.078 | -12.261 | -1.368 | -7.085
590.443 | -12.221 | -1.405 | -6.975
590.808 | -12.18 | -1.441 | -6.861
591.172 | -12.141 | -1.479 | -6.747
591.537 | -12.104 | -1.516 | -6.636
591.902 | -12.068 | -1.552 | -6.527
592.267 | -12.03 | -1.591 | -6.415
592.631 | -11.993 | -1.631 | -6.304
592.996 | -11.961 | -1.674 | -6.196
593.361 | -11.932 | -1.718 | -6.089
593.725 | -11.901 | -1.761 | -5.982
594.09 | -11.87 | -1.804 | -5.874
594.455 | -11.842 | -1.85 | -5.766
594.82 | -11.815 | -1.897 | -5.659
595.184 | -11.79 | -1.943 | -5.555
595.549 | -11.769 | -1.99 | -5.453
595.914 | -11.749 | -2.038 | -5.355
596.279 | -11.731 | -2.085 | -5.258
596.643 | -11.716 | -2.132 | -5.161
597.008 | -11.702 | -2.183 | -5.065
597.373 | -11.691 | -2.234 | -4.972
597.737 | -11.683 | -2.283 | -4.882
598.102 | -11.676 | -2.334 | -4.795
598.467 | -11.672 | -2.384 | -4.708
598.832 | -11.67 | -2.434 | -4.621
599.196 | -11.671 | -2.486 | -4.534
599.561 | -11.673 | -2.539 | -4.449
599.926 | -11.678 | -2.592 | -4.367
600.291 | -11.684 | -2.646 | -4.287
600.655 | -11.691 | -2.703 | -4.209
601.02 | -11.699 | -2.761 | -4.132
601.385 | -11.71 | -2.816 | -4.055
601.75 | -11.723 | -2.871 | -3.981
602.114 | -11.737 | -2.926 | -3.909
602.479 | -11.755 | -2.984 | -3.836
602.844 | -11.775 | -3.044 | -3.764
603.208 | -11.796 | -3.104 | -3.692
603.573 | -11.82 | -3.165 | -3.622
603.938 | -11.843 | -3.228 | -3.554
604.303 | -11.868 | -3.294 | -3.485
604.667 | -11.896 | -3.36 | -3.415
605.032 | -11.925 | -3.427 | -3.348
605.397 | -11.955 | -3.495 | -3.283
605.762 | -11.987 | -3.563 | -3.217
606.126 | -12.02 | -3.633 | -3.151
606.491 | -12.055 | -3.706 | -3.085
606.856 | -12.093 | -3.779 | -3.022
607.22 | -12.133 | -3.853 | -2.961
607.585 | -12.173 | -3.929 | -2.901
607.95 | -12.214 | -4.006 | -2.841
608.315 | -12.257 | -4.083 | -2.784
608.679 | -12.303 | -4.16 | -2.727
609.044 | -12.35 | -4.239 | -2.669
609.409 | -12.401 | -4.322 | -2.613
609.774 | -12.453 | -4.406 | -2.557
610.138 | -12.506 | -4.489 | -2.504
610.503 | -12.56 | -4.57 | -2.45
610.868 | -12.616 | -4.651 | -2.396
611.232 | -12.674 | -4.732 | -2.342
611.597 | -12.734 | -4.816 | -2.289
611.962 | -12.797 | -4.902 | -2.238
612.327 | -12.862 | -4.989 | -2.188
612.691 | -12.932 | -5.076 | -2.14
613.056 | -13.005 | -5.164 | -2.093
613.421 | -13.078 | -5.252 | -2.047
613.786 | -13.152 | -5.342 | -2
614.15 | -13.229 | -5.433 | -1.955
614.515 | -13.307 | -5.523 | -1.911
614.88 | -13.387 | -5.614 | -1.868
615.245 | -13.47 | -5.707 | -1.824
615.609 | -13.556 | -5.802 | -1.782
615.974 | -13.646 | -5.899 | -1.741
616.339 | -13.737 | -5.999 | -1.7
616.703 | -13.828 | -6.099 | -1.66
617.068 | -13.921 | -6.2 | -1.62
617.433 | -14.018 | -6.301 | -1.58
617.798 | -14.116 | -6.403 | -1.539
618.162 | -14.214 | -6.507 | -1.499
618.527 | -14.316 | -6.613 | -1.461
618.892 | -14.422 | -6.72 | -1.425
619.257 | -14.532 | -6.828 | -1.388
619.621 | -14.646 | -6.938 | -1.351
619.986 | -14.761 | -7.051 | -1.315
620.351 | -14.878 | -7.167 | -1.281
620.715 | -15.001 | -7.286 | -1.248
621.08 | -15.129 | -7.405 | -1.214
621.445 | -15.259 | -7.525 | -1.181
621.81 | -15.392 | -7.649 | -1.15
622.174 | -15.528 | -7.774 | -1.12
622.539 | -15.666 | -7.902 | -1.09
622.904 | -15.809 | -8.035 | -1.059
623.269 | -15.954 | -8.17 | -1.029
623.633 | -16.102 | -8.308 | -0.999
623.998 | -16.255 | -8.449 | -0.968
624.363 | -16.415 | -8.592 | -0.94
624.727 | -16.578 | -8.736 | -0.913
625.092 | -16.745 | -8.884 | -0.886
625.457 | -16.915 | -9.038 | -0.859
625.822 | -17.088 | -9.194 | -0.833
626.186 | -17.266 | -9.352 | -0.808
626.551 | -17.452 | -9.517 | -0.785
626.916 | -17.643 | -9.685 | -0.761
627.281 | -17.838 | -9.857 | -0.735
627.645 | -18.037 | -10.037 | -0.709
628.01 | -18.243 | -10.218 | -0.686
628.375 | -18.455 | -10.4 | -0.666
628.74 | -18.674 | -10.589 | -0.646
629.104 | -18.902 | -10.783 | -0.625
629.469 | -19.139 | -10.981 | -0.605
629.834 | -19.381 | -11.186 | -0.585
630.198 | -19.636 | -11.395 | -0.565
630.563 | -19.9 | -11.608 | -0.545
630.928 | -20.172 | -11.829 | -0.525
631.293 | -20.453 | -12.051 | -0.505
631.657 | -20.745 | -12.275 | -0.487
632.022 | -21.056 | -12.511 | -0.473
632.387 | -21.376 | -12.752 | -0.459
632.752 | -21.705 | -12.995 | -0.446
633.116 | -22.045 | -13.243 | -0.433
633.481 | -22.403 | -13.501 | -0.419
633.846 | -22.777 | -13.764 | -0.406
634.21 | -23.169 | -14.029 | -0.392
634.575 | -23.581 | -14.304 | -0.379
634.94 | -24.008 | -14.586 | -0.368
635.305 | -24.456 | -14.876 | -0.36
635.669 | -24.934 | -15.172 | -0.349
636.034 | -25.426 | -15.47 | -0.338
636.399 | -25.933 | -15.77 | -0.331
636.764 | -26.479 | -16.084 | -0.324
637.128 | -27.046 | -16.403 | -0.317
637.493 | -27.633 | -16.727 | -0.311
637.858 | -28.246 | -17.046 | -0.304
638.222 | -28.87 | -17.371 | -0.301
638.587 | -29.501 | -17.7 | -0.299
638.952 | -30.116 | -18.03 | -0.294
639.317 | -30.699 | -18.352 | -0.291
639.681 | -31.242 | -18.664 | -0.29
640.046 | -31.693 | -18.962 | -0.29
640.411 | -32.05 | -19.249 | -0.286
640.776 | -32.315 | -19.521 | -0.281
641.14 | -32.42 | -19.756 | -0.28
641.505 | -32.384 | -19.959 | -0.28
641.87 | -32.23 | -20.133 | -0.28
642.234 | -31.919 | -20.262 | -0.28
642.599 | -31.496 | -20.342 | -0.284
642.964 | -31 | -20.384 | -0.288
643.329 | -30.427 | -20.374 | -0.29
643.693 | -29.81 | -20.315 | -0.29
644.058 | -29.173 | -20.219 | -0.292
644.423 | -28.528 | -20.077 | -0.297
644.788 | -27.905 | -19.891 | -0.299
645.152 | -27.296 | -19.681 | -0.302
645.517 | -26.704 | -19.446 | -0.307
645.882 | -26.139 | -19.186 | -0.314
646.247 | -25.595 | -18.915 | -0.32
646.611 | -25.074 | -18.633 | -0.327
646.976 | -24.584 | -18.34 | -0.334
647.341 | -24.112 | -18.045 | -0.343
647.705 | -23.658 | -17.748 | -0.355
648.07 | -23.242 | -17.455 | -0.363
648.435 | -22.842 | -17.16 | -0.371
648.8 | -22.457 | -16.865 | -0.378
649.164 | -22.093 | -16.572 | -0.389
649.529 | -21.743 | -16.286 | -0.402
649.894 | -21.406 | -16.004 | -0.415
650.259 | -21.088 | -15.727 | -0.428
650.623 | -20.781 | -15.453 | -0.442
650.988 | -20.483 | -15.182 | -0.455
651.353 | -20.202 | -14.919 | -0.469
651.717 | -19.931 | -14.66 | -0.482
652.082 | -19.667 | -14.405 | -0.496
652.447 | -19.412 | -14.157 | -0.509
652.812 | -19.169 | -13.917 | -0.523
653.176 | -18.934 | -13.682 | -0.537
653.541 | -18.707 | -13.447 | -0.554
653.906 | -18.484 | -13.217 | -0.571
654.271 | -18.266 | -12.992 | -0.588
654.635 | -18.057 | -12.771 | -0.605
655 | -17.855 | -12.557 | -0.625