## T149139
SN: | T149139
Item #: | TN670R5F1
Item Description: | 1x2 50:50 Narrowband Fiber Optic Coupler
Fiber Type: | Thorlabs 630HP
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 670
Insertion Loss (dB): | -2.94
Coupling Ratio (%): | 51.1
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 670
Insertion Loss (dB): | -3.13
Coupling Ratio (%): | 48.9