## T151756
SN: | T151756
Item #: | TW670R5A1
Item Description: | 1x2 50:50 Wideband Fiber Optic Coupler
Fiber Type: | Thorlabs 630HP
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 670
Insertion Loss (dB): | -3.22
Coupling Ratio (%): | 47.71
Uniformity (dB): | 0.53
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 670
Insertion Loss (dB): | -2.82
Coupling Ratio (%): | 52.29
Uniformity (dB): | 0.56
Spectral Response
Wavelength (nm) | Insertion Loss - White (Signal Output) (dB) | Coupling Ratio - White (Signal Output) (%) | Insertion Loss - Red (Tap Output) (dB) | Coupling Ratio - Red (Tap Output) (%)
585 | -2.623 | 54.745 | -3.45 | 45.255
585.341 | -2.623 | 54.745 | -3.45 | 45.255
585.681 | -2.628 | 54.714 | -3.449 | 45.286
586.022 | -2.634 | 54.67 | -3.448 | 45.33
586.363 | -2.642 | 54.574 | -3.439 | 45.426
586.703 | -2.651 | 54.483 | -3.431 | 45.517
587.044 | -2.659 | 54.402 | -3.425 | 45.598
587.385 | -2.666 | 54.341 | -3.422 | 45.659
587.725 | -2.673 | 54.293 | -3.42 | 45.707
588.066 | -2.67 | 54.276 | -3.415 | 45.724
588.407 | -2.667 | 54.255 | -3.408 | 45.745
588.747 | -2.673 | 54.171 | -3.399 | 45.829
589.088 | -2.678 | 54.105 | -3.393 | 45.895
589.429 | -2.681 | 54.07 | -3.389 | 45.93
589.77 | -2.687 | 54.005 | -3.385 | 45.995
590.11 | -2.696 | 53.923 | -3.379 | 46.077
590.451 | -2.698 | 53.92 | -3.38 | 46.08
590.792 | -2.699 | 53.914 | -3.38 | 46.086
591.132 | -2.703 | 53.836 | -3.371 | 46.164
591.473 | -2.706 | 53.768 | -3.362 | 46.232
591.814 | -2.708 | 53.716 | -3.355 | 46.284
592.154 | -2.711 | 53.679 | -3.351 | 46.321
592.495 | -2.713 | 53.649 | -3.348 | 46.351
592.836 | -2.717 | 53.587 | -3.342 | 46.413
593.176 | -2.721 | 53.525 | -3.335 | 46.475
593.517 | -2.726 | 53.474 | -3.33 | 46.526
593.858 | -2.731 | 53.421 | -3.326 | 46.579
594.198 | -2.736 | 53.364 | -3.321 | 46.636
594.539 | -2.74 | 53.316 | -3.317 | 46.684
594.88 | -2.745 | 53.272 | -3.314 | 46.728
595.22 | -2.749 | 53.221 | -3.31 | 46.779
595.561 | -2.753 | 53.167 | -3.304 | 46.833
595.902 | -2.756 | 53.103 | -3.296 | 46.897
596.242 | -2.76 | 53.039 | -3.288 | 46.961
596.583 | -2.764 | 52.977 | -3.282 | 47.023
596.924 | -2.767 | 52.944 | -3.279 | 47.056
597.265 | -2.769 | 52.918 | -3.277 | 47.082
597.605 | -2.773 | 52.843 | -3.267 | 47.157
597.946 | -2.778 | 52.771 | -3.259 | 47.229
598.287 | -2.786 | 52.716 | -3.258 | 47.284
598.627 | -2.788 | 52.698 | -3.257 | 47.302
598.968 | -2.785 | 52.704 | -3.255 | 47.296
599.309 | -2.79 | 52.642 | -3.249 | 47.358
599.649 | -2.798 | 52.558 | -3.243 | 47.442
599.99 | -2.806 | 52.487 | -3.238 | 47.513
600.331 | -2.812 | 52.419 | -3.232 | 47.581
600.671 | -2.816 | 52.36 | -3.226 | 47.64
601.012 | -2.817 | 52.342 | -3.224 | 47.658
601.353 | -2.816 | 52.349 | -3.225 | 47.651
601.693 | -2.821 | 52.287 | -3.218 | 47.713
602.034 | -2.826 | 52.211 | -3.21 | 47.789
602.375 | -2.829 | 52.174 | -3.207 | 47.826
602.715 | -2.832 | 52.144 | -3.204 | 47.856
603.056 | -2.833 | 52.114 | -3.2 | 47.886
603.397 | -2.839 | 52.042 | -3.194 | 47.958
603.737 | -2.848 | 51.944 | -3.186 | 48.056
604.078 | -2.853 | 51.884 | -3.18 | 48.116
604.419 | -2.856 | 51.838 | -3.176 | 48.162
604.76 | -2.858 | 51.811 | -3.173 | 48.189
605.1 | -2.861 | 51.771 | -3.169 | 48.229
605.441 | -2.867 | 51.714 | -3.165 | 48.286
605.782 | -2.869 | 51.692 | -3.163 | 48.308
606.122 | -2.87 | 51.683 | -3.163 | 48.317
606.463 | -2.877 | 51.608 | -3.157 | 48.392
606.804 | -2.884 | 51.525 | -3.149 | 48.475
607.144 | -2.885 | 51.47 | -3.141 | 48.53
607.485 | -2.888 | 51.425 | -3.136 | 48.575
607.826 | -2.894 | 51.388 | -3.135 | 48.612
608.166 | -2.9 | 51.349 | -3.134 | 48.651
608.507 | -2.904 | 51.311 | -3.132 | 48.689
608.848 | -2.906 | 51.283 | -3.129 | 48.717
609.188 | -2.907 | 51.258 | -3.125 | 48.742
609.529 | -2.907 | 51.23 | -3.121 | 48.77
609.87 | -2.909 | 51.195 | -3.117 | 48.805
610.21 | -2.913 | 51.151 | -3.113 | 48.849
610.551 | -2.919 | 51.097 | -3.11 | 48.903
610.892 | -2.925 | 51.039 | -3.105 | 48.961
611.232 | -2.929 | 50.985 | -3.1 | 49.015
611.573 | -2.931 | 50.944 | -3.095 | 49.056
611.914 | -2.931 | 50.921 | -3.091 | 49.079
612.255 | -2.934 | 50.876 | -3.087 | 49.124
612.595 | -2.941 | 50.814 | -3.082 | 49.186
612.936 | -2.943 | 50.79 | -3.081 | 49.21
613.277 | -2.945 | 50.776 | -3.08 | 49.224
613.617 | -2.951 | 50.718 | -3.075 | 49.282
613.958 | -2.956 | 50.662 | -3.071 | 49.338
614.299 | -2.96 | 50.623 | -3.068 | 49.377
614.639 | -2.961 | 50.594 | -3.064 | 49.406
614.98 | -2.961 | 50.567 | -3.059 | 49.433
615.321 | -2.965 | 50.524 | -3.056 | 49.476
615.661 | -2.971 | 50.479 | -3.054 | 49.521
616.002 | -2.973 | 50.454 | -3.052 | 49.546
616.343 | -2.974 | 50.434 | -3.05 | 49.566
616.683 | -2.975 | 50.414 | -3.047 | 49.586
617.024 | -2.978 | 50.386 | -3.045 | 49.614
617.365 | -2.983 | 50.349 | -3.043 | 49.651
617.705 | -2.988 | 50.294 | -3.039 | 49.706
618.046 | -2.992 | 50.24 | -3.034 | 49.76
618.387 | -2.994 | 50.21 | -3.03 | 49.79
618.727 | -2.995 | 50.192 | -3.028 | 49.808
619.068 | -2.996 | 50.181 | -3.028 | 49.819
619.409 | -2.999 | 50.147 | -3.025 | 49.853
619.75 | -3.003 | 50.098 | -3.02 | 49.902
620.09 | -3.006 | 50.06 | -3.017 | 49.94
620.431 | -3.009 | 50.029 | -3.014 | 49.971
620.772 | -3.013 | 50 | -3.013 | 50
621.112 | -3.017 | 49.965 | -3.011 | 50.035
621.453 | -3.021 | 49.925 | -3.008 | 50.075
621.794 | -3.022 | 49.902 | -3.005 | 50.098
622.134 | -3.022 | 49.886 | -3.002 | 50.114
622.475 | -3.024 | 49.854 | -2.999 | 50.146
622.816 | -3.028 | 49.809 | -2.995 | 50.191
623.156 | -3.034 | 49.752 | -2.991 | 50.248
623.497 | -3.039 | 49.705 | -2.987 | 50.295
623.838 | -3.041 | 49.673 | -2.984 | 50.327
624.178 | -3.044 | 49.645 | -2.982 | 50.355
624.519 | -3.047 | 49.616 | -2.98 | 50.384
624.86 | -3.05 | 49.587 | -2.978 | 50.413
625.2 | -3.052 | 49.565 | -2.976 | 50.435
625.541 | -3.052 | 49.557 | -2.975 | 50.443
625.882 | -3.052 | 49.542 | -2.973 | 50.458
626.222 | -3.055 | 49.513 | -2.97 | 50.487
626.563 | -3.058 | 49.473 | -2.967 | 50.527
626.904 | -3.062 | 49.432 | -2.964 | 50.568
627.245 | -3.066 | 49.399 | -2.962 | 50.601
627.585 | -3.07 | 49.369 | -2.96 | 50.631
627.926 | -3.072 | 49.341 | -2.958 | 50.659
628.267 | -3.075 | 49.318 | -2.957 | 50.682
628.607 | -3.078 | 49.297 | -2.956 | 50.703
628.948 | -3.081 | 49.271 | -2.955 | 50.729
629.289 | -3.085 | 49.242 | -2.953 | 50.758
629.629 | -3.088 | 49.207 | -2.95 | 50.793
629.97 | -3.09 | 49.174 | -2.946 | 50.826
630.311 | -3.091 | 49.146 | -2.943 | 50.854
630.651 | -3.093 | 49.121 | -2.941 | 50.879
630.992 | -3.096 | 49.096 | -2.939 | 50.904
631.333 | -3.1 | 49.066 | -2.938 | 50.934
631.673 | -3.104 | 49.034 | -2.936 | 50.966
632.014 | -3.105 | 49.005 | -2.932 | 50.995
632.355 | -3.106 | 48.98 | -2.929 | 51.02
632.695 | -3.108 | 48.957 | -2.927 | 51.043
633.036 | -3.111 | 48.934 | -2.926 | 51.066
633.377 | -3.114 | 48.904 | -2.924 | 51.096
633.717 | -3.118 | 48.865 | -2.92 | 51.135
634.058 | -3.121 | 48.831 | -2.918 | 51.169
634.399 | -3.122 | 48.818 | -2.917 | 51.182
634.74 | -3.124 | 48.811 | -2.917 | 51.189
635.08 | -3.125 | 48.796 | -2.916 | 51.204
635.421 | -3.128 | 48.761 | -2.913 | 51.239
635.762 | -3.132 | 48.717 | -2.909 | 51.283
636.102 | -3.135 | 48.682 | -2.906 | 51.318
636.443 | -3.138 | 48.65 | -2.903 | 51.35
636.784 | -3.142 | 48.613 | -2.901 | 51.387
637.124 | -3.145 | 48.579 | -2.898 | 51.421
637.465 | -3.146 | 48.555 | -2.895 | 51.445
637.806 | -3.146 | 48.551 | -2.894 | 51.449
638.146 | -3.147 | 48.546 | -2.894 | 51.454
638.487 | -3.151 | 48.511 | -2.892 | 51.489
638.828 | -3.156 | 48.464 | -2.889 | 51.536
639.168 | -3.16 | 48.424 | -2.886 | 51.576
639.509 | -3.162 | 48.393 | -2.883 | 51.607
639.85 | -3.164 | 48.371 | -2.881 | 51.629
640.19 | -3.166 | 48.35 | -2.879 | 51.65
640.531 | -3.168 | 48.329 | -2.877 | 51.671
640.872 | -3.167 | 48.313 | -2.874 | 51.687
641.212 | -3.166 | 48.306 | -2.872 | 51.694
641.553 | -3.167 | 48.307 | -2.873 | 51.693
641.894 | -3.168 | 48.295 | -2.872 | 51.705
642.234 | -3.17 | 48.269 | -2.869 | 51.731
642.575 | -3.172 | 48.247 | -2.867 | 51.753
642.916 | -3.174 | 48.23 | -2.866 | 51.77
643.257 | -3.176 | 48.211 | -2.865 | 51.789
643.597 | -3.179 | 48.184 | -2.863 | 51.816
643.938 | -3.181 | 48.149 | -2.859 | 51.851
644.279 | -3.184 | 48.126 | -2.858 | 51.874
644.619 | -3.187 | 48.116 | -2.859 | 51.884
644.96 | -3.188 | 48.107 | -2.859 | 51.893
645.301 | -3.188 | 48.093 | -2.857 | 51.907
645.641 | -3.189 | 48.07 | -2.854 | 51.93
645.982 | -3.192 | 48.04 | -2.851 | 51.96
646.323 | -3.195 | 48.012 | -2.849 | 51.988
646.663 | -3.196 | 48.013 | -2.851 | 51.987
647.004 | -3.195 | 48.029 | -2.852 | 51.971
647.345 | -3.195 | 48.02 | -2.85 | 51.98
647.685 | -3.195 | 48 | -2.848 | 52
648.026 | -3.196 | 47.993 | -2.847 | 52.007
648.367 | -3.198 | 47.974 | -2.846 | 52.026
648.707 | -3.201 | 47.943 | -2.843 | 52.057
649.048 | -3.201 | 47.937 | -2.843 | 52.063
649.389 | -3.2 | 47.953 | -2.844 | 52.047
649.729 | -3.199 | 47.959 | -2.845 | 52.041
650.07 | -3.199 | 47.957 | -2.844 | 52.043
650.411 | -3.199 | 47.954 | -2.843 | 52.046
650.752 | -3.2 | 47.944 | -2.843 | 52.056
651.092 | -3.204 | 47.921 | -2.842 | 52.079
651.433 | -3.207 | 47.885 | -2.839 | 52.115
651.774 | -3.207 | 47.861 | -2.835 | 52.139
652.114 | -3.206 | 47.881 | -2.838 | 52.119
652.455 | -3.206 | 47.907 | -2.842 | 52.093
652.796 | -3.207 | 47.901 | -2.842 | 52.099
653.136 | -3.208 | 47.881 | -2.84 | 52.119
653.477 | -3.209 | 47.858 | -2.837 | 52.142
653.818 | -3.211 | 47.826 | -2.833 | 52.174
654.158 | -3.213 | 47.805 | -2.831 | 52.195
654.499 | -3.213 | 47.817 | -2.833 | 52.183
654.84 | -3.213 | 47.829 | -2.835 | 52.171
655.18 | -3.213 | 47.817 | -2.833 | 52.183
655.521 | -3.213 | 47.808 | -2.831 | 52.192
655.862 | -3.213 | 47.803 | -2.831 | 52.197
656.202 | -3.214 | 47.779 | -2.828 | 52.221
656.543 | -3.216 | 47.749 | -2.825 | 52.251
656.884 | -3.219 | 47.736 | -2.826 | 52.264
657.224 | -3.22 | 47.742 | -2.828 | 52.258
657.565 | -3.219 | 47.758 | -2.829 | 52.242
657.906 | -3.217 | 47.766 | -2.829 | 52.234
658.247 | -3.217 | 47.764 | -2.828 | 52.236
658.587 | -3.218 | 47.765 | -2.829 | 52.235
658.928 | -3.218 | 47.769 | -2.83 | 52.231
659.269 | -3.218 | 47.766 | -2.829 | 52.234
659.609 | -3.218 | 47.757 | -2.828 | 52.243
659.95 | -3.22 | 47.741 | -2.827 | 52.259
660.291 | -3.221 | 47.725 | -2.826 | 52.275
660.631 | -3.223 | 47.712 | -2.825 | 52.288
660.972 | -3.224 | 47.704 | -2.825 | 52.296
661.313 | -3.224 | 47.701 | -2.824 | 52.299
661.653 | -3.222 | 47.707 | -2.824 | 52.293
661.994 | -3.221 | 47.714 | -2.824 | 52.286
662.335 | -3.221 | 47.717 | -2.824 | 52.283
662.675 | -3.222 | 47.71 | -2.824 | 52.29
663.016 | -3.222 | 47.702 | -2.823 | 52.298
663.357 | -3.222 | 47.704 | -2.822 | 52.296
663.697 | -3.221 | 47.71 | -2.823 | 52.29
664.038 | -3.221 | 47.71 | -2.823 | 52.29
664.379 | -3.223 | 47.701 | -2.823 | 52.299
664.719 | -3.224 | 47.69 | -2.823 | 52.31
665.06 | -3.226 | 47.683 | -2.823 | 52.317
665.401 | -3.227 | 47.679 | -2.823 | 52.321
665.741 | -3.227 | 47.673 | -2.822 | 52.327
666.082 | -3.226 | 47.676 | -2.822 | 52.324
666.423 | -3.224 | 47.692 | -2.822 | 52.308
666.764 | -3.222 | 47.702 | -2.823 | 52.298
667.104 | -3.223 | 47.697 | -2.823 | 52.303
667.445 | -3.224 | 47.688 | -2.822 | 52.312
667.786 | -3.225 | 47.682 | -2.822 | 52.318
668.126 | -3.224 | 47.684 | -2.822 | 52.316
668.467 | -3.223 | 47.69 | -2.821 | 52.31
668.808 | -3.222 | 47.7 | -2.822 | 52.3
669.148 | -3.222 | 47.707 | -2.823 | 52.293
669.489 | -3.222 | 47.711 | -2.824 | 52.289
669.83 | -3.221 | 47.714 | -2.824 | 52.286
670.17 | -3.221 | 47.712 | -2.823 | 52.288
670.511 | -3.221 | 47.705 | -2.822 | 52.295
670.852 | -3.222 | 47.703 | -2.822 | 52.297
671.192 | -3.222 | 47.709 | -2.824 | 52.291
671.533 | -3.222 | 47.712 | -2.824 | 52.288
671.874 | -3.222 | 47.707 | -2.823 | 52.293
672.214 | -3.222 | 47.707 | -2.823 | 52.293
672.555 | -3.222 | 47.711 | -2.824 | 52.289
672.896 | -3.222 | 47.715 | -2.825 | 52.285
673.236 | -3.222 | 47.719 | -2.826 | 52.281
673.577 | -3.221 | 47.725 | -2.826 | 52.275
673.918 | -3.22 | 47.735 | -2.826 | 52.265
674.259 | -3.218 | 47.745 | -2.827 | 52.255
674.599 | -3.217 | 47.751 | -2.826 | 52.249
674.94 | -3.217 | 47.751 | -2.826 | 52.249
675.281 | -3.218 | 47.749 | -2.827 | 52.251
675.621 | -3.219 | 47.751 | -2.828 | 52.249
675.962 | -3.219 | 47.761 | -2.83 | 52.239
676.303 | -3.218 | 47.777 | -2.832 | 52.223
676.643 | -3.217 | 47.794 | -2.833 | 52.206
676.984 | -3.216 | 47.803 | -2.834 | 52.197
677.325 | -3.215 | 47.809 | -2.834 | 52.191
677.665 | -3.214 | 47.815 | -2.834 | 52.185
678.006 | -3.213 | 47.822 | -2.834 | 52.178
678.347 | -3.212 | 47.829 | -2.835 | 52.171
678.687 | -3.211 | 47.839 | -2.835 | 52.161
679.028 | -3.209 | 47.853 | -2.835 | 52.147
679.369 | -3.206 | 47.871 | -2.836 | 52.129
679.709 | -3.205 | 47.885 | -2.838 | 52.115
680.05 | -3.205 | 47.889 | -2.838 | 52.111
680.391 | -3.205 | 47.89 | -2.838 | 52.11
680.731 | -3.205 | 47.892 | -2.838 | 52.108
681.072 | -3.204 | 47.895 | -2.838 | 52.105
681.413 | -3.204 | 47.899 | -2.839 | 52.101
681.753 | -3.204 | 47.905 | -2.84 | 52.095
682.094 | -3.204 | 47.911 | -2.841 | 52.089
682.435 | -3.204 | 47.915 | -2.842 | 52.085
682.776 | -3.203 | 47.924 | -2.842 | 52.076
683.116 | -3.202 | 47.942 | -2.844 | 52.058
683.457 | -3.201 | 47.968 | -2.847 | 52.032
683.798 | -3.199 | 47.991 | -2.85 | 52.009
684.138 | -3.199 | 48 | -2.851 | 52
684.479 | -3.198 | 48.004 | -2.852 | 51.996
684.82 | -3.198 | 48.014 | -2.853 | 51.986
685.16 | -3.197 | 48.03 | -2.855 | 51.97
685.501 | -3.195 | 48.05 | -2.857 | 51.95
685.842 | -3.194 | 48.071 | -2.859 | 51.929
686.182 | -3.192 | 48.09 | -2.86 | 51.91
686.523 | -3.19 | 48.102 | -2.86 | 51.898
686.864 | -3.188 | 48.114 | -2.86 | 51.886
687.204 | -3.187 | 48.129 | -2.861 | 51.871
687.545 | -3.185 | 48.141 | -2.862 | 51.859
687.886 | -3.183 | 48.159 | -2.863 | 51.841
688.226 | -3.18 | 48.195 | -2.866 | 51.805
688.567 | -3.178 | 48.232 | -2.871 | 51.768
688.908 | -3.178 | 48.247 | -2.873 | 51.753
689.248 | -3.178 | 48.254 | -2.875 | 51.746
689.589 | -3.178 | 48.265 | -2.876 | 51.735
689.93 | -3.178 | 48.268 | -2.877 | 51.732
690.271 | -3.177 | 48.268 | -2.876 | 51.732
690.611 | -3.176 | 48.28 | -2.877 | 51.72
690.952 | -3.174 | 48.304 | -2.879 | 51.696
691.293 | -3.172 | 48.33 | -2.882 | 51.67
691.633 | -3.17 | 48.352 | -2.883 | 51.648
691.974 | -3.168 | 48.368 | -2.884 | 51.632
692.315 | -3.166 | 48.392 | -2.886 | 51.608
692.655 | -3.164 | 48.418 | -2.889 | 51.582
692.996 | -3.162 | 48.43 | -2.889 | 51.57
693.337 | -3.16 | 48.443 | -2.889 | 51.557
693.677 | -3.158 | 48.472 | -2.893 | 51.528
694.018 | -3.157 | 48.496 | -2.896 | 51.504
694.359 | -3.155 | 48.507 | -2.896 | 51.493
694.699 | -3.153 | 48.529 | -2.897 | 51.471
695.04 | -3.15 | 48.56 | -2.9 | 51.44
695.381 | -3.147 | 48.584 | -2.901 | 51.416
695.721 | -3.144 | 48.604 | -2.902 | 51.396
696.062 | -3.144 | 48.627 | -2.906 | 51.373
696.403 | -3.145 | 48.644 | -2.909 | 51.356
696.743 | -3.144 | 48.659 | -2.911 | 51.341
697.084 | -3.141 | 48.685 | -2.913 | 51.315
697.425 | -3.139 | 48.716 | -2.915 | 51.284
697.766 | -3.136 | 48.734 | -2.916 | 51.266
698.106 | -3.133 | 48.749 | -2.916 | 51.251
698.447 | -3.131 | 48.77 | -2.918 | 51.23
698.788 | -3.13 | 48.792 | -2.92 | 51.208
699.128 | -3.129 | 48.816 | -2.923 | 51.184
699.469 | -3.125 | 48.848 | -2.924 | 51.152
699.81 | -3.12 | 48.882 | -2.926 | 51.118
700.15 | -3.12 | 48.906 | -2.93 | 51.094
700.491 | -3.121 | 48.921 | -2.933 | 51.079
700.832 | -3.119 | 48.932 | -2.934 | 51.068
701.172 | -3.118 | 48.948 | -2.935 | 51.052
701.513 | -3.117 | 48.969 | -2.938 | 51.031
701.854 | -3.113 | 48.987 | -2.937 | 51.013
702.194 | -3.108 | 49.011 | -2.936 | 50.989
702.535 | -3.107 | 49.056 | -2.943 | 50.944
702.876 | -3.107 | 49.091 | -2.95 | 50.909
703.216 | -3.107 | 49.096 | -2.95 | 50.904
703.557 | -3.107 | 49.099 | -2.95 | 50.901
703.898 | -3.105 | 49.114 | -2.951 | 50.886
704.238 | -3.102 | 49.144 | -2.953 | 50.856
704.579 | -3.099 | 49.18 | -2.956 | 50.82
704.92 | -3.097 | 49.212 | -2.96 | 50.788
705.26 | -3.097 | 49.226 | -2.962 | 50.774
705.601 | -3.097 | 49.223 | -2.962 | 50.777
705.942 | -3.096 | 49.239 | -2.963 | 50.761
706.283 | -3.093 | 49.268 | -2.966 | 50.732
706.623 | -3.093 | 49.275 | -2.967 | 50.725
706.964 | -3.094 | 49.271 | -2.967 | 50.729
707.305 | -3.094 | 49.272 | -2.968 | 50.728
707.645 | -3.094 | 49.277 | -2.969 | 50.723
707.986 | -3.095 | 49.289 | -2.972 | 50.711
708.327 | -3.094 | 49.312 | -2.974 | 50.688
708.667 | -3.092 | 49.341 | -2.977 | 50.659
709.008 | -3.091 | 49.362 | -2.98 | 50.638
709.349 | -3.089 | 49.391 | -2.983 | 50.609
709.689 | -3.083 | 49.446 | -2.987 | 50.554
710.03 | -3.078 | 49.501 | -2.991 | 50.499
710.371 | -3.076 | 49.542 | -2.996 | 50.458
710.711 | -3.073 | 49.566 | -2.998 | 50.434
711.052 | -3.07 | 49.583 | -2.998 | 50.417
711.393 | -3.069 | 49.61 | -3.001 | 50.39
711.733 | -3.067 | 49.647 | -3.006 | 50.353
712.074 | -3.063 | 49.697 | -3.011 | 50.303
712.415 | -3.059 | 49.744 | -3.015 | 50.256
712.755 | -3.056 | 49.783 | -3.018 | 50.217
713.096 | -3.052 | 49.815 | -3.02 | 50.185
713.437 | -3.049 | 49.846 | -3.022 | 50.154
713.778 | -3.046 | 49.886 | -3.026 | 50.114
714.118 | -3.042 | 49.924 | -3.029 | 50.076
714.459 | -3.039 | 49.958 | -3.032 | 50.042
714.8 | -3.036 | 50 | -3.036 | 50
715.14 | -3.032 | 50.05 | -3.041 | 49.95
715.481 | -3.028 | 50.099 | -3.045 | 49.901
715.822 | -3.024 | 50.141 | -3.048 | 49.859
716.162 | -3.021 | 50.171 | -3.051 | 49.829
716.503 | -3.018 | 50.2 | -3.053 | 49.8
716.844 | -3.016 | 50.235 | -3.056 | 49.765
717.184 | -3.011 | 50.281 | -3.06 | 49.719
717.525 | -3.005 | 50.333 | -3.063 | 49.667
717.866 | -3.001 | 50.368 | -3.065 | 49.632
718.206 | -2.999 | 50.395 | -3.067 | 49.605
718.547 | -2.995 | 50.432 | -3.07 | 49.568
718.888 | -2.99 | 50.475 | -3.073 | 49.525
719.228 | -2.986 | 50.527 | -3.078 | 49.473
719.569 | -2.982 | 50.58 | -3.083 | 49.42
719.91 | -2.978 | 50.631 | -3.087 | 49.369
720.25 | -2.974 | 50.671 | -3.091 | 49.329
720.591 | -2.971 | 50.703 | -3.093 | 49.297
720.932 | -2.968 | 50.725 | -3.094 | 49.275
721.273 | -2.966 | 50.755 | -3.097 | 49.245
721.613 | -2.963 | 50.801 | -3.102 | 49.199
721.954 | -2.96 | 50.844 | -3.107 | 49.156
722.295 | -2.957 | 50.882 | -3.111 | 49.118
722.635 | -2.954 | 50.919 | -3.114 | 49.081
722.976 | -2.951 | 50.955 | -3.117 | 49.045
723.317 | -2.947 | 50.99 | -3.119 | 49.01
723.657 | -2.943 | 51.024 | -3.121 | 48.976
723.998 | -2.94 | 51.056 | -3.123 | 48.944
724.339 | -2.937 | 51.09 | -3.126 | 48.91
724.679 | -2.934 | 51.129 | -3.13 | 48.871
725.02 | -2.929 | 51.185 | -3.135 | 48.815
725.361 | -2.925 | 51.236 | -3.139 | 48.764
725.701 | -2.922 | 51.265 | -3.142 | 48.735
726.042 | -2.92 | 51.287 | -3.143 | 48.713
726.383 | -2.918 | 51.308 | -3.145 | 48.692
726.723 | -2.914 | 51.35 | -3.149 | 48.65
727.064 | -2.91 | 51.404 | -3.154 | 48.596
727.405 | -2.908 | 51.448 | -3.159 | 48.552
727.745 | -2.905 | 51.488 | -3.164 | 48.512
728.086 | -2.903 | 51.529 | -3.169 | 48.471
728.427 | -2.899 | 51.577 | -3.173 | 48.423
728.768 | -2.893 | 51.632 | -3.176 | 48.368
729.108 | -2.887 | 51.689 | -3.18 | 48.311
729.449 | -2.881 | 51.743 | -3.184 | 48.257
729.79 | -2.879 | 51.778 | -3.188 | 48.222
730.13 | -2.877 | 51.81 | -3.191 | 48.19
730.471 | -2.873 | 51.848 | -3.194 | 48.152
730.812 | -2.869 | 51.891 | -3.197 | 48.109
731.152 | -2.866 | 51.936 | -3.202 | 48.064
731.493 | -2.862 | 51.978 | -3.206 | 48.022
731.834 | -2.859 | 52.019 | -3.21 | 47.981
732.174 | -2.855 | 52.068 | -3.214 | 47.932
732.515 | -2.85 | 52.118 | -3.218 | 47.882
732.856 | -2.844 | 52.167 | -3.221 | 47.833
733.196 | -2.84 | 52.211 | -3.224 | 47.789
733.537 | -2.837 | 52.252 | -3.229 | 47.748
733.878 | -2.833 | 52.297 | -3.232 | 47.703
734.218 | -2.828 | 52.346 | -3.236 | 47.654
734.559 | -2.824 | 52.407 | -3.242 | 47.593
734.9 | -2.82 | 52.461 | -3.248 | 47.539
735.24 | -2.818 | 52.502 | -3.253 | 47.498
735.581 | -2.814 | 52.546 | -3.257 | 47.454
735.922 | -2.81 | 52.595 | -3.261 | 47.405
736.263 | -2.806 | 52.638 | -3.264 | 47.362
736.603 | -2.801 | 52.681 | -3.267 | 47.319
736.944 | -2.796 | 52.737 | -3.272 | 47.263
737.285 | -2.791 | 52.797 | -3.277 | 47.203
737.625 | -2.786 | 52.859 | -3.283 | 47.141
737.966 | -2.781 | 52.912 | -3.288 | 47.088
738.307 | -2.776 | 52.959 | -3.291 | 47.041
738.647 | -2.772 | 53.009 | -3.295 | 46.991
738.988 | -2.768 | 53.059 | -3.3 | 46.941
739.329 | -2.764 | 53.106 | -3.304 | 46.894
739.669 | -2.761 | 53.155 | -3.309 | 46.845
740.01 | -2.757 | 53.207 | -3.315 | 46.793
740.351 | -2.752 | 53.253 | -3.318 | 46.747
740.691 | -2.746 | 53.295 | -3.32 | 46.705
741.032 | -2.744 | 53.342 | -3.325 | 46.658
741.373 | -2.741 | 53.391 | -3.331 | 46.609
741.713 | -2.736 | 53.442 | -3.335 | 46.558
742.054 | -2.731 | 53.493 | -3.339 | 46.507
742.395 | -2.726 | 53.544 | -3.343 | 46.456
742.735 | -2.723 | 53.585 | -3.347 | 46.415
743.076 | -2.721 | 53.622 | -3.352 | 46.378
743.417 | -2.718 | 53.675 | -3.357 | 46.325
743.758 | -2.714 | 53.726 | -3.363 | 46.274
744.098 | -2.711 | 53.764 | -3.366 | 46.236
744.439 | -2.705 | 53.814 | -3.369 | 46.186
744.78 | -2.699 | 53.877 | -3.374 | 46.123
745.12 | -2.695 | 53.927 | -3.379 | 46.073
745.461 | -2.693 | 53.973 | -3.385 | 46.027
745.802 | -2.688 | 54.029 | -3.389 | 45.971
746.142 | -2.684 | 54.087 | -3.395 | 45.913
746.483 | -2.68 | 54.15 | -3.403 | 45.85
746.824 | -2.677 | 54.193 | -3.407 | 45.807
747.164 | -2.673 | 54.218 | -3.407 | 45.782
747.505 | -2.669 | 54.282 | -3.415 | 45.718
747.846 | -2.665 | 54.357 | -3.424 | 45.643
748.186 | -2.66 | 54.418 | -3.429 | 45.582
748.527 | -2.655 | 54.475 | -3.434 | 45.525
748.868 | -2.65 | 54.526 | -3.439 | 45.474
749.208 | -2.647 | 54.577 | -3.444 | 45.423
749.549 | -2.643 | 54.626 | -3.449 | 45.374
749.89 | -2.641 | 54.672 | -3.455 | 45.328
750.23 | -2.639 | 54.718 | -3.461 | 45.282
750.571 | -2.633 | 54.766 | -3.464 | 45.234
750.912 | -2.628 | 54.82 | -3.468 | 45.18
751.253 | -2.624 | 54.884 | -3.475 | 45.116
751.593 | -2.62 | 54.939 | -3.481 | 45.061
751.934 | -2.616 | 54.986 | -3.485 | 45.014
752.275 | -2.612 | 55.05 | -3.492 | 44.95
752.615 | -2.607 | 55.112 | -3.498 | 44.888
752.956 | -2.606 | 55.133 | -3.501 | 44.867
753.297 | -2.603 | 55.179 | -3.506 | 44.821
753.637 | -2.594 | 55.267 | -3.512 | 44.733
753.978 | -2.589 | 55.339 | -3.52 | 44.661
754.319 | -2.588 | 55.402 | -3.53 | 44.598
754.659 | -2.583 | 55.438 | -3.532 | 44.562
755 | -2.579 | 55.478 | -3.534 | 44.522