## Sheet1
|  | Wavelength (nm) | % Transmission
|  | 2600 | 48.9142
|  | 2599 | 48.9689
|  | 2598 | 49.0004
|  | 2597 | 49.0457
Product Raw Data |  | 2596 | 49.1037
BG40 Colored Glass Filter, AR-Coated: 350 - 700 nm |  | 2595 | 49.1765
|  | 2594 | 49.2535
Item # | FGB37-A | 2593 | 49.2941
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 2592 | 49.3763
|  | 2591 | 49.4181
|  | 2590 | 49.521
|  | 2589 | 49.5817
|  | 2588 | 49.658
|  | 2587 | 49.7181
|  | 2586 | 49.7677
Additional Information: |  | 2585 | 49.8317
Measurements Made at Normal Incidence |  | 2584 | 49.8788
|  | 2583 | 49.962
|  | 2582 | 50.0135
|  | 2581 | 50.0673
|  | 2580 | 50.1172
|  | 2579 | 50.196
|  | 2578 | 50.2807
|  | 2577 | 50.3402
|  | 2576 | 50.4076
|  | 2575 | 50.4457
|  | 2574 | 50.5012
|  | 2573 | 50.5504
|  | 2572 | 50.6141
|  | 2571 | 50.6611
|  | 2570 | 50.7168
|  | 2569 | 50.812
|  | 2568 | 50.8615
|  | 2567 | 50.9191
|  | 2566 | 50.9897
|  | 2565 | 51.0703
|  | 2564 | 51.1258
|  | 2563 | 51.2145
|  | 2562 | 51.2873
|  | 2561 | 51.3546
|  | 2560 | 51.4075
|  | 2559 | 51.4535
|  | 2558 | 51.513
|  | 2557 | 51.5836
|  | 2556 | 51.6599
|  | 2555 | 51.7446
|  | 2554 | 51.8293
|  | 2553 | 51.902
|  | 2552 | 51.9414
|  | 2551 | 51.9807
|  | 2550 | 52.0425
|  | 2549 | 52.1472
|  | 2548 | 52.2216
|  | 2547 | 52.2926
|  | 2546 | 52.3701
|  | 2545 | 52.4363
|  | 2544 | 52.5018
|  | 2543 | 52.5523
|  | 2542 | 52.6163
|  | 2541 | 52.7188
|  | 2540 | 52.799
|  | 2539 | 52.868
|  | 2538 | 52.9453
|  | 2537 | 53.0113
|  | 2536 | 53.0633
|  | 2535 | 53.1082
|  | 2534 | 53.1905
|  | 2533 | 53.2647
|  | 2532 | 53.3346
|  | 2531 | 53.4118
|  | 2530 | 53.504
|  | 2529 | 53.565
|  | 2528 | 53.6295
|  | 2527 | 53.679
|  | 2526 | 53.7633
|  | 2525 | 53.8548
|  | 2524 | 53.938
|  | 2523 | 54.0279
|  | 2522 | 54.0795
|  | 2521 | 54.1254
|  | 2520 | 54.182
|  | 2519 | 54.2794
|  | 2518 | 54.4001
|  | 2517 | 54.4698
|  | 2516 | 54.5285
|  | 2515 | 54.5896
|  | 2514 | 54.6545
|  | 2513 | 54.7135
|  | 2512 | 54.7924
|  | 2511 | 54.8639
|  | 2510 | 54.9346
|  | 2509 | 55.0046
|  | 2508 | 55.0882
|  | 2507 | 55.1815
|  | 2506 | 55.2341
|  | 2505 | 55.3035
|  | 2504 | 55.3627
|  | 2503 | 55.4219
|  | 2502 | 55.4919
|  | 2501 | 55.5805
|  | 2500 | 55.6558
|  | 2499 | 55.7163
|  | 2498 | 55.7831
|  | 2497 | 55.8549
|  | 2496 | 55.9154
|  | 2495 | 55.9776
|  | 2494 | 56.0348
|  | 2493 | 56.1111
|  | 2492 | 56.1901
|  | 2491 | 56.2497
|  | 2490 | 56.289
|  | 2489 | 56.3494
|  | 2488 | 56.3897
|  | 2487 | 56.4489
|  | 2486 | 56.514
|  | 2485 | 56.5947
|  | 2484 | 56.6597
|  | 2483 | 56.7064
|  | 2482 | 56.7522
|  | 2481 | 56.7963
|  | 2480 | 56.855
|  | 2479 | 56.9127
|  | 2478 | 56.9691
|  | 2477 | 57.0088
|  | 2476 | 57.0798
|  | 2475 | 57.159
|  | 2474 | 57.2009
|  | 2473 | 57.2438
|  | 2472 | 57.2899
|  | 2471 | 57.3385
|  | 2470 | 57.3805
|  | 2469 | 57.4088
|  | 2468 | 57.4531
|  | 2467 | 57.5175
|  | 2466 | 57.5668
|  | 2465 | 57.6063
|  | 2464 | 57.6437
|  | 2463 | 57.7004
|  | 2462 | 57.7439
|  | 2461 | 57.779
|  | 2460 | 57.803
|  | 2459 | 57.8215
|  | 2458 | 57.8379
|  | 2457 | 57.8842
|  | 2456 | 57.96
|  | 2455 | 58.0019
|  | 2454 | 58.0272
|  | 2453 | 58.055
|  | 2452 | 58.0859
|  | 2451 | 58.1059
|  | 2450 | 58.1233
|  | 2449 | 58.142
|  | 2448 | 58.1845
|  | 2447 | 58.2403
|  | 2446 | 58.2827
|  | 2445 | 58.3035
|  | 2444 | 58.3174
|  | 2443 | 58.3367
|  | 2442 | 58.3624
|  | 2441 | 58.3977
|  | 2440 | 58.4223
|  | 2439 | 58.4417
|  | 2438 | 58.4532
|  | 2437 | 58.4624
|  | 2436 | 58.4829
|  | 2435 | 58.5104
|  | 2434 | 58.5468
|  | 2433 | 58.5897
|  | 2432 | 58.632
|  | 2431 | 58.6496
|  | 2430 | 58.642
|  | 2429 | 58.643
|  | 2428 | 58.6733
|  | 2427 | 58.718
|  | 2426 | 58.7333
|  | 2425 | 58.738
|  | 2424 | 58.7466
|  | 2423 | 58.7596
|  | 2422 | 58.7904
|  | 2421 | 58.8211
|  | 2420 | 58.8418
|  | 2419 | 58.859
|  | 2418 | 58.859
|  | 2417 | 58.8577
|  | 2416 | 58.8775
|  | 2415 | 58.8908
|  | 2414 | 58.8962
|  | 2413 | 58.9194
|  | 2412 | 58.9563
|  | 2411 | 58.9704
|  | 2410 | 58.986
|  | 2409 | 58.9937
|  | 2408 | 58.9953
|  | 2407 | 59.0027
|  | 2406 | 59.0257
|  | 2405 | 59.0651
|  | 2404 | 59.0734
|  | 2403 | 59.0675
|  | 2402 | 59.0656
|  | 2401 | 59.0682
|  | 2400 | 59.0769
|  | 2399 | 59.0865
|  | 2398 | 59.1119
|  | 2397 | 59.1508
|  | 2396 | 59.1716
|  | 2395 | 59.1603
|  | 2394 | 59.1529
|  | 2393 | 59.1547
|  | 2392 | 59.1507
|  | 2391 | 59.1536
|  | 2390 | 59.181
|  | 2389 | 59.212
|  | 2388 | 59.2185
|  | 2387 | 59.2239
|  | 2386 | 59.2281
|  | 2385 | 59.2149
|  | 2384 | 59.2196
|  | 2383 | 59.2337
|  | 2382 | 59.2547
|  | 2381 | 59.2813
|  | 2380 | 59.291
|  | 2379 | 59.2956
|  | 2378 | 59.2944
|  | 2377 | 59.2884
|  | 2376 | 59.286
|  | 2375 | 59.2919
|  | 2374 | 59.3181
|  | 2373 | 59.3361
|  | 2372 | 59.3413
|  | 2371 | 59.3298
|  | 2370 | 59.3274
|  | 2369 | 59.3422
|  | 2368 | 59.3447
|  | 2367 | 59.3434
|  | 2366 | 59.3319
|  | 2365 | 59.3437
|  | 2364 | 59.3757
|  | 2363 | 59.3868
|  | 2362 | 59.3893
|  | 2361 | 59.3837
|  | 2360 | 59.3869
|  | 2359 | 59.3859
|  | 2358 | 59.3862
|  | 2357 | 59.4057
|  | 2356 | 59.4279
|  | 2355 | 59.4242
|  | 2354 | 59.4235
|  | 2353 | 59.428
|  | 2352 | 59.4281
|  | 2351 | 59.4237
|  | 2350 | 59.4236
|  | 2349 | 59.4353
|  | 2348 | 59.4445
|  | 2347 | 59.4567
|  | 2346 | 59.4565
|  | 2345 | 59.4512
|  | 2344 | 59.4449
|  | 2343 | 59.4432
|  | 2342 | 59.4341
|  | 2341 | 59.4338
|  | 2340 | 59.4645
|  | 2339 | 59.4682
|  | 2338 | 59.4693
|  | 2337 | 59.4542
|  | 2336 | 59.4523
|  | 2335 | 59.4454
|  | 2334 | 59.4449
|  | 2333 | 59.4631
|  | 2332 | 59.4836
|  | 2331 | 59.5029
|  | 2330 | 59.5093
|  | 2329 | 59.4938
|  | 2328 | 59.4826
|  | 2327 | 59.4875
|  | 2326 | 59.4912
|  | 2325 | 59.5134
|  | 2324 | 59.5422
|  | 2323 | 59.5271
|  | 2322 | 59.5274
|  | 2321 | 59.5159
|  | 2320 | 59.5088
|  | 2319 | 59.5094
|  | 2318 | 59.5167
|  | 2317 | 59.5272
|  | 2316 | 59.544
|  | 2315 | 59.5525
|  | 2314 | 59.5562
|  | 2313 | 59.5467
|  | 2312 | 59.5458
|  | 2311 | 59.5359
|  | 2310 | 59.5271
|  | 2309 | 59.5704
|  | 2308 | 59.5782
|  | 2307 | 59.5793
|  | 2306 | 59.5688
|  | 2305 | 59.5704
|  | 2304 | 59.5668
|  | 2303 | 59.5578
|  | 2302 | 59.5726
|  | 2301 | 59.6063
|  | 2300 | 59.623
|  | 2299 | 59.6241
|  | 2298 | 59.6312
|  | 2297 | 59.6194
|  | 2296 | 59.6102
|  | 2295 | 59.6074
|  | 2294 | 59.606
|  | 2293 | 59.6588
|  | 2292 | 59.6684
|  | 2291 | 59.7003
|  | 2290 | 59.6944
|  | 2289 | 59.6954
|  | 2288 | 59.6801
|  | 2287 | 59.6694
|  | 2286 | 59.669
|  | 2285 | 59.6719
|  | 2284 | 59.6815
|  | 2283 | 59.7102
|  | 2282 | 59.7331
|  | 2281 | 59.7447
|  | 2280 | 59.7518
|  | 2279 | 59.7613
|  | 2278 | 59.7547
|  | 2277 | 59.7638
|  | 2276 | 59.7724
|  | 2275 | 59.7712
|  | 2274 | 59.7688
|  | 2273 | 59.8202
|  | 2272 | 59.8492
|  | 2271 | 59.8516
|  | 2270 | 59.8678
|  | 2269 | 59.867
|  | 2268 | 59.8805
|  | 2267 | 59.8826
|  | 2266 | 59.8648
|  | 2265 | 59.8849
|  | 2264 | 59.9108
|  | 2263 | 59.9194
|  | 2262 | 59.9375
|  | 2261 | 59.9387
|  | 2260 | 59.9988
|  | 2259 | 60.0217
|  | 2258 | 60.0193
|  | 2257 | 60.0304
|  | 2256 | 60.0337
|  | 2255 | 60.0474
|  | 2254 | 60.0609
|  | 2253 | 60.0817
|  | 2252 | 60.0915
|  | 2251 | 60.1132
|  | 2250 | 60.118
|  | 2249 | 60.1471
|  | 2248 | 60.209
|  | 2247 | 60.2173
|  | 2246 | 60.2324
|  | 2245 | 60.2294
|  | 2244 | 60.2488
|  | 2243 | 60.2494
|  | 2242 | 60.2687
|  | 2241 | 60.2923
|  | 2240 | 60.3109
|  | 2239 | 60.3667
|  | 2238 | 60.389
|  | 2237 | 60.4019
|  | 2236 | 60.4234
|  | 2235 | 60.45
|  | 2234 | 60.4454
|  | 2233 | 60.4848
|  | 2232 | 60.4848
|  | 2231 | 60.5391
|  | 2230 | 60.5793
|  | 2229 | 60.6064
|  | 2228 | 60.6347
|  | 2227 | 60.6386
|  | 2226 | 60.6586
|  | 2225 | 60.6673
|  | 2224 | 60.6782
|  | 2223 | 60.7263
|  | 2222 | 60.7362
|  | 2221 | 60.7629
|  | 2220 | 60.7832
|  | 2219 | 60.8065
|  | 2218 | 60.8441
|  | 2217 | 60.8731
|  | 2216 | 60.893
|  | 2215 | 60.9403
|  | 2214 | 60.9711
|  | 2213 | 60.9767
|  | 2212 | 61.0006
|  | 2211 | 61.0276
|  | 2210 | 61.0582
|  | 2209 | 61.0471
|  | 2208 | 61.0764
|  | 2207 | 61.0817
|  | 2206 | 61.1546
|  | 2205 | 61.1894
|  | 2204 | 61.1925
|  | 2203 | 61.2442
|  | 2202 | 61.2588
|  | 2201 | 61.2909
|  | 2200 | 61.3393
|  | 2199 | 61.3667
|  | 2198 | 61.4352
|  | 2197 | 61.4294
|  | 2196 | 61.4391
|  | 2195 | 61.4678
|  | 2194 | 61.5635
|  | 2193 | 61.5775
|  | 2192 | 61.5738
|  | 2191 | 61.6472
|  | 2190 | 61.6628
|  | 2189 | 61.7195
|  | 2188 | 61.7627
|  | 2187 | 61.7846
|  | 2186 | 61.8327
|  | 2185 | 61.8643
|  | 2184 | 61.9084
|  | 2183 | 61.9468
|  | 2182 | 61.9912
|  | 2181 | 62.0195
|  | 2180 | 62.1024
|  | 2179 | 62.1598
|  | 2178 | 62.1637
|  | 2177 | 62.1711
|  | 2176 | 62.2036
|  | 2175 | 62.2596
|  | 2174 | 62.3172
|  | 2173 | 62.3696
|  | 2172 | 62.3875
|  | 2171 | 62.3835
|  | 2170 | 62.4327
|  | 2169 | 62.4918
|  | 2168 | 62.5315
|  | 2167 | 62.542
|  | 2166 | 62.5533
|  | 2165 | 62.5888
|  | 2164 | 62.623
|  | 2163 | 62.6552
|  | 2162 | 62.6823
|  | 2161 | 62.6884
|  | 2160 | 62.7165
|  | 2159 | 62.749
|  | 2158 | 62.7745
|  | 2157 | 62.7899
|  | 2156 | 62.7835
|  | 2155 | 62.799
|  | 2154 | 62.8246
|  | 2153 | 62.8145
|  | 2152 | 62.8127
|  | 2151 | 62.8257
|  | 2150 | 62.8659
|  | 2149 | 62.8582
|  | 2148 | 62.8531
|  | 2147 | 62.8433
|  | 2146 | 62.8392
|  | 2145 | 62.8575
|  | 2144 | 62.8615
|  | 2143 | 62.8487
|  | 2142 | 62.8457
|  | 2141 | 62.8579
|  | 2140 | 62.8371
|  | 2139 | 62.8254
|  | 2138 | 62.795
|  | 2137 | 62.8062
|  | 2136 | 62.8143
|  | 2135 | 62.8088
|  | 2134 | 62.7865
|  | 2133 | 62.7703
|  | 2132 | 62.7603
|  | 2131 | 62.7625
|  | 2130 | 62.7395
|  | 2129 | 62.708
|  | 2128 | 62.6976
|  | 2127 | 62.7073
|  | 2126 | 62.6864
|  | 2125 | 62.6537
|  | 2124 | 62.6432
|  | 2123 | 62.6231
|  | 2122 | 62.6122
|  | 2121 | 62.5886
|  | 2120 | 62.5613
|  | 2119 | 62.5404
|  | 2118 | 62.5296
|  | 2117 | 62.5153
|  | 2116 | 62.4822
|  | 2115 | 62.4568
|  | 2114 | 62.427
|  | 2113 | 62.4238
|  | 2112 | 62.4163
|  | 2111 | 62.3939
|  | 2110 | 62.3517
|  | 2109 | 62.3165
|  | 2108 | 62.3207
|  | 2107 | 62.325
|  | 2106 | 62.2915
|  | 2105 | 62.2604
|  | 2104 | 62.2359
|  | 2103 | 62.2047
|  | 2102 | 62.1683
|  | 2101 | 62.13
|  | 2100 | 62.1259
|  | 2099 | 62.1214
|  | 2098 | 62.07
|  | 2097 | 62.0384
|  | 2096 | 62.0246
|  | 2095 | 61.9996
|  | 2094 | 61.9991
|  | 2093 | 61.9881
|  | 2092 | 61.9435
|  | 2091 | 61.9121
|  | 2090 | 61.8945
|  | 2089 | 61.893
|  | 2088 | 61.8558
|  | 2087 | 61.8307
|  | 2086 | 61.8018
|  | 2085 | 61.7702
|  | 2084 | 61.7601
|  | 2083 | 61.744
|  | 2082 | 61.7073
|  | 2081 | 61.6681
|  | 2080 | 61.6332
|  | 2079 | 61.6045
|  | 2078 | 61.5992
|  | 2077 | 61.5769
|  | 2076 | 61.5339
|  | 2075 | 61.507
|  | 2074 | 61.4913
|  | 2073 | 61.4709
|  | 2072 | 61.4425
|  | 2071 | 61.4077
|  | 2070 | 61.3571
|  | 2069 | 61.3296
|  | 2068 | 61.3256
|  | 2067 | 61.3066
|  | 2066 | 61.2643
|  | 2065 | 61.2339
|  | 2064 | 61.2225
|  | 2063 | 61.1986
|  | 2062 | 61.1547
|  | 2061 | 61.117
|  | 2060 | 61.0967
|  | 2059 | 61.0672
|  | 2058 | 61.051
|  | 2057 | 61.0232
|  | 2056 | 60.9775
|  | 2055 | 60.9602
|  | 2054 | 60.9451
|  | 2053 | 60.9207
|  | 2052 | 60.8884
|  | 2051 | 60.8565
|  | 2050 | 60.8225
|  | 2049 | 60.7986
|  | 2048 | 60.7969
|  | 2047 | 60.7694
|  | 2046 | 60.7286
|  | 2045 | 60.7059
|  | 2044 | 60.6948
|  | 2043 | 60.6668
|  | 2042 | 60.6257
|  | 2041 | 60.5789
|  | 2040 | 60.5527
|  | 2039 | 60.5471
|  | 2038 | 60.5115
|  | 2037 | 60.4652
|  | 2036 | 60.4427
|  | 2035 | 60.4364
|  | 2034 | 60.4084
|  | 2033 | 60.3556
|  | 2032 | 60.3371
|  | 2031 | 60.3374
|  | 2030 | 60.3103
|  | 2029 | 60.2661
|  | 2028 | 60.2057
|  | 2027 | 60.1644
|  | 2026 | 60.1486
|  | 2025 | 60.1191
|  | 2024 | 60.0827
|  | 2023 | 60.0652
|  | 2022 | 60.0465
|  | 2021 | 60.0148
|  | 2020 | 59.9783
|  | 2019 | 59.9359
|  | 2018 | 59.9153
|  | 2017 | 59.8998
|  | 2016 | 59.8644
|  | 2015 | 59.8199
|  | 2014 | 59.7786
|  | 2013 | 59.7497
|  | 2012 | 59.7272
|  | 2011 | 59.697
|  | 2010 | 59.6571
|  | 2009 | 59.628
|  | 2008 | 59.6146
|  | 2007 | 59.5738
|  | 2006 | 59.515
|  | 2005 | 59.4777
|  | 2004 | 59.4548
|  | 2003 | 59.4358
|  | 2002 | 59.4189
|  | 2001 | 59.3921
|  | 2000 | 59.3368
|  | 1999 | 59.2927
|  | 1998 | 59.2647
|  | 1997 | 59.2435
|  | 1996 | 59.2081
|  | 1995 | 59.164
|  | 1994 | 59.122
|  | 1993 | 59.1043
|  | 1992 | 59.0878
|  | 1991 | 59.0532
|  | 1990 | 59.0162
|  | 1989 | 58.9861
|  | 1988 | 58.9407
|  | 1987 | 58.8956
|  | 1986 | 58.8564
|  | 1985 | 58.8116
|  | 1984 | 58.7799
|  | 1983 | 58.7561
|  | 1982 | 58.7276
|  | 1981 | 58.6912
|  | 1980 | 58.6569
|  | 1979 | 58.6184
|  | 1978 | 58.5868
|  | 1977 | 58.5576
|  | 1976 | 58.5253
|  | 1975 | 58.4811
|  | 1974 | 58.4449
|  | 1973 | 58.4179
|  | 1972 | 58.3827
|  | 1971 | 58.3524
|  | 1970 | 58.3155
|  | 1969 | 58.2694
|  | 1968 | 58.2182
|  | 1967 | 58.1855
|  | 1966 | 58.1539
|  | 1965 | 58.1244
|  | 1964 | 58.0901
|  | 1963 | 58.0507
|  | 1962 | 58.0008
|  | 1961 | 57.9448
|  | 1960 | 57.9073
|  | 1959 | 57.8603
|  | 1958 | 57.8159
|  | 1957 | 57.7937
|  | 1956 | 57.7504
|  | 1955 | 57.7012
|  | 1954 | 57.6494
|  | 1953 | 57.6221
|  | 1952 | 57.5771
|  | 1951 | 57.525
|  | 1950 | 57.4886
|  | 1949 | 57.4559
|  | 1948 | 57.4047
|  | 1947 | 57.3835
|  | 1946 | 57.3451
|  | 1945 | 57.2724
|  | 1944 | 57.2269
|  | 1943 | 57.1982
|  | 1942 | 57.1463
|  | 1941 | 57.0758
|  | 1940 | 57.0723
|  | 1939 | 57.0418
|  | 1938 | 56.9653
|  | 1937 | 56.906
|  | 1936 | 56.8461
|  | 1935 | 56.814
|  | 1934 | 56.7774
|  | 1933 | 56.7437
|  | 1932 | 56.6766
|  | 1931 | 56.6402
|  | 1930 | 56.6168
|  | 1929 | 56.5799
|  | 1928 | 56.54
|  | 1927 | 56.4565
|  | 1926 | 56.3838
|  | 1925 | 56.3328
|  | 1924 | 56.2871
|  | 1923 | 56.245
|  | 1922 | 56.2183
|  | 1921 | 56.1958
|  | 1920 | 56.1254
|  | 1919 | 56.0334
|  | 1918 | 55.9439
|  | 1917 | 55.8782
|  | 1916 | 55.8818
|  | 1915 | 55.887
|  | 1914 | 55.9071
|  | 1913 | 55.8729
|  | 1912 | 55.7468
|  | 1911 | 55.5918
|  | 1910 | 55.488
|  | 1909 | 55.466
|  | 1908 | 55.4808
|  | 1907 | 55.5223
|  | 1906 | 55.5213
|  | 1905 | 55.4122
|  | 1904 | 55.2893
|  | 1903 | 55.1465
|  | 1902 | 55.1041
|  | 1901 | 55.082
|  | 1900 | 55.0839
|  | 1899 | 55.0531
|  | 1898 | 54.9628
|  | 1897 | 54.8461
|  | 1896 | 54.7718
|  | 1895 | 54.7309
|  | 1894 | 54.7392
|  | 1893 | 54.782
|  | 1892 | 54.7574
|  | 1891 | 54.6936
|  | 1890 | 54.5393
|  | 1889 | 54.4385
|  | 1888 | 54.3476
|  | 1887 | 54.257
|  | 1886 | 54.2546
|  | 1885 | 54.2729
|  | 1884 | 54.2032
|  | 1883 | 54.1144
|  | 1882 | 54.0425
|  | 1881 | 53.9592
|  | 1880 | 53.8841
|  | 1879 | 53.8284
|  | 1878 | 53.7971
|  | 1877 | 53.7962
|  | 1876 | 53.7604
|  | 1875 | 53.6617
|  | 1874 | 53.5536
|  | 1873 | 53.4893
|  | 1872 | 53.4164
|  | 1871 | 53.2869
|  | 1870 | 53.1847
|  | 1869 | 53.1054
|  | 1868 | 53.0134
|  | 1867 | 52.9105
|  | 1866 | 52.8988
|  | 1865 | 52.8653
|  | 1864 | 52.8758
|  | 1863 | 52.8068
|  | 1862 | 52.796
|  | 1861 | 52.7649
|  | 1860 | 52.7127
|  | 1859 | 52.6171
|  | 1858 | 52.4799
|  | 1857 | 52.3079
|  | 1856 | 52.2096
|  | 1855 | 52.1865
|  | 1854 | 52.1716
|  | 1853 | 52.1242
|  | 1852 | 52.0112
|  | 1851 | 51.9005
|  | 1850 | 51.8771
|  | 1849 | 51.8845
|  | 1848 | 51.8737
|  | 1847 | 51.8445
|  | 1846 | 51.633
|  | 1845 | 51.3949
|  | 1844 | 51.2546
|  | 1843 | 51.2652
|  | 1842 | 51.3772
|  | 1841 | 51.4628
|  | 1840 | 51.3587
|  | 1839 | 51.1182
|  | 1838 | 50.931
|  | 1837 | 50.8449
|  | 1836 | 50.7291
|  | 1835 | 50.7204
|  | 1834 | 50.636
|  | 1833 | 50.524
|  | 1832 | 50.5274
|  | 1831 | 50.4886
|  | 1830 | 50.4778
|  | 1829 | 50.3953
|  | 1828 | 50.2379
|  | 1827 | 50.1525
|  | 1826 | 50.0405
|  | 1825 | 49.9423
|  | 1824 | 49.8407
|  | 1823 | 49.8075
|  | 1822 | 49.7864
|  | 1821 | 49.8661
|  | 1820 | 49.753
|  | 1819 | 49.5268
|  | 1818 | 49.3064
|  | 1817 | 49.2079
|  | 1816 | 49.2228
|  | 1815 | 49.2355
|  | 1814 | 49.1921
|  | 1813 | 49.1056
|  | 1812 | 48.9907
|  | 1811 | 48.8952
|  | 1810 | 48.7852
|  | 1809 | 48.6949
|  | 1808 | 48.5983
|  | 1807 | 48.5649
|  | 1806 | 48.503
|  | 1805 | 48.4415
|  | 1804 | 48.3189
|  | 1803 | 48.2326
|  | 1802 | 48.1299
|  | 1801 | 48.0464
|  | 1800 | 48.0022
|  | 1799 | 47.9181
|  | 1798 | 47.8112
|  | 1797 | 47.7175
|  | 1796 | 47.6296
|  | 1795 | 47.561
|  | 1794 | 47.4682
|  | 1793 | 47.383
|  | 1792 | 47.2897
|  | 1791 | 47.2055
|  | 1790 | 47.1582
|  | 1789 | 47.0816
|  | 1788 | 46.9832
|  | 1787 | 46.8927
|  | 1786 | 46.8078
|  | 1785 | 46.7259
|  | 1784 | 46.6273
|  | 1783 | 46.5303
|  | 1782 | 46.4283
|  | 1781 | 46.3184
|  | 1780 | 46.2531
|  | 1779 | 46.1806
|  | 1778 | 46.0475
|  | 1777 | 45.9634
|  | 1776 | 45.8644
|  | 1775 | 45.7768
|  | 1774 | 45.6813
|  | 1773 | 45.6089
|  | 1772 | 45.5225
|  | 1771 | 45.4325
|  | 1770 | 45.3445
|  | 1769 | 45.2388
|  | 1768 | 45.1506
|  | 1767 | 45.0505
|  | 1766 | 44.9595
|  | 1765 | 44.8817
|  | 1764 | 44.7969
|  | 1763 | 44.7009
|  | 1762 | 44.6032
|  | 1761 | 44.5073
|  | 1760 | 44.4022
|  | 1759 | 44.3225
|  | 1758 | 44.2257
|  | 1757 | 44.1529
|  | 1756 | 44.0687
|  | 1755 | 43.9579
|  | 1754 | 43.8688
|  | 1753 | 43.7719
|  | 1752 | 43.6625
|  | 1751 | 43.5499
|  | 1750 | 43.4455
|  | 1749 | 43.3482
|  | 1748 | 43.2492
|  | 1747 | 43.1431
|  | 1746 | 43.0498
|  | 1745 | 42.9488
|  | 1744 | 42.8362
|  | 1743 | 42.7422
|  | 1742 | 42.676
|  | 1741 | 42.5833
|  | 1740 | 42.4732
|  | 1739 | 42.3632
|  | 1738 | 42.258
|  | 1737 | 42.1429
|  | 1736 | 42.0338
|  | 1735 | 41.9426
|  | 1734 | 41.8366
|  | 1733 | 41.732
|  | 1732 | 41.6344
|  | 1731 | 41.5374
|  | 1730 | 41.4311
|  | 1729 | 41.3327
|  | 1728 | 41.2311
|  | 1727 | 41.1288
|  | 1726 | 41.0421
|  | 1725 | 40.961
|  | 1724 | 40.8615
|  | 1723 | 40.7467
|  | 1722 | 40.6355
|  | 1721 | 40.5192
|  | 1720 | 40.3926
|  | 1719 | 40.2879
|  | 1718 | 40.1794
|  | 1717 | 40.0738
|  | 1716 | 39.9687
|  | 1715 | 39.8586
|  | 1714 | 39.7382
|  | 1713 | 39.6292
|  | 1712 | 39.5462
|  | 1711 | 39.4536
|  | 1710 | 39.3399
|  | 1709 | 39.2151
|  | 1708 | 39.0968
|  | 1707 | 38.9757
|  | 1706 | 38.865
|  | 1705 | 38.754
|  | 1704 | 38.638
|  | 1703 | 38.5285
|  | 1702 | 38.4094
|  | 1701 | 38.2927
|  | 1700 | 38.1952
|  | 1699 | 38.1045
|  | 1698 | 37.988
|  | 1697 | 37.8681
|  | 1696 | 37.7481
|  | 1695 | 37.6341
|  | 1694 | 37.5223
|  | 1693 | 37.4134
|  | 1692 | 37.3032
|  | 1691 | 37.2025
|  | 1690 | 37.1087
|  | 1689 | 36.9978
|  | 1688 | 36.8772
|  | 1687 | 36.7553
|  | 1686 | 36.6278
|  | 1685 | 36.5123
|  | 1684 | 36.3939
|  | 1683 | 36.2774
|  | 1682 | 36.1725
|  | 1681 | 36.0786
|  | 1680 | 35.9612
|  | 1679 | 35.8332
|  | 1678 | 35.6966
|  | 1677 | 35.5653
|  | 1676 | 35.4484
|  | 1675 | 35.3269
|  | 1674 | 35.2051
|  | 1673 | 35.093
|  | 1672 | 34.9967
|  | 1671 | 34.892
|  | 1670 | 34.7579
|  | 1669 | 34.615
|  | 1668 | 34.4828
|  | 1667 | 34.3525
|  | 1666 | 34.2127
|  | 1665 | 34.0875
|  | 1664 | 33.9715
|  | 1663 | 33.8571
|  | 1662 | 33.7371
|  | 1661 | 33.6152
|  | 1660 | 33.5009
|  | 1659 | 33.3856
|  | 1658 | 33.2649
|  | 1657 | 33.1427
|  | 1656 | 33.0148
|  | 1655 | 32.905
|  | 1654 | 32.8103
|  | 1653 | 32.6978
|  | 1652 | 32.5641
|  | 1651 | 32.4379
|  | 1650 | 32.3153
|  | 1649 | 32.1871
|  | 1648 | 32.0623
|  | 1647 | 31.9541
|  | 1646 | 31.85
|  | 1645 | 31.7289
|  | 1644 | 31.5958
|  | 1643 | 31.4605
|  | 1642 | 31.332
|  | 1641 | 31.2022
|  | 1640 | 31.0881
|  | 1639 | 30.9855
|  | 1638 | 30.8589
|  | 1637 | 30.718
|  | 1636 | 30.5825
|  | 1635 | 30.4462
|  | 1634 | 30.3165
|  | 1633 | 30.2043
|  | 1632 | 30.0929
|  | 1631 | 29.9605
|  | 1630 | 29.8263
|  | 1629 | 29.6976
|  | 1628 | 29.564
|  | 1627 | 29.4557
|  | 1626 | 29.3512
|  | 1625 | 29.2153
|  | 1624 | 29.0785
|  | 1623 | 28.9388
|  | 1622 | 28.8037
|  | 1621 | 28.6738
|  | 1620 | 28.54
|  | 1619 | 28.4127
|  | 1618 | 28.2891
|  | 1617 | 28.1617
|  | 1616 | 28.041
|  | 1615 | 27.9366
|  | 1614 | 27.8437
|  | 1613 | 27.728
|  | 1612 | 27.5877
|  | 1611 | 27.4509
|  | 1610 | 27.3237
|  | 1609 | 27.1914
|  | 1608 | 27.0609
|  | 1607 | 26.9297
|  | 1606 | 26.806
|  | 1605 | 26.6782
|  | 1604 | 26.5516
|  | 1603 | 26.425
|  | 1602 | 26.2967
|  | 1601 | 26.1635
|  | 1600 | 26.0375
|  | 1599 | 25.9095
|  | 1598 | 25.7772
|  | 1597 | 25.6409
|  | 1596 | 25.5148
|  | 1595 | 25.3846
|  | 1594 | 25.259
|  | 1593 | 25.1313
|  | 1592 | 24.9904
|  | 1591 | 24.8529
|  | 1590 | 24.7235
|  | 1589 | 24.6222
|  | 1588 | 24.5187
|  | 1587 | 24.39
|  | 1586 | 24.2562
|  | 1585 | 24.1236
|  | 1584 | 23.9767
|  | 1583 | 23.8375
|  | 1582 | 23.7053
|  | 1581 | 23.5812
|  | 1580 | 23.4488
|  | 1579 | 23.3456
|  | 1578 | 23.2536
|  | 1577 | 23.1161
|  | 1576 | 22.985
|  | 1575 | 22.8522
|  | 1574 | 22.7248
|  | 1573 | 22.5849
|  | 1572 | 22.4554
|  | 1571 | 22.3452
|  | 1570 | 22.2487
|  | 1569 | 22.1345
|  | 1568 | 21.9947
|  | 1567 | 21.8595
|  | 1566 | 21.7572
|  | 1565 | 21.6534
|  | 1564 | 21.5235
|  | 1563 | 21.3837
|  | 1562 | 21.2407
|  | 1561 | 21.1095
|  | 1560 | 21.0015
|  | 1559 | 20.8991
|  | 1558 | 20.7668
|  | 1557 | 20.6285
|  | 1556 | 20.497
|  | 1555 | 20.3719
|  | 1554 | 20.2439
|  | 1553 | 20.1359
|  | 1552 | 20.0295
|  | 1551 | 19.9066
|  | 1550 | 19.7719
|  | 1549 | 19.6415
|  | 1548 | 19.5121
|  | 1547 | 19.38
|  | 1546 | 19.2904
|  | 1545 | 19.1764
|  | 1544 | 19.0526
|  | 1543 | 18.9196
|  | 1542 | 18.8005
|  | 1541 | 18.6801
|  | 1540 | 18.5493
|  | 1539 | 18.4229
|  | 1538 | 18.3124
|  | 1537 | 18.1867
|  | 1536 | 18.0704
|  | 1535 | 17.9799
|  | 1534 | 17.8909
|  | 1533 | 17.7629
|  | 1532 | 17.6356
|  | 1531 | 17.5095
|  | 1530 | 17.3902
|  | 1529 | 17.2701
|  | 1528 | 17.1508
|  | 1527 | 17.0351
|  | 1526 | 16.9181
|  | 1525 | 16.8006
|  | 1524 | 16.7177
|  | 1523 | 16.6217
|  | 1522 | 16.4991
|  | 1521 | 16.3759
|  | 1520 | 16.256
|  | 1519 | 16.1232
|  | 1518 | 16.0025
|  | 1517 | 15.8759
|  | 1516 | 15.787
|  | 1515 | 15.6834
|  | 1514 | 15.569
|  | 1513 | 15.4424
|  | 1512 | 15.3237
|  | 1511 | 15.2015
|  | 1510 | 15.0991
|  | 1509 | 15.0069
|  | 1508 | 14.8861
|  | 1507 | 14.7698
|  | 1506 | 14.6508
|  | 1505 | 14.5258
|  | 1504 | 14.4428
|  | 1503 | 14.355
|  | 1502 | 14.2346
|  | 1501 | 14.1185
|  | 1500 | 13.9973
|  | 1499 | 13.8848
|  | 1498 | 13.7783
|  | 1497 | 13.6697
|  | 1496 | 13.6002
|  | 1495 | 13.5111
|  | 1494 | 13.3913
|  | 1493 | 13.2849
|  | 1492 | 13.1799
|  | 1491 | 13.0664
|  | 1490 | 12.9732
|  | 1489 | 12.8651
|  | 1488 | 12.7646
|  | 1487 | 12.6613
|  | 1486 | 12.5669
|  | 1485 | 12.4579
|  | 1484 | 12.3598
|  | 1483 | 12.2552
|  | 1482 | 12.1536
|  | 1481 | 12.098
|  | 1480 | 12.0254
|  | 1479 | 11.9297
|  | 1478 | 11.7628
|  | 1477 | 11.625
|  | 1476 | 11.5461
|  | 1475 | 11.433
|  | 1474 | 11.3307
|  | 1473 | 11.2674
|  | 1472 | 11.214
|  | 1471 | 11.121
|  | 1470 | 11.0306
|  | 1469 | 10.8589
|  | 1468 | 10.7413
|  | 1467 | 10.6382
|  | 1466 | 10.5768
|  | 1465 | 10.5042
|  | 1464 | 10.4155
|  | 1463 | 10.3138
|  | 1462 | 10.2134
|  | 1461 | 10.1488
|  | 1460 | 10.0726
|  | 1459 | 9.9654
|  | 1458 | 9.8759
|  | 1457 | 9.7653
|  | 1456 | 9.6996
|  | 1455 | 9.6426
|  | 1454 | 9.5613
|  | 1453 | 9.4498
|  | 1452 | 9.3475
|  | 1451 | 9.2545
|  | 1450 | 9.1951
|  | 1449 | 9.1146
|  | 1448 | 9.002
|  | 1447 | 8.9294
|  | 1446 | 8.8749
|  | 1445 | 8.7988
|  | 1444 | 8.738
|  | 1443 | 8.6284
|  | 1442 | 8.5147
|  | 1441 | 8.4186
|  | 1440 | 8.3809
|  | 1439 | 8.3146
|  | 1438 | 8.2254
|  | 1437 | 8.1321
|  | 1436 | 8.0476
|  | 1435 | 7.9628
|  | 1434 | 7.8719
|  | 1433 | 7.7968
|  | 1432 | 7.7304
|  | 1431 | 7.6636
|  | 1430 | 7.5828
|  | 1429 | 7.4906
|  | 1428 | 7.4497
|  | 1427 | 7.4065
|  | 1426 | 7.3147
|  | 1425 | 7.2216
|  | 1424 | 7.1529
|  | 1423 | 7.1041
|  | 1422 | 7.0287
|  | 1421 | 6.9345
|  | 1420 | 6.851
|  | 1419 | 6.8124
|  | 1418 | 6.776
|  | 1417 | 6.6271
|  | 1416 | 6.5113
|  | 1415 | 6.4439
|  | 1414 | 6.4851
|  | 1413 | 6.466
|  | 1412 | 6.3247
|  | 1411 | 6.1898
|  | 1410 | 6.1182
|  | 1409 | 6.152
|  | 1408 | 6.1619
|  | 1407 | 6.0467
|  | 1406 | 5.9072
|  | 1405 | 5.8292
|  | 1404 | 5.7892
|  | 1403 | 5.718
|  | 1402 | 5.5923
|  | 1401 | 5.5669
|  | 1400 | 5.7096
|  | 1399 | 5.7079
|  | 1398 | 5.3834
|  | 1397 | 5.1299
|  | 1396 | 5.2035
|  | 1395 | 5.4378
|  | 1394 | 5.3763
|  | 1393 | 5.0699
|  | 1392 | 4.9462
|  | 1391 | 4.9566
|  | 1390 | 4.9057
|  | 1389 | 4.8529
|  | 1388 | 4.9207
|  | 1387 | 4.9413
|  | 1386 | 4.8025
|  | 1385 | 4.6423
|  | 1384 | 4.6148
|  | 1383 | 4.651
|  | 1382 | 4.6475
|  | 1381 | 4.4917
|  | 1380 | 4.2666
|  | 1379 | 4.1125
|  | 1378 | 4.0629
|  | 1377 | 4.1298
|  | 1376 | 4.2169
|  | 1375 | 4.2496
|  | 1374 | 4.2079
|  | 1373 | 4.1341
|  | 1372 | 4.0787
|  | 1371 | 4.072
|  | 1370 | 4.0333
|  | 1369 | 3.8766
|  | 1368 | 3.7466
|  | 1367 | 3.7229
|  | 1366 | 3.6796
|  | 1365 | 3.6195
|  | 1364 | 3.6439
|  | 1363 | 3.6319
|  | 1362 | 3.5443
|  | 1361 | 3.5385
|  | 1360 | 3.4907
|  | 1359 | 3.2817
|  | 1358 | 3.1485
|  | 1357 | 3.1477
|  | 1356 | 3.2487
|  | 1355 | 3.3275
|  | 1354 | 3.3358
|  | 1353 | 3.216
|  | 1352 | 3.0347
|  | 1351 | 2.9627
|  | 1350 | 2.9687
|  | 1349 | 2.9994
|  | 1348 | 2.9948
|  | 1347 | 2.9776
|  | 1346 | 2.9088
|  | 1345 | 2.8119
|  | 1344 | 2.7418
|  | 1343 | 2.7193
|  | 1342 | 2.7193
|  | 1341 | 2.72
|  | 1340 | 2.6843
|  | 1339 | 2.6326
|  | 1338 | 2.5765
|  | 1337 | 2.522
|  | 1336 | 2.4812
|  | 1335 | 2.4611
|  | 1334 | 2.4671
|  | 1333 | 2.4424
|  | 1332 | 2.4024
|  | 1331 | 2.3515
|  | 1330 | 2.3104
|  | 1329 | 2.2768
|  | 1328 | 2.2426
|  | 1327 | 2.2065
|  | 1326 | 2.1733
|  | 1325 | 2.1401
|  | 1324 | 2.1075
|  | 1323 | 2.0751
|  | 1322 | 2.0483
|  | 1321 | 2.019
|  | 1320 | 1.9906
|  | 1319 | 1.9597
|  | 1318 | 1.9392
|  | 1317 | 1.9323
|  | 1316 | 1.9029
|  | 1315 | 1.8705
|  | 1314 | 1.8344
|  | 1313 | 1.7965
|  | 1312 | 1.765
|  | 1311 | 1.7364
|  | 1310 | 1.7118
|  | 1309 | 1.7025
|  | 1308 | 1.6777
|  | 1307 | 1.6401
|  | 1306 | 1.6235
|  | 1305 | 1.6287
|  | 1304 | 1.6086
|  | 1303 | 1.5724
|  | 1302 | 1.5335
|  | 1301 | 1.4966
|  | 1300 | 1.4692
|  | 1299 | 1.4392
|  | 1298 | 1.4134
|  | 1297 | 1.4094
|  | 1296 | 1.4201
|  | 1295 | 1.4045
|  | 1294 | 1.377
|  | 1293 | 1.3518
|  | 1292 | 1.3263
|  | 1291 | 1.3065
|  | 1290 | 1.2893
|  | 1289 | 1.2703
|  | 1288 | 1.2489
|  | 1287 | 1.2279
|  | 1286 | 1.2145
|  | 1285 | 1.2023
|  | 1284 | 1.183
|  | 1283 | 1.1511
|  | 1282 | 1.1176
|  | 1281 | 1.1016
|  | 1280 | 1.0924
|  | 1279 | 1.0817
|  | 1278 | 1.0667
|  | 1277 | 1.0548
|  | 1276 | 1.0121
|  | 1275 | 0.95775
|  | 1274 | 0.94137
|  | 1273 | 0.93356
|  | 1272 | 0.92292
|  | 1271 | 0.90953
|  | 1270 | 0.90633
|  | 1269 | 0.91374
|  | 1268 | 0.90174
|  | 1267 | 0.87509
|  | 1266 | 0.84449
|  | 1265 | 0.81892
|  | 1264 | 0.82846
|  | 1263 | 0.84371
|  | 1262 | 0.83237
|  | 1261 | 0.80556
|  | 1260 | 0.77288
|  | 1259 | 0.74539
|  | 1258 | 0.74667
|  | 1257 | 0.75513
|  | 1256 | 0.74467
|  | 1255 | 0.72338
|  | 1254 | 0.69512
|  | 1253 | 0.67455
|  | 1252 | 0.68525
|  | 1251 | 0.70444
|  | 1250 | 0.69647
|  | 1249 | 0.67275
|  | 1248 | 0.65899
|  | 1247 | 0.64588
|  | 1246 | 0.63498
|  | 1245 | 0.63051
|  | 1244 | 0.61632
|  | 1243 | 0.60812
|  | 1242 | 0.60409
|  | 1241 | 0.592
|  | 1240 | 0.56285
|  | 1239 | 0.53241
|  | 1238 | 0.52425
|  | 1237 | 0.52633
|  | 1236 | 0.52769
|  | 1235 | 0.52339
|  | 1234 | 0.51274
|  | 1233 | 0.50699
|  | 1232 | 0.49888
|  | 1231 | 0.48583
|  | 1230 | 0.45583
|  | 1229 | 0.42211
|  | 1228 | 0.40878
|  | 1227 | 0.39844
|  | 1226 | 0.38819
|  | 1225 | 0.38582
|  | 1224 | 0.39106
|  | 1223 | 0.4324
|  | 1222 | 0.45221
|  | 1221 | 0.43323
|  | 1220 | 0.40874
|  | 1219 | 0.38577
|  | 1218 | 0.36585
|  | 1217 | 0.34968
|  | 1216 | 0.33663
|  | 1215 | 0.33284
|  | 1214 | 0.32923
|  | 1213 | 0.34101
|  | 1212 | 0.35481
|  | 1211 | 0.35405
|  | 1210 | 0.35107
|  | 1209 | 0.34728
|  | 1208 | 0.34148
|  | 1207 | 0.34366
|  | 1206 | 0.34632
|  | 1205 | 0.32566
|  | 1204 | 0.31183
|  | 1203 | 0.28475
|  | 1202 | 0.26717
|  | 1201 | 0.27475
|  | 1200 | 0.28898
|  | 1199 | 0.29602
|  | 1198 | 0.26981
|  | 1197 | 0.25452
|  | 1196 | 0.26031
|  | 1195 | 0.26282
|  | 1194 | 0.21832
|  | 1193 | 0.18898
|  | 1192 | 0.18352
|  | 1191 | 0.18215
|  | 1190 | 0.1876
|  | 1189 | 0.20462
|  | 1188 | 0.21882
|  | 1187 | 0.19902
|  | 1186 | 0.1873
|  | 1185 | 0.1828
|  | 1184 | 0.18544
|  | 1183 | 0.1939
|  | 1182 | 0.19934
|  | 1181 | 0.19894
|  | 1180 | 0.2097
|  | 1179 | 0.19998
|  | 1178 | 0.19544
|  | 1177 | 0.18832
|  | 1176 | 0.19114
|  | 1175 | 0.19332
|  | 1174 | 0.18727
|  | 1173 | 0.1561
|  | 1172 | 0.1377
|  | 1171 | 0.12745
|  | 1170 | 0.13048
|  | 1169 | 0.13715
|  | 1168 | 0.14737
|  | 1167 | 0.14369
|  | 1166 | 0.14507
|  | 1165 | 0.15135
|  | 1164 | 0.15228
|  | 1163 | 0.14935
|  | 1162 | 0.14538
|  | 1161 | 0.14422
|  | 1160 | 0.14902
|  | 1159 | 0.14589
|  | 1158 | 0.11787
|  | 1157 | 0.10103
|  | 1156 | 0.097483
|  | 1155 | 0.10552
|  | 1154 | 0.099121
|  | 1153 | 0.12119
|  | 1152 | 0.12371
|  | 1151 | 0.13114
|  | 1150 | 0.12852
|  | 1149 | 0.13281
|  | 1148 | 0.08983
|  | 1147 | 0.071304
|  | 1146 | 0.080089
|  | 1145 | 0.087613
|  | 1144 | 0.10369
|  | 1143 | 0.10651
|  | 1142 | 0.08236
|  | 1141 | 0.077668
|  | 1140 | 0.083622
|  | 1139 | 0.091881
|  | 1138 | 0.094287
|  | 1137 | 0.095949
|  | 1136 | 0.094368
|  | 1135 | 0.12833
|  | 1134 | 0.12882
|  | 1133 | 0.064789
|  | 1132 | 0.01588
|  | 1131 | 0.004911
|  | 1130 | 0.03531
|  | 1129 | 0.074915
|  | 1128 | 0.10845
|  | 1127 | 0.10989
|  | 1126 | 0.10322
|  | 1125 | 0.07596
|  | 1124 | 0.061957
|  | 1123 | 0.060374
|  | 1122 | 0.06466
|  | 1121 | 0.086489
|  | 1120 | 0.075101
|  | 1119 | 0.068098
|  | 1118 | 0.060257
|  | 1117 | 0.065698
|  | 1116 | 0.062663
|  | 1115 | 0.066852
|  | 1114 | 0.020994
|  | 1113 | 0.002193
|  | 1112 | 0.012323
|  | 1111 | 0.016707
|  | 1110 | 0.02412
|  | 1109 | 0.040825
|  | 1108 | 0.049803
|  | 1107 | 0.057839
|  | 1106 | 0.054393
|  | 1105 | 0.061179
|  | 1104 | 0.069847
|  | 1103 | 0.068059
|  | 1102 | 0.073802
|  | 1101 | 0.073181
|  | 1100 | 0.086641
|  | 1099 | 0.01743
|  | 1098 | 0.001983
|  | 1097 | 0.026412
|  | 1096 | 0.025992
|  | 1095 | 0.037363
|  | 1094 | 0.044447
|  | 1093 | 0.052167
|  | 1092 | 0.058961
|  | 1091 | 0.066466
|  | 1090 | 0.064271
|  | 1089 | 0.043505
|  | 1088 | 0.036309
|  | 1087 | 0.053627
|  | 1086 | 0.008555
|  | 1085 | 0.005634
|  | 1084 | 0.004695
|  | 1083 | 0.02149
|  | 1082 | 0.028791
|  | 1081 | 0.043707
|  | 1080 | 0.044543
|  | 1079 | 0.048403
|  | 1078 | 0.058012
|  | 1077 | 0.014502
|  | 1076 | 0.01544
|  | 1075 | 0.030148
|  | 1074 | 0.029935
|  | 1073 | 0.040264
|  | 1072 | 0.053201
|  | 1071 | 0.058712
|  | 1070 | 0.014186
|  | 1069 | 0.013664
|  | 1068 | 0.008134
|  | 1067 | 0.011158
|  | 1066 | 0.012096
|  | 1065 | 0.023357
|  | 1064 | 0.018563
|  | 1063 | 0.038999
|  | 1062 | 0.037227
|  | 1061 | 0.049946
|  | 1060 | 0.000938
|  | 1059 | 0.006465
|  | 1058 | 0.010114
|  | 1057 | 0.011571
|  | 1056 | 0.025955
|  | 1055 | 0.028768
|  | 1054 | 0.046273
|  | 1053 | 0.045338
|  | 1052 | 0.005421
|  | 1051 | 0.002085
|  | 1050 | 0.00688
|  | 1049 | 0.028356
|  | 1048 | 0.025645
|  | 1047 | 0.040967
|  | 1046 | 0.038671
|  | 1045 | 0.005212
|  | 1044 | 0.000104
|  | 1043 | 0.022093
|  | 1042 | 0.020631
|  | 1041 | 0.037929
|  | 1040 | 0.035427
|  | 1039 | 0.004481
|  | 1038 | 0.006044
|  | 1037 | 0.014899
|  | 1036 | 0.020842
|  | 1035 | 0.033863
|  | 1034 | 0.004897
|  | 1033 | 0.000729
|  | 1032 | 0.005001
|  | 1031 | 0.013856
|  | 1030 | 0.021046
|  | 1029 | 0.02657
|  | 1028 | 0.009063
|  | 1027 | 0.000625
|  | 1026 | 0.005104
|  | 1025 | 0.020628
|  | 1024 | 0.034487
|  | 1023 | 0.039798
|  | 1022 | 0.003646
|  | 1021 | 0.004271
|  | 1020 | 0.011561
|  | 1019 | 0.021144
|  | 1018 | 0.030934
|  | 1017 | 0.036351
|  | 1016 | 0.001458
|  | 1015 | 0.002604
|  | 1014 | 0.011249
|  | 1013 | 0.019267
|  | 1012 | 0.02708
|  | 1011 | 0.010829
|  | 1010 | 0.007916
|  | 1009 | 0.00427
|  | 1008 | 0.017914
|  | 1007 | 0.02281
|  | 1006 | 0.000417
|  | 1005 | 0.000729
|  | 1004 | 0.01531
|  | 1003 | 0.02635
|  | 1002 | 0.029682
|  | 1001 | 0.005415
|  | 1000 | 0.003124
|  | 999 | 0.014164
|  | 998 | 0.019893
|  | 997 | 0.007603
|  | 996 | 0.007082
|  | 995 | 0.018951
|  | 994 | 0.035718
|  | 993 | 0.030927
|  | 992 | 0.005936
|  | 991 | 0.017285
|  | 990 | 0.014579
|  | 989 | 0.010727
|  | 988 | 0.007603
|  | 987 | 0.014163
|  | 986 | 0.020831
|  | 985 | 0.028642
|  | 984 | 0.002604
|  | 983 | 0.007707
|  | 982 | 0.009686
|  | 981 | 0.018018
|  | 980 | 0.010936
|  | 979 | 0.013644
|  | 978 | 0.021766
|  | 977 | 0.005623
|  | 976 | 0.001875
|  | 975 | 0.018018
|  | 974 | 0.024576
|  | 973 | 0.000312
|  | 972 | 0.006457
|  | 971 | 0.017185
|  | 970 | 0.005624
|  | 969 | 0.005728
|  | 968 | 0.028539
|  | 967 | 0.030106
|  | 966 | 0.009896
|  | 965 | 0.03427
|  | 964 | 0.011667
|  | 963 | 0.014063
|  | 962 | 0.022086
|  | 961 | 0.002605
|  | 960 | 0.014482
|  | 959 | 0.027716
|  | 958 | 0.009065
|  | 957 | 0.006981
|  | 956 | 0.008856
|  | 955 | 0.000104
|  | 954 | 0.015733
|  | 953 | 0.013963
|  | 952 | 0.011672
|  | 951 | 0.000938
|  | 950 | 0.015316
|  | 949 | 0.034277
|  | 948 | 0.015212
|  | 947 | 0.003126
|  | 946 | 0.008545
|  | 945 | 0.024802
|  | 944 | 0.002188
|  | 943 | 0.014171
|  | 942 | 0.006044
|  | 941 | 0.007503
|  | 940 | 0.007087
|  | 939 | 0.022199
|  | 938 | 0.008128
|  | 937 | 0.000938
|  | 936 | 0.010317
|  | 935 | 0.016986
|  | 934 | 0.025008
|  | 933 | 0.011564
|  | 932 | 0.001876
|  | 931 | 0.003543
|  | 930 | 0.010631
|  | 929 | 0.01501
|  | 928 | 0.030746
|  | 927 | 0.010734
|  | 926 | 0.004482
|  | 925 | 0.009276
|  | 924 | 0.010736
|  | 923 | 0.011987
|  | 922 | 0.005316
|  | 921 | 0.019489
|  | 920 | 0.035852
|  | 919 | 0.024185
|  | 918 | 0.007611
|  | 917 | 0.013449
|  | 916 | 0.003856
|  | 915 | 0.004688
|  | 914 | 0.009796
|  | 913 | 0.024702
|  | 912 | 0.018656
|  | 911 | 0.004169
|  | 910 | 0.002605
|  | 909 | 0.02001
|  | 908 | 0.019701
|  | 907 | 0.004899
|  | 906 | 0.00469
|  | 905 | 0.020325
|  | 904 | 0.018344
|  | 903 | 0.003544
|  | 902 | 0.013342
|  | 901 | 0.001668
|  | 900 | 0.021888
|  | 899 | 0.019391
|  | 898 | 0.007402
|  | 897 | 0.005004
|  | 896 | 0.022415
|  | 895 | 0.024188
|  | 894 | 0.015639
|  | 893 | 0.009488
|  | 892 | 0.001251
|  | 891 | 0.008862
|  | 890 | 0.002502
|  | 889 | 0.027111
|  | 888 | 0.030031
|  | 887 | 0.021064
|  | 886 | 0.017312
|  | 885 | 0.009072
|  | 884 | 0.003232
|  | 883 | 0.00876
|  | 882 | 0.017729
|  | 881 | 0.001981
|  | 880 | 0.032754
|  | 879 | 0.043916
|  | 878 | 0.027952
|  | 877 | 0.000939
|  | 876 | 0.019095
|  | 875 | 0.009811
|  | 874 | 0.017847
|  | 873 | 0.04049
|  | 872 | 0.033293
|  | 871 | 0.011272
|  | 870 | 0.003131
|  | 869 | 0.010961
|  | 868 | 0.025161
|  | 867 | 0.006369
|  | 866 | 0.028717
|  | 865 | 0.03749
|  | 864 | 0.025274
|  | 863 | 0.005535
|  | 862 | 0.01316
|  | 861 | 0.026325
|  | 860 | 0.014931
|  | 859 | 0.001442
|  | 858 | 0.003396
|  | 857 | 0.004221
|  | 856 | 0.004529
|  | 855 | 0.005247
|  | 854 | 0.00535
|  | 853 | 0.004014
|  | 852 | 0.002882
|  | 851 | 0.002779
|  | 850 | 0.002572
|  | 849 | 0.004113
|  | 848 | 0.004626
|  | 847 | 0.002981
|  | 846 | 0.001747
|  | 845 | 0.003595
|  | 844 | 0.002052
|  | 843 | 0.00246
|  | 842 | 0.002767
|  | 841 | 0.002562
|  | 840 | 0.001844
|  | 839 | 0.002355
|  | 838 | 0.001739
|  | 837 | 0.002861
|  | 836 | 0.001838
|  | 835 | 0.001429
|  | 834 | 0.00051
|  | 833 | 0.00051
|  | 832 | 0.001223
|  | 831 | 0.002239
|  | 830 | 0.001526
|  | 829 | 0.001322
|  | 828 | 0.000102
|  | 827 | 0.00061
|  | 826 | 0.000711
|  | 825 | 0.001623
|  | 824 | 0.001014
|  | 823 | 0.001115
|  | 822 | 0.001217
|  | 821 | 0.000203
|  | 820 | 0.000101
|  | 819 | 0.001418
|  | 818 | 0.001114
|  | 817 | 0.00081
|  | 816 | 0.000405
|  | 815 | 0.000202
|  | 814 | 0.000405
|  | 813 | 0.002125
|  | 812 | 0.00162
|  | 811 | 0.000506
|  | 810 | 0.001214
|  | 809 | 0
|  | 808 | 0.000405
|  | 807 | 0.000202
|  | 806 | 0.000101
|  | 805 | 0.000709
|  | 804 | 0.001518
|  | 803 | 0.003441
|  | 802 | 0.00081
|  | 801 | 0.001418
|  | 800 | 0.001115
|  | 799 | 0.004861
|  | 798 | 0.004962
|  | 797 | 0.004557
|  | 796 | 0.002532
|  | 795 | 0.00233
|  | 794 | 0.002331
|  | 793 | 0.006081
|  | 792 | 0.004864
|  | 791 | 0.005677
|  | 790 | 0.003955
|  | 789 | 0.004869
|  | 788 | 0.004565
|  | 787 | 0.006795
|  | 786 | 0.007201
|  | 785 | 0.007812
|  | 784 | 0.006392
|  | 783 | 0.006191
|  | 782 | 0.005482
|  | 781 | 0.007918
|  | 780 | 0.009847
|  | 779 | 0.011168
|  | 778 | 0.009849
|  | 777 | 0.009852
|  | 776 | 0.01138
|  | 775 | 0.012291
|  | 774 | 0.014121
|  | 773 | 0.015243
|  | 772 | 0.014332
|  | 771 | 0.015251
|  | 770 | 0.015663
|  | 769 | 0.021046
|  | 768 | 0.021758
|  | 767 | 0.022782
|  | 766 | 0.022785
|  | 765 | 0.022387
|  | 764 | 0.025134
|  | 763 | 0.02666
|  | 762 | 0.030732
|  | 761 | 0.032778
|  | 760 | 0.0337
|  | 759 | 0.034729
|  | 758 | 0.037592
|  | 757 | 0.043183
|  | 756 | 0.045837
|  | 755 | 0.047471
|  | 754 | 0.049407
|  | 753 | 0.051681
|  | 752 | 0.056276
|  | 751 | 0.060147
|  | 750 | 0.066463
|  | 749 | 0.070546
|  | 748 | 0.07372
|  | 747 | 0.077229
|  | 746 | 0.085
|  | 745 | 0.091491
|  | 744 | 0.098127
|  | 743 | 0.10456
|  | 742 | 0.11051
|  | 741 | 0.11608
|  | 740 | 0.12572
|  | 739 | 0.13443
|  | 738 | 0.14591
|  | 737 | 0.15489
|  | 736 | 0.16544
|  | 735 | 0.17326
|  | 734 | 0.18808
|  | 733 | 0.19887
|  | 732 | 0.21538
|  | 731 | 0.22891
|  | 730 | 0.24362
|  | 729 | 0.25764
|  | 728 | 0.27751
|  | 727 | 0.29412
|  | 726 | 0.31819
|  | 725 | 0.3398
|  | 724 | 0.3619
|  | 723 | 0.38238
|  | 722 | 0.40942
|  | 721 | 0.43623
|  | 720 | 0.46729
|  | 719 | 0.49816
|  | 718 | 0.53045
|  | 717 | 0.56269
|  | 716 | 0.60123
|  | 715 | 0.64009
|  | 714 | 0.68416
|  | 713 | 0.72897
|  | 712 | 0.7725
|  | 711 | 0.81904
|  | 710 | 0.87263
|  | 709 | 0.9285
|  | 708 | 0.99105
|  | 707 | 1.0546
|  | 706 | 1.1175
|  | 705 | 1.1865
|  | 704 | 1.2628
|  | 703 | 1.3375
|  | 702 | 1.4194
|  | 701 | 1.5066
|  | 700 | 1.5967
|  | 699 | 1.6917
|  | 698 | 1.7961
|  | 697 | 1.9031
|  | 696 | 2.0208
|  | 695 | 2.1421
|  | 694 | 2.2593
|  | 693 | 2.3909
|  | 692 | 2.5269
|  | 691 | 2.6691
|  | 690 | 2.8219
|  | 689 | 2.9802
|  | 688 | 3.1456
|  | 687 | 3.3224
|  | 686 | 3.5114
|  | 685 | 3.7024
|  | 684 | 3.9041
|  | 683 | 4.1093
|  | 682 | 4.3173
|  | 681 | 4.5446
|  | 680 | 4.7819
|  | 679 | 5.0299
|  | 678 | 5.2966
|  | 677 | 5.5657
|  | 676 | 5.8454
|  | 675 | 6.1401
|  | 674 | 6.4402
|  | 673 | 6.75
|  | 672 | 7.0722
|  | 671 | 7.4003
|  | 670 | 7.745
|  | 669 | 8.1166
|  | 668 | 8.4953
|  | 667 | 8.8801
|  | 666 | 9.2962
|  | 665 | 9.7115
|  | 664 | 10.1315
|  | 663 | 10.5807
|  | 662 | 11.0311
|  | 661 | 11.4834
|  | 660 | 11.9693
|  | 659 | 12.4712
|  | 658 | 12.9769
|  | 657 | 13.5293
|  | 656 | 14.0821
|  | 655 | 14.6378
|  | 654 | 15.2102
|  | 653 | 15.7831
|  | 652 | 16.3594
|  | 651 | 16.9775
|  | 650 | 17.6103
|  | 649 | 18.2475
|  | 648 | 18.9239
|  | 647 | 19.602
|  | 646 | 20.2842
|  | 645 | 21.007
|  | 644 | 21.7259
|  | 643 | 22.4306
|  | 642 | 23.1506
|  | 641 | 23.8893
|  | 640 | 24.6408
|  | 639 | 25.4345
|  | 638 | 26.2442
|  | 637 | 27.0479
|  | 636 | 27.8753
|  | 635 | 28.7086
|  | 634 | 29.5199
|  | 633 | 30.3702
|  | 632 | 31.215
|  | 631 | 32.056
|  | 630 | 32.9457
|  | 629 | 33.8383
|  | 628 | 34.7263
|  | 627 | 35.6537
|  | 626 | 36.5737
|  | 625 | 37.4885
|  | 624 | 38.4217
|  | 623 | 39.3308
|  | 622 | 40.2324
|  | 621 | 41.1744
|  | 620 | 42.13
|  | 619 | 43.0644
|  | 618 | 44.0322
|  | 617 | 44.9933
|  | 616 | 45.9403
|  | 615 | 46.9407
|  | 614 | 47.8959
|  | 613 | 48.809
|  | 612 | 49.7619
|  | 611 | 50.704
|  | 610 | 51.6437
|  | 609 | 52.6301
|  | 608 | 53.5918
|  | 607 | 54.5387
|  | 606 | 55.5191
|  | 605 | 56.4603
|  | 604 | 57.3707
|  | 603 | 58.3168
|  | 602 | 59.2286
|  | 601 | 60.0946
|  | 600 | 61.0371
|  | 599 | 61.9187
|  | 598 | 62.838
|  | 597 | 63.7772
|  | 596 | 64.6636
|  | 595 | 65.4981
|  | 594 | 66.3787
|  | 593 | 67.2107
|  | 592 | 68.0237
|  | 591 | 68.8807
|  | 590 | 69.7157
|  | 589 | 70.4894
|  | 588 | 71.3048
|  | 587 | 72.1036
|  | 586 | 72.8812
|  | 585 | 73.7001
|  | 584 | 74.4268
|  | 583 | 75.1099
|  | 582 | 75.8352
|  | 581 | 76.5312
|  | 580 | 77.229
|  | 579 | 77.9497
|  | 578 | 78.6278
|  | 577 | 79.2546
|  | 576 | 79.9393
|  | 575 | 80.5544
|  | 574 | 81.1513
|  | 573 | 81.7806
|  | 572 | 82.3494
|  | 571 | 82.8831
|  | 570 | 83.4557
|  | 569 | 84.0049
|  | 568 | 84.5375
|  | 567 | 85.0958
|  | 566 | 85.5824
|  | 565 | 86.0437
|  | 564 | 86.5573
|  | 563 | 87.0034
|  | 562 | 87.4593
|  | 561 | 87.8841
|  | 560 | 88.2802
|  | 559 | 88.7531
|  | 558 | 89.1478
|  | 557 | 89.5111
|  | 556 | 89.9307
|  | 555 | 90.2619
|  | 554 | 90.5872
|  | 553 | 90.9639
|  | 552 | 91.2787
|  | 551 | 91.5657
|  | 550 | 91.9037
|  | 549 | 92.1785
|  | 548 | 92.4565
|  | 547 | 92.7702
|  | 546 | 93.0076
|  | 545 | 93.2585
|  | 544 | 93.5295
|  | 543 | 93.737
|  | 542 | 93.9521
|  | 541 | 94.2058
|  | 540 | 94.4095
|  | 539 | 94.5933
|  | 538 | 94.8017
|  | 537 | 94.9385
|  | 536 | 95.1086
|  | 535 | 95.3459
|  | 534 | 95.4974
|  | 533 | 95.6257
|  | 532 | 95.7825
|  | 531 | 95.9043
|  | 530 | 96.04
|  | 529 | 96.2043
|  | 528 | 96.2975
|  | 527 | 96.3923
|  | 526 | 96.5327
|  | 525 | 96.623
|  | 524 | 96.7303
|  | 523 | 96.8752
|  | 522 | 96.9398
|  | 521 | 97.0026
|  | 520 | 97.097
|  | 519 | 97.1499
|  | 518 | 97.2158
|  | 517 | 97.3259
|  | 516 | 97.3786
|  | 515 | 97.4165
|  | 514 | 97.4878
|  | 513 | 97.5193
|  | 512 | 97.5908
|  | 511 | 97.6727
|  | 510 | 97.6598
|  | 509 | 97.703
|  | 508 | 97.7666
|  | 507 | 97.7643
|  | 506 | 97.802
|  | 505 | 97.8831
|  | 504 | 97.9074
|  | 503 | 97.9154
|  | 502 | 97.949
|  | 501 | 97.9335
|  | 500 | 97.9419
|  | 499 | 98.0057
|  | 498 | 98.0186
|  | 497 | 98.0106
|  | 496 | 98.026
|  | 495 | 98.0075
|  | 494 | 98.0258
|  | 493 | 98.085
|  | 492 | 98.065
|  | 491 | 98.0493
|  | 490 | 98.0673
|  | 489 | 98.0375
|  | 488 | 98.0423
|  | 487 | 98.0844
|  | 486 | 98.0506
|  | 485 | 98.0253
|  | 484 | 98.0217
|  | 483 | 97.9719
|  | 482 | 97.9753
|  | 481 | 98.0099
|  | 480 | 97.9661
|  | 479 | 97.9323
|  | 478 | 97.9395
|  | 477 | 97.8958
|  | 476 | 97.8789
|  | 475 | 97.8956
|  | 474 | 97.8518
|  | 473 | 97.8209
|  | 472 | 97.8114
|  | 471 | 97.7571
|  | 470 | 97.748
|  | 469 | 97.764
|  | 468 | 97.7045
|  | 467 | 97.664
|  | 466 | 97.6547
|  | 465 | 97.5933
|  | 464 | 97.5784
|  | 463 | 97.5918
|  | 462 | 97.5208
|  | 461 | 97.4706
|  | 460 | 97.4619
|  | 459 | 97.3974
|  | 458 | 97.381
|  | 457 | 97.3753
|  | 456 | 97.2894
|  | 455 | 97.254
|  | 454 | 97.2459
|  | 453 | 97.1709
|  | 452 | 97.1444
|  | 451 | 97.1584
|  | 450 | 97.0704
|  | 449 | 97.0182
|  | 448 | 96.9857
|  | 447 | 96.9222
|  | 446 | 96.8988
|  | 445 | 96.9005
|  | 444 | 96.8194
|  | 443 | 96.7531
|  | 442 | 96.7141
|  | 441 | 96.6611
|  | 440 | 96.6306
|  | 439 | 96.6224
|  | 438 | 96.5354
|  | 437 | 96.4951
|  | 436 | 96.4524
|  | 435 | 96.382
|  | 434 | 96.3878
|  | 433 | 96.3696
|  | 432 | 96.2811
|  | 431 | 96.2188
|  | 430 | 96.1795
|  | 429 | 96.1055
|  | 428 | 96.1033
|  | 427 | 96.0857
|  | 426 | 95.9918
|  | 425 | 95.9369
|  | 424 | 95.8891
|  | 423 | 95.8106
|  | 422 | 95.7981
|  | 421 | 95.7681
|  | 420 | 95.6742
|  | 419 | 95.6295
|  | 418 | 95.574
|  | 417 | 95.4851
|  | 416 | 95.5
|  | 415 | 95.4743
|  | 414 | 95.3627
|  | 413 | 95.3139
|  | 412 | 95.3103
|  | 411 | 95.2332
|  | 410 | 95.1992
|  | 409 | 95.1576
|  | 408 | 95.0655
|  | 407 | 95.0134
|  | 406 | 94.9773
|  | 405 | 94.9063
|  | 404 | 94.8822
|  | 403 | 94.8702
|  | 402 | 94.7403
|  | 401 | 94.6941
|  | 400 | 94.6466
|  | 399 | 94.5381
|  | 398 | 94.5161
|  | 397 | 94.4579
|  | 396 | 94.3426
|  | 395 | 94.2939
|  | 394 | 94.223
|  | 393 | 94.1171
|  | 392 | 94.0836
|  | 391 | 94.0382
|  | 390 | 93.8856
|  | 389 | 93.8035
|  | 388 | 93.7209
|  | 387 | 93.613
|  | 386 | 93.5495
|  | 385 | 93.459
|  | 384 | 93.3029
|  | 383 | 93.2181
|  | 382 | 93.1216
|  | 381 | 92.9578
|  | 380 | 92.8707
|  | 379 | 92.7261
|  | 378 | 92.5624
|  | 377 | 92.4046
|  | 376 | 92.2793
|  | 375 | 92.1323
|  | 374 | 91.9322
|  | 373 | 91.7526
|  | 372 | 91.5961
|  | 371 | 91.3576
|  | 370 | 91.1987
|  | 369 | 91.0157
|  | 368 | 90.7126
|  | 367 | 90.4753
|  | 366 | 90.2357
|  | 365 | 89.9402
|  | 364 | 89.6914
|  | 363 | 89.4052
|  | 362 | 89.0187
|  | 361 | 88.6995
|  | 360 | 88.3182
|  | 359 | 87.9013
|  | 358 | 87.5031
|  | 357 | 87.0392
|  | 356 | 86.5042
|  | 355 | 85.9807
|  | 354 | 85.4513
|  | 353 | 84.7976
|  | 352 | 84.1889
|  | 351 | 83.4878
|  | 350 | 82.6735
|  | 349 | 81.8738
|  | 348 | 80.9646
|  | 347 | 79.9651
|  | 346 | 78.9718
|  | 345 | 77.8463
|  | 344 | 76.6225
|  | 343 | 75.3548
|  | 342 | 73.9716
|  | 341 | 72.4445
|  | 340 | 70.8815
|  | 339 | 69.0856
|  | 338 | 67.13
|  | 337 | 65.1315
|  | 336 | 62.9534
|  | 335 | 60.6476
|  | 334 | 58.2654
|  | 333 | 55.7403
|  | 332 | 52.9849
|  | 331 | 50.1202
|  | 330 | 47.0423
|  | 329 | 43.775
|  | 328 | 40.388
|  | 327 | 36.8829
|  | 326 | 33.2326
|  | 325 | 29.6279
|  | 324 | 26.0087
|  | 323 | 22.4123
|  | 322 | 18.9434
|  | 321 | 15.5535
|  | 320 | 12.3407
|  | 319 | 9.4269
|  | 318 | 6.8493
|  | 317 | 4.7663
|  | 316 | 3.1268
|  | 315 | 1.9528
|  | 314 | 1.1325
|  | 313 | 0.60861
|  | 312 | 0.30226
|  | 311 | 0.12961
|  | 310 | 0.048686
|  | 309 | 0.015457
|  | 308 | 0.005186
|  | 307 | 0.001375
|  | 306 | 0.001376
|  | 305 | 0.003811
|  | 304 | 0.003918
|  | 303 | 0.001377
|  | 302 | 0.002012
|  | 301 | 0.000106
|  | 300 | 0.000317
|  | 299 | 0.003915
|  | 298 | 0.00434
|  | 297 | 0.002541
|  | 296 | 0.00127
|  | 295 | 0.000212
|  | 294 | 0.000635
|  | 293 | 0.004022
|  | 292 | 0.004236
|  | 291 | 0.000635
|  | 290 | 0.002328
|  | 289 | 0.000212
|  | 288 | 0.000212
|  | 287 | 0.004867
|  | 286 | 0.004235
|  | 285 | 0.00127
|  | 284 | 0.003385
|  | 283 | 0.000635
|  | 282 | 0
|  | 281 | 0.004655
|  | 280 | 0.004444
|  | 279 | 0.00127
|  | 278 | 0.003066
|  | 277 | 0.000423
|  | 276 | 0.000317
|  | 275 | 0.004967
|  | 274 | 0.004332
|  | 273 | 0.002536
|  | 272 | 0.002957
|  | 271 | 0.001267
|  | 270 | 0.00116
|  | 269 | 0.00559
|  | 268 | 0.004534
|  | 267 | 0.00137
|  | 266 | 0.003475
|  | 265 | 0.000947
|  | 264 | 0.001368
|  | 263 | 0.004522
|  | 262 | 0.004311
|  | 261 | 0.001156
|  | 260 | 0.003991
|  | 259 | 0.001365
|  | 258 | 0.00126
|  | 257 | 0.004304
|  | 256 | 0.005354
|  | 255 | 0.001469
|  | 254 | 0.003881
|  | 253 | 0.001049
|  | 252 | 0.000944
|  | 251 | 0.004195
|  | 250 | 0.004615
|  | 249 | 0.001572
|  | 248 | 0.004294
|  | 247 | 0.000419
|  | 246 | 0.001883
|  | 245 | 0.004076
|  | 244 | 0.006371
|  | 243 | 0.001774
|  | 242 | 0.003749
|  | 241 | 0.000416
|  | 240 | 0.001765
|  | 239 | 0.004042
|  | 238 | 0.005898
|  | 237 | 0.001033
|  | 236 | 0.004329
|  | 235 | 0.002264
|  | 234 | 0.002773
|  | 233 | 0.004719
|  | 232 | 0.005534
|  | 231 | 0.001945
|  | 230 | 0.004802
|  | 229 | 0.000612
|  | 228 | 0.003366
|  | 227 | 0.004588
|  | 226 | 0.004078
|  | 225 | 0.001427
|  | 224 | 0.004379
|  | 223 | 0.000917
|  | 222 | 0.002036
|  | 221 | 0.00499
|  | 220 | 0.004685
|  | 219 | 0.001426
|  | 218 | 0.004684
|  | 217 | 0.001018
|  | 216 | 0.00224
|  | 215 | 0.004378
|  | 214 | 0.005191
|  | 213 | 0.004478
|  | 212 | 0.004373
|  | 211 | 0.001728
|  | 210 | 0.003454
|  | 209 | 0.005788
|  | 208 | 0.005684
|  | 207 | 0.002433
|  | 206 | 0.004959
|  | 205 | 0.002223
|  | 204 | 0.00363
|  | 203 | 0.006438
|  | 202 | 0.005516
|  | 201 | 0.004992
|  | 200 | 0.007151