## Transmission
|  | Wavelength (µm) | Transmission (%)
|  | 0.2 | 0.00169
|  | 0.21 | 0.0017
|  | 0.22 | 0.00163
|  | 0.23 | 0.00162
Product Raw Data |  | 0.24 | 0.00163
Transmission |  | 0.25 | 0.00168
|  | 0.26 | 0.00177
Item # | Germanium | 0.27 | 0.00178
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 0.28 | 0.00179
|  | 0.29 | 0.00184
|  | 0.3 | 0.00184
|  | 0.31 | 0.00183
|  | 0.32 | 0.00187
|  | 0.33 | 0.00187
|  | 0.34 | 0.00184
Additional Information: |  | 0.35 | 0.00186
10 mm Thick Sample Measured at Room Temperature |  | 0.36 | 0.00188
|  | 0.37 | 0.00182
|  | 0.38 | 0.00179
|  | 0.39 | 0.00183
|  | 0.4 | 0.00178
|  | 0.41 | 0.00175
|  | 0.42 | 0.00177
|  | 0.43 | 0.00169
|  | 0.44 | 0.00167
|  | 0.45 | 0.00171
|  | 0.46 | 0.00162
|  | 0.47 | 0.00159
|  | 0.48 | 0.00167
|  | 0.49 | 0.00167
|  | 0.5 | 0.00167
|  | 0.51 | 0.00166
|  | 0.52 | 0.00159
|  | 0.53 | 0.00157
|  | 0.54 | 0.00154
|  | 0.55 | 0.00145
|  | 0.56 | 0.00145
|  | 0.57 | 0.00148
|  | 0.58 | 0.00146
|  | 0.59 | 0.00149
|  | 0.6 | 0.00143
|  | 0.61 | 0.00138
|  | 0.62 | 0.00144
|  | 0.63 | 0.00153
|  | 0.64 | 0.00158
|  | 0.65 | 0.00172
|  | 0.66 | 0.00168
|  | 0.67 | 0.00162
|  | 0.68 | 0.00183
|  | 0.69 | 0.00205
|  | 0.7 | 0.00233
|  | 0.71 | 0.00246
|  | 0.72 | 0.00226
|  | 0.73 | 0.00229
|  | 0.74 | 0.0028
|  | 0.75 | 0.00262
|  | 0.76 | 0.00198
|  | 0.77 | 0.00148
|  | 0.78 | 0.0015
|  | 0.79 | 0.00184
|  | 0.8 | 0.0022
|  | 0.81 | 0.00212
|  | 0.82 | 0.00174
|  | 0.83 | 0.00175
|  | 0.84 | 0.00203
|  | 0.85 | 0.00245
|  | 0.86 | 0.00282
|  | 0.87 | 0.00302
|  | 0.88 | 0.00321
|  | 0.89 | 0.00286
|  | 0.9 | 0.00195
|  | 0.91 | 0.00177
|  | 0.92 | 0.00201
|  | 0.93 | 0.00242
|  | 0.94 | 0.00268
|  | 0.95 | 0.00164
|  | 0.96 | 0.00115
|  | 0.97 | 0.00135
|  | 0.98 | 0.00111
|  | 0.99 | 0.00158
|  | 1 | 0.00106
|  | 1.01 | 0.00028615
|  | 1.02 | 4.9195e-05
|  | 1.03 | 0.00053229
|  | 1.04 | 0.00078922
|  | 1.05 | 0.00080754
|  | 1.06 | 0.00114
|  | 1.07 | 0.00219
|  | 1.08 | 0.00308
|  | 1.09 | 0.00361
|  | 1.1 | 0.00403
|  | 1.11 | 0.0042
|  | 1.12 | 0.00457
|  | 1.13 | 0.00541
|  | 1.14 | 0.00603
|  | 1.15 | 0.00645
|  | 1.16 | 0.00754
|  | 1.17 | 0.00833
|  | 1.18 | 0.00838
|  | 1.19 | 0.00819
|  | 1.2 | 0.00786
|  | 1.201 | 0.00768
|  | 1.202 | 0.00843
|  | 1.203 | 0.00957
|  | 1.204 | 0.00946
|  | 1.205 | 0.0086
|  | 1.206 | 0.00792
|  | 1.207 | 0.00728
|  | 1.208 | 0.00679
|  | 1.209 | 0.00635
|  | 1.21 | 0.00649
|  | 1.211 | 0.00745
|  | 1.212 | 0.00882
|  | 1.213 | 0.01048
|  | 1.214 | 0.01071
|  | 1.215 | 0.00971
|  | 1.216 | 0.0097
|  | 1.217 | 0.00922
|  | 1.218 | 0.00908
|  | 1.219 | 0.01029
|  | 1.22 | 0.0107
|  | 1.221 | 0.01205
|  | 1.222 | 0.01356
|  | 1.223 | 0.01433
|  | 1.224 | 0.01423
|  | 1.225 | 0.01418
|  | 1.226 | 0.01415
|  | 1.227 | 0.0136
|  | 1.228 | 0.01253
|  | 1.229 | 0.01164
|  | 1.23 | 0.01083
|  | 1.231 | 0.00992
|  | 1.232 | 0.0092
|  | 1.233 | 0.00859
|  | 1.234 | 0.00803
|  | 1.235 | 0.00778
|  | 1.236 | 0.00765
|  | 1.237 | 0.00805
|  | 1.238 | 0.00931
|  | 1.239 | 0.01034
|  | 1.24 | 0.01039
|  | 1.241 | 0.0099
|  | 1.242 | 0.009
|  | 1.243 | 0.00811
|  | 1.244 | 0.00764
|  | 1.245 | 0.00838
|  | 1.246 | 0.00975
|  | 1.247 | 0.01013
|  | 1.248 | 0.00997
|  | 1.249 | 0.00998
|  | 1.25 | 0.00996
|  | 1.251 | 0.00984
|  | 1.252 | 0.00948
|  | 1.253 | 0.00805
|  | 1.254 | 0.00586
|  | 1.255 | 0.00468
|  | 1.256 | 0.00464
|  | 1.257 | 0.00504
|  | 1.258 | 0.0061
|  | 1.259 | 0.00654
|  | 1.26 | 0.00605
|  | 1.261 | 0.00582
|  | 1.262 | 0.00587
|  | 1.263 | 0.00613
|  | 1.264 | 0.00646
|  | 1.265 | 0.00691
|  | 1.266 | 0.00748
|  | 1.267 | 0.00808
|  | 1.268 | 0.00868
|  | 1.269 | 0.00919
|  | 1.27 | 0.00954
|  | 1.271 | 0.00986
|  | 1.272 | 0.0104
|  | 1.273 | 0.01086
|  | 1.274 | 0.01138
|  | 1.275 | 0.01186
|  | 1.276 | 0.01155
|  | 1.277 | 0.01048
|  | 1.278 | 0.00891
|  | 1.279 | 0.00743
|  | 1.28 | 0.00703
|  | 1.281 | 0.0076
|  | 1.282 | 0.00874
|  | 1.283 | 0.00993
|  | 1.284 | 0.00972
|  | 1.285 | 0.00869
|  | 1.286 | 0.00747
|  | 1.287 | 0.00638
|  | 1.288 | 0.00619
|  | 1.289 | 0.00677
|  | 1.29 | 0.00767
|  | 1.291 | 0.00905
|  | 1.292 | 0.01075
|  | 1.293 | 0.0122
|  | 1.294 | 0.01259
|  | 1.295 | 0.01268
|  | 1.296 | 0.01314
|  | 1.297 | 0.01385
|  | 1.298 | 0.01442
|  | 1.299 | 0.01423
|  | 1.3 | 0.01379
|  | 1.301 | 0.01354
|  | 1.302 | 0.01329
|  | 1.303 | 0.01283
|  | 1.304 | 0.01249
|  | 1.305 | 0.01252
|  | 1.306 | 0.01239
|  | 1.307 | 0.0118
|  | 1.308 | 0.01093
|  | 1.309 | 0.01016
|  | 1.31 | 0.00959
|  | 1.311 | 0.00932
|  | 1.312 | 0.00914
|  | 1.313 | 0.00901
|  | 1.314 | 0.00901
|  | 1.315 | 0.00937
|  | 1.316 | 0.0098
|  | 1.317 | 0.01054
|  | 1.318 | 0.0108
|  | 1.319 | 0.01101
|  | 1.32 | 0.01153
|  | 1.321 | 0.01226
|  | 1.322 | 0.01336
|  | 1.323 | 0.01453
|  | 1.324 | 0.01489
|  | 1.325 | 0.01451
|  | 1.326 | 0.01446
|  | 1.327 | 0.01558
|  | 1.328 | 0.01738
|  | 1.329 | 0.01954
|  | 1.33 | 0.02022
|  | 1.331 | 0.01829
|  | 1.332 | 0.014
|  | 1.333 | 0.01041
|  | 1.334 | 0.01132
|  | 1.335 | 0.01617
|  | 1.336 | 0.01922
|  | 1.337 | 0.01845
|  | 1.338 | 0.01407
|  | 1.339 | 0.0094
|  | 1.34 | 0.00769
|  | 1.341 | 0.00924
|  | 1.342 | 0.01042
|  | 1.343 | 0.01062
|  | 1.344 | 0.01158
|  | 1.345 | 0.01165
|  | 1.346 | 0.00999
|  | 1.347 | 0.00869
|  | 1.348 | 0.00736
|  | 1.349 | 0.00607
|  | 1.35 | 0.00718
|  | 1.351 | 0.0111
|  | 1.352 | 0.01405
|  | 1.353 | 0.01614
|  | 1.354 | 0.01868
|  | 1.355 | 0.02253
|  | 1.356 | 0.02618
|  | 1.357 | 0.02708
|  | 1.358 | 0.02275
|  | 1.359 | 0.01518
|  | 1.36 | 0.00892
|  | 1.361 | 0.00562
|  | 1.362 | 0.00867
|  | 1.363 | 0.01162
|  | 1.364 | 0.01081
|  | 1.365 | 0.00871
|  | 1.366 | 0.0093
|  | 1.367 | 0.01325
|  | 1.368 | 0.01744
|  | 1.369 | 0.01858
|  | 1.37 | 0.01606
|  | 1.371 | 0.01386
|  | 1.372 | 0.01279
|  | 1.373 | 0.01256
|  | 1.374 | 0.01582
|  | 1.375 | 0.02109
|  | 1.376 | 0.02012
|  | 1.377 | 0.01299
|  | 1.378 | 0.00793
|  | 1.379 | 0.01296
|  | 1.38 | 0.02529
|  | 1.381 | 0.03102
|  | 1.382 | 0.0275
|  | 1.383 | 0.02393
|  | 1.384 | 0.02273
|  | 1.385 | 0.02037
|  | 1.386 | 0.01824
|  | 1.387 | 0.01813
|  | 1.388 | 0.02113
|  | 1.389 | 0.0266
|  | 1.39 | 0.03007
|  | 1.391 | 0.02668
|  | 1.392 | 0.01979
|  | 1.393 | 0.01745
|  | 1.394 | 0.01888
|  | 1.395 | 0.01799
|  | 1.396 | 0.01207
|  | 1.397 | 0.00555
|  | 1.398 | 0.00407
|  | 1.399 | 0.01011
|  | 1.4 | 0.01864
|  | 1.401 | 0.02347
|  | 1.402 | 0.02566
|  | 1.403 | 0.02292
|  | 1.404 | 0.01966
|  | 1.405 | 0.01911
|  | 1.406 | 0.02109
|  | 1.407 | 0.02296
|  | 1.408 | 0.02098
|  | 1.409 | 0.01564
|  | 1.41 | 0.01279
|  | 1.411 | 0.01379
|  | 1.412 | 0.01535
|  | 1.413 | 0.01775
|  | 1.414 | 0.02088
|  | 1.415 | 0.0193
|  | 1.416 | 0.012
|  | 1.417 | 0.00825
|  | 1.418 | 0.01289
|  | 1.419 | 0.01903
|  | 1.42 | 0.019
|  | 1.421 | 0.01214
|  | 1.422 | 0.00837
|  | 1.423 | 0.00915
|  | 1.424 | 0.01145
|  | 1.425 | 0.01318
|  | 1.426 | 0.0147
|  | 1.427 | 0.01485
|  | 1.428 | 0.01534
|  | 1.429 | 0.01383
|  | 1.43 | 0.01138
|  | 1.431 | 0.01107
|  | 1.432 | 0.01433
|  | 1.433 | 0.01679
|  | 1.434 | 0.01562
|  | 1.435 | 0.01201
|  | 1.436 | 0.01017
|  | 1.437 | 0.01204
|  | 1.438 | 0.01488
|  | 1.439 | 0.01496
|  | 1.44 | 0.01168
|  | 1.441 | 0.01049
|  | 1.442 | 0.01175
|  | 1.443 | 0.01237
|  | 1.444 | 0.01165
|  | 1.445 | 0.01133
|  | 1.446 | 0.0114
|  | 1.447 | 0.00982
|  | 1.448 | 0.00773
|  | 1.449 | 0.00675
|  | 1.45 | 0.00804
|  | 1.451 | 0.00888
|  | 1.452 | 0.00867
|  | 1.453 | 0.00815
|  | 1.454 | 0.00763
|  | 1.455 | 0.00777
|  | 1.456 | 0.00823
|  | 1.457 | 0.00825
|  | 1.458 | 0.0082
|  | 1.459 | 0.00841
|  | 1.46 | 0.00873
|  | 1.461 | 0.00842
|  | 1.462 | 0.00771
|  | 1.463 | 0.00754
|  | 1.464 | 0.00876
|  | 1.465 | 0.00877
|  | 1.466 | 0.00765
|  | 1.467 | 0.00719
|  | 1.468 | 0.00855
|  | 1.469 | 0.00909
|  | 1.47 | 0.0084
|  | 1.471 | 0.0071
|  | 1.472 | 0.00607
|  | 1.473 | 0.00597
|  | 1.474 | 0.00771
|  | 1.475 | 0.00954
|  | 1.476 | 0.01026
|  | 1.477 | 0.00997
|  | 1.478 | 0.00969
|  | 1.479 | 0.00876
|  | 1.48 | 0.00829
|  | 1.481 | 0.00928
|  | 1.482 | 0.01001
|  | 1.483 | 0.01135
|  | 1.484 | 0.01204
|  | 1.485 | 0.01103
|  | 1.486 | 0.00989
|  | 1.487 | 0.00942
|  | 1.488 | 0.01035
|  | 1.489 | 0.01155
|  | 1.49 | 0.01218
|  | 1.491 | 0.01184
|  | 1.492 | 0.01087
|  | 1.493 | 0.01044
|  | 1.494 | 0.01073
|  | 1.495 | 0.0116
|  | 1.496 | 0.01238
|  | 1.497 | 0.01265
|  | 1.498 | 0.01241
|  | 1.499 | 0.01186
|  | 1.5 | 0.0112
|  | 1.501 | 0.0109
|  | 1.502 | 0.01121
|  | 1.503 | 0.01184
|  | 1.504 | 0.0125
|  | 1.505 | 0.0119
|  | 1.506 | 0.01123
|  | 1.507 | 0.01095
|  | 1.508 | 0.01067
|  | 1.509 | 0.01052
|  | 1.51 | 0.01045
|  | 1.511 | 0.01048
|  | 1.512 | 0.0104
|  | 1.513 | 0.01069
|  | 1.514 | 0.01099
|  | 1.515 | 0.01095
|  | 1.516 | 0.01005
|  | 1.517 | 0.00891
|  | 1.518 | 0.00871
|  | 1.519 | 0.00866
|  | 1.52 | 0.00856
|  | 1.521 | 0.00837
|  | 1.522 | 0.00823
|  | 1.523 | 0.008
|  | 1.524 | 0.00723
|  | 1.525 | 0.00714
|  | 1.526 | 0.00867
|  | 1.527 | 0.01001
|  | 1.528 | 0.01036
|  | 1.529 | 0.00986
|  | 1.53 | 0.00891
|  | 1.531 | 0.00782
|  | 1.532 | 0.0074
|  | 1.533 | 0.00823
|  | 1.534 | 0.00925
|  | 1.535 | 0.01031
|  | 1.536 | 0.01037
|  | 1.537 | 0.00935
|  | 1.538 | 0.00878
|  | 1.539 | 0.00896
|  | 1.54 | 0.00954
|  | 1.541 | 0.01029
|  | 1.542 | 0.01101
|  | 1.543 | 0.01097
|  | 1.544 | 0.01008
|  | 1.545 | 0.0093
|  | 1.546 | 0.00994
|  | 1.547 | 0.01087
|  | 1.548 | 0.01173
|  | 1.549 | 0.01231
|  | 1.55 | 0.01208
|  | 1.551 | 0.01158
|  | 1.552 | 0.01116
|  | 1.553 | 0.0108
|  | 1.554 | 0.01044
|  | 1.555 | 0.0102
|  | 1.556 | 0.00938
|  | 1.557 | 0.00853
|  | 1.558 | 0.0087
|  | 1.559 | 0.0093
|  | 1.56 | 0.00994
|  | 1.561 | 0.0108
|  | 1.562 | 0.01162
|  | 1.563 | 0.01153
|  | 1.564 | 0.01096
|  | 1.565 | 0.01036
|  | 1.566 | 0.00967
|  | 1.567 | 0.00866
|  | 1.568 | 0.00763
|  | 1.569 | 0.00743
|  | 1.57 | 0.0081
|  | 1.571 | 0.00877
|  | 1.572 | 0.00977
|  | 1.573 | 0.01096
|  | 1.574 | 0.01172
|  | 1.575 | 0.0114
|  | 1.576 | 0.01022
|  | 1.577 | 0.00976
|  | 1.578 | 0.01006
|  | 1.579 | 0.01034
|  | 1.58 | 0.0104
|  | 1.581 | 0.01013
|  | 1.582 | 0.00948
|  | 1.583 | 0.00841
|  | 1.584 | 0.00773
|  | 1.585 | 0.00781
|  | 1.586 | 0.00786
|  | 1.587 | 0.00752
|  | 1.588 | 0.00709
|  | 1.589 | 0.00667
|  | 1.59 | 0.00635
|  | 1.591 | 0.00668
|  | 1.592 | 0.00707
|  | 1.593 | 0.00731
|  | 1.594 | 0.00737
|  | 1.595 | 0.00717
|  | 1.596 | 0.00684
|  | 1.597 | 0.00696
|  | 1.598 | 0.00789
|  | 1.599 | 0.0089
|  | 1.6 | 0.00985
|  | 1.601 | 0.01059
|  | 1.602 | 0.01038
|  | 1.603 | 0.00953
|  | 1.604 | 0.00943
|  | 1.605 | 0.00978
|  | 1.606 | 0.01018
|  | 1.607 | 0.01066
|  | 1.608 | 0.01138
|  | 1.609 | 0.01205
|  | 1.61 | 0.01197
|  | 1.611 | 0.01121
|  | 1.612 | 0.01029
|  | 1.613 | 0.00924
|  | 1.614 | 0.0081
|  | 1.615 | 0.00727
|  | 1.616 | 0.00753
|  | 1.617 | 0.00858
|  | 1.618 | 0.00885
|  | 1.619 | 0.00867
|  | 1.62 | 0.00864
|  | 1.621 | 0.00864
|  | 1.622 | 0.00907
|  | 1.623 | 0.00992
|  | 1.624 | 0.01082
|  | 1.625 | 0.01097
|  | 1.626 | 0.01063
|  | 1.627 | 0.01018
|  | 1.628 | 0.00995
|  | 1.629 | 0.00976
|  | 1.63 | 0.0096
|  | 1.631 | 0.00974
|  | 1.632 | 0.01007
|  | 1.633 | 0.01084
|  | 1.634 | 0.01188
|  | 1.635 | 0.01277
|  | 1.636 | 0.01261
|  | 1.637 | 0.01184
|  | 1.638 | 0.01113
|  | 1.639 | 0.01031
|  | 1.64 | 0.00929
|  | 1.641 | 0.00814
|  | 1.642 | 0.00665
|  | 1.643 | 0.00574
|  | 1.644 | 0.00522
|  | 1.645 | 0.00438
|  | 1.646 | 0.00382
|  | 1.647 | 0.00374
|  | 1.648 | 0.00348
|  | 1.649 | 0.0029
|  | 1.65 | 0.00273
|  | 1.651 | 0.00332
|  | 1.652 | 0.00378
|  | 1.653 | 0.00385
|  | 1.654 | 0.00394
|  | 1.655 | 0.00381
|  | 1.656 | 0.00337
|  | 1.657 | 0.00252
|  | 1.658 | 0.00173
|  | 1.659 | 0.00195
|  | 1.66 | 0.00315
|  | 1.661 | 0.00398
|  | 1.662 | 0.0039
|  | 1.663 | 0.00327
|  | 1.664 | 0.00217
|  | 1.665 | 0.00125
|  | 1.666 | 0.00121
|  | 1.667 | 0.00181
|  | 1.668 | 0.00271
|  | 1.669 | 0.00373
|  | 1.67 | 0.00472
|  | 1.671 | 0.00549
|  | 1.672 | 0.00537
|  | 1.673 | 0.00448
|  | 1.674 | 0.00337
|  | 1.675 | 0.00203
|  | 1.676 | 0.00083976
|  | 1.677 | 0.00059237
|  | 1.678 | 0.00132
|  | 1.679 | 0.00212
|  | 1.68 | 0.00323
|  | 1.681 | 0.00461
|  | 1.682 | 0.00588
|  | 1.683 | 0.00648
|  | 1.684 | 0.00676
|  | 1.685 | 0.00719
|  | 1.686 | 0.00782
|  | 1.687 | 0.00812
|  | 1.688 | 0.00786
|  | 1.689 | 0.00781
|  | 1.69 | 0.00806
|  | 1.691 | 0.00812
|  | 1.692 | 0.00813
|  | 1.693 | 0.00927
|  | 1.694 | 0.01069
|  | 1.695 | 0.01084
|  | 1.696 | 0.01067
|  | 1.697 | 0.01043
|  | 1.698 | 0.01013
|  | 1.699 | 0.00975
|  | 1.7 | 0.00923
|  | 1.701 | 0.00813
|  | 1.702 | 0.00738
|  | 1.703 | 0.00752
|  | 1.704 | 0.00816
|  | 1.705 | 0.00911
|  | 1.706 | 0.01014
|  | 1.707 | 0.01128
|  | 1.708 | 0.01209
|  | 1.709 | 0.01183
|  | 1.71 | 0.01105
|  | 1.711 | 0.01014
|  | 1.712 | 0.00925
|  | 1.713 | 0.00904
|  | 1.714 | 0.00947
|  | 1.715 | 0.00989
|  | 1.716 | 0.01011
|  | 1.717 | 0.01031
|  | 1.718 | 0.01078
|  | 1.719 | 0.01096
|  | 1.72 | 0.01102
|  | 1.721 | 0.01101
|  | 1.722 | 0.01081
|  | 1.723 | 0.01053
|  | 1.724 | 0.01026
|  | 1.725 | 0.0103
|  | 1.726 | 0.01058
|  | 1.727 | 0.0106
|  | 1.728 | 0.01064
|  | 1.729 | 0.01038
|  | 1.73 | 0.01028
|  | 1.731 | 0.0099
|  | 1.732 | 0.00943
|  | 1.733 | 0.00907
|  | 1.734 | 0.00831
|  | 1.735 | 0.00786
|  | 1.736 | 0.00902
|  | 1.737 | 0.01002
|  | 1.738 | 0.01027
|  | 1.739 | 0.01022
|  | 1.74 | 0.01015
|  | 1.741 | 0.01007
|  | 1.742 | 0.01012
|  | 1.743 | 0.00997
|  | 1.744 | 0.00974
|  | 1.745 | 0.0094
|  | 1.746 | 0.00872
|  | 1.747 | 0.00788
|  | 1.748 | 0.00691
|  | 1.749 | 0.00615
|  | 1.75 | 0.00624
|  | 1.751 | 0.00673
|  | 1.752 | 0.00694
|  | 1.753 | 0.00707
|  | 1.754 | 0.00588
|  | 1.755 | 0.00418
|  | 1.756 | 0.00261
|  | 1.757 | 0.00198
|  | 1.758 | 0.0022
|  | 1.759 | 0.00377
|  | 1.76 | 0.00512
|  | 1.761 | 0.00552
|  | 1.762 | 0.00464
|  | 1.763 | 0.00352
|  | 1.764 | 0.00343
|  | 1.765 | 0.0044
|  | 1.766 | 0.00629
|  | 1.767 | 0.0079
|  | 1.768 | 0.00951
|  | 1.769 | 0.01141
|  | 1.77 | 0.01298
|  | 1.771 | 0.01331
|  | 1.772 | 0.01388
|  | 1.773 | 0.01439
|  | 1.774 | 0.01491
|  | 1.775 | 0.01574
|  | 1.776 | 0.01696
|  | 1.777 | 0.01748
|  | 1.778 | 0.01746
|  | 1.779 | 0.01862
|  | 1.78 | 0.02134
|  | 1.781 | 0.02427
|  | 1.782 | 0.02689
|  | 1.783 | 0.02862
|  | 1.784 | 0.03132
|  | 1.785 | 0.03538
|  | 1.786 | 0.04026
|  | 1.787 | 0.04526
|  | 1.788 | 0.04898
|  | 1.789 | 0.05239
|  | 1.79 | 0.05635
|  | 1.791 | 0.06142
|  | 1.792 | 0.06788
|  | 1.793 | 0.07601
|  | 1.794 | 0.08631
|  | 1.795 | 0.09872
|  | 1.796 | 0.10947
|  | 1.797 | 0.11716
|  | 1.798 | 0.12249
|  | 1.799 | 0.12913
|  | 1.8 | 0.14065
|  | 1.801 | 0.15655
|  | 1.802 | 0.17348
|  | 1.803 | 0.18984
|  | 1.804 | 0.20538
|  | 1.805 | 0.22064
|  | 1.806 | 0.23683
|  | 1.807 | 0.25318
|  | 1.808 | 0.27227
|  | 1.809 | 0.29599
|  | 1.81 | 0.3237
|  | 1.811 | 0.35337
|  | 1.812 | 0.38216
|  | 1.813 | 0.4101
|  | 1.814 | 0.44019
|  | 1.815 | 0.47283
|  | 1.816 | 0.50783
|  | 1.817 | 0.54369
|  | 1.818 | 0.58098
|  | 1.819 | 0.62493
|  | 1.82 | 0.67607
|  | 1.821 | 0.73534
|  | 1.822 | 0.79639
|  | 1.823 | 0.8537
|  | 1.824 | 0.90924
|  | 1.825 | 0.96433
|  | 1.826 | 1.0248
|  | 1.827 | 1.0951
|  | 1.828 | 1.1738
|  | 1.829 | 1.2562
|  | 1.83 | 1.3398
|  | 1.831 | 1.4244
|  | 1.832 | 1.5113
|  | 1.833 | 1.6019
|  | 1.834 | 1.6957
|  | 1.835 | 1.792
|  | 1.836 | 1.8914
|  | 1.837 | 1.9953
|  | 1.838 | 2.1066
|  | 1.839 | 2.2275
|  | 1.84 | 2.3536
|  | 1.841 | 2.4799
|  | 1.842 | 2.6071
|  | 1.843 | 2.7377
|  | 1.844 | 2.8734
|  | 1.845 | 3.0126
|  | 1.846 | 3.1547
|  | 1.847 | 3.3005
|  | 1.848 | 3.4507
|  | 1.849 | 3.6062
|  | 1.85 | 3.7656
|  | 1.851 | 3.9279
|  | 1.852 | 4.0973
|  | 1.853 | 4.2786
|  | 1.854 | 4.4679
|  | 1.855 | 4.6626
|  | 1.856 | 4.8628
|  | 1.857 | 5.0678
|  | 1.858 | 5.2787
|  | 1.859 | 5.4936
|  | 1.86 | 5.7078
|  | 1.861 | 5.9213
|  | 1.862 | 6.1345
|  | 1.863 | 6.3545
|  | 1.864 | 6.5871
|  | 1.865 | 6.832
|  | 1.866 | 7.0832
|  | 1.867 | 7.3319
|  | 1.868 | 7.5754
|  | 1.869 | 7.8183
|  | 1.87 | 8.0678
|  | 1.871 | 8.3277
|  | 1.872 | 8.5965
|  | 1.873 | 8.8698
|  | 1.874 | 9.143
|  | 1.875 | 9.4152
|  | 1.876 | 9.6869
|  | 1.877 | 9.9613
|  | 1.878 | 10.2424
|  | 1.879 | 10.5282
|  | 1.88 | 10.8132
|  | 1.881 | 11.0952
|  | 1.882 | 11.3753
|  | 1.883 | 11.6563
|  | 1.884 | 11.9415
|  | 1.885 | 12.235
|  | 1.886 | 12.5364
|  | 1.887 | 12.8412
|  | 1.888 | 13.1454
|  | 1.889 | 13.4478
|  | 1.89 | 13.747
|  | 1.891 | 14.046
|  | 1.892 | 14.3474
|  | 1.893 | 14.6519
|  | 1.894 | 14.9557
|  | 1.895 | 15.2583
|  | 1.896 | 15.5586
|  | 1.897 | 15.8552
|  | 1.898 | 16.1512
|  | 1.899 | 16.4498
|  | 1.9 | 16.7528
|  | 1.901 | 17.061
|  | 1.902 | 17.3721
|  | 1.903 | 17.6824
|  | 1.904 | 17.9911
|  | 1.905 | 18.2994
|  | 1.906 | 18.6072
|  | 1.907 | 18.9174
|  | 1.908 | 19.2332
|  | 1.909 | 19.5537
|  | 1.91 | 19.8763
|  | 1.911 | 20.1992
|  | 1.912 | 20.5203
|  | 1.913 | 20.8412
|  | 1.914 | 21.1641
|  | 1.915 | 21.4908
|  | 1.916 | 21.8237
|  | 1.917 | 22.1631
|  | 1.918 | 22.5075
|  | 1.919 | 22.855
|  | 1.92 | 23.2051
|  | 1.921 | 23.5604
|  | 1.922 | 23.9231
|  | 1.923 | 24.2924
|  | 1.924 | 24.668
|  | 1.925 | 25.0496
|  | 1.926 | 25.433
|  | 1.927 | 25.8192
|  | 1.928 | 26.2133
|  | 1.929 | 26.6194
|  | 1.93 | 27.0388
|  | 1.931 | 27.4709
|  | 1.932 | 27.9144
|  | 1.933 | 28.3721
|  | 1.934 | 28.8415
|  | 1.935 | 29.3228
|  | 1.936 | 29.8166
|  | 1.937 | 30.3219
|  | 1.938 | 30.8351
|  | 1.939 | 31.3502
|  | 1.94 | 31.8628
|  | 1.941 | 32.3721
|  | 1.942 | 32.8762
|  | 1.943 | 33.3759
|  | 1.944 | 33.8717
|  | 1.945 | 34.3647
|  | 1.946 | 34.8534
|  | 1.947 | 35.3362
|  | 1.948 | 35.8132
|  | 1.949 | 36.2841
|  | 1.95 | 36.7483
|  | 1.951 | 37.2059
|  | 1.952 | 37.6566
|  | 1.953 | 38.1008
|  | 1.954 | 38.538
|  | 1.955 | 38.9686
|  | 1.956 | 39.3935
|  | 1.957 | 39.8117
|  | 1.958 | 40.2222
|  | 1.959 | 40.6245
|  | 1.96 | 41.0181
|  | 1.961 | 41.4023
|  | 1.962 | 41.7766
|  | 1.963 | 42.1408
|  | 1.964 | 42.4957
|  | 1.965 | 42.8397
|  | 1.966 | 43.1712
|  | 1.967 | 43.4894
|  | 1.968 | 43.7945
|  | 1.969 | 44.0855
|  | 1.97 | 44.361
|  | 1.971 | 44.6204
|  | 1.972 | 44.8629
|  | 1.973 | 45.0866
|  | 1.974 | 45.2869
|  | 1.975 | 45.4639
|  | 1.976 | 45.6198
|  | 1.977 | 45.7575
|  | 1.978 | 45.8792
|  | 1.979 | 45.9889
|  | 1.98 | 46.0898
|  | 1.981 | 46.1833
|  | 1.982 | 46.2715
|  | 1.983 | 46.3551
|  | 1.984 | 46.434
|  | 1.985 | 46.5093
|  | 1.986 | 46.5807
|  | 1.987 | 46.6479
|  | 1.988 | 46.7117
|  | 1.989 | 46.7725
|  | 1.99 | 46.8302
|  | 1.991 | 46.8845
|  | 1.992 | 46.9357
|  | 1.993 | 46.9842
|  | 1.994 | 47.0305
|  | 1.995 | 47.0742
|  | 1.996 | 47.1145
|  | 1.997 | 47.1515
|  | 1.998 | 47.1855
|  | 1.999 | 47.217
|  | 2 | 47.2454
|  | 2.001 | 47.2704
|  | 2.002 | 47.2924
|  | 2.003 | 47.3124
|  | 2.004 | 47.3313
|  | 2.005 | 47.3486
|  | 2.006 | 47.3638
|  | 2.007 | 47.3777
|  | 2.008 | 47.3919
|  | 2.009 | 47.4067
|  | 2.01 | 47.4202
|  | 2.011 | 47.4328
|  | 2.012 | 47.4453
|  | 2.013 | 47.4578
|  | 2.014 | 47.4697
|  | 2.015 | 47.4808
|  | 2.016 | 47.4918
|  | 2.017 | 47.5033
|  | 2.018 | 47.5145
|  | 2.019 | 47.5244
|  | 2.02 | 47.5337
|  | 2.021 | 47.5438
|  | 2.022 | 47.5542
|  | 2.023 | 47.5639
|  | 2.024 | 47.5733
|  | 2.025 | 47.5821
|  | 2.026 | 47.5898
|  | 2.027 | 47.5972
|  | 2.028 | 47.6049
|  | 2.029 | 47.6125
|  | 2.03 | 47.6197
|  | 2.031 | 47.6265
|  | 2.032 | 47.6334
|  | 2.033 | 47.6407
|  | 2.034 | 47.6476
|  | 2.035 | 47.654
|  | 2.036 | 47.6599
|  | 2.037 | 47.6658
|  | 2.038 | 47.6719
|  | 2.039 | 47.6771
|  | 2.04 | 47.6819
|  | 2.041 | 47.6871
|  | 2.042 | 47.693
|  | 2.043 | 47.699
|  | 2.044 | 47.7039
|  | 2.045 | 47.7083
|  | 2.046 | 47.713
|  | 2.047 | 47.7184
|  | 2.048 | 47.724
|  | 2.049 | 47.7285
|  | 2.05 | 47.7323
|  | 2.051 | 47.7367
|  | 2.052 | 47.7421
|  | 2.053 | 47.7471
|  | 2.054 | 47.7512
|  | 2.055 | 47.7551
|  | 2.056 | 47.7592
|  | 2.057 | 47.7638
|  | 2.058 | 47.7682
|  | 2.059 | 47.7725
|  | 2.06 | 47.7769
|  | 2.061 | 47.7809
|  | 2.062 | 47.7844
|  | 2.063 | 47.7881
|  | 2.064 | 47.7916
|  | 2.065 | 47.7943
|  | 2.066 | 47.7968
|  | 2.067 | 47.7999
|  | 2.068 | 47.8032
|  | 2.069 | 47.8068
|  | 2.07 | 47.8109
|  | 2.071 | 47.8146
|  | 2.072 | 47.8179
|  | 2.073 | 47.8212
|  | 2.074 | 47.824
|  | 2.075 | 47.8263
|  | 2.076 | 47.829
|  | 2.077 | 47.832
|  | 2.078 | 47.835
|  | 2.079 | 47.8382
|  | 2.08 | 47.8417
|  | 2.081 | 47.8451
|  | 2.082 | 47.848
|  | 2.083 | 47.8509
|  | 2.084 | 47.8541
|  | 2.085 | 47.8572
|  | 2.086 | 47.8605
|  | 2.087 | 47.8631
|  | 2.088 | 47.8654
|  | 2.089 | 47.8672
|  | 2.09 | 47.8697
|  | 2.091 | 47.8725
|  | 2.092 | 47.8753
|  | 2.093 | 47.8777
|  | 2.094 | 47.879
|  | 2.095 | 47.8808
|  | 2.096 | 47.8832
|  | 2.097 | 47.8854
|  | 2.098 | 47.8866
|  | 2.099 | 47.8877
|  | 2.1 | 47.8891
|  | 2.101 | 47.891
|  | 2.102 | 47.8928
|  | 2.103 | 47.8943
|  | 2.104 | 47.8955
|  | 2.105 | 47.8971
|  | 2.106 | 47.8991
|  | 2.107 | 47.9008
|  | 2.108 | 47.9022
|  | 2.109 | 47.9035
|  | 2.11 | 47.9046
|  | 2.111 | 47.905
|  | 2.112 | 47.9058
|  | 2.113 | 47.9066
|  | 2.114 | 47.9073
|  | 2.115 | 47.9075
|  | 2.116 | 47.9085
|  | 2.117 | 47.9098
|  | 2.118 | 47.9108
|  | 2.119 | 47.9115
|  | 2.12 | 47.9116
|  | 2.121 | 47.9122
|  | 2.122 | 47.9132
|  | 2.123 | 47.9142
|  | 2.124 | 47.9146
|  | 2.125 | 47.9143
|  | 2.126 | 47.9143
|  | 2.127 | 47.9146
|  | 2.128 | 47.9149
|  | 2.129 | 47.9154
|  | 2.13 | 47.9158
|  | 2.131 | 47.9164
|  | 2.132 | 47.9165
|  | 2.133 | 47.9161
|  | 2.134 | 47.9151
|  | 2.135 | 47.9149
|  | 2.136 | 47.9154
|  | 2.137 | 47.9155
|  | 2.138 | 47.9154
|  | 2.139 | 47.9152
|  | 2.14 | 47.9151
|  | 2.141 | 47.9154
|  | 2.142 | 47.9159
|  | 2.143 | 47.9167
|  | 2.144 | 47.9168
|  | 2.145 | 47.9168
|  | 2.146 | 47.9164
|  | 2.147 | 47.9163
|  | 2.148 | 47.9171
|  | 2.149 | 47.9178
|  | 2.15 | 47.917
|  | 2.151 | 47.9158
|  | 2.152 | 47.9155
|  | 2.153 | 47.9158
|  | 2.154 | 47.9158
|  | 2.155 | 47.9153
|  | 2.156 | 47.9153
|  | 2.157 | 47.9158
|  | 2.158 | 47.9154
|  | 2.159 | 47.9141
|  | 2.16 | 47.9133
|  | 2.161 | 47.9132
|  | 2.162 | 47.9128
|  | 2.163 | 47.9115
|  | 2.164 | 47.9105
|  | 2.165 | 47.9092
|  | 2.166 | 47.9085
|  | 2.167 | 47.9083
|  | 2.168 | 47.9071
|  | 2.169 | 47.9057
|  | 2.17 | 47.9048
|  | 2.171 | 47.904
|  | 2.172 | 47.9032
|  | 2.173 | 47.9023
|  | 2.174 | 47.9014
|  | 2.175 | 47.9012
|  | 2.176 | 47.9005
|  | 2.177 | 47.8993
|  | 2.178 | 47.8984
|  | 2.179 | 47.8968
|  | 2.18 | 47.8956
|  | 2.181 | 47.8946
|  | 2.182 | 47.8933
|  | 2.183 | 47.8917
|  | 2.184 | 47.8899
|  | 2.185 | 47.8883
|  | 2.186 | 47.8871
|  | 2.187 | 47.8854
|  | 2.188 | 47.8828
|  | 2.189 | 47.8801
|  | 2.19 | 47.8776
|  | 2.191 | 47.8766
|  | 2.192 | 47.8753
|  | 2.193 | 47.874
|  | 2.194 | 47.8727
|  | 2.195 | 47.8717
|  | 2.196 | 47.8717
|  | 2.197 | 47.8712
|  | 2.198 | 47.87
|  | 2.199 | 47.8681
|  | 2.2 | 47.8673
|  | 2.201 | 47.8658
|  | 2.202 | 47.8641
|  | 2.203 | 47.8628
|  | 2.204 | 47.8617
|  | 2.205 | 47.8601
|  | 2.206 | 47.8594
|  | 2.207 | 47.8584
|  | 2.208 | 47.8575
|  | 2.209 | 47.8574
|  | 2.21 | 47.8574
|  | 2.211 | 47.8575
|  | 2.212 | 47.858
|  | 2.213 | 47.8567
|  | 2.214 | 47.8553
|  | 2.215 | 47.8546
|  | 2.216 | 47.8538
|  | 2.217 | 47.8535
|  | 2.218 | 47.8537
|  | 2.219 | 47.8535
|  | 2.22 | 47.8541
|  | 2.221 | 47.8544
|  | 2.222 | 47.8544
|  | 2.223 | 47.8539
|  | 2.224 | 47.8536
|  | 2.225 | 47.8537
|  | 2.226 | 47.8546
|  | 2.227 | 47.855
|  | 2.228 | 47.8558
|  | 2.229 | 47.8566
|  | 2.23 | 47.8572
|  | 2.231 | 47.858
|  | 2.232 | 47.858
|  | 2.233 | 47.8589
|  | 2.234 | 47.8599
|  | 2.235 | 47.8603
|  | 2.236 | 47.8606
|  | 2.237 | 47.8605
|  | 2.238 | 47.8609
|  | 2.239 | 47.8617
|  | 2.24 | 47.8634
|  | 2.241 | 47.8642
|  | 2.242 | 47.8651
|  | 2.243 | 47.8659
|  | 2.244 | 47.8666
|  | 2.245 | 47.868
|  | 2.246 | 47.8692
|  | 2.247 | 47.8704
|  | 2.248 | 47.8722
|  | 2.249 | 47.8736
|  | 2.25 | 47.875
|  | 2.251 | 47.8766
|  | 2.252 | 47.8768
|  | 2.253 | 47.8766
|  | 2.254 | 47.8782
|  | 2.255 | 47.8801
|  | 2.256 | 47.8817
|  | 2.257 | 47.8835
|  | 2.258 | 47.885
|  | 2.259 | 47.8858
|  | 2.26 | 47.887
|  | 2.261 | 47.889
|  | 2.262 | 47.8906
|  | 2.263 | 47.8914
|  | 2.264 | 47.8924
|  | 2.265 | 47.8934
|  | 2.266 | 47.8945
|  | 2.267 | 47.8954
|  | 2.268 | 47.8963
|  | 2.269 | 47.8978
|  | 2.27 | 47.9004
|  | 2.271 | 47.9033
|  | 2.272 | 47.9055
|  | 2.273 | 47.9072
|  | 2.274 | 47.9083
|  | 2.275 | 47.9091
|  | 2.276 | 47.9104
|  | 2.277 | 47.9117
|  | 2.278 | 47.9134
|  | 2.279 | 47.9154
|  | 2.28 | 47.9172
|  | 2.281 | 47.9187
|  | 2.282 | 47.9199
|  | 2.283 | 47.9211
|  | 2.284 | 47.9226
|  | 2.285 | 47.9243
|  | 2.286 | 47.9256
|  | 2.287 | 47.9272
|  | 2.288 | 47.9286
|  | 2.289 | 47.9295
|  | 2.29 | 47.9301
|  | 2.291 | 47.9302
|  | 2.292 | 47.9302
|  | 2.293 | 47.9308
|  | 2.294 | 47.9323
|  | 2.295 | 47.9338
|  | 2.296 | 47.935
|  | 2.297 | 47.9357
|  | 2.298 | 47.9355
|  | 2.299 | 47.936
|  | 2.3 | 47.9368
|  | 2.301 | 47.9373
|  | 2.302 | 47.9375
|  | 2.303 | 47.9384
|  | 2.304 | 47.9399
|  | 2.305 | 47.9411
|  | 2.306 | 47.9417
|  | 2.307 | 47.942
|  | 2.308 | 47.9426
|  | 2.309 | 47.9429
|  | 2.31 | 47.943
|  | 2.311 | 47.9426
|  | 2.312 | 47.9416
|  | 2.313 | 47.9405
|  | 2.314 | 47.9403
|  | 2.315 | 47.9402
|  | 2.316 | 47.9404
|  | 2.317 | 47.9406
|  | 2.318 | 47.9408
|  | 2.319 | 47.9404
|  | 2.32 | 47.9395
|  | 2.321 | 47.9379
|  | 2.322 | 47.9368
|  | 2.323 | 47.9364
|  | 2.324 | 47.9362
|  | 2.325 | 47.9363
|  | 2.326 | 47.9362
|  | 2.327 | 47.9353
|  | 2.328 | 47.9339
|  | 2.329 | 47.9325
|  | 2.33 | 47.9316
|  | 2.331 | 47.9312
|  | 2.332 | 47.9311
|  | 2.333 | 47.931
|  | 2.334 | 47.931
|  | 2.335 | 47.9302
|  | 2.336 | 47.9289
|  | 2.337 | 47.9279
|  | 2.338 | 47.9274
|  | 2.339 | 47.9275
|  | 2.34 | 47.9273
|  | 2.341 | 47.9267
|  | 2.342 | 47.926
|  | 2.343 | 47.9253
|  | 2.344 | 47.9241
|  | 2.345 | 47.9228
|  | 2.346 | 47.9219
|  | 2.347 | 47.9214
|  | 2.348 | 47.9211
|  | 2.349 | 47.9209
|  | 2.35 | 47.9208
|  | 2.351 | 47.9201
|  | 2.352 | 47.919
|  | 2.353 | 47.9186
|  | 2.354 | 47.9187
|  | 2.355 | 47.9187
|  | 2.356 | 47.919
|  | 2.357 | 47.9194
|  | 2.358 | 47.9194
|  | 2.359 | 47.919
|  | 2.36 | 47.9182
|  | 2.361 | 47.9177
|  | 2.362 | 47.918
|  | 2.363 | 47.9185
|  | 2.364 | 47.9191
|  | 2.365 | 47.9198
|  | 2.366 | 47.9201
|  | 2.367 | 47.9201
|  | 2.368 | 47.9205
|  | 2.369 | 47.9213
|  | 2.37 | 47.9218
|  | 2.371 | 47.922
|  | 2.372 | 47.9224
|  | 2.373 | 47.9234
|  | 2.374 | 47.9241
|  | 2.375 | 47.9241
|  | 2.376 | 47.9244
|  | 2.377 | 47.925
|  | 2.378 | 47.9252
|  | 2.379 | 47.9259
|  | 2.38 | 47.9269
|  | 2.381 | 47.9278
|  | 2.382 | 47.9289
|  | 2.383 | 47.9293
|  | 2.384 | 47.9295
|  | 2.385 | 47.9305
|  | 2.386 | 47.9315
|  | 2.387 | 47.9323
|  | 2.388 | 47.9334
|  | 2.389 | 47.934
|  | 2.39 | 47.9339
|  | 2.391 | 47.9339
|  | 2.392 | 47.9344
|  | 2.393 | 47.9353
|  | 2.394 | 47.9363
|  | 2.395 | 47.9372
|  | 2.396 | 47.9377
|  | 2.397 | 47.9378
|  | 2.398 | 47.9378
|  | 2.399 | 47.9378
|  | 2.4 | 47.9382
|  | 2.401 | 47.9392
|  | 2.402 | 47.94
|  | 2.403 | 47.9408
|  | 2.404 | 47.9415
|  | 2.405 | 47.9422
|  | 2.406 | 47.9421
|  | 2.407 | 47.9416
|  | 2.408 | 47.9416
|  | 2.409 | 47.9423
|  | 2.41 | 47.9434
|  | 2.411 | 47.944
|  | 2.412 | 47.9444
|  | 2.413 | 47.9446
|  | 2.414 | 47.9445
|  | 2.415 | 47.9447
|  | 2.416 | 47.9456
|  | 2.417 | 47.9461
|  | 2.418 | 47.9465
|  | 2.419 | 47.9471
|  | 2.42 | 47.9476
|  | 2.421 | 47.948
|  | 2.422 | 47.9484
|  | 2.423 | 47.9487
|  | 2.424 | 47.9494
|  | 2.425 | 47.9501
|  | 2.426 | 47.9506
|  | 2.427 | 47.9512
|  | 2.428 | 47.9521
|  | 2.429 | 47.9532
|  | 2.43 | 47.9546
|  | 2.431 | 47.956
|  | 2.432 | 47.9573
|  | 2.433 | 47.9584
|  | 2.434 | 47.9595
|  | 2.435 | 47.9604
|  | 2.436 | 47.9615
|  | 2.437 | 47.9632
|  | 2.438 | 47.9651
|  | 2.439 | 47.9665
|  | 2.44 | 47.9676
|  | 2.441 | 47.9688
|  | 2.442 | 47.9701
|  | 2.443 | 47.9716
|  | 2.444 | 47.9729
|  | 2.445 | 47.9742
|  | 2.446 | 47.9751
|  | 2.447 | 47.9768
|  | 2.448 | 47.9792
|  | 2.449 | 47.9815
|  | 2.45 | 47.9829
|  | 2.451 | 47.984
|  | 2.452 | 47.9856
|  | 2.453 | 47.9872
|  | 2.454 | 47.9889
|  | 2.455 | 47.9907
|  | 2.456 | 47.9922
|  | 2.457 | 47.9934
|  | 2.458 | 47.9953
|  | 2.459 | 47.9969
|  | 2.46 | 47.9983
|  | 2.461 | 47.9995
|  | 2.462 | 48.0002
|  | 2.463 | 48.0008
|  | 2.464 | 48.0018
|  | 2.465 | 48.0035
|  | 2.466 | 48.0052
|  | 2.467 | 48.0068
|  | 2.468 | 48.0076
|  | 2.469 | 48.0083
|  | 2.47 | 48.009
|  | 2.471 | 48.0097
|  | 2.472 | 48.011
|  | 2.473 | 48.0125
|  | 2.474 | 48.0132
|  | 2.475 | 48.0142
|  | 2.476 | 48.0151
|  | 2.477 | 48.0158
|  | 2.478 | 48.0165
|  | 2.479 | 48.0176
|  | 2.48 | 48.0192
|  | 2.481 | 48.021
|  | 2.482 | 48.022
|  | 2.483 | 48.0225
|  | 2.484 | 48.0227
|  | 2.485 | 48.0233
|  | 2.486 | 48.0247
|  | 2.487 | 48.0262
|  | 2.488 | 48.0265
|  | 2.489 | 48.0268
|  | 2.49 | 48.0276
|  | 2.491 | 48.0284
|  | 2.492 | 48.0296
|  | 2.493 | 48.0307
|  | 2.494 | 48.0318
|  | 2.495 | 48.0328
|  | 2.496 | 48.0334
|  | 2.497 | 48.034
|  | 2.498 | 48.0348
|  | 2.499 | 48.0354
|  | 2.5 | 48.0366
|  | 2.501 | 48.0375
|  | 2.502 | 48.0383
|  | 2.503 | 48.039
|  | 2.504 | 48.0408
|  | 2.505 | 48.0424
|  | 2.506 | 48.0435
|  | 2.507 | 48.0439
|  | 2.508 | 48.0438
|  | 2.509 | 48.0446
|  | 2.51 | 48.0467
|  | 2.511 | 48.0485
|  | 2.512 | 48.0495
|  | 2.513 | 48.0496
|  | 2.514 | 48.0501
|  | 2.515 | 48.0519
|  | 2.516 | 48.0533
|  | 2.517 | 48.055
|  | 2.518 | 48.0568
|  | 2.519 | 48.0578
|  | 2.52 | 48.0584
|  | 2.521 | 48.0588
|  | 2.522 | 48.0591
|  | 2.523 | 48.0607
|  | 2.524 | 48.063
|  | 2.525 | 48.0653
|  | 2.526 | 48.0665
|  | 2.527 | 48.0668
|  | 2.528 | 48.0674
|  | 2.529 | 48.0693
|  | 2.53 | 48.0712
|  | 2.531 | 48.073
|  | 2.532 | 48.0753
|  | 2.533 | 48.0775
|  | 2.534 | 48.0796
|  | 2.535 | 48.081
|  | 2.536 | 48.0818
|  | 2.537 | 48.0829
|  | 2.538 | 48.084
|  | 2.539 | 48.0855
|  | 2.54 | 48.0874
|  | 2.541 | 48.0898
|  | 2.542 | 48.0924
|  | 2.543 | 48.0957
|  | 2.544 | 48.0997
|  | 2.545 | 48.1026
|  | 2.546 | 48.105
|  | 2.547 | 48.1063
|  | 2.548 | 48.1086
|  | 2.549 | 48.1121
|  | 2.55 | 48.1146
|  | 2.551 | 48.1159
|  | 2.552 | 48.1176
|  | 2.553 | 48.1202
|  | 2.554 | 48.1237
|  | 2.555 | 48.1271
|  | 2.556 | 48.1298
|  | 2.557 | 48.1327
|  | 2.558 | 48.1349
|  | 2.559 | 48.1369
|  | 2.56 | 48.1398
|  | 2.561 | 48.143
|  | 2.562 | 48.1461
|  | 2.563 | 48.15
|  | 2.564 | 48.1532
|  | 2.565 | 48.1551
|  | 2.566 | 48.1564
|  | 2.567 | 48.16
|  | 2.568 | 48.1638
|  | 2.569 | 48.1678
|  | 2.57 | 48.1722
|  | 2.571 | 48.176
|  | 2.572 | 48.1787
|  | 2.573 | 48.1799
|  | 2.574 | 48.1807
|  | 2.575 | 48.1809
|  | 2.576 | 48.1817
|  | 2.577 | 48.1829
|  | 2.578 | 48.1841
|  | 2.579 | 48.1858
|  | 2.58 | 48.1879
|  | 2.581 | 48.1705
|  | 2.582 | 48.1535
|  | 2.583 | 48.1254
|  | 2.584 | 48.1007
|  | 2.585 | 48.0707
|  | 2.586 | 48.0469
|  | 2.587 | 48.0096
|  | 2.588 | 47.9947
|  | 2.589 | 47.966
|  | 2.59 | 47.94
|  | 2.591 | 47.9165
|  | 2.592 | 47.8993
|  | 2.593 | 47.8716
|  | 2.594 | 47.8387
|  | 2.595 | 47.8095
|  | 2.596 | 47.7723
|  | 2.597 | 47.7381
|  | 2.598 | 47.7002
|  | 2.599 | 47.666
|  | 2.6 | 47.6374
|  | 2.6095 | 47.6076
|  | 2.6195 | 47.5739
|  | 2.6297 | 47.5377
|  | 2.6396 | 47.5052
|  | 2.6495 | 47.4781
|  | 2.6594 | 47.441
|  | 2.6696 | 47.4081
|  | 2.6795 | 47.3735
|  | 2.6895 | 47.3402
|  | 2.6996 | 47.3038
|  | 2.7095 | 47.2683
|  | 2.7194 | 47.2306
|  | 2.7296 | 47.1926
|  | 2.7395 | 47.1604
|  | 2.7494 | 47.1258
|  | 2.7595 | 47.0925
|  | 2.7694 | 47.0646
|  | 2.7795 | 47.0363
|  | 2.7894 | 47.0037
|  | 2.7995 | 46.9698
|  | 2.8094 | 46.9368
|  | 2.8195 | 46.9185
|  | 2.8294 | 46.9086
|  | 2.8395 | 46.8996
|  | 2.8493 | 46.8892
|  | 2.8594 | 46.8865
|  | 2.8695 | 46.8852
|  | 2.8793 | 46.8971
|  | 2.8894 | 46.8838
|  | 2.8992 | 46.8779
|  | 2.9093 | 46.8645
|  | 2.9194 | 46.8593
|  | 2.9292 | 46.8505
|  | 2.9393 | 46.8511
|  | 2.9493 | 46.8499
|  | 2.9594 | 46.8464
|  | 2.9692 | 46.858
|  | 2.9792 | 46.8645
|  | 2.9893 | 46.877
|  | 2.9993 | 46.8866
|  | 3.0093 | 46.8849
|  | 3.0194 | 46.889
|  | 3.0294 | 46.9014
|  | 3.0391 | 46.9029
|  | 3.0492 | 46.9033
|  | 3.0592 | 46.9057
|  | 3.0692 | 46.918
|  | 3.0792 | 46.9206
|  | 3.0892 | 46.9255
|  | 3.0991 | 46.9209
|  | 3.1091 | 46.9275
|  | 3.1191 | 46.9326
|  | 3.1291 | 46.9435
|  | 3.1393 | 46.9521
|  | 3.1493 | 46.957
|  | 3.1592 | 46.9638
|  | 3.1692 | 46.9715
|  | 3.1791 | 46.9685
|  | 3.1891 | 46.978
|  | 3.1993 | 46.9903
|  | 3.2092 | 46.9945
|  | 3.2191 | 47.0055
|  | 3.229 | 47.0125
|  | 3.2392 | 47.0156
|  | 3.2491 | 47.0369
|  | 3.259 | 47.0476
|  | 3.2692 | 47.0601
|  | 3.2791 | 47.0635
|  | 3.289 | 47.0538
|  | 3.2991 | 47.0606
|  | 3.309 | 47.067
|  | 3.3191 | 47.0827
|  | 3.329 | 47.0893
|  | 3.3391 | 47.1072
|  | 3.349 | 47.0956
|  | 3.3591 | 47.1099
|  | 3.3689 | 47.1132
|  | 3.379 | 47.1102
|  | 3.3891 | 47.1166
|  | 3.399 | 47.127
|  | 3.409 | 47.1299
|  | 3.4191 | 47.13
|  | 3.4289 | 47.1305
|  | 3.439 | 47.1211
|  | 3.449 | 47.1377
|  | 3.4588 | 47.1345
|  | 3.4689 | 47.1249
|  | 3.4789 | 47.1198
|  | 3.489 | 47.1395
|  | 3.499 | 47.1514
|  | 3.509 | 47.1673
|  | 3.519 | 47.174
|  | 3.529 | 47.191
|  | 3.5388 | 47.1932
|  | 3.5488 | 47.195
|  | 3.5588 | 47.2016
|  | 3.5688 | 47.2159
|  | 3.579 | 47.2263
|  | 3.589 | 47.2453
|  | 3.5989 | 47.247
|  | 3.6089 | 47.23
|  | 3.6189 | 47.2375
|  | 3.6288 | 47.2283
|  | 3.6387 | 47.2342
|  | 3.6489 | 47.2434
|  | 3.6589 | 47.2299
|  | 3.6688 | 47.2441
|  | 3.6787 | 47.2547
|  | 3.6889 | 47.2547
|  | 3.6988 | 47.2728
|  | 3.7087 | 47.2814
|  | 3.7188 | 47.2961
|  | 3.7287 | 47.302
|  | 3.7388 | 47.3025
|  | 3.7487 | 47.2852
|  | 3.7588 | 47.3046
|  | 3.7687 | 47.3058
|  | 3.7788 | 47.3068
|  | 3.7886 | 47.3121
|  | 3.7987 | 47.2945
|  | 3.8088 | 47.2831
|  | 3.8186 | 47.278
|  | 3.8287 | 47.2926
|  | 3.8388 | 47.2922
|  | 3.8486 | 47.3041
|  | 3.8586 | 47.278
|  | 3.8687 | 47.3038
|  | 3.8787 | 47.3141
|  | 3.8888 | 47.3351
|  | 3.8985 | 47.3322
|  | 3.9085 | 47.3237
|  | 3.9185 | 47.3313
|  | 3.9285 | 47.3315
|  | 3.9385 | 47.3398
|  | 3.9485 | 47.3316
|  | 3.9585 | 47.3332
|  | 3.9685 | 47.3333
|  | 3.9787 | 47.3162
|  | 3.9887 | 47.3236
|  | 3.9986 | 47.3224
|  | 4.0086 | 47.3025
|  | 4.0185 | 47.3409
|  | 4.0287 | 47.4599
|  | 4.0386 | 47.5341
|  | 4.0485 | 47.5404
|  | 4.0584 | 47.5566
|  | 4.0686 | 47.5512
|  | 4.0785 | 47.5305
|  | 4.0886 | 47.5479
|  | 4.0985 | 47.546
|  | 4.1086 | 47.5736
|  | 4.1184 | 47.5569
|  | 4.1286 | 47.5556
|  | 4.1384 | 47.5517
|  | 4.1485 | 47.5547
|  | 4.1586 | 47.5518
|  | 4.1684 | 47.5485
|  | 4.1785 | 47.5497
|  | 4.1885 | 47.5654
|  | 4.1983 | 47.5643
|  | 4.2083 | 47.5813
|  | 4.2184 | 47.5734
|  | 4.2284 | 47.5834
|  | 4.2384 | 47.5686
|  | 4.2484 | 47.5784
|  | 4.2584 | 47.578
|  | 4.2684 | 47.5899
|  | 4.2784 | 47.565
|  | 4.2884 | 47.5589
|  | 4.2983 | 47.5363
|  | 4.3083 | 47.5282
|  | 4.3182 | 47.5264
|  | 4.3284 | 47.5193
|  | 4.3384 | 47.5147
|  | 4.3483 | 47.4938
|  | 4.3582 | 47.492
|  | 4.3684 | 47.5007
|  | 4.3783 | 47.4822
|  | 4.3884 | 47.481
|  | 4.3983 | 47.4646
|  | 4.4084 | 47.4515
|  | 4.4183 | 47.4639
|  | 4.4284 | 47.4342
|  | 4.4382 | 47.3214
|  | 4.4483 | 47.246
|  | 4.4584 | 47.2348
|  | 4.4682 | 47.2169
|  | 4.4782 | 47.2256
|  | 4.4883 | 47.2364
|  | 4.4983 | 47.203
|  | 4.5081 | 47.209
|  | 4.5181 | 47.1706
|  | 4.5281 | 47.174
|  | 4.5381 | 47.1661
|  | 4.5481 | 47.1657
|  | 4.5581 | 47.1536
|  | 4.5681 | 47.1692
|  | 4.5783 | 47.1676
|  | 4.5882 | 47.1638
|  | 4.5982 | 47.1528
|  | 4.6081 | 47.1529
|  | 4.618 | 47.1547
|  | 4.6282 | 47.1563
|  | 4.6381 | 47.1514
|  | 4.648 | 47.1484
|  | 4.6581 | 47.1361
|  | 4.668 | 47.1287
|  | 4.6781 | 47.1174
|  | 4.688 | 47.1022
|  | 4.6981 | 47.0929
|  | 4.7081 | 47.1041
|  | 4.718 | 47.0971
|  | 4.728 | 47.1068
|  | 4.7381 | 47.0996
|  | 4.7481 | 47.0969
|  | 4.7581 | 47.0795
|  | 4.7679 | 47.0736
|  | 4.7779 | 47.0625
|  | 4.7879 | 47.0862
|  | 4.7979 | 47.0931
|  | 4.8079 | 47.0834
|  | 4.8181 | 47.0727
|  | 4.828 | 47.0778
|  | 4.838 | 47.0815
|  | 4.8479 | 47.0747
|  | 4.8578 | 47.0745
|  | 4.868 | 47.0718
|  | 4.8779 | 47.0511
|  | 4.888 | 47.0575
|  | 4.8979 | 47.0508
|  | 4.908 | 47.048
|  | 4.9179 | 47.0394
|  | 4.928 | 47.0463
|  | 4.9378 | 47.0488
|  | 4.9479 | 47.0453
|  | 4.9579 | 47.0386
|  | 4.968 | 47.0473
|  | 4.978 | 47.0257
|  | 4.9878 | 47.016
|  | 4.9978 | 47.0058
|  | 5.0078 | 47.0095
|  | 5.0176 | 47.0118
|  | 5.0282 | 47.0028
|  | 5.038 | 47.0101
|  | 5.0478 | 47.0082
|  | 5.0576 | 47.0151
|  | 5.0682 | 47.0157
|  | 5.078 | 47.0213
|  | 5.0878 | 47.0236
|  | 5.0976 | 47.0434
|  | 5.1074 | 47.0644
|  | 5.118 | 47.0556
|  | 5.1278 | 47.061
|  | 5.1376 | 47.0442
|  | 5.1474 | 47.0435
|  | 5.158 | 47.015
|  | 5.1678 | 47.0188
|  | 5.1776 | 47.0307
|  | 5.1874 | 47.0217
|  | 5.1979 | 46.9887
|  | 5.2077 | 46.986
|  | 5.2175 | 46.9857
|  | 5.2273 | 47.0041
|  | 5.2379 | 46.9942
|  | 5.2477 | 46.9851
|  | 5.2575 | 46.9811
|  | 5.268 | 46.9949
|  | 5.2778 | 46.9985
|  | 5.2876 | 47.0046
|  | 5.2974 | 46.9869
|  | 5.3079 | 46.9794
|  | 5.3177 | 46.9713
|  | 5.3275 | 46.9495
|  | 5.3373 | 46.9357
|  | 5.3478 | 46.9302
|  | 5.3576 | 46.9169
|  | 5.3674 | 46.9161
|  | 5.3779 | 46.8989
|  | 5.3877 | 46.899
|  | 5.3975 | 46.9098
|  | 5.4072 | 46.92
|  | 5.4178 | 46.9057
|  | 5.4275 | 46.8976
|  | 5.4373 | 46.8882
|  | 5.4478 | 46.8909
|  | 5.4576 | 46.8724
|  | 5.4674 | 46.8458
|  | 5.4771 | 46.8365
|  | 5.4877 | 46.8222
|  | 5.4974 | 46.8153
|  | 5.5072 | 46.8192
|  | 5.5177 | 46.819
|  | 5.5275 | 46.8061
|  | 5.5372 | 46.7946
|  | 5.5477 | 46.7882
|  | 5.5575 | 46.7765
|  | 5.5673 | 46.8056
|  | 5.5778 | 46.8085
|  | 5.5875 | 46.7948
|  | 5.5973 | 46.7968
|  | 5.6078 | 46.8064
|  | 5.6175 | 46.7998
|  | 5.6273 | 46.7933
|  | 5.637 | 46.7748
|  | 5.6475 | 46.763
|  | 5.6573 | 46.7591
|  | 5.667 | 46.7569
|  | 5.6775 | 46.7495
|  | 5.6873 | 46.7336
|  | 5.697 | 46.7488
|  | 5.7075 | 46.7525
|  | 5.7172 | 46.7445
|  | 5.727 | 46.7463
|  | 5.7375 | 46.7561
|  | 5.7472 | 46.7629
|  | 5.7577 | 46.755
|  | 5.7674 | 46.7559
|  | 5.7771 | 46.7483
|  | 5.7876 | 46.751
|  | 5.7974 | 46.7291
|  | 5.8071 | 46.6997
|  | 5.8176 | 46.682
|  | 5.8273 | 46.6726
|  | 5.837 | 46.6768
|  | 5.8475 | 46.6536
|  | 5.8572 | 46.6483
|  | 5.8669 | 46.6773
|  | 5.8774 | 46.6801
|  | 5.8871 | 46.6724
|  | 5.8976 | 46.6614
|  | 5.9073 | 46.6576
|  | 5.917 | 46.627
|  | 5.9275 | 46.5962
|  | 5.9372 | 46.5974
|  | 5.9469 | 46.5906
|  | 5.9574 | 46.5976
|  | 5.9671 | 46.5902
|  | 5.9775 | 46.5633
|  | 5.9872 | 46.5307
|  | 5.9969 | 46.5199
|  | 6.0074 | 46.5126
|  | 6.0171 | 46.51
|  | 6.0268 | 46.499
|  | 6.0372 | 46.4969
|  | 6.0469 | 46.4967
|  | 6.0574 | 46.49
|  | 6.0671 | 46.4714
|  | 6.0768 | 46.4562
|  | 6.0872 | 46.4372
|  | 6.0969 | 46.4351
|  | 6.1073 | 46.4067
|  | 6.117 | 46.3962
|  | 6.1267 | 46.381
|  | 6.1372 | 46.3676
|  | 6.1468 | 46.3603
|  | 6.1573 | 46.3385
|  | 6.167 | 46.3245
|  | 6.1774 | 46.3088
|  | 6.1871 | 46.2941
|  | 6.1967 | 46.2964
|  | 6.2072 | 46.3015
|  | 6.2168 | 46.3122
|  | 6.2273 | 46.3076
|  | 6.2369 | 46.3189
|  | 6.2466 | 46.2538
|  | 6.257 | 46.2739
|  | 6.2667 | 46.2796
|  | 6.2771 | 46.2743
|  | 6.2868 | 46.2844
|  | 6.2972 | 46.2425
|  | 6.3069 | 46.2183
|  | 6.3173 | 46.2316
|  | 6.3269 | 46.2563
|  | 6.3366 | 46.279
|  | 6.347 | 46.269
|  | 6.3566 | 46.2757
|  | 6.367 | 46.2723
|  | 6.3767 | 46.298
|  | 6.3871 | 46.32
|  | 6.3967 | 46.3668
|  | 6.4071 | 46.3465
|  | 6.4168 | 46.3411
|  | 6.4272 | 46.3196
|  | 6.4368 | 46.3122
|  | 6.4465 | 46.3434
|  | 6.4569 | 46.3293
|  | 6.4665 | 46.3085
|  | 6.4769 | 46.3165
|  | 6.4865 | 46.3365
|  | 6.4969 | 46.3245
|  | 6.5065 | 46.3261
|  | 6.5169 | 46.297
|  | 6.5266 | 46.2958
|  | 6.5369 | 46.2794
|  | 6.5466 | 46.2638
|  | 6.5569 | 46.2361
|  | 6.5666 | 46.2284
|  | 6.5769 | 46.2108
|  | 6.5866 | 46.2187
|  | 6.5969 | 46.2229
|  | 6.6066 | 46.1999
|  | 6.6169 | 46.1762
|  | 6.6265 | 46.1616
|  | 6.6369 | 46.1531
|  | 6.6465 | 46.1269
|  | 6.6569 | 46.1481
|  | 6.6665 | 46.1433
|  | 6.6768 | 46.1118
|  | 6.6864 | 46.069
|  | 6.6968 | 46.0475
|  | 6.7064 | 46.0672
|  | 6.7168 | 46.0751
|  | 6.7264 | 46.0669
|  | 6.7367 | 46.0494
|  | 6.7463 | 46.0142
|  | 6.7566 | 46.0221
|  | 6.7663 | 46.0014
|  | 6.7766 | 45.9802
|  | 6.7869 | 45.9483
|  | 6.7965 | 45.9284
|  | 6.8069 | 45.8937
|  | 6.8164 | 45.9114
|  | 6.8268 | 45.8859
|  | 6.8364 | 45.8845
|  | 6.8467 | 45.8612
|  | 6.8563 | 45.8217
|  | 6.8666 | 45.8017
|  | 6.8762 | 45.8027
|  | 6.8865 | 45.7812
|  | 6.8968 | 45.7526
|  | 6.9064 | 45.7469
|  | 6.9167 | 45.7221
|  | 6.9263 | 45.7173
|  | 6.9366 | 45.7054
|  | 6.9462 | 45.7233
|  | 6.9565 | 45.7359
|  | 6.9668 | 45.7412
|  | 6.9764 | 45.7258
|  | 6.9867 | 45.7376
|  | 6.9962 | 45.7137
|  | 7.0065 | 45.6902
|  | 7.0161 | 45.6754
|  | 7.0264 | 45.6729
|  | 7.0367 | 45.6641
|  | 7.0463 | 45.65
|  | 7.0566 | 45.6401
|  | 7.0661 | 45.6446
|  | 7.0764 | 45.613
|  | 7.0867 | 45.5996
|  | 7.0962 | 45.6018
|  | 7.1065 | 45.5918
|  | 7.1161 | 45.5872
|  | 7.1264 | 45.5787
|  | 7.1366 | 45.5516
|  | 7.1462 | 45.538
|  | 7.1565 | 45.5288
|  | 7.166 | 45.5079
|  | 7.1763 | 45.5063
|  | 7.1865 | 45.4964
|  | 7.1961 | 45.4845
|  | 7.2063 | 45.4683
|  | 7.2166 | 45.4418
|  | 7.2261 | 45.4395
|  | 7.2364 | 45.4436
|  | 7.2459 | 45.434
|  | 7.2562 | 45.4461
|  | 7.2665 | 45.4264
|  | 7.276 | 45.4084
|  | 7.2862 | 45.3931
|  | 7.2965 | 45.3974
|  | 7.306 | 45.3748
|  | 7.3163 | 45.3593
|  | 7.3265 | 45.3546
|  | 7.336 | 45.3526
|  | 7.3463 | 45.3307
|  | 7.3565 | 45.3134
|  | 7.366 | 45.2893
|  | 7.3763 | 45.2867
|  | 7.3865 | 45.2894
|  | 7.396 | 45.2838
|  | 7.4062 | 45.2766
|  | 7.4165 | 45.2664
|  | 7.426 | 45.2754
|  | 7.4362 | 45.2768
|  | 7.4464 | 45.2814
|  | 7.4559 | 45.2596
|  | 7.4661 | 45.2503
|  | 7.4764 | 45.2414
|  | 7.4858 | 45.2309
|  | 7.4961 | 45.2145
|  | 7.5063 | 45.2008
|  | 7.5158 | 45.2102
|  | 7.526 | 45.2021
|  | 7.5362 | 45.2015
|  | 7.5457 | 45.2111
|  | 7.5559 | 45.2024
|  | 7.5661 | 45.1888
|  | 7.5763 | 45.17
|  | 7.5858 | 45.1418
|  | 7.596 | 45.14
|  | 7.6062 | 45.1317
|  | 7.6156 | 45.141
|  | 7.6258 | 45.1435
|  | 7.636 | 45.1342
|  | 7.6462 | 45.1223
|  | 7.6557 | 45.1203
|  | 7.6659 | 45.1119
|  | 7.6761 | 45.0987
|  | 7.6862 | 45.1148
|  | 7.6957 | 45.1079
|  | 7.7059 | 45.0917
|  | 7.7161 | 45.073
|  | 7.7262 | 45.0903
|  | 7.7357 | 45.0936
|  | 7.7459 | 45.0953
|  | 7.756 | 45.1048
|  | 7.7662 | 45.0983
|  | 7.7756 | 45.1069
|  | 7.7858 | 45.093
|  | 7.796 | 45.0818
|  | 7.8061 | 45.0615
|  | 7.8156 | 45.0567
|  | 7.8257 | 45.0543
|  | 7.8359 | 45.031
|  | 7.846 | 45.022
|  | 7.8555 | 45.0031
|  | 7.8656 | 45.0114
|  | 7.8758 | 45.0044
|  | 7.8859 | 45.0086
|  | 7.8961 | 45.011
|  | 7.9055 | 45.0212
|  | 7.9156 | 45.0131
|  | 7.9258 | 45.0006
|  | 7.9359 | 45.0018
|  | 7.946 | 45.0008
|  | 7.9555 | 44.9712
|  | 7.9656 | 44.9573
|  | 7.9757 | 44.9561
|  | 7.9859 | 44.9466
|  | 7.996 | 44.9538
|  | 8.0054 | 44.9473
|  | 8.0155 | 44.9378
|  | 8.0256 | 44.9176
|  | 8.0358 | 44.9151
|  | 8.0459 | 44.8904
|  | 8.056 | 44.905
|  | 8.0654 | 44.8983
|  | 8.0755 | 44.892
|  | 8.0856 | 44.8836
|  | 8.0957 | 44.8734
|  | 8.1058 | 44.8842
|  | 8.1159 | 44.8797
|  | 8.1253 | 44.8903
|  | 8.1354 | 44.8555
|  | 8.1455 | 44.854
|  | 8.1556 | 44.8485
|  | 8.1657 | 44.8437
|  | 8.1758 | 44.8382
|  | 8.1859 | 44.8261
|  | 8.1952 | 44.8292
|  | 8.2053 | 44.8195
|  | 8.2154 | 44.8227
|  | 8.2255 | 44.8205
|  | 8.2356 | 44.8109
|  | 8.2457 | 44.8245
|  | 8.2557 | 44.8259
|  | 8.2658 | 44.8204
|  | 8.2752 | 44.8152
|  | 8.2852 | 44.8113
|  | 8.2953 | 44.7984
|  | 8.3054 | 44.7904
|  | 8.3155 | 44.7791
|  | 8.3255 | 44.7655
|  | 8.3356 | 44.757
|  | 8.3456 | 44.74
|  | 8.3557 | 44.7217
|  | 8.3658 | 44.7309
|  | 8.3751 | 44.7185
|  | 8.3851 | 44.7163
|  | 8.3952 | 44.7256
|  | 8.4052 | 44.7015
|  | 8.4153 | 44.7043
|  | 8.4253 | 44.7034
|  | 8.4354 | 44.7046
|  | 8.4454 | 44.7046
|  | 8.4554 | 44.7156
|  | 8.4655 | 44.6911
|  | 8.4755 | 44.6857
|  | 8.4856 | 44.6769
|  | 8.4956 | 44.6793
|  | 8.5056 | 44.6698
|  | 8.5156 | 44.6645
|  | 8.5257 | 44.6562
|  | 8.5357 | 44.6589
|  | 8.545 | 44.6527
|  | 8.555 | 44.6275
|  | 8.565 | 44.6156
|  | 8.575 | 44.6069
|  | 8.585 | 44.6131
|  | 8.5951 | 44.6046
|  | 8.6051 | 44.6003
|  | 8.6151 | 44.6154
|  | 8.6251 | 44.6013
|  | 8.6351 | 44.6082
|  | 8.6451 | 44.6188
|  | 8.6551 | 44.608
|  | 8.6651 | 44.6162
|  | 8.6751 | 44.6191
|  | 8.6851 | 44.6008
|  | 8.695 | 44.6048
|  | 8.705 | 44.5977
|  | 8.715 | 44.5989
|  | 8.725 | 44.6079
|  | 8.735 | 44.6143
|  | 8.745 | 44.6154
|  | 8.7549 | 44.6246
|  | 8.7649 | 44.6308
|  | 8.7749 | 44.6324
|  | 8.7849 | 44.6426
|  | 8.7948 | 44.6375
|  | 8.8048 | 44.617
|  | 8.8155 | 44.6167
|  | 8.8254 | 44.598
|  | 8.8354 | 44.5862
|  | 8.8453 | 44.5621
|  | 8.8553 | 44.5514
|  | 8.8652 | 44.5402
|  | 8.8752 | 44.5451
|  | 8.8851 | 44.5314
|  | 8.8951 | 44.521
|  | 8.905 | 44.5155
|  | 8.915 | 44.5245
|  | 8.9249 | 44.5214
|  | 8.9349 | 44.5268
|  | 8.9448 | 44.5203
|  | 8.9547 | 44.5394
|  | 8.9654 | 44.5426
|  | 8.9753 | 44.5435
|  | 8.9852 | 44.533
|  | 8.9952 | 44.5156
|  | 9.0051 | 44.5222
|  | 9.015 | 44.5033
|  | 9.0249 | 44.4922
|  | 9.0348 | 44.5001
|  | 9.0448 | 44.4921
|  | 9.0547 | 44.484
|  | 9.0653 | 44.4788
|  | 9.0752 | 44.4675
|  | 9.0851 | 44.4673
|  | 9.095 | 44.4879
|  | 9.1049 | 44.48
|  | 9.1148 | 44.4772
|  | 9.1247 | 44.4894
|  | 9.1346 | 44.4692
|  | 9.1452 | 44.4569
|  | 9.1551 | 44.4434
|  | 9.165 | 44.4298
|  | 9.1749 | 44.4154
|  | 9.1847 | 44.4022
|  | 9.1946 | 44.4054
|  | 9.2045 | 44.3968
|  | 9.2151 | 44.3924
|  | 9.225 | 44.4005
|  | 9.2348 | 44.4064
|  | 9.2447 | 44.406
|  | 9.2546 | 44.4128
|  | 9.2651 | 44.3966
|  | 9.275 | 44.3846
|  | 9.2849 | 44.3678
|  | 9.2947 | 44.3706
|  | 9.3046 | 44.3874
|  | 9.3144 | 44.4088
|  | 9.325 | 44.3977
|  | 9.3349 | 44.3989
|  | 9.3447 | 44.3918
|  | 9.3545 | 44.3946
|  | 9.3644 | 44.3855
|  | 9.3749 | 44.3889
|  | 9.3848 | 44.3794
|  | 9.3946 | 44.3837
|  | 9.4044 | 44.3832
|  | 9.415 | 44.3689
|  | 9.4248 | 44.3709
|  | 9.4346 | 44.3573
|  | 9.4445 | 44.3374
|  | 9.455 | 44.3301
|  | 9.4648 | 44.3223
|  | 9.4746 | 44.3167
|  | 9.4844 | 44.3017
|  | 9.495 | 44.2879
|  | 9.5048 | 44.2888
|  | 9.5146 | 44.2887
|  | 9.5244 | 44.2935
|  | 9.5349 | 44.2867
|  | 9.5447 | 44.2905
|  | 9.5545 | 44.2983
|  | 9.5643 | 44.3077
|  | 9.5748 | 44.3164
|  | 9.5846 | 44.3136
|  | 9.5944 | 44.3135
|  | 9.6049 | 44.2993
|  | 9.6146 | 44.3105
|  | 9.6244 | 44.3156
|  | 9.6342 | 44.3084
|  | 9.6447 | 44.2986
|  | 9.6545 | 44.2936
|  | 9.6642 | 44.2936
|  | 9.6747 | 44.3097
|  | 9.6845 | 44.3107
|  | 9.6942 | 44.311
|  | 9.7047 | 44.3098
|  | 9.7145 | 44.3098
|  | 9.7242 | 44.2904
|  | 9.7347 | 44.282
|  | 9.7444 | 44.2651
|  | 9.7542 | 44.2569
|  | 9.7646 | 44.235
|  | 9.7744 | 44.2389
|  | 9.7841 | 44.2461
|  | 9.7946 | 44.2618
|  | 9.8043 | 44.2568
|  | 9.8147 | 44.255
|  | 9.8245 | 44.2552
|  | 9.8342 | 44.2568
|  | 9.8446 | 44.2678
|  | 9.8544 | 44.2636
|  | 9.8641 | 44.2683
|  | 9.8745 | 44.2692
|  | 9.8842 | 44.2733
|  | 9.8947 | 44.2798
|  | 9.9044 | 44.2664
|  | 9.9141 | 44.2513
|  | 9.9245 | 44.2371
|  | 9.9342 | 44.2401
|  | 9.9446 | 44.229
|  | 9.9543 | 44.2189
|  | 9.964 | 44.2088
|  | 9.9744 | 44.1917
|  | 9.9841 | 44.1917
|  | 9.9945 | 44.2015
|  | 10.0042 | 44.2037
|  | 10.0146 | 44.2116
|  | 10.0242 | 44.2005
|  | 10.0339 | 44.2033
|  | 10.0443 | 44.2139
|  | 10.054 | 44.2041
|  | 10.0644 | 44.2146
|  | 10.074 | 44.2105
|  | 10.0844 | 44.1977
|  | 10.0941 | 44.2006
|  | 10.1044 | 44.1999
|  | 10.1141 | 44.1854
|  | 10.1244 | 44.1663
|  | 10.1341 | 44.1627
|  | 10.1444 | 44.1699
|  | 10.1541 | 44.1725
|  | 10.1644 | 44.1773
|  | 10.1741 | 44.1816
|  | 10.1844 | 44.1645
|  | 10.1941 | 44.1316
|  | 10.2044 | 44.1203
|  | 10.214 | 44.121
|  | 10.2244 | 44.1081
|  | 10.234 | 44.099
|  | 10.2443 | 44.0873
|  | 10.254 | 44.0763
|  | 10.2643 | 44.0877
|  | 10.2739 | 44.085
|  | 10.2842 | 44.0762
|  | 10.2938 | 44.0638
|  | 10.3041 | 44.0549
|  | 10.3137 | 44.0547
|  | 10.324 | 44.0557
|  | 10.3343 | 44.0673
|  | 10.3439 | 44.0569
|  | 10.3542 | 44.0475
|  | 10.3638 | 44.0422
|  | 10.3741 | 44.0301
|  | 10.3837 | 44.0258
|  | 10.394 | 44.0149
|  | 10.4043 | 43.9831
|  | 10.4139 | 43.9788
|  | 10.4241 | 43.9594
|  | 10.4337 | 43.9675
|  | 10.444 | 43.9632
|  | 10.4542 | 43.9363
|  | 10.4638 | 43.9343
|  | 10.4741 | 43.9151
|  | 10.4836 | 43.9187
|  | 10.4939 | 43.9139
|  | 10.5041 | 43.897
|  | 10.5137 | 43.8844
|  | 10.524 | 43.893
|  | 10.5342 | 43.8865
|  | 10.5437 | 43.8656
|  | 10.554 | 43.8665
|  | 10.5642 | 43.8583
|  | 10.5738 | 43.8541
|  | 10.584 | 43.836
|  | 10.5935 | 43.8364
|  | 10.6037 | 43.8469
|  | 10.614 | 43.8397
|  | 10.6242 | 43.8228
|  | 10.6337 | 43.8175
|  | 10.6439 | 43.8166
|  | 10.6541 | 43.8295
|  | 10.6636 | 43.8149
|  | 10.6738 | 43.8009
|  | 10.684 | 43.7888
|  | 10.6936 | 43.7962
|  | 10.7038 | 43.7942
|  | 10.7139 | 43.7949
|  | 10.7234 | 43.7931
|  | 10.7336 | 43.7939
|  | 10.7438 | 43.7947
|  | 10.754 | 43.7774
|  | 10.7635 | 43.7831
|  | 10.7737 | 43.7805
|  | 10.7838 | 43.789
|  | 10.794 | 43.783
|  | 10.8035 | 43.7811
|  | 10.8136 | 43.7946
|  | 10.8238 | 43.7767
|  | 10.8339 | 43.775
|  | 10.8434 | 43.7645
|  | 10.8536 | 43.7635
|  | 10.8637 | 43.768
|  | 10.8739 | 43.7737
|  | 10.8833 | 43.7852
|  | 10.8935 | 43.78
|  | 10.9036 | 43.7856
|  | 10.9137 | 43.7946
|  | 10.9238 | 43.7971
|  | 10.9333 | 43.8055
|  | 10.9434 | 43.8021
|  | 10.9535 | 43.8118
|  | 10.9637 | 43.8131
|  | 10.9738 | 43.822
|  | 10.9839 | 43.8284
|  | 10.9933 | 43.8346
|  | 11.0034 | 43.8299
|  | 11.0135 | 43.8281
|  | 11.0236 | 43.8214
|  | 11.0337 | 43.8053
|  | 11.0438 | 43.815
|  | 11.0532 | 43.8169
|  | 11.0633 | 43.8063
|  | 11.0734 | 43.8118
|  | 11.0835 | 43.8185
|  | 11.0935 | 43.8115
|  | 11.1036 | 43.7996
|  | 11.1137 | 43.8114
|  | 11.1238 | 43.81
|  | 11.1331 | 43.8083
|  | 11.1432 | 43.7867
|  | 11.1533 | 43.7672
|  | 11.1633 | 43.7581
|  | 11.1734 | 43.7545
|  | 11.1834 | 43.75
|  | 11.1935 | 43.7443
|  | 11.2035 | 43.7294
|  | 11.2136 | 43.7247
|  | 11.2236 | 43.7194
|  | 11.2336 | 43.7016
|  | 11.2437 | 43.6957
|  | 11.2537 | 43.6658
|  | 11.2637 | 43.6467
|  | 11.2731 | 43.6367
|  | 11.2831 | 43.6104
|  | 11.2931 | 43.576
|  | 11.3031 | 43.5481
|  | 11.3131 | 43.4993
|  | 11.3231 | 43.4639
|  | 11.3331 | 43.4441
|  | 11.3431 | 43.3933
|  | 11.3531 | 43.3595
|  | 11.3631 | 43.3232
|  | 11.3731 | 43.2542
|  | 11.3831 | 43.1986
|  | 11.3931 | 43.1367
|  | 11.4031 | 43.0614
|  | 11.413 | 42.9973
|  | 11.423 | 42.9318
|  | 11.433 | 42.8708
|  | 11.443 | 42.8057
|  | 11.4529 | 42.7277
|  | 11.4636 | 42.644
|  | 11.4735 | 42.5691
|  | 11.4835 | 42.4776
|  | 11.4934 | 42.3674
|  | 11.5034 | 42.2799
|  | 11.5133 | 42.1572
|  | 11.5233 | 42.0159
|  | 11.5332 | 41.8975
|  | 11.5431 | 41.7692
|  | 11.5531 | 41.6482
|  | 11.563 | 41.5062
|  | 11.5729 | 41.3809
|  | 11.5829 | 41.2415
|  | 11.5934 | 41.076
|  | 11.6034 | 40.916
|  | 11.6133 | 40.7756
|  | 11.6232 | 40.604
|  | 11.6331 | 40.4379
|  | 11.643 | 40.2927
|  | 11.6529 | 40.1217
|  | 11.6628 | 39.9697
|  | 11.6734 | 39.8019
|  | 11.6833 | 39.6406
|  | 11.6931 | 39.459
|  | 11.703 | 39.2885
|  | 11.7129 | 39.1236
|  | 11.7228 | 38.967
|  | 11.7333 | 38.8088
|  | 11.7432 | 38.6412
|  | 11.7531 | 38.5053
|  | 11.7629 | 38.3552
|  | 11.7728 | 38.194
|  | 11.7833 | 38.0792
|  | 11.7932 | 37.9436
|  | 11.803 | 37.8084
|  | 11.8129 | 37.7129
|  | 11.8227 | 37.6003
|  | 11.8332 | 37.5096
|  | 11.8431 | 37.4168
|  | 11.8529 | 37.3357
|  | 11.8627 | 37.2684
|  | 11.8732 | 37.1995
|  | 11.8831 | 37.1101
|  | 11.8929 | 37.0584
|  | 11.9027 | 37.013
|  | 11.9132 | 36.9795
|  | 11.923 | 36.9405
|  | 11.9328 | 36.9269
|  | 11.9426 | 36.8912
|  | 11.9531 | 36.8879
|  | 11.9629 | 36.8776
|  | 11.9727 | 36.8972
|  | 11.9831 | 36.9157
|  | 11.9929 | 36.9293
|  | 12.0027 | 36.9847
|  | 12.0131 | 37.0192
|  | 12.0229 | 37.0618
|  | 12.0327 | 37.0957
|  | 12.0431 | 37.1478
|  | 12.0529 | 37.2043
|  | 12.0626 | 37.2801
|  | 12.073 | 37.3457
|  | 12.0828 | 37.4112
|  | 12.0926 | 37.4645
|  | 12.103 | 37.5376
|  | 12.1127 | 37.6278
|  | 12.1225 | 37.6887
|  | 12.1329 | 37.7648
|  | 12.1426 | 37.8349
|  | 12.153 | 37.928
|  | 12.1627 | 37.9787
|  | 12.1724 | 38.0465
|  | 12.1828 | 38.1167
|  | 12.1925 | 38.1814
|  | 12.2029 | 38.2437
|  | 12.2126 | 38.3056
|  | 12.223 | 38.3611
|  | 12.2327 | 38.4147
|  | 12.2424 | 38.4451
|  | 12.2527 | 38.4864
|  | 12.2624 | 38.5385
|  | 12.2728 | 38.5588
|  | 12.2825 | 38.5805
|  | 12.2928 | 38.6214
|  | 12.3025 | 38.6277
|  | 12.3128 | 38.6459
|  | 12.3225 | 38.6514
|  | 12.3328 | 38.7003
|  | 12.3425 | 38.7092
|  | 12.3528 | 38.7461
|  | 12.3625 | 38.7401
|  | 12.3728 | 38.7626
|  | 12.3824 | 38.7845
|  | 12.3927 | 38.7641
|  | 12.4024 | 38.751
|  | 12.4127 | 38.7576
|  | 12.4223 | 38.7691
|  | 12.4326 | 38.7683
|  | 12.4422 | 38.7871
|  | 12.4525 | 38.7865
|  | 12.4628 | 38.779
|  | 12.4724 | 38.7544
|  | 12.4827 | 38.7413
|  | 12.4923 | 38.7384
|  | 12.5025 | 38.7398
|  | 12.5128 | 38.767
|  | 12.5224 | 38.7509
|  | 12.5326 | 38.7528
|  | 12.5422 | 38.7648
|  | 12.5525 | 38.7758
|  | 12.5627 | 38.7666
|  | 12.5723 | 38.7771
|  | 12.5825 | 38.7842
|  | 12.5927 | 38.7941
|  | 12.6023 | 38.7583
|  | 12.6125 | 38.7846
|  | 12.6221 | 38.7954
|  | 12.6323 | 38.801
|  | 12.6425 | 38.8213
|  | 12.6527 | 38.8444
|  | 12.6623 | 38.8401
|  | 12.6724 | 38.8356
|  | 12.6826 | 38.8344
|  | 12.6922 | 38.8548
|  | 12.7024 | 38.865
|  | 12.7125 | 38.8686
|  | 12.7221 | 38.8761
|  | 12.7322 | 38.8656
|  | 12.7424 | 38.8682
|  | 12.7526 | 38.8788
|  | 12.7621 | 38.8756
|  | 12.7722 | 38.8964
|  | 12.7824 | 38.8908
|  | 12.7925 | 38.8935
|  | 12.802 | 38.8972
|  | 12.8122 | 38.8906
|  | 12.8223 | 38.8514
|  | 12.8324 | 38.8178
|  | 12.8425 | 38.8058
|  | 12.852 | 38.7828
|  | 12.8621 | 38.7731
|  | 12.8723 | 38.7231
|  | 12.8824 | 38.6784
|  | 12.8925 | 38.6398
|  | 12.9019 | 38.5933
|  | 12.912 | 38.5607
|  | 12.9221 | 38.4899
|  | 12.9322 | 38.442
|  | 12.9423 | 38.4073
|  | 12.9524 | 38.3282
|  | 12.9624 | 38.2554
|  | 12.9719 | 38.1977
|  | 12.982 | 38.1179
|  | 12.992 | 38.0325
|  | 13.0021 | 37.9627
|  | 13.0121 | 37.9178
|  | 13.0222 | 37.837
|  | 13.0322 | 37.7624
|  | 13.0423 | 37.6764
|  | 13.0523 | 37.5644
|  | 13.0623 | 37.4635
|  | 13.0724 | 37.3856
|  | 13.0818 | 37.2886
|  | 13.0918 | 37.2064
|  | 13.1018 | 37.1183
|  | 13.1118 | 37.0253
|  | 13.1218 | 36.9605
|  | 13.1319 | 36.8772
|  | 13.1419 | 36.8154
|  | 13.1519 | 36.7134
|  | 13.1619 | 36.6184
|  | 13.1718 | 36.5381
|  | 13.1818 | 36.4533
|  | 13.1918 | 36.3735
|  | 13.2018 | 36.2722
|  | 13.2118 | 36.2193
|  | 13.2217 | 36.1484
|  | 13.2317 | 36.0921
|  | 13.2417 | 36.0345
|  | 13.2522 | 35.9733
|  | 13.2622 | 35.9138
|  | 13.2721 | 35.846
|  | 13.2821 | 35.8065
|  | 13.292 | 35.7806
|  | 13.302 | 35.7419
|  | 13.3119 | 35.7216
|  | 13.3218 | 35.6895
|  | 13.3317 | 35.6735
|  | 13.3417 | 35.6598
|  | 13.3516 | 35.6392
|  | 13.3621 | 35.6229
|  | 13.372 | 35.62
|  | 13.3819 | 35.6252
|  | 13.3918 | 35.6178
|  | 13.4017 | 35.6187
|  | 13.4116 | 35.6257
|  | 13.4221 | 35.6471
|  | 13.432 | 35.6452
|  | 13.4419 | 35.6427
|  | 13.4517 | 35.69
|  | 13.4616 | 35.7487
|  | 13.4721 | 35.756
|  | 13.482 | 35.784
|  | 13.4918 | 35.8239
|  | 13.5017 | 35.8371
|  | 13.5115 | 35.8721
|  | 13.522 | 35.9114
|  | 13.5318 | 35.9568
|  | 13.5416 | 36.0198
|  | 13.5515 | 36.063
|  | 13.5619 | 36.1278
|  | 13.5717 | 36.1826
|  | 13.5816 | 36.2287
|  | 13.592 | 36.2934
|  | 13.6018 | 36.3579
|  | 13.6116 | 36.4316
|  | 13.6214 | 36.4599
|  | 13.6318 | 36.53
|  | 13.6416 | 36.588
|  | 13.6514 | 36.6665
|  | 13.6618 | 36.7074
|  | 13.6716 | 36.7665
|  | 13.6819 | 36.834
|  | 13.6917 | 36.9325
|  | 13.7015 | 36.9942
|  | 13.7119 | 37.0515
|  | 13.7216 | 37.0964
|  | 13.7314 | 37.1311
|  | 13.7417 | 37.1851
|  | 13.7515 | 37.2509
|  | 13.7618 | 37.2661
|  | 13.7715 | 37.3016
|  | 13.7819 | 37.3543
|  | 13.7916 | 37.3959
|  | 13.8013 | 37.4754
|  | 13.8117 | 37.5451
|  | 13.8214 | 37.6011
|  | 13.8317 | 37.6698
|  | 13.8414 | 37.7351
|  | 13.8517 | 37.8196
|  | 13.8614 | 37.8587
|  | 13.8717 | 37.9046
|  | 13.8814 | 37.9986
|  | 13.8917 | 38.0566
|  | 13.9013 | 38.1481
|  | 13.9116 | 38.2371
|  | 13.9213 | 38.2869
|  | 13.9316 | 38.3498
|  | 13.9412 | 38.4232
|  | 13.9515 | 38.4521
|  | 13.9617 | 38.483
|  | 13.9714 | 38.52
|  | 13.9816 | 38.5737
|  | 13.9912 | 38.6052
|  | 14.0015 | 38.6214
|  | 14.0117 | 38.6725
|  | 14.0213 | 38.6757
|  | 14.0316 | 38.7049
|  | 14.0412 | 38.7319
|  | 14.0514 | 38.7518
|  | 14.0616 | 38.7496
|  | 14.0712 | 38.7976
|  | 14.0814 | 38.8279
|  | 14.0916 | 38.8398
|  | 14.1012 | 38.8232
|  | 14.1113 | 38.826
|  | 14.1215 | 38.8638
|  | 14.1311 | 38.893
|  | 14.1413 | 38.96
|  | 14.1514 | 38.9854
|  | 14.1616 | 38.9761
|  | 14.1711 | 38.9943
|  | 14.1813 | 39.001
|  | 14.1914 | 39.0031
|  | 14.2016 | 38.9782
|  | 14.2111 | 38.9753
|  | 14.2212 | 38.9547
|  | 14.2313 | 38.9491
|  | 14.2415 | 38.8852
|  | 14.251 | 38.8751
|  | 14.2611 | 38.8322
|  | 14.2712 | 38.8192
|  | 14.2813 | 38.7516
|  | 14.2914 | 38.7073
|  | 14.3015 | 38.648
|  | 14.3109 | 38.4978
|  | 14.321 | 38.4875
|  | 14.3311 | 38.4838
|  | 14.3412 | 38.4671
|  | 14.3512 | 38.3738
|  | 14.3613 | 38.2844
|  | 14.3713 | 38.1994
|  | 14.3814 | 38.0644
|  | 14.3914 | 37.9803
|  | 14.4009 | 37.9306
|  | 14.4109 | 37.8512
|  | 14.4209 | 37.7537
|  | 14.431 | 37.6863
|  | 14.441 | 37.5737
|  | 14.451 | 37.5118
|  | 14.461 | 37.3612
|  | 14.471 | 37.292
|  | 14.481 | 37.0877
|  | 14.491 | 37.0199
|  | 14.501 | 36.9093
|  | 14.5109 | 36.7249
|  | 14.5209 | 36.5865
|  | 14.5309 | 36.4552
|  | 14.5409 | 36.2642
|  | 14.5508 | 36.1358
|  | 14.5608 | 36.004
|  | 14.5713 | 35.8548
|  | 14.5813 | 35.7293
|  | 14.5912 | 35.6291
|  | 14.6011 | 35.4844
|  | 14.6111 | 35.3306
|  | 14.621 | 35.1043
|  | 14.6309 | 34.9311
|  | 14.6408 | 34.7817
|  | 14.6507 | 34.6229
|  | 14.6612 | 34.4089
|  | 14.6711 | 34.2118
|  | 14.681 | 34.0055
|  | 14.6909 | 33.7771
|  | 14.7008 | 33.536
|  | 14.7107 | 33.3547
|  | 14.7211 | 33.2859
|  | 14.731 | 33.071
|  | 14.7408 | 32.8219
|  | 14.7507 | 32.5859
|  | 14.7611 | 32.3781
|  | 14.771 | 32.2552
|  | 14.7808 | 32.1424
|  | 14.7906 | 32.0458
|  | 14.8011 | 31.8485
|  | 14.8109 | 31.5828
|  | 14.8207 | 31.4579
|  | 14.8311 | 31.2915
|  | 14.8409 | 31.0876
|  | 14.8507 | 30.9819
|  | 14.8611 | 30.7652
|  | 14.8709 | 30.6197
|  | 14.8807 | 30.4531
|  | 14.891 | 30.4056
|  | 14.9008 | 30.2538
|  | 14.9106 | 30.121
|  | 14.9209 | 30.0618
|  | 14.9307 | 29.8751
|  | 14.941 | 29.6569
|  | 14.9507 | 29.5507
|  | 14.9605 | 29.314
|  | 14.9708 | 29.1955
|  | 14.9805 | 29.112
|  | 14.9908 | 28.9983
|  | 15.0006 | 28.8355
|  | 15.0109 | 28.6281
|  | 15.0206 | 28.4839
|  | 15.0308 | 28.3441
|  | 15.0405 | 28.1779
|  | 15.0508 | 28.0061
|  | 15.0605 | 27.8906
|  | 15.0708 | 27.711
|  | 15.0804 | 27.5873
|  | 15.0907 | 27.4212
|  | 15.1009 | 27.3881
|  | 15.1106 | 27.3689
|  | 15.1208 | 27.2417
|  | 15.1305 | 27.0217
|  | 15.1407 | 26.9113
|  | 15.1509 | 26.8222
|  | 15.1605 | 26.7584
|  | 15.1707 | 26.671
|  | 15.1803 | 26.4856
|  | 15.1905 | 26.2889
|  | 15.2007 | 26.0977
|  | 15.2103 | 26.0584
|  | 15.2205 | 25.9977
|  | 15.2306 | 25.858
|  | 15.2408 | 25.6174
|  | 15.2504 | 25.4619
|  | 15.2605 | 25.3264
|  | 15.2707 | 25.2052
|  | 15.2808 | 25.1077
|  | 15.2903 | 24.9983
|  | 15.3005 | 24.8599
|  | 15.3106 | 24.6901
|  | 15.3207 | 24.5574
|  | 15.3302 | 24.471
|  | 15.3403 | 24.4099
|  | 15.3504 | 24.3279
|  | 15.3605 | 24.3114
|  | 15.3706 | 24.2632
|  | 15.3806 | 24.0845
|  | 15.3907 | 23.9458
|  | 15.4002 | 23.806
|  | 15.4103 | 23.6946
|  | 15.4203 | 23.6945
|  | 15.4304 | 23.6091
|  | 15.4404 | 23.6282
|  | 15.4504 | 23.5426
|  | 15.4604 | 23.4724
|  | 15.4705 | 23.4166
|  | 15.4805 | 23.4162
|  | 15.4905 | 23.3166
|  | 15.5005 | 23.2635
|  | 15.5105 | 23.2797
|  | 15.5204 | 23.2749
|  | 15.5304 | 23.2846
|  | 15.5404 | 23.2716
|  | 15.5504 | 23.2638
|  | 15.5603 | 23.2393
|  | 15.5703 | 23.199
|  | 15.5802 | 23.1949
|  | 15.5902 | 23.2321
|  | 15.6001 | 23.2103
|  | 15.61 | 23.2695
|  | 15.6205 | 23.2277
|  | 15.6304 | 23.2721
|  | 15.6404 | 23.3582
|  | 15.6503 | 23.4728
|  | 15.6602 | 23.6037
|  | 15.6701 | 23.6094
|  | 15.6805 | 23.6209
|  | 15.6904 | 23.7511
|  | 15.7002 | 23.7793
|  | 15.7101 | 23.8263
|  | 15.72 | 23.905
|  | 15.7304 | 23.9206
|  | 15.7402 | 23.8936
|  | 15.7501 | 23.9958
|  | 15.7599 | 24.0982
|  | 15.7703 | 24.1356
|  | 15.7801 | 24.2173
|  | 15.7899 | 24.2997
|  | 15.8003 | 24.3244
|  | 15.8101 | 24.376
|  | 15.8199 | 24.4476
|  | 15.8302 | 24.4618
|  | 15.84 | 24.524
|  | 15.8503 | 24.5281
|  | 15.8601 | 24.6476
|  | 15.8699 | 24.7159
|  | 15.8802 | 24.7486
|  | 15.8899 | 24.8168
|  | 15.9002 | 24.961
|  | 15.91 | 25.0921
|  | 15.9202 | 25.0474
|  | 15.93 | 24.9819
|  | 15.9402 | 25.006
|  | 15.9499 | 25.129
|  | 15.9602 | 25.1199
|  | 15.9699 | 25.1549
|  | 15.9801 | 25.17
|  | 15.9898 | 25.2086
|  | 16 | 25.2633