## Throughput
Herriott Cell Throughput, 10.5 m OPL
|  | Wavelength (µm) | Throughput (%)
|  | 0.355 | 3.751e-18
|  | 0.365 | 4.6461e-20
|  | 0.375 | 3.0634e-22
|  | 0.385 | 3.458e-24
Product Raw Data |  | 0.395 | 5.8214e-26
Herriott Cell Throughput, 10.5 m OPL |  | 0.405 | 8.3353e-27
|  | 0.415 | 4.2654e-26
Item # | HC10L-M02, HC10L/M-M02 | 0.425 | 2.6142e-24
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 0.435 | 3.2553e-22
|  | 0.445 | 4.1019e-20
|  | 0.455 | 5.8909e-18
|  | 0.465 | 1.4367e-15
|  | 0.475 | 4.7927e-13
|  | 0.485 | 1.9429e-10
This data may be used in publications. However, please cite Thorlabs as the source. |  | 0.495 | 1.1221e-07
|  | 0.505 | 3.8461e-05
|  | 0.515 | 0.0024356
Additional Information: |  | 0.525 | 0.030549
This data is calculated using measured mirror reflectance values and window transmission values. |  | 0.535 | 0.1397
|  | 0.545 | 0.34992
|  | 0.555 | 0.6168
|  | 0.565 | 0.89415
|  | 0.575 | 1.1708
|  | 0.585 | 1.4811
|  | 0.595 | 1.8827
|  | 0.605 | 2.477
|  | 0.615 | 3.3353
|  | 0.625 | 4.4833
|  | 0.635 | 5.9
|  | 0.645 | 7.5115
|  | 0.655 | 9.2198
|  | 0.665 | 10.9952
|  | 0.675 | 12.6877
|  | 0.685 | 14.0956
|  | 0.695 | 14.9787
|  | 0.705 | 15.7303
|  | 0.715 | 16.1271
|  | 0.725 | 16.8903
|  | 0.735 | 16.7534
|  | 0.745 | 16.5458
|  | 0.755 | 16.3113
|  | 0.765 | 15.822
|  | 0.775 | 15.2394
|  | 0.785 | 14.7007
|  | 0.795 | 13.9308
|  | 0.805 | 13.1391
|  | 0.815 | 12.5266
|  | 0.825 | 11.6988
|  | 0.835 | 10.9504
|  | 0.845 | 10.209
|  | 0.855 | 9.512
|  | 0.865 | 8.8201
|  | 0.875 | 8.2246
|  | 0.885 | 7.606
|  | 0.895 | 7.0886
|  | 0.905 | 6.58
|  | 0.915 | 6.1403
|  | 0.925 | 5.7502
|  | 0.935 | 5.3945
|  | 0.945 | 5.0849
|  | 0.955 | 4.8283
|  | 0.965 | 4.6174
|  | 0.975 | 4.4524
|  | 0.985 | 4.3263
|  | 0.995 | 4.2416
|  | 1.005 | 4.181
|  | 1.015 | 4.1661
|  | 1.025 | 4.1838
|  | 1.035 | 4.2191
|  | 1.045 | 4.3179
|  | 1.055 | 4.6089
|  | 1.065 | 4.7461
|  | 1.075 | 4.923
|  | 1.085 | 5.1251
|  | 1.095 | 5.3499
|  | 1.105 | 5.6073
|  | 1.115 | 5.9021
|  | 1.125 | 6.2116
|  | 1.135 | 6.6166
|  | 1.145 | 7.0023
|  | 1.155 | 7.3909
|  | 1.165 | 7.8414
|  | 1.175 | 8.2919
|  | 1.185 | 8.7994
|  | 1.195 | 9.3239
|  | 1.205 | 9.8768
|  | 1.215 | 10.4031
|  | 1.225 | 10.9537
|  | 1.235 | 11.4801
|  | 1.245 | 12.1353
|  | 1.255 | 12.7868
|  | 1.265 | 13.4285
|  | 1.275 | 14.0036
|  | 1.285 | 14.6645
|  | 1.295 | 15.378
|  | 1.305 | 16.0249
|  | 1.315 | 16.696
|  | 1.325 | 17.2883
|  | 1.335 | 17.999
|  | 1.345 | 18.7105
|  | 1.355 | 19.3206
|  | 1.365 | 20.1239
|  | 1.375 | 20.7001
|  | 1.385 | 21.4933
|  | 1.395 | 22.3031
|  | 1.405 | 22.7478
|  | 1.415 | 23.4472
|  | 1.425 | 24.0991
|  | 1.435 | 24.8889
|  | 1.445 | 25.5814
|  | 1.455 | 26.1002
|  | 1.465 | 26.8005
|  | 1.475 | 27.4668
|  | 1.485 | 28.0384
|  | 1.495 | 28.7861
|  | 1.505 | 29.3483
|  | 1.515 | 29.9307
|  | 1.525 | 30.6465
|  | 1.535 | 31.0945
|  | 1.545 | 31.7133
|  | 1.555 | 32.1415
|  | 1.565 | 32.8783
|  | 1.575 | 33.1058
|  | 1.585 | 33.7777
|  | 1.595 | 34.2758
|  | 1.605 | 35.0432
|  | 1.615 | 35.1218
|  | 1.625 | 35.7788
|  | 1.635 | 36.2492
|  | 1.645 | 36.5727
|  | 1.655 | 37.4294
|  | 1.665 | 37.6517
|  | 1.675 | 37.7197
|  | 1.685 | 38.6376
|  | 1.695 | 38.5914
|  | 1.705 | 39.0215
|  | 1.715 | 39.4408
|  | 1.725 | 40.0334
|  | 1.735 | 40.1371
|  | 1.745 | 40.6834
|  | 1.755 | 41.0133
|  | 1.765 | 41.5362
|  | 1.775 | 41.8441
|  | 1.785 | 42.0447
|  | 1.795 | 42.2796
|  | 1.805 | 42.4974
|  | 1.815 | 42.706
|  | 1.825 | 42.7719
|  | 1.835 | 43.3851
|  | 1.845 | 43.6129
|  | 1.855 | 43.903
|  | 1.865 | 44.2248
|  | 1.875 | 44.5892
|  | 1.885 | 44.6307
|  | 1.895 | 45.2975
|  | 1.905 | 45.1651
|  | 1.915 | 46.0519
|  | 1.925 | 46.4265
|  | 1.935 | 46.0714
|  | 1.945 | 46.1725
|  | 1.955 | 46.4784
|  | 1.965 | 46.4742
|  | 1.975 | 47.4903
|  | 1.985 | 47.0839
|  | 1.995 | 47.6516
|  | 2.005 | 47.6081
|  | 2.015 | 48.1585
|  | 2.025 | 48.6706
|  | 2.035 | 48.7352
|  | 2.045 | 49.0446
|  | 2.055 | 49.5224
|  | 2.065 | 49.2859
|  | 2.075 | 49.3118
|  | 2.085 | 49.0678
|  | 2.095 | 49.4883
|  | 2.105 | 49.4173
|  | 2.115 | 49.3441
|  | 2.125 | 49.2723
|  | 2.135 | 49.58
|  | 2.145 | 49.2896
|  | 2.155 | 49.8425
|  | 2.165 | 50.1687
|  | 2.175 | 49.792
|  | 2.185 | 50.789
|  | 2.195 | 51.3982
|  | 2.205 | 51.053
|  | 2.215 | 50.0705
|  | 2.225 | 51.7307
|  | 2.235 | 51.0453
|  | 2.245 | 50.7679
|  | 2.255 | 53.7268
|  | 2.265 | 50.9564
|  | 2.275 | 52.1412
|  | 2.285 | 51.0886
|  | 2.295 | 52.7282
|  | 2.305 | 52.5618
|  | 2.315 | 53.2292
|  | 2.325 | 51.9365
|  | 2.335 | 52.761
|  | 2.345 | 53.3565
|  | 2.355 | 54.1178
|  | 2.365 | 51.4416
|  | 2.375 | 52.1763
|  | 2.385 | 54.4544
|  | 2.395 | 54.7486
|  | 2.405 | 54.5609
|  | 2.415 | 53.2231
|  | 2.425 | 53.3922
|  | 2.435 | 55.2845
|  | 2.445 | 53.7139
|  | 2.455 | 57.946
|  | 2.465 | 55.7682
|  | 2.475 | 57.9146
|  | 2.485 | 60.1578
|  | 2.495 | 51.6234
|  | 2.505 | 55.6916
|  | 2.515 | 55.6845
|  | 2.525 | 55.687
|  | 2.535 | 56.0044
|  | 2.545 | 55.945
|  | 2.555 | 56.0291
|  | 2.565 | 56.1534
|  | 2.575 | 56.142
|  | 2.585 | 55.9744
|  | 2.595 | 56.5331
|  | 2.61 | 56.2099
|  | 2.619 | 56.4859
|  | 2.63 | 56.7522
|  | 2.64 | 57.0148
|  | 2.65 | 56.8776
|  | 2.659 | 56.9398
|  | 2.67 | 56.4101
|  | 2.68 | 55.9631
|  | 2.689 | 56.3765
|  | 2.7 | 57.0148
|  | 2.71 | 56.9997
|  | 2.719 | 57.4321
|  | 2.73 | 57.0266
|  | 2.739 | 56.7786
|  | 2.749 | 57.7015
|  | 2.76 | 57.0116
|  | 2.769 | 57.2928
|  | 2.78 | 57.5249
|  | 2.789 | 57.4466
|  | 2.8 | 57.9277
|  | 2.809 | 58.0699
|  | 2.82 | 57.9764
|  | 2.829 | 58.1371
|  | 2.839 | 58.2106
|  | 2.849 | 58.3007
|  | 2.859 | 58.252
|  | 2.87 | 58.4089
|  | 2.879 | 58.4979
|  | 2.889 | 58.6239
|  | 2.899 | 58.6133
|  | 2.909 | 58.7365
|  | 2.919 | 58.6879
|  | 2.929 | 58.7659
|  | 2.939 | 58.8628
|  | 2.949 | 58.7793
|  | 2.959 | 58.955
|  | 2.969 | 59.1748
|  | 2.979 | 59.0743
|  | 2.989 | 59.1367
|  | 2.999 | 59.1489
|  | 3.009 | 59.188
|  | 3.019 | 59.3249
|  | 3.029 | 59.2279
|  | 3.039 | 59.3563
|  | 3.049 | 59.4718
|  | 3.059 | 59.4152
|  | 3.069 | 59.553
|  | 3.079 | 59.5302
|  | 3.089 | 59.6616
|  | 3.099 | 59.7304
|  | 3.109 | 59.7876
|  | 3.119 | 59.9401
|  | 3.129 | 59.8937
|  | 3.139 | 59.9735
|  | 3.149 | 60.0158
|  | 3.159 | 60.0837
|  | 3.169 | 60.1842
|  | 3.179 | 60.3055
|  | 3.189 | 60.2608
|  | 3.199 | 60.2182
|  | 3.209 | 60.3997
|  | 3.219 | 60.5113
|  | 3.229 | 60.5939
|  | 3.239 | 60.6545
|  | 3.249 | 60.7874
|  | 3.259 | 60.8739
|  | 3.269 | 60.8485
|  | 3.279 | 60.975
|  | 3.289 | 60.977
|  | 3.299 | 61.0677
|  | 3.309 | 61.1479
|  | 3.319 | 61.1382
|  | 3.329 | 61.2115
|  | 3.339 | 61.2714
|  | 3.349 | 61.4286
|  | 3.359 | 61.5936
|  | 3.369 | 61.4876
|  | 3.379 | 61.506
|  | 3.389 | 61.6309
|  | 3.399 | 61.6228
|  | 3.409 | 61.6518
|  | 3.419 | 61.6493
|  | 3.429 | 61.608
|  | 3.439 | 61.8017
|  | 3.449 | 61.8291
|  | 3.459 | 61.9563
|  | 3.469 | 62.0119
|  | 3.479 | 62.1628
|  | 3.489 | 62.0916
|  | 3.499 | 62.1457
|  | 3.509 | 62.1733
|  | 3.519 | 62.2291
|  | 3.529 | 62.121
|  | 3.539 | 62.293
|  | 3.549 | 62.4783
|  | 3.559 | 62.5859
|  | 3.569 | 62.4541
|  | 3.579 | 62.5372
|  | 3.589 | 62.5544
|  | 3.599 | 62.5733
|  | 3.609 | 62.6403
|  | 3.619 | 62.7838
|  | 3.629 | 62.8206
|  | 3.639 | 62.7862
|  | 3.649 | 62.9411
|  | 3.659 | 62.9119
|  | 3.669 | 62.9167
|  | 3.679 | 62.9179
|  | 3.689 | 63.1052
|  | 3.699 | 63.1852
|  | 3.709 | 63.2168
|  | 3.719 | 63.281
|  | 3.729 | 63.4079
|  | 3.739 | 63.3213
|  | 3.749 | 63.247
|  | 3.759 | 63.3004
|  | 3.769 | 63.465
|  | 3.779 | 63.3836
|  | 3.789 | 63.4746
|  | 3.799 | 63.4831
|  | 3.809 | 63.5762
|  | 3.819 | 63.5483
|  | 3.829 | 63.6542
|  | 3.839 | 63.6283
|  | 3.849 | 63.7013
|  | 3.859 | 63.8001
|  | 3.869 | 63.7379
|  | 3.879 | 63.8149
|  | 3.889 | 63.8286
|  | 3.899 | 63.9562
|  | 3.909 | 63.997
|  | 3.919 | 63.9544
|  | 3.929 | 63.8303
|  | 3.939 | 63.8801
|  | 3.949 | 63.9226
|  | 3.959 | 64.0612
|  | 3.968 | 64.1456
|  | 3.979 | 64.1957
|  | 3.989 | 64.1054
|  | 3.999 | 64.1497
|  | 4.009 | 64.2704
|  | 4.018 | 64.2672
|  | 4.029 | 64.4687
|  | 4.039 | 64.3906
|  | 4.049 | 64.4092
|  | 4.058 | 64.5832
|  | 4.069 | 64.571
|  | 4.078 | 64.5657
|  | 4.089 | 64.4747
|  | 4.098 | 64.5901
|  | 4.109 | 64.6234
|  | 4.118 | 64.7352
|  | 4.129 | 64.7942
|  | 4.138 | 64.8841
|  | 4.148 | 64.8254
|  | 4.159 | 64.9892
|  | 4.168 | 64.9281
|  | 4.178 | 64.9225
|  | 4.189 | 64.5316
|  | 4.198 | 63.4714
|  | 4.208 | 61.9884
|  | 4.218 | 60.3173
|  | 4.228 | 55.6721
|  | 4.238 | 54.9731
|  | 4.248 | 56.4892
|  | 4.258 | 59.5794
|  | 4.268 | 58.2617
|  | 4.278 | 58.2179
|  | 4.288 | 58.511
|  | 4.298 | 59.4242
|  | 4.308 | 60.2465
|  | 4.318 | 61.0467
|  | 4.328 | 62.5602
|  | 4.338 | 63.3702
|  | 4.348 | 63.8996
|  | 4.358 | 64.9412
|  | 4.368 | 65.2038
|  | 4.378 | 65.2744
|  | 4.388 | 65.4157
|  | 4.398 | 65.6574
|  | 4.408 | 65.5648
|  | 4.418 | 65.5408
|  | 4.428 | 65.6005
|  | 4.438 | 65.6358
|  | 4.448 | 65.6973
|  | 4.458 | 65.7643
|  | 4.468 | 65.8815
|  | 4.478 | 65.8198
|  | 4.488 | 65.7655
|  | 4.498 | 65.8584
|  | 4.508 | 65.8858
|  | 4.518 | 65.9432
|  | 4.528 | 65.9837
|  | 4.538 | 66.0093
|  | 4.548 | 66.0141
|  | 4.558 | 65.9498
|  | 4.568 | 66.076
|  | 4.578 | 66.0546
|  | 4.588 | 66.0854
|  | 4.598 | 66.0636
|  | 4.608 | 66.0418
|  | 4.618 | 66.0798
|  | 4.628 | 66.1553
|  | 4.638 | 66.1444
|  | 4.648 | 66.3192
|  | 4.658 | 66.3797
|  | 4.668 | 66.2671
|  | 4.678 | 66.2504
|  | 4.688 | 66.2635
|  | 4.698 | 66.3198
|  | 4.708 | 66.2803
|  | 4.718 | 66.3551
|  | 4.728 | 66.4319
|  | 4.738 | 66.4918
|  | 4.748 | 66.514
|  | 4.758 | 66.5115
|  | 4.768 | 66.6371
|  | 4.778 | 66.6269
|  | 4.788 | 66.5469
|  | 4.798 | 66.6327
|  | 4.808 | 66.5582
|  | 4.818 | 66.5968
|  | 4.828 | 66.6447
|  | 4.838 | 66.6868
|  | 4.848 | 66.659
|  | 4.858 | 66.6538
|  | 4.868 | 66.7563
|  | 4.878 | 66.7489
|  | 4.888 | 66.7492
|  | 4.898 | 66.7304
|  | 4.908 | 66.8988
|  | 4.918 | 66.8892
|  | 4.928 | 66.8607
|  | 4.938 | 66.9267
|  | 4.948 | 66.9396
|  | 4.958 | 66.9146
|  | 4.968 | 66.9368
|  | 4.978 | 66.9495
|  | 4.988 | 66.9696
|  | 4.998 | 66.9138
|  | 5.008 | 66.875
|  | 5.018 | 66.946
|  | 5.028 | 66.9945
|  | 5.038 | 67.1851
|  | 5.048 | 67.1914
|  | 5.058 | 67.1653
|  | 5.068 | 67.1565
|  | 5.078 | 67.0655
|  | 5.088 | 67.0942
|  | 5.098 | 67.1875
|  | 5.107 | 67.3227
|  | 5.118 | 67.2582
|  | 5.128 | 67.2104
|  | 5.138 | 67.2482
|  | 5.147 | 67.1546
|  | 5.158 | 67.2172
|  | 5.168 | 67.27
|  | 5.178 | 67.2865
|  | 5.187 | 67.404
|  | 5.198 | 67.4263
|  | 5.208 | 67.2919
|  | 5.218 | 67.3691
|  | 5.227 | 67.4138
|  | 5.238 | 67.388
|  | 5.248 | 67.4516
|  | 5.257 | 67.4693
|  | 5.268 | 67.4183
|  | 5.278 | 67.3901
|  | 5.288 | 67.3922
|  | 5.297 | 67.3866
|  | 5.308 | 67.5568
|  | 5.318 | 67.5434
|  | 5.327 | 67.5394
|  | 5.337 | 67.5928
|  | 5.348 | 67.39
|  | 5.358 | 67.3781
|  | 5.367 | 67.5265
|  | 5.378 | 67.6887
|  | 5.388 | 67.6995
|  | 5.397 | 67.6641
|  | 5.407 | 67.5484
|  | 5.418 | 67.4366
|  | 5.428 | 67.3248
|  | 5.437 | 67.4247
|  | 5.448 | 67.6682
|  | 5.458 | 67.6285
|  | 5.467 | 67.4434
|  | 5.477 | 67.438
|  | 5.488 | 67.549
|  | 5.497 | 67.6525
|  | 5.507 | 67.6946
|  | 5.518 | 67.6408
|  | 5.527 | 67.6866
|  | 5.537 | 67.7994
|  | 5.548 | 67.7031
|  | 5.558 | 67.6029
|  | 5.567 | 67.6597
|  | 5.578 | 67.5556
|  | 5.588 | 67.66
|  | 5.597 | 67.8086
|  | 5.608 | 67.8152
|  | 5.618 | 67.8236
|  | 5.627 | 67.8819
|  | 5.637 | 67.8325
|  | 5.648 | 67.5282
|  | 5.657 | 67.5993
|  | 5.667 | 67.7317
|  | 5.678 | 67.7623
|  | 5.687 | 67.7374
|  | 5.697 | 67.8486
|  | 5.707 | 67.8482
|  | 5.717 | 67.3369
|  | 5.727 | 67.4223
|  | 5.737 | 67.6165
|  | 5.747 | 67.7979
|  | 5.758 | 67.8353
|  | 5.767 | 67.6426
|  | 5.777 | 67.4351
|  | 5.788 | 67.7725
|  | 5.797 | 67.9325
|  | 5.807 | 68.037
|  | 5.818 | 67.7105
|  | 5.827 | 67.4162
|  | 5.837 | 67.5061
|  | 5.847 | 67.8968
|  | 5.857 | 67.8334
|  | 5.867 | 67.6778
|  | 5.877 | 67.4915
|  | 5.887 | 67.0131
|  | 5.898 | 67.1775
|  | 5.907 | 67.4913
|  | 5.917 | 67.6895
|  | 5.927 | 67.6077
|  | 5.937 | 67.3467
|  | 5.947 | 67.1779
|  | 5.957 | 67.6322
|  | 5.967 | 67.7265
|  | 5.978 | 67.7148
|  | 5.987 | 67.5674
|  | 5.997 | 67.5884
|  | 6.007 | 67.6835
|  | 6.017 | 67.6545
|  | 6.027 | 67.8247
|  | 6.037 | 68.0004
|  | 6.047 | 67.8535
|  | 6.057 | 67.244
|  | 6.067 | 67.2087
|  | 6.077 | 67.2303
|  | 6.087 | 67.6752
|  | 6.097 | 67.7945
|  | 6.107 | 67.6849
|  | 6.117 | 67.3619
|  | 6.127 | 67.4515
|  | 6.137 | 67.5691
|  | 6.147 | 67.5419
|  | 6.157 | 67.4203
|  | 6.167 | 67.5322
|  | 6.177 | 67.6742
|  | 6.187 | 67.5716
|  | 6.197 | 67.6028
|  | 6.207 | 67.6638
|  | 6.217 | 67.666
|  | 6.227 | 67.7286
|  | 6.237 | 67.8014
|  | 6.247 | 67.8702
|  | 6.257 | 67.8843
|  | 6.267 | 67.7512
|  | 6.277 | 67.6059
|  | 6.287 | 67.555
|  | 6.297 | 67.7061
|  | 6.307 | 67.908
|  | 6.317 | 68.1538
|  | 6.327 | 68.206
|  | 6.337 | 67.9188
|  | 6.347 | 67.6087
|  | 6.357 | 67.6924
|  | 6.367 | 67.6925
|  | 6.377 | 67.6321
|  | 6.387 | 67.695
|  | 6.397 | 67.9545
|  | 6.407 | 67.7655
|  | 6.417 | 67.1943
|  | 6.427 | 66.9518
|  | 6.437 | 67.1487
|  | 6.446 | 67.3364
|  | 6.457 | 67.638
|  | 6.467 | 67.6482
|  | 6.477 | 67.5136
|  | 6.487 | 67.2429
|  | 6.497 | 66.9661
|  | 6.507 | 67.129
|  | 6.517 | 67.2469
|  | 6.527 | 67.3393
|  | 6.537 | 67.4284
|  | 6.547 | 67.4422
|  | 6.557 | 67.3571
|  | 6.567 | 67.0203
|  | 6.577 | 66.8688
|  | 6.587 | 66.8624
|  | 6.597 | 67.1578
|  | 6.607 | 67.3258
|  | 6.617 | 67.4028
|  | 6.627 | 67.009
|  | 6.637 | 66.7156
|  | 6.647 | 66.8227
|  | 6.657 | 67.114
|  | 6.666 | 67.3581
|  | 6.677 | 67.2976
|  | 6.686 | 67.2861
|  | 6.697 | 67.343
|  | 6.706 | 67.2089
|  | 6.717 | 67.0427
|  | 6.726 | 67.0943
|  | 6.737 | 67.4695
|  | 6.746 | 67.5494
|  | 6.757 | 67.5545
|  | 6.766 | 67.3987
|  | 6.777 | 67.2163
|  | 6.787 | 67.0282
|  | 6.797 | 67.1645
|  | 6.807 | 67.3139
|  | 6.816 | 67.3679
|  | 6.827 | 67.3052
|  | 6.836 | 67.2175
|  | 6.847 | 67.1806
|  | 6.856 | 66.9708
|  | 6.867 | 66.6608
|  | 6.876 | 66.7798
|  | 6.887 | 66.9512
|  | 6.897 | 67.0125
|  | 6.906 | 66.8804
|  | 6.917 | 66.8365
|  | 6.926 | 66.8531
|  | 6.937 | 66.9444
|  | 6.946 | 66.8635
|  | 6.956 | 66.6853
|  | 6.967 | 66.4825
|  | 6.976 | 66.5341
|  | 6.987 | 66.5827
|  | 6.996 | 66.5581
|  | 7.007 | 66.5038
|  | 7.016 | 66.4574
|  | 7.026 | 66.3871
|  | 7.037 | 66.2374
|  | 7.046 | 66.1465
|  | 7.057 | 66.1027
|  | 7.066 | 66.2597
|  | 7.076 | 66.299
|  | 7.087 | 66.2945
|  | 7.096 | 66.2511
|  | 7.107 | 66.161
|  | 7.116 | 66.1333
|  | 7.126 | 66.1149
|  | 7.137 | 66.0361
|  | 7.146 | 65.9132
|  | 7.156 | 65.8276
|  | 7.166 | 65.8006
|  | 7.176 | 65.9111
|  | 7.187 | 65.9295
|  | 7.196 | 65.9042
|  | 7.206 | 65.7758
|  | 7.217 | 65.7547
|  | 7.226 | 65.7794
|  | 7.236 | 65.8648
|  | 7.246 | 65.806
|  | 7.256 | 65.713
|  | 7.266 | 65.6081
|  | 7.276 | 65.5232
|  | 7.286 | 65.543
|  | 7.296 | 65.5786
|  | 7.306 | 65.6156
|  | 7.316 | 65.5103
|  | 7.327 | 65.3692
|  | 7.336 | 65.2041
|  | 7.346 | 65.0397
|  | 7.357 | 65.0108
|  | 7.366 | 65.0186
|  | 7.376 | 65.0725
|  | 7.386 | 65.0721
|  | 7.396 | 65.0901
|  | 7.406 | 65.1135
|  | 7.416 | 65.0475
|  | 7.426 | 64.9652
|  | 7.436 | 64.8753
|  | 7.446 | 64.7222
|  | 7.456 | 64.5553
|  | 7.466 | 64.399
|  | 7.476 | 64.3367
|  | 7.486 | 64.3769
|  | 7.496 | 64.3961
|  | 7.506 | 64.3869
|  | 7.516 | 64.2911
|  | 7.526 | 64.1924
|  | 7.536 | 64.1145
|  | 7.546 | 64.0938
|  | 7.556 | 64.0409
|  | 7.566 | 63.965
|  | 7.576 | 63.8789
|  | 7.586 | 63.8069
|  | 7.596 | 63.7331
|  | 7.606 | 63.6544
|  | 7.616 | 63.5593
|  | 7.626 | 63.4622
|  | 7.636 | 63.3729
|  | 7.646 | 63.3288
|  | 7.656 | 63.2634
|  | 7.666 | 63.1507
|  | 7.676 | 62.9833
|  | 7.686 | 62.8771
|  | 7.696 | 62.8088
|  | 7.706 | 62.7552
|  | 7.716 | 62.7286
|  | 7.726 | 62.6278
|  | 7.736 | 62.4977
|  | 7.746 | 62.3256
|  | 7.756 | 62.214
|  | 7.766 | 62.1115
|  | 7.776 | 62.0243
|  | 7.786 | 61.9191
|  | 7.796 | 61.8021
|  | 7.806 | 61.6748
|  | 7.816 | 61.5545
|  | 7.826 | 61.4733
|  | 7.836 | 61.4061
|  | 7.846 | 61.3981
|  | 7.855 | 61.3276
|  | 7.866 | 61.2365
|  | 7.876 | 61.1316
|  | 7.886 | 60.9769
|  | 7.896 | 60.7932
|  | 7.905 | 60.6157
|  | 7.916 | 60.4211
|  | 7.926 | 60.2797
|  | 7.936 | 60.1606
|  | 7.946 | 60.0551
|  | 7.955 | 60.0052
|  | 7.966 | 59.8996
|  | 7.976 | 59.7804
|  | 7.986 | 59.6713
|  | 7.996 | 59.5402
|  | 8.005 | 59.4042
|  | 8.016 | 59.2245
|  | 8.026 | 59.0582
|  | 8.036 | 58.8953
|  | 8.046 | 58.744
|  | 8.056 | 58.6125
|  | 8.065 | 58.4903
|  | 8.075 | 58.3618
|  | 8.086 | 58.2313
|  | 8.096 | 58.0545
|  | 8.106 | 57.8711
|  | 8.116 | 57.686
|  | 8.125 | 57.5501
|  | 8.135 | 57.4183
|  | 8.146 | 57.2942
|  | 8.156 | 57.2327
|  | 8.166 | 57.1074
|  | 8.176 | 56.9799
|  | 8.186 | 56.8502
|  | 8.195 | 56.6975
|  | 8.205 | 56.5476
|  | 8.215 | 56.3796
|  | 8.226 | 56.1619
|  | 8.236 | 55.9281
|  | 8.246 | 55.6911
|  | 8.256 | 55.5309
|  | 8.266 | 55.3826
|  | 8.275 | 55.2319
|  | 8.285 | 55.0651
|  | 8.295 | 54.834
|  | 8.305 | 54.5871
|  | 8.315 | 54.3523
|  | 8.326 | 54.1309
|  | 8.336 | 53.9229
|  | 8.346 | 53.7279
|  | 8.356 | 53.5155
|  | 8.366 | 53.2709
|  | 8.375 | 53.0548
|  | 8.385 | 52.8065
|  | 8.395 | 52.586
|  | 8.405 | 52.3781
|  | 8.415 | 52.1826
|  | 8.425 | 52.0142
|  | 8.435 | 51.7845
|  | 8.445 | 51.5525
|  | 8.455 | 51.2749
|  | 8.465 | 51.0387
|  | 8.476 | 50.7859
|  | 8.486 | 50.5453
|  | 8.496 | 50.3168
|  | 8.506 | 50.0858
|  | 8.516 | 50.1913
|  | 8.526 | 50.2649
|  | 8.536 | 49.3655
|  | 8.555 | 48.9039
|  | 8.565 | 50.6659
|  | 8.575 | 48.7701
|  | 8.585 | 48.4936
|  | 8.595 | 47.7612
|  | 8.605 | 47.3904
|  | 8.615 | 46.9914
|  | 8.625 | 47.8868
|  | 8.635 | 46.9483
|  | 8.645 | 46.2795
|  | 8.655 | 45.703
|  | 8.665 | 46.1611
|  | 8.675 | 46.8085
|  | 8.685 | 46.2821
|  | 8.695 | 45.4256
|  | 8.705 | 44.8881
|  | 8.715 | 45.1531
|  | 8.735 | 43.9257
|  | 8.745 | 43.5297
|  | 8.755 | 43.3324
|  | 8.765 | 43.5894
|  | 8.775 | 42.8484
|  | 8.785 | 42.6229
|  | 8.795 | 42.364
|  | 8.805 | 41.356
|  | 8.815 | 42.0249
|  | 8.825 | 41.7244
|  | 8.835 | 41.5502
|  | 8.845 | 41.6308
|  | 8.855 | 41.8127
|  | 8.865 | 40.6037
|  | 8.875 | 39.8543
|  | 8.885 | 38.9455
|  | 8.895 | 39.7904
|  | 8.905 | 38.7777
|  | 8.925 | 38.5715
|  | 8.935 | 37.8997
|  | 8.945 | 38.1677
|  | 8.955 | 36.4746
|  | 8.965 | 37.4325
|  | 8.975 | 37.6197
|  | 8.985 | 36.4877
|  | 8.995 | 35.9146
|  | 9.005 | 36.0707
|  | 9.015 | 35.6858
|  | 9.035 | 35.4183
|  | 9.045 | 34.9716
|  | 9.055 | 34.2448
|  | 9.065 | 33.6058
|  | 9.075 | 34.1289
|  | 9.085 | 32.8029
|  | 9.095 | 33.1788
|  | 9.115 | 31.8508
|  | 9.125 | 32.2105
|  | 9.135 | 31.8024
|  | 9.145 | 31.0896
|  | 9.155 | 31.7111
|  | 9.175 | 30.4941
|  | 9.185 | 30.7042
|  | 9.195 | 29.6519
|  | 9.205 | 29.3763
|  | 9.215 | 29.1233
|  | 9.235 | 28.8695
|  | 9.245 | 28.6983
|  | 9.255 | 28.0705
|  | 9.265 | 27.8762
|  | 9.275 | 27.2933
|  | 9.295 | 26.6821
|  | 9.305 | 25.9006
|  | 9.314 | 25.8773
|  | 9.325 | 25.397
|  | 9.345 | 25.0729
|  | 9.355 | 24.8106
|  | 9.364 | 24.7324
|  | 9.375 | 23.6912
|  | 9.385 | 23.9932
|  | 9.395 | 23.202
|  | 9.404 | 23.0858
|  | 9.415 | 23.6593
|  | 9.425 | 22.4383
|  | 9.435 | 22.7742
|  | 9.444 | 22.3037
|  | 9.455 | 22.1186
|  | 9.465 | 21.2016
|  | 9.475 | 20.6566
|  | 9.484 | 20.7568
|  | 9.495 | 20.1654
|  | 9.505 | 20.2763
|  | 9.515 | 19.8457
|  | 9.524 | 20.3525
|  | 9.535 | 19.4377
|  | 9.545 | 19.5923
|  | 9.554 | 19.1311
|  | 9.564 | 18.4445
|  | 9.575 | 18.0975
|  | 9.585 | 18.0707
|  | 9.594 | 17.675
|  | 9.605 | 17.1084
|  | 9.615 | 17.0297
|  | 9.624 | 16.3728
|  | 9.634 | 16.2673
|  | 9.645 | 15.7497
|  | 9.654 | 15.8812
|  | 9.664 | 16.0554
|  | 9.675 | 15.2173
|  | 9.684 | 15.5055
|  | 9.694 | 14.677
|  | 9.705 | 14.6112
|  | 9.714 | 14.5954
|  | 9.724 | 14.1035
|  | 9.735 | 13.636
|  | 9.744 | 13.2114
|  | 9.754 | 13.6353
|  | 9.765 | 13.0799
|  | 9.774 | 12.7217
|  | 9.784 | 12.4745
|  | 9.795 | 11.96
|  | 9.804 | 12.2127
|  | 9.815 | 11.814
|  | 9.824 | 11.5282
|  | 9.834 | 11.5344
|  | 9.845 | 11.2633
|  | 9.854 | 11.0878
|  | 9.864 | 10.564
|  | 9.875 | 10.1092
|  | 9.884 | 10.2786
|  | 9.895 | 9.852
|  | 9.904 | 9.8048
|  | 9.914 | 9.8216
|  | 9.924 | 9.3456
|  | 9.934 | 9.1615
|  | 9.945 | 8.88
|  | 9.954 | 8.775
|  | 9.964 | 8.2872
|  | 9.974 | 8.2236
|  | 9.984 | 7.9159
|  | 9.994 | 8.0385
|  | 10.004 | 8.0007
|  | 10.015 | 7.7279
|  | 10.024 | 7.8957
|  | 10.034 | 7.3437
|  | 10.044 | 7.437
|  | 10.054 | 7.1335
|  | 10.064 | 6.7748
|  | 10.074 | 6.683
|  | 10.084 | 6.5303
|  | 10.094 | 6.2282
|  | 10.104 | 6.2491
|  | 10.114 | 5.6494
|  | 10.124 | 5.8806
|  | 10.134 | 5.6227
|  | 10.144 | 5.4645
|  | 10.154 | 5.1873
|  | 10.164 | 5.2587
|  | 10.174 | 5.1237
|  | 10.184 | 5.1771
|  | 10.194 | 4.663
|  | 10.204 | 4.6662
|  | 10.214 | 4.5143
|  | 10.224 | 4.3572
|  | 10.234 | 4.1396
|  | 10.244 | 3.9466
|  | 10.254 | 4.0881
|  | 10.264 | 3.9956
|  | 10.274 | 3.675
|  | 10.284 | 3.7307
|  | 10.294 | 3.7054
|  | 10.304 | 3.4192
|  | 10.314 | 3.2489
|  | 10.324 | 3.2579
|  | 10.334 | 3.177
|  | 10.344 | 2.941
|  | 10.354 | 2.8902
|  | 10.364 | 2.6948
|  | 10.374 | 2.8339
|  | 10.384 | 2.7174
|  | 10.394 | 2.5578
|  | 10.404 | 2.4274
|  | 10.414 | 2.5786
|  | 10.424 | 2.273
|  | 10.434 | 2.2646
|  | 10.444 | 2.0887
|  | 10.454 | 1.9829
|  | 10.464 | 1.9972
|  | 10.474 | 1.9351
|  | 10.484 | 1.9182
|  | 10.494 | 1.7155
|  | 10.504 | 1.6266
|  | 10.514 | 1.689
|  | 10.524 | 1.6613
|  | 10.534 | 1.4877
|  | 10.544 | 1.4198
|  | 10.554 | 1.437
|  | 10.564 | 1.2018
|  | 10.574 | 1.23
|  | 10.584 | 1.2503
|  | 10.594 | 1.2197
|  | 10.604 | 1.0499
|  | 10.614 | 0.97143
|  | 10.624 | 1.1018
|  | 10.634 | 1.0558
|  | 10.644 | 0.94133
|  | 10.654 | 0.94056
|  | 10.664 | 0.83785
|  | 10.674 | 0.90142
|  | 10.684 | 0.76582
|  | 10.694 | 0.70805
|  | 10.704 | 0.74051
|  | 10.714 | 0.77556
|  | 10.723 | 0.63219
|  | 10.734 | 0.53521
|  | 10.744 | 0.55264
|  | 10.754 | 0.50627
|  | 10.763 | 0.53715
|  | 10.774 | 0.56549
|  | 10.784 | 0.42426
|  | 10.794 | 0.491
|  | 10.803 | 0.40137
|  | 10.814 | 0.39876
|  | 10.824 | 0.34677
|  | 10.834 | 0.3637
|  | 10.843 | 0.37068
|  | 10.854 | 0.33266
|  | 10.864 | 0.26925
|  | 10.874 | 0.2544
|  | 10.883 | 0.28979
|  | 10.893 | 0.32594
|  | 10.904 | 0.22173
|  | 10.914 | 0.26095
|  | 10.924 | 0.21216
|  | 10.933 | 0.20026
|  | 10.943 | 0.19033
|  | 10.954 | 0.18088
|  | 10.964 | 0.17185
|  | 10.974 | 0.16322
|  | 10.984 | 0.15506
|  | 10.993 | 0.14773
|  | 11.003 | 0.14023
|  | 11.014 | 0.13309
|  | 11.024 | 0.12632
|  | 11.034 | 0.11974
|  | 11.044 | 0.11348
|  | 11.053 | 0.10783
|  | 11.063 | 0.10206
|  | 11.073 | 0.096579
|  | 11.083 | 0.091391
|  | 11.094 | 0.086442
|  | 11.104 | 0.0818
|  | 11.114 | 0.077384
|  | 11.124 | 0.073209
|  | 11.133 | 0.069482
|  | 11.143 | 0.065657
|  | 11.153 | 0.062003
|  | 11.163 | 0.058548
|  | 11.173 | 0.055234
|  | 11.183 | 0.052089
|  | 11.193 | 0.04906
|  | 11.204 | 0.046209
|  | 11.214 | 0.043509
|  | 11.224 | 0.04091
|  | 11.234 | 0.038485
|  | 11.244 | 0.03621
|  | 11.254 | 0.034064
|  | 11.264 | 0.032049
|  | 11.273 | 0.030277
|  | 11.283 | 0.028472
|  | 11.293 | 0.026783
|  | 11.303 | 0.025164
|  | 11.313 | 0.023616
|  | 11.323 | 0.022146
|  | 11.333 | 0.020757
|  | 11.343 | 0.019434
|  | 11.353 | 0.018188
|  | 11.363 | 0.01701
|  | 11.373 | 0.015907
|  | 11.383 | 0.014869
|  | 11.393 | 0.013898
|  | 11.403 | 0.012981
|  | 11.413 | 0.012117
|  | 11.423 | 0.011309
|  | 11.433 | 0.010543
|  | 11.443 | 0.0098199
|  | 11.453 | 0.0091425
|  | 11.464 | 0.00846
|  | 11.474 | 0.0078629
|  | 11.483 | 0.0073005
|  | 11.493 | 0.0067732
|  | 11.503 | 0.0062789
|  | 11.513 | 0.0058171
|  | 11.523 | 0.0053852
|  | 11.533 | 0.0049813
|  | 11.543 | 0.0046045
|  | 11.553 | 0.0042527
|  | 11.563 | 0.0039251
|  | 11.573 | 0.0036182
|  | 11.583 | 0.0033318
|  | 11.593 | 0.0030493
|  | 11.603 | 0.0028024
|  | 11.613 | 0.0025733
|  | 11.623 | 0.00236
|  | 11.633 | 0.0021641
|  | 11.643 | 0.0019796
|  | 11.653 | 0.0018089
|  | 11.663 | 0.0016514
|  | 11.673 | 0.0014942
|  | 11.683 | 0.0013586
|  | 11.693 | 0.0012329
|  | 11.703 | 0.0011174
|  | 11.713 | 0.00101
|  | 11.723 | 0.00091116
|  | 11.733 | 0.00081444
|  | 11.743 | 0.00073081
|  | 11.753 | 0.0006542
|  | 11.763 | 0.00058366
|  | 11.773 | 0.00051958
|  | 11.783 | 0.00045739
|  | 11.793 | 0.00040462
|  | 11.803 | 0.00035681
|  | 11.813 | 0.00031358
|  | 11.823 | 0.00027448
|  | 11.833 | 0.00023711
|  | 11.843 | 0.00020568
|  | 11.853 | 0.00017732
|  | 11.863 | 0.00015192
|  | 11.873 | 0.00012789
|  | 11.883 | 0.00010795
|  | 11.893 | 9.0384e-05
|  | 11.903 | 7.4942e-05
|  | 11.913 | 6.0653e-05
|  | 11.923 | 4.9085e-05
|  | 11.933 | 3.9177e-05
|  | 11.943 | 3.0665e-05
|  | 11.953 | 2.303e-05
|  | 11.963 | 1.7085e-05
|  | 11.973 | 1.2222e-05
|  | 11.983 | 8.0706e-06
|  | 11.993 | 5.0716e-06
|  | 12.003 | 2.8481e-06
|  | 12.013 | 1.2339e-06
|  | 12.023 | 3.5279e-07
|  | 12.033 | 9.8572e-09
|  | 12.043 | 1.6346e-07
|  | 12.053 | 7.3029e-07
|  | 12.063 | 1.6492e-06
|  | 12.073 | 2.9563e-06
|  | 12.083 | 4.4425e-06
|  | 12.093 | 6.1383e-06
|  | 12.103 | 8.1283e-06
|  | 12.113 | 1.0139e-05
|  | 12.122 | 1.2261e-05
|  | 12.133 | 1.4614e-05
|  | 12.143 | 1.6874e-05
|  | 12.153 | 1.9331e-05
|  | 12.163 | 2.1648e-05
|  | 12.172 | 2.3966e-05
|  | 12.183 | 2.641e-05
|  | 12.193 | 2.8667e-05
|  | 12.203 | 3.1034e-05
|  | 12.213 | 3.3178e-05
|  | 12.223 | 3.5392e-05
|  | 12.233 | 3.7403e-05
|  | 12.242 | 3.9359e-05
|  | 12.253 | 4.133e-05
|  | 12.262 | 4.3114e-05
|  | 12.273 | 4.4992e-05
|  | 12.282 | 4.6607e-05
|  | 12.293 | 4.8253e-05
|  | 12.302 | 4.9707e-05
|  | 12.313 | 5.1238e-05
|  | 12.323 | 5.2463e-05
|  | 12.333 | 5.3664e-05
|  | 12.342 | 5.473e-05
|  | 12.353 | 5.567e-05
|  | 12.362 | 5.6473e-05
|  | 12.373 | 5.7203e-05
|  | 12.382 | 5.7797e-05
|  | 12.393 | 5.8361e-05
|  | 12.402 | 5.879e-05
|  | 12.413 | 5.9199e-05
|  | 12.422 | 5.951e-05
|  | 12.433 | 5.9765e-05
|  | 12.442 | 5.9937e-05
|  | 12.452 | 6.0053e-05
|  | 12.463 | 6.0102e-05
|  | 12.472 | 6.0006e-05
|  | 12.483 | 5.9903e-05
|  | 12.492 | 5.9757e-05
|  | 12.503 | 5.9535e-05
|  | 12.513 | 5.92e-05
|  | 12.522 | 5.8922e-05
|  | 12.533 | 5.8588e-05
|  | 12.542 | 5.8223e-05
|  | 12.552 | 5.7853e-05
|  | 12.563 | 5.7452e-05
|  | 12.572 | 5.705e-05
|  | 12.583 | 5.6613e-05
|  | 12.593 | 5.6137e-05
|  | 12.602 | 5.5689e-05
|  | 12.613 | 5.5223e-05
|  | 12.622 | 5.4759e-05
|  | 12.632 | 5.4247e-05
|  | 12.643 | 5.3756e-05
|  | 12.653 | 5.3225e-05
|  | 12.662 | 5.2721e-05
|  | 12.672 | 5.2175e-05
|  | 12.683 | 5.1597e-05
|  | 12.692 | 5.1053e-05
|  | 12.702 | 5.0473e-05
|  | 12.713 | 4.9824e-05
|  | 12.722 | 4.9241e-05
|  | 12.732 | 4.864e-05
|  | 12.742 | 4.8045e-05
|  | 12.753 | 4.7428e-05
|  | 12.762 | 4.6892e-05
|  | 12.772 | 4.6355e-05
|  | 12.782 | 4.5851e-05
|  | 12.793 | 4.5342e-05
|  | 12.802 | 4.4885e-05
|  | 12.812 | 4.443e-05
|  | 12.822 | 4.3958e-05
|  | 12.832 | 4.3484e-05
|  | 12.843 | 4.3008e-05
|  | 12.852 | 4.2584e-05
|  | 12.862 | 4.2105e-05
|  | 12.872 | 4.1638e-05
|  | 12.882 | 4.1183e-05
|  | 12.892 | 4.0751e-05
|  | 12.902 | 4.0345e-05
|  | 12.912 | 3.9936e-05
|  | 12.922 | 3.955e-05
|  | 12.932 | 3.9176e-05
|  | 12.942 | 3.8802e-05
|  | 12.952 | 3.8462e-05
|  | 12.962 | 3.8111e-05
|  | 12.972 | 3.7803e-05
|  | 12.982 | 3.7495e-05
|  | 12.992 | 3.7177e-05
|  | 13.002 | 3.688e-05
|  | 13.012 | 3.6592e-05
|  | 13.022 | 3.6336e-05
|  | 13.032 | 3.6069e-05
|  | 13.042 | 3.5822e-05
|  | 13.052 | 3.5585e-05
|  | 13.062 | 3.5346e-05
|  | 13.072 | 3.5106e-05
|  | 13.082 | 3.4879e-05
|  | 13.092 | 3.4646e-05
|  | 13.102 | 3.4411e-05
|  | 13.112 | 3.4184e-05
|  | 13.122 | 3.3946e-05
|  | 13.132 | 3.3724e-05
|  | 13.142 | 3.3518e-05
|  | 13.152 | 3.33e-05
|  | 13.162 | 3.3108e-05
|  | 13.172 | 3.292e-05
|  | 13.182 | 3.2737e-05
|  | 13.192 | 3.256e-05
|  | 13.202 | 3.2386e-05
|  | 13.212 | 3.2226e-05
|  | 13.222 | 3.206e-05
|  | 13.232 | 3.1906e-05
|  | 13.242 | 3.1764e-05
|  | 13.252 | 3.1607e-05
|  | 13.262 | 3.1468e-05
|  | 13.272 | 3.1323e-05
|  | 13.282 | 3.1188e-05
|  | 13.292 | 3.1061e-05
|  | 13.302 | 3.0927e-05
|  | 13.312 | 3.0792e-05
|  | 13.322 | 3.0692e-05
|  | 13.332 | 3.0572e-05
|  | 13.342 | 3.0461e-05
|  | 13.352 | 3.0339e-05
|  | 13.362 | 3.0248e-05
|  | 13.372 | 3.0138e-05
|  | 13.382 | 3.0017e-05
|  | 13.392 | 2.9884e-05
|  | 13.402 | 2.9732e-05
|  | 13.412 | 2.9584e-05
|  | 13.422 | 2.9373e-05
|  | 13.432 | 2.9177e-05
|  | 13.442 | 2.8984e-05
|  | 13.452 | 2.8779e-05
|  | 13.462 | 2.8554e-05
|  | 13.472 | 2.8337e-05
|  | 13.482 | 2.8125e-05
|  | 13.492 | 2.794e-05
|  | 13.502 | 2.7742e-05
|  | 13.512 | 2.7545e-05
|  | 13.522 | 2.7351e-05
|  | 13.532 | 2.7157e-05
|  | 13.542 | 2.6948e-05
|  | 13.551 | 2.674e-05
|  | 13.562 | 2.6517e-05
|  | 13.572 | 2.6287e-05
|  | 13.582 | 2.6042e-05
|  | 13.592 | 2.5789e-05
|  | 13.602 | 2.553e-05
|  | 13.612 | 2.5264e-05
|  | 13.621 | 2.4991e-05
|  | 13.632 | 2.47e-05
|  | 13.642 | 2.4419e-05
|  | 13.651 | 2.4125e-05
|  | 13.662 | 2.3804e-05
|  | 13.672 | 2.3482e-05
|  | 13.682 | 2.3127e-05
|  | 13.692 | 2.2773e-05
|  | 13.701 | 2.2395e-05
|  | 13.712 | 2.1985e-05
|  | 13.722 | 2.1597e-05
|  | 13.731 | 2.1146e-05
|  | 13.742 | 2.0706e-05
|  | 13.751 | 2.0291e-05
|  | 13.762 | 1.9791e-05
|  | 13.772 | 1.9399e-05
|  | 13.782 | 1.898e-05
|  | 13.792 | 1.8582e-05
|  | 13.801 | 1.8168e-05
|  | 13.812 | 1.7776e-05
|  | 13.821 | 1.7405e-05
|  | 13.832 | 1.7018e-05
|  | 13.841 | 1.6646e-05
|  | 13.852 | 1.6252e-05
|  | 13.861 | 1.5899e-05
|  | 13.872 | 1.5498e-05
|  | 13.881 | 1.5112e-05
|  | 13.892 | 1.4698e-05
|  | 13.901 | 1.4318e-05
|  | 13.912 | 1.3902e-05
|  | 13.921 | 1.3499e-05
|  | 13.932 | 1.3072e-05
|  | 13.941 | 1.2672e-05
|  | 13.951 | 1.225e-05
|  | 13.962 | 1.1831e-05
|  | 13.971 | 1.1439e-05
|  | 13.982 | 1.1026e-05
|  | 13.991 | 1.0646e-05
|  | 14.001 | 1.0262e-05
|  | 14.012 | 9.8665e-06
|  | 14.021 | 9.5016e-06
|  | 14.032 | 9.1275e-06
|  | 14.041 | 8.7703e-06
|  | 14.051 | 8.3953e-06
|  | 14.062 | 8.0279e-06
|  | 14.071 | 7.6754e-06
|  | 14.081 | 7.3099e-06
|  | 14.092 | 6.95e-06
|  | 14.101 | 6.609e-06
|  | 14.111 | 6.2566e-06
|  | 14.122 | 5.9135e-06
|  | 14.131 | 5.5896e-06
|  | 14.141 | 5.2619e-06
|  | 14.151 | 4.9454e-06
|  | 14.162 | 4.6395e-06
|  | 14.171 | 4.3508e-06
|  | 14.181 | 4.0709e-06
|  | 14.191 | 3.8014e-06
|  | 14.202 | 3.5377e-06
|  | 14.211 | 3.3037e-06
|  | 14.221 | 3.0733e-06
|  | 14.231 | 2.8521e-06
|  | 14.241 | 2.6441e-06
|  | 14.251 | 2.453e-06
|  | 14.261 | 2.2612e-06
|  | 14.271 | 2.0839e-06
|  | 14.281 | 1.9091e-06
|  | 14.291 | 1.7433e-06
|  | 14.301 | 1.5837e-06
|  | 14.311 | 1.4407e-06
|  | 14.321 | 1.2982e-06
|  | 14.331 | 1.1648e-06
|  | 14.341 | 1.0365e-06
|  | 14.351 | 9.1906e-07
|  | 14.361 | 8.108e-07
|  | 14.371 | 7.0987e-07
|  | 14.381 | 6.1862e-07
|  | 14.391 | 5.3536e-07
|  | 14.401 | 4.6393e-07
|  | 14.411 | 3.948e-07
|  | 14.421 | 3.3328e-07
|  | 14.431 | 2.7834e-07
|  | 14.441 | 2.2941e-07
|  | 14.451 | 1.8659e-07
|  | 14.461 | 1.4927e-07
|  | 14.471 | 1.1698e-07
|  | 14.481 | 8.9629e-08
|  | 14.491 | 6.6707e-08
|  | 14.501 | 4.7845e-08
|  | 14.511 | 3.2653e-08
|  | 14.521 | 2.0834e-08
|  | 14.531 | 1.2017e-08
|  | 14.541 | 5.8613e-09
|  | 14.551 | 2.0405e-09
|  | 14.561 | 2.3962e-10
|  | 14.571 | 1.9836e-10
|  | 14.581 | 1.6158e-09
|  | 14.591 | 4.1655e-09
|  | 14.601 | 7.5853e-09
|  | 14.611 | 1.1619e-08
|  | 14.621 | 1.6045e-08
|  | 14.631 | 2.065e-08
|  | 14.641 | 2.5215e-08
|  | 14.651 | 2.9625e-08
|  | 14.661 | 3.3937e-08
|  | 14.671 | 3.7529e-08
|  | 14.681 | 4.0523e-08
|  | 14.691 | 4.2892e-08
|  | 14.701 | 4.4595e-08
|  | 14.711 | 4.558e-08
|  | 14.721 | 4.5719e-08
|  | 14.731 | 4.5041e-08
|  | 14.741 | 4.3714e-08
|  | 14.751 | 4.158e-08
|  | 14.761 | 3.859e-08
|  | 14.771 | 3.5174e-08
|  | 14.781 | 3.1292e-08
|  | 14.791 | 2.7016e-08
|  | 14.801 | 2.2267e-08
|  | 14.811 | 1.775e-08
|  | 14.821 | 1.3329e-08
|  | 14.831 | 9.006e-09
|  | 14.841 | 5.461e-09
|  | 14.851 | 2.6411e-09
|  | 14.861 | 6.7656e-10
|  | 14.871 | 3.8078e-13
|  | 14.881 | 6.8062e-10
|  | 14.891 | 3.1063e-09
|  | 14.901 | 7.2171e-09
|  | 14.911 | 1.328e-08
|  | 14.921 | 2.2043e-08
|  | 14.931 | 3.2701e-08
|  | 14.941 | 4.6677e-08
|  | 14.951 | 6.2382e-08
|  | 14.96 | 8.0819e-08
|  | 14.971 | 1.0333e-07
|  | 14.981 | 1.2718e-07
|  | 14.991 | 1.5559e-07
|  | 15.001 | 1.852e-07
|  | 15.011 | 2.1947e-07
|  | 15.021 | 2.5376e-07
|  | 15.031 | 2.9384e-07
|  | 15.041 | 3.3449e-07
|  | 15.051 | 3.8006e-07
|  | 15.06 | 4.2502e-07
|  | 15.071 | 4.7443e-07
|  | 15.08 | 5.259e-07
|  | 15.091 | 5.7984e-07
|  | 15.101 | 6.346e-07
|  | 15.111 | 6.867e-07
|  | 15.121 | 7.4355e-07
|  | 15.13 | 7.9422e-07
|  | 15.141 | 8.4598e-07
|  | 15.151 | 8.9793e-07
|  | 15.161 | 9.4037e-07
|  | 15.171 | 9.8039e-07
|  | 15.18 | 1.0135e-06
|  | 15.191 | 1.0439e-06
|  | 15.201 | 1.0661e-06
|  | 15.21 | 1.0777e-06
|  | 15.22 | 1.0805e-06
|  | 15.231 | 1.0754e-06
|  | 15.241 | 1.0608e-06
|  | 15.25 | 1.0346e-06
|  | 15.261 | 9.9888e-07
|  | 15.271 | 9.5306e-07
|  | 15.281 | 8.9729e-07
|  | 15.29 | 8.3392e-07
|  | 15.3 | 7.6117e-07
|  | 15.311 | 6.8056e-07
|  | 15.321 | 5.9236e-07
|  | 15.33 | 5.0588e-07
|  | 15.34 | 4.1267e-07
|  | 15.35 | 3.1978e-07
|  | 15.36 | 2.3022e-07
|  | 15.371 | 1.4825e-07
|  | 15.381 | 7.8814e-08
|  | 15.391 | 2.7792e-08
|  | 15.4 | 2.4191e-09
|  | 15.41 | 7.3835e-09
|  | 15.42 | 5.4122e-08
|  | 15.43 | 1.5309e-07
|  | 15.44 | 3.1624e-07
|  | 15.45 | 5.5711e-07
|  | 15.46 | 8.9251e-07
|  | 15.47 | 1.3375e-06
|  | 15.48 | 1.9125e-06
|  | 15.49 | 2.6436e-06
|  | 15.5 | 3.5473e-06
|  | 15.51 | 4.6541e-06
|  | 15.52 | 6.0004e-06
|  | 15.53 | 7.6035e-06
|  | 15.54 | 9.508e-06
|  | 15.55 | 1.175e-05
|  | 15.56 | 1.4392e-05
|  | 15.57 | 1.7441e-05
|  | 15.58 | 2.0963e-05
|  | 15.59 | 2.5024e-05
|  | 15.6 | 2.9671e-05
|  | 15.61 | 3.4977e-05
|  | 15.621 | 4.1357e-05
|  | 15.63 | 4.8214e-05
|  | 15.64 | 5.5972e-05
|  | 15.65 | 6.469e-05
|  | 15.66 | 7.4497e-05
|  | 15.67 | 8.5459e-05
|  | 15.68 | 9.8452e-05
|  | 15.69 | 0.00011218
|  | 15.7 | 0.00012745
|  | 15.71 | 0.00014444
|  | 15.72 | 0.00016325
|  | 15.73 | 0.00018523
|  | 15.74 | 0.00020826
|  | 15.75 | 0.0002337
|  | 15.76 | 0.00026161
|  | 15.77 | 0.00029414
|  | 15.78 | 0.00032793
|  | 15.79 | 0.00036493
|  | 15.8 | 0.00040763
|  | 15.81 | 0.00045188
|  | 15.82 | 0.00049999
|  | 15.83 | 0.00055526
|  | 15.84 | 0.00061251
|  | 15.85 | 0.00067803
|  | 15.86 | 0.00074425
|  | 15.87 | 0.00081697
|  | 15.88 | 0.00090027
|  | 15.89 | 0.00098566
|  | 15.9 | 0.0010822
|  | 15.91 | 0.0011823
|  | 15.92 | 0.0012966
|  | 15.93 | 0.0014117
|  | 15.94 | 0.001545
|  | 15.95 | 0.0016829
|  | 15.96 | 0.0018403
|  | 15.97 | 0.0020004
|  | 15.98 | 0.0021824
|  | 15.99 | 0.0023678
|  | 16 | 0.0025839