## Throughput
Herriott Cell Throughput
|  | Wavelength (µm) | Throughput (%)
|  | 0.355 | 3.751e-20
|  | 0.365 | 4.6461e-22
|  | 0.375 | 3.0634e-24
|  | 0.385 | 3.458e-26
Product Raw Data |  | 0.395 | 5.8214e-28
Herriott Cell Throughput |  | 0.405 | 8.3353e-29
|  | 0.415 | 4.2654e-28
Item # | HC10L-M02, HC10L/M-M02 | 0.425 | 2.6142e-26
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 0.435 | 3.2553e-24
|  | 0.445 | 4.1019e-22
|  | 0.455 | 5.8909e-20
|  | 0.465 | 1.4367e-17
|  | 0.475 | 4.7927e-15
|  | 0.485 | 1.9429e-12
This data may be used in publications. However, please cite Thorlabs as the source. |  | 0.495 | 1.1221e-09
|  | 0.505 | 3.8461e-07
|  | 0.515 | 2.4356e-05
Additional Information: |  | 0.525 | 0.00030549
This data is calculated using measured mirror reflectance values and window transmission values. |  | 0.535 | 0.001397
|  | 0.545 | 0.0034992
|  | 0.555 | 0.006168
|  | 0.565 | 0.0089415
|  | 0.575 | 0.011708
|  | 0.585 | 0.014811
|  | 0.595 | 0.018827
|  | 0.605 | 0.02477
|  | 0.615 | 0.033353
|  | 0.625 | 0.044833
|  | 0.635 | 0.059
|  | 0.645 | 0.075115
|  | 0.655 | 0.092198
|  | 0.665 | 0.10995
|  | 0.675 | 0.12688
|  | 0.685 | 0.14096
|  | 0.695 | 0.14979
|  | 0.705 | 0.1573
|  | 0.715 | 0.16127
|  | 0.725 | 0.1689
|  | 0.735 | 0.16753
|  | 0.745 | 0.16546
|  | 0.755 | 0.16311
|  | 0.765 | 0.15822
|  | 0.775 | 0.15239
|  | 0.785 | 0.14701
|  | 0.795 | 0.13931
|  | 0.805 | 0.13139
|  | 0.815 | 0.12527
|  | 0.825 | 0.11699
|  | 0.835 | 0.1095
|  | 0.845 | 0.10209
|  | 0.855 | 0.09512
|  | 0.865 | 0.088201
|  | 0.875 | 0.082246
|  | 0.885 | 0.07606
|  | 0.895 | 0.070886
|  | 0.905 | 0.0658
|  | 0.915 | 0.061403
|  | 0.925 | 0.057502
|  | 0.935 | 0.053945
|  | 0.945 | 0.050849
|  | 0.955 | 0.048283
|  | 0.965 | 0.046174
|  | 0.975 | 0.044524
|  | 0.985 | 0.043263
|  | 0.995 | 0.042416
|  | 1.005 | 0.04181
|  | 1.015 | 0.041661
|  | 1.025 | 0.041838
|  | 1.035 | 0.042191
|  | 1.045 | 0.043179
|  | 1.055 | 0.046089
|  | 1.065 | 0.047461
|  | 1.075 | 0.04923
|  | 1.085 | 0.051251
|  | 1.095 | 0.053499
|  | 1.105 | 0.056073
|  | 1.115 | 0.059021
|  | 1.125 | 0.062116
|  | 1.135 | 0.066166
|  | 1.145 | 0.070023
|  | 1.155 | 0.073909
|  | 1.165 | 0.078414
|  | 1.175 | 0.082919
|  | 1.185 | 0.087994
|  | 1.195 | 0.093239
|  | 1.205 | 0.098768
|  | 1.215 | 0.10403
|  | 1.225 | 0.10954
|  | 1.235 | 0.1148
|  | 1.245 | 0.12135
|  | 1.255 | 0.12787
|  | 1.265 | 0.13429
|  | 1.275 | 0.14004
|  | 1.285 | 0.14664
|  | 1.295 | 0.15378
|  | 1.305 | 0.16025
|  | 1.315 | 0.16696
|  | 1.325 | 0.17288
|  | 1.335 | 0.17999
|  | 1.345 | 0.18711
|  | 1.355 | 0.19321
|  | 1.365 | 0.20124
|  | 1.375 | 0.207
|  | 1.385 | 0.21493
|  | 1.395 | 0.22303
|  | 1.405 | 0.22748
|  | 1.415 | 0.23447
|  | 1.425 | 0.24099
|  | 1.435 | 0.24889
|  | 1.445 | 0.25581
|  | 1.455 | 0.261
|  | 1.465 | 0.26801
|  | 1.475 | 0.27467
|  | 1.485 | 0.28038
|  | 1.495 | 0.28786
|  | 1.505 | 0.29348
|  | 1.515 | 0.29931
|  | 1.525 | 0.30647
|  | 1.535 | 0.31094
|  | 1.545 | 0.31713
|  | 1.555 | 0.32141
|  | 1.565 | 0.32878
|  | 1.575 | 0.33106
|  | 1.585 | 0.33778
|  | 1.595 | 0.34276
|  | 1.605 | 0.35043
|  | 1.615 | 0.35122
|  | 1.625 | 0.35779
|  | 1.635 | 0.36249
|  | 1.645 | 0.36573
|  | 1.655 | 0.37429
|  | 1.665 | 0.37652
|  | 1.675 | 0.3772
|  | 1.685 | 0.38638
|  | 1.695 | 0.38591
|  | 1.705 | 0.39022
|  | 1.715 | 0.39441
|  | 1.725 | 0.40033
|  | 1.735 | 0.40137
|  | 1.745 | 0.40683
|  | 1.755 | 0.41013
|  | 1.765 | 0.41536
|  | 1.775 | 0.41844
|  | 1.785 | 0.42045
|  | 1.795 | 0.4228
|  | 1.805 | 0.42497
|  | 1.815 | 0.42706
|  | 1.825 | 0.42772
|  | 1.835 | 0.43385
|  | 1.845 | 0.43613
|  | 1.855 | 0.43903
|  | 1.865 | 0.44225
|  | 1.875 | 0.44589
|  | 1.885 | 0.44631
|  | 1.895 | 0.45298
|  | 1.905 | 0.45165
|  | 1.915 | 0.46052
|  | 1.925 | 0.46426
|  | 1.935 | 0.46071
|  | 1.945 | 0.46173
|  | 1.955 | 0.46478
|  | 1.965 | 0.46474
|  | 1.975 | 0.4749
|  | 1.985 | 0.47084
|  | 1.995 | 0.47652
|  | 2.005 | 0.47608
|  | 2.015 | 0.48159
|  | 2.025 | 0.48671
|  | 2.035 | 0.48735
|  | 2.045 | 0.49045
|  | 2.055 | 0.49522
|  | 2.065 | 0.49286
|  | 2.075 | 0.49312
|  | 2.085 | 0.49068
|  | 2.095 | 0.49488
|  | 2.105 | 0.49417
|  | 2.115 | 0.49344
|  | 2.125 | 0.49272
|  | 2.135 | 0.4958
|  | 2.145 | 0.4929
|  | 2.155 | 0.49842
|  | 2.165 | 0.50169
|  | 2.175 | 0.49792
|  | 2.185 | 0.50789
|  | 2.195 | 0.51398
|  | 2.205 | 0.51053
|  | 2.215 | 0.5007
|  | 2.225 | 0.51731
|  | 2.235 | 0.51045
|  | 2.245 | 0.50768
|  | 2.255 | 0.53727
|  | 2.265 | 0.50956
|  | 2.275 | 0.52141
|  | 2.285 | 0.51089
|  | 2.295 | 0.52728
|  | 2.305 | 0.52562
|  | 2.315 | 0.53229
|  | 2.325 | 0.51937
|  | 2.335 | 0.52761
|  | 2.345 | 0.53357
|  | 2.355 | 0.54118
|  | 2.365 | 0.51442
|  | 2.375 | 0.52176
|  | 2.385 | 0.54454
|  | 2.395 | 0.54749
|  | 2.405 | 0.54561
|  | 2.415 | 0.53223
|  | 2.425 | 0.53392
|  | 2.435 | 0.55285
|  | 2.445 | 0.53714
|  | 2.455 | 0.57946
|  | 2.465 | 0.55768
|  | 2.475 | 0.57915
|  | 2.485 | 0.60158
|  | 2.495 | 0.51623
|  | 2.505 | 0.55692
|  | 2.515 | 0.55685
|  | 2.525 | 0.55687
|  | 2.535 | 0.56004
|  | 2.545 | 0.55945
|  | 2.555 | 0.56029
|  | 2.565 | 0.56153
|  | 2.575 | 0.56142
|  | 2.585 | 0.55974
|  | 2.595 | 0.56533
|  | 2.61 | 0.5621
|  | 2.619 | 0.56486
|  | 2.63 | 0.56752
|  | 2.64 | 0.57015
|  | 2.65 | 0.56878
|  | 2.659 | 0.5694
|  | 2.67 | 0.5641
|  | 2.68 | 0.55963
|  | 2.689 | 0.56376
|  | 2.7 | 0.57015
|  | 2.71 | 0.57
|  | 2.719 | 0.57432
|  | 2.73 | 0.57027
|  | 2.739 | 0.56779
|  | 2.749 | 0.57702
|  | 2.76 | 0.57012
|  | 2.769 | 0.57293
|  | 2.78 | 0.57525
|  | 2.789 | 0.57447
|  | 2.8 | 0.57928
|  | 2.809 | 0.5807
|  | 2.82 | 0.57976
|  | 2.829 | 0.58137
|  | 2.839 | 0.58211
|  | 2.849 | 0.58301
|  | 2.859 | 0.58252
|  | 2.87 | 0.58409
|  | 2.879 | 0.58498
|  | 2.889 | 0.58624
|  | 2.899 | 0.58613
|  | 2.909 | 0.58736
|  | 2.919 | 0.58688
|  | 2.929 | 0.58766
|  | 2.939 | 0.58863
|  | 2.949 | 0.58779
|  | 2.959 | 0.58955
|  | 2.969 | 0.59175
|  | 2.979 | 0.59074
|  | 2.989 | 0.59137
|  | 2.999 | 0.59149
|  | 3.009 | 0.59188
|  | 3.019 | 0.59325
|  | 3.029 | 0.59228
|  | 3.039 | 0.59356
|  | 3.049 | 0.59472
|  | 3.059 | 0.59415
|  | 3.069 | 0.59553
|  | 3.079 | 0.5953
|  | 3.089 | 0.59662
|  | 3.099 | 0.5973
|  | 3.109 | 0.59788
|  | 3.119 | 0.5994
|  | 3.129 | 0.59894
|  | 3.139 | 0.59974
|  | 3.149 | 0.60016
|  | 3.159 | 0.60084
|  | 3.169 | 0.60184
|  | 3.179 | 0.60305
|  | 3.189 | 0.60261
|  | 3.199 | 0.60218
|  | 3.209 | 0.604
|  | 3.219 | 0.60511
|  | 3.229 | 0.60594
|  | 3.239 | 0.60655
|  | 3.249 | 0.60787
|  | 3.259 | 0.60874
|  | 3.269 | 0.60848
|  | 3.279 | 0.60975
|  | 3.289 | 0.60977
|  | 3.299 | 0.61068
|  | 3.309 | 0.61148
|  | 3.319 | 0.61138
|  | 3.329 | 0.61212
|  | 3.339 | 0.61271
|  | 3.349 | 0.61429
|  | 3.359 | 0.61594
|  | 3.369 | 0.61488
|  | 3.379 | 0.61506
|  | 3.389 | 0.61631
|  | 3.399 | 0.61623
|  | 3.409 | 0.61652
|  | 3.419 | 0.61649
|  | 3.429 | 0.61608
|  | 3.439 | 0.61802
|  | 3.449 | 0.61829
|  | 3.459 | 0.61956
|  | 3.469 | 0.62012
|  | 3.479 | 0.62163
|  | 3.489 | 0.62092
|  | 3.499 | 0.62146
|  | 3.509 | 0.62173
|  | 3.519 | 0.62229
|  | 3.529 | 0.62121
|  | 3.539 | 0.62293
|  | 3.549 | 0.62478
|  | 3.559 | 0.62586
|  | 3.569 | 0.62454
|  | 3.579 | 0.62537
|  | 3.589 | 0.62554
|  | 3.599 | 0.62573
|  | 3.609 | 0.6264
|  | 3.619 | 0.62784
|  | 3.629 | 0.62821
|  | 3.639 | 0.62786
|  | 3.649 | 0.62941
|  | 3.659 | 0.62912
|  | 3.669 | 0.62917
|  | 3.679 | 0.62918
|  | 3.689 | 0.63105
|  | 3.699 | 0.63185
|  | 3.709 | 0.63217
|  | 3.719 | 0.63281
|  | 3.729 | 0.63408
|  | 3.739 | 0.63321
|  | 3.749 | 0.63247
|  | 3.759 | 0.633
|  | 3.769 | 0.63465
|  | 3.779 | 0.63384
|  | 3.789 | 0.63475
|  | 3.799 | 0.63483
|  | 3.809 | 0.63576
|  | 3.819 | 0.63548
|  | 3.829 | 0.63654
|  | 3.839 | 0.63628
|  | 3.849 | 0.63701
|  | 3.859 | 0.638
|  | 3.869 | 0.63738
|  | 3.879 | 0.63815
|  | 3.889 | 0.63829
|  | 3.899 | 0.63956
|  | 3.909 | 0.63997
|  | 3.919 | 0.63954
|  | 3.929 | 0.6383
|  | 3.939 | 0.6388
|  | 3.949 | 0.63923
|  | 3.959 | 0.64061
|  | 3.968 | 0.64146
|  | 3.979 | 0.64196
|  | 3.989 | 0.64105
|  | 3.999 | 0.6415
|  | 4.009 | 0.6427
|  | 4.018 | 0.64267
|  | 4.029 | 0.64469
|  | 4.039 | 0.64391
|  | 4.049 | 0.64409
|  | 4.058 | 0.64583
|  | 4.069 | 0.64571
|  | 4.078 | 0.64566
|  | 4.089 | 0.64475
|  | 4.098 | 0.6459
|  | 4.109 | 0.64623
|  | 4.118 | 0.64735
|  | 4.129 | 0.64794
|  | 4.138 | 0.64884
|  | 4.148 | 0.64825
|  | 4.159 | 0.64989
|  | 4.168 | 0.64928
|  | 4.178 | 0.64923
|  | 4.189 | 0.64532
|  | 4.198 | 0.63471
|  | 4.208 | 0.61988
|  | 4.218 | 0.60317
|  | 4.228 | 0.55672
|  | 4.238 | 0.54973
|  | 4.248 | 0.56489
|  | 4.258 | 0.59579
|  | 4.268 | 0.58262
|  | 4.278 | 0.58218
|  | 4.288 | 0.58511
|  | 4.298 | 0.59424
|  | 4.308 | 0.60246
|  | 4.318 | 0.61047
|  | 4.328 | 0.6256
|  | 4.338 | 0.6337
|  | 4.348 | 0.639
|  | 4.358 | 0.64941
|  | 4.368 | 0.65204
|  | 4.378 | 0.65274
|  | 4.388 | 0.65416
|  | 4.398 | 0.65657
|  | 4.408 | 0.65565
|  | 4.418 | 0.65541
|  | 4.428 | 0.656
|  | 4.438 | 0.65636
|  | 4.448 | 0.65697
|  | 4.458 | 0.65764
|  | 4.468 | 0.65881
|  | 4.478 | 0.6582
|  | 4.488 | 0.65765
|  | 4.498 | 0.65858
|  | 4.508 | 0.65886
|  | 4.518 | 0.65943
|  | 4.528 | 0.65984
|  | 4.538 | 0.66009
|  | 4.548 | 0.66014
|  | 4.558 | 0.6595
|  | 4.568 | 0.66076
|  | 4.578 | 0.66055
|  | 4.588 | 0.66085
|  | 4.598 | 0.66064
|  | 4.608 | 0.66042
|  | 4.618 | 0.6608
|  | 4.628 | 0.66155
|  | 4.638 | 0.66144
|  | 4.648 | 0.66319
|  | 4.658 | 0.6638
|  | 4.668 | 0.66267
|  | 4.678 | 0.6625
|  | 4.688 | 0.66263
|  | 4.698 | 0.6632
|  | 4.708 | 0.6628
|  | 4.718 | 0.66355
|  | 4.728 | 0.66432
|  | 4.738 | 0.66492
|  | 4.748 | 0.66514
|  | 4.758 | 0.66512
|  | 4.768 | 0.66637
|  | 4.778 | 0.66627
|  | 4.788 | 0.66547
|  | 4.798 | 0.66633
|  | 4.808 | 0.66558
|  | 4.818 | 0.66597
|  | 4.828 | 0.66645
|  | 4.838 | 0.66687
|  | 4.848 | 0.66659
|  | 4.858 | 0.66654
|  | 4.868 | 0.66756
|  | 4.878 | 0.66749
|  | 4.888 | 0.66749
|  | 4.898 | 0.6673
|  | 4.908 | 0.66899
|  | 4.918 | 0.66889
|  | 4.928 | 0.66861
|  | 4.938 | 0.66927
|  | 4.948 | 0.6694
|  | 4.958 | 0.66915
|  | 4.968 | 0.66937
|  | 4.978 | 0.6695
|  | 4.988 | 0.6697
|  | 4.998 | 0.66914
|  | 5.008 | 0.66875
|  | 5.018 | 0.66946
|  | 5.028 | 0.66995
|  | 5.038 | 0.67185
|  | 5.048 | 0.67191
|  | 5.058 | 0.67165
|  | 5.068 | 0.67156
|  | 5.078 | 0.67066
|  | 5.088 | 0.67094
|  | 5.098 | 0.67187
|  | 5.107 | 0.67323
|  | 5.118 | 0.67258
|  | 5.128 | 0.6721
|  | 5.138 | 0.67248
|  | 5.147 | 0.67155
|  | 5.158 | 0.67217
|  | 5.168 | 0.6727
|  | 5.178 | 0.67287
|  | 5.187 | 0.67404
|  | 5.198 | 0.67426
|  | 5.208 | 0.67292
|  | 5.218 | 0.67369
|  | 5.227 | 0.67414
|  | 5.238 | 0.67388
|  | 5.248 | 0.67452
|  | 5.257 | 0.67469
|  | 5.268 | 0.67418
|  | 5.278 | 0.6739
|  | 5.288 | 0.67392
|  | 5.297 | 0.67387
|  | 5.308 | 0.67557
|  | 5.318 | 0.67543
|  | 5.327 | 0.67539
|  | 5.337 | 0.67593
|  | 5.348 | 0.6739
|  | 5.358 | 0.67378
|  | 5.367 | 0.67527
|  | 5.378 | 0.67689
|  | 5.388 | 0.67699
|  | 5.397 | 0.67664
|  | 5.407 | 0.67548
|  | 5.418 | 0.67437
|  | 5.428 | 0.67325
|  | 5.437 | 0.67425
|  | 5.448 | 0.67668
|  | 5.458 | 0.67628
|  | 5.467 | 0.67443
|  | 5.477 | 0.67438
|  | 5.488 | 0.67549
|  | 5.497 | 0.67652
|  | 5.507 | 0.67695
|  | 5.518 | 0.67641
|  | 5.527 | 0.67687
|  | 5.537 | 0.67799
|  | 5.548 | 0.67703
|  | 5.558 | 0.67603
|  | 5.567 | 0.6766
|  | 5.578 | 0.67556
|  | 5.588 | 0.6766
|  | 5.597 | 0.67809
|  | 5.608 | 0.67815
|  | 5.618 | 0.67824
|  | 5.627 | 0.67882
|  | 5.637 | 0.67832
|  | 5.648 | 0.67528
|  | 5.657 | 0.67599
|  | 5.667 | 0.67732
|  | 5.678 | 0.67762
|  | 5.687 | 0.67737
|  | 5.697 | 0.67849
|  | 5.707 | 0.67848
|  | 5.717 | 0.67337
|  | 5.727 | 0.67422
|  | 5.737 | 0.67617
|  | 5.747 | 0.67798
|  | 5.758 | 0.67835
|  | 5.767 | 0.67643
|  | 5.777 | 0.67435
|  | 5.788 | 0.67772
|  | 5.797 | 0.67933
|  | 5.807 | 0.68037
|  | 5.818 | 0.6771
|  | 5.827 | 0.67416
|  | 5.837 | 0.67506
|  | 5.847 | 0.67897
|  | 5.857 | 0.67833
|  | 5.867 | 0.67678
|  | 5.877 | 0.67492
|  | 5.887 | 0.67013
|  | 5.898 | 0.67177
|  | 5.907 | 0.67491
|  | 5.917 | 0.67689
|  | 5.927 | 0.67608
|  | 5.937 | 0.67347
|  | 5.947 | 0.67178
|  | 5.957 | 0.67632
|  | 5.967 | 0.67726
|  | 5.978 | 0.67715
|  | 5.987 | 0.67567
|  | 5.997 | 0.67588
|  | 6.007 | 0.67684
|  | 6.017 | 0.67654
|  | 6.027 | 0.67825
|  | 6.037 | 0.68
|  | 6.047 | 0.67854
|  | 6.057 | 0.67244
|  | 6.067 | 0.67209
|  | 6.077 | 0.6723
|  | 6.087 | 0.67675
|  | 6.097 | 0.67794
|  | 6.107 | 0.67685
|  | 6.117 | 0.67362
|  | 6.127 | 0.67451
|  | 6.137 | 0.67569
|  | 6.147 | 0.67542
|  | 6.157 | 0.6742
|  | 6.167 | 0.67532
|  | 6.177 | 0.67674
|  | 6.187 | 0.67572
|  | 6.197 | 0.67603
|  | 6.207 | 0.67664
|  | 6.217 | 0.67666
|  | 6.227 | 0.67729
|  | 6.237 | 0.67801
|  | 6.247 | 0.6787
|  | 6.257 | 0.67884
|  | 6.267 | 0.67751
|  | 6.277 | 0.67606
|  | 6.287 | 0.67555
|  | 6.297 | 0.67706
|  | 6.307 | 0.67908
|  | 6.317 | 0.68154
|  | 6.327 | 0.68206
|  | 6.337 | 0.67919
|  | 6.347 | 0.67609
|  | 6.357 | 0.67692
|  | 6.367 | 0.67693
|  | 6.377 | 0.67632
|  | 6.387 | 0.67695
|  | 6.397 | 0.67955
|  | 6.407 | 0.67765
|  | 6.417 | 0.67194
|  | 6.427 | 0.66952
|  | 6.437 | 0.67149
|  | 6.446 | 0.67336
|  | 6.457 | 0.67638
|  | 6.467 | 0.67648
|  | 6.477 | 0.67514
|  | 6.487 | 0.67243
|  | 6.497 | 0.66966
|  | 6.507 | 0.67129
|  | 6.517 | 0.67247
|  | 6.527 | 0.67339
|  | 6.537 | 0.67428
|  | 6.547 | 0.67442
|  | 6.557 | 0.67357
|  | 6.567 | 0.6702
|  | 6.577 | 0.66869
|  | 6.587 | 0.66862
|  | 6.597 | 0.67158
|  | 6.607 | 0.67326
|  | 6.617 | 0.67403
|  | 6.627 | 0.67009
|  | 6.637 | 0.66716
|  | 6.647 | 0.66823
|  | 6.657 | 0.67114
|  | 6.666 | 0.67358
|  | 6.677 | 0.67298
|  | 6.686 | 0.67286
|  | 6.697 | 0.67343
|  | 6.706 | 0.67209
|  | 6.717 | 0.67043
|  | 6.726 | 0.67094
|  | 6.737 | 0.6747
|  | 6.746 | 0.67549
|  | 6.757 | 0.67554
|  | 6.766 | 0.67399
|  | 6.777 | 0.67216
|  | 6.787 | 0.67028
|  | 6.797 | 0.67164
|  | 6.807 | 0.67314
|  | 6.816 | 0.67368
|  | 6.827 | 0.67305
|  | 6.836 | 0.67217
|  | 6.847 | 0.67181
|  | 6.856 | 0.66971
|  | 6.867 | 0.66661
|  | 6.876 | 0.6678
|  | 6.887 | 0.66951
|  | 6.897 | 0.67012
|  | 6.906 | 0.6688
|  | 6.917 | 0.66836
|  | 6.926 | 0.66853
|  | 6.937 | 0.66944
|  | 6.946 | 0.66863
|  | 6.956 | 0.66685
|  | 6.967 | 0.66482
|  | 6.976 | 0.66534
|  | 6.987 | 0.66583
|  | 6.996 | 0.66558
|  | 7.007 | 0.66504
|  | 7.016 | 0.66457
|  | 7.026 | 0.66387
|  | 7.037 | 0.66237
|  | 7.046 | 0.66146
|  | 7.057 | 0.66103
|  | 7.066 | 0.6626
|  | 7.076 | 0.66299
|  | 7.087 | 0.66294
|  | 7.096 | 0.66251
|  | 7.107 | 0.66161
|  | 7.116 | 0.66133
|  | 7.126 | 0.66115
|  | 7.137 | 0.66036
|  | 7.146 | 0.65913
|  | 7.156 | 0.65828
|  | 7.166 | 0.65801
|  | 7.176 | 0.65911
|  | 7.187 | 0.6593
|  | 7.196 | 0.65904
|  | 7.206 | 0.65776
|  | 7.217 | 0.65755
|  | 7.226 | 0.65779
|  | 7.236 | 0.65865
|  | 7.246 | 0.65806
|  | 7.256 | 0.65713
|  | 7.266 | 0.65608
|  | 7.276 | 0.65523
|  | 7.286 | 0.65543
|  | 7.296 | 0.65579
|  | 7.306 | 0.65616
|  | 7.316 | 0.6551
|  | 7.327 | 0.65369
|  | 7.336 | 0.65204
|  | 7.346 | 0.6504
|  | 7.357 | 0.65011
|  | 7.366 | 0.65019
|  | 7.376 | 0.65073
|  | 7.386 | 0.65072
|  | 7.396 | 0.6509
|  | 7.406 | 0.65113
|  | 7.416 | 0.65047
|  | 7.426 | 0.64965
|  | 7.436 | 0.64875
|  | 7.446 | 0.64722
|  | 7.456 | 0.64555
|  | 7.466 | 0.64399
|  | 7.476 | 0.64337
|  | 7.486 | 0.64377
|  | 7.496 | 0.64396
|  | 7.506 | 0.64387
|  | 7.516 | 0.64291
|  | 7.526 | 0.64192
|  | 7.536 | 0.64115
|  | 7.546 | 0.64094
|  | 7.556 | 0.64041
|  | 7.566 | 0.63965
|  | 7.576 | 0.63879
|  | 7.586 | 0.63807
|  | 7.596 | 0.63733
|  | 7.606 | 0.63654
|  | 7.616 | 0.63559
|  | 7.626 | 0.63462
|  | 7.636 | 0.63373
|  | 7.646 | 0.63329
|  | 7.656 | 0.63263
|  | 7.666 | 0.63151
|  | 7.676 | 0.62983
|  | 7.686 | 0.62877
|  | 7.696 | 0.62809
|  | 7.706 | 0.62755
|  | 7.716 | 0.62729
|  | 7.726 | 0.62628
|  | 7.736 | 0.62498
|  | 7.746 | 0.62326
|  | 7.756 | 0.62214
|  | 7.766 | 0.62112
|  | 7.776 | 0.62024
|  | 7.786 | 0.61919
|  | 7.796 | 0.61802
|  | 7.806 | 0.61675
|  | 7.816 | 0.61554
|  | 7.826 | 0.61473
|  | 7.836 | 0.61406
|  | 7.846 | 0.61398
|  | 7.855 | 0.61328
|  | 7.866 | 0.61236
|  | 7.876 | 0.61132
|  | 7.886 | 0.60977
|  | 7.896 | 0.60793
|  | 7.905 | 0.60616
|  | 7.916 | 0.60421
|  | 7.926 | 0.6028
|  | 7.936 | 0.60161
|  | 7.946 | 0.60055
|  | 7.955 | 0.60005
|  | 7.966 | 0.599
|  | 7.976 | 0.5978
|  | 7.986 | 0.59671
|  | 7.996 | 0.5954
|  | 8.005 | 0.59404
|  | 8.016 | 0.59224
|  | 8.026 | 0.59058
|  | 8.036 | 0.58895
|  | 8.046 | 0.58744
|  | 8.056 | 0.58613
|  | 8.065 | 0.5849
|  | 8.075 | 0.58362
|  | 8.086 | 0.58231
|  | 8.096 | 0.58055
|  | 8.106 | 0.57871
|  | 8.116 | 0.57686
|  | 8.125 | 0.5755
|  | 8.135 | 0.57418
|  | 8.146 | 0.57294
|  | 8.156 | 0.57233
|  | 8.166 | 0.57107
|  | 8.176 | 0.5698
|  | 8.186 | 0.5685
|  | 8.195 | 0.56698
|  | 8.205 | 0.56548
|  | 8.215 | 0.5638
|  | 8.226 | 0.56162
|  | 8.236 | 0.55928
|  | 8.246 | 0.55691
|  | 8.256 | 0.55531
|  | 8.266 | 0.55383
|  | 8.275 | 0.55232
|  | 8.285 | 0.55065
|  | 8.295 | 0.54834
|  | 8.305 | 0.54587
|  | 8.315 | 0.54352
|  | 8.326 | 0.54131
|  | 8.336 | 0.53923
|  | 8.346 | 0.53728
|  | 8.356 | 0.53516
|  | 8.366 | 0.53271
|  | 8.375 | 0.53055
|  | 8.385 | 0.52806
|  | 8.395 | 0.52586
|  | 8.405 | 0.52378
|  | 8.415 | 0.52183
|  | 8.425 | 0.52014
|  | 8.435 | 0.51784
|  | 8.445 | 0.51553
|  | 8.455 | 0.51275
|  | 8.465 | 0.51039
|  | 8.476 | 0.50786
|  | 8.486 | 0.50545
|  | 8.496 | 0.50317
|  | 8.506 | 0.50086
|  | 8.516 | 0.50191
|  | 8.526 | 0.50265
|  | 8.536 | 0.49365
|  | 8.555 | 0.48904
|  | 8.565 | 0.50666
|  | 8.575 | 0.4877
|  | 8.585 | 0.48494
|  | 8.595 | 0.47761
|  | 8.605 | 0.4739
|  | 8.615 | 0.46991
|  | 8.625 | 0.47887
|  | 8.635 | 0.46948
|  | 8.645 | 0.46279
|  | 8.655 | 0.45703
|  | 8.665 | 0.46161
|  | 8.675 | 0.46808
|  | 8.685 | 0.46282
|  | 8.695 | 0.45426
|  | 8.705 | 0.44888
|  | 8.715 | 0.45153
|  | 8.735 | 0.43926
|  | 8.745 | 0.4353
|  | 8.755 | 0.43332
|  | 8.765 | 0.43589
|  | 8.775 | 0.42848
|  | 8.785 | 0.42623
|  | 8.795 | 0.42364
|  | 8.805 | 0.41356
|  | 8.815 | 0.42025
|  | 8.825 | 0.41724
|  | 8.835 | 0.4155
|  | 8.845 | 0.41631
|  | 8.855 | 0.41813
|  | 8.865 | 0.40604
|  | 8.875 | 0.39854
|  | 8.885 | 0.38945
|  | 8.895 | 0.3979
|  | 8.905 | 0.38778
|  | 8.925 | 0.38572
|  | 8.935 | 0.379
|  | 8.945 | 0.38168
|  | 8.955 | 0.36475
|  | 8.965 | 0.37433
|  | 8.975 | 0.3762
|  | 8.985 | 0.36488
|  | 8.995 | 0.35915
|  | 9.005 | 0.36071
|  | 9.015 | 0.35686
|  | 9.035 | 0.35418
|  | 9.045 | 0.34972
|  | 9.055 | 0.34245
|  | 9.065 | 0.33606
|  | 9.075 | 0.34129
|  | 9.085 | 0.32803
|  | 9.095 | 0.33179
|  | 9.115 | 0.31851
|  | 9.125 | 0.32211
|  | 9.135 | 0.31802
|  | 9.145 | 0.3109
|  | 9.155 | 0.31711
|  | 9.175 | 0.30494
|  | 9.185 | 0.30704
|  | 9.195 | 0.29652
|  | 9.205 | 0.29376
|  | 9.215 | 0.29123
|  | 9.235 | 0.2887
|  | 9.245 | 0.28698
|  | 9.255 | 0.28071
|  | 9.265 | 0.27876
|  | 9.275 | 0.27293
|  | 9.295 | 0.26682
|  | 9.305 | 0.25901
|  | 9.314 | 0.25877
|  | 9.325 | 0.25397
|  | 9.345 | 0.25073
|  | 9.355 | 0.24811
|  | 9.364 | 0.24732
|  | 9.375 | 0.23691
|  | 9.385 | 0.23993
|  | 9.395 | 0.23202
|  | 9.404 | 0.23086
|  | 9.415 | 0.23659
|  | 9.425 | 0.22438
|  | 9.435 | 0.22774
|  | 9.444 | 0.22304
|  | 9.455 | 0.22119
|  | 9.465 | 0.21202
|  | 9.475 | 0.20657
|  | 9.484 | 0.20757
|  | 9.495 | 0.20165
|  | 9.505 | 0.20276
|  | 9.515 | 0.19846
|  | 9.524 | 0.20352
|  | 9.535 | 0.19438
|  | 9.545 | 0.19592
|  | 9.554 | 0.19131
|  | 9.564 | 0.18445
|  | 9.575 | 0.18098
|  | 9.585 | 0.18071
|  | 9.594 | 0.17675
|  | 9.605 | 0.17108
|  | 9.615 | 0.1703
|  | 9.624 | 0.16373
|  | 9.634 | 0.16267
|  | 9.645 | 0.1575
|  | 9.654 | 0.15881
|  | 9.664 | 0.16055
|  | 9.675 | 0.15217
|  | 9.684 | 0.15506
|  | 9.694 | 0.14677
|  | 9.705 | 0.14611
|  | 9.714 | 0.14595
|  | 9.724 | 0.14103
|  | 9.735 | 0.13636
|  | 9.744 | 0.13211
|  | 9.754 | 0.13635
|  | 9.765 | 0.1308
|  | 9.774 | 0.12722
|  | 9.784 | 0.12474
|  | 9.795 | 0.1196
|  | 9.804 | 0.12213
|  | 9.815 | 0.11814
|  | 9.824 | 0.11528
|  | 9.834 | 0.11534
|  | 9.845 | 0.11263
|  | 9.854 | 0.11088
|  | 9.864 | 0.10564
|  | 9.875 | 0.10109
|  | 9.884 | 0.10279
|  | 9.895 | 0.09852
|  | 9.904 | 0.098048
|  | 9.914 | 0.098216
|  | 9.924 | 0.093456
|  | 9.934 | 0.091615
|  | 9.945 | 0.0888
|  | 9.954 | 0.08775
|  | 9.964 | 0.082872
|  | 9.974 | 0.082236
|  | 9.984 | 0.079159
|  | 9.994 | 0.080385
|  | 10.004 | 0.080007
|  | 10.015 | 0.077279
|  | 10.024 | 0.078957
|  | 10.034 | 0.073437
|  | 10.044 | 0.07437
|  | 10.054 | 0.071335
|  | 10.064 | 0.067748
|  | 10.074 | 0.06683
|  | 10.084 | 0.065303
|  | 10.094 | 0.062282
|  | 10.104 | 0.062491
|  | 10.114 | 0.056494
|  | 10.124 | 0.058806
|  | 10.134 | 0.056227
|  | 10.144 | 0.054645
|  | 10.154 | 0.051873
|  | 10.164 | 0.052587
|  | 10.174 | 0.051237
|  | 10.184 | 0.051771
|  | 10.194 | 0.04663
|  | 10.204 | 0.046662
|  | 10.214 | 0.045143
|  | 10.224 | 0.043572
|  | 10.234 | 0.041396
|  | 10.244 | 0.039466
|  | 10.254 | 0.040881
|  | 10.264 | 0.039956
|  | 10.274 | 0.03675
|  | 10.284 | 0.037307
|  | 10.294 | 0.037054
|  | 10.304 | 0.034192
|  | 10.314 | 0.032489
|  | 10.324 | 0.032579
|  | 10.334 | 0.03177
|  | 10.344 | 0.02941
|  | 10.354 | 0.028902
|  | 10.364 | 0.026948
|  | 10.374 | 0.028339
|  | 10.384 | 0.027174
|  | 10.394 | 0.025578
|  | 10.404 | 0.024274
|  | 10.414 | 0.025786
|  | 10.424 | 0.02273
|  | 10.434 | 0.022646
|  | 10.444 | 0.020887
|  | 10.454 | 0.019829
|  | 10.464 | 0.019972
|  | 10.474 | 0.019351
|  | 10.484 | 0.019182
|  | 10.494 | 0.017155
|  | 10.504 | 0.016266
|  | 10.514 | 0.01689
|  | 10.524 | 0.016613
|  | 10.534 | 0.014877
|  | 10.544 | 0.014198
|  | 10.554 | 0.01437
|  | 10.564 | 0.012018
|  | 10.574 | 0.0123
|  | 10.584 | 0.012503
|  | 10.594 | 0.012197
|  | 10.604 | 0.010499
|  | 10.614 | 0.0097143
|  | 10.624 | 0.011018
|  | 10.634 | 0.010558
|  | 10.644 | 0.0094133
|  | 10.654 | 0.0094056
|  | 10.664 | 0.0083785
|  | 10.674 | 0.0090142
|  | 10.684 | 0.0076582
|  | 10.694 | 0.0070805
|  | 10.704 | 0.0074051
|  | 10.714 | 0.0077556
|  | 10.723 | 0.0063219
|  | 10.734 | 0.0053521
|  | 10.744 | 0.0055264
|  | 10.754 | 0.0050627
|  | 10.763 | 0.0053715
|  | 10.774 | 0.0056549
|  | 10.784 | 0.0042426
|  | 10.794 | 0.00491
|  | 10.803 | 0.0040137
|  | 10.814 | 0.0039876
|  | 10.824 | 0.0034677
|  | 10.834 | 0.003637
|  | 10.843 | 0.0037068
|  | 10.854 | 0.0033266
|  | 10.864 | 0.0026925
|  | 10.874 | 0.002544
|  | 10.883 | 0.0028979
|  | 10.893 | 0.0032594
|  | 10.904 | 0.0022173
|  | 10.914 | 0.0026095
|  | 10.924 | 0.0021216
|  | 10.933 | 0.0020026
|  | 10.943 | 0.0019033
|  | 10.954 | 0.0018088
|  | 10.964 | 0.0017185
|  | 10.974 | 0.0016322
|  | 10.984 | 0.0015506
|  | 10.993 | 0.0014773
|  | 11.003 | 0.0014023
|  | 11.014 | 0.0013309
|  | 11.024 | 0.0012632
|  | 11.034 | 0.0011974
|  | 11.044 | 0.0011348
|  | 11.053 | 0.0010783
|  | 11.063 | 0.0010206
|  | 11.073 | 0.00096579
|  | 11.083 | 0.00091391
|  | 11.094 | 0.00086442
|  | 11.104 | 0.000818
|  | 11.114 | 0.00077384
|  | 11.124 | 0.00073209
|  | 11.133 | 0.00069482
|  | 11.143 | 0.00065657
|  | 11.153 | 0.00062003
|  | 11.163 | 0.00058548
|  | 11.173 | 0.00055234
|  | 11.183 | 0.00052089
|  | 11.193 | 0.0004906
|  | 11.204 | 0.00046209
|  | 11.214 | 0.00043509
|  | 11.224 | 0.0004091
|  | 11.234 | 0.00038485
|  | 11.244 | 0.0003621
|  | 11.254 | 0.00034064
|  | 11.264 | 0.00032049
|  | 11.273 | 0.00030277
|  | 11.283 | 0.00028472
|  | 11.293 | 0.00026783
|  | 11.303 | 0.00025164
|  | 11.313 | 0.00023616
|  | 11.323 | 0.00022146
|  | 11.333 | 0.00020757
|  | 11.343 | 0.00019434
|  | 11.353 | 0.00018188
|  | 11.363 | 0.0001701
|  | 11.373 | 0.00015907
|  | 11.383 | 0.00014869
|  | 11.393 | 0.00013898
|  | 11.403 | 0.00012981
|  | 11.413 | 0.00012117
|  | 11.423 | 0.00011309
|  | 11.433 | 0.00010543
|  | 11.443 | 9.8199e-05
|  | 11.453 | 9.1425e-05
|  | 11.464 | 8.46e-05
|  | 11.474 | 7.8629e-05
|  | 11.483 | 7.3005e-05
|  | 11.493 | 6.7732e-05
|  | 11.503 | 6.2789e-05
|  | 11.513 | 5.8171e-05
|  | 11.523 | 5.3852e-05
|  | 11.533 | 4.9813e-05
|  | 11.543 | 4.6045e-05
|  | 11.553 | 4.2527e-05
|  | 11.563 | 3.9251e-05
|  | 11.573 | 3.6182e-05
|  | 11.583 | 3.3318e-05
|  | 11.593 | 3.0493e-05
|  | 11.603 | 2.8024e-05
|  | 11.613 | 2.5733e-05
|  | 11.623 | 2.36e-05
|  | 11.633 | 2.1641e-05
|  | 11.643 | 1.9796e-05
|  | 11.653 | 1.8089e-05
|  | 11.663 | 1.6514e-05
|  | 11.673 | 1.4942e-05
|  | 11.683 | 1.3586e-05
|  | 11.693 | 1.2329e-05
|  | 11.703 | 1.1174e-05
|  | 11.713 | 1.01e-05
|  | 11.723 | 9.1116e-06
|  | 11.733 | 8.1444e-06
|  | 11.743 | 7.3081e-06
|  | 11.753 | 6.542e-06
|  | 11.763 | 5.8366e-06
|  | 11.773 | 5.1958e-06
|  | 11.783 | 4.5739e-06
|  | 11.793 | 4.0462e-06
|  | 11.803 | 3.5681e-06
|  | 11.813 | 3.1358e-06
|  | 11.823 | 2.7448e-06
|  | 11.833 | 2.3711e-06
|  | 11.843 | 2.0568e-06
|  | 11.853 | 1.7732e-06
|  | 11.863 | 1.5192e-06
|  | 11.873 | 1.2789e-06
|  | 11.883 | 1.0795e-06
|  | 11.893 | 9.0384e-07
|  | 11.903 | 7.4942e-07
|  | 11.913 | 6.0653e-07
|  | 11.923 | 4.9085e-07
|  | 11.933 | 3.9177e-07
|  | 11.943 | 3.0665e-07
|  | 11.953 | 2.303e-07
|  | 11.963 | 1.7085e-07
|  | 11.973 | 1.2222e-07
|  | 11.983 | 8.0706e-08
|  | 11.993 | 5.0716e-08
|  | 12.003 | 2.8481e-08
|  | 12.013 | 1.2339e-08
|  | 12.023 | 3.5279e-09
|  | 12.033 | 9.8572e-11
|  | 12.043 | 1.6346e-09
|  | 12.053 | 7.3029e-09
|  | 12.063 | 1.6492e-08
|  | 12.073 | 2.9563e-08
|  | 12.083 | 4.4425e-08
|  | 12.093 | 6.1383e-08
|  | 12.103 | 8.1283e-08
|  | 12.113 | 1.0139e-07
|  | 12.122 | 1.2261e-07
|  | 12.133 | 1.4614e-07
|  | 12.143 | 1.6874e-07
|  | 12.153 | 1.9331e-07
|  | 12.163 | 2.1648e-07
|  | 12.172 | 2.3966e-07
|  | 12.183 | 2.641e-07
|  | 12.193 | 2.8667e-07
|  | 12.203 | 3.1034e-07
|  | 12.213 | 3.3178e-07
|  | 12.223 | 3.5392e-07
|  | 12.233 | 3.7403e-07
|  | 12.242 | 3.9359e-07
|  | 12.253 | 4.133e-07
|  | 12.262 | 4.3114e-07
|  | 12.273 | 4.4992e-07
|  | 12.282 | 4.6607e-07
|  | 12.293 | 4.8253e-07
|  | 12.302 | 4.9707e-07
|  | 12.313 | 5.1238e-07
|  | 12.323 | 5.2463e-07
|  | 12.333 | 5.3664e-07
|  | 12.342 | 5.473e-07
|  | 12.353 | 5.567e-07
|  | 12.362 | 5.6473e-07
|  | 12.373 | 5.7203e-07
|  | 12.382 | 5.7797e-07
|  | 12.393 | 5.8361e-07
|  | 12.402 | 5.879e-07
|  | 12.413 | 5.9199e-07
|  | 12.422 | 5.951e-07
|  | 12.433 | 5.9765e-07
|  | 12.442 | 5.9937e-07
|  | 12.452 | 6.0053e-07
|  | 12.463 | 6.0102e-07
|  | 12.472 | 6.0006e-07
|  | 12.483 | 5.9903e-07
|  | 12.492 | 5.9757e-07
|  | 12.503 | 5.9535e-07
|  | 12.513 | 5.92e-07
|  | 12.522 | 5.8922e-07
|  | 12.533 | 5.8588e-07
|  | 12.542 | 5.8223e-07
|  | 12.552 | 5.7853e-07
|  | 12.563 | 5.7452e-07
|  | 12.572 | 5.705e-07
|  | 12.583 | 5.6613e-07
|  | 12.593 | 5.6137e-07
|  | 12.602 | 5.5689e-07
|  | 12.613 | 5.5223e-07
|  | 12.622 | 5.4759e-07
|  | 12.632 | 5.4247e-07
|  | 12.643 | 5.3756e-07
|  | 12.653 | 5.3225e-07
|  | 12.662 | 5.2721e-07
|  | 12.672 | 5.2175e-07
|  | 12.683 | 5.1597e-07
|  | 12.692 | 5.1053e-07
|  | 12.702 | 5.0473e-07
|  | 12.713 | 4.9824e-07
|  | 12.722 | 4.9241e-07
|  | 12.732 | 4.864e-07
|  | 12.742 | 4.8045e-07
|  | 12.753 | 4.7428e-07
|  | 12.762 | 4.6892e-07
|  | 12.772 | 4.6355e-07
|  | 12.782 | 4.5851e-07
|  | 12.793 | 4.5342e-07
|  | 12.802 | 4.4885e-07
|  | 12.812 | 4.443e-07
|  | 12.822 | 4.3958e-07
|  | 12.832 | 4.3484e-07
|  | 12.843 | 4.3008e-07
|  | 12.852 | 4.2584e-07
|  | 12.862 | 4.2105e-07
|  | 12.872 | 4.1638e-07
|  | 12.882 | 4.1183e-07
|  | 12.892 | 4.0751e-07
|  | 12.902 | 4.0345e-07
|  | 12.912 | 3.9936e-07
|  | 12.922 | 3.955e-07
|  | 12.932 | 3.9176e-07
|  | 12.942 | 3.8802e-07
|  | 12.952 | 3.8462e-07
|  | 12.962 | 3.8111e-07
|  | 12.972 | 3.7803e-07
|  | 12.982 | 3.7495e-07
|  | 12.992 | 3.7177e-07
|  | 13.002 | 3.688e-07
|  | 13.012 | 3.6592e-07
|  | 13.022 | 3.6336e-07
|  | 13.032 | 3.6069e-07
|  | 13.042 | 3.5822e-07
|  | 13.052 | 3.5585e-07
|  | 13.062 | 3.5346e-07
|  | 13.072 | 3.5106e-07
|  | 13.082 | 3.4879e-07
|  | 13.092 | 3.4646e-07
|  | 13.102 | 3.4411e-07
|  | 13.112 | 3.4184e-07
|  | 13.122 | 3.3946e-07
|  | 13.132 | 3.3724e-07
|  | 13.142 | 3.3518e-07
|  | 13.152 | 3.33e-07
|  | 13.162 | 3.3108e-07
|  | 13.172 | 3.292e-07
|  | 13.182 | 3.2737e-07
|  | 13.192 | 3.256e-07
|  | 13.202 | 3.2386e-07
|  | 13.212 | 3.2226e-07
|  | 13.222 | 3.206e-07
|  | 13.232 | 3.1906e-07
|  | 13.242 | 3.1764e-07
|  | 13.252 | 3.1607e-07
|  | 13.262 | 3.1468e-07
|  | 13.272 | 3.1323e-07
|  | 13.282 | 3.1188e-07
|  | 13.292 | 3.1061e-07
|  | 13.302 | 3.0927e-07
|  | 13.312 | 3.0792e-07
|  | 13.322 | 3.0692e-07
|  | 13.332 | 3.0572e-07
|  | 13.342 | 3.0461e-07
|  | 13.352 | 3.0339e-07
|  | 13.362 | 3.0248e-07
|  | 13.372 | 3.0138e-07
|  | 13.382 | 3.0017e-07
|  | 13.392 | 2.9884e-07
|  | 13.402 | 2.9732e-07
|  | 13.412 | 2.9584e-07
|  | 13.422 | 2.9373e-07
|  | 13.432 | 2.9177e-07
|  | 13.442 | 2.8984e-07
|  | 13.452 | 2.8779e-07
|  | 13.462 | 2.8554e-07
|  | 13.472 | 2.8337e-07
|  | 13.482 | 2.8125e-07
|  | 13.492 | 2.794e-07
|  | 13.502 | 2.7742e-07
|  | 13.512 | 2.7545e-07
|  | 13.522 | 2.7351e-07
|  | 13.532 | 2.7157e-07
|  | 13.542 | 2.6948e-07
|  | 13.551 | 2.674e-07
|  | 13.562 | 2.6517e-07
|  | 13.572 | 2.6287e-07
|  | 13.582 | 2.6042e-07
|  | 13.592 | 2.5789e-07
|  | 13.602 | 2.553e-07
|  | 13.612 | 2.5264e-07
|  | 13.621 | 2.4991e-07
|  | 13.632 | 2.47e-07
|  | 13.642 | 2.4419e-07
|  | 13.651 | 2.4125e-07
|  | 13.662 | 2.3804e-07
|  | 13.672 | 2.3482e-07
|  | 13.682 | 2.3127e-07
|  | 13.692 | 2.2773e-07
|  | 13.701 | 2.2395e-07
|  | 13.712 | 2.1985e-07
|  | 13.722 | 2.1597e-07
|  | 13.731 | 2.1146e-07
|  | 13.742 | 2.0706e-07
|  | 13.751 | 2.0291e-07
|  | 13.762 | 1.9791e-07
|  | 13.772 | 1.9399e-07
|  | 13.782 | 1.898e-07
|  | 13.792 | 1.8582e-07
|  | 13.801 | 1.8168e-07
|  | 13.812 | 1.7776e-07
|  | 13.821 | 1.7405e-07
|  | 13.832 | 1.7018e-07
|  | 13.841 | 1.6646e-07
|  | 13.852 | 1.6252e-07
|  | 13.861 | 1.5899e-07
|  | 13.872 | 1.5498e-07
|  | 13.881 | 1.5112e-07
|  | 13.892 | 1.4698e-07
|  | 13.901 | 1.4318e-07
|  | 13.912 | 1.3902e-07
|  | 13.921 | 1.3499e-07
|  | 13.932 | 1.3072e-07
|  | 13.941 | 1.2672e-07
|  | 13.951 | 1.225e-07
|  | 13.962 | 1.1831e-07
|  | 13.971 | 1.1439e-07
|  | 13.982 | 1.1026e-07
|  | 13.991 | 1.0646e-07
|  | 14.001 | 1.0262e-07
|  | 14.012 | 9.8665e-08
|  | 14.021 | 9.5016e-08
|  | 14.032 | 9.1275e-08
|  | 14.041 | 8.7703e-08
|  | 14.051 | 8.3953e-08
|  | 14.062 | 8.0279e-08
|  | 14.071 | 7.6754e-08
|  | 14.081 | 7.3099e-08
|  | 14.092 | 6.95e-08
|  | 14.101 | 6.609e-08
|  | 14.111 | 6.2566e-08
|  | 14.122 | 5.9135e-08
|  | 14.131 | 5.5896e-08
|  | 14.141 | 5.2619e-08
|  | 14.151 | 4.9454e-08
|  | 14.162 | 4.6395e-08
|  | 14.171 | 4.3508e-08
|  | 14.181 | 4.0709e-08
|  | 14.191 | 3.8014e-08
|  | 14.202 | 3.5377e-08
|  | 14.211 | 3.3037e-08
|  | 14.221 | 3.0733e-08
|  | 14.231 | 2.8521e-08
|  | 14.241 | 2.6441e-08
|  | 14.251 | 2.453e-08
|  | 14.261 | 2.2612e-08
|  | 14.271 | 2.0839e-08
|  | 14.281 | 1.9091e-08
|  | 14.291 | 1.7433e-08
|  | 14.301 | 1.5837e-08
|  | 14.311 | 1.4407e-08
|  | 14.321 | 1.2982e-08
|  | 14.331 | 1.1648e-08
|  | 14.341 | 1.0365e-08
|  | 14.351 | 9.1906e-09
|  | 14.361 | 8.108e-09
|  | 14.371 | 7.0987e-09
|  | 14.381 | 6.1862e-09
|  | 14.391 | 5.3536e-09
|  | 14.401 | 4.6393e-09
|  | 14.411 | 3.948e-09
|  | 14.421 | 3.3328e-09
|  | 14.431 | 2.7834e-09
|  | 14.441 | 2.2941e-09
|  | 14.451 | 1.8659e-09
|  | 14.461 | 1.4927e-09
|  | 14.471 | 1.1698e-09
|  | 14.481 | 8.9629e-10
|  | 14.491 | 6.6707e-10
|  | 14.501 | 4.7845e-10
|  | 14.511 | 3.2653e-10
|  | 14.521 | 2.0834e-10
|  | 14.531 | 1.2017e-10
|  | 14.541 | 5.8613e-11
|  | 14.551 | 2.0405e-11
|  | 14.561 | 2.3962e-12
|  | 14.571 | 1.9836e-12
|  | 14.581 | 1.6158e-11
|  | 14.591 | 4.1655e-11
|  | 14.601 | 7.5853e-11
|  | 14.611 | 1.1619e-10
|  | 14.621 | 1.6045e-10
|  | 14.631 | 2.065e-10
|  | 14.641 | 2.5215e-10
|  | 14.651 | 2.9625e-10
|  | 14.661 | 3.3937e-10
|  | 14.671 | 3.7529e-10
|  | 14.681 | 4.0523e-10
|  | 14.691 | 4.2892e-10
|  | 14.701 | 4.4595e-10
|  | 14.711 | 4.558e-10
|  | 14.721 | 4.5719e-10
|  | 14.731 | 4.5041e-10
|  | 14.741 | 4.3714e-10
|  | 14.751 | 4.158e-10
|  | 14.761 | 3.859e-10
|  | 14.771 | 3.5174e-10
|  | 14.781 | 3.1292e-10
|  | 14.791 | 2.7016e-10
|  | 14.801 | 2.2267e-10
|  | 14.811 | 1.775e-10
|  | 14.821 | 1.3329e-10
|  | 14.831 | 9.006e-11
|  | 14.841 | 5.461e-11
|  | 14.851 | 2.6411e-11
|  | 14.861 | 6.7656e-12
|  | 14.871 | 3.8078e-15
|  | 14.881 | 6.8062e-12
|  | 14.891 | 3.1063e-11
|  | 14.901 | 7.2171e-11
|  | 14.911 | 1.328e-10
|  | 14.921 | 2.2043e-10
|  | 14.931 | 3.2701e-10
|  | 14.941 | 4.6677e-10
|  | 14.951 | 6.2382e-10
|  | 14.96 | 8.0819e-10
|  | 14.971 | 1.0333e-09
|  | 14.981 | 1.2718e-09
|  | 14.991 | 1.5559e-09
|  | 15.001 | 1.852e-09
|  | 15.011 | 2.1947e-09
|  | 15.021 | 2.5376e-09
|  | 15.031 | 2.9384e-09
|  | 15.041 | 3.3449e-09
|  | 15.051 | 3.8006e-09
|  | 15.06 | 4.2502e-09
|  | 15.071 | 4.7443e-09
|  | 15.08 | 5.259e-09
|  | 15.091 | 5.7984e-09
|  | 15.101 | 6.346e-09
|  | 15.111 | 6.867e-09
|  | 15.121 | 7.4355e-09
|  | 15.13 | 7.9422e-09
|  | 15.141 | 8.4598e-09
|  | 15.151 | 8.9793e-09
|  | 15.161 | 9.4037e-09
|  | 15.171 | 9.8039e-09
|  | 15.18 | 1.0135e-08
|  | 15.191 | 1.0439e-08
|  | 15.201 | 1.0661e-08
|  | 15.21 | 1.0777e-08
|  | 15.22 | 1.0805e-08
|  | 15.231 | 1.0754e-08
|  | 15.241 | 1.0608e-08
|  | 15.25 | 1.0346e-08
|  | 15.261 | 9.9888e-09
|  | 15.271 | 9.5306e-09
|  | 15.281 | 8.9729e-09
|  | 15.29 | 8.3392e-09
|  | 15.3 | 7.6117e-09
|  | 15.311 | 6.8056e-09
|  | 15.321 | 5.9236e-09
|  | 15.33 | 5.0588e-09
|  | 15.34 | 4.1267e-09
|  | 15.35 | 3.1978e-09
|  | 15.36 | 2.3022e-09
|  | 15.371 | 1.4825e-09
|  | 15.381 | 7.8814e-10
|  | 15.391 | 2.7792e-10
|  | 15.4 | 2.4191e-11
|  | 15.41 | 7.3835e-11
|  | 15.42 | 5.4122e-10
|  | 15.43 | 1.5309e-09
|  | 15.44 | 3.1624e-09
|  | 15.45 | 5.5711e-09
|  | 15.46 | 8.9251e-09
|  | 15.47 | 1.3375e-08
|  | 15.48 | 1.9125e-08
|  | 15.49 | 2.6436e-08
|  | 15.5 | 3.5473e-08
|  | 15.51 | 4.6541e-08
|  | 15.52 | 6.0004e-08
|  | 15.53 | 7.6035e-08
|  | 15.54 | 9.508e-08
|  | 15.55 | 1.175e-07
|  | 15.56 | 1.4392e-07
|  | 15.57 | 1.7441e-07
|  | 15.58 | 2.0963e-07
|  | 15.59 | 2.5024e-07
|  | 15.6 | 2.9671e-07
|  | 15.61 | 3.4977e-07
|  | 15.621 | 4.1357e-07
|  | 15.63 | 4.8214e-07
|  | 15.64 | 5.5972e-07
|  | 15.65 | 6.469e-07
|  | 15.66 | 7.4497e-07
|  | 15.67 | 8.5459e-07
|  | 15.68 | 9.8452e-07
|  | 15.69 | 1.1218e-06
|  | 15.7 | 1.2745e-06
|  | 15.71 | 1.4444e-06
|  | 15.72 | 1.6325e-06
|  | 15.73 | 1.8523e-06
|  | 15.74 | 2.0826e-06
|  | 15.75 | 2.337e-06
|  | 15.76 | 2.6161e-06
|  | 15.77 | 2.9414e-06
|  | 15.78 | 3.2793e-06
|  | 15.79 | 3.6493e-06
|  | 15.8 | 4.0763e-06
|  | 15.81 | 4.5188e-06
|  | 15.82 | 4.9999e-06
|  | 15.83 | 5.5526e-06
|  | 15.84 | 6.1251e-06
|  | 15.85 | 6.7803e-06
|  | 15.86 | 7.4425e-06
|  | 15.87 | 8.1697e-06
|  | 15.88 | 9.0027e-06
|  | 15.89 | 9.8566e-06
|  | 15.9 | 1.0822e-05
|  | 15.91 | 1.1823e-05
|  | 15.92 | 1.2966e-05
|  | 15.93 | 1.4117e-05
|  | 15.94 | 1.545e-05
|  | 15.95 | 1.6829e-05
|  | 15.96 | 1.8403e-05
|  | 15.97 | 2.0004e-05
|  | 15.98 | 2.1824e-05
|  | 15.99 | 2.3678e-05
|  | 16 | 2.5839e-05