## T150366
SN: | T150366
Item #: | MP2LF2
Item Description: | 2x1 Multimode Combiner
Input Fiber Type: | MM-S105/125-22A
Output Fiber Type: | MM-S200/220-22A
| Test Wavelength (nm) | Transfer Efficiency (%)
Input 1 (White) | 975 | 97.1
Input 2 (Red) | 975 | 97.4