## Frequency
TIA60
|  | Frequency (Hz) | Relative Gain (dB)
|  | 100000 | -0.03016
|  | 103029.039 | -0.03079
|  | 106058.078 | -0.03137
|  | 109087.1171 | 0.05043
Product Raw Data |  | 112116.1561 | -0.0332
PMT Transimpedance Amplifier |  | 115145.1951 | 0.05955
|  | 118174.2341 | 0.00374
Item # | TIA60 | 121203.2731 | -0.04302
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 124232.3121 | 0.0267
|  | 127261.3512 | -0.01471
|  | 130290.3902 | 0.01286
|  | 133319.4292 | 0.01819
|  | 136348.4682 | -0.01939
|  | 139917.2042 | -0.01912
This data may be used in publications. However, please cite Thorlabs as the source. |  | 144098.2809 | -0.05348
|  | 148279.3576 | 0.023
|  | 152460.4343 | 0.0399
Additional Information: |  | 156641.511 | 0.04262
All data presented here has been measured. |  | 160822.5877 | -0.00176
|  | 165003.6644 | -0.00884
|  | 169184.7411 | -0.00306
|  | 173365.8178 | 0.00955
|  | 177546.8945 | -0.00020798
|  | 181727.9712 | -0.01366
|  | 185909.0479 | -0.00189
|  | 190774.9647 | 0.05598
|  | 196553.6128 | -0.00684
|  | 202332.2609 | -0.00369
|  | 208110.9091 | -0.01094
|  | 213889.5572 | -0.02246
|  | 219668.2053 | 0.08226
|  | 225446.8534 | 0.01253
|  | 231225.5015 | 0.00965
|  | 237004.1496 | 0.02169
|  | 242782.7978 | 0.01025
|  | 248561.4459 | -0.02812
|  | 254340.094 | 0.00446
|  | 260118.7421 | -0.04215
|  | 266926.9969 | -0.0245
|  | 274903.4445 | -0.06104
|  | 282879.8921 | -0.00115
|  | 290856.3397 | -0.00384
|  | 298832.7873 | -0.02835
|  | 306809.2349 | -0.00029985
|  | 314785.6825 | 0.02965
|  | 322762.1301 | -0.0449
|  | 330738.5776 | 0.00244
|  | 338715.0252 | 0.07266
|  | 346691.4728 | 0.03525
|  | 354667.9204 | -0.0206
|  | 363950.8716 | 0.04856
|  | 374975.0855 | -0.04783
|  | 385999.2994 | 0.07569
|  | 397023.5133 | -0.00362
|  | 408047.7272 | -0.06302
|  | 419071.9411 | 0.06395
|  | 430096.155 | 0.03713
|  | 441120.3689 | 0.04159
|  | 452144.5828 | 0.01724
|  | 463168.7967 | -0.04467
|  | 474193.0106 | 0.0259
|  | 485217.2245 | -0.02901
|  | 496241.4385 | 0.01033
|  | 509229.8842 | -0.04662
|  | 524446.9493 | 0.03757
|  | 539664.0143 | -0.0318
|  | 554881.0794 | 0.04367
|  | 570098.1445 | 0.03759
|  | 585315.2096 | 0.0795
|  | 600532.2746 | 0.02405
|  | 615749.3397 | 0.0314
|  | 630966.4048 | -0.04288
|  | 646183.4698 | 0.05765
|  | 661400.5349 | -0.03287
|  | 676617.6 | 0.04834
|  | 694327.1468 | -0.03858
|  | 715358.587 | 0.06336
|  | 736390.0272 | 0.01965
|  | 757421.4674 | 0.10045
|  | 778452.9075 | 0.04251
|  | 799484.3477 | 0.01582
|  | 820515.7879 | -0.08969
|  | 841547.2281 | -0.00809
|  | 862578.6683 | 0.08037
|  | 883610.1085 | 0.0124
|  | 904641.5487 | 0.04195
|  | 925672.9889 | 0.07732
|  | 946704.4291 | 0.03412
|  | 971483.1318 | -0.05784
|  | 1000510 | -0.01892
|  | 1029540 | 0.01969
|  | 1058570 | 0.05474
|  | 1087600 | 0.05912
|  | 1116630 | -0.03615
|  | 1145670 | -0.04183
|  | 1174700 | 0.01674
|  | 1203730 | -0.03943
|  | 1232760 | -0.00299
|  | 1261790 | -0.05514
|  | 1290820 | 0.07421
|  | 1324600 | 0.01733
|  | 1364730 | -0.00405
|  | 1404850 | -0.0472
|  | 1444970 | -0.02448
|  | 1485090 | -0.05309
|  | 1525220 | 0.00768
|  | 1565340 | 0.02355
|  | 1605460 | 0.0224
|  | 1645580 | -0.0385
|  | 1685710 | -0.00506
|  | 1725830 | -0.01324
|  | 1765950 | 0.05022
|  | 1806080 | 0.01816
|  | 1853350 | -0.00534
|  | 1908730 | 0.00444
|  | 1964110 | 0.00032253
|  | 2019490 | 0.01407
|  | 2074880 | -0.03544
|  | 2130260 | 0.04881
|  | 2185640 | -0.01289
|  | 2241030 | -0.02867
|  | 2296410 | -0.14518
|  | 2351790 | 0.00228
|  | 2407170 | 0.06157
|  | 2462560 | 0.00177
|  | 2527010 | -0.0056
|  | 2603550 | 0.01537
|  | 2680100 | -0.0178
|  | 2756640 | -0.01874
|  | 2833190 | 0.03406
|  | 2909730 | 0.08267
|  | 2986270 | 0.02255
|  | 3062820 | 0.0155
|  | 3139360 | 0.01294
|  | 3215910 | -0.14874
|  | 3292450 | -0.02736
|  | 3368990 | 0.11194
|  | 3445540 | 0.03525
|  | 3535720 | 0.07702
|  | 3641380 | -0.0035
|  | 3747030 | 0.03163
|  | 3852690 | 0.08707
|  | 3958350 | -0.03828
|  | 4064000 | -0.01729
|  | 4169660 | -0.0125
|  | 4275310 | -0.02825
|  | 4380970 | 0.02076
|  | 4486630 | -0.0777
|  | 4592280 | 0.1397
|  | 4697940 | 0.00789
|  | 4820900 | 0.01397
|  | 4966930 | 0.06202
|  | 5112960 | -7.773e-05
|  | 5258980 | 0.03215
|  | 5405010 | -0.05262
|  | 5551040 | -0.02389
|  | 5697060 | 0.07355
|  | 5843090 | 0.08273
|  | 5989120 | 0.10095
|  | 6135140 | -0.00296
|  | 6281170 | -0.06037
|  | 6427200 | 0.07179
|  | 6573230 | 0.04098
|  | 6745270 | 0.05472
|  | 6946840 | 0.07641
|  | 7148400 | 0.06572
|  | 7349970 | 0.08243
|  | 7551530 | 0.10271
|  | 7753100 | 0.06406
|  | 7954660 | 0.05337
|  | 8156230 | 0.03349
|  | 8357800 | 0.0787
|  | 8559360 | 0.09528
|  | 8760930 | 0.06815
|  | 8962490 | 0.09859
|  | 9197070 | 0.08566
|  | 9475660 | -0.03395
|  | 9754240 | 0.09066
|  | 10032800 | 0.15092
|  | 10311400 | 0.09793
|  | 10590000 | 0.08375
|  | 10868600 | 0.14643
|  | 11147200 | 0.14643
|  | 11425700 | 0.20457
|  | 11704300 | 0.10612
|  | 11982900 | 0.14782
|  | 12261500 | 0.14603
|  | 12540100 | 0.23392
|  | 12868300 | 0.16245
|  | 13252800 | 0.17251
|  | 13637400 | 0.11565
|  | 14021900 | 0.24568
|  | 14406400 | 0.19082
|  | 14791000 | 0.23185
|  | 15175500 | 0.26448
|  | 15560000 | 0.18
|  | 15944600 | 0.23848
|  | 16329100 | 0.21164
|  | 16713700 | 0.28929
|  | 17098200 | 0.25511
|  | 17545700 | 0.35799
|  | 18077200 | 0.35745
|  | 18608600 | 0.30063
|  | 19140100 | 0.28565
|  | 19671600 | 0.35092
|  | 20203000 | 0.34293
|  | 20734500 | 0.39256
|  | 21266000 | 0.40146
|  | 21797400 | 0.42239
|  | 22328900 | 0.42439
|  | 22860400 | 0.42086
|  | 23391800 | 0.4829
|  | 23923300 | 0.45079
|  | 24549500 | 0.4684
|  | 25283100 | 0.39424
|  | 26016700 | 0.39885
|  | 26750300 | 0.46247
|  | 27483900 | 0.50603
|  | 28217500 | 0.49354
|  | 28951100 | 0.52113
|  | 29684700 | 0.44183
|  | 30418300 | 0.51839
|  | 31151900 | 0.48689
|  | 31885500 | 0.44422
|  | 32619100 | 0.48571
|  | 33472800 | 0.44659
|  | 34486700 | 0.45286
|  | 35500600 | 0.34113
|  | 36514500 | 0.32259
|  | 37528500 | 0.23966
|  | 38542400 | 0.2327
|  | 39556300 | 0.07253
|  | 40570200 | 0.06108
|  | 41584100 | -0.02115
|  | 42598000 | -0.05163
|  | 43611900 | -0.24979
|  | 44625800 | -0.27824
|  | 45639700 | -0.39631
|  | 46834200 | -0.53511
|  | 48233800 | -0.69028
|  | 49633300 | -0.89862
|  | 51032800 | -1.1144
|  | 52432300 | -1.293
|  | 53831900 | -1.6159
|  | 55231400 | -1.7635
|  | 56630900 | -2.0226
|  | 58030400 | -2.2908
|  | 59430000 | -2.6299
|  | 60829500 | -2.9044
|  | 62229000 | -3.17
|  | 63857800 | -3.4613
|  | 65792100 | -3.7826
|  | 67726300 | -4.136
|  | 69660600 | -4.5833
|  | 71594900 | -4.8662
|  | 73529200 | -5.3541
|  | 75463400 | -5.6866
|  | 77397700 | -6.0647
|  | 79332000 | -6.4275
|  | 81266300 | -6.7577
|  | 83200600 | -7.1419
|  | 85134800 | -7.5151
|  | 87069100 | -7.8414
|  | 89348000 | -8.2433
|  | 92018000 | -8.6606
|  | 94687900 | -9.1176
|  | 97357800 | -9.5475
|  | 100028000 | -9.9848
|  | 102698000 | -10.3239
|  | 105368000 | -10.7506
|  | 108038000 | -11.1554
|  | 110708000 | -11.5614
|  | 113378000 | -11.9387
|  | 116047000 | -12.2046
|  | 118717000 | -12.5781
|  | 121825000 | -12.9486
|  | 125515000 | -13.4433
|  | 129205000 | -13.8873
|  | 132895000 | -14.256
|  | 136585000 | -14.7686
|  | 140275000 | -15.1886
|  | 143965000 | -15.4834
|  | 147655000 | -16.0284
|  | 151346000 | -16.1899
|  | 155036000 | -16.6303
|  | 158726000 | -17.1025
|  | 162416000 | -17.257
|  | 166106000 | -17.5791
|  | 170454000 | -17.9205
|  | 175547000 | -18.4982
|  | 180641000 | -19.2087
|  | 185734000 | -19.9212
|  | 190828000 | -20.2864
|  | 195922000 | -20.7781
|  | 201015000 | -21.2014
|  | 206109000 | -21.6109
|  | 211202000 | -22.0131
|  | 216296000 | -22.5008
|  | 221389000 | -22.8079
|  | 226483000 | -23.2685
|  | 232411000 | -23.6604
|  | 239451000 | -24.3425
|  | 246491000 | -24.9477
|  | 253530000 | -25.6759
|  | 260570000 | -26.2208
|  | 267610000 | -26.993
|  | 274650000 | -27.524
|  | 281690000 | -28.1171
|  | 288729000 | -28.8417
|  | 295769000 | -29.6119
|  | 302809000 | -30.3227
|  | 309849000 | -30.7869
|  | 316889000 | -30.9913
|  | 325183000 | -31.7324
|  | 334900000 | -32.4836
|  | 344617000 | -32.7665
|  | 354335000 | -33.6856
|  | 364052000 | -33.7559
|  | 373769000 | -34.1635
|  | 383487000 | -34.4659
|  | 393204000 | -34.783
|  | 402921000 | -34.9229
|  | 412638000 | -35.2757
|  | 422356000 | -35.3762
|  | 432073000 | -35.6636
|  | 443382000 | -35.888
|  | 456812000 | -36.2495
|  | 470242000 | -36.8589
|  | 483673000 | -37.4134
|  | 497103000 | -38.0181
|  | 510533000 | -38.9292
|  | 523963000 | -40.9757
|  | 537393000 | -42.2178
|  | 550824000 | -44.0698
|  | 564254000 | -45.6567
|  | 577684000 | -49.2733
|  | 591114000 | -50.4808
|  | 604544000 | -55.1088
|  | 620368000 | -55.6005
|  | 638906000 | -69.3608
|  | 657444000 | -76.4312
|  | 675982000 | -68.5634
|  | 694520000 | -68.8846
|  | 713058000 | -55.7743
|  | 731596000 | -68.0286
|  | 750135000 | -57.5404
|  | 768673000 | -59.6241
|  | 787211000 | -59.4396
|  | 805749000 | -58.3618
|  | 824287000 | -60.0402
|  | 845862000 | -57.0837
|  | 871483000 | -57.4661
|  | 897105000 | -54.6559
|  | 922726000 | -52.0094
|  | 948348000 | -55.3844
|  | 973969000 | -55.6078
|  | 999591000 | -60.7701
|  | 1025210000 | -56.4361
|  | 1050830000 | -54.5948
|  | 1076450000 | -55.81
|  | 1102080000 | -59.3157
|  | 1127700000 | -58.6432
|  | 1153320000 | -58.4067
|  | 1183510000 | -58.7138
|  | 1218870000 | -58.0222
|  | 1254240000 | -59.6236
|  | 1289600000 | -60.0325
|  | 1324970000 | -67.7984
|  | 1360340000 | -61
|  | 1395700000 | -67.3239
|  | 1431070000 | -62.2738
|  | 1466440000 | -57.2133
|  | 1501800000 | -63.2189
|  | 1537170000 | -60.1743
|  | 1572530000 | -57.7449
|  | 1613690000 | -63.7611
|  | 1662570000 | -61.9476
|  | 1711450000 | -55.4078
|  | 1760330000 | -52.945
|  | 1809210000 | -53.5979
|  | 1858090000 | -50.7971
|  | 1906970000 | -57.7939
|  | 1955850000 | -61.6961
|  | 2004730000 | -57.1524
|  | 2053610000 | -56.2993
|  | 2102490000 | -60.3561
|  | 2151370000 | -59.9213
|  | 2200240000 | -66.819
|  | 2257830000 | -61.1433
|  | 2325300000 | -64.3402
|  | 2392770000 | -55.9926
|  | 2460240000 | -62.3969
|  | 2527710000 | -59.0569
|  | 2595180000 | -50.1377
|  | 2662650000 | -62.9008
|  | 2730120000 | -47.9577
|  | 2797590000 | -41.1309
|  | 2865060000 | -50.5891
|  | 2932530000 | -54.4415
|  | 3000000000 | -62.764

## Current Noise
TIA60
|  | Frequency (Hz) | Group Delay Variation (ns)
|  | 0 | 28.0579
|  | 100000 | 10.9404
|  | 200000 | 4.7253
|  | 300000 | 4.6855
Product Raw Data |  | 400000 | 4.6854
PMT Transimpedance Amplifier |  | 500000 | 4.6717
|  | 600000 | 4.673
Item # | TIA60 | 700000 | 4.6674
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 800000 | 4.6596
|  | 900000 | 4.669
|  | 1000000 | 4.6907
|  | 1100000 | 4.7039
|  | 1200000 | 4.726
|  | 1300000 | 4.7478
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1400000 | 4.7461
|  | 1500000 | 4.7496
|  | 1600000 | 4.7216
Additional Information: |  | 1700000 | 4.7368
All data presented here has been measured. |  | 1800000 | 4.7249
|  | 1900000 | 4.7176
|  | 2000000 | 4.7188
|  | 2100000 | 4.7103
|  | 2200000 | 4.7075
|  | 2300000 | 4.7084
|  | 2400000 | 4.7109
|  | 2500000 | 4.7321
|  | 2600000 | 4.7357
|  | 2700000 | 4.7238
|  | 2800000 | 4.7479
|  | 2900000 | 4.7338
|  | 3000000 | 4.7395
|  | 3100000 | 4.7522
|  | 3200000 | 4.738
|  | 3300000 | 4.7239
|  | 3400000 | 4.6919
|  | 3500000 | 4.6744
|  | 3600000 | 4.7041
|  | 3700000 | 4.6995
|  | 3800000 | 4.6899
|  | 3900000 | 4.7173
|  | 4000000 | 4.7291
|  | 4100000 | 4.7308
|  | 4200000 | 4.7698
|  | 4300000 | 4.8036
|  | 4400000 | 4.8438
|  | 4500000 | 4.8431
|  | 4600000 | 4.8482
|  | 4700000 | 4.8879
|  | 4800000 | 4.9185
|  | 4900000 | 4.9034
|  | 5000000 | 4.886
|  | 5100000 | 4.902
|  | 5200000 | 4.9013
|  | 5300000 | 4.8876
|  | 5400000 | 4.8832
|  | 5500000 | 4.9031
|  | 5600000 | 4.8876
|  | 5700000 | 4.8864
|  | 5800000 | 4.8859
|  | 5900000 | 4.9185
|  | 6000000 | 4.9646
|  | 6100000 | 4.9589
|  | 6200000 | 4.9398
|  | 6300000 | 4.9468
|  | 6400000 | 4.9667
|  | 6500000 | 4.9843
|  | 6600000 | 5.0065
|  | 6700000 | 5.0127
|  | 6800000 | 5.0438
|  | 6900000 | 5.0523
|  | 7000000 | 5.0396
|  | 7100000 | 5.0581
|  | 7200000 | 5.1003
|  | 7300000 | 5.1146
|  | 7400000 | 5.1018
|  | 7500000 | 5.0962
|  | 7600000 | 5.1073
|  | 7700000 | 5.0868
|  | 7800000 | 5.077
|  | 7900000 | 5.057
|  | 8000000 | 5.0403
|  | 8100000 | 5.0186
|  | 8200000 | 4.9963
|  | 8300000 | 5.0318
|  | 8400000 | 5.0764
|  | 8500000 | 5.072
|  | 8600000 | 5.0705
|  | 8700000 | 5.0833
|  | 8800000 | 5.084
|  | 8900000 | 5.0938
|  | 9000000 | 5.1135
|  | 9100000 | 5.1352
|  | 9200000 | 5.15
|  | 9300000 | 5.111
|  | 9400000 | 5.085
|  | 9500000 | 5.0853
|  | 9600000 | 5.0894
|  | 9700000 | 5.1014
|  | 9800000 | 5.0893
|  | 9900000 | 5.0717
|  | 10000000 | 5.0664
|  | 10100000 | 5.0513
|  | 10200000 | 5.0679
|  | 10300000 | 5.0892
|  | 10400000 | 5.0845
|  | 10500000 | 5.1114
|  | 10600000 | 5.121
|  | 10700000 | 5.1209
|  | 10800000 | 5.1381
|  | 10900000 | 5.1531
|  | 11000000 | 5.1517
|  | 11100000 | 5.1589
|  | 11200000 | 5.1494
|  | 11300000 | 5.1459
|  | 11400000 | 5.1611
|  | 11500000 | 5.1676
|  | 11600000 | 5.1625
|  | 11700000 | 5.1861
|  | 11800000 | 5.1991
|  | 11900000 | 5.2242
|  | 12000000 | 5.2629
|  | 12100000 | 5.2697
|  | 12200000 | 5.2763
|  | 12300000 | 5.279
|  | 12400000 | 5.3054
|  | 12500000 | 5.3111
|  | 12600000 | 5.3296
|  | 12700000 | 5.3475
|  | 12800000 | 5.369
|  | 12900000 | 5.4046
|  | 13000000 | 5.4101
|  | 13100000 | 5.4381
|  | 13200000 | 5.4579
|  | 13300000 | 5.4746
|  | 13400000 | 5.4834
|  | 13500000 | 5.4997
|  | 13600000 | 5.5251
|  | 13700000 | 5.4889
|  | 13800000 | 5.467
|  | 13900000 | 5.4582
|  | 14000000 | 5.4531
|  | 14100000 | 5.4618
|  | 14200000 | 5.462
|  | 14300000 | 5.4738
|  | 14400000 | 5.4646
|  | 14500000 | 5.4347
|  | 14600000 | 5.4165
|  | 14700000 | 5.4431
|  | 14800000 | 5.4567
|  | 14900000 | 5.4665
|  | 15000000 | 5.4832
|  | 15100000 | 5.4881
|  | 15200000 | 5.5214
|  | 15300000 | 5.5449
|  | 15400000 | 5.5631
|  | 15500000 | 5.5898
|  | 15600000 | 5.6063
|  | 15700000 | 5.6222
|  | 15800000 | 5.6402
|  | 15900000 | 5.6071
|  | 16000000 | 5.5873
|  | 16100000 | 5.5989
|  | 16200000 | 5.6029
|  | 16300000 | 5.5845
|  | 16400000 | 5.5824
|  | 16500000 | 5.5926
|  | 16600000 | 5.5917
|  | 16700000 | 5.6005
|  | 16800000 | 5.593
|  | 16900000 | 5.6161
|  | 17000000 | 5.6247
|  | 17100000 | 5.6266
|  | 17200000 | 5.6076
|  | 17300000 | 5.6198
|  | 17400000 | 5.6163
|  | 17500000 | 5.6157
|  | 17600000 | 5.6414
|  | 17700000 | 5.6596
|  | 17800000 | 5.6729
|  | 17900000 | 5.6858
|  | 18000000 | 5.7127
|  | 18100000 | 5.717
|  | 18200000 | 5.74
|  | 18300000 | 5.7536
|  | 18400000 | 5.7717
|  | 18500000 | 5.7891
|  | 18600000 | 5.758
|  | 18700000 | 5.754
|  | 18800000 | 5.7841
|  | 18900000 | 5.785
|  | 19000000 | 5.7854
|  | 19100000 | 5.834
|  | 19200000 | 5.8317
|  | 19300000 | 5.8178
|  | 19400000 | 5.818
|  | 19500000 | 5.8278
|  | 19600000 | 5.8674
|  | 19700000 | 5.8864
|  | 19800000 | 5.8788
|  | 19900000 | 5.9001
|  | 20000000 | 5.919
|  | 20100000 | 5.8811
|  | 20200000 | 5.889
|  | 20300000 | 5.9044
|  | 20400000 | 5.9039
|  | 20500000 | 5.9191
|  | 20600000 | 5.921
|  | 20700000 | 5.9384
|  | 20800000 | 5.9523
|  | 20900000 | 5.9711
|  | 21000000 | 5.9551
|  | 21100000 | 5.983
|  | 21200000 | 5.9934
|  | 21300000 | 6.0216
|  | 21400000 | 6.0588
|  | 21500000 | 6.046
|  | 21600000 | 6.0586
|  | 21700000 | 6.056
|  | 21800000 | 6.0507
|  | 21900000 | 6.0441
|  | 22000000 | 6.0584
|  | 22100000 | 6.0287
|  | 22200000 | 6.0345
|  | 22300000 | 6.0213
|  | 22400000 | 5.9951
|  | 22500000 | 6.0034
|  | 22600000 | 5.9808
|  | 22700000 | 5.967
|  | 22800000 | 5.9612
|  | 22900000 | 5.9614
|  | 23000000 | 5.9476
|  | 23100000 | 5.9748
|  | 23200000 | 5.9699
|  | 23300000 | 5.9603
|  | 23400000 | 5.9679
|  | 23500000 | 5.9699
|  | 23600000 | 5.9968
|  | 23700000 | 6.0221
|  | 23800000 | 6.0375
|  | 23900000 | 6.0358
|  | 24000000 | 6.0674
|  | 24100000 | 6.055
|  | 24200000 | 6.0651
|  | 24300000 | 6.0859
|  | 24400000 | 6.0982
|  | 24500000 | 6.1009
|  | 24600000 | 6.0828
|  | 24700000 | 6.0818
|  | 24800000 | 6.0838
|  | 24900000 | 6.079
|  | 25000000 | 6.0829
|  | 25100000 | 6.0974
|  | 25200000 | 6.1001
|  | 25300000 | 6.0942
|  | 25400000 | 6.1203
|  | 25500000 | 6.1387
|  | 25600000 | 6.1655
|  | 25700000 | 6.1632
|  | 25800000 | 6.1715
|  | 25900000 | 6.2153
|  | 26000000 | 6.2303
|  | 26100000 | 6.2377
|  | 26200000 | 6.2394
|  | 26300000 | 6.248
|  | 26400000 | 6.2438
|  | 26500000 | 6.2379
|  | 26600000 | 6.222
|  | 26700000 | 6.2156
|  | 26800000 | 6.197
|  | 26900000 | 6.1886
|  | 27000000 | 6.1817
|  | 27100000 | 6.2035
|  | 27200000 | 6.2141
|  | 27300000 | 6.2215
|  | 27400000 | 6.2143
|  | 27500000 | 6.2131
|  | 27600000 | 6.2496
|  | 27700000 | 6.2953
|  | 27800000 | 6.341
|  | 27900000 | 6.3194
|  | 28000000 | 6.2889
|  | 28100000 | 6.2535
|  | 28200000 | 6.2394
|  | 28300000 | 6.2317
|  | 28400000 | 6.2431
|  | 28500000 | 6.2528
|  | 28600000 | 6.2239
|  | 28700000 | 6.1847
|  | 28800000 | 6.1567
|  | 28900000 | 6.1938
|  | 29000000 | 6.2057
|  | 29100000 | 6.2569
|  | 29200000 | 6.2729
|  | 29300000 | 6.2861
|  | 29400000 | 6.2821
|  | 29500000 | 6.2627
|  | 29600000 | 6.2796
|  | 29700000 | 6.32
|  | 29800000 | 6.3372
|  | 29900000 | 6.317
|  | 30000000 | 6.3353
|  | 30100000 | 6.3118
|  | 30200000 | 6.3065
|  | 30300000 | 6.3137
|  | 30400000 | 6.3204
|  | 30500000 | 6.332
|  | 30600000 | 6.3297
|  | 30700000 | 6.3061
|  | 30800000 | 6.3265
|  | 30900000 | 6.3394
|  | 31000000 | 6.349
|  | 31100000 | 6.3457
|  | 31200000 | 6.3414
|  | 31300000 | 6.3481
|  | 31400000 | 6.3476
|  | 31500000 | 6.3733
|  | 31600000 | 6.3774
|  | 31700000 | 6.3761
|  | 31800000 | 6.3623
|  | 31900000 | 6.3433
|  | 32000000 | 6.3568
|  | 32100000 | 6.3884
|  | 32200000 | 6.414
|  | 32300000 | 6.4056
|  | 32400000 | 6.4082
|  | 32500000 | 6.3915
|  | 32600000 | 6.3815
|  | 32700000 | 6.3998
|  | 32800000 | 6.4001
|  | 32900000 | 6.4249
|  | 33000000 | 6.4183
|  | 33100000 | 6.4081
|  | 33200000 | 6.442
|  | 33300000 | 6.4613
|  | 33400000 | 6.4555
|  | 33500000 | 6.4649
|  | 33600000 | 6.4644
|  | 33700000 | 6.4581
|  | 33800000 | 6.4773
|  | 33900000 | 6.4857
|  | 34000000 | 6.4929
|  | 34100000 | 6.5017
|  | 34200000 | 6.4672
|  | 34300000 | 6.4545
|  | 34400000 | 6.464
|  | 34500000 | 6.456
|  | 34600000 | 6.4844
|  | 34700000 | 6.4889
|  | 34800000 | 6.4912
|  | 34900000 | 6.5054
|  | 35000000 | 6.4821
|  | 35100000 | 6.4526
|  | 35200000 | 6.4565
|  | 35300000 | 6.4561
|  | 35400000 | 6.4784
|  | 35500000 | 6.5001
|  | 35600000 | 6.5045
|  | 35700000 | 6.5132
|  | 35800000 | 6.5261
|  | 35900000 | 6.5341
|  | 36000000 | 6.5616
|  | 36100000 | 6.5771
|  | 36200000 | 6.5657
|  | 36300000 | 6.5923
|  | 36400000 | 6.5834
|  | 36500000 | 6.5715
|  | 36600000 | 6.5587
|  | 36700000 | 6.5433
|  | 36800000 | 6.5279
|  | 36900000 | 6.5093
|  | 37000000 | 6.4956
|  | 37100000 | 6.5111
|  | 37200000 | 6.5127
|  | 37300000 | 6.5051
|  | 37400000 | 6.5154
|  | 37500000 | 6.5147
|  | 37600000 | 6.5378
|  | 37700000 | 6.5592
|  | 37800000 | 6.5494
|  | 37900000 | 6.5449
|  | 38000000 | 6.5597
|  | 38100000 | 6.5723
|  | 38200000 | 6.5806
|  | 38300000 | 6.5716
|  | 38400000 | 6.5544
|  | 38500000 | 6.558
|  | 38600000 | 6.5386
|  | 38700000 | 6.5135
|  | 38800000 | 6.5167
|  | 38900000 | 6.4932
|  | 39000000 | 6.4818
|  | 39100000 | 6.4749
|  | 39200000 | 6.4865
|  | 39300000 | 6.4992
|  | 39400000 | 6.4759
|  | 39500000 | 6.4726
|  | 39600000 | 6.4651
|  | 39700000 | 6.4992
|  | 39800000 | 6.5079
|  | 39900000 | 6.523
|  | 40000000 | 6.5542
|  | 40100000 | 6.548
|  | 40200000 | 6.5304
|  | 40300000 | 6.5095
|  | 40400000 | 6.5479
|  | 40500000 | 6.5728
|  | 40600000 | 6.5731
|  | 40700000 | 6.5566
|  | 40800000 | 6.5492
|  | 40900000 | 6.5495
|  | 41000000 | 6.5384
|  | 41100000 | 6.5438
|  | 41200000 | 6.5847
|  | 41300000 | 6.5668
|  | 41400000 | 6.5563
|  | 41500000 | 6.5391
|  | 41600000 | 6.534
|  | 41700000 | 6.5132
|  | 41800000 | 6.5112
|  | 41900000 | 6.4927
|  | 42000000 | 6.4758
|  | 42100000 | 6.4691
|  | 42200000 | 6.4236
|  | 42300000 | 6.4642
|  | 42400000 | 6.4511
|  | 42500000 | 6.4663
|  | 42600000 | 6.4887
|  | 42700000 | 6.4992
|  | 42800000 | 6.4942
|  | 42900000 | 6.5358
|  | 43000000 | 6.5451
|  | 43100000 | 6.5642
|  | 43200000 | 6.5854
|  | 43300000 | 6.5665
|  | 43400000 | 6.5679
|  | 43500000 | 6.5376
|  | 43600000 | 6.5477
|  | 43700000 | 6.5565
|  | 43800000 | 6.5813
|  | 43900000 | 6.5735
|  | 44000000 | 6.5596
|  | 44100000 | 6.5194
|  | 44200000 | 6.5165
|  | 44300000 | 6.527
|  | 44400000 | 6.5438
|  | 44500000 | 6.5569
|  | 44600000 | 6.5475
|  | 44700000 | 6.5528
|  | 44800000 | 6.52
|  | 44900000 | 6.5143
|  | 45000000 | 6.5276
|  | 45100000 | 6.5326
|  | 45200000 | 6.5414
|  | 45300000 | 6.5304
|  | 45400000 | 6.5383
|  | 45500000 | 6.5692
|  | 45600000 | 6.5889
|  | 45700000 | 6.587
|  | 45800000 | 6.5976
|  | 45900000 | 6.5877
|  | 46000000 | 6.5994
|  | 46100000 | 6.6177
|  | 46200000 | 6.5931
|  | 46300000 | 6.5961
|  | 46400000 | 6.5494
|  | 46500000 | 6.5284
|  | 46600000 | 6.5006
|  | 46700000 | 6.4922
|  | 46800000 | 6.4804
|  | 46900000 | 6.4826
|  | 47000000 | 6.4681
|  | 47100000 | 6.4446
|  | 47200000 | 6.4339
|  | 47300000 | 6.4333
|  | 47400000 | 6.4759
|  | 47500000 | 6.4758
|  | 47600000 | 6.4655
|  | 47700000 | 6.4729
|  | 47800000 | 6.4938
|  | 47900000 | 6.5179
|  | 48000000 | 6.526
|  | 48100000 | 6.5253
|  | 48200000 | 6.5549
|  | 48300000 | 6.5696
|  | 48400000 | 6.5693
|  | 48500000 | 6.5561
|  | 48600000 | 6.5428
|  | 48700000 | 6.5343
|  | 48800000 | 6.5229
|  | 48900000 | 6.4999
|  | 49000000 | 6.511
|  | 49100000 | 6.5228
|  | 49200000 | 6.5169
|  | 49300000 | 6.5055
|  | 49400000 | 6.4786
|  | 49500000 | 6.4795
|  | 49600000 | 6.4977
|  | 49700000 | 6.4977
|  | 49800000 | 6.504
|  | 49900000 | 6.4981
|  | 50000000 | 6.4887
|  | 50100000 | 6.4771
|  | 50200000 | 6.4783
|  | 50300000 | 6.4924
|  | 50400000 | 6.5235
|  | 50500000 | 6.5722
|  | 50600000 | 6.5955
|  | 50700000 | 6.5851
|  | 50800000 | 6.5539
|  | 50900000 | 6.5575
|  | 51000000 | 6.5395
|  | 51100000 | 6.5309
|  | 51200000 | 6.5281
|  | 51300000 | 6.5075
|  | 51400000 | 6.4807
|  | 51500000 | 6.4378
|  | 51600000 | 6.4283
|  | 51700000 | 6.4555
|  | 51800000 | 6.4967
|  | 51900000 | 6.4905
|  | 52000000 | 6.5122
|  | 52100000 | 6.5135
|  | 52200000 | 6.5073
|  | 52300000 | 6.5314
|  | 52400000 | 6.5265
|  | 52500000 | 6.5239
|  | 52600000 | 6.5113
|  | 52700000 | 6.4802
|  | 52800000 | 6.4749
|  | 52900000 | 6.5123
|  | 53000000 | 6.5016
|  | 53100000 | 6.5353
|  | 53200000 | 6.5397
|  | 53300000 | 6.5257
|  | 53400000 | 6.5453
|  | 53500000 | 6.5667
|  | 53600000 | 6.5613
|  | 53700000 | 6.5623
|  | 53800000 | 6.5481
|  | 53900000 | 6.5396
|  | 54000000 | 6.5286
|  | 54100000 | 6.5124
|  | 54200000 | 6.5225
|  | 54300000 | 6.5536
|  | 54400000 | 6.5592
|  | 54500000 | 6.544
|  | 54600000 | 6.5277
|  | 54700000 | 6.5195
|  | 54800000 | 6.5209
|  | 54900000 | 6.4865
|  | 55000000 | 6.5087
|  | 55100000 | 6.5177
|  | 55200000 | 6.5007
|  | 55300000 | 6.4543
|  | 55400000 | 6.4487
|  | 55500000 | 6.4584
|  | 55600000 | 6.4996
|  | 55700000 | 6.4899
|  | 55800000 | 6.4753
|  | 55900000 | 6.4829
|  | 56000000 | 6.4474
|  | 56100000 | 6.4179
|  | 56200000 | 6.4008
|  | 56300000 | 6.4139
|  | 56400000 | 6.3655
|  | 56500000 | 6.3294
|  | 56600000 | 6.305
|  | 56700000 | 6.3314
|  | 56800000 | 6.3423
|  | 56900000 | 6.332
|  | 57000000 | 6.3495
|  | 57100000 | 6.3677
|  | 57200000 | 6.3927
|  | 57300000 | 6.4027
|  | 57400000 | 6.4464
|  | 57500000 | 6.4548
|  | 57600000 | 6.4304
|  | 57700000 | 6.4139
|  | 57800000 | 6.3982
|  | 57900000 | 6.4261
|  | 58000000 | 6.4321
|  | 58100000 | 6.4279
|  | 58200000 | 6.4227
|  | 58300000 | 6.3673
|  | 58400000 | 6.3545
|  | 58500000 | 6.3575
|  | 58600000 | 6.373
|  | 58700000 | 6.3914
|  | 58800000 | 6.4228
|  | 58900000 | 6.404
|  | 59000000 | 6.4015
|  | 59100000 | 6.4074
|  | 59200000 | 6.4012
|  | 59300000 | 6.4348
|  | 59400000 | 6.4284
|  | 59500000 | 6.4227
|  | 59600000 | 6.4315
|  | 59700000 | 6.4293
|  | 59800000 | 6.4063
|  | 59900000 | 6.3854
|  | 60000000 | 6.3876
|  | 60100000 | 6.3837
|  | 60200000 | 6.3781
|  | 60300000 | 6.3738
|  | 60400000 | 6.3794
|  | 60500000 | 6.375
|  | 60600000 | 6.3688
|  | 60700000 | 6.3386
|  | 60800000 | 6.3175
|  | 60900000 | 6.3082
|  | 61000000 | 6.2873
|  | 61100000 | 6.2849
|  | 61200000 | 6.2742
|  | 61300000 | 6.2738
|  | 61400000 | 6.2824
|  | 61500000 | 6.2934
|  | 61600000 | 6.2903
|  | 61700000 | 6.3048
|  | 61800000 | 6.3195
|  | 61900000 | 6.3524
|  | 62000000 | 6.3549
|  | 62100000 | 6.3346
|  | 62200000 | 6.3277
|  | 62300000 | 6.3043
|  | 62400000 | 6.2905
|  | 62500000 | 6.2765
|  | 62600000 | 6.2831
|  | 62700000 | 6.289
|  | 62800000 | 6.2901
|  | 62900000 | 6.2883
|  | 63000000 | 6.3111
|  | 63100000 | 6.3246
|  | 63200000 | 6.3167
|  | 63300000 | 6.3209
|  | 63400000 | 6.3336
|  | 63500000 | 6.3512
|  | 63600000 | 6.3586
|  | 63700000 | 6.3632
|  | 63800000 | 6.3862
|  | 63900000 | 6.3686
|  | 64000000 | 6.3442
|  | 64100000 | 6.3421
|  | 64200000 | 6.3544
|  | 64300000 | 6.3487
|  | 64400000 | 6.3276
|  | 64500000 | 6.2852
|  | 64600000 | 6.2511
|  | 64700000 | 6.2243
|  | 64800000 | 6.2112
|  | 64900000 | 6.2153
|  | 65000000 | 6.2085
|  | 65100000 | 6.2172
|  | 65200000 | 6.229
|  | 65300000 | 6.2331
|  | 65400000 | 6.2388
|  | 65500000 | 6.2655
|  | 65600000 | 6.2771
|  | 65700000 | 6.2684
|  | 65800000 | 6.2485
|  | 65900000 | 6.2204
|  | 66000000 | 6.2183
|  | 66100000 | 6.2035
|  | 66200000 | 6.1782
|  | 66300000 | 6.2027
|  | 66400000 | 6.2196
|  | 66500000 | 6.2189
|  | 66600000 | 6.2366
|  | 66700000 | 6.2635
|  | 66800000 | 6.2533
|  | 66900000 | 6.2589
|  | 67000000 | 6.2505
|  | 67100000 | 6.2459
|  | 67200000 | 6.2622
|  | 67300000 | 6.2414
|  | 67400000 | 6.2103
|  | 67500000 | 6.2249
|  | 67600000 | 6.2131
|  | 67700000 | 6.19
|  | 67800000 | 6.2018
|  | 67900000 | 6.2226
|  | 68000000 | 6.2193
|  | 68100000 | 6.1947
|  | 68200000 | 6.1717
|  | 68300000 | 6.1815
|  | 68400000 | 6.1967
|  | 68500000 | 6.1796
|  | 68600000 | 6.1683
|  | 68700000 | 6.1786
|  | 68800000 | 6.1716
|  | 68900000 | 6.1583
|  | 69000000 | 6.1622
|  | 69100000 | 6.1881
|  | 69200000 | 6.2117
|  | 69300000 | 6.217
|  | 69400000 | 6.2088
|  | 69500000 | 6.1957
|  | 69600000 | 6.2032
|  | 69700000 | 6.1924
|  | 69800000 | 6.1677
|  | 69900000 | 6.1825
|  | 70000000 | 6.1904
|  | 70100000 | 6.1858
|  | 70200000 | 6.1907
|  | 70300000 | 6.1781
|  | 70400000 | 6.1795
|  | 70500000 | 6.1954
|  | 70600000 | 6.2161
|  | 70700000 | 6.24
|  | 70800000 | 6.2759
|  | 70900000 | 6.2538
|  | 71000000 | 6.2453
|  | 71100000 | 6.2185
|  | 71200000 | 6.1884
|  | 71300000 | 6.175
|  | 71400000 | 6.1683
|  | 71500000 | 6.1575
|  | 71600000 | 6.1326
|  | 71700000 | 6.0949
|  | 71800000 | 6.0838
|  | 71900000 | 6.1119
|  | 72000000 | 6.0998
|  | 72100000 | 6.1206
|  | 72200000 | 6.1328
|  | 72300000 | 6.1317
|  | 72400000 | 6.1224
|  | 72500000 | 6.1033
|  | 72600000 | 6.0987
|  | 72700000 | 6.1326
|  | 72800000 | 6.1377
|  | 72900000 | 6.1004
|  | 73000000 | 6.0905
|  | 73100000 | 6.075
|  | 73200000 | 6.0769
|  | 73300000 | 6.0633
|  | 73400000 | 6.0585
|  | 73500000 | 6.0796
|  | 73600000 | 6.0359
|  | 73700000 | 5.9757
|  | 73800000 | 5.9678
|  | 73900000 | 5.9841
|  | 74000000 | 5.9792
|  | 74100000 | 5.9634
|  | 74200000 | 5.9537
|  | 74300000 | 5.9708
|  | 74400000 | 5.9709
|  | 74500000 | 5.9602
|  | 74600000 | 5.9879
|  | 74700000 | 6.0112
|  | 74800000 | 6.0104
|  | 74900000 | 6.0036
|  | 75000000 | 6.0205
|  | 75100000 | 6.0345
|  | 75200000 | 6.0305
|  | 75300000 | 6.0353
|  | 75400000 | 6.0316
|  | 75500000 | 6.0142
|  | 75600000 | 6.022
|  | 75700000 | 6.0329
|  | 75800000 | 6.0245
|  | 75900000 | 6.0248
|  | 76000000 | 6.0094
|  | 76100000 | 6.0033
|  | 76200000 | 6.01
|  | 76300000 | 5.9957
|  | 76400000 | 6.0237
|  | 76500000 | 6.0502
|  | 76600000 | 6.0237
|  | 76700000 | 6.0069
|  | 76800000 | 5.9975
|  | 76900000 | 5.9949
|  | 77000000 | 5.983
|  | 77100000 | 5.989
|  | 77200000 | 5.9795
|  | 77300000 | 5.9889
|  | 77400000 | 5.9664
|  | 77500000 | 5.9425
|  | 77600000 | 5.9279
|  | 77700000 | 5.9485
|  | 77800000 | 5.9538
|  | 77900000 | 5.9627
|  | 78000000 | 5.9911
|  | 78100000 | 5.986
|  | 78200000 | 5.9785
|  | 78300000 | 5.9807
|  | 78400000 | 5.9802
|  | 78500000 | 5.984
|  | 78600000 | 6.014
|  | 78700000 | 6.0094
|  | 78800000 | 6.0046
|  | 78900000 | 5.9875
|  | 79000000 | 5.9727
|  | 79100000 | 5.9669
|  | 79200000 | 5.9504
|  | 79300000 | 5.9067
|  | 79400000 | 5.8927
|  | 79500000 | 5.8902
|  | 79600000 | 5.8792
|  | 79700000 | 5.8757
|  | 79800000 | 5.8691
|  | 79900000 | 5.858
|  | 80000000 | 5.866
|  | 80100000 | 5.8472
|  | 80200000 | 5.8584
|  | 80300000 | 5.8723
|  | 80400000 | 5.8742
|  | 80500000 | 5.8381
|  | 80600000 | 5.8309
|  | 80700000 | 5.8107
|  | 80800000 | 5.7956
|  | 80900000 | 5.8045
|  | 81000000 | 5.78
|  | 81100000 | 5.7598
|  | 81200000 | 5.7377
|  | 81300000 | 5.7325
|  | 81400000 | 5.7211
|  | 81500000 | 5.7476
|  | 81600000 | 5.7322
|  | 81700000 | 5.723
|  | 81800000 | 5.7212
|  | 81900000 | 5.7208
|  | 82000000 | 5.7321
|  | 82100000 | 5.7668
|  | 82200000 | 5.7848
|  | 82300000 | 5.7777
|  | 82400000 | 5.7705
|  | 82500000 | 5.7703
|  | 82600000 | 5.788
|  | 82700000 | 5.8044
|  | 82800000 | 5.842
|  | 82900000 | 5.8262
|  | 83000000 | 5.8074
|  | 83100000 | 5.8016
|  | 83200000 | 5.7786
|  | 83300000 | 5.7926
|  | 83400000 | 5.794
|  | 83500000 | 5.7976
|  | 83600000 | 5.7927
|  | 83700000 | 5.7805
|  | 83800000 | 5.7611
|  | 83900000 | 5.7519
|  | 84000000 | 5.7563
|  | 84100000 | 5.7073
|  | 84200000 | 5.7083
|  | 84300000 | 5.7064
|  | 84400000 | 5.7068
|  | 84500000 | 5.6983
|  | 84600000 | 5.6977
|  | 84700000 | 5.6974
|  | 84800000 | 5.6747
|  | 84900000 | 5.6805
|  | 85000000 | 5.679
|  | 85100000 | 5.7251
|  | 85200000 | 5.725
|  | 85300000 | 5.705
|  | 85400000 | 5.7014
|  | 85500000 | 5.6992
|  | 85600000 | 5.6811
|  | 85700000 | 5.6765
|  | 85800000 | 5.6823
|  | 85900000 | 5.6671
|  | 86000000 | 5.6349
|  | 86100000 | 5.6137
|  | 86200000 | 5.6053
|  | 86300000 | 5.6034
|  | 86400000 | 5.6081
|  | 86500000 | 5.607
|  | 86600000 | 5.6051
|  | 86700000 | 5.5918
|  | 86800000 | 5.5947
|  | 86900000 | 5.6123
|  | 87000000 | 5.622
|  | 87100000 | 5.6384
|  | 87200000 | 5.6499
|  | 87300000 | 5.656
|  | 87400000 | 5.6393
|  | 87500000 | 5.6166
|  | 87600000 | 5.6197
|  | 87700000 | 5.6138
|  | 87800000 | 5.6075
|  | 87900000 | 5.6161
|  | 88000000 | 5.6221
|  | 88100000 | 5.5922
|  | 88200000 | 5.5953
|  | 88300000 | 5.5918
|  | 88400000 | 5.6041
|  | 88500000 | 5.6288
|  | 88600000 | 5.6245
|  | 88700000 | 5.6218
|  | 88800000 | 5.6113
|  | 88900000 | 5.5928
|  | 89000000 | 5.5861
|  | 89100000 | 5.6007
|  | 89200000 | 5.6009
|  | 89300000 | 5.5984
|  | 89400000 | 5.5885
|  | 89500000 | 5.5515
|  | 89600000 | 5.5443
|  | 89700000 | 5.5407
|  | 89800000 | 5.5315
|  | 89900000 | 5.5011
|  | 90000000 | 5.4844
|  | 90100000 | 5.4787
|  | 90200000 | 5.4868
|  | 90300000 | 5.4778
|  | 90400000 | 5.4719
|  | 90500000 | 5.4825
|  | 90600000 | 5.4959
|  | 90700000 | 5.5164
|  | 90800000 | 5.5133
|  | 90900000 | 5.5399
|  | 91000000 | 5.5589
|  | 91100000 | 5.5549
|  | 91200000 | 5.5323
|  | 91300000 | 5.5307
|  | 91400000 | 5.5099
|  | 91500000 | 5.506
|  | 91600000 | 5.4771
|  | 91700000 | 5.4673
|  | 91800000 | 5.4792
|  | 91900000 | 5.4756
|  | 92000000 | 5.4874
|  | 92100000 | 5.4998
|  | 92200000 | 5.4978
|  | 92300000 | 5.4717
|  | 92400000 | 5.4948
|  | 92500000 | 5.4968
|  | 92600000 | 5.5107
|  | 92700000 | 5.4856
|  | 92800000 | 5.4682
|  | 92900000 | 5.4704
|  | 93000000 | 5.4742
|  | 93100000 | 5.4584
|  | 93200000 | 5.4495
|  | 93300000 | 5.452
|  | 93400000 | 5.4423
|  | 93500000 | 5.4436
|  | 93600000 | 5.4453
|  | 93700000 | 5.4392
|  | 93800000 | 5.4207
|  | 93900000 | 5.3755
|  | 94000000 | 5.3242
|  | 94100000 | 5.3268
|  | 94200000 | 5.3493
|  | 94300000 | 5.3706
|  | 94400000 | 5.3656
|  | 94500000 | 5.3421
|  | 94600000 | 5.3304
|  | 94700000 | 5.3447
|  | 94800000 | 5.3574
|  | 94900000 | 5.3854
|  | 95000000 | 5.4232
|  | 95100000 | 5.4075
|  | 95200000 | 5.3746
|  | 95300000 | 5.3547
|  | 95400000 | 5.3701
|  | 95500000 | 5.381
|  | 95600000 | 5.3918
|  | 95700000 | 5.3892
|  | 95800000 | 5.3929
|  | 95900000 | 5.3864
|  | 96000000 | 5.3734
|  | 96100000 | 5.3756
|  | 96200000 | 5.3793
|  | 96300000 | 5.3886
|  | 96400000 | 5.3831
|  | 96500000 | 5.3844
|  | 96600000 | 5.385
|  | 96700000 | 5.3871
|  | 96800000 | 5.3706
|  | 96900000 | 5.3716
|  | 97000000 | 5.3714
|  | 97100000 | 5.3659
|  | 97200000 | 5.3472
|  | 97300000 | 5.3634
|  | 97400000 | 5.3629
|  | 97500000 | 5.3497
|  | 97600000 | 5.331
|  | 97700000 | 5.3274
|  | 97800000 | 5.347
|  | 97900000 | 5.3464
|  | 98000000 | 5.3571
|  | 98100000 | 5.3601
|  | 98200000 | 5.3489
|  | 98300000 | 5.3287
|  | 98400000 | 5.3257
|  | 98500000 | 5.3322
|  | 98600000 | 5.342
|  | 98700000 | 5.3358
|  | 98800000 | 5.3173
|  | 98900000 | 5.304
|  | 99000000 | 5.2727
|  | 99100000 | 5.2603
|  | 99200000 | 5.287
|  | 99300000 | 5.282
|  | 99400000 | 5.2505
|  | 99500000 | 5.2387
|  | 99600000 | 5.2061
|  | 99700000 | 5.1848
|  | 99800000 | 5.1763
|  | 99900000 | 5.1534
|  | 100000000 | 5.1241