## Cuvette Transmission
UV Fused Quartz Cuvettes Transmission
|  | Wavelength (nm) | % Transmission
|  | 3300 | 87.7309
|  | 3290 | 87.8599
|  | 3280 | 87.6959
|  | 3270 | 87.9976
Product Raw Data |  | 3260 | 87.7843
UV Fused Quartz Cuvettes Transmission |  | 3250 | 87.9746
|  | 3240 | 87.9798
Item # | CV10Qxxxx | 3230 | 88.1347
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 3220 | 87.6453
|  | 3210 | 87.6069
|  | 3200 | 87.4396
|  | 3190 | 87.6318
|  | 3180 | 87.5098
|  | 3170 | 87.4304
|  | 3160 | 87.5519
Additional Information: |  | 3150 | 87.573
Transmission was measured at normal incidence through an empty cuvette. |  | 3140 | 87.4154
|  | 3130 | 87.3728
|  | 3120 | 87.4057
|  | 3110 | 87.5763
|  | 3100 | 87.5069
|  | 3090 | 87.4338
|  | 3080 | 87.4826
|  | 3070 | 87.5077
|  | 3060 | 87.4766
|  | 3050 | 87.4651
|  | 3040 | 87.4585
|  | 3030 | 87.4624
|  | 3020 | 87.5052
|  | 3010 | 87.5473
|  | 3000 | 87.5631
|  | 2990 | 87.6055
|  | 2980 | 87.6337
|  | 2970 | 87.7486
|  | 2960 | 87.8056
|  | 2950 | 87.9282
|  | 2940 | 87.9943
|  | 2930 | 88.115
|  | 2920 | 88.2087
|  | 2910 | 88.3063
|  | 2900 | 88.4094
|  | 2890 | 88.5117
|  | 2880 | 88.5845
|  | 2870 | 88.6957
|  | 2860 | 88.8257
|  | 2850 | 88.9558
|  | 2840 | 89.0984
|  | 2830 | 89.1675
|  | 2820 | 89.2844
|  | 2810 | 89.3581
|  | 2800 | 89.3817
|  | 2790 | 89.4027
|  | 2780 | 89.4371
|  | 2770 | 89.5123
|  | 2760 | 89.4045
|  | 2750 | 89.4155
|  | 2740 | 89.4406
|  | 2730 | 89.2578
|  | 2720 | 89.1773
|  | 2710 | 88.757
|  | 2700 | 88.7599
|  | 2690 | 89.1951
|  | 2680 | 89.827
|  | 2670 | 90.0981
|  | 2660 | 90.1783
|  | 2650 | 90.4629
|  | 2640 | 90.6204
|  | 2630 | 90.654
|  | 2620 | 90.5655
|  | 2610 | 90.5838
|  | 2600 | 90.5807
|  | 2590 | 90.5548
|  | 2580 | 90.6137
|  | 2570 | 90.6946
|  | 2560 | 90.7265
|  | 2550 | 90.8258
|  | 2540 | 91.1253
|  | 2530 | 91.775
|  | 2520 | 91.549
|  | 2510 | 91.2127
|  | 2500 | 91.0266
|  | 2490 | 90.8497
|  | 2480 | 90.7922
|  | 2470 | 90.8185
|  | 2460 | 90.8371
|  | 2450 | 90.823
|  | 2440 | 90.7853
|  | 2430 | 90.7873
|  | 2420 | 90.7537
|  | 2410 | 90.7259
|  | 2400 | 90.6828
|  | 2390 | 90.6073
|  | 2380 | 90.5499
|  | 2370 | 90.6482
|  | 2360 | 90.6214
|  | 2350 | 90.5927
|  | 2340 | 90.5766
|  | 2330 | 90.5366
|  | 2320 | 90.4556
|  | 2310 | 90.4191
|  | 2300 | 90.4656
|  | 2290 | 90.486
|  | 2280 | 90.4677
|  | 2270 | 90.4425
|  | 2260 | 90.4006
|  | 2250 | 90.3397
|  | 2240 | 90.3306
|  | 2230 | 90.3351
|  | 2220 | 90.3631
|  | 2210 | 90.3538
|  | 2200 | 90.2952
|  | 2190 | 90.2619
|  | 2180 | 90.2423
|  | 2170 | 90.2463
|  | 2160 | 90.2468
|  | 2150 | 90.2348
|  | 2140 | 90.2403
|  | 2130 | 90.2484
|  | 2120 | 90.2238
|  | 2110 | 90.2148
|  | 2100 | 90.2128
|  | 2090 | 90.2193
|  | 2080 | 90.2079
|  | 2070 | 90.214
|  | 2060 | 90.2332
|  | 2050 | 90.2149
|  | 2040 | 90.2127
|  | 2030 | 90.2271
|  | 2020 | 90.2395
|  | 2010 | 90.2298
|  | 2000 | 90.2122
|  | 1990 | 90.1959
|  | 1980 | 90.1735
|  | 1970 | 90.1189
|  | 1960 | 90.0885
|  | 1950 | 90.0705
|  | 1940 | 90.0214
|  | 1930 | 90.0171
|  | 1920 | 90.1033
|  | 1910 | 90.2021
|  | 1900 | 90.2365
|  | 1890 | 90.2159
|  | 1880 | 90.1474
|  | 1870 | 90.1334
|  | 1860 | 90.1302
|  | 1850 | 90.1157
|  | 1840 | 90.1114
|  | 1830 | 90.0964
|  | 1820 | 90.0903
|  | 1810 | 90.0687
|  | 1800 | 88.3977
|  | 1790 | 88.4126
|  | 1780 | 88.4347
|  | 1770 | 88.4137
|  | 1760 | 88.4231
|  | 1750 | 88.3974
|  | 1740 | 88.4109
|  | 1730 | 88.3887
|  | 1720 | 88.3905
|  | 1710 | 88.3664
|  | 1700 | 88.3747
|  | 1690 | 88.3778
|  | 1680 | 88.3421
|  | 1670 | 88.333
|  | 1660 | 88.3672
|  | 1650 | 88.2506
|  | 1640 | 88.2514
|  | 1630 | 88.2795
|  | 1620 | 88.2698
|  | 1610 | 88.234
|  | 1600 | 88.1925
|  | 1590 | 88.1616
|  | 1580 | 88.1229
|  | 1570 | 88.1094
|  | 1560 | 88.0421
|  | 1550 | 88.0139
|  | 1540 | 87.9991
|  | 1530 | 87.9739
|  | 1520 | 87.9107
|  | 1510 | 87.866
|  | 1500 | 87.8354
|  | 1490 | 87.762
|  | 1480 | 87.7715
|  | 1470 | 87.7192
|  | 1460 | 87.6889
|  | 1450 | 87.6416
|  | 1440 | 87.6257
|  | 1430 | 87.6197
|  | 1420 | 87.6048
|  | 1410 | 87.5811
|  | 1400 | 87.6094
|  | 1390 | 87.5706
|  | 1380 | 87.5793
|  | 1370 | 87.6089
|  | 1360 | 87.6042
|  | 1350 | 87.5575
|  | 1340 | 87.5653
|  | 1330 | 87.5742
|  | 1320 | 87.5693
|  | 1310 | 87.5625
|  | 1300 | 87.5606
|  | 1290 | 87.5443
|  | 1280 | 87.5677
|  | 1270 | 87.5578
|  | 1260 | 87.5461
|  | 1250 | 87.5469
|  | 1240 | 87.5526
|  | 1230 | 87.5264
|  | 1220 | 87.5193
|  | 1210 | 87.5186
|  | 1200 | 87.5288
|  | 1190 | 87.5158
|  | 1180 | 87.5218
|  | 1170 | 87.5075
|  | 1160 | 87.5012
|  | 1150 | 87.4903
|  | 1140 | 87.4939
|  | 1130 | 87.4856
|  | 1120 | 87.4773
|  | 1110 | 87.4614
|  | 1100 | 87.4596
|  | 1090 | 87.4521
|  | 1080 | 87.4457
|  | 1070 | 87.4401
|  | 1060 | 87.4272
|  | 1050 | 87.4274
|  | 1040 | 87.4484
|  | 1030 | 87.4847
|  | 1020 | 87.5512
|  | 1010 | 87.6411
|  | 1000 | 87.7231
|  | 990 | 87.7899
|  | 980 | 87.8663
|  | 970 | 87.9218
|  | 960 | 87.9493
|  | 950 | 87.9991
|  | 940 | 88.0208
|  | 930 | 88.0476
|  | 920 | 88.0292
|  | 910 | 88.0257
|  | 900 | 88.022
|  | 890 | 88.0257
|  | 880 | 87.9602
|  | 870 | 87.9449
|  | 860 | 87.5403
|  | 850 | 87.5413
|  | 840 | 87.4842
|  | 830 | 87.4517
|  | 820 | 87.4189
|  | 810 | 87.4639
|  | 800 | 87.4537
|  | 790 | 87.4259
|  | 780 | 87.4569
|  | 770 | 87.4312
|  | 760 | 87.407
|  | 750 | 87.4435
|  | 740 | 87.4137
|  | 730 | 87.3709
|  | 720 | 87.3687
|  | 710 | 87.3724
|  | 700 | 87.3148
|  | 690 | 87.3437
|  | 680 | 87.3226
|  | 670 | 87.2776
|  | 660 | 87.2923
|  | 650 | 87.2844
|  | 640 | 87.2605
|  | 630 | 87.2341
|  | 620 | 87.2195
|  | 610 | 87.1582
|  | 600 | 87.2135
|  | 590 | 87.1859
|  | 580 | 87.1146
|  | 570 | 87.0949
|  | 560 | 87.1402
|  | 550 | 87.1327
|  | 540 | 87.0922
|  | 530 | 87.0813
|  | 520 | 87.0388
|  | 510 | 86.9905
|  | 500 | 86.9519
|  | 490 | 86.9134
|  | 480 | 86.8947
|  | 470 | 86.9218
|  | 460 | 86.8464
|  | 450 | 86.7444
|  | 440 | 86.7556
|  | 430 | 86.6998
|  | 420 | 86.6137
|  | 410 | 86.5689
|  | 400 | 86.5198
|  | 390 | 86.4498
|  | 380 | 86.3732
|  | 370 | 86.2822
|  | 360 | 86.1891
|  | 350 | 86.0817
|  | 340 | 85.9975
|  | 330 | 85.9069
|  | 320 | 85.6682
|  | 310 | 85.6074
|  | 300 | 85.4395
|  | 298 | 85.434
|  | 296 | 85.3761
|  | 294 | 85.3488
|  | 292 | 85.3185
|  | 290 | 85.3192
|  | 288 | 85.2588
|  | 286 | 85.2158
|  | 284 | 85.1562
|  | 282 | 85.1112
|  | 280 | 85.0048
|  | 278 | 85.0145
|  | 276 | 84.9364
|  | 274 | 84.8993
|  | 272 | 84.7987
|  | 270 | 84.754
|  | 268 | 84.6323
|  | 266 | 84.5993
|  | 264 | 84.5144
|  | 262 | 84.4317
|  | 260 | 84.3636
|  | 258 | 84.2512
|  | 256 | 84.1197
|  | 254 | 83.9906
|  | 252 | 83.9312
|  | 250 | 83.829
|  | 248 | 83.7704
|  | 246 | 83.6438
|  | 244 | 83.5903
|  | 242 | 83.5066
|  | 240 | 83.3567
|  | 238 | 83.3283
|  | 236 | 83.2542
|  | 234 | 83.1223
|  | 232 | 82.9956
|  | 230 | 82.8315
|  | 228 | 82.7315
|  | 226 | 82.5531
|  | 224 | 82.3634
|  | 222 | 82.2229
|  | 220 | 82.0121
|  | 218 | 81.7428
|  | 216 | 81.5096
|  | 214 | 81.2127
|  | 212 | 80.8092
|  | 210 | 80.4409
|  | 208 | 79.9101
|  | 206 | 79.4047
|  | 204 | 78.8123
|  | 202 | 77.9819
|  | 200 | 77.0713
|  | 198 | 76.2768
|  | 196 | 75.5044
|  | 194 | 74.614
|  | 192 | 73.787
|  | 190 | 73.1555
|  | 188 | 72.537
|  | 186 | 72.0368
|  | 184 | 71.8018
|  | 182 | 72.7199
|  | 180 | 73.5