## Transmission
|  | Wavelength (nm) | % Transmission
|  | 850 | 55.0931
|  | 849 | 55.1724
|  | 848 | 55.3395
|  | 847 | 55.4289
Product Raw Data |  | 846 | 55.5166
Ø25 mm Neutral Density Filter, AR Coated: 350-700 nm, OD: 0.2 |  | 845 | 55.6001
|  | 844 | 55.8257
Item # | NE02B-A | 843 | 55.8479
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 842 | 56.032
|  | 841 | 56.1428
|  | 840 | 56.2365
|  | 839 | 56.3396
|  | 838 | 56.465
|  | 837 | 56.5645
|  | 836 | 56.7031
Additional Information: |  | 835 | 56.8441
Measurements Made at Normal Incidence |  | 834 | 56.9474
|  | 833 | 57.0828
|  | 832 | 57.1757
|  | 831 | 57.2971
|  | 830 | 57.4418
|  | 829 | 57.5629
|  | 828 | 57.6414
|  | 827 | 57.8074
|  | 826 | 57.9189
|  | 825 | 58.0557
|  | 824 | 58.169
|  | 823 | 58.3207
|  | 822 | 58.401
|  | 821 | 58.5223
|  | 820 | 58.6894
|  | 819 | 58.7559
|  | 818 | 58.9044
|  | 817 | 59.0194
|  | 816 | 59.1562
|  | 815 | 59.2951
|  | 814 | 59.434
|  | 813 | 59.566
|  | 812 | 59.705
|  | 811 | 59.8281
|  | 810 | 59.9407
|  | 809 | 60.0755
|  | 808 | 60.1729
|  | 807 | 60.3587
|  | 806 | 60.4674
|  | 805 | 60.6122
|  | 804 | 60.7285
|  | 803 | 60.8731
|  | 802 | 60.9627
|  | 801 | 61.1091
|  | 800 | 61.2686
|  | 799 | 61.3762
|  | 798 | 61.522
|  | 797 | 61.6572
|  | 796 | 61.7627
|  | 795 | 61.9008
|  | 794 | 62.0585
|  | 793 | 62.1861
|  | 792 | 62.3411
|  | 791 | 62.46
|  | 790 | 62.5948
|  | 789 | 62.7291
|  | 788 | 62.8901
|  | 787 | 62.9993
|  | 786 | 63.1479
|  | 785 | 63.2701
|  | 784 | 63.4002
|  | 783 | 63.5511
|  | 782 | 63.6725
|  | 781 | 63.8257
|  | 780 | 63.9493
|  | 779 | 64.1072
|  | 778 | 64.1917
|  | 777 | 64.368
|  | 776 | 64.5044
|  | 775 | 64.6266
|  | 774 | 64.7737
|  | 773 | 64.9253
|  | 772 | 65.0281
|  | 771 | 65.17
|  | 770 | 65.3337
|  | 769 | 65.4428
|  | 768 | 65.6033
|  | 767 | 65.7259
|  | 766 | 65.8497
|  | 765 | 65.9933
|  | 764 | 66.155
|  | 763 | 66.2609
|  | 762 | 66.4095
|  | 761 | 66.547
|  | 760 | 66.6393
|  | 759 | 66.8007
|  | 758 | 66.9516
|  | 757 | 67.0843
|  | 756 | 67.2122
|  | 755 | 67.3434
|  | 754 | 67.4455
|  | 753 | 67.5861
|  | 752 | 67.7174
|  | 751 | 67.8413
|  | 750 | 67.9833
|  | 749 | 68.1072
|  | 748 | 68.2049
|  | 747 | 68.3436
|  | 746 | 68.4819
|  | 745 | 68.6116
|  | 744 | 68.7351
|  | 743 | 68.8572
|  | 742 | 68.9372
|  | 741 | 69.0918
|  | 740 | 69.2139
|  | 739 | 69.3368
|  | 738 | 69.45
|  | 737 | 69.5614
|  | 736 | 69.6365
|  | 735 | 69.7886
|  | 734 | 69.8863
|  | 733 | 69.9773
|  | 732 | 70.0915
|  | 731 | 70.1912
|  | 730 | 70.2936
|  | 729 | 70.4177
|  | 728 | 70.4792
|  | 727 | 70.5688
|  | 726 | 70.69
|  | 725 | 70.7842
|  | 724 | 70.8273
|  | 723 | 70.9242
|  | 722 | 71.0149
|  | 721 | 71.0964
|  | 720 | 71.1724
|  | 719 | 71.2381
|  | 718 | 71.2769
|  | 717 | 71.3519
|  | 716 | 71.4426
|  | 715 | 71.4816
|  | 714 | 71.5214
|  | 713 | 71.5503
|  | 712 | 71.5635
|  | 711 | 71.6283
|  | 710 | 71.6655
|  | 709 | 71.6883
|  | 708 | 71.7085
|  | 707 | 71.7194
|  | 706 | 71.6785
|  | 705 | 71.7005
|  | 704 | 71.6979
|  | 703 | 71.6443
|  | 702 | 71.6485
|  | 701 | 71.5872
|  | 700 | 71.5456
|  | 699 | 71.5216
|  | 698 | 71.4671
|  | 697 | 71.3986
|  | 696 | 71.3204
|  | 695 | 71.2239
|  | 694 | 71.1038
|  | 693 | 71.0535
|  | 692 | 70.9642
|  | 691 | 70.8375
|  | 690 | 70.736
|  | 689 | 70.5967
|  | 688 | 70.4446
|  | 687 | 70.2755
|  | 686 | 70.1831
|  | 685 | 70.0419
|  | 684 | 69.8636
|  | 683 | 69.7267
|  | 682 | 69.5436
|  | 681 | 69.385
|  | 680 | 69.2467
|  | 679 | 69.0809
|  | 678 | 68.8984
|  | 677 | 68.751
|  | 676 | 68.594
|  | 675 | 68.4422
|  | 674 | 68.3099
|  | 673 | 68.1806
|  | 672 | 68.0395
|  | 671 | 67.9254
|  | 670 | 67.8023
|  | 669 | 67.6972
|  | 668 | 67.6341
|  | 667 | 67.5247
|  | 666 | 67.4232
|  | 665 | 67.3592
|  | 664 | 67.2928
|  | 663 | 67.2345
|  | 662 | 67.199
|  | 661 | 67.1844
|  | 660 | 67.1526
|  | 659 | 67.1285
|  | 658 | 67.0958
|  | 657 | 67.0749
|  | 656 | 67.0922
|  | 655 | 67.1108
|  | 654 | 67.1166
|  | 653 | 67.1289
|  | 652 | 67.1388
|  | 651 | 67.1658
|  | 650 | 67.2367
|  | 649 | 67.2765
|  | 648 | 67.3072
|  | 647 | 67.3689
|  | 646 | 67.42
|  | 645 | 67.4812
|  | 644 | 67.5555
|  | 643 | 67.6415
|  | 642 | 67.6973
|  | 641 | 67.7736
|  | 640 | 67.8476
|  | 639 | 67.9234
|  | 638 | 68.0222
|  | 637 | 68.0774
|  | 636 | 68.1594
|  | 635 | 68.2524
|  | 634 | 68.3183
|  | 633 | 68.3886
|  | 632 | 68.4732
|  | 631 | 68.5684
|  | 630 | 68.622
|  | 629 | 68.6914
|  | 628 | 68.7488
|  | 627 | 68.8126
|  | 626 | 68.8841
|  | 625 | 68.9113
|  | 624 | 68.96
|  | 623 | 68.9933
|  | 622 | 69.0088
|  | 621 | 69.0529
|  | 620 | 69.0812
|  | 619 | 69.0677
|  | 618 | 69.0733
|  | 617 | 69.0842
|  | 616 | 69.0655
|  | 615 | 69.0638
|  | 614 | 69.0623
|  | 613 | 69.0619
|  | 612 | 69.0459
|  | 611 | 69.0507
|  | 610 | 69.0269
|  | 609 | 69.0002
|  | 608 | 68.9997
|  | 607 | 68.9926
|  | 606 | 68.9765
|  | 605 | 68.9589
|  | 604 | 68.9276
|  | 603 | 68.9085
|  | 602 | 68.9246
|  | 601 | 68.9102
|  | 600 | 68.9129
|  | 599 | 68.9282
|  | 598 | 68.9049
|  | 597 | 68.9004
|  | 596 | 68.9199
|  | 595 | 68.9345
|  | 594 | 68.9378
|  | 593 | 68.974
|  | 592 | 68.9956
|  | 591 | 69.0318
|  | 590 | 69.1159
|  | 589 | 69.1746
|  | 588 | 69.2283
|  | 587 | 69.3323
|  | 586 | 69.4078
|  | 585 | 69.5057
|  | 584 | 69.6292
|  | 583 | 69.7313
|  | 582 | 69.8385
|  | 581 | 69.9704
|  | 580 | 70.0866
|  | 579 | 70.2219
|  | 578 | 70.3584
|  | 577 | 70.5093
|  | 576 | 70.653
|  | 575 | 70.7755
|  | 574 | 70.9114
|  | 573 | 71.0247
|  | 572 | 71.1871
|  | 571 | 71.3157
|  | 570 | 71.4213
|  | 569 | 71.576
|  | 568 | 71.6792
|  | 567 | 71.7977
|  | 566 | 71.9523
|  | 565 | 72.0657
|  | 564 | 72.1682
|  | 563 | 72.2829
|  | 562 | 72.3473
|  | 561 | 72.4669
|  | 560 | 72.5189
|  | 559 | 72.6263
|  | 558 | 72.7142
|  | 557 | 72.8107
|  | 556 | 72.8629
|  | 555 | 72.9129
|  | 554 | 72.9418
|  | 553 | 72.9863
|  | 552 | 73.0437
|  | 551 | 73.0816
|  | 550 | 73.1088
|  | 549 | 73.1224
|  | 548 | 73.1129
|  | 547 | 73.1303
|  | 546 | 73.1822
|  | 545 | 73.1315
|  | 544 | 73.1058
|  | 543 | 73.0968
|  | 542 | 73.0312
|  | 541 | 73.0435
|  | 540 | 73.0084
|  | 539 | 72.9803
|  | 538 | 72.9241
|  | 537 | 72.8656
|  | 536 | 72.8107
|  | 535 | 72.7487
|  | 534 | 72.7182
|  | 533 | 72.6292
|  | 532 | 72.5581
|  | 531 | 72.479
|  | 530 | 72.3735
|  | 529 | 72.323
|  | 528 | 72.2745
|  | 527 | 72.169
|  | 526 | 72.1215
|  | 525 | 72.0587
|  | 524 | 71.9535
|  | 523 | 71.903
|  | 522 | 71.8565
|  | 521 | 71.7904
|  | 520 | 71.7336
|  | 519 | 71.6902
|  | 518 | 71.6159
|  | 517 | 71.5717
|  | 516 | 71.5601
|  | 515 | 71.5029
|  | 514 | 71.4819
|  | 513 | 71.4302
|  | 512 | 71.3868
|  | 511 | 71.3951
|  | 510 | 71.3718
|  | 509 | 71.345
|  | 508 | 71.3411
|  | 507 | 71.3351
|  | 506 | 71.308
|  | 505 | 71.336
|  | 504 | 71.4235
|  | 503 | 71.3179
|  | 502 | 71.3977
|  | 501 | 71.3963
|  | 500 | 71.4101
|  | 499 | 71.4463
|  | 498 | 71.5369
|  | 497 | 71.5046
|  | 496 | 71.5944
|  | 495 | 71.6183
|  | 494 | 71.6146
|  | 493 | 71.69
|  | 492 | 71.7668
|  | 491 | 71.7891
|  | 490 | 71.9059
|  | 489 | 71.8907
|  | 488 | 71.9798
|  | 487 | 72.0384
|  | 486 | 72.1406
|  | 485 | 72.1911
|  | 484 | 72.2709
|  | 483 | 72.3602
|  | 482 | 72.4335
|  | 481 | 72.5221
|  | 480 | 72.6151
|  | 479 | 72.6531
|  | 478 | 72.7813
|  | 477 | 72.8776
|  | 476 | 72.9375
|  | 475 | 73.0412
|  | 474 | 73.15
|  | 473 | 73.2171
|  | 472 | 73.3146
|  | 471 | 73.3833
|  | 470 | 73.4524
|  | 469 | 73.5163
|  | 468 | 73.6556
|  | 467 | 73.657
|  | 466 | 73.7743
|  | 465 | 73.7698
|  | 464 | 73.8067
|  | 463 | 73.8429
|  | 462 | 73.8705
|  | 461 | 73.8846
|  | 460 | 73.8269
|  | 459 | 73.8341
|  | 458 | 73.7157
|  | 457 | 73.6719
|  | 456 | 73.6135
|  | 455 | 73.4288
|  | 454 | 73.3716
|  | 453 | 73.1952
|  | 452 | 73.0556
|  | 451 | 72.8762
|  | 450 | 72.7408
|  | 449 | 72.5472
|  | 448 | 72.3597
|  | 447 | 72.2142
|  | 446 | 71.9696
|  | 445 | 71.8805
|  | 444 | 71.7268
|  | 443 | 71.6189
|  | 442 | 71.5208
|  | 441 | 71.4778
|  | 440 | 71.4666
|  | 439 | 71.4898
|  | 438 | 71.6202
|  | 437 | 71.642
|  | 436 | 71.8125
|  | 435 | 71.8666
|  | 434 | 71.9701
|  | 433 | 72.0135
|  | 432 | 72.0667
|  | 431 | 72.0588
|  | 430 | 72.075
|  | 429 | 72.1636
|  | 428 | 72.0899
|  | 427 | 72.0861
|  | 426 | 72.0009
|  | 425 | 71.889
|  | 424 | 71.8009
|  | 423 | 71.7106
|  | 422 | 71.5733
|  | 421 | 71.4882
|  | 420 | 71.3816
|  | 419 | 71.2944
|  | 418 | 71.2108
|  | 417 | 71.1482
|  | 416 | 71.0841
|  | 415 | 71.0805
|  | 414 | 71.1221
|  | 413 | 71.0837
|  | 412 | 71.1885
|  | 411 | 71.2542
|  | 410 | 71.3373
|  | 409 | 71.4931
|  | 408 | 71.6271
|  | 407 | 71.779
|  | 406 | 71.9044
|  | 405 | 72.0745
|  | 404 | 72.119
|  | 403 | 72.2464
|  | 402 | 72.2947
|  | 401 | 72.215
|  | 400 | 72.2073
|  | 399 | 72.0858
|  | 398 | 71.9409
|  | 397 | 71.6803
|  | 396 | 71.4229
|  | 395 | 71.0172
|  | 394 | 70.6179
|  | 393 | 70.1122
|  | 392 | 69.49
|  | 391 | 68.8182
|  | 390 | 67.9806
|  | 389 | 67.0782
|  | 388 | 66.0012
|  | 387 | 64.813
|  | 386 | 63.4592
|  | 385 | 62.0446
|  | 384 | 60.5067
|  | 383 | 58.8726
|  | 382 | 57.2567
|  | 381 | 55.6373
|  | 380 | 54.2012
|  | 379 | 53.0172
|  | 378 | 52.1459
|  | 377 | 51.8762
|  | 376 | 52.1436
|  | 375 | 52.86
|  | 374 | 53.849
|  | 373 | 54.9572
|  | 372 | 55.9746
|  | 371 | 56.7702
|  | 370 | 57.2791
|  | 369 | 57.4709
|  | 368 | 57.2933
|  | 367 | 56.9655
|  | 366 | 56.3944
|  | 365 | 55.6901
|  | 364 | 54.9091
|  | 363 | 54.0031
|  | 362 | 52.9871
|  | 361 | 51.9308
|  | 360 | 50.7777
|  | 359 | 49.5481
|  | 358 | 48.2665
|  | 357 | 46.9456
|  | 356 | 45.5125
|  | 355 | 44.1001
|  | 354 | 42.6279
|  | 353 | 41.1116
|  | 352 | 39.5609
|  | 351 | 37.9595
|  | 350 | 36.276
|  | 349 | 34.5555
|  | 348 | 32.7814
|  | 347 | 30.9805
|  | 346 | 29.1902
|  | 345 | 27.4058
|  | 344 | 25.6015
|  | 343 | 23.8367
|  | 342 | 22.063
|  | 341 | 20.3007
|  | 340 | 18.5444
|  | 339 | 16.8247
|  | 338 | 15.1235
|  | 337 | 13.4872
|  | 336 | 11.9399
|  | 335 | 10.4869
|  | 334 | 9.1327
|  | 333 | 7.8799
|  | 332 | 6.7156
|  | 331 | 5.6518
|  | 330 | 4.6797
|  | 329 | 3.8168
|  | 328 | 3.0568
|  | 327 | 2.4097
|  | 326 | 1.867
|  | 325 | 1.422
|  | 324 | 1.0616
|  | 323 | 0.77663
|  | 322 | 0.55229
|  | 321 | 0.38586
|  | 320 | 0.26105
|  | 319 | 0.1705
|  | 318 | 0.10647
|  | 317 | 0.066026
|  | 316 | 0.037489
|  | 315 | 0.019439
|  | 314 | 0.012361
|  | 313 | 0.005387
|  | 312 | 0.00338
|  | 311 | 0.000845
|  | 310 | -0.001162
|  | 309 | -0.001902
|  | 308 | -0.000317
|  | 307 | -0.002219
|  | 306 | 0.002536
|  | 305 | 0.001374
|  | 304 | -0.000634
|  | 303 | -0.000951
|  | 302 | 0.001374
|  | 301 | 0.000423
|  | 300 | 0.001797
|  | 299 | -0.000211
|  | 298 | -0.002114
|  | 297 | -0.001374
|  | 296 | 0.001691
|  | 295 | 0.001691
|  | 294 | 0.00148
|  | 293 | -0.000634
|  | 292 | -0.001797
|  | 291 | 0.000423
|  | 290 | 0.002325
|  | 289 | -0.000634
|  | 288 | 0.00169
|  | 287 | -0.000528
|  | 286 | -0.002324
|  | 285 | -0.00074
|  | 284 | 0.001691
|  | 283 | 0.001057
|  | 282 | 0.000634
|  | 281 | -0.001479
|  | 280 | -0.002957
|  | 279 | -0.000211
|  | 278 | 0.001478
|  | 277 | -0.000528
|  | 276 | 0.001688
|  | 275 | 0.000422
|  | 274 | -0.001371
|  | 273 | 0.001266
|  | 272 | 0.001476
|  | 271 | 0.000105
|  | 270 | 0.002318
|  | 269 | 0.000105
|  | 268 | -0.00221
|  | 267 | -0.000421
|  | 266 | 0.000105
|  | 265 | 0.000315
|  | 264 | 0.001786
|  | 263 | 0
|  | 262 | -0.002203
|  | 261 | -0.000105
|  | 260 | -0.000315
|  | 259 | -0.000943
|  | 258 | 0.001571
|  | 257 | -0.000733
|  | 256 | -0.003247
|  | 255 | -0.000419
|  | 254 | 0
|  | 253 | -0.000209
|  | 252 | 0.003244
|  | 251 | 0.000942
|  | 250 | -0.001778
|  | 249 | -0.000314
|  | 248 | 0.000836
|  | 247 | 0.001253
|  | 246 | 0.002087
|  | 245 | -0.000626
|  | 244 | -0.002918
|  | 243 | -0.001041
|  | 242 | -0.000208
|  | 241 | 0.000104
|  | 240 | 0.001968
|  | 239 | -0.000103
|  | 238 | -0.002271
|  | 237 | -0.000412
|  | 236 | -0.000617
|  | 235 | 0.000616
|  | 234 | 0.003075
|  | 233 | -0.000307
|  | 232 | -0.000102
|  | 231 | 0.000817
|  | 230 | -0.002548
|  | 229 | -0.001324
|  | 228 | 0.00295
|  | 227 | 0.00061
|  | 226 | -0.001931
|  | 225 | -0.001219
|  | 224 | -0.001422
|  | 223 | -0.000305
|  | 222 | 0.001726
|  | 221 | -0.000203
|  | 220 | -0.001015
|  | 219 | 0.000812
|  | 218 | -0.000711
|  | 217 | -0.000609
|  | 216 | 0.00203
|  | 215 | -0.000406
|  | 214 | -0.000711
|  | 213 | -0.000203
|  | 212 | -0.000913
|  | 211 | 0.001318
|  | 210 | 0.002737
|  | 209 | -0.001114
|  | 208 | -0.003341
|  | 207 | 0
|  | 206 | -0.000909
|  | 205 | 0.000908
|  | 204 | 0.002919
|  | 203 | 0.000804
|  | 202 | -0.001302
|  | 201 | 0.001497
|  | 200 | 9.9e-05