## %Transmission
NE04B Transmission
|  | Wavelength (nm) | % Transmission
|  | 200 | 0.013616
|  | 201 | 0.013812
|  | 202 | 0.013549
|  | 203 | 0.013499
Product Raw Data |  | 204 | 0.013337
Unmounted Ø25 mm Absorptive ND Filter, Optical Density: 0.4 |  | 205 | 0.01333
|  | 206 | 0.013219
Item # | NE04B | 207 | 0.013098
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 208 | 0.013045
|  | 209 | 0.012863
|  | 210 | 0.012658
|  | 211 | 0.012545
|  | 212 | 0.012536
|  | 213 | 0.01259
This data may be used in publications. However, please cite Thorlabs as the source. |  | 214 | 0.012475
|  | 215 | 0.012311
|  | 216 | 0.012137
Additional Information: |  | 217 | 0.012
|  | 218 | 0.012003
|  | 219 | 0.012055
|  | 220 | 0.012097
|  | 221 | 0.011829
|  | 222 | 0.011828
|  | 223 | 0.011732
|  | 224 | 0.011685
|  | 225 | 0.011714
|  | 226 | 0.01163
|  | 227 | 0.011542
|  | 228 | 0.011475
|  | 229 | 0.011418
|  | 230 | 0.011272
|  | 231 | 0.011268
|  | 232 | 0.011231
|  | 233 | 0.011097
|  | 234 | 0.011047
|  | 235 | 0.011009
|  | 236 | 0.01104
|  | 237 | 0.01101
|  | 238 | 0.011034
|  | 239 | 0.01085
|  | 240 | 0.010691
|  | 241 | 0.01073
|  | 242 | 0.010708
|  | 243 | 0.010614
|  | 244 | 0.010781
|  | 245 | 0.010528
|  | 246 | 0.010512
|  | 247 | 0.010393
|  | 248 | 0.010413
|  | 249 | 0.010492
|  | 250 | 0.010369
|  | 251 | 0.01031
|  | 252 | 0.010223
|  | 253 | 0.010155
|  | 254 | 0.010256
|  | 255 | 0.010192
|  | 256 | 0.010181
|  | 257 | 0.010086
|  | 258 | 0.0099586
|  | 259 | 0.010031
|  | 260 | 0.0099899
|  | 261 | 0.010063
|  | 262 | 0.010044
|  | 263 | 0.0099081
|  | 264 | 0.0098414
|  | 265 | 0.009795
|  | 266 | 0.0098485
|  | 267 | 0.0097899
|  | 268 | 0.0097728
|  | 269 | 0.0096576
|  | 270 | 0.0097243
|  | 271 | 0.0095698
|  | 272 | 0.0095698
|  | 273 | 0.0096112
|  | 274 | 0.0095263
|  | 275 | 0.0095516
|  | 276 | 0.009393
|  | 277 | 0.0092516
|  | 278 | 0.0093455
|  | 279 | 0.0093304
|  | 280 | 0.0092597
|  | 281 | 0.0091486
|  | 282 | 0.0091233
|  | 283 | 0.0091971
|  | 284 | 0.0091991
|  | 285 | 0.0093304
|  | 286 | 0.0091556
|  | 287 | 0.0090203
|  | 288 | 0.0090334
|  | 289 | 0.0089486
|  | 290 | 0.0089981
|  | 291 | 0.0091435
|  | 292 | 0.0090163
|  | 293 | 0.0088648
|  | 294 | 0.0088294
|  | 295 | 0.008889
|  | 296 | 0.0087759
|  | 297 | 0.0089193
|  | 298 | 0.0088466
|  | 299 | 0.0087102
|  | 300 | 0.0087658
|  | 301 | 0.0087628
|  | 302 | 0.0086668
|  | 303 | 0.0086769
|  | 304 | 0.0086335
|  | 305 | 0.0085719
|  | 306 | 0.0086052
|  | 307 | 0.0085557
|  | 308 | 0.0085688
|  | 309 | 0.0085729
|  | 310 | 0.0085264
|  | 311 | 0.0085436
|  | 312 | 0.0084638
|  | 313 | 0.0084355
|  | 314 | 0.0083971
|  | 315 | 0.0085143
|  | 316 | 0.0085527
|  | 317 | 0.0087123
|  | 318 | 0.0090244
|  | 319 | 0.0089345
|  | 320 | 0.01014
|  | 321 | 0.012101
|  | 322 | 0.015636
|  | 323 | 0.020783
|  | 324 | 0.028894
|  | 325 | 0.041443
|  | 326 | 0.059014
|  | 327 | 0.085392
|  | 328 | 0.12125
|  | 329 | 0.16886
|  | 330 | 0.23234
|  | 331 | 0.3139
|  | 332 | 0.41522
|  | 333 | 0.53912
|  | 334 | 0.68926
|  | 335 | 0.86381
|  | 336 | 1.0763
|  | 337 | 1.328
|  | 338 | 1.6146
|  | 339 | 1.95
|  | 340 | 2.3172
|  | 341 | 2.7098
|  | 342 | 3.146
|  | 343 | 3.6088
|  | 344 | 4.1218
|  | 345 | 4.6709
|  | 346 | 5.2676
|  | 347 | 5.8491
|  | 348 | 6.5012
|  | 349 | 7.1838
|  | 350 | 7.9147
|  | 351 | 8.6713
|  | 352 | 9.4233
|  | 353 | 10.1088
|  | 354 | 10.8759
|  | 355 | 11.6403
|  | 356 | 12.4713
|  | 357 | 13.3065
|  | 358 | 14.1293
|  | 359 | 14.8248
|  | 360 | 15.6508
|  | 361 | 16.4166
|  | 362 | 17.2511
|  | 363 | 18.0315
|  | 364 | 18.7681
|  | 365 | 19.3545
|  | 366 | 20.0435
|  | 367 | 20.5865
|  | 368 | 21.1414
|  | 369 | 21.6208
|  | 370 | 21.9083
|  | 371 | 21.957
|  | 372 | 21.9265
|  | 373 | 21.7208
|  | 374 | 21.4985
|  | 375 | 21.2612
|  | 376 | 21.0437
|  | 377 | 20.8949
|  | 378 | 21.1732
|  | 379 | 21.6122
|  | 380 | 22.2434
|  | 381 | 22.9116
|  | 382 | 23.807
|  | 383 | 24.6936
|  | 384 | 25.7881
|  | 385 | 26.8208
|  | 386 | 27.7265
|  | 387 | 28.4052
|  | 388 | 29.2836
|  | 389 | 30.0299
|  | 390 | 30.8237
|  | 391 | 31.5334
|  | 392 | 32.1202
|  | 393 | 32.4214
|  | 394 | 32.9359
|  | 395 | 33.4029
|  | 396 | 33.9369
|  | 397 | 34.3568
|  | 398 | 34.6496
|  | 399 | 34.6954
|  | 400 | 34.9573
|  | 401 | 35.0782
|  | 402 | 35.3277
|  | 403 | 35.6045
|  | 404 | 35.7248
|  | 405 | 35.4844
|  | 406 | 35.4911
|  | 407 | 35.5525
|  | 408 | 35.7203
|  | 409 | 35.7629
|  | 410 | 35.7063
|  | 411 | 35.5125
|  | 412 | 35.5422
|  | 413 | 35.6102
|  | 414 | 35.7137
|  | 415 | 35.9033
|  | 416 | 35.9198
|  | 417 | 35.8146
|  | 418 | 35.9013
|  | 419 | 36.1108
|  | 420 | 36.2959
|  | 421 | 36.5311
|  | 422 | 36.5786
|  | 423 | 36.5064
|  | 424 | 36.6113
|  | 425 | 36.8111
|  | 426 | 37.0005
|  | 427 | 37.2248
|  | 428 | 37.2702
|  | 429 | 37.1835
|  | 430 | 37.2172
|  | 431 | 37.2816
|  | 432 | 37.3747
|  | 433 | 37.4269
|  | 434 | 37.3566
|  | 435 | 37.225
|  | 436 | 37.1555
|  | 437 | 37.1502
|  | 438 | 37.1913
|  | 439 | 37.3347
|  | 440 | 37.3146
|  | 441 | 37.1593
|  | 442 | 37.1759
|  | 443 | 37.3434
|  | 444 | 37.5112
|  | 445 | 37.7405
|  | 446 | 37.8211
|  | 447 | 37.8501
|  | 448 | 38.0265
|  | 449 | 38.2091
|  | 450 | 38.4671
|  | 451 | 38.7829
|  | 452 | 38.8973
|  | 453 | 38.8697
|  | 454 | 39.0303
|  | 455 | 39.1625
|  | 456 | 39.3643
|  | 457 | 39.5804
|  | 458 | 39.6223
|  | 459 | 39.5392
|  | 460 | 39.5436
|  | 461 | 39.5988
|  | 462 | 39.8
|  | 463 | 39.9845
|  | 464 | 39.8695
|  | 465 | 39.6727
|  | 466 | 39.695
|  | 467 | 39.6313
|  | 468 | 39.751
|  | 469 | 39.9146
|  | 470 | 39.7299
|  | 471 | 39.4609
|  | 472 | 39.4213
|  | 473 | 39.3834
|  | 474 | 39.4657
|  | 475 | 39.5741
|  | 476 | 39.4137
|  | 477 | 39.1543
|  | 478 | 39.1049
|  | 479 | 39.043
|  | 480 | 39.0977
|  | 481 | 39.1801
|  | 482 | 38.9942
|  | 483 | 38.7601
|  | 484 | 38.7129
|  | 485 | 38.6486
|  | 486 | 38.7069
|  | 487 | 38.7526
|  | 488 | 38.6068
|  | 489 | 38.4386
|  | 490 | 38.4065
|  | 491 | 38.3586
|  | 492 | 38.4065
|  | 493 | 38.4703
|  | 494 | 38.325
|  | 495 | 38.1658
|  | 496 | 38.1452
|  | 497 | 38.1574
|  | 498 | 38.2354
|  | 499 | 38.2589
|  | 500 | 38.1358
|  | 501 | 37.9863
|  | 502 | 37.9753
|  | 503 | 38.0017
|  | 504 | 38.0872
|  | 505 | 38.1882
|  | 506 | 38.0713
|  | 507 | 37.9416
|  | 508 | 37.9483
|  | 509 | 37.9612
|  | 510 | 38.0607
|  | 511 | 38.1699
|  | 512 | 38.0799
|  | 513 | 38.0178
|  | 514 | 38.0537
|  | 515 | 38.0934
|  | 516 | 38.2494
|  | 517 | 38.3706
|  | 518 | 38.2984
|  | 519 | 38.2406
|  | 520 | 38.2539
|  | 521 | 38.3372
|  | 522 | 38.5031
|  | 523 | 38.6124
|  | 524 | 38.5584
|  | 525 | 38.535
|  | 526 | 38.5897
|  | 527 | 38.6589
|  | 528 | 38.8189
|  | 529 | 38.9699
|  | 530 | 38.9222
|  | 531 | 38.8873
|  | 532 | 38.959
|  | 533 | 39.0342
|  | 534 | 39.1552
|  | 535 | 39.3033
|  | 536 | 39.2736
|  | 537 | 39.2725
|  | 538 | 39.3431
|  | 539 | 39.4008
|  | 540 | 39.6143
|  | 541 | 39.6743
|  | 542 | 39.533
|  | 543 | 39.5171
|  | 544 | 39.5305
|  | 545 | 39.6763
|  | 546 | 39.8093
|  | 547 | 39.8643
|  | 548 | 39.6973
|  | 549 | 39.6302
|  | 550 | 39.6328
|  | 551 | 39.7037
|  | 552 | 39.8019
|  | 553 | 39.6588
|  | 554 | 39.559
|  | 555 | 39.51
|  | 556 | 39.5206
|  | 557 | 39.5823
|  | 558 | 39.5298
|  | 559 | 39.5744
|  | 560 | 39.389
|  | 561 | 39.4134
|  | 562 | 39.2705
|  | 563 | 39.1698
|  | 564 | 39.159
|  | 565 | 39.1421
|  | 566 | 39.1906
|  | 567 | 39.0546
|  | 568 | 38.8493
|  | 569 | 38.7558
|  | 570 | 38.643
|  | 571 | 38.6588
|  | 572 | 38.7391
|  | 573 | 38.5367
|  | 574 | 38.3675
|  | 575 | 38.3245
|  | 576 | 38.1811
|  | 577 | 38.2362
|  | 578 | 38.269
|  | 579 | 38.1321
|  | 580 | 37.9128
|  | 581 | 37.8815
|  | 582 | 37.764
|  | 583 | 37.8474
|  | 584 | 37.9071
|  | 585 | 37.7394
|  | 586 | 37.6533
|  | 587 | 37.6318
|  | 588 | 37.5287
|  | 589 | 37.6529
|  | 590 | 37.7266
|  | 591 | 37.5765
|  | 592 | 37.541
|  | 593 | 37.6108
|  | 594 | 37.501
|  | 595 | 37.678
|  | 596 | 37.7879
|  | 597 | 37.7067
|  | 598 | 37.6298
|  | 599 | 37.7536
|  | 600 | 37.7442
|  | 601 | 37.8833
|  | 602 | 37.9607
|  | 603 | 37.8893
|  | 604 | 37.8714
|  | 605 | 37.9972
|  | 606 | 37.9524
|  | 607 | 38.1358
|  | 608 | 38.2882
|  | 609 | 38.1896
|  | 610 | 38.1686
|  | 611 | 38.2929
|  | 612 | 38.2874
|  | 613 | 38.4481
|  | 614 | 38.5795
|  | 615 | 38.4668
|  | 616 | 38.4752
|  | 617 | 38.5491
|  | 618 | 38.5762
|  | 619 | 38.7272
|  | 620 | 38.8425
|  | 621 | 38.6777
|  | 622 | 38.7177
|  | 623 | 38.7716
|  | 624 | 38.7367
|  | 625 | 38.9117
|  | 626 | 39.0672
|  | 627 | 38.8069
|  | 628 | 38.8187
|  | 629 | 38.856
|  | 630 | 38.9089
|  | 631 | 38.9614
|  | 632 | 39.0601
|  | 633 | 38.8031
|  | 634 | 38.8043
|  | 635 | 38.8388
|  | 636 | 38.807
|  | 637 | 38.8865
|  | 638 | 39.0253
|  | 639 | 38.8369
|  | 640 | 38.768
|  | 641 | 38.7677
|  | 642 | 38.8257
|  | 643 | 38.8873
|  | 644 | 38.8718
|  | 645 | 38.7842
|  | 646 | 38.782
|  | 647 | 38.8521
|  | 648 | 38.8579
|  | 649 | 38.9415
|  | 650 | 39.1002
|  | 651 | 38.9527
|  | 652 | 38.9702
|  | 653 | 38.9788
|  | 654 | 38.9898
|  | 655 | 39.2481
|  | 656 | 39.4312
|  | 657 | 39.194
|  | 658 | 39.2348
|  | 659 | 39.3951
|  | 660 | 39.4321
|  | 661 | 39.6696
|  | 662 | 39.7901
|  | 663 | 39.7137
|  | 664 | 39.7207
|  | 665 | 40.0202
|  | 666 | 40.0385
|  | 667 | 40.3159
|  | 668 | 40.6146
|  | 669 | 40.5814
|  | 670 | 40.6351
|  | 671 | 40.8721
|  | 672 | 41.0973
|  | 673 | 41.3999
|  | 674 | 41.4675
|  | 675 | 41.5205
|  | 676 | 41.6052
|  | 677 | 41.9686
|  | 678 | 42.0207
|  | 679 | 42.5156
|  | 680 | 42.697
|  | 681 | 42.7766
|  | 682 | 42.9699
|  | 683 | 43.3181
|  | 684 | 43.4261
|  | 685 | 43.8124
|  | 686 | 43.8964
|  | 687 | 44.0709
|  | 688 | 44.1471
|  | 689 | 44.6586
|  | 690 | 44.6404
|  | 691 | 44.7458
|  | 692 | 45.0633
|  | 693 | 45.3978
|  | 694 | 45.4279
|  | 695 | 45.6517
|  | 696 | 45.6921
|  | 697 | 46.0539
|  | 698 | 46.1449
|  | 699 | 46.2541
|  | 700 | 46.2085
|  | 701 | 46.4622
|  | 702 | 46.4623
|  | 703 | 46.7444
|  | 704 | 46.9761
|  | 705 | 46.8951
|  | 706 | 46.8921
|  | 707 | 46.9407
|  | 708 | 46.9215
|  | 709 | 47.3099
|  | 710 | 47.5525
|  | 711 | 47.2722
|  | 712 | 47.3665
|  | 713 | 47.5364
|  | 714 | 47.5727
|  | 715 | 47.8169
|  | 716 | 47.8077
|  | 717 | 47.7671
|  | 718 | 47.6846
|  | 719 | 47.7799
|  | 720 | 47.7095
|  | 721 | 47.9979
|  | 722 | 48.0284
|  | 723 | 47.7866
|  | 724 | 47.8517
|  | 725 | 47.9157
|  | 726 | 47.9045
|  | 727 | 48.0053
|  | 728 | 48.0604
|  | 729 | 47.8636
|  | 730 | 47.9269
|  | 731 | 47.9083
|  | 732 | 47.8535
|  | 733 | 48.0184
|  | 734 | 48.1744
|  | 735 | 47.8769
|  | 736 | 47.8673
|  | 737 | 47.9949
|  | 738 | 47.8881
|  | 739 | 48.0277
|  | 740 | 48.1692
|  | 741 | 47.8115
|  | 742 | 47.8563
|  | 743 | 47.8879
|  | 744 | 47.8724
|  | 745 | 47.9257
|  | 746 | 48.1095
|  | 747 | 47.7225
|  | 748 | 47.6654
|  | 749 | 47.6424
|  | 750 | 47.8996
|  | 751 | 47.8995
|  | 752 | 47.9014
|  | 753 | 47.9101
|  | 754 | 47.8986
|  | 755 | 47.8822
|  | 756 | 47.8756
|  | 757 | 47.8669
|  | 758 | 47.8578
|  | 759 | 47.8538
|  | 760 | 47.8373
|  | 761 | 47.8171
|  | 762 | 47.8027
|  | 763 | 47.7869
|  | 764 | 47.7744
|  | 765 | 47.7647
|  | 766 | 47.742
|  | 767 | 47.71
|  | 768 | 47.6866
|  | 769 | 47.6627
|  | 770 | 47.6388
|  | 771 | 47.6209
|  | 772 | 47.5914
|  | 773 | 47.5529
|  | 774 | 47.5255
|  | 775 | 47.4994
|  | 776 | 47.4744
|  | 777 | 47.4512
|  | 778 | 47.4185
|  | 779 | 47.374
|  | 780 | 47.3409
|  | 781 | 47.3127
|  | 782 | 47.2877
|  | 783 | 47.2605
|  | 784 | 47.224
|  | 785 | 47.1762
|  | 786 | 47.1363
|  | 787 | 47.1039
|  | 788 | 47.0733
|  | 789 | 47.0425
|  | 790 | 47.004
|  | 791 | 46.9587
|  | 792 | 46.9231
|  | 793 | 46.8836
|  | 794 | 46.8513
|  | 795 | 46.819
|  | 796 | 46.7753
|  | 797 | 46.7261
|  | 798 | 46.6856
|  | 799 | 46.6481
|  | 800 | 46.6166
|  | 801 | 46.5838
|  | 802 | 46.5405
|  | 803 | 46.4913
|  | 804 | 46.4473
|  | 805 | 46.4083
|  | 806 | 46.3729
|  | 807 | 46.3337
|  | 808 | 46.2889
|  | 809 | 46.2394
|  | 810 | 46.1986
|  | 811 | 46.1573
|  | 812 | 46.1148
|  | 813 | 46.0693
|  | 814 | 46.023
|  | 815 | 45.9819
|  | 816 | 45.9438
|  | 817 | 45.9013
|  | 818 | 45.8597
|  | 819 | 45.8148
|  | 820 | 45.7664
|  | 821 | 45.7207
|  | 822 | 45.6816
|  | 823 | 45.6365
|  | 824 | 45.5858
|  | 825 | 45.5425
|  | 826 | 45.493
|  | 827 | 45.4465
|  | 828 | 45.4089
|  | 829 | 45.3676
|  | 830 | 45.3227
|  | 831 | 45.2795
|  | 832 | 45.2312
|  | 833 | 45.1882
|  | 834 | 45.1505
|  | 835 | 45.1059
|  | 836 | 45.0597
|  | 837 | 45.016
|  | 838 | 44.9692
|  | 839 | 44.9267
|  | 840 | 44.8852
|  | 841 | 44.8387
|  | 842 | 44.7931
|  | 843 | 44.7516
|  | 844 | 44.706
|  | 845 | 44.6633
|  | 846 | 44.6239
|  | 847 | 44.5763
|  | 848 | 44.5236
|  | 849 | 44.48
|  | 850 | 44.4365
|  | 851 | 44.3974
|  | 852 | 44.3597
|  | 853 | 44.3109
|  | 854 | 44.2609
|  | 855 | 44.2193
|  | 856 | 44.1849
|  | 857 | 44.1474
|  | 858 | 44.1071
|  | 859 | 44.0597
|  | 860 | 44.0119
|  | 861 | 43.96
|  | 862 | 43.8951
|  | 863 | 43.8381
|  | 864 | 43.771
|  | 865 | 43.6971
|  | 866 | 43.6155
|  | 867 | 43.5282
|  | 868 | 43.4477
|  | 869 | 43.3785
|  | 870 | 43.3276
|  | 871 | 43.2702
|  | 872 | 43.1743
|  | 873 | 43.0528
|  | 874 | 42.9337
|  | 875 | 42.847
|  | 876 | 42.7934
|  | 877 | 42.7377
|  | 878 | 42.6697
|  | 879 | 42.6018
|  | 880 | 42.5385
|  | 881 | 42.441
|  | 882 | 42.3265
|  | 883 | 42.2234
|  | 884 | 42.1162
|  | 885 | 42.0119
|  | 886 | 41.9337
|  | 887 | 41.8835
|  | 888 | 41.8362
|  | 889 | 41.7639
|  | 890 | 41.6614
|  | 891 | 41.5538
|  | 892 | 41.4449
|  | 893 | 41.3697
|  | 894 | 41.3395
|  | 895 | 41.3052
|  | 896 | 41.2594
|  | 897 | 41.2026
|  | 898 | 41.1593
|  | 899 | 41.1375
|  | 900 | 41.0886
|  | 901 | 41.0106
|  | 902 | 40.9284
|  | 903 | 40.8571
|  | 904 | 40.8073
|  | 905 | 40.7794
|  | 906 | 40.7658
|  | 907 | 40.731
|  | 908 | 40.6416
|  | 909 | 40.5562
|  | 910 | 40.5266
|  | 911 | 40.5116
|  | 912 | 40.4644
|  | 913 | 40.4066
|  | 914 | 40.3733
|  | 915 | 40.3648
|  | 916 | 40.3665
|  | 917 | 40.3434
|  | 918 | 40.2797
|  | 919 | 40.1972
|  | 920 | 40.0951
|  | 921 | 40.0188
|  | 922 | 39.9925
|  | 923 | 39.9868
|  | 924 | 39.9819
|  | 925 | 39.9471
|  | 926 | 39.8566
|  | 927 | 39.7711
|  | 928 | 39.7397
|  | 929 | 39.7066
|  | 930 | 39.6233
|  | 931 | 39.5563
|  | 932 | 39.5565
|  | 933 | 39.5427
|  | 934 | 39.494
|  | 935 | 39.4576
|  | 936 | 39.4229
|  | 937 | 39.4055
|  | 938 | 39.3995
|  | 939 | 39.3615
|  | 940 | 39.3069
|  | 941 | 39.2535
|  | 942 | 39.1965
|  | 943 | 39.1384
|  | 944 | 39.0912
|  | 945 | 39.0754
|  | 946 | 39.0257
|  | 947 | 38.9645
|  | 948 | 38.9443
|  | 949 | 38.9427
|  | 950 | 38.9084
|  | 951 | 38.8338
|  | 952 | 38.8088
|  | 953 | 38.8162
|  | 954 | 38.7853
|  | 955 | 38.7139
|  | 956 | 38.6404
|  | 957 | 38.5891
|  | 958 | 38.5939
|  | 959 | 38.5703
|  | 960 | 38.4945
|  | 961 | 38.4454
|  | 962 | 38.4355
|  | 963 | 38.4309
|  | 964 | 38.3778
|  | 965 | 38.3332
|  | 966 | 38.325
|  | 967 | 38.2748
|  | 968 | 38.2307
|  | 969 | 38.2192
|  | 970 | 38.1762
|  | 971 | 38.118
|  | 972 | 38.0899
|  | 973 | 38.0835
|  | 974 | 38.0127
|  | 975 | 37.972
|  | 976 | 37.9623
|  | 977 | 37.9478
|  | 978 | 37.9265
|  | 979 | 37.8596
|  | 980 | 37.7719
|  | 981 | 37.7007
|  | 982 | 37.7156
|  | 983 | 37.7359
|  | 984 | 37.7085
|  | 985 | 37.653
|  | 986 | 37.6436
|  | 987 | 37.6328
|  | 988 | 37.5984
|  | 989 | 37.5549
|  | 990 | 37.5143
|  | 991 | 37.4888
|  | 992 | 37.4619
|  | 993 | 37.4633
|  | 994 | 37.4727
|  | 995 | 37.4286
|  | 996 | 37.356
|  | 997 | 37.3002
|  | 998 | 37.273
|  | 999 | 37.271
|  | 1000 | 37.2673
|  | 1001 | 37.1905
|  | 1002 | 37.1412
|  | 1003 | 37.141
|  | 1004 | 37.1483
|  | 1005 | 37.1249
|  | 1006 | 37.1121
|  | 1007 | 37.0814
|  | 1008 | 37.0435
|  | 1009 | 37.0069
|  | 1010 | 36.9948
|  | 1011 | 37.0072
|  | 1012 | 37.0314
|  | 1013 | 37.0444
|  | 1014 | 36.9951
|  | 1015 | 36.9548
|  | 1016 | 36.9084
|  | 1017 | 36.8784
|  | 1018 | 36.8631
|  | 1019 | 36.8489
|  | 1020 | 36.8502
|  | 1021 | 36.8331
|  | 1022 | 36.7719
|  | 1023 | 36.6986
|  | 1024 | 36.7031
|  | 1025 | 36.6802
|  | 1026 | 36.6351
|  | 1027 | 36.5905
|  | 1028 | 36.569
|  | 1029 | 36.5985
|  | 1030 | 36.5915
|  | 1031 | 36.5819
|  | 1032 | 36.5616
|  | 1033 | 36.5463
|  | 1034 | 36.5013
|  | 1035 | 36.4925
|  | 1036 | 36.4931
|  | 1037 | 36.4863
|  | 1038 | 36.4852
|  | 1039 | 36.4468
|  | 1040 | 36.3668
|  | 1041 | 36.3169
|  | 1042 | 36.3299
|  | 1043 | 36.3321
|  | 1044 | 36.2858
|  | 1045 | 36.2466
|  | 1046 | 36.2154
|  | 1047 | 36.1972
|  | 1048 | 36.2289
|  | 1049 | 36.2369
|  | 1050 | 36.1918
|  | 1051 | 36.1596
|  | 1052 | 36.1424
|  | 1053 | 36.1304
|  | 1054 | 36.12
|  | 1055 | 36.1189
|  | 1056 | 36.0984
|  | 1057 | 36.0607
|  | 1058 | 36.0298
|  | 1059 | 36.0313
|  | 1060 | 36.0356
|  | 1061 | 35.9928
|  | 1062 | 35.989
|  | 1063 | 35.9837
|  | 1064 | 35.9977
|  | 1065 | 36.0274
|  | 1066 | 36.0395
|  | 1067 | 36.0054
|  | 1068 | 35.9611
|  | 1069 | 35.9227
|  | 1070 | 35.8579
|  | 1071 | 35.8268
|  | 1072 | 35.8902
|  | 1073 | 35.9473
|  | 1074 | 35.9477
|  | 1075 | 35.9357
|  | 1076 | 35.9051
|  | 1077 | 35.8587
|  | 1078 | 35.8385
|  | 1079 | 35.8679
|  | 1080 | 35.8848
|  | 1081 | 35.8774
|  | 1082 | 35.8761
|  | 1083 | 35.8831
|  | 1084 | 35.8447
|  | 1085 | 35.8236
|  | 1086 | 35.8659
|  | 1087 | 35.9122
|  | 1088 | 35.9211
|  | 1089 | 35.9423
|  | 1090 | 35.9623
|  | 1091 | 35.9511
|  | 1092 | 35.9217
|  | 1093 | 35.8916
|  | 1094 | 35.8696
|  | 1095 | 35.8541
|  | 1096 | 35.8344
|  | 1097 | 35.8293
|  | 1098 | 35.8356
|  | 1099 | 35.8241
|  | 1100 | 35.7841
|  | 1101 | 35.7676
|  | 1102 | 35.8285
|  | 1103 | 35.8822
|  | 1104 | 35.8874
|  | 1105 | 35.8759
|  | 1106 | 35.8624
|  | 1107 | 35.8498
|  | 1108 | 35.8303
|  | 1109 | 35.8189
|  | 1110 | 35.7926
|  | 1111 | 35.735
|  | 1112 | 35.708
|  | 1113 | 35.7058
|  | 1114 | 35.6988
|  | 1115 | 35.705
|  | 1116 | 35.7568
|  | 1117 | 35.794
|  | 1118 | 35.7856
|  | 1119 | 35.7726
|  | 1120 | 35.7665
|  | 1121 | 35.777
|  | 1122 | 35.8006
|  | 1123 | 35.8367
|  | 1124 | 35.8688
|  | 1125 | 35.8888
|  | 1126 | 35.8703
|  | 1127 | 35.9042
|  | 1128 | 35.943
|  | 1129 | 35.9843
|  | 1130 | 36.0097
|  | 1131 | 35.9997
|  | 1132 | 35.9635
|  | 1133 | 35.9392
|  | 1134 | 35.9044
|  | 1135 | 35.9321
|  | 1136 | 35.937
|  | 1137 | 35.9364
|  | 1138 | 35.9533
|  | 1139 | 35.9849
|  | 1140 | 36.0417
|  | 1141 | 36.0733
|  | 1142 | 36.0889
|  | 1143 | 36.0872
|  | 1144 | 36.0338
|  | 1145 | 35.9923
|  | 1146 | 35.9852
|  | 1147 | 36.0293
|  | 1148 | 36.0572
|  | 1149 | 36.106
|  | 1150 | 36.1416
|  | 1151 | 36.1761
|  | 1152 | 36.2092
|  | 1153 | 36.19
|  | 1154 | 36.1621
|  | 1155 | 36.1394
|  | 1156 | 36.135
|  | 1157 | 36.1277
|  | 1158 | 36.1058
|  | 1159 | 36.0487
|  | 1160 | 36.0508
|  | 1161 | 36.0585
|  | 1162 | 36.0882
|  | 1163 | 36.1456
|  | 1164 | 36.2595
|  | 1165 | 36.3404
|  | 1166 | 36.3866
|  | 1167 | 36.3672
|  | 1168 | 36.3597
|  | 1169 | 36.3746
|  | 1170 | 36.376
|  | 1171 | 36.3718
|  | 1172 | 36.3787
|  | 1173 | 36.4117
|  | 1174 | 36.4595
|  | 1175 | 36.4918
|  | 1176 | 36.5097
|  | 1177 | 36.5457
|  | 1178 | 36.6034
|  | 1179 | 36.6093
|  | 1180 | 36.628
|  | 1181 | 36.6413
|  | 1182 | 36.6646
|  | 1183 | 36.703
|  | 1184 | 36.741
|  | 1185 | 36.8099
|  | 1186 | 36.896
|  | 1187 | 36.9967
|  | 1188 | 37.1228
|  | 1189 | 37.2743
|  | 1190 | 37.4011
|  | 1191 | 37.4452
|  | 1192 | 37.4362
|  | 1193 | 37.4235
|  | 1194 | 37.4105
|  | 1195 | 37.4113
|  | 1196 | 37.4091
|  | 1197 | 37.4147
|  | 1198 | 37.4584
|  | 1199 | 37.4931
|  | 1200 | 37.5177
|  | 1201 | 37.5308
|  | 1202 | 37.5716
|  | 1203 | 37.6278
|  | 1204 | 37.6933
|  | 1205 | 37.7848
|  | 1206 | 37.8824
|  | 1207 | 37.9809
|  | 1208 | 38.0915
|  | 1209 | 38.1578
|  | 1210 | 38.1641
|  | 1211 | 38.1574
|  | 1212 | 38.1487
|  | 1213 | 38.1299
|  | 1214 | 38.1097
|  | 1215 | 38.0816
|  | 1216 | 38.0478
|  | 1217 | 38.0279
|  | 1218 | 38.0186
|  | 1219 | 38.0264
|  | 1220 | 37.9977
|  | 1221 | 37.9329
|  | 1222 | 37.9021
|  | 1223 | 37.9506
|  | 1224 | 38.0051
|  | 1225 | 38.0319
|  | 1226 | 38.0317
|  | 1227 | 38.0374
|  | 1228 | 38.059
|  | 1229 | 38.0818
|  | 1230 | 38.0623
|  | 1231 | 38.0422
|  | 1232 | 38.0333
|  | 1233 | 38.0313
|  | 1234 | 38.0365
|  | 1235 | 38.069
|  | 1236 | 38.0865
|  | 1237 | 38.0871
|  | 1238 | 38.099
|  | 1239 | 38.1335
|  | 1240 | 38.1756
|  | 1241 | 38.2353
|  | 1242 | 38.3113
|  | 1243 | 38.3943
|  | 1244 | 38.476
|  | 1245 | 38.5486
|  | 1246 | 38.6015
|  | 1247 | 38.6517
|  | 1248 | 38.6996
|  | 1249 | 38.7319
|  | 1250 | 38.7471
|  | 1251 | 38.7463
|  | 1252 | 38.767
|  | 1253 | 38.7843
|  | 1254 | 38.7778
|  | 1255 | 38.7683
|  | 1256 | 38.7646
|  | 1257 | 38.7953
|  | 1258 | 38.8764
|  | 1259 | 38.987
|  | 1260 | 39.1128
|  | 1261 | 39.2399
|  | 1262 | 39.3359
|  | 1263 | 39.3828
|  | 1264 | 39.4183
|  | 1265 | 39.4624
|  | 1266 | 39.4853
|  | 1267 | 39.4782
|  | 1268 | 39.4754
|  | 1269 | 39.4763
|  | 1270 | 39.4761
|  | 1271 | 39.4837
|  | 1272 | 39.4923
|  | 1273 | 39.506
|  | 1274 | 39.5277
|  | 1275 | 39.5576
|  | 1276 | 39.6028
|  | 1277 | 39.6595
|  | 1278 | 39.7251
|  | 1279 | 39.7728
|  | 1280 | 39.8192
|  | 1281 | 39.8582
|  | 1282 | 39.8921
|  | 1283 | 39.9614
|  | 1284 | 40.0703
|  | 1285 | 40.1863
|  | 1286 | 40.2953
|  | 1287 | 40.4042
|  | 1288 | 40.5088
|  | 1289 | 40.5905
|  | 1290 | 40.6493
|  | 1291 | 40.6888
|  | 1292 | 40.7063
|  | 1293 | 40.6878
|  | 1294 | 40.6876
|  | 1295 | 40.7497
|  | 1296 | 40.8427
|  | 1297 | 40.9518
|  | 1298 | 41.0691
|  | 1299 | 41.1986
|  | 1300 | 41.3165
|  | 1301 | 41.3862
|  | 1302 | 41.4272
|  | 1303 | 41.4646
|  | 1304 | 41.5111
|  | 1305 | 41.569
|  | 1306 | 41.6376
|  | 1307 | 41.7004
|  | 1308 | 41.7375
|  | 1309 | 41.7419
|  | 1310 | 41.7586
|  | 1311 | 41.8027
|  | 1312 | 41.8577
|  | 1313 | 41.9363
|  | 1314 | 42.0277
|  | 1315 | 42.0867
|  | 1316 | 42.1207
|  | 1317 | 42.1531
|  | 1318 | 42.1893
|  | 1319 | 42.2124
|  | 1320 | 42.2241
|  | 1321 | 42.2474
|  | 1322 | 42.2823
|  | 1323 | 42.3204
|  | 1324 | 42.3709
|  | 1325 | 42.4508
|  | 1326 | 42.5458
|  | 1327 | 42.6367
|  | 1328 | 42.7068
|  | 1329 | 42.7268
|  | 1330 | 42.7243
|  | 1331 | 42.7075
|  | 1332 | 42.707
|  | 1333 | 42.745
|  | 1334 | 42.799
|  | 1335 | 42.8488
|  | 1336 | 42.8954
|  | 1337 | 42.938
|  | 1338 | 42.9805
|  | 1339 | 43.0345
|  | 1340 | 43.1435
|  | 1341 | 43.3421
|  | 1342 | 43.5413
|  | 1343 | 43.6574
|  | 1344 | 43.7024
|  | 1345 | 43.7115
|  | 1346 | 43.7646
|  | 1347 | 43.8724
|  | 1348 | 44.0045
|  | 1349 | 44.1043
|  | 1350 | 44.1951
|  | 1351 | 44.254
|  | 1352 | 44.2311
|  | 1353 | 44.1982
|  | 1354 | 44.2419
|  | 1355 | 44.4335
|  | 1356 | 44.6306
|  | 1357 | 44.6963
|  | 1358 | 44.6093
|  | 1359 | 44.4152
|  | 1360 | 44.2846
|  | 1361 | 44.4333
|  | 1362 | 44.6793
|  | 1363 | 44.8261
|  | 1364 | 44.9647
|  | 1365 | 45.1033
|  | 1366 | 45.0921
|  | 1367 | 45.0629
|  | 1368 | 45.1071
|  | 1369 | 45.1295
|  | 1370 | 45.2094
|  | 1371 | 45.4115
|  | 1372 | 45.5276
|  | 1373 | 45.4755
|  | 1374 | 45.4192
|  | 1375 | 45.5613
|  | 1376 | 45.8362
|  | 1377 | 46.1095
|  | 1378 | 46.1297
|  | 1379 | 45.8325
|  | 1380 | 45.4802
|  | 1381 | 45.318
|  | 1382 | 45.3565
|  | 1383 | 45.5058
|  | 1384 | 45.7146
|  | 1385 | 45.8506
|  | 1386 | 45.8782
|  | 1387 | 45.858
|  | 1388 | 46.003
|  | 1389 | 46.2132
|  | 1390 | 46.3443
|  | 1391 | 46.5929
|  | 1392 | 46.8216
|  | 1393 | 46.6352
|  | 1394 | 46.38
|  | 1395 | 46.5102
|  | 1396 | 46.765
|  | 1397 | 46.6806
|  | 1398 | 46.5689
|  | 1399 | 46.6263
|  | 1400 | 46.9586
|  | 1401 | 47.3442
|  | 1402 | 47.3431
|  | 1403 | 47.1032
|  | 1404 | 46.9993
|  | 1405 | 47.0273
|  | 1406 | 46.9998
|  | 1407 | 46.838
|  | 1408 | 46.7091
|  | 1409 | 46.7149
|  | 1410 | 46.8776
|  | 1411 | 47.1932
|  | 1412 | 47.4549
|  | 1413 | 47.649
|  | 1414 | 47.835
|  | 1415 | 47.8894
|  | 1416 | 47.8831
|  | 1417 | 47.8833
|  | 1418 | 47.9776
|  | 1419 | 48.0674
|  | 1420 | 47.91
|  | 1421 | 47.7589
|  | 1422 | 47.8589
|  | 1423 | 47.9784
|  | 1424 | 48.0814
|  | 1425 | 48.3137
|  | 1426 | 48.4976
|  | 1427 | 48.4007
|  | 1428 | 48.2015
|  | 1429 | 48.3388
|  | 1430 | 48.6817
|  | 1431 | 48.8977
|  | 1432 | 48.7872
|  | 1433 | 48.6443
|  | 1434 | 48.7919
|  | 1435 | 48.918
|  | 1436 | 48.9789
|  | 1437 | 49.0305
|  | 1438 | 49.1389
|  | 1439 | 49.254
|  | 1440 | 49.2913
|  | 1441 | 49.2423
|  | 1442 | 49.234
|  | 1443 | 49.2645
|  | 1444 | 49.3917
|  | 1445 | 49.4961
|  | 1446 | 49.4383
|  | 1447 | 49.3894
|  | 1448 | 49.4234
|  | 1449 | 49.5815
|  | 1450 | 49.7183
|  | 1451 | 49.7592
|  | 1452 | 49.8305
|  | 1453 | 49.8527
|  | 1454 | 49.8677
|  | 1455 | 49.9021
|  | 1456 | 49.9311
|  | 1457 | 49.9981
|  | 1458 | 50.1228
|  | 1459 | 50.2295
|  | 1460 | 50.2638
|  | 1461 | 50.2709
|  | 1462 | 50.2952
|  | 1463 | 50.3578
|  | 1464 | 50.3598
|  | 1465 | 50.2692
|  | 1466 | 50.2282
|  | 1467 | 50.2987
|  | 1468 | 50.3493
|  | 1469 | 50.3947
|  | 1470 | 50.4688
|  | 1471 | 50.5581
|  | 1472 | 50.6035
|  | 1473 | 50.6126
|  | 1474 | 50.6261
|  | 1475 | 50.695
|  | 1476 | 50.7749
|  | 1477 | 50.8096
|  | 1478 | 50.8464
|  | 1479 | 50.9135
|  | 1480 | 50.9932
|  | 1481 | 51.0402
|  | 1482 | 51.0256
|  | 1483 | 51.0078
|  | 1484 | 51.0224
|  | 1485 | 51.1526
|  | 1486 | 51.2944
|  | 1487 | 51.3802
|  | 1488 | 51.4748
|  | 1489 | 51.5762
|  | 1490 | 51.6488
|  | 1491 | 51.713
|  | 1492 | 51.7551
|  | 1493 | 51.8295
|  | 1494 | 51.8809
|  | 1495 | 51.8514
|  | 1496 | 51.8717
|  | 1497 | 51.9819
|  | 1498 | 52.0811
|  | 1499 | 52.1755
|  | 1500 | 52.2452
|  | 1501 | 52.2593
|  | 1502 | 52.2716
|  | 1503 | 52.2988
|  | 1504 | 52.3659
|  | 1505 | 52.4527
|  | 1506 | 52.5506
|  | 1507 | 52.6297
|  | 1508 | 52.6161
|  | 1509 | 52.6389
|  | 1510 | 52.6812
|  | 1511 | 52.7403
|  | 1512 | 52.8107
|  | 1513 | 52.8743
|  | 1514 | 52.9046
|  | 1515 | 52.8743
|  | 1516 | 52.8766
|  | 1517 | 52.9304
|  | 1518 | 52.9841
|  | 1519 | 53.0406
|  | 1520 | 53.0558
|  | 1521 | 52.9851
|  | 1522 | 52.9044
|  | 1523 | 52.8398
|  | 1524 | 52.8621
|  | 1525 | 52.8937
|  | 1526 | 52.9609
|  | 1527 | 53.0704
|  | 1528 | 53.1234
|  | 1529 | 53.1126
|  | 1530 | 53.09
|  | 1531 | 53.0991
|  | 1532 | 53.1245
|  | 1533 | 53.2145
|  | 1534 | 53.2808
|  | 1535 | 53.3123
|  | 1536 | 53.3375
|  | 1537 | 53.3599
|  | 1538 | 53.3934
|  | 1539 | 53.4506
|  | 1540 | 53.5257
|  | 1541 | 53.514
|  | 1542 | 53.5103
|  | 1543 | 53.5127
|  | 1544 | 53.5065
|  | 1545 | 53.5006
|  | 1546 | 53.5684
|  | 1547 | 53.693
|  | 1548 | 53.8025
|  | 1549 | 53.8567
|  | 1550 | 53.8397
|  | 1551 | 53.7357
|  | 1552 | 53.6393
|  | 1553 | 53.6333
|  | 1554 | 53.669
|  | 1555 | 53.766
|  | 1556 | 53.8637
|  | 1557 | 53.9636
|  | 1558 | 54.0063
|  | 1559 | 53.9637
|  | 1560 | 53.9149
|  | 1561 | 53.9567
|  | 1562 | 54.0537
|  | 1563 | 54.144
|  | 1564 | 54.2365
|  | 1565 | 54.2577
|  | 1566 | 54.2105
|  | 1567 | 54.1926
|  | 1568 | 54.2086
|  | 1569 | 54.2824
|  | 1570 | 54.3297
|  | 1571 | 54.3267
|  | 1572 | 54.2938
|  | 1573 | 54.3094
|  | 1574 | 54.3165
|  | 1575 | 54.3584
|  | 1576 | 54.4392
|  | 1577 | 54.5099
|  | 1578 | 54.5158
|  | 1579 | 54.4565
|  | 1580 | 54.3819
|  | 1581 | 54.3131
|  | 1582 | 54.301
|  | 1583 | 54.4068
|  | 1584 | 54.578
|  | 1585 | 54.7349
|  | 1586 | 54.8101
|  | 1587 | 54.7768
|  | 1588 | 54.7429
|  | 1589 | 54.6882
|  | 1590 | 54.6422
|  | 1591 | 54.6623
|  | 1592 | 54.7113
|  | 1593 | 54.7212
|  | 1594 | 54.6659
|  | 1595 | 54.6164
|  | 1596 | 54.5749
|  | 1597 | 54.6074
|  | 1598 | 54.7028
|  | 1599 | 54.7922
|  | 1600 | 54.8355
|  | 1601 | 54.8068
|  | 1602 | 54.7927
|  | 1603 | 54.8253
|  | 1604 | 54.8817
|  | 1605 | 54.9176
|  | 1606 | 54.9666
|  | 1607 | 54.9609
|  | 1608 | 54.8908
|  | 1609 | 54.824
|  | 1610 | 54.8066
|  | 1611 | 54.8591
|  | 1612 | 54.9023
|  | 1613 | 54.9416
|  | 1614 | 54.9835
|  | 1615 | 54.9847
|  | 1616 | 54.9176
|  | 1617 | 54.852
|  | 1618 | 54.8532
|  | 1619 | 54.9053
|  | 1620 | 54.954
|  | 1621 | 55.0207
|  | 1622 | 55.0928
|  | 1623 | 55.1371
|  | 1624 | 55.1304
|  | 1625 | 55.0826
|  | 1626 | 55.0788
|  | 1627 | 55.1049
|  | 1628 | 55.1304
|  | 1629 | 55.1432
|  | 1630 | 55.1622
|  | 1631 | 55.1777
|  | 1632 | 55.1803
|  | 1633 | 55.1485
|  | 1634 | 55.0978
|  | 1635 | 55.0919
|  | 1636 | 55.1551
|  | 1637 | 55.2409
|  | 1638 | 55.2755
|  | 1639 | 55.2589
|  | 1640 | 55.2158
|  | 1641 | 55.2198
|  | 1642 | 55.2526
|  | 1643 | 55.282
|  | 1644 | 55.3355
|  | 1645 | 55.3981
|  | 1646 | 55.4311
|  | 1647 | 55.4047
|  | 1648 | 55.3619
|  | 1649 | 55.3558
|  | 1650 | 55.351
|  | 1651 | 55.3354
|  | 1652 | 55.3278
|  | 1653 | 55.336
|  | 1654 | 55.3416
|  | 1655 | 55.3469
|  | 1656 | 55.3484
|  | 1657 | 55.3635
|  | 1658 | 55.3788
|  | 1659 | 55.3788
|  | 1660 | 55.3762
|  | 1661 | 55.3723
|  | 1662 | 55.364
|  | 1663 | 55.3503
|  | 1664 | 55.3493
|  | 1665 | 55.3869
|  | 1666 | 55.4351
|  | 1667 | 55.4627
|  | 1668 | 55.5025
|  | 1669 | 55.5646
|  | 1670 | 55.5976
|  | 1671 | 55.6053
|  | 1672 | 55.6017
|  | 1673 | 55.5592
|  | 1674 | 55.5204
|  | 1675 | 55.5175
|  | 1676 | 55.5073
|  | 1677 | 55.4965
|  | 1678 | 55.512
|  | 1679 | 55.6014
|  | 1680 | 55.7117
|  | 1681 | 55.7113
|  | 1682 | 55.6421
|  | 1683 | 55.574
|  | 1684 | 55.5052
|  | 1685 | 55.4588
|  | 1686 | 55.4265
|  | 1687 | 55.4211
|  | 1688 | 55.5
|  | 1689 | 55.6371
|  | 1690 | 55.7313
|  | 1691 | 55.7231
|  | 1692 | 55.6651
|  | 1693 | 55.5924
|  | 1694 | 55.5072
|  | 1695 | 55.4288
|  | 1696 | 55.4145
|  | 1697 | 55.4372
|  | 1698 | 55.464
|  | 1699 | 55.4949
|  | 1700 | 55.5145
|  | 1701 | 55.4916
|  | 1702 | 55.4321
|  | 1703 | 55.4224
|  | 1704 | 55.4503
|  | 1705 | 55.4648
|  | 1706 | 55.4386
|  | 1707 | 55.3705
|  | 1708 | 55.2964
|  | 1709 | 55.2366
|  | 1710 | 55.198
|  | 1711 | 55.1767
|  | 1712 | 55.1778
|  | 1713 | 55.2499
|  | 1714 | 55.3797
|  | 1715 | 55.5342
|  | 1716 | 55.6527
|  | 1717 | 55.6378
|  | 1718 | 55.5651
|  | 1719 | 55.4918
|  | 1720 | 55.3974
|  | 1721 | 55.2682
|  | 1722 | 55.1488
|  | 1723 | 55.1497
|  | 1724 | 55.2005
|  | 1725 | 55.2571
|  | 1726 | 55.3412
|  | 1727 | 55.4222
|  | 1728 | 55.4613
|  | 1729 | 55.4917
|  | 1730 | 55.528
|  | 1731 | 55.5553
|  | 1732 | 55.5245
|  | 1733 | 55.4398
|  | 1734 | 55.4076
|  | 1735 | 55.4035
|  | 1736 | 55.4163
|  | 1737 | 55.4239
|  | 1738 | 55.418
|  | 1739 | 55.3987
|  | 1740 | 55.3936
|  | 1741 | 55.4042
|  | 1742 | 55.3995
|  | 1743 | 55.3711
|  | 1744 | 55.341
|  | 1745 | 55.3204
|  | 1746 | 55.296
|  | 1747 | 55.2616
|  | 1748 | 55.2533
|  | 1749 | 55.3552
|  | 1750 | 55.5155
|  | 1751 | 55.636
|  | 1752 | 55.6681
|  | 1753 | 55.69
|  | 1754 | 55.7016
|  | 1755 | 55.6499
|  | 1756 | 55.5736
|  | 1757 | 55.5204
|  | 1758 | 55.4966
|  | 1759 | 55.476
|  | 1760 | 55.4385
|  | 1761 | 55.3693
|  | 1762 | 55.2909
|  | 1763 | 55.2104
|  | 1764 | 55.1643
|  | 1765 | 55.2297
|  | 1766 | 55.3266
|  | 1767 | 55.4344
|  | 1768 | 55.5401
|  | 1769 | 55.6895
|  | 1770 | 55.8115
|  | 1771 | 55.845
|  | 1772 | 55.8161
|  | 1773 | 55.7468
|  | 1774 | 55.6648
|  | 1775 | 55.6085
|  | 1776 | 55.6363
|  | 1777 | 55.654
|  | 1778 | 55.5932
|  | 1779 | 55.496
|  | 1780 | 55.4396
|  | 1781 | 55.4393
|  | 1782 | 55.4286
|  | 1783 | 55.3927
|  | 1784 | 55.4243
|  | 1785 | 55.4719
|  | 1786 | 55.541
|  | 1787 | 55.6459
|  | 1788 | 55.7556
|  | 1789 | 55.8068
|  | 1790 | 55.8283
|  | 1791 | 55.844
|  | 1792 | 55.8461
|  | 1793 | 55.866
|  | 1794 | 55.8785
|  | 1795 | 55.9217
|  | 1796 | 56.0413
|  | 1797 | 56.1092
|  | 1798 | 56.0629
|  | 1799 | 55.9761
|  | 1800 | 55.9152
|  | 1801 | 55.8453
|  | 1802 | 55.8153
|  | 1803 | 55.8984
|  | 1804 | 55.9591
|  | 1805 | 56.052
|  | 1806 | 56.154
|  | 1807 | 56.2301
|  | 1808 | 56.1669
|  | 1809 | 56.0405
|  | 1810 | 56.0178
|  | 1811 | 56.0904
|  | 1812 | 56.1962
|  | 1813 | 56.2399
|  | 1814 | 56.3428
|  | 1815 | 56.5492
|  | 1816 | 56.7029
|  | 1817 | 56.6116
|  | 1818 | 56.2747
|  | 1819 | 55.9166
|  | 1820 | 55.8981
|  | 1821 | 56.2484
|  | 1822 | 56.5693
|  | 1823 | 56.6969
|  | 1824 | 56.6607
|  | 1825 | 56.5985
|  | 1826 | 56.5691
|  | 1827 | 56.463
|  | 1828 | 56.2798
|  | 1829 | 56.1226
|  | 1830 | 56.2417
|  | 1831 | 56.538
|  | 1832 | 56.6176
|  | 1833 | 56.5447
|  | 1834 | 56.3972
|  | 1835 | 56.371
|  | 1836 | 56.4414
|  | 1837 | 56.3923
|  | 1838 | 56.1618
|  | 1839 | 55.9594
|  | 1840 | 56.031
|  | 1841 | 56.5265
|  | 1842 | 57.153
|  | 1843 | 57.4923
|  | 1844 | 57.2254
|  | 1845 | 56.6119
|  | 1846 | 56.0223
|  | 1847 | 55.892
|  | 1848 | 56.1679
|  | 1849 | 56.6291
|  | 1850 | 57.105
|  | 1851 | 57.349
|  | 1852 | 57.1839
|  | 1853 | 56.8076
|  | 1854 | 56.5137
|  | 1855 | 56.4769
|  | 1856 | 56.5815
|  | 1857 | 56.5785
|  | 1858 | 56.5073
|  | 1859 | 56.5669
|  | 1860 | 56.7585
|  | 1861 | 57.0109
|  | 1862 | 57.1188
|  | 1863 | 56.9942
|  | 1864 | 56.9452
|  | 1865 | 57.0376
|  | 1866 | 57.1144
|  | 1867 | 56.977
|  | 1868 | 56.829
|  | 1869 | 56.7254
|  | 1870 | 56.9365
|  | 1871 | 57.132
|  | 1872 | 57.0624
|  | 1873 | 56.7371
|  | 1874 | 56.1979
|  | 1875 | 55.854
|  | 1876 | 56.1712
|  | 1877 | 56.8701
|  | 1878 | 57.4901
|  | 1879 | 57.5151
|  | 1880 | 57.1255
|  | 1881 | 56.6344
|  | 1882 | 56.3979
|  | 1883 | 56.4896
|  | 1884 | 56.8234
|  | 1885 | 57.0305
|  | 1886 | 57.1876
|  | 1887 | 57.2823
|  | 1888 | 57.2462
|  | 1889 | 57.1861
|  | 1890 | 57.1062
|  | 1891 | 57.0282
|  | 1892 | 57.0977
|  | 1893 | 57.2643
|  | 1894 | 57.3476
|  | 1895 | 57.3811
|  | 1896 | 57.2754
|  | 1897 | 56.9575
|  | 1898 | 56.7533
|  | 1899 | 56.842
|  | 1900 | 57.2103
|  | 1901 | 57.609
|  | 1902 | 57.688
|  | 1903 | 57.5816
|  | 1904 | 57.4508
|  | 1905 | 57.3304
|  | 1906 | 57.4606
|  | 1907 | 57.7427
|  | 1908 | 57.8771
|  | 1909 | 57.8474
|  | 1910 | 57.6139
|  | 1911 | 57.3621
|  | 1912 | 57.2336
|  | 1913 | 57.3904
|  | 1914 | 57.7242
|  | 1915 | 57.9725
|  | 1916 | 57.9521
|  | 1917 | 57.7728
|  | 1918 | 57.4518
|  | 1919 | 57.1323
|  | 1920 | 57.054
|  | 1921 | 57.1927
|  | 1922 | 57.4651
|  | 1923 | 57.6623
|  | 1924 | 57.5074
|  | 1925 | 57.1427
|  | 1926 | 56.8786
|  | 1927 | 56.7483
|  | 1928 | 56.855
|  | 1929 | 57.2047
|  | 1930 | 57.5887
|  | 1931 | 57.7467
|  | 1932 | 57.5633
|  | 1933 | 57.3557
|  | 1934 | 57.3363
|  | 1935 | 57.4607
|  | 1936 | 57.6775
|  | 1937 | 57.7501
|  | 1938 | 57.6371
|  | 1939 | 57.5002
|  | 1940 | 57.3463
|  | 1941 | 57.28
|  | 1942 | 57.3948
|  | 1943 | 57.5856
|  | 1944 | 57.7309
|  | 1945 | 57.7595
|  | 1946 | 57.5443
|  | 1947 | 57.3876
|  | 1948 | 57.3614
|  | 1949 | 57.5233
|  | 1950 | 57.7992
|  | 1951 | 58.0078
|  | 1952 | 58.0618
|  | 1953 | 58.0885
|  | 1954 | 58.1029
|  | 1955 | 58.0688
|  | 1956 | 58.0868
|  | 1957 | 58.2039
|  | 1958 | 58.2717
|  | 1959 | 58.317
|  | 1960 | 58.3215
|  | 1961 | 58.3318
|  | 1962 | 58.3314
|  | 1963 | 58.3109
|  | 1964 | 58.3062
|  | 1965 | 58.3861
|  | 1966 | 58.4923
|  | 1967 | 58.6172
|  | 1968 | 58.657
|  | 1969 | 58.6805
|  | 1970 | 58.6983
|  | 1971 | 58.6818
|  | 1972 | 58.7619
|  | 1973 | 58.8138
|  | 1974 | 58.8307
|  | 1975 | 58.8795
|  | 1976 | 58.9142
|  | 1977 | 58.9495
|  | 1978 | 59.0103
|  | 1979 | 59.0053
|  | 1980 | 58.9818
|  | 1981 | 58.923
|  | 1982 | 58.8549
|  | 1983 | 58.8475
|  | 1984 | 58.9207
|  | 1985 | 58.9529
|  | 1986 | 58.9352
|  | 1987 | 58.9559
|  | 1988 | 58.9857
|  | 1989 | 58.9564
|  | 1990 | 58.9346
|  | 1991 | 58.9386
|  | 1992 | 58.9977
|  | 1993 | 59.039
|  | 1994 | 59.0674
|  | 1995 | 59.1207
|  | 1996 | 59.1428
|  | 1997 | 59.1091
|  | 1998 | 59.0459
|  | 1999 | 59.0099
|  | 2000.0658 | 59.0249
|  | 2009.9427 | 59.0688
|  | 2020.0986 | 59.1466
|  | 2029.9693 | 59.3265
|  | 2039.837 | 59.4993
|  | 2049.9835 | 59.6786
|  | 2059.845 | 59.8402
|  | 2069.985 | 60.068
|  | 2079.8403 | 60.3064
|  | 2089.9739 | 60.4329
|  | 2099.8228 | 60.5678
|  | 2109.9499 | 60.677
|  | 2119.7925 | 60.7694
|  | 2129.913 | 60.9094
|  | 2140.0301 | 61.0734
|  | 2149.8629 | 61.161
|  | 2159.9734 | 61.1801
|  | 2169.7997 | 61.209
|  | 2179.9034 | 61.389
|  | 2190.0037 | 61.5802
|  | 2199.8201 | 61.8072
|  | 2209.9135 | 62.0001
|  | 2219.7232 | 62.1937
|  | 2229.8097 | 62.2963
|  | 2239.8927 | 62.4394
|  | 2249.6922 | 62.3969
|  | 2259.7683 | 62.56
|  | 2269.8407 | 62.7428
|  | 2279.9096 | 63.0361
|  | 2289.6953 | 63.2049
|  | 2299.757 | 63.3154
|  | 2309.8151 | 63.5162
|  | 2319.8696 | 63.6586
|  | 2329.6413 | 63.7613
|  | 2339.6885 | 63.8244
|  | 2349.732 | 63.9371
|  | 2359.7718 | 64.1829
|  | 2369.8079 | 64.3427
|  | 2379.8403 | 64.4548
|  | 2389.5903 | 64.4324
|  | 2399.6153 | 64.4515
|  | 2409.6364 | 64.4441
|  | 2419.6537 | 64.4934
|  | 2429.6672 | 64.5856
|  | 2439.6769 | 64.7092
|  | 2449.6827 | 64.8243
|  | 2459.6847 | 65.0024
|  | 2469.6827 | 65.1552
|  | 2479.6769 | 65.2869
|  | 2489.6672 | 65.2907
|  | 2499.6535 | 65.359
|  | 2509.6359 | 65.3474
|  | 2519.6143 | 65.3703
|  | 2529.5887 | 65.3676
|  | 2539.5591 | 65.4528
|  | 2549.5256 | 65.4282
|  | 2559.488 | 65.5018
|  | 2569.7229 | 65.7523
|  | 2579.6771 | 65.9739
|  | 2589.6272 | 65.9608
|  | 2599.5732 | 65.8789
|  | 2609.5151 | 65.876
|  | 2619.4529 | 65.9889
|  | 2629.6624 | 66.0991
|  | 2639.5918 | 66.2197
|  | 2649.5171 | 66.3374
|  | 2659.4381 | 66.2698
|  | 2669.6304 | 66.1014
|  | 2679.5429 | 66.0228
|  | 2689.4511 | 65.8112
|  | 2699.6302 | 65.4122
|  | 2709.5299 | 64.2338
|  | 2719.4252 | 61.9469
|  | 2729.591 | 58.0014
|  | 2739.4777 | 52.6097
|  | 2749.36 | 46.6221
|  | 2759.5123 | 41.064
|  | 2769.3858 | 36.3194
|  | 2779.529 | 32.6196
|  | 2789.3936 | 29.9489
|  | 2799.5277 | 28.0641
|  | 2809.3833 | 26.8624
|  | 2819.5081 | 25.9925
|  | 2829.3548 | 25.6136
|  | 2839.4703 | 25.4263
|  | 2849.3079 | 25.3002
|  | 2859.414 | 25.254
|  | 2869.5154 | 25.3542
|  | 2879.3392 | 25.7239
|  | 2889.4311 | 26.1281
|  | 2899.2457 | 26.5533
|  | 2909.3281 | 26.8102
|  | 2919.4056 | 27.1764
|  | 2929.2061 | 27.6065
|  | 2939.2741 | 28.1439
|  | 2949.3371 | 28.6671
|  | 2959.3952 | 29.1032
|  | 2969.1767 | 29.6133
|  | 2979.2251 | 30.1746
|  | 2989.2684 | 30.6437
|  | 2999.3068 | 31.1897
|  | 3009.3402 | 31.6046
|  | 3019.3686 | 32.1252
|  | 3029.3919 | 32.3977
|  | 3039.1395 | 32.8187
|  | 3049.1528 | 33.3591
|  | 3059.1611 | 33.8526
|  | 3069.1643 | 34.354
|  | 3079.1623 | 34.7716
|  | 3089.1552 | 35.3317
|  | 3099.1429 | 35.8974
|  | 3109.1255 | 36.4141
|  | 3119.1029 | 36.9561
|  | 3129.0751 | 37.3931
|  | 3139.3114 | 37.8072
|  | 3149.273 | 38.4307
|  | 3159.2293 | 39.084
|  | 3169.1804 | 39.6968
|  | 3179.1261 | 40.2575
|  | 3189.0666 | 40.6603
|  | 3199.2702 | 41.0713
|  | 3209.1999 | 41.524
|  | 3219.1242 | 41.8954
|  | 3229.0432 | 42.4971
|  | 3239.2246 | 42.7923
|  | 3249.1326 | 43.3114
|  | 3259.0352 | 43.6252
|  | 3269.1998 | 43.9873
|  | 3279.0914 | 44.225
|  | 3288.9775 | 44.2985
|  | 3299.125 | 44.3865
|  | 3309 | 44.3977
|  | 3319.1361 | 44.2416
|  | 3328.9998 | 43.9383
|  | 3339.1244 | 43.4637
|  | 3348.9769 | 43.0566
|  | 3359.0898 | 42.6559
|  | 3368.9309 | 42.2468
|  | 3379.0322 | 41.6115
|  | 3389.1275 | 40.5969
|  | 3398.9514 | 39.5974
|  | 3409.035 | 38.3902
|  | 3419.1125 | 37.3464
|  | 3428.9191 | 35.9881
|  | 3438.9847 | 34.6866
|  | 3449.0443 | 33.1829
|  | 3458.8333 | 31.7173
|  | 3468.8809 | 30.433
|  | 3478.9224 | 29.1856
|  | 3488.9578 | 27.8046
|  | 3498.987 | 26.2877
|  | 3509.0101 | 24.6869
|  | 3519.027 | 23.2583
|  | 3529.0377 | 21.9721
|  | 3538.779 | 20.7216
|  | 3548.7774 | 19.6877
|  | 3558.7696 | 18.6762
|  | 3568.7556 | 17.8082
|  | 3578.9978 | 16.8854
|  | 3588.971 | 15.9784
|  | 3598.9378 | 15.2771
|  | 3608.8984 | 14.604
|  | 3618.8526 | 14.0203
|  | 3628.8004 | 13.4042
|  | 3638.7418 | 12.8974
|  | 3648.9383 | 12.5839
|  | 3658.8667 | 12.6459
|  | 3668.7887 | 12.8451
|  | 3678.7043 | 12.9997
|  | 3688.874 | 13.0815
|  | 3698.7765 | 13.4289
|  | 3708.6724 | 14.3722
|  | 3718.8219 | 15.1241
|  | 3728.7046 | 15.8612
|  | 3738.8405 | 16.2896
|  | 3748.7099 | 17.1872
|  | 3758.8321 | 18.0807
|  | 3768.6881 | 19.0075
|  | 3778.7966 | 19.6275
|  | 3788.6391 | 20.4685
|  | 3798.7337 | 21.2493
|  | 3808.8213 | 22.1965
|  | 3818.6434 | 22.5694
|  | 3828.717 | 22.9998
|  | 3838.7835 | 23.5444
|  | 3848.5851 | 24.0156
|  | 3858.6376 | 24.3393
|  | 3868.6829 | 24.0475
|  | 3878.721 | 23.8231
|  | 3888.7519 | 23.2856
|  | 3898.5188 | 22.9591
|  | 3908.5355 | 22.6633
|  | 3918.5449 | 22.3777
|  | 3928.5471 | 21.9907
|  | 3938.542 | 21.1833
|  | 3948.5296 | 20.409
|  | 3958.5099 | 19.6586
|  | 3968.4829 | 19.4853
|  | 3978.7039 | 19.156
|  | 3988.662 | 18.5988
|  | 3998.6126 | 17.9291
|  | 4008.5559 | 17.5247
|  | 4018.4917 | 17.2932
|  | 4028.6745 | 17.2672
|  | 4038.5952 | 17.1135
|  | 4048.5084 | 17.283
|  | 4058.4141 | 17.3029
|  | 4068.566 | 17.5495
|  | 4078.4565 | 17.4851
|  | 4088.5927 | 17.4857
|  | 4098.4678 | 17.2767
|  | 4108.5883 | 17.58
|  | 4118.448 | 17.7435
|  | 4128.5526 | 18.2461
|  | 4138.3969 | 18.2703
|  | 4148.4856 | 18.6675
|  | 4158.5662 | 18.7205
|  | 4168.387 | 18.8955
|  | 4178.4516 | 18.6315
|  | 4188.508 | 18.6355
|  | 4198.3052 | 18.6265
|  | 4208.3454 | 18.4444
|  | 4218.3775 | 18.5357
|  | 4228.4014 | 17.9
|  | 4238.417 | 17.5461
|  | 4248.4243 | 17.8847
|  | 4258.4234 | 18.2202
|  | 4268.4142 | 17.6064
|  | 4278.3966 | 16.5762
|  | 4288.3707 | 15.6292
|  | 4298.3365 | 15.3554
|  | 4308.2938 | 14.6456
|  | 4318.2428 | 14.5115
|  | 4328.4318 | 14.6102
|  | 4338.3636 | 14.256
|  | 4348.2871 | 13.7517
|  | 4358.202 | 13.2843
|  | 4368.3561 | 12.7567
|  | 4378.2538 | 12.0811
|  | 4388.3901 | 11.4077
|  | 4398.2706 | 10.8832
|  | 4408.3891 | 10.3887
|  | 4418.2521 | 9.9523
|  | 4428.3528 | 9.4409
|  | 4438.1984 | 9.0798
|  | 4448.2812 | 8.5181
|  | 4458.3548 | 8.091
|  | 4468.1739 | 7.6638
|  | 4478.2295 | 7.2682
|  | 4488.2759 | 6.7981
|  | 4498.3131 | 6.4461
|  | 4508.0966 | 6.1305
|  | 4518.1156 | 6.1305
|  | 4528.1254 | 6.0244
|  | 4538.1258 | 5.7704
|  | 4548.117 | 5.5203
|  | 4558.0988 | 5.303
|  | 4568.0713 | 5.158
|  | 4578.2774 | 4.9912
|  | 4588.2309 | 4.811
|  | 4598.1751 | 4.6411
|  | 4608.1098 | 4.4985
|  | 4618.0351 | 4.3583
|  | 4628.1926 | 4.2258
|  | 4638.0988 | 4.1041
|  | 4647.9954 | 3.9955
|  | 4658.1235 | 3.8888
|  | 4668.0009 | 3.7842
|  | 4678.1092 | 3.6747
|  | 4687.9671 | 3.5568
|  | 4698.0556 | 3.4325
|  | 4708.1339 | 3.3089
|  | 4717.9625 | 3.2063
|  | 4728.0208 | 3.1161
|  | 4738.069 | 3.0339
|  | 4748.107 | 2.9547
|  | 4758.1347 | 2.8753
|  | 4767.9139 | 2.7993
|  | 4777.9214 | 2.7277
|  | 4787.9187 | 2.6624
|  | 4797.9056 | 2.5957
|  | 4807.8823 | 2.5266
|  | 4818.0858 | 2.4615
|  | 4828.0415 | 2.4094
|  | 4837.9869 | 2.3582
|  | 4847.9218 | 2.3063
|  | 4857.8464 | 2.2533
|  | 4867.9964 | 2.2016
|  | 4877.8997 | 2.1539
|  | 4888.028 | 2.1051
|  | 4897.9102 | 2.0627
|  | 4908.0167 | 2.0207
|  | 4917.8775 | 1.988
|  | 4927.9621 | 1.9505
|  | 4937.8015 | 1.9166
|  | 4947.8642 | 1.8803
|  | 4957.9157 | 1.8433
|  | 4967.9561 | 1.8072
|  | 4977.9852 | 1.7737
|  | 4987.7703 | 1.7457
|  | 4997.7773 | 1.7134
|  | 5007.7767 | 1.6802
|  | 5017.5958 | 1.6511
|  | 5028.1691 | 1.6195
|  | 5037.9861 | 1.5892
|  | 5047.802 | 1.5612
|  | 5057.6169 | 1.5356
|  | 5068.1856 | 1.5124
|  | 5077.9983 | 1.4864
|  | 5087.81 | 1.4626
|  | 5097.6206 | 1.4403
|  | 5107.4302 | 1.4183
|  | 5117.9932 | 1.3965
|  | 5127.8006 | 1.377
|  | 5137.6069 | 1.3583
|  | 5147.4122 | 1.3374
|  | 5157.9706 | 1.3172
|  | 5167.7736 | 1.2981
|  | 5177.5757 | 1.2799
|  | 5187.3766 | 1.2644
|  | 5197.9303 | 1.2477
|  | 5207.729 | 1.2324
|  | 5217.5267 | 1.2161
|  | 5227.3232 | 1.2008
|  | 5237.8722 | 1.1883
|  | 5247.6665 | 1.1772
|  | 5257.4598 | 1.1652
|  | 5268.0052 | 1.1527
|  | 5277.7962 | 1.1407
|  | 5287.5861 | 1.1276
|  | 5297.375 | 1.1143
|  | 5307.9156 | 1.1015
|  | 5317.7021 | 1.0883
|  | 5327.4876 | 1.0765
|  | 5337.272 | 1.065
|  | 5347.8078 | 1.0524
|  | 5357.5899 | 1.0406
|  | 5367.3709 | 1.0295
|  | 5377.903 | 1.0188
|  | 5387.6817 | 1.0082
|  | 5397.4593 | 0.9981
|  | 5407.2357 | 0.98925
|  | 5417.763 | 0.97912
|  | 5427.5371 | 0.96949
|  | 5437.3102 | 0.96155
|  | 5447.8337 | 0.95465
|  | 5457.6044 | 0.94756
|  | 5467.374 | 0.93797
|  | 5477.1425 | 0.92893
|  | 5487.6611 | 0.91949
|  | 5497.4272 | 0.91102
|  | 5507.1922 | 0.90295
|  | 5517.7071 | 0.89435
|  | 5527.4697 | 0.88649
|  | 5537.2312 | 0.87805
|  | 5547.7423 | 0.87144
|  | 5557.5014 | 0.86645
|  | 5567.2594 | 0.85953
|  | 5577.7667 | 0.85282
|  | 5587.5223 | 0.8465
|  | 5597.2767 | 0.84046
|  | 5607.7802 | 0.83322
|  | 5617.5322 | 0.82889
|  | 5627.2831 | 0.82367
|  | 5637.0328 | 0.8177
|  | 5647.5312 | 0.81155
|  | 5657.2786 | 0.80708
|  | 5667.0247 | 0.80292
|  | 5677.5193 | 0.79666
|  | 5687.263 | 0.79041
|  | 5697.0055 | 0.78407
|  | 5707.4962 | 0.77875
|  | 5717.2363 | 0.77333
|  | 5726.9752 | 0.76903
|  | 5737.462 | 0.76626
|  | 5747.1985 | 0.76359
|  | 5757.6826 | 0.7589
|  | 5767.4166 | 0.75314
|  | 5777.1495 | 0.74779
|  | 5787.6296 | 0.74411
|  | 5797.36 | 0.74032
|  | 5807.0892 | 0.73556
|  | 5817.5654 | 0.7304
|  | 5827.2921 | 0.72751
|  | 5837.0176 | 0.72235
|  | 5847.4898 | 0.71715
|  | 5857.2128 | 0.71378
|  | 5866.9346 | 0.70869
|  | 5877.4028 | 0.70399
|  | 5887.1221 | 0.69958
|  | 5897.5877 | 0.69514
|  | 5907.3044 | 0.69124
|  | 5917.0199 | 0.68862
|  | 5927.4815 | 0.68547
|  | 5937.1945 | 0.68067
|  | 5946.9062 | 0.67695
|  | 5957.3637 | 0.67321
|  | 5967.0729 | 0.66999
|  | 5977.5276 | 0.66703
|  | 5987.2343 | 0.66278
|  | 5996.9398 | 0.65946
|  | 6007.3904 | 0.65877
|  | 6017.0933 | 0.65679
|  | 6026.7949 | 0.65362
|  | 6037.2414 | 0.65092
|  | 6046.9405 | 0.64978
|  | 6057.3842 | 0.64891
|  | 6067.0807 | 0.64672
|  | 6076.7759 | 0.64521
|  | 6087.2155 | 0.64118
|  | 6096.9081 | 0.63808
|  | 6107.3449 | 0.63598
|  | 6117.0349 | 0.63285
|  | 6126.7237 | 0.63042
|  | 6137.1563 | 0.62783
|  | 6146.8424 | 0.62518
|  | 6157.2722 | 0.62218
|  | 6166.9557 | 0.61948
|  | 6177.3827 | 0.61688
|  | 6187.0635 | 0.61375
|  | 6196.7431 | 0.61083
|  | 6207.1659 | 0.60743
|  | 6216.8428 | 0.60404
|  | 6227.2627 | 0.6011
|  | 6236.9369 | 0.59812
|  | 6246.6099 | 0.59565
|  | 6257.0255 | 0.59365
|  | 6266.6958 | 0.5908
|  | 6277.1086 | 0.58812
|  | 6286.7762 | 0.58523
|  | 6297.1861 | 0.58272
|  | 6306.851 | 0.58055
|  | 6317.2579 | 0.57769
|  | 6326.9202 | 0.57561
|  | 6336.5811 | 0.57291
|  | 6346.9837 | 0.57107
|  | 6356.6419 | 0.56823
|  | 6367.0416 | 0.56643
|  | 6376.6971 | 0.56449
|  | 6387.0939 | 0.56418
|  | 6396.7467 | 0.56303
|  | 6407.1405 | 0.56191
|  | 6416.7905 | 0.5594
|  | 6427.1814 | 0.55773
|  | 6436.8287 | 0.55632
|  | 6446.4746 | 0.55531
|  | 6456.8611 | 0.55296
|  | 6466.5043 | 0.55048
|  | 6476.8878 | 0.54817
|  | 6486.5282 | 0.54611
|  | 6496.9087 | 0.54359
|  | 6506.5464 | 0.54088
|  | 6516.9239 | 0.53835
|  | 6526.5588 | 0.5368
|  | 6536.9333 | 0.53471
|  | 6546.5654 | 0.53267
|  | 6556.9369 | 0.53207
|  | 6566.5662 | 0.53055
|  | 6576.9346 | 0.5289
|  | 6586.5611 | 0.52661
|  | 6596.9265 | 0.52513
|  | 6606.5502 | 0.52391
|  | 6616.9126 | 0.52173
|  | 6626.5334 | 0.52026
|  | 6636.8928 | 0.51878
|  | 6646.5108 | 0.51783
|  | 6656.8671 | 0.5167
|  | 6666.4822 | 0.51512
|  | 6676.8354 | 0.51326
|  | 6686.4477 | 0.51098
|  | 6696.7979 | 0.50953
|  | 6706.4073 | 0.50835
|  | 6716.7543 | 0.50681
|  | 6726.3609 | 0.50542
|  | 6736.7049 | 0.50338
|  | 6746.3085 | 0.50411
|  | 6756.6494 | 0.50312
|  | 6766.2502 | 0.50282
|  | 6776.5879 | 0.50103
|  | 6786.9241 | 0.49998
|  | 6796.5205 | 0.4979
|  | 6806.8535 | 0.49648
|  | 6816.4469 | 0.49615
|  | 6826.7768 | 0.49588
|  | 6836.3674 | 0.49569
|  | 6846.6941 | 0.49427
|  | 6856.2817 | 0.49235
|  | 6866.6053 | 0.4913
|  | 6876.19 | 0.49034
|  | 6886.5104 | 0.49001
|  | 6896.8291 | 0.49019
|  | 6906.4093 | 0.4897
|  | 6916.7249 | 0.48873
|  | 6926.3022 | 0.48749
|  | 6936.6146 | 0.48651
|  | 6946.1889 | 0.48504
|  | 6956.4981 | 0.48339
|  | 6966.8056 | 0.48202
|  | 6976.3754 | 0.48066
|  | 6986.6797 | 0.47884
|  | 6996.2465 | 0.47696
|  | 7006.5476 | 0.47518
|  | 7016.1114 | 0.47374
|  | 7026.4093 | 0.47187
|  | 7036.7055 | 0.47052
|  | 7046.2647 | 0.46925
|  | 7056.5577 | 0.46774
|  | 7066.1139 | 0.46641
|  | 7076.4036 | 0.4652
|  | 7086.6916 | 0.46424
|  | 7096.2432 | 0.46334
|  | 7106.528 | 0.46242
|  | 7116.0766 | 0.46095
|  | 7126.358 | 0.45956
|  | 7136.6378 | 0.4586
|  | 7146.1817 | 0.45743
|  | 7156.4582 | 0.45603
|  | 7165.9991 | 0.45517
|  | 7176.2723 | 0.45432
|  | 7186.5438 | 0.45335
|  | 7196.08 | 0.45248
|  | 7206.3482 | 0.45089
|  | 7216.6146 | 0.44924
|  | 7226.1461 | 0.44823
|  | 7236.4093 | 0.44677
|  | 7245.9377 | 0.44517
|  | 7256.1975 | 0.44433
|  | 7266.4555 | 0.44359
|  | 7275.9793 | 0.4422
|  | 7286.234 | 0.44118
|  | 7296.4869 | 0.44018
|  | 7306.0059 | 0.43869
|  | 7316.2555 | 0.43719
|  | 7326.5034 | 0.4363
|  | 7336.0176 | 0.43562
|  | 7346.2621 | 0.43538
|  | 7356.5048 | 0.43478
|  | 7366.0143 | 0.43353
|  | 7376.2536 | 0.43243
|  | 7386.4912 | 0.43106
|  | 7395.9959 | 0.4299
|  | 7406.23 | 0.42847
|  | 7416.4624 | 0.42722
|  | 7425.9623 | 0.4261
|  | 7436.1913 | 0.42516
|  | 7446.4185 | 0.42403
|  | 7455.9135 | 0.42261
|  | 7466.1373 | 0.42124
|  | 7476.3593 | 0.42019
|  | 7485.8495 | 0.41952
|  | 7496.068 | 0.41844
|  | 7506.2847 | 0.41754
|  | 7515.7701 | 0.417
|  | 7525.9834 | 0.41699
|  | 7536.1948 | 0.41759
|  | 7545.6753 | 0.41773
|  | 7555.8833 | 0.417
|  | 7566.0895 | 0.41588
|  | 7576.2939 | 0.41471
|  | 7585.7678 | 0.41343
|  | 7595.9687 | 0.41299
|  | 7606.1678 | 0.41204
|  | 7615.6367 | 0.41102
|  | 7625.8323 | 0.40994
|  | 7636.0261 | 0.40876
|  | 7646.218 | 0.40779
|  | 7655.6803 | 0.40712
|  | 7665.8687 | 0.40621
|  | 7676.0553 | 0.40526
|  | 7686.2401 | 0.40427
|  | 7695.6957 | 0.40307
|  | 7705.8769 | 0.40218
|  | 7716.0562 | 0.40101
|  | 7726.2338 | 0.39991
|  | 7735.6827 | 0.39878
|  | 7745.8566 | 0.39819
|  | 7756.0287 | 0.39737
|  | 7766.199 | 0.39639
|  | 7775.6412 | 0.39523
|  | 7785.8078 | 0.39452
|  | 7795.9727 | 0.39334
|  | 7806.1356 | 0.3924
|  | 7815.571 | 0.39128
|  | 7825.7303 | 0.39013
|  | 7835.8878 | 0.3894
|  | 7846.0435 | 0.38891
|  | 7855.472 | 0.3878
|  | 7865.624 | 0.3869
|  | 7875.7741 | 0.38595
|  | 7885.9224 | 0.38493
|  | 7896.0687 | 0.3844
|  | 7905.4887 | 0.38361
|  | 7915.6314 | 0.38273
|  | 7925.7722 | 0.38234
|  | 7935.9112 | 0.38175
|  | 7946.0482 | 0.38125
|  | 7955.4595 | 0.38023
|  | 7965.5929 | 0.37945
|  | 7975.7243 | 0.3784
|  | 7985.8539 | 0.37763
|  | 7995.9816 | 0.37706
|  | 8005.3841 | 0.37705
|  | 8015.5081 | 0.37675
|  | 8025.6302 | 0.37679
|  | 8035.7503 | 0.37674
|  | 8045.8686 | 0.37662
|  | 8055.9849 | 0.37585
|  | 8065.3769 | 0.37495
|  | 8075.4895 | 0.37422
|  | 8085.6002 | 0.37386
|  | 8095.7089 | 0.37368
|  | 8105.8157 | 0.37299
|  | 8115.9206 | 0.3722
|  | 8125.3019 | 0.37184
|  | 8135.4031 | 0.37156
|  | 8145.5023 | 0.37111
|  | 8155.5995 | 0.37016
|  | 8165.6948 | 0.36925
|  | 8175.7881 | 0.3688
|  | 8185.8795 | 0.36846
|  | 8195.2484 | 0.36789
|  | 8205.336 | 0.36732
|  | 8215.4216 | 0.36636
|  | 8225.5053 | 0.36592
|  | 8235.5871 | 0.36529
|  | 8245.6668 | 0.36495
|  | 8255.7446 | 0.36407
|  | 8265.8204 | 0.3638
|  | 8275.1748 | 0.36291
|  | 8285.2468 | 0.36203
|  | 8295.3169 | 0.36194
|  | 8305.3849 | 0.36141
|  | 8315.451 | 0.36072
|  | 8325.5151 | 0.35982
|  | 8335.5772 | 0.35934
|  | 8345.6373 | 0.35853
|  | 8355.6954 | 0.358
|  | 8365.7515 | 0.35798
|  | 8375.0876 | 0.35782
|  | 8385.1398 | 0.35779
|  | 8395.1901 | 0.35736
|  | 8405.2383 | 0.35669
|  | 8415.2846 | 0.35585
|  | 8425.3288 | 0.35547
|  | 8435.3711 | 0.35527
|  | 8445.4113 | 0.35533
|  | 8455.4495 | 0.35578
|  | 8465.4856 | 0.35586
|  | 8475.5198 | 0.35576
|  | 8485.5519 | 0.35503
|  | 8495.582 | 0.35438
|  | 8505.6101 | 0.35353
|  | 8515.6362 | 0.35302
|  | 8525.6602 | 0.35311
|  | 8535.6821 | 0.35327
|  | 8544.9864 | 0.35354
|  | 8555.0045 | 0.35376
|  | 8565.0205 | 0.35373
|  | 8575.0344 | 0.35334
|  | 8585.0463 | 0.35295
|  | 8595.0562 | 0.35223
|  | 8605.064 | 0.3519
|  | 8615.0697 | 0.3512
|  | 8625.0734 | 0.35099
|  | 8635.075 | 0.35087
|  | 8645.0746 | 0.35056
|  | 8655.0721 | 0.35012
|  | 8665.0675 | 0.34942
|  | 8675.0609 | 0.34878
|  | 8685.0522 | 0.34797
|  | 8695.0414 | 0.3472
|  | 8705.0286 | 0.34654
|  | 8715.0136 | 0.34593
|  | 8724.9966 | 0.34516
|  | 8734.9775 | 0.34438
|  | 8744.9563 | 0.34373
|  | 8754.9331 | 0.34372
|  | 8764.9077 | 0.3438
|  | 8774.8802 | 0.34388
|  | 8784.8507 | 0.34341
|  | 8794.819 | 0.34263
|  | 8804.7853 | 0.34208
|  | 8815.4611 | 0.34131
|  | 8825.4229 | 0.3408
|  | 8835.3827 | 0.34016
|  | 8845.3404 | 0.33939
|  | 8855.296 | 0.33881
|  | 8865.2494 | 0.33857
|  | 8875.2007 | 0.33852
|  | 8885.1499 | 0.33833
|  | 8895.097 | 0.33758
|  | 8905.042 | 0.33704
|  | 8914.9848 | 0.33643
|  | 8924.9255 | 0.33598
|  | 8934.8641 | 0.33578
|  | 8944.8005 | 0.33584
|  | 8954.7348 | 0.33587
|  | 8965.3764 | 0.33569
|  | 8975.3062 | 0.33522
|  | 8985.234 | 0.33455
|  | 8995.1595 | 0.33383
|  | 9005.083 | 0.33329
|  | 9015.0042 | 0.33259
|  | 9024.9234 | 0.33242
|  | 9034.8404 | 0.33177
|  | 9044.7552 | 0.33122
|  | 9054.6678 | 0.33078
|  | 9065.2861 | 0.33023
|  | 9075.1943 | 0.32969
|  | 9085.1003 | 0.329
|  | 9095.0041 | 0.32856
|  | 9104.9058 | 0.32815
|  | 9114.8053 | 0.32763
|  | 9124.7026 | 0.32755
|  | 9134.5978 | 0.32721
|  | 9145.1973 | 0.32697
|  | 9155.0879 | 0.32722
|  | 9164.9763 | 0.32756
|  | 9174.8625 | 0.32692
|  | 9184.7466 | 0.32686
|  | 9194.6284 | 0.32724
|  | 9204.5081 | 0.32703
|  | 9215.091 | 0.32693
|  | 9224.9661 | 0.327
|  | 9234.839 | 0.32727
|  | 9244.7097 | 0.32722
|  | 9254.5782 | 0.32682
|  | 9265.1491 | 0.32616
|  | 9275.013 | 0.32573
|  | 9284.8747 | 0.32536
|  | 9294.7342 | 0.32503
|  | 9304.5914 | 0.32444
|  | 9314.4465 | 0.32381
|  | 9325.0029 | 0.32328
|  | 9334.8534 | 0.32291
|  | 9344.7016 | 0.32256
|  | 9354.5475 | 0.32216
|  | 9364.3912 | 0.32155
|  | 9374.9356 | 0.32117
|  | 9384.7747 | 0.32059
|  | 9394.6115 | 0.3201
|  | 9404.4461 | 0.31967
|  | 9414.9807 | 0.31918
|  | 9424.8107 | 0.31861
|  | 9434.6384 | 0.31833
|  | 9444.4638 | 0.31803
|  | 9454.9886 | 0.31782
|  | 9464.8094 | 0.31727
|  | 9474.6279 | 0.31676
|  | 9484.4441 | 0.31653
|  | 9494.959 | 0.31592
|  | 9504.7706 | 0.31572
|  | 9514.5798 | 0.31545
|  | 9524.3869 | 0.31483
|  | 9534.8918 | 0.31431
|  | 9544.6941 | 0.3139
|  | 9554.4942 | 0.31329
|  | 9564.2919 | 0.3129
|  | 9574.7869 | 0.31233
|  | 9584.5799 | 0.31206
|  | 9594.3706 | 0.31175
|  | 9604.8581 | 0.31162
|  | 9614.6441 | 0.31159
|  | 9624.4278 | 0.31151
|  | 9634.2091 | 0.3113
|  | 9644.6866 | 0.31074
|  | 9654.4632 | 0.31031
|  | 9664.2375 | 0.30987
|  | 9674.7074 | 0.31008
|  | 9684.4769 | 0.31019
|  | 9694.2441 | 0.30962
|  | 9704.7064 | 0.30941
|  | 9714.4688 | 0.30895
|  | 9724.2289 | 0.30849
|  | 9734.6835 | 0.30799
|  | 9744.4388 | 0.30747
|  | 9754.1918 | 0.3072
|  | 9764.6387 | 0.30682
|  | 9774.3869 | 0.30625
|  | 9784.1326 | 0.30615
|  | 9794.5719 | 0.30591
|  | 9804.3129 | 0.30544
|  | 9814.747 | 0.30509
|  | 9824.4831 | 0.30483
|  | 9834.2168 | 0.30469
|  | 9844.6432 | 0.30465
|  | 9854.3721 | 0.30468
|  | 9864.0986 | 0.30461
|  | 9874.5172 | 0.30464
|  | 9884.2389 | 0.30474
|  | 9894.6523 | 0.30457
|  | 9904.369 | 0.30425
|  | 9914.0834 | 0.30382
|  | 9924.489 | 0.30339
|  | 9934.1985 | 0.30297
|  | 9944.5989 | 0.30263
|  | 9954.3034 | 0.30215
|  | 9964.0056 | 0.30168
|  | 9974.3981 | 0.30121
|  | 9984.0954 | 0.30066
|  | 9994.4826 | 0.30048
|  | 10004.1749 | 0.30026
|  | 10014.5569 | 0.29982
|  | 10024.2442 | 0.29963
|  | 10033.9292 | 0.2994
|  | 10044.3033 | 0.29887
|  | 10053.9832 | 0.29848
|  | 10064.352 | 0.29815
|  | 10074.027 | 0.29791
|  | 10084.3904 | 0.29767
|  | 10094.0605 | 0.29788
|  | 10104.4185 | 0.2984
|  | 10114.0835 | 0.29839
|  | 10124.4363 | 0.29808
|  | 10134.0963 | 0.29766
|  | 10144.4436 | 0.29731
|  | 10154.0986 | 0.29694
|  | 10164.4406 | 0.29659
|  | 10174.0906 | 0.29656
|  | 10184.4271 | 0.2964
|  | 10194.0721 | 0.29596
|  | 10204.4032 | 0.29584
|  | 10214.0431 | 0.2958
|  | 10224.3689 | 0.29539
|  | 10234.0037 | 0.2949
|  | 10244.3241 | 0.29455
|  | 10253.9539 | 0.29407
|  | 10264.2688 | 0.29375
|  | 10273.8935 | 0.29354
|  | 10284.2029 | 0.29309
|  | 10293.8226 | 0.29299
|  | 10304.1266 | 0.293
|  | 10313.7411 | 0.29274
|  | 10324.0396 | 0.2925
|  | 10334.3353 | 0.29247
|  | 10343.9421 | 0.29238
|  | 10354.2323 | 0.29199
|  | 10363.834 | 0.29172
|  | 10374.1187 | 0.29148
|  | 10383.7153 | 0.29118
|  | 10393.9945 | 0.29082
|  | 10404.2709 | 0.29044
|  | 10413.8596 | 0.29046
|  | 10424.1305 | 0.29062
|  | 10433.7141 | 0.29048
|  | 10443.9794 | 0.29042
|  | 10454.2419 | 0.29051
|  | 10463.8176 | 0.2905
|  | 10474.0746 | 0.29009
|  | 10483.6451 | 0.2897
|  | 10493.8965 | 0.28949
|  | 10504.145 | 0.28926
|  | 10513.7077 | 0.28899
|  | 10523.9506 | 0.28863
|  | 10534.1907 | 0.28848
|  | 10543.7455 | 0.2883
|  | 10553.9799 | 0.28813
|  | 10564.2115 | 0.28771
|  | 10573.7584 | 0.28743
|  | 10583.9843 | 0.28702
|  | 10593.5259 | 0.28668
|  | 10603.7463 | 0.28627
|  | 10613.9638 | 0.2858
|  | 10624.1783 | 0.28553
|  | 10633.7092 | 0.2852
|  | 10643.9181 | 0.28496
|  | 10654.1241 | 0.28468
|  | 10663.6471 | 0.2844
|  | 10673.8474 | 0.2843
|  | 10684.0449 | 0.28414
|  | 10693.5598 | 0.28383
|  | 10703.7515 | 0.28353
|  | 10713.9404 | 0.28347
|  | 10723.4473 | 0.28312
|  | 10733.6304 | 0.28288
|  | 10743.8106 | 0.2826
|  | 10753.9878 | 0.28267
|  | 10763.4839 | 0.2823
|  | 10773.6555 | 0.28185
|  | 10783.8241 | 0.28143
|  | 10793.9897 | 0.28129
|  | 10803.4749 | 0.28106
|  | 10813.6349 | 0.28111
|  | 10823.7918 | 0.28121
|  | 10833.9458 | 0.28129
|  | 10843.4201 | 0.28096
|  | 10853.5684 | 0.28098
|  | 10863.7136 | 0.28083
|  | 10873.8559 | 0.28073
|  | 10883.3193 | 0.28075
|  | 10893.4559 | 0.28075
|  | 10903.5894 | 0.28071
|  | 10913.7199 | 0.28051
|  | 10923.8475 | 0.2801
|  | 10933.2971 | 0.27976
|  | 10943.4189 | 0.27966
|  | 10953.5376 | 0.27952
|  | 10963.6534 | 0.27964
|  | 10973.7661 | 0.27964
|  | 10983.8759 | 0.2802
|  | 10993.3089 | 0.28051
|  | 11003.4128 | 0.28075
|  | 11013.5137 | 0.28062
|  | 11023.6116 | 0.2808
|  | 11033.7064 | 0.28107
|  | 11043.7982 | 0.28145
|  | 11053.2146 | 0.28157
|  | 11063.3005 | 0.28121
|  | 11073.3835 | 0.28089
|  | 11083.4634 | 0.28064
|  | 11093.5402 | 0.28032
|  | 11103.6141 | 0.27993
|  | 11113.6848 | 0.27959
|  | 11123.7526 | 0.27919
|  | 11133.1464 | 0.27881
|  | 11143.2082 | 0.27843
|  | 11153.267 | 0.27806
|  | 11163.3227 | 0.27798
|  | 11173.3753 | 0.2777
|  | 11183.4249 | 0.27731
|  | 11193.4715 | 0.27722
|  | 11203.5149 | 0.27697
|  | 11213.5553 | 0.27697
|  | 11223.5926 | 0.27729
|  | 11233.6269 | 0.27712
|  | 11243.658 | 0.27678
|  | 11253.6861 | 0.277
|  | 11263.7111 | 0.27692
|  | 11273.065 | 0.2767
|  | 11283.084 | 0.27662
|  | 11293.0999 | 0.27633
|  | 11303.1127 | 0.27596
|  | 11313.1225 | 0.2757
|  | 11323.1291 | 0.27597
|  | 11333.1326 | 0.27598
|  | 11343.133 | 0.27564
|  | 11353.1303 | 0.27564
|  | 11363.1245 | 0.27548
|  | 11373.1156 | 0.27545
|  | 11383.1036 | 0.27506
|  | 11393.0884 | 0.27475
|  | 11403.0701 | 0.27468
|  | 11413.0487 | 0.27433
|  | 11423.0242 | 0.27423
|  | 11432.9965 | 0.27459
|  | 11442.9657 | 0.27488
|  | 11452.9318 | 0.27507
|  | 11463.5588 | 0.27479
|  | 11473.5183 | 0.27468
|  | 11483.4748 | 0.27445
|  | 11493.428 | 0.27411
|  | 11503.3782 | 0.27373
|  | 11513.3251 | 0.27354
|  | 11523.2689 | 0.27316
|  | 11533.2096 | 0.27298
|  | 11543.1471 | 0.27264
|  | 11553.0814 | 0.27252
|  | 11563.0126 | 0.27238
|  | 11572.9405 | 0.27209
|  | 11582.8654 | 0.27217
|  | 11593.4483 | 0.27202
|  | 11603.3666 | 0.27179
|  | 11613.2817 | 0.27162
|  | 11623.1935 | 0.27135
|  | 11633.1022 | 0.27122
|  | 11643.0077 | 0.2709
|  | 11652.9101 | 0.27065
|  | 11662.8092 | 0.27055
|  | 11673.3647 | 0.27083
|  | 11683.2572 | 0.27138
|  | 11693.1465 | 0.27167
|  | 11703.0326 | 0.27202
|  | 11712.9155 | 0.27203
|  | 11722.7952 | 0.27201
|  | 11733.33 | 0.27174
|  | 11743.203 | 0.27188
|  | 11753.0729 | 0.27175
|  | 11762.9395 | 0.27157
|  | 11772.8028 | 0.27165
|  | 11783.3202 | 0.27135
|  | 11793.1769 | 0.271
|  | 11803.0304 | 0.27064
|  | 11812.8806 | 0.27028
|  | 11822.7276 | 0.27008
|  | 11833.2275 | 0.26986
|  | 11843.0678 | 0.26969
|  | 11852.9048 | 0.26939
|  | 11862.7386 | 0.26907
|  | 11873.2244 | 0.26879
|  | 11883.0515 | 0.26843
|  | 11892.8753 | 0.26814
|  | 11902.6958 | 0.2679
|  | 11913.1675 | 0.26802
|  | 11922.9813 | 0.2679
|  | 11932.7918 | 0.26778
|  | 11942.5991 | 0.2677
|  | 11953.0565 | 0.26764
|  | 11962.857 | 0.2678
|  | 11972.6542 | 0.26781
|  | 11983.101 | 0.26763
|  | 11992.8914 | 0.26727
|  | 12002.6786 | 0.26705
|  | 12013.1146 | 0.26729
|  | 12022.8949 | 0.26741
|  | 12032.6719 | 0.26744
|  | 12043.0971 | 0.26728
|  | 12052.8674 | 0.26715
|  | 12062.6343 | 0.26713
|  | 12073.0487 | 0.26681
|  | 12082.8087 | 0.26675
|  | 12092.5655 | 0.26651
|  | 12102.9691 | 0.26621
|  | 12112.719 | 0.26588
|  | 12122.4656 | 0.26566
|  | 12132.8583 | 0.2655
|  | 12142.598 | 0.26526
|  | 12152.9833 | 0.26514
|  | 12162.7162 | 0.26482
|  | 12172.4457 | 0.26458
|  | 12182.8201 | 0.26451
|  | 12192.5427 | 0.26461
|  | 12202.9098 | 0.2645
|  | 12212.6255 | 0.26428
|  | 12222.9852 | 0.2647
|  | 12232.694 | 0.2647
|  | 12242.3994 | 0.26466
|  | 12252.7481 | 0.26451
|  | 12262.4466 | 0.26427
|  | 12272.788 | 0.26417
|  | 12282.4795 | 0.26436
|  | 12292.8134 | 0.26409
|  | 12302.498 | 0.26386
|  | 12312.8244 | 0.26378
|  | 12322.502 | 0.26435
|  | 12332.8211 | 0.26477
|  | 12342.4917 | 0.26491
|  | 12352.8033 | 0.265
|  | 12362.4669 | 0.26513
|  | 12372.771 | 0.26494
|  | 12382.4276 | 0.26517
|  | 12392.7242 | 0.26534
|  | 12402.3738 | 0.26546
|  | 12412.6629 | 0.26548
|  | 12422.3055 | 0.26555
|  | 12432.5871 | 0.26583
|  | 12442.2226 | 0.26551
|  | 12452.4967 | 0.26533
|  | 12462.767 | 0.26553
|  | 12472.3918 | 0.26546
|  | 12482.6545 | 0.26539
|  | 12492.2722 | 0.26539
|  | 12502.5274 | 0.2651
|  | 12512.7786 | 0.26482
|  | 12522.3856 | 0.26462
|  | 12532.6293 | 0.26431
|  | 12542.2292 | 0.26423
|  | 12552.4653 | 0.2643
|  | 12562.6975 | 0.26409
|  | 12572.2867 | 0.26384
|  | 12582.5112 | 0.26354
|  | 12592.7319 | 0.26337
|  | 12602.3102 | 0.26312
|  | 12612.5233 | 0.26304
|  | 12622.0945 | 0.26272
|  | 12632.2999 | 0.26254
|  | 12642.5014 | 0.26244
|  | 12652.6989 | 0.26231
|  | 12662.2556 | 0.26202
|  | 12672.4455 | 0.26173
|  | 12682.6314 | 0.26165
|  | 12692.1771 | 0.26164
|  | 12702.3554 | 0.26158
|  | 12712.5297 | 0.26128
|  | 12722.0646 | 0.26102
|  | 12732.2312 | 0.26084
|  | 12742.3939 | 0.2611
|  | 12752.5526 | 0.26113
|  | 12762.0727 | 0.26103
|  | 12772.2237 | 0.2612
|  | 12782.3707 | 0.2611
|  | 12792.5137 | 0.2613
|  | 12802.0191 | 0.26128
|  | 12812.1544 | 0.26149
|  | 12822.2857 | 0.26139
|  | 12832.4129 | 0.26139
|  | 12842.5362 | 0.26135
|  | 12852.0232 | 0.26128
|  | 12862.1387 | 0.26115
|  | 12872.2502 | 0.26104
|  | 12882.3576 | 0.26079
|  | 12892.4611 | 0.26079
|  | 12901.9294 | 0.26096
|  | 12912.0251 | 0.26095
|  | 12922.1167 | 0.26068
|  | 12932.2044 | 0.26064
|  | 12942.2879 | 0.26084
|  | 12952.3675 | 0.26112
|  | 12962.443 | 0.26129
|  | 12971.8851 | 0.26117
|  | 12981.9527 | 0.26094
|  | 12992.0163 | 0.26084
|  | 13002.0759 | 0.26108
|  | 13012.1314 | 0.26096
|  | 13022.1829 | 0.26085
|  | 13032.2302 | 0.26084
|  | 13042.2736 | 0.26065
|  | 13052.3128 | 0.26069
|  | 13062.348 | 0.26071
|  | 13072.3791 | 0.26053
|  | 13081.7795 | 0.26067
|  | 13091.8028 | 0.26102
|  | 13101.8219 | 0.26099
|  | 13111.8369 | 0.26074
|  | 13121.8478 | 0.26062
|  | 13131.8547 | 0.26045
|  | 13141.8574 | 0.2602
|  | 13151.8561 | 0.25994
|  | 13161.8506 | 0.25979
|  | 13171.8411 | 0.25961
|  | 13181.8274 | 0.25961
|  | 13191.8096 | 0.25996
|  | 13201.7877 | 0.25979
|  | 13211.7617 | 0.25964
|  | 13221.7316 | 0.25981
|  | 13231.6973 | 0.2596
|  | 13241.6589 | 0.25957
|  | 13252.2386 | 0.25987
|  | 13262.1917 | 0.25975
|  | 13272.1407 | 0.25992
|  | 13282.0855 | 0.25984
|  | 13292.0262 | 0.25994
|  | 13301.9627 | 0.25987
|  | 13311.8951 | 0.25967
|  | 13321.8233 | 0.25965
|  | 13331.7474 | 0.25988
|  | 13341.6673 | 0.26011
|  | 13351.5831 | 0.26041
|  | 13362.114 | 0.26031
|  | 13372.0211 | 0.26008
|  | 13381.9241 | 0.26015
|  | 13391.8229 | 0.25989
|  | 13401.7176 | 0.2597
|  | 13411.608 | 0.25969
|  | 13422.1121 | 0.25959
|  | 13431.9939 | 0.2594
|  | 13441.8715 | 0.25934
|  | 13451.745 | 0.25931
|  | 13461.6142 | 0.25912
|  | 13472.0957 | 0.25889
|  | 13481.9562 | 0.25861
|  | 13491.8126 | 0.25866
|  | 13501.6648 | 0.2587
|  | 13511.5127 | 0.25855
|  | 13521.9716 | 0.25872
|  | 13531.8108 | 0.2588
|  | 13541.6459 | 0.25863
|  | 13551.4767 | 0.25844
|  | 13561.9173 | 0.25833
|  | 13571.7394 | 0.2583
|  | 13581.5572 | 0.25844
|  | 13591.9841 | 0.25828
|  | 13601.7932 | 0.25817
|  | 13611.5981 | 0.25817
|  | 13621.3987 | 0.25825
|  | 13631.8072 | 0.25827
|  | 13641.5991 | 0.25804
|  | 13651.3867 | 0.25785
|  | 13661.7814 | 0.2577
|  | 13671.5602 | 0.25796
|  | 13681.9455 | 0.25781
|  | 13691.7155 | 0.2579
|  | 13701.4813 | 0.25785
|  | 13711.8527 | 0.25769
|  | 13721.6096 | 0.25756
|  | 13731.3623 | 0.25742
|  | 13741.7198 | 0.25723
|  | 13751.4636 | 0.25696
|  | 13761.8117 | 0.25674
|  | 13771.5467 | 0.25707
|  | 13781.8854 | 0.25745
|  | 13791.6115 | 0.25771
|  | 13801.3333 | 0.25757
|  | 13811.658 | 0.25745
|  | 13821.3709 | 0.25731
|  | 13831.6861 | 0.25741
|  | 13841.3902 | 0.2573
|  | 13851.696 | 0.25766
|  | 13861.3911 | 0.2579
|  | 13871.6874 | 0.25796
|  | 13881.3736 | 0.25781
|  | 13891.6604 | 0.25762
|  | 13901.3377 | 0.25786
|  | 13911.615 | 0.25777
|  | 13921.2833 | 0.2579
|  | 13931.5512 | 0.25825
|  | 13941.2105 | 0.2583
|  | 13951.4688 | 0.25841
|  | 13961.7222 | 0.25815
|  | 13971.3679 | 0.25825
|  | 13981.6118 | 0.2583
|  | 13991.2486 | 0.25839
|  | 14001.4828 | 0.25817
|  | 14011.7122 | 0.25803
|  | 14021.3353 | 0.25802
|  | 14031.5551 | 0.25802
|  | 14041.1691 | 0.25778
|  | 14051.3793 | 0.25776
|  | 14061.5845 | 0.25772
|  | 14071.1849 | 0.25804
|  | 14081.3805 | 0.25876
|  | 14091.5712 | 0.25901
|  | 14101.1578 | 0.25913
|  | 14111.3389 | 0.25892
|  | 14121.5149 | 0.25893
|  | 14131.0878 | 0.25883
|  | 14141.2542 | 0.25879
|  | 14151.4156 | 0.25867
|  | 14161.572 | 0.2587
|  | 14171.1265 | 0.25883
|  | 14181.2732 | 0.25873
|  | 14191.415 | 0.25895
|  | 14201.5517 | 0.25877
|  | 14211.0876 | 0.25851
|  | 14221.2147 | 0.25924
|  | 14231.3367 | 0.2592
|  | 14241.4537 | 0.25905
|  | 14250.971 | 0.25954
|  | 14261.0783 | 0.26001
|  | 14271.1806 | 0.25991
|  | 14281.2778 | 0.26037
|  | 14291.37 | 0.26103
|  | 14301.4572 | 0.26107
|  | 14310.9464 | 0.26105
|  | 14321.0238 | 0.26156
|  | 14331.0961 | 0.26162
|  | 14341.1634 | 0.26161
|  | 14351.2257 | 0.26205
|  | 14361.2829 | 0.2621
|  | 14371.335 | 0.26185
|  | 14381.3821 | 0.26174
|  | 14391.4242 | 0.26178
|  | 14400.8708 | 0.26169
|  | 14410.903 | 0.2615
|  | 14420.9301 | 0.26158
|  | 14430.9521 | 0.26179
|  | 14440.9691 | 0.26185
|  | 14450.9809 | 0.26203
|  | 14460.9877 | 0.26206
|  | 14470.9894 | 0.2619
|  | 14480.986 | 0.26229
|  | 14490.9775 | 0.26257
|  | 14500.9638 | 0.26307
|  | 14510.9451 | 0.26349
|  | 14520.9213 | 0.26419
|  | 14530.8923 | 0.26487
|  | 14540.8582 | 0.26501
|  | 14550.8191 | 0.26486
|  | 14560.7748 | 0.26462
|  | 14571.3105 | 0.26482
|  | 14581.2556 | 0.26564
|  | 14591.1956 | 0.26549
|  | 14601.1305 | 0.26537
|  | 14611.0602 | 0.26571
|  | 14620.9847 | 0.26598
|  | 14630.9042 | 0.26575
|  | 14640.8184 | 0.26559
|  | 14650.7275 | 0.26604
|  | 14661.2139 | 0.26617
|  | 14671.1124 | 0.26706
|  | 14681.0057 | 0.26939
|  | 14690.8939 | 0.27079
|  | 14700.7769 | 0.27115
|  | 14710.6547 | 0.27102
|  | 14721.1079 | 0.27125
|  | 14730.975 | 0.27127
|  | 14740.837 | 0.27114
|  | 14750.6937 | 0.27191
|  | 14761.1246 | 0.27192
|  | 14770.9707 | 0.27182
|  | 14780.8115 | 0.27218
|  | 14790.6472 | 0.27262
|  | 14801.0557 | 0.27303
|  | 14810.8806 | 0.2743
|  | 14820.7003 | 0.27583
|  | 14831.092 | 0.27806
|  | 14840.9009 | 0.27925
|  | 14850.7047 | 0.28004
|  | 14861.0794 | 0.28021
|  | 14870.8724 | 0.28049
|  | 14880.6601 | 0.28028
|  | 14891.0179 | 0.28039
|  | 14900.7948 | 0.28117
|  | 14910.5665 | 0.2824
|  | 14920.9073 | 0.28416
|  | 14930.6681 | 0.28452
|  | 14940.9974 | 0.28442
|  | 14950.7475 | 0.28532
|  | 14960.4923 | 0.28592
|  | 14970.8045 | 0.28691
|  | 14980.5385 | 0.28753
|  | 14990.8392 | 0.28768
|  | 15000.5623 | 0.28747
|  | 15010.8515 | 0.28846
|  | 15020.5637 | 0.28913
|  | 15030.8415 | 0.28958
|  | 15040.5428 | 0.28949
|  | 15050.8089 | 0.29001
|  | 15060.4993 | 0.29151
|  | 15070.754 | 0.29352
|  | 15080.4334 | 0.29419
|  | 15090.6765 | 0.2942
|  | 15100.9136 | 0.29396
|  | 15110.5765 | 0.29424
|  | 15120.802 | 0.29555
|  | 15130.4539 | 0.29672
|  | 15140.6678 | 0.29795
|  | 15150.8757 | 0.29786
|  | 15160.511 | 0.29806
|  | 15170.7073 | 0.29844
|  | 15180.3316 | 0.29919
|  | 15190.5163 | 0.29936
|  | 15200.6949 | 0.2994
|  | 15210.3025 | 0.29969
|  | 15220.4695 | 0.30065
|  | 15230.6305 | 0.3008
|  | 15240.7854 | 0.30163
|  | 15250.3706 | 0.30161
|  | 15260.5139 | 0.30151
|  | 15270.6511 | 0.30179
|  | 15280.7823 | 0.30194
|  | 15290.3451 | 0.30282
|  | 15300.4645 | 0.30432
|  | 15310.5779 | 0.30596
|  | 15320.6853 | 0.30681
|  | 15330.2256 | 0.30785
|  | 15340.3212 | 0.3085
|  | 15350.4107 | 0.30926
|  | 15360.4942 | 0.30954
|  | 15370.5716 | 0.31045
|  | 15380.643 | 0.31176
|  | 15390.7083 | 0.313
|  | 15400.2088 | 0.31359
|  | 15410.2622 | 0.31351
|  | 15420.3096 | 0.31336
|  | 15430.3509 | 0.31347
|  | 15440.3861 | 0.31346
|  | 15450.4152 | 0.314
|  | 15460.4382 | 0.31454
|  | 15470.4551 | 0.31509
|  | 15480.4659 | 0.31502
|  | 15490.4706 | 0.31502
|  | 15500.4692 | 0.31561
|  | 15510.4616 | 0.31615
|  | 15520.4479 | 0.31711
|  | 15530.4281 | 0.31751
|  | 15540.4022 | 0.31746
|  | 15550.3701 | 0.31724
|  | 15560.3319 | 0.31742
|  | 15570.2876 | 0.31754
|  | 15580.2371 | 0.31773
|  | 15590.1804 | 0.31784
|  | 15600.1176 | 0.31876
|  | 15610.0487 | 0.31965
|  | 15620.5247 | 0.3206
|  | 15630.4431 | 0.32091
|  | 15640.3553 | 0.32132
|  | 15650.2613 | 0.32158
|  | 15660.1611 | 0.32137
|  | 15670.0548 | 0.32112
|  | 15680.4914 | 0.3211
|  | 15690.3723 | 0.32087
|  | 15700.2471 | 0.32064
|  | 15710.1156 | 0.3214
|  | 15719.978 | 0.32156
|  | 15730.3815 | 0.32135
|  | 15740.2311 | 0.32143
|  | 15750.0744 | 0.32129
|  | 15759.9116 | 0.32129
|  | 15770.2885 | 0.32111
|  | 15780.1129 | 0.32121
|  | 15789.931 | 0.32168
|  | 15800.2878 | 0.32182
|  | 15810.0931 | 0.32183
|  | 15819.8922 | 0.32166
|  | 15830.2289 | 0.3214
|  | 15840.0151 | 0.32167
|  | 15850.3382 | 0.32165
|  | 15860.1116 | 0.32177
|  | 15869.8787 | 0.32179
|  | 15880.1816 | 0.3217
|  | 15889.9358 | 0.32148
|  | 15900.2252 | 0.32256
|  | 15909.9665 | 0.32352
|  | 15920.2422 | 0.32339
|  | 15929.9706 | 0.32358
|  | 15940.2326 | 0.3237
|  | 15949.9481 | 0.32474
|  | 15960.1965 | 0.32581
|  | 15969.899 | 0.327
|  | 15980.1338 | 0.32703
|  | 15989.8233 | 0.32747
|  | 16000.0444 | 0.32743