## %Transmission
NE05B Transmission
|  | Wavelength (nm) | % Transmission
|  | 200 | 0.035006
|  | 201 | 0.035081
|  | 202 | 0.034779
|  | 203 | 0.034578
Product Raw Data |  | 204 | 0.033944
Unmounted Ø25 mm Absorptive ND Filter, Optical Density: 0.5 |  | 205 | 0.033631
|  | 206 | 0.033349
Item # | NE05B | 207 | 0.033111
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 208 | 0.032849
|  | 209 | 0.032162
|  | 210 | 0.031843
|  | 211 | 0.03172
|  | 212 | 0.031549
|  | 213 | 0.031305
This data may be used in publications. However, please cite Thorlabs as the source. |  | 214 | 0.031104
|  | 215 | 0.030691
|  | 216 | 0.030321
Additional Information: |  | 217 | 0.030068
|  | 218 | 0.029823
|  | 219 | 0.029801
|  | 220 | 0.029503
|  | 221 | 0.029109
|  | 222 | 0.028977
|  | 223 | 0.028833
|  | 224 | 0.028632
|  | 225 | 0.028466
|  | 226 | 0.02836
|  | 227 | 0.028068
|  | 228 | 0.027799
|  | 229 | 0.027487
|  | 230 | 0.027472
|  | 231 | 0.027266
|  | 232 | 0.027239
|  | 233 | 0.026848
|  | 234 | 0.026701
|  | 235 | 0.026541
|  | 236 | 0.026421
|  | 237 | 0.026313
|  | 238 | 0.026243
|  | 239 | 0.025868
|  | 240 | 0.025687
|  | 241 | 0.02557
|  | 242 | 0.025517
|  | 243 | 0.025439
|  | 244 | 0.025347
|  | 245 | 0.025025
|  | 246 | 0.024843
|  | 247 | 0.024648
|  | 248 | 0.024703
|  | 249 | 0.024616
|  | 250 | 0.024474
|  | 251 | 0.024245
|  | 252 | 0.024232
|  | 253 | 0.024025
|  | 254 | 0.024046
|  | 255 | 0.023957
|  | 256 | 0.024029
|  | 257 | 0.023682
|  | 258 | 0.023409
|  | 259 | 0.02325
|  | 260 | 0.023222
|  | 261 | 0.023224
|  | 262 | 0.02327
|  | 263 | 0.022915
|  | 264 | 0.022891
|  | 265 | 0.022754
|  | 266 | 0.022689
|  | 267 | 0.022532
|  | 268 | 0.022429
|  | 269 | 0.022314
|  | 270 | 0.022277
|  | 271 | 0.022035
|  | 272 | 0.022006
|  | 273 | 0.021968
|  | 274 | 0.021883
|  | 275 | 0.021687
|  | 276 | 0.02158
|  | 277 | 0.021384
|  | 278 | 0.021408
|  | 279 | 0.021448
|  | 280 | 0.021149
|  | 281 | 0.021165
|  | 282 | 0.021111
|  | 283 | 0.02092
|  | 284 | 0.020884
|  | 285 | 0.020912
|  | 286 | 0.020754
|  | 287 | 0.02055
|  | 288 | 0.020467
|  | 289 | 0.020285
|  | 290 | 0.020422
|  | 291 | 0.020441
|  | 292 | 0.02033
|  | 293 | 0.020058
|  | 294 | 0.020044
|  | 295 | 0.019985
|  | 296 | 0.019977
|  | 297 | 0.019956
|  | 298 | 0.019854
|  | 299 | 0.019756
|  | 300 | 0.019675
|  | 301 | 0.019746
|  | 302 | 0.01962
|  | 303 | 0.019556
|  | 304 | 0.019499
|  | 305 | 0.019482
|  | 306 | 0.019319
|  | 307 | 0.0193
|  | 308 | 0.019199
|  | 309 | 0.019286
|  | 310 | 0.019198
|  | 311 | 0.01902
|  | 312 | 0.01907
|  | 313 | 0.018964
|  | 314 | 0.018952
|  | 315 | 0.019004
|  | 316 | 0.018778
|  | 317 | 0.018809
|  | 318 | 0.018538
|  | 319 | 0.016212
|  | 320 | 0.01625
|  | 321 | 0.016345
|  | 322 | 0.016591
|  | 323 | 0.01664
|  | 324 | 0.017259
|  | 325 | 0.018186
|  | 326 | 0.020015
|  | 327 | 0.023155
|  | 328 | 0.027931
|  | 329 | 0.03525
|  | 330 | 0.046239
|  | 331 | 0.062131
|  | 332 | 0.083852
|  | 333 | 0.11328
|  | 334 | 0.15255
|  | 335 | 0.20229
|  | 336 | 0.26644
|  | 337 | 0.34994
|  | 338 | 0.45283
|  | 339 | 0.58096
|  | 340 | 0.73071
|  | 341 | 0.90181
|  | 342 | 1.1061
|  | 343 | 1.3275
|  | 344 | 1.5847
|  | 345 | 1.8726
|  | 346 | 2.1964
|  | 347 | 2.5332
|  | 348 | 2.9202
|  | 349 | 3.3405
|  | 350 | 3.8025
|  | 351 | 4.2887
|  | 352 | 4.7949
|  | 353 | 5.2757
|  | 354 | 5.8135
|  | 355 | 6.373
|  | 356 | 6.9769
|  | 357 | 7.6086
|  | 358 | 8.2402
|  | 359 | 8.819
|  | 360 | 9.4674
|  | 361 | 10.0859
|  | 362 | 10.7612
|  | 363 | 11.398
|  | 364 | 12.0106
|  | 365 | 12.5366
|  | 366 | 13.1157
|  | 367 | 13.6087
|  | 368 | 14.0689
|  | 369 | 14.4918
|  | 370 | 14.73
|  | 371 | 14.7576
|  | 372 | 14.7106
|  | 373 | 14.5119
|  | 374 | 14.277
|  | 375 | 14.0293
|  | 376 | 13.8367
|  | 377 | 13.6895
|  | 378 | 13.9034
|  | 379 | 14.2864
|  | 380 | 14.8537
|  | 381 | 15.4991
|  | 382 | 16.3122
|  | 383 | 17.1905
|  | 384 | 18.1946
|  | 385 | 19.1681
|  | 386 | 20.0507
|  | 387 | 20.8146
|  | 388 | 21.6857
|  | 389 | 22.4138
|  | 390 | 23.2083
|  | 391 | 23.9317
|  | 392 | 24.5405
|  | 393 | 24.8917
|  | 394 | 25.4185
|  | 395 | 25.853
|  | 396 | 26.3658
|  | 397 | 26.7828
|  | 398 | 27.1174
|  | 399 | 27.2021
|  | 400 | 27.4263
|  | 401 | 27.6148
|  | 402 | 27.8455
|  | 403 | 28.0038
|  | 404 | 28.1061
|  | 405 | 27.9888
|  | 406 | 28.012
|  | 407 | 28.0441
|  | 408 | 28.161
|  | 409 | 28.1775
|  | 410 | 28.1182
|  | 411 | 27.9501
|  | 412 | 28.0012
|  | 413 | 28.0458
|  | 414 | 28.1374
|  | 415 | 28.2808
|  | 416 | 28.318
|  | 417 | 28.2479
|  | 418 | 28.3485
|  | 419 | 28.5076
|  | 420 | 28.7032
|  | 421 | 28.9178
|  | 422 | 28.9965
|  | 423 | 28.9871
|  | 424 | 29.1264
|  | 425 | 29.2817
|  | 426 | 29.4549
|  | 427 | 29.6555
|  | 428 | 29.7132
|  | 429 | 29.6596
|  | 430 | 29.6835
|  | 431 | 29.762
|  | 432 | 29.8436
|  | 433 | 29.9096
|  | 434 | 29.847
|  | 435 | 29.7108
|  | 436 | 29.6441
|  | 437 | 29.6381
|  | 438 | 29.6798
|  | 439 | 29.7531
|  | 440 | 29.7417
|  | 441 | 29.6484
|  | 442 | 29.6762
|  | 443 | 29.8075
|  | 444 | 29.9715
|  | 445 | 30.1963
|  | 446 | 30.3181
|  | 447 | 30.3663
|  | 448 | 30.5476
|  | 449 | 30.7303
|  | 450 | 31.0017
|  | 451 | 31.3586
|  | 452 | 31.4715
|  | 453 | 31.4626
|  | 454 | 31.6218
|  | 455 | 31.7603
|  | 456 | 31.9732
|  | 457 | 32.2277
|  | 458 | 32.2873
|  | 459 | 32.2199
|  | 460 | 32.2499
|  | 461 | 32.3189
|  | 462 | 32.4372
|  | 463 | 32.5561
|  | 464 | 32.5194
|  | 465 | 32.3745
|  | 466 | 32.3698
|  | 467 | 32.3473
|  | 468 | 32.4004
|  | 469 | 32.4605
|  | 470 | 32.3475
|  | 471 | 32.1604
|  | 472 | 32.1151
|  | 473 | 32.0899
|  | 474 | 32.1323
|  | 475 | 32.1715
|  | 476 | 32.0174
|  | 477 | 31.8004
|  | 478 | 31.7284
|  | 479 | 31.6734
|  | 480 | 31.7097
|  | 481 | 31.7529
|  | 482 | 31.6182
|  | 483 | 31.4181
|  | 484 | 31.3393
|  | 485 | 31.2662
|  | 486 | 31.3067
|  | 487 | 31.3565
|  | 488 | 31.219
|  | 489 | 31.0455
|  | 490 | 31.0045
|  | 491 | 30.9669
|  | 492 | 31.0064
|  | 493 | 31.064
|  | 494 | 30.948
|  | 495 | 30.8096
|  | 496 | 30.7761
|  | 497 | 30.7668
|  | 498 | 30.8293
|  | 499 | 30.8443
|  | 500 | 30.7308
|  | 501 | 30.6142
|  | 502 | 30.6088
|  | 503 | 30.6393
|  | 504 | 30.7038
|  | 505 | 30.7747
|  | 506 | 30.6842
|  | 507 | 30.5851
|  | 508 | 30.5765
|  | 509 | 30.5909
|  | 510 | 30.6863
|  | 511 | 30.7712
|  | 512 | 30.699
|  | 513 | 30.63
|  | 514 | 30.6677
|  | 515 | 30.7146
|  | 516 | 30.8304
|  | 517 | 30.9596
|  | 518 | 30.9221
|  | 519 | 30.8642
|  | 520 | 30.8945
|  | 521 | 30.9755
|  | 522 | 31.1223
|  | 523 | 31.241
|  | 524 | 31.2132
|  | 525 | 31.1907
|  | 526 | 31.2289
|  | 527 | 31.3116
|  | 528 | 31.5013
|  | 529 | 31.6331
|  | 530 | 31.5783
|  | 531 | 31.562
|  | 532 | 31.6344
|  | 533 | 31.7268
|  | 534 | 31.9008
|  | 535 | 32.0123
|  | 536 | 31.9781
|  | 537 | 31.9733
|  | 538 | 32.0486
|  | 539 | 32.1194
|  | 540 | 32.2847
|  | 541 | 32.3616
|  | 542 | 32.261
|  | 543 | 32.2256
|  | 544 | 32.2634
|  | 545 | 32.3955
|  | 546 | 32.4835
|  | 547 | 32.5466
|  | 548 | 32.4265
|  | 549 | 32.3378
|  | 550 | 32.3434
|  | 551 | 32.4134
|  | 552 | 32.454
|  | 553 | 32.3695
|  | 554 | 32.3082
|  | 555 | 32.2273
|  | 556 | 32.1525
|  | 557 | 32.2074
|  | 558 | 32.2687
|  | 559 | 32.2916
|  | 560 | 32.0979
|  | 561 | 32.0825
|  | 562 | 31.977
|  | 563 | 31.8388
|  | 564 | 31.7753
|  | 565 | 31.7832
|  | 566 | 31.8235
|  | 567 | 31.6719
|  | 568 | 31.5106
|  | 569 | 31.3842
|  | 570 | 31.3086
|  | 571 | 31.323
|  | 572 | 31.3504
|  | 573 | 31.1941
|  | 574 | 31.0618
|  | 575 | 30.9529
|  | 576 | 30.8538
|  | 577 | 30.848
|  | 578 | 30.8801
|  | 579 | 30.7294
|  | 580 | 30.5458
|  | 581 | 30.4625
|  | 582 | 30.3964
|  | 583 | 30.4475
|  | 584 | 30.5065
|  | 585 | 30.3647
|  | 586 | 30.2711
|  | 587 | 30.2179
|  | 588 | 30.1508
|  | 589 | 30.2344
|  | 590 | 30.3062
|  | 591 | 30.2303
|  | 592 | 30.1731
|  | 593 | 30.1832
|  | 594 | 30.1425
|  | 595 | 30.2927
|  | 596 | 30.3719
|  | 597 | 30.3177
|  | 598 | 30.2776
|  | 599 | 30.3685
|  | 600 | 30.3955
|  | 601 | 30.4954
|  | 602 | 30.5947
|  | 603 | 30.5907
|  | 604 | 30.5328
|  | 605 | 30.6307
|  | 606 | 30.6548
|  | 607 | 30.7779
|  | 608 | 30.9033
|  | 609 | 30.9295
|  | 610 | 30.87
|  | 611 | 30.9601
|  | 612 | 30.9445
|  | 613 | 31.092
|  | 614 | 31.2247
|  | 615 | 31.175
|  | 616 | 31.1672
|  | 617 | 31.2313
|  | 618 | 31.2819
|  | 619 | 31.405
|  | 620 | 31.5198
|  | 621 | 31.4224
|  | 622 | 31.437
|  | 623 | 31.5059
|  | 624 | 31.4204
|  | 625 | 31.6052
|  | 626 | 31.7549
|  | 627 | 31.5534
|  | 628 | 31.5491
|  | 629 | 31.6058
|  | 630 | 31.5798
|  | 631 | 31.6775
|  | 632 | 31.7542
|  | 633 | 31.5802
|  | 634 | 31.5606
|  | 635 | 31.5903
|  | 636 | 31.5576
|  | 637 | 31.6208
|  | 638 | 31.7542
|  | 639 | 31.5608
|  | 640 | 31.5205
|  | 641 | 31.5225
|  | 642 | 31.5459
|  | 643 | 31.6197
|  | 644 | 31.6929
|  | 645 | 31.5422
|  | 646 | 31.5717
|  | 647 | 31.6092
|  | 648 | 31.6432
|  | 649 | 31.7183
|  | 650 | 31.8408
|  | 651 | 31.728
|  | 652 | 31.7529
|  | 653 | 31.7745
|  | 654 | 31.8481
|  | 655 | 32.0556
|  | 656 | 32.217
|  | 657 | 32.0272
|  | 658 | 32.0671
|  | 659 | 32.1894
|  | 660 | 32.2643
|  | 661 | 32.5024
|  | 662 | 32.6446
|  | 663 | 32.5584
|  | 664 | 32.6594
|  | 665 | 32.8916
|  | 666 | 33.0078
|  | 667 | 33.2227
|  | 668 | 33.5584
|  | 669 | 33.4962
|  | 670 | 33.6105
|  | 671 | 33.8303
|  | 672 | 34.1057
|  | 673 | 34.367
|  | 674 | 34.514
|  | 675 | 34.582
|  | 676 | 34.7341
|  | 677 | 35.0542
|  | 678 | 35.2288
|  | 679 | 35.6776
|  | 680 | 35.9226
|  | 681 | 35.9608
|  | 682 | 36.2176
|  | 683 | 36.5413
|  | 684 | 36.7009
|  | 685 | 37.1266
|  | 686 | 37.3916
|  | 687 | 37.4155
|  | 688 | 37.5853
|  | 689 | 38.0569
|  | 690 | 38.2255
|  | 691 | 38.4
|  | 692 | 38.5819
|  | 693 | 38.9037
|  | 694 | 38.9167
|  | 695 | 39.2691
|  | 696 | 39.2245
|  | 697 | 39.6425
|  | 698 | 39.9161
|  | 699 | 39.8516
|  | 700 | 39.8977
|  | 701 | 40.2433
|  | 702 | 40.2871
|  | 703 | 40.5991
|  | 704 | 40.7522
|  | 705 | 40.7495
|  | 706 | 40.7674
|  | 707 | 40.9516
|  | 708 | 40.8655
|  | 709 | 41.2673
|  | 710 | 41.4302
|  | 711 | 41.2171
|  | 712 | 41.3281
|  | 713 | 41.5314
|  | 714 | 41.4749
|  | 715 | 41.781
|  | 716 | 41.7889
|  | 717 | 41.6976
|  | 718 | 41.7616
|  | 719 | 41.8746
|  | 720 | 41.8204
|  | 721 | 42.0554
|  | 722 | 42.0619
|  | 723 | 41.9724
|  | 724 | 41.9945
|  | 725 | 42.0797
|  | 726 | 42.0174
|  | 727 | 42.1748
|  | 728 | 42.2223
|  | 729 | 42.0832
|  | 730 | 42.1645
|  | 731 | 42.2097
|  | 732 | 42.0995
|  | 733 | 42.2366
|  | 734 | 42.3509
|  | 735 | 42.1179
|  | 736 | 42.1452
|  | 737 | 42.1853
|  | 738 | 42.2314
|  | 739 | 42.3242
|  | 740 | 42.3984
|  | 741 | 42.109
|  | 742 | 42.1654
|  | 743 | 42.1676
|  | 744 | 42.1732
|  | 745 | 42.1886
|  | 746 | 42.375
|  | 747 | 42.1082
|  | 748 | 42.0882
|  | 749 | 42.0513
|  | 750 | 42.1787
|  | 751 | 42.1756
|  | 752 | 42.1804
|  | 753 | 42.1834
|  | 754 | 42.1751
|  | 755 | 42.1691
|  | 756 | 42.1593
|  | 757 | 42.1484
|  | 758 | 42.1442
|  | 759 | 42.1386
|  | 760 | 42.1177
|  | 761 | 42.1063
|  | 762 | 42.0916
|  | 763 | 42.0761
|  | 764 | 42.0614
|  | 765 | 42.0441
|  | 766 | 42.0147
|  | 767 | 41.993
|  | 768 | 41.9688
|  | 769 | 41.9435
|  | 770 | 41.9224
|  | 771 | 41.9028
|  | 772 | 41.8668
|  | 773 | 41.8417
|  | 774 | 41.8173
|  | 775 | 41.7874
|  | 776 | 41.7672
|  | 777 | 41.7408
|  | 778 | 41.7019
|  | 779 | 41.6706
|  | 780 | 41.6409
|  | 781 | 41.6095
|  | 782 | 41.5842
|  | 783 | 41.5538
|  | 784 | 41.5112
|  | 785 | 41.4751
|  | 786 | 41.4401
|  | 787 | 41.406
|  | 788 | 41.3769
|  | 789 | 41.3441
|  | 790 | 41.3004
|  | 791 | 41.2617
|  | 792 | 41.231
|  | 793 | 41.1971
|  | 794 | 41.1698
|  | 795 | 41.1364
|  | 796 | 41.0924
|  | 797 | 41.0518
|  | 798 | 41.0114
|  | 799 | 40.9741
|  | 800 | 40.9474
|  | 801 | 40.9086
|  | 802 | 40.8667
|  | 803 | 40.8296
|  | 804 | 40.79
|  | 805 | 40.7492
|  | 806 | 40.7157
|  | 807 | 40.6756
|  | 808 | 40.6333
|  | 809 | 40.5946
|  | 810 | 40.564
|  | 811 | 40.5219
|  | 812 | 40.4779
|  | 813 | 40.4275
|  | 814 | 40.3797
|  | 815 | 40.3456
|  | 816 | 40.3145
|  | 817 | 40.2687
|  | 818 | 40.2229
|  | 819 | 40.1731
|  | 820 | 40.1253
|  | 821 | 40.0869
|  | 822 | 40.054
|  | 823 | 40.011
|  | 824 | 39.9615
|  | 825 | 39.9102
|  | 826 | 39.8627
|  | 827 | 39.8219
|  | 828 | 39.782
|  | 829 | 39.7372
|  | 830 | 39.6955
|  | 831 | 39.6481
|  | 832 | 39.6017
|  | 833 | 39.5658
|  | 834 | 39.53
|  | 835 | 39.4811
|  | 836 | 39.4401
|  | 837 | 39.4034
|  | 838 | 39.3679
|  | 839 | 39.3317
|  | 840 | 39.2899
|  | 841 | 39.2368
|  | 842 | 39.1964
|  | 843 | 39.1592
|  | 844 | 39.1164
|  | 845 | 39.0754
|  | 846 | 39.0392
|  | 847 | 38.9971
|  | 848 | 38.9571
|  | 849 | 38.9169
|  | 850 | 38.8757
|  | 851 | 38.8351
|  | 852 | 38.7911
|  | 853 | 38.7456
|  | 854 | 38.7033
|  | 855 | 38.6572
|  | 856 | 38.6178
|  | 857 | 38.5763
|  | 858 | 38.528
|  | 859 | 38.4806
|  | 860 | 38.4387
|  | 861 | 38.3884
|  | 862 | 38.3242
|  | 863 | 38.2725
|  | 864 | 38.2154
|  | 865 | 38.1466
|  | 866 | 38.0534
|  | 867 | 37.9317
|  | 868 | 37.8266
|  | 869 | 37.759
|  | 870 | 37.7164
|  | 871 | 37.6648
|  | 872 | 37.5657
|  | 873 | 37.4345
|  | 874 | 37.3076
|  | 875 | 37.2167
|  | 876 | 37.1758
|  | 877 | 37.1394
|  | 878 | 37.0778
|  | 879 | 37.0086
|  | 880 | 36.9358
|  | 881 | 36.8079
|  | 882 | 36.6661
|  | 883 | 36.5673
|  | 884 | 36.4818
|  | 885 | 36.3839
|  | 886 | 36.3076
|  | 887 | 36.2633
|  | 888 | 36.2066
|  | 889 | 36.1318
|  | 890 | 36.0579
|  | 891 | 36.0201
|  | 892 | 35.996
|  | 893 | 35.9589
|  | 894 | 35.9087
|  | 895 | 35.8451
|  | 896 | 35.7754
|  | 897 | 35.7567
|  | 898 | 35.7757
|  | 899 | 35.778
|  | 900 | 35.7238
|  | 901 | 35.6198
|  | 902 | 35.5304
|  | 903 | 35.4715
|  | 904 | 35.3986
|  | 905 | 35.3235
|  | 906 | 35.3145
|  | 907 | 35.3162
|  | 908 | 35.2446
|  | 909 | 35.18
|  | 910 | 35.196
|  | 911 | 35.2198
|  | 912 | 35.1696
|  | 913 | 35.0577
|  | 914 | 34.9707
|  | 915 | 34.9401
|  | 916 | 34.9359
|  | 917 | 34.9278
|  | 918 | 34.9088
|  | 919 | 34.8688
|  | 920 | 34.7701
|  | 921 | 34.6619
|  | 922 | 34.582
|  | 923 | 34.5335
|  | 924 | 34.5072
|  | 925 | 34.4906
|  | 926 | 34.442
|  | 927 | 34.3813
|  | 928 | 34.353
|  | 929 | 34.3375
|  | 930 | 34.3013
|  | 931 | 34.2661
|  | 932 | 34.2626
|  | 933 | 34.2692
|  | 934 | 34.2354
|  | 935 | 34.1448
|  | 936 | 34.0108
|  | 937 | 33.9411
|  | 938 | 33.9755
|  | 939 | 33.9857
|  | 940 | 33.8979
|  | 941 | 33.7941
|  | 942 | 33.7528
|  | 943 | 33.7229
|  | 944 | 33.6527
|  | 945 | 33.627
|  | 946 | 33.623
|  | 947 | 33.6234
|  | 948 | 33.6225
|  | 949 | 33.5898
|  | 950 | 33.5176
|  | 951 | 33.4548
|  | 952 | 33.4132
|  | 953 | 33.3734
|  | 954 | 33.3413
|  | 955 | 33.3119
|  | 956 | 33.2562
|  | 957 | 33.1684
|  | 958 | 33.132
|  | 959 | 33.1192
|  | 960 | 33.0867
|  | 961 | 33.0849
|  | 962 | 33.0595
|  | 963 | 33.0062
|  | 964 | 32.9591
|  | 965 | 32.9625
|  | 966 | 32.9831
|  | 967 | 32.9395
|  | 968 | 32.8729
|  | 969 | 32.8718
|  | 970 | 32.8595
|  | 971 | 32.8159
|  | 972 | 32.7324
|  | 973 | 32.6545
|  | 974 | 32.5887
|  | 975 | 32.6066
|  | 976 | 32.6449
|  | 977 | 32.6372
|  | 978 | 32.5612
|  | 979 | 32.4795
|  | 980 | 32.4565
|  | 981 | 32.4385
|  | 982 | 32.4478
|  | 983 | 32.4134
|  | 984 | 32.3696
|  | 985 | 32.34
|  | 986 | 32.32
|  | 987 | 32.3046
|  | 988 | 32.2485
|  | 989 | 32.2081
|  | 990 | 32.1997
|  | 991 | 32.1454
|  | 992 | 32.1016
|  | 993 | 32.1244
|  | 994 | 32.1202
|  | 995 | 32.0879
|  | 996 | 32.0491
|  | 997 | 32.0195
|  | 998 | 32.0107
|  | 999 | 32.0138
|  | 1000 | 31.9524
|  | 1001 | 31.8771
|  | 1002 | 31.8569
|  | 1003 | 31.8696
|  | 1004 | 31.8844
|  | 1005 | 31.8583
|  | 1006 | 31.8124
|  | 1007 | 31.7864
|  | 1008 | 31.7813
|  | 1009 | 31.7697
|  | 1010 | 31.7374
|  | 1011 | 31.6889
|  | 1012 | 31.6811
|  | 1013 | 31.7088
|  | 1014 | 31.7141
|  | 1015 | 31.679
|  | 1016 | 31.6395
|  | 1017 | 31.6194
|  | 1018 | 31.5689
|  | 1019 | 31.5178
|  | 1020 | 31.5003
|  | 1021 | 31.5056
|  | 1022 | 31.5047
|  | 1023 | 31.4275
|  | 1024 | 31.4034
|  | 1025 | 31.3965
|  | 1026 | 31.3839
|  | 1027 | 31.329
|  | 1028 | 31.2727
|  | 1029 | 31.2777
|  | 1030 | 31.3052
|  | 1031 | 31.3348
|  | 1032 | 31.2826
|  | 1033 | 31.2125
|  | 1034 | 31.1618
|  | 1035 | 31.1813
|  | 1036 | 31.2095
|  | 1037 | 31.1955
|  | 1038 | 31.1452
|  | 1039 | 31.0878
|  | 1040 | 31.0197
|  | 1041 | 30.9918
|  | 1042 | 31.0109
|  | 1043 | 31.009
|  | 1044 | 31.0039
|  | 1045 | 30.9954
|  | 1046 | 30.9699
|  | 1047 | 30.9384
|  | 1048 | 30.9869
|  | 1049 | 30.9814
|  | 1050 | 30.9783
|  | 1051 | 30.9898
|  | 1052 | 30.993
|  | 1053 | 30.9798
|  | 1054 | 30.8906
|  | 1055 | 30.7858
|  | 1056 | 30.7672
|  | 1057 | 30.7871
|  | 1058 | 30.8047
|  | 1059 | 30.8192
|  | 1060 | 30.7704
|  | 1061 | 30.7152
|  | 1062 | 30.6977
|  | 1063 | 30.7039
|  | 1064 | 30.73
|  | 1065 | 30.773
|  | 1066 | 30.7863
|  | 1067 | 30.7467
|  | 1068 | 30.7055
|  | 1069 | 30.6696
|  | 1070 | 30.6141
|  | 1071 | 30.6072
|  | 1072 | 30.6767
|  | 1073 | 30.6756
|  | 1074 | 30.6434
|  | 1075 | 30.6183
|  | 1076 | 30.5889
|  | 1077 | 30.5634
|  | 1078 | 30.5625
|  | 1079 | 30.6579
|  | 1080 | 30.7696
|  | 1081 | 30.7641
|  | 1082 | 30.7257
|  | 1083 | 30.703
|  | 1084 | 30.6615
|  | 1085 | 30.644
|  | 1086 | 30.6844
|  | 1087 | 30.6968
|  | 1088 | 30.7019
|  | 1089 | 30.7128
|  | 1090 | 30.6974
|  | 1091 | 30.6731
|  | 1092 | 30.6382
|  | 1093 | 30.6132
|  | 1094 | 30.6523
|  | 1095 | 30.7197
|  | 1096 | 30.7552
|  | 1097 | 30.726
|  | 1098 | 30.6722
|  | 1099 | 30.634
|  | 1100 | 30.5877
|  | 1101 | 30.5755
|  | 1102 | 30.628
|  | 1103 | 30.6713
|  | 1104 | 30.6576
|  | 1105 | 30.6179
|  | 1106 | 30.6115
|  | 1107 | 30.6113
|  | 1108 | 30.5988
|  | 1109 | 30.5958
|  | 1110 | 30.5624
|  | 1111 | 30.4839
|  | 1112 | 30.47
|  | 1113 | 30.4598
|  | 1114 | 30.4458
|  | 1115 | 30.4721
|  | 1116 | 30.521
|  | 1117 | 30.5663
|  | 1118 | 30.6076
|  | 1119 | 30.591
|  | 1120 | 30.5788
|  | 1121 | 30.6056
|  | 1122 | 30.6254
|  | 1123 | 30.6531
|  | 1124 | 30.6795
|  | 1125 | 30.7123
|  | 1126 | 30.742
|  | 1127 | 30.7799
|  | 1128 | 30.8151
|  | 1129 | 30.8389
|  | 1130 | 30.8432
|  | 1131 | 30.8034
|  | 1132 | 30.7212
|  | 1133 | 30.6903
|  | 1134 | 30.7114
|  | 1135 | 30.8444
|  | 1136 | 30.9454
|  | 1137 | 30.9593
|  | 1138 | 30.9667
|  | 1139 | 30.9616
|  | 1140 | 30.9517
|  | 1141 | 30.9239
|  | 1142 | 30.8894
|  | 1143 | 30.8541
|  | 1144 | 30.8104
|  | 1145 | 30.7639
|  | 1146 | 30.7178
|  | 1147 | 30.7523
|  | 1148 | 30.8006
|  | 1149 | 30.8821
|  | 1150 | 30.9634
|  | 1151 | 31.0067
|  | 1152 | 30.9707
|  | 1153 | 30.9363
|  | 1154 | 30.8885
|  | 1155 | 30.8655
|  | 1156 | 30.8924
|  | 1157 | 30.9725
|  | 1158 | 31.0156
|  | 1159 | 31.041
|  | 1160 | 31.0144
|  | 1161 | 30.9984
|  | 1162 | 31.013
|  | 1163 | 31.0356
|  | 1164 | 31.0746
|  | 1165 | 31.1121
|  | 1166 | 31.1652
|  | 1167 | 31.2379
|  | 1168 | 31.3135
|  | 1169 | 31.3917
|  | 1170 | 31.4734
|  | 1171 | 31.5246
|  | 1172 | 31.495
|  | 1173 | 31.4473
|  | 1174 | 31.3752
|  | 1175 | 31.3048
|  | 1176 | 31.2494
|  | 1177 | 31.2421
|  | 1178 | 31.2911
|  | 1179 | 31.3599
|  | 1180 | 31.4373
|  | 1181 | 31.5397
|  | 1182 | 31.663
|  | 1183 | 31.7883
|  | 1184 | 31.8833
|  | 1185 | 31.9211
|  | 1186 | 31.964
|  | 1187 | 32.0049
|  | 1188 | 32.0776
|  | 1189 | 32.1932
|  | 1190 | 32.2764
|  | 1191 | 32.2787
|  | 1192 | 32.2764
|  | 1193 | 32.2776
|  | 1194 | 32.2758
|  | 1195 | 32.2628
|  | 1196 | 32.2539
|  | 1197 | 32.2675
|  | 1198 | 32.3434
|  | 1199 | 32.4269
|  | 1200 | 32.5059
|  | 1201 | 32.5963
|  | 1202 | 32.6704
|  | 1203 | 32.6914
|  | 1204 | 32.7182
|  | 1205 | 32.7638
|  | 1206 | 32.7944
|  | 1207 | 32.8081
|  | 1208 | 32.8181
|  | 1209 | 32.8148
|  | 1210 | 32.8071
|  | 1211 | 32.7931
|  | 1212 | 32.7659
|  | 1213 | 32.7044
|  | 1214 | 32.6133
|  | 1215 | 32.564
|  | 1216 | 32.5937
|  | 1217 | 32.6349
|  | 1218 | 32.6877
|  | 1219 | 32.7686
|  | 1220 | 32.8314
|  | 1221 | 32.8652
|  | 1222 | 32.9004
|  | 1223 | 32.9308
|  | 1224 | 32.9691
|  | 1225 | 32.9911
|  | 1226 | 32.9742
|  | 1227 | 32.9364
|  | 1228 | 32.9067
|  | 1229 | 32.8749
|  | 1230 | 32.8272
|  | 1231 | 32.773
|  | 1232 | 32.725
|  | 1233 | 32.6761
|  | 1234 | 32.6823
|  | 1235 | 32.7466
|  | 1236 | 32.822
|  | 1237 | 32.9119
|  | 1238 | 33.0009
|  | 1239 | 33.0893
|  | 1240 | 33.182
|  | 1241 | 33.2748
|  | 1242 | 33.3616
|  | 1243 | 33.4305
|  | 1244 | 33.4614
|  | 1245 | 33.5038
|  | 1246 | 33.5693
|  | 1247 | 33.6103
|  | 1248 | 33.625
|  | 1249 | 33.6382
|  | 1250 | 33.6851
|  | 1251 | 33.7745
|  | 1252 | 33.8593
|  | 1253 | 33.9059
|  | 1254 | 33.9216
|  | 1255 | 33.9375
|  | 1256 | 33.9736
|  | 1257 | 34.0454
|  | 1258 | 34.1476
|  | 1259 | 34.2405
|  | 1260 | 34.3259
|  | 1261 | 34.4139
|  | 1262 | 34.4332
|  | 1263 | 34.3874
|  | 1264 | 34.3218
|  | 1265 | 34.2741
|  | 1266 | 34.2538
|  | 1267 | 34.2336
|  | 1268 | 34.2163
|  | 1269 | 34.2198
|  | 1270 | 34.2446
|  | 1271 | 34.2964
|  | 1272 | 34.3739
|  | 1273 | 34.4584
|  | 1274 | 34.5441
|  | 1275 | 34.6096
|  | 1276 | 34.6616
|  | 1277 | 34.7195
|  | 1278 | 34.8109
|  | 1279 | 34.9289
|  | 1280 | 35.0426
|  | 1281 | 35.1292
|  | 1282 | 35.1678
|  | 1283 | 35.2067
|  | 1284 | 35.2531
|  | 1285 | 35.2736
|  | 1286 | 35.2966
|  | 1287 | 35.389
|  | 1288 | 35.5428
|  | 1289 | 35.686
|  | 1290 | 35.79
|  | 1291 | 35.8663
|  | 1292 | 35.9396
|  | 1293 | 36.0144
|  | 1294 | 36.0869
|  | 1295 | 36.1649
|  | 1296 | 36.234
|  | 1297 | 36.2895
|  | 1298 | 36.3496
|  | 1299 | 36.421
|  | 1300 | 36.4892
|  | 1301 | 36.5139
|  | 1302 | 36.5186
|  | 1303 | 36.5283
|  | 1304 | 36.5517
|  | 1305 | 36.6127
|  | 1306 | 36.7266
|  | 1307 | 36.8754
|  | 1308 | 36.9831
|  | 1309 | 37.0142
|  | 1310 | 37.0242
|  | 1311 | 37.0236
|  | 1312 | 37.0262
|  | 1313 | 37.054
|  | 1314 | 37.1108
|  | 1315 | 37.1955
|  | 1316 | 37.2977
|  | 1317 | 37.3664
|  | 1318 | 37.4149
|  | 1319 | 37.4596
|  | 1320 | 37.4893
|  | 1321 | 37.5061
|  | 1322 | 37.5368
|  | 1323 | 37.5616
|  | 1324 | 37.5847
|  | 1325 | 37.622
|  | 1326 | 37.7076
|  | 1327 | 37.8198
|  | 1328 | 37.9181
|  | 1329 | 37.9735
|  | 1330 | 37.985
|  | 1331 | 37.9662
|  | 1332 | 37.9384
|  | 1333 | 37.9144
|  | 1334 | 37.9268
|  | 1335 | 37.9621
|  | 1336 | 38.0194
|  | 1337 | 38.0787
|  | 1338 | 38.1433
|  | 1339 | 38.2249
|  | 1340 | 38.3472
|  | 1341 | 38.5078
|  | 1342 | 38.6959
|  | 1343 | 38.8229
|  | 1344 | 38.8744
|  | 1345 | 38.9004
|  | 1346 | 38.9931
|  | 1347 | 39.1518
|  | 1348 | 39.356
|  | 1349 | 39.4823
|  | 1350 | 39.5808
|  | 1351 | 39.6267
|  | 1352 | 39.5614
|  | 1353 | 39.4891
|  | 1354 | 39.5419
|  | 1355 | 39.7761
|  | 1356 | 40.0243
|  | 1357 | 40.131
|  | 1358 | 40.0637
|  | 1359 | 39.8819
|  | 1360 | 39.7616
|  | 1361 | 39.9169
|  | 1362 | 40.1751
|  | 1363 | 40.3094
|  | 1364 | 40.4205
|  | 1365 | 40.4467
|  | 1366 | 40.2512
|  | 1367 | 40.0441
|  | 1368 | 40.0087
|  | 1369 | 40.0306
|  | 1370 | 40.1653
|  | 1371 | 40.4146
|  | 1372 | 40.5504
|  | 1373 | 40.5088
|  | 1374 | 40.532
|  | 1375 | 40.7182
|  | 1376 | 41.0204
|  | 1377 | 41.3856
|  | 1378 | 41.5424
|  | 1379 | 41.3139
|  | 1380 | 40.8679
|  | 1381 | 40.5327
|  | 1382 | 40.5781
|  | 1383 | 40.9363
|  | 1384 | 41.3813
|  | 1385 | 41.6532
|  | 1386 | 41.5596
|  | 1387 | 41.4794
|  | 1388 | 41.7603
|  | 1389 | 41.9739
|  | 1390 | 41.9205
|  | 1391 | 41.9999
|  | 1392 | 42.1487
|  | 1393 | 42.037
|  | 1394 | 41.9817
|  | 1395 | 42.1993
|  | 1396 | 42.3786
|  | 1397 | 42.1621
|  | 1398 | 41.8451
|  | 1399 | 41.7302
|  | 1400 | 41.9288
|  | 1401 | 42.1398
|  | 1402 | 42.0344
|  | 1403 | 41.9968
|  | 1404 | 42.3132
|  | 1405 | 42.6969
|  | 1406 | 42.89
|  | 1407 | 42.7795
|  | 1408 | 42.6811
|  | 1409 | 42.8132
|  | 1410 | 42.9951
|  | 1411 | 43.1307
|  | 1412 | 43.0545
|  | 1413 | 42.8229
|  | 1414 | 42.7993
|  | 1415 | 43.0031
|  | 1416 | 43.1272
|  | 1417 | 43.1099
|  | 1418 | 43.3375
|  | 1419 | 43.6542
|  | 1420 | 43.6044
|  | 1421 | 43.3522
|  | 1422 | 43.5264
|  | 1423 | 43.9521
|  | 1424 | 44.1945
|  | 1425 | 43.94
|  | 1426 | 43.5918
|  | 1427 | 43.6047
|  | 1428 | 43.8152
|  | 1429 | 43.9235
|  | 1430 | 44.0352
|  | 1431 | 44.2568
|  | 1432 | 44.564
|  | 1433 | 44.7371
|  | 1434 | 44.6786
|  | 1435 | 44.5601
|  | 1436 | 44.5612
|  | 1437 | 44.662
|  | 1438 | 44.6756
|  | 1439 | 44.5515
|  | 1440 | 44.5644
|  | 1441 | 44.714
|  | 1442 | 44.9283
|  | 1443 | 44.9708
|  | 1444 | 44.9141
|  | 1445 | 44.9329
|  | 1446 | 45.0023
|  | 1447 | 45.0134
|  | 1448 | 44.9971
|  | 1449 | 45.0377
|  | 1450 | 45.1947
|  | 1451 | 45.3661
|  | 1452 | 45.496
|  | 1453 | 45.459
|  | 1454 | 45.4595
|  | 1455 | 45.4832
|  | 1456 | 45.5011
|  | 1457 | 45.5018
|  | 1458 | 45.5263
|  | 1459 | 45.5805
|  | 1460 | 45.688
|  | 1461 | 45.7437
|  | 1462 | 45.8078
|  | 1463 | 45.896
|  | 1464 | 46.0221
|  | 1465 | 45.9858
|  | 1466 | 45.935
|  | 1467 | 45.9048
|  | 1468 | 45.981
|  | 1469 | 46.032
|  | 1470 | 46.0514
|  | 1471 | 46.0915
|  | 1472 | 46.1777
|  | 1473 | 46.2662
|  | 1474 | 46.2476
|  | 1475 | 46.1719
|  | 1476 | 46.1413
|  | 1477 | 46.1486
|  | 1478 | 46.2843
|  | 1479 | 46.3929
|  | 1480 | 46.4855
|  | 1481 | 46.5462
|  | 1482 | 46.5749
|  | 1483 | 46.5773
|  | 1484 | 46.5825
|  | 1485 | 46.6492
|  | 1486 | 46.7967
|  | 1487 | 46.956
|  | 1488 | 47.0697
|  | 1489 | 47.1583
|  | 1490 | 47.349
|  | 1491 | 47.5112
|  | 1492 | 47.5863
|  | 1493 | 47.6515
|  | 1494 | 47.7485
|  | 1495 | 47.8117
|  | 1496 | 47.8778
|  | 1497 | 47.9662
|  | 1498 | 48.0805
|  | 1499 | 48.2113
|  | 1500 | 48.3169
|  | 1501 | 48.3045
|  | 1502 | 48.297
|  | 1503 | 48.2878
|  | 1504 | 48.3389
|  | 1505 | 48.411
|  | 1506 | 48.5036
|  | 1507 | 48.5782
|  | 1508 | 48.5698
|  | 1509 | 48.5643
|  | 1510 | 48.5679
|  | 1511 | 48.5536
|  | 1512 | 48.5536
|  | 1513 | 48.6144
|  | 1514 | 48.6108
|  | 1515 | 48.5478
|  | 1516 | 48.5282
|  | 1517 | 48.5864
|  | 1518 | 48.6753
|  | 1519 | 48.7317
|  | 1520 | 48.7502
|  | 1521 | 48.6751
|  | 1522 | 48.634
|  | 1523 | 48.6371
|  | 1524 | 48.6456
|  | 1525 | 48.677
|  | 1526 | 48.8212
|  | 1527 | 48.953
|  | 1528 | 49.0386
|  | 1529 | 49.0366
|  | 1530 | 48.9765
|  | 1531 | 48.8898
|  | 1532 | 48.8359
|  | 1533 | 48.8535
|  | 1534 | 48.8758
|  | 1535 | 48.9021
|  | 1536 | 48.9987
|  | 1537 | 49.0711
|  | 1538 | 49.1099
|  | 1539 | 49.2052
|  | 1540 | 49.2916
|  | 1541 | 49.274
|  | 1542 | 49.2612
|  | 1543 | 49.2409
|  | 1544 | 49.2294
|  | 1545 | 49.2689
|  | 1546 | 49.3929
|  | 1547 | 49.4659
|  | 1548 | 49.4935
|  | 1549 | 49.564
|  | 1550 | 49.6122
|  | 1551 | 49.5475
|  | 1552 | 49.4935
|  | 1553 | 49.4939
|  | 1554 | 49.5527
|  | 1555 | 49.6167
|  | 1556 | 49.6814
|  | 1557 | 49.7747
|  | 1558 | 49.9256
|  | 1559 | 50.054
|  | 1560 | 50.1176
|  | 1561 | 50.094
|  | 1562 | 50.0621
|  | 1563 | 50.0181
|  | 1564 | 49.9696
|  | 1565 | 49.955
|  | 1566 | 50.0025
|  | 1567 | 50.0741
|  | 1568 | 50.1452
|  | 1569 | 50.2255
|  | 1570 | 50.2747
|  | 1571 | 50.2627
|  | 1572 | 50.1975
|  | 1573 | 50.1437
|  | 1574 | 50.1179
|  | 1575 | 50.1282
|  | 1576 | 50.2241
|  | 1577 | 50.3141
|  | 1578 | 50.3462
|  | 1579 | 50.3016
|  | 1580 | 50.3025
|  | 1581 | 50.3502
|  | 1582 | 50.389
|  | 1583 | 50.3704
|  | 1584 | 50.3948
|  | 1585 | 50.4686
|  | 1586 | 50.487
|  | 1587 | 50.4227
|  | 1588 | 50.3621
|  | 1589 | 50.2835
|  | 1590 | 50.2186
|  | 1591 | 50.2167
|  | 1592 | 50.2217
|  | 1593 | 50.2047
|  | 1594 | 50.1677
|  | 1595 | 50.1513
|  | 1596 | 50.2067
|  | 1597 | 50.3395
|  | 1598 | 50.4507
|  | 1599 | 50.5181
|  | 1600 | 50.5674
|  | 1601 | 50.6164
|  | 1602 | 50.6928
|  | 1603 | 50.8086
|  | 1604 | 50.9416
|  | 1605 | 50.9731
|  | 1606 | 50.9643
|  | 1607 | 50.9371
|  | 1608 | 50.8949
|  | 1609 | 50.8165
|  | 1610 | 50.7509
|  | 1611 | 50.7644
|  | 1612 | 50.8259
|  | 1613 | 50.8824
|  | 1614 | 50.9682
|  | 1615 | 51.0472
|  | 1616 | 51.0667
|  | 1617 | 51.0522
|  | 1618 | 51.0544
|  | 1619 | 51.0711
|  | 1620 | 51.0823
|  | 1621 | 51.0965
|  | 1622 | 51.15
|  | 1623 | 51.2065
|  | 1624 | 51.1698
|  | 1625 | 51.0783
|  | 1626 | 50.9931
|  | 1627 | 50.888
|  | 1628 | 50.7925
|  | 1629 | 50.7467
|  | 1630 | 50.7694
|  | 1631 | 50.8313
|  | 1632 | 50.9223
|  | 1633 | 50.9737
|  | 1634 | 50.9912
|  | 1635 | 51.0121
|  | 1636 | 51.0368
|  | 1637 | 51.0844
|  | 1638 | 51.126
|  | 1639 | 51.1259
|  | 1640 | 51.1096
|  | 1641 | 51.1214
|  | 1642 | 51.1621
|  | 1643 | 51.1929
|  | 1644 | 51.2305
|  | 1645 | 51.2768
|  | 1646 | 51.2877
|  | 1647 | 51.2142
|  | 1648 | 51.1111
|  | 1649 | 51.1035
|  | 1650 | 51.1573
|  | 1651 | 51.1829
|  | 1652 | 51.223
|  | 1653 | 51.2844
|  | 1654 | 51.3448
|  | 1655 | 51.3645
|  | 1656 | 51.2716
|  | 1657 | 51.1487
|  | 1658 | 51.1287
|  | 1659 | 51.1551
|  | 1660 | 51.1706
|  | 1661 | 51.1713
|  | 1662 | 51.1659
|  | 1663 | 51.1739
|  | 1664 | 51.2158
|  | 1665 | 51.2819
|  | 1666 | 51.335
|  | 1667 | 51.3939
|  | 1668 | 51.4871
|  | 1669 | 51.5863
|  | 1670 | 51.6431
|  | 1671 | 51.6364
|  | 1672 | 51.6092
|  | 1673 | 51.5862
|  | 1674 | 51.5385
|  | 1675 | 51.482
|  | 1676 | 51.4499
|  | 1677 | 51.4641
|  | 1678 | 51.4969
|  | 1679 | 51.5492
|  | 1680 | 51.6282
|  | 1681 | 51.6784
|  | 1682 | 51.6697
|  | 1683 | 51.6169
|  | 1684 | 51.5729
|  | 1685 | 51.5182
|  | 1686 | 51.4674
|  | 1687 | 51.49
|  | 1688 | 51.5462
|  | 1689 | 51.6072
|  | 1690 | 51.6483
|  | 1691 | 51.6229
|  | 1692 | 51.5415
|  | 1693 | 51.4054
|  | 1694 | 51.2351
|  | 1695 | 51.0991
|  | 1696 | 51.0502
|  | 1697 | 51.0695
|  | 1698 | 51.1409
|  | 1699 | 51.2758
|  | 1700 | 51.4434
|  | 1701 | 51.5758
|  | 1702 | 51.5639
|  | 1703 | 51.4732
|  | 1704 | 51.3374
|  | 1705 | 51.1895
|  | 1706 | 51.1314
|  | 1707 | 51.1446
|  | 1708 | 51.1441
|  | 1709 | 51.1229
|  | 1710 | 51.1368
|  | 1711 | 51.2034
|  | 1712 | 51.2382
|  | 1713 | 51.2181
|  | 1714 | 51.2013
|  | 1715 | 51.2364
|  | 1716 | 51.3175
|  | 1717 | 51.3324
|  | 1718 | 51.3337
|  | 1719 | 51.3404
|  | 1720 | 51.3427
|  | 1721 | 51.3246
|  | 1722 | 51.2851
|  | 1723 | 51.2007
|  | 1724 | 51.065
|  | 1725 | 50.9485
|  | 1726 | 50.8724
|  | 1727 | 50.8828
|  | 1728 | 50.9466
|  | 1729 | 51.0546
|  | 1730 | 51.2016
|  | 1731 | 51.3609
|  | 1732 | 51.4962
|  | 1733 | 51.5601
|  | 1734 | 51.588
|  | 1735 | 51.5912
|  | 1736 | 51.5312
|  | 1737 | 51.4187
|  | 1738 | 51.3104
|  | 1739 | 51.1605
|  | 1740 | 50.991
|  | 1741 | 50.8684
|  | 1742 | 50.8807
|  | 1743 | 50.9069
|  | 1744 | 50.9507
|  | 1745 | 51.0357
|  | 1746 | 51.1602
|  | 1747 | 51.2906
|  | 1748 | 51.4324
|  | 1749 | 51.5837
|  | 1750 | 51.7046
|  | 1751 | 51.7571
|  | 1752 | 51.7187
|  | 1753 | 51.6375
|  | 1754 | 51.5464
|  | 1755 | 51.417
|  | 1756 | 51.2593
|  | 1757 | 51.1173
|  | 1758 | 51.0444
|  | 1759 | 51.0229
|  | 1760 | 51.0562
|  | 1761 | 51.0825
|  | 1762 | 51.131
|  | 1763 | 51.2027
|  | 1764 | 51.312
|  | 1765 | 51.4381
|  | 1766 | 51.5422
|  | 1767 | 51.6337
|  | 1768 | 51.7373
|  | 1769 | 51.8472
|  | 1770 | 51.8781
|  | 1771 | 51.777
|  | 1772 | 51.6311
|  | 1773 | 51.4654
|  | 1774 | 51.2875
|  | 1775 | 51.1177
|  | 1776 | 51.0986
|  | 1777 | 51.1285
|  | 1778 | 51.1618
|  | 1779 | 51.1573
|  | 1780 | 51.1684
|  | 1781 | 51.2559
|  | 1782 | 51.4146
|  | 1783 | 51.5893
|  | 1784 | 51.6619
|  | 1785 | 51.638
|  | 1786 | 51.6958
|  | 1787 | 51.7491
|  | 1788 | 51.7626
|  | 1789 | 51.7393
|  | 1790 | 51.6954
|  | 1791 | 51.6645
|  | 1792 | 51.6194
|  | 1793 | 51.5746
|  | 1794 | 51.5243
|  | 1795 | 51.5264
|  | 1796 | 51.6626
|  | 1797 | 51.8981
|  | 1798 | 51.9988
|  | 1799 | 52.0098
|  | 1800 | 52.0771
|  | 1801 | 52.0916
|  | 1802 | 52.1151
|  | 1803 | 52.1247
|  | 1804 | 52.125
|  | 1805 | 52.1741
|  | 1806 | 52.1829
|  | 1807 | 52.1404
|  | 1808 | 52.0844
|  | 1809 | 51.98
|  | 1810 | 51.9039
|  | 1811 | 51.8921
|  | 1812 | 51.9569
|  | 1813 | 52.0853
|  | 1814 | 52.3063
|  | 1815 | 52.6027
|  | 1816 | 52.8096
|  | 1817 | 52.7046
|  | 1818 | 52.3085
|  | 1819 | 51.8336
|  | 1820 | 51.7265
|  | 1821 | 51.9995
|  | 1822 | 52.2734
|  | 1823 | 52.477
|  | 1824 | 52.5195
|  | 1825 | 52.4376
|  | 1826 | 52.3311
|  | 1827 | 52.2259
|  | 1828 | 52.1643
|  | 1829 | 52.1664
|  | 1830 | 52.3484
|  | 1831 | 52.6972
|  | 1832 | 52.802
|  | 1833 | 52.6839
|  | 1834 | 52.5758
|  | 1835 | 52.6822
|  | 1836 | 52.7236
|  | 1837 | 52.5725
|  | 1838 | 52.1596
|  | 1839 | 51.7282
|  | 1840 | 51.5175
|  | 1841 | 51.7904
|  | 1842 | 52.5747
|  | 1843 | 53.3556
|  | 1844 | 53.5923
|  | 1845 | 53.02
|  | 1846 | 52.1355
|  | 1847 | 51.8088
|  | 1848 | 52.1415
|  | 1849 | 52.6472
|  | 1850 | 52.9196
|  | 1851 | 52.8827
|  | 1852 | 52.7651
|  | 1853 | 52.8533
|  | 1854 | 53.0493
|  | 1855 | 53.0348
|  | 1856 | 52.7319
|  | 1857 | 52.5089
|  | 1858 | 52.4771
|  | 1859 | 52.6819
|  | 1860 | 52.8819
|  | 1861 | 53.0767
|  | 1862 | 53.4033
|  | 1863 | 53.8758
|  | 1864 | 54.1945
|  | 1865 | 54.1496
|  | 1866 | 53.5378
|  | 1867 | 52.6591
|  | 1868 | 52.0938
|  | 1869 | 52.0823
|  | 1870 | 52.6851
|  | 1871 | 53.212
|  | 1872 | 53.0918
|  | 1873 | 52.6513
|  | 1874 | 52.27
|  | 1875 | 52.0894
|  | 1876 | 52.2919
|  | 1877 | 52.7397
|  | 1878 | 53.0646
|  | 1879 | 53.14
|  | 1880 | 53.066
|  | 1881 | 52.8958
|  | 1882 | 52.8425
|  | 1883 | 52.9443
|  | 1884 | 53.1409
|  | 1885 | 53.1153
|  | 1886 | 53.0249
|  | 1887 | 52.9145
|  | 1888 | 52.7447
|  | 1889 | 52.5117
|  | 1890 | 52.2909
|  | 1891 | 52.3667
|  | 1892 | 52.8556
|  | 1893 | 53.5474
|  | 1894 | 54.1617
|  | 1895 | 54.3363
|  | 1896 | 54.2109
|  | 1897 | 53.9119
|  | 1898 | 53.5365
|  | 1899 | 53.4432
|  | 1900 | 53.7394
|  | 1901 | 53.8942
|  | 1902 | 53.733
|  | 1903 | 53.2822
|  | 1904 | 52.8633
|  | 1905 | 52.7199
|  | 1906 | 53.0231
|  | 1907 | 53.488
|  | 1908 | 53.8111
|  | 1909 | 53.7804
|  | 1910 | 53.5493
|  | 1911 | 53.1993
|  | 1912 | 52.9405
|  | 1913 | 53.0354
|  | 1914 | 53.5699
|  | 1915 | 54.1407
|  | 1916 | 54.4174
|  | 1917 | 54.0782
|  | 1918 | 53.3635
|  | 1919 | 52.7927
|  | 1920 | 52.5973
|  | 1921 | 52.7626
|  | 1922 | 53.2229
|  | 1923 | 53.6671
|  | 1924 | 53.7524
|  | 1925 | 53.4603
|  | 1926 | 53.2616
|  | 1927 | 53.2399
|  | 1928 | 53.3889
|  | 1929 | 53.6671
|  | 1930 | 53.8827
|  | 1931 | 53.8651
|  | 1932 | 53.6526
|  | 1933 | 53.4014
|  | 1934 | 53.32
|  | 1935 | 53.4705
|  | 1936 | 53.7752
|  | 1937 | 53.9101
|  | 1938 | 53.8193
|  | 1939 | 53.541
|  | 1940 | 53.2753
|  | 1941 | 53.1834
|  | 1942 | 53.3671
|  | 1943 | 53.6561
|  | 1944 | 53.9046
|  | 1945 | 54.0394
|  | 1946 | 54.0494
|  | 1947 | 54.039
|  | 1948 | 54.0563
|  | 1949 | 54.1781
|  | 1950 | 54.3271
|  | 1951 | 54.3664
|  | 1952 | 54.3232
|  | 1953 | 54.3653
|  | 1954 | 54.4446
|  | 1955 | 54.4027
|  | 1956 | 54.314
|  | 1957 | 54.3483
|  | 1958 | 54.4363
|  | 1959 | 54.4886
|  | 1960 | 54.4789
|  | 1961 | 54.4853
|  | 1962 | 54.6175
|  | 1963 | 54.6989
|  | 1964 | 54.6602
|  | 1965 | 54.7022
|  | 1966 | 54.7858
|  | 1967 | 54.8404
|  | 1968 | 54.8904
|  | 1969 | 54.9137
|  | 1970 | 54.9244
|  | 1971 | 55.0449
|  | 1972 | 55.1588
|  | 1973 | 55.1389
|  | 1974 | 55.1019
|  | 1975 | 55.0905
|  | 1976 | 55.1187
|  | 1977 | 55.2231
|  | 1978 | 55.2747
|  | 1979 | 55.2601
|  | 1980 | 55.2766
|  | 1981 | 55.3074
|  | 1982 | 55.2548
|  | 1983 | 55.2218
|  | 1984 | 55.2109
|  | 1985 | 55.2506
|  | 1986 | 55.2531
|  | 1987 | 55.2197
|  | 1988 | 55.236
|  | 1989 | 55.2889
|  | 1990 | 55.2647
|  | 1991 | 55.1855
|  | 1992 | 55.1227
|  | 1993 | 55.143
|  | 1994 | 55.2196
|  | 1995 | 55.2759
|  | 1996 | 55.2508
|  | 1997 | 55.1538
|  | 1998 | 55.1295
|  | 1999 | 55.1232
|  | 2000.0658 | 55.1232
|  | 2009.9427 | 55.4
|  | 2020.0986 | 55.459
|  | 2029.9693 | 55.6416
|  | 2039.837 | 55.7627
|  | 2049.9835 | 56.0141
|  | 2059.845 | 56.2092
|  | 2069.985 | 56.4212
|  | 2079.8403 | 56.4883
|  | 2089.9739 | 56.7137
|  | 2099.8228 | 56.9152
|  | 2109.9499 | 57.182
|  | 2119.7925 | 57.3172
|  | 2129.913 | 57.4475
|  | 2140.0301 | 57.6288
|  | 2149.8629 | 57.719
|  | 2159.9734 | 57.8421
|  | 2169.7997 | 57.9128
|  | 2179.9034 | 58.0442
|  | 2190.0037 | 58.1635
|  | 2199.8201 | 58.3247
|  | 2209.9135 | 58.5626
|  | 2219.7232 | 58.6884
|  | 2229.8097 | 58.7787
|  | 2239.8927 | 58.914
|  | 2249.6922 | 59.0544
|  | 2259.7683 | 59.3488
|  | 2269.8407 | 59.5827
|  | 2279.9096 | 59.8135
|  | 2289.6953 | 59.9032
|  | 2299.757 | 60.1009
|  | 2309.8151 | 60.4149
|  | 2319.8696 | 60.6515
|  | 2329.6413 | 60.729
|  | 2339.6885 | 60.7784
|  | 2349.732 | 60.9447
|  | 2359.7718 | 61.1798
|  | 2369.8079 | 61.204
|  | 2379.8403 | 61.2634
|  | 2389.5903 | 61.2567
|  | 2399.6153 | 61.3537
|  | 2409.6364 | 61.339
|  | 2419.6537 | 61.3561
|  | 2429.6672 | 61.4723
|  | 2439.6769 | 61.6078
|  | 2449.6827 | 61.7856
|  | 2459.6847 | 61.8512
|  | 2469.6827 | 62.0468
|  | 2479.6769 | 62.0887
|  | 2489.6672 | 62.2401
|  | 2499.6535 | 62.2409
|  | 2509.6359 | 62.2829
|  | 2519.6143 | 62.3093
|  | 2529.5887 | 62.4229
|  | 2539.5591 | 62.5654
|  | 2549.5256 | 62.5805
|  | 2559.488 | 62.561
|  | 2569.7229 | 62.6554
|  | 2579.6771 | 62.7736
|  | 2589.6272 | 62.8543
|  | 2599.5732 | 62.9149
|  | 2609.5151 | 62.9472
|  | 2619.4529 | 63.2163
|  | 2629.6624 | 63.2737
|  | 2639.5918 | 63.3225
|  | 2649.5171 | 63.2698
|  | 2659.4381 | 63.1688
|  | 2669.6304 | 63.0864
|  | 2679.5429 | 62.9291
|  | 2689.4511 | 62.666
|  | 2699.6302 | 61.9869
|  | 2709.5299 | 60.5621
|  | 2719.4252 | 57.8933
|  | 2729.591 | 53.3833
|  | 2739.4777 | 47.2009
|  | 2749.36 | 40.4641
|  | 2759.5123 | 34.3516
|  | 2769.3858 | 29.3115
|  | 2779.529 | 25.4587
|  | 2789.3936 | 22.7681
|  | 2799.5277 | 21.1405
|  | 2809.3833 | 20.0105
|  | 2819.5081 | 19.2841
|  | 2829.3548 | 18.806
|  | 2839.4703 | 18.6512
|  | 2849.3079 | 18.5117
|  | 2859.414 | 18.4852
|  | 2869.5154 | 18.5086
|  | 2879.3392 | 18.8186
|  | 2889.4311 | 19.1577
|  | 2899.2457 | 19.6213
|  | 2909.3281 | 19.9471
|  | 2919.4056 | 20.2062
|  | 2929.2061 | 20.6052
|  | 2939.2741 | 21.0324
|  | 2949.3371 | 21.5158
|  | 2959.3952 | 21.9069
|  | 2969.1767 | 22.401
|  | 2979.2251 | 22.8739
|  | 2989.2684 | 23.4067
|  | 2999.3068 | 23.9095
|  | 3009.3402 | 24.3682
|  | 3019.3686 | 24.8168
|  | 3029.3919 | 25.2064
|  | 3039.1395 | 25.6672
|  | 3049.1528 | 26.0508
|  | 3059.1611 | 26.4419
|  | 3069.1643 | 26.83
|  | 3079.1623 | 27.404
|  | 3089.1552 | 27.995
|  | 3099.1429 | 28.6743
|  | 3109.1255 | 29.1045
|  | 3119.1029 | 29.7223
|  | 3129.0751 | 30.2533
|  | 3139.3114 | 30.8144
|  | 3149.273 | 31.3469
|  | 3159.2293 | 31.9131
|  | 3169.1804 | 32.4172
|  | 3179.1261 | 32.9642
|  | 3189.0666 | 33.5007
|  | 3199.2702 | 34.0287
|  | 3209.1999 | 34.5013
|  | 3219.1242 | 34.7922
|  | 3229.0432 | 35.3807
|  | 3239.2246 | 35.7545
|  | 3249.1326 | 36.3106
|  | 3259.0352 | 36.6698
|  | 3269.1998 | 37.0832
|  | 3279.0914 | 37.2452
|  | 3288.9775 | 37.3451
|  | 3299.125 | 37.4546
|  | 3309 | 37.355
|  | 3319.1361 | 37.1826
|  | 3328.9998 | 36.7894
|  | 3339.1244 | 36.5313
|  | 3348.9769 | 36.1295
|  | 3359.0898 | 35.4725
|  | 3368.9309 | 34.8086
|  | 3379.0322 | 34.0511
|  | 3389.1275 | 33.1924
|  | 3398.9514 | 32.1489
|  | 3409.035 | 30.9488
|  | 3419.1125 | 29.7013
|  | 3428.9191 | 28.2323
|  | 3438.9847 | 26.6429
|  | 3449.0443 | 25.0464
|  | 3458.8333 | 23.7165
|  | 3468.8809 | 22.4499
|  | 3478.9224 | 21.2335
|  | 3488.9578 | 19.8831
|  | 3498.987 | 18.4901
|  | 3509.0101 | 17.0323
|  | 3519.027 | 15.696
|  | 3529.0377 | 14.6037
|  | 3538.779 | 13.5613
|  | 3548.7774 | 12.5823
|  | 3558.7696 | 11.6908
|  | 3568.7556 | 10.9166
|  | 3578.9978 | 10.1858
|  | 3588.971 | 9.3678
|  | 3598.9378 | 8.864
|  | 3608.8984 | 8.3053
|  | 3618.8526 | 7.9404
|  | 3628.8004 | 7.7011
|  | 3638.7418 | 7.3881
|  | 3648.9383 | 7.218
|  | 3658.8667 | 7.0468
|  | 3668.7887 | 7.0378
|  | 3678.7043 | 7.1607
|  | 3688.874 | 7.2253
|  | 3698.7765 | 7.8
|  | 3708.6724 | 8.2498
|  | 3718.8219 | 8.6287
|  | 3728.7046 | 8.929
|  | 3738.8405 | 9.445
|  | 3748.7099 | 10.2161
|  | 3758.8321 | 11.01
|  | 3768.6881 | 11.8398
|  | 3778.7966 | 12.7196
|  | 3788.6391 | 13.3512
|  | 3798.7337 | 13.8952
|  | 3808.8213 | 14.9126
|  | 3818.6434 | 15.6714
|  | 3828.717 | 16.0625
|  | 3838.7835 | 16.0028
|  | 3848.5851 | 15.9824
|  | 3858.6376 | 16.1646
|  | 3868.6829 | 15.8405
|  | 3878.721 | 15.8763
|  | 3888.7519 | 15.5562
|  | 3898.5188 | 15.267
|  | 3908.5355 | 14.7965
|  | 3918.5449 | 14.583
|  | 3928.5471 | 14.2369
|  | 3938.542 | 13.5138
|  | 3948.5296 | 12.9825
|  | 3958.5099 | 12.5093
|  | 3968.4829 | 12.526
|  | 3978.7039 | 12.002
|  | 3988.662 | 11.7202
|  | 3998.6126 | 11.0755
|  | 4008.5559 | 10.8757
|  | 4018.4917 | 10.6084
|  | 4028.6745 | 10.61
|  | 4038.5952 | 10.5146
|  | 4048.5084 | 10.5748
|  | 4058.4141 | 10.5491
|  | 4068.566 | 10.6812
|  | 4078.4565 | 10.5974
|  | 4088.5927 | 10.8612
|  | 4098.4678 | 10.671
|  | 4108.5883 | 11.0934
|  | 4118.448 | 10.9986
|  | 4128.5526 | 11.3428
|  | 4138.3969 | 11.173
|  | 4148.4856 | 11.5461
|  | 4158.5662 | 11.7309
|  | 4168.387 | 11.9138
|  | 4178.4516 | 11.7551
|  | 4188.508 | 11.6777
|  | 4198.3052 | 11.6386
|  | 4208.3454 | 11.2893
|  | 4218.3775 | 10.6314
|  | 4228.4014 | 10.0878
|  | 4238.417 | 10.2328
|  | 4248.4243 | 10.9673
|  | 4258.4234 | 10.7047
|  | 4268.4142 | 10.0926
|  | 4278.3966 | 9.6319
|  | 4288.3707 | 9.8536
|  | 4298.3365 | 9.2385
|  | 4308.2938 | 8.4035
|  | 4318.2428 | 7.7926
|  | 4328.4318 | 7.9293
|  | 4338.3636 | 7.7352
|  | 4348.2871 | 7.5828
|  | 4358.202 | 7.4899
|  | 4368.3561 | 7.2506
|  | 4378.2538 | 6.6806
|  | 4388.3901 | 5.9839
|  | 4398.2706 | 5.6649
|  | 4408.3891 | 5.3818
|  | 4418.2521 | 5.266
|  | 4428.3528 | 4.7749
|  | 4438.1984 | 4.5693
|  | 4448.2812 | 4.1178
|  | 4458.3548 | 3.8175
|  | 4468.1739 | 3.3229
|  | 4478.2295 | 3.0067
|  | 4488.2759 | 2.8679
|  | 4498.3131 | 2.8771
|  | 4508.0966 | 2.8187
|  | 4518.1156 | 2.8187
|  | 4528.1254 | 2.7756
|  | 4538.1258 | 2.6059
|  | 4548.117 | 2.4675
|  | 4558.0988 | 2.3238
|  | 4568.0713 | 2.2289
|  | 4578.2774 | 2.1198
|  | 4588.2309 | 2.0146
|  | 4598.1751 | 1.9273
|  | 4608.1098 | 1.8531
|  | 4618.0351 | 1.7872
|  | 4628.1926 | 1.7169
|  | 4638.0988 | 1.6506
|  | 4647.9954 | 1.5797
|  | 4658.1235 | 1.5156
|  | 4668.0009 | 1.4527
|  | 4678.1092 | 1.3948
|  | 4687.9671 | 1.3333
|  | 4698.0556 | 1.2832
|  | 4708.1339 | 1.2282
|  | 4717.9625 | 1.1918
|  | 4728.0208 | 1.1574
|  | 4738.069 | 1.136
|  | 4748.107 | 1.1091
|  | 4758.1347 | 1.0805
|  | 4767.9139 | 1.0476
|  | 4777.9214 | 1.0185
|  | 4787.9187 | 0.99216
|  | 4797.9056 | 0.96592
|  | 4807.8823 | 0.93392
|  | 4818.0858 | 0.90524
|  | 4828.0415 | 0.88426
|  | 4837.9869 | 0.86804
|  | 4847.9218 | 0.85222
|  | 4857.8464 | 0.83403
|  | 4867.9964 | 0.81598
|  | 4877.8997 | 0.79579
|  | 4888.028 | 0.7767
|  | 4897.9102 | 0.75702
|  | 4908.0167 | 0.74028
|  | 4917.8775 | 0.73159
|  | 4927.9621 | 0.71863
|  | 4937.8015 | 0.7028
|  | 4947.8642 | 0.69059
|  | 4957.9157 | 0.68114
|  | 4967.9561 | 0.66957
|  | 4977.9852 | 0.65709
|  | 4987.7703 | 0.64478
|  | 4997.7773 | 0.63191
|  | 5007.7767 | 0.62271
|  | 5017.5958 | 0.61427
|  | 5028.1691 | 0.60339
|  | 5037.9861 | 0.59291
|  | 5047.802 | 0.58302
|  | 5057.6169 | 0.57376
|  | 5068.1856 | 0.56356
|  | 5077.9983 | 0.55435
|  | 5087.81 | 0.54538
|  | 5097.6206 | 0.53772
|  | 5107.4302 | 0.5297
|  | 5117.9932 | 0.52155
|  | 5127.8006 | 0.5147
|  | 5137.6069 | 0.50673
|  | 5147.4122 | 0.50104
|  | 5157.9706 | 0.49421
|  | 5167.7736 | 0.48688
|  | 5177.5757 | 0.4799
|  | 5187.3766 | 0.47374
|  | 5197.9303 | 0.46702
|  | 5207.729 | 0.46201
|  | 5217.5267 | 0.45956
|  | 5227.3232 | 0.45846
|  | 5237.8722 | 0.45489
|  | 5247.6665 | 0.45112
|  | 5257.4598 | 0.44658
|  | 5268.0052 | 0.44531
|  | 5277.7962 | 0.44336
|  | 5287.5861 | 0.43904
|  | 5297.375 | 0.43528
|  | 5307.9156 | 0.43334
|  | 5317.7021 | 0.4293
|  | 5327.4876 | 0.42533
|  | 5337.272 | 0.42217
|  | 5347.8078 | 0.41797
|  | 5357.5899 | 0.41398
|  | 5367.3709 | 0.41223
|  | 5377.903 | 0.41138
|  | 5387.6817 | 0.4081
|  | 5397.4593 | 0.40417
|  | 5407.2357 | 0.40272
|  | 5417.763 | 0.39931
|  | 5427.5371 | 0.39526
|  | 5437.3102 | 0.39415
|  | 5447.8337 | 0.39297
|  | 5457.6044 | 0.39081
|  | 5467.374 | 0.38683
|  | 5477.1425 | 0.38291
|  | 5487.6611 | 0.37929
|  | 5497.4272 | 0.37677
|  | 5507.1922 | 0.37393
|  | 5517.7071 | 0.37027
|  | 5527.4697 | 0.36885
|  | 5537.2312 | 0.36725
|  | 5547.7423 | 0.36723
|  | 5557.5014 | 0.3674
|  | 5567.2594 | 0.36726
|  | 5577.7667 | 0.36538
|  | 5587.5223 | 0.36215
|  | 5597.2767 | 0.36018
|  | 5607.7802 | 0.35753
|  | 5617.5322 | 0.35723
|  | 5627.2831 | 0.35693
|  | 5637.0328 | 0.35683
|  | 5647.5312 | 0.35497
|  | 5657.2786 | 0.35282
|  | 5667.0247 | 0.35065
|  | 5677.5193 | 0.34881
|  | 5687.263 | 0.34829
|  | 5697.0055 | 0.34858
|  | 5707.4962 | 0.34884
|  | 5717.2363 | 0.34665
|  | 5726.9752 | 0.34593
|  | 5737.462 | 0.349
|  | 5747.1985 | 0.35196
|  | 5757.6826 | 0.3527
|  | 5767.4166 | 0.35154
|  | 5777.1495 | 0.34987
|  | 5787.6296 | 0.34723
|  | 5797.36 | 0.34497
|  | 5807.0892 | 0.34262
|  | 5817.5654 | 0.3402
|  | 5827.2921 | 0.33783
|  | 5837.0176 | 0.33643
|  | 5847.4898 | 0.33419
|  | 5857.2128 | 0.33194
|  | 5866.9346 | 0.32985
|  | 5877.4028 | 0.32905
|  | 5887.1221 | 0.32701
|  | 5897.5877 | 0.325
|  | 5907.3044 | 0.32298
|  | 5917.0199 | 0.3223
|  | 5927.4815 | 0.32009
|  | 5937.1945 | 0.31947
|  | 5946.9062 | 0.32237
|  | 5957.3637 | 0.32481
|  | 5967.0729 | 0.32823
|  | 5977.5276 | 0.32919
|  | 5987.2343 | 0.32813
|  | 5996.9398 | 0.32661
|  | 6007.3904 | 0.32524
|  | 6017.0933 | 0.32401
|  | 6026.7949 | 0.32317
|  | 6037.2414 | 0.32261
|  | 6046.9405 | 0.32404
|  | 6057.3842 | 0.32464
|  | 6067.0807 | 0.32371
|  | 6076.7759 | 0.32212
|  | 6087.2155 | 0.32091
|  | 6096.9081 | 0.32053
|  | 6107.3449 | 0.31891
|  | 6117.0349 | 0.3174
|  | 6126.7237 | 0.31671
|  | 6137.1563 | 0.31549
|  | 6146.8424 | 0.31366
|  | 6157.2722 | 0.31229
|  | 6166.9557 | 0.31136
|  | 6177.3827 | 0.31018
|  | 6187.0635 | 0.30898
|  | 6196.7431 | 0.30718
|  | 6207.1659 | 0.30609
|  | 6216.8428 | 0.30456
|  | 6227.2627 | 0.30421
|  | 6236.9369 | 0.30333
|  | 6246.6099 | 0.3025
|  | 6257.0255 | 0.30187
|  | 6266.6958 | 0.30211
|  | 6277.1086 | 0.30143
|  | 6286.7762 | 0.30039
|  | 6297.1861 | 0.2989
|  | 6306.851 | 0.29803
|  | 6317.2579 | 0.2983
|  | 6326.9202 | 0.29778
|  | 6336.5811 | 0.29653
|  | 6346.9837 | 0.295
|  | 6356.6419 | 0.2942
|  | 6367.0416 | 0.29317
|  | 6376.6971 | 0.29289
|  | 6387.0939 | 0.29425
|  | 6396.7467 | 0.2947
|  | 6407.1405 | 0.29546
|  | 6416.7905 | 0.29577
|  | 6427.1814 | 0.29656
|  | 6436.8287 | 0.29797
|  | 6446.4746 | 0.29869
|  | 6456.8611 | 0.2988
|  | 6466.5043 | 0.29732
|  | 6476.8878 | 0.29594
|  | 6486.5282 | 0.29562
|  | 6496.9087 | 0.29445
|  | 6506.5464 | 0.29372
|  | 6516.9239 | 0.29458
|  | 6526.5588 | 0.29442
|  | 6536.9333 | 0.29508
|  | 6546.5654 | 0.29523
|  | 6556.9369 | 0.29521
|  | 6566.5662 | 0.29474
|  | 6576.9346 | 0.29536
|  | 6586.5611 | 0.29671
|  | 6596.9265 | 0.29697
|  | 6606.5502 | 0.29621
|  | 6616.9126 | 0.29484
|  | 6626.5334 | 0.29393
|  | 6636.8928 | 0.29332
|  | 6646.5108 | 0.29406
|  | 6656.8671 | 0.29561
|  | 6666.4822 | 0.29792
|  | 6676.8354 | 0.29978
|  | 6686.4477 | 0.30006
|  | 6696.7979 | 0.29973
|  | 6706.4073 | 0.29902
|  | 6716.7543 | 0.29882
|  | 6726.3609 | 0.29779
|  | 6736.7049 | 0.29731
|  | 6746.3085 | 0.29817
|  | 6756.6494 | 0.29791
|  | 6766.2502 | 0.29768
|  | 6776.5879 | 0.29696
|  | 6786.9241 | 0.29573
|  | 6796.5205 | 0.2945
|  | 6806.8535 | 0.29365
|  | 6816.4469 | 0.29263
|  | 6826.7768 | 0.29185
|  | 6836.3674 | 0.29144
|  | 6846.6941 | 0.29026
|  | 6856.2817 | 0.29027
|  | 6866.6053 | 0.29025
|  | 6876.19 | 0.29035
|  | 6886.5104 | 0.29016
|  | 6896.8291 | 0.29152
|  | 6906.4093 | 0.2918
|  | 6916.7249 | 0.29189
|  | 6926.3022 | 0.29209
|  | 6936.6146 | 0.29246
|  | 6946.1889 | 0.29218
|  | 6956.4981 | 0.29156
|  | 6966.8056 | 0.29044
|  | 6976.3754 | 0.28967
|  | 6986.6797 | 0.28863
|  | 6996.2465 | 0.28761
|  | 7006.5476 | 0.28705
|  | 7016.1114 | 0.2869
|  | 7026.4093 | 0.28629
|  | 7036.7055 | 0.28519
|  | 7046.2647 | 0.28419
|  | 7056.5577 | 0.28384
|  | 7066.1139 | 0.28424
|  | 7076.4036 | 0.28415
|  | 7086.6916 | 0.28318
|  | 7096.2432 | 0.28242
|  | 7106.528 | 0.28144
|  | 7116.0766 | 0.28071
|  | 7126.358 | 0.28054
|  | 7136.6378 | 0.28038
|  | 7146.1817 | 0.27947
|  | 7156.4582 | 0.27939
|  | 7165.9991 | 0.27985
|  | 7176.2723 | 0.2796
|  | 7186.5438 | 0.27868
|  | 7196.08 | 0.27788
|  | 7206.3482 | 0.27732
|  | 7216.6146 | 0.27631
|  | 7226.1461 | 0.27531
|  | 7236.4093 | 0.27441
|  | 7245.9377 | 0.27373
|  | 7256.1975 | 0.27311
|  | 7266.4555 | 0.27217
|  | 7275.9793 | 0.27192
|  | 7286.234 | 0.27179
|  | 7296.4869 | 0.27172
|  | 7306.0059 | 0.2713
|  | 7316.2555 | 0.27091
|  | 7326.5034 | 0.27007
|  | 7336.0176 | 0.26916
|  | 7346.2621 | 0.26889
|  | 7356.5048 | 0.2688
|  | 7366.0143 | 0.26888
|  | 7376.2536 | 0.26849
|  | 7386.4912 | 0.26768
|  | 7395.9959 | 0.26682
|  | 7406.23 | 0.26621
|  | 7416.4624 | 0.26537
|  | 7425.9623 | 0.26506
|  | 7436.1913 | 0.26507
|  | 7446.4185 | 0.26463
|  | 7455.9135 | 0.26384
|  | 7466.1373 | 0.26366
|  | 7476.3593 | 0.2634
|  | 7485.8495 | 0.26366
|  | 7496.068 | 0.26352
|  | 7506.2847 | 0.26398
|  | 7515.7701 | 0.26383
|  | 7525.9834 | 0.26312
|  | 7536.1948 | 0.26272
|  | 7545.6753 | 0.26229
|  | 7555.8833 | 0.26146
|  | 7566.0895 | 0.26075
|  | 7576.2939 | 0.26044
|  | 7585.7678 | 0.25993
|  | 7595.9687 | 0.2598
|  | 7606.1678 | 0.259
|  | 7615.6367 | 0.25825
|  | 7625.8323 | 0.25746
|  | 7636.0261 | 0.2571
|  | 7646.218 | 0.25696
|  | 7655.6803 | 0.25704
|  | 7665.8687 | 0.25698
|  | 7676.0553 | 0.25687
|  | 7686.2401 | 0.25663
|  | 7695.6957 | 0.25629
|  | 7705.8769 | 0.25563
|  | 7716.0562 | 0.25548
|  | 7726.2338 | 0.25529
|  | 7735.6827 | 0.25529
|  | 7745.8566 | 0.25537
|  | 7756.0287 | 0.25511
|  | 7766.199 | 0.25466
|  | 7775.6412 | 0.25482
|  | 7785.8078 | 0.25479
|  | 7795.9727 | 0.25445
|  | 7806.1356 | 0.2537
|  | 7815.571 | 0.25294
|  | 7825.7303 | 0.25245
|  | 7835.8878 | 0.25215
|  | 7846.0435 | 0.25198
|  | 7855.472 | 0.25135
|  | 7865.624 | 0.25081
|  | 7875.7741 | 0.25011
|  | 7885.9224 | 0.24943
|  | 7896.0687 | 0.24938
|  | 7905.4887 | 0.24908
|  | 7915.6314 | 0.24867
|  | 7925.7722 | 0.24944
|  | 7935.9112 | 0.24999
|  | 7946.0482 | 0.25007
|  | 7955.4595 | 0.24965
|  | 7965.5929 | 0.24946
|  | 7975.7243 | 0.24914
|  | 7985.8539 | 0.24845
|  | 7995.9816 | 0.24787
|  | 8005.3841 | 0.2475
|  | 8015.5081 | 0.24736
|  | 8025.6302 | 0.24738
|  | 8035.7503 | 0.24761
|  | 8045.8686 | 0.24714
|  | 8055.9849 | 0.24714
|  | 8065.3769 | 0.2469
|  | 8075.4895 | 0.24714
|  | 8085.6002 | 0.24699
|  | 8095.7089 | 0.24692
|  | 8105.8157 | 0.24684
|  | 8115.9206 | 0.24685
|  | 8125.3019 | 0.24629
|  | 8135.4031 | 0.24582
|  | 8145.5023 | 0.2452
|  | 8155.5995 | 0.2449
|  | 8165.6948 | 0.24478
|  | 8175.7881 | 0.24446
|  | 8185.8795 | 0.24395
|  | 8195.2484 | 0.24345
|  | 8205.336 | 0.2433
|  | 8215.4216 | 0.24276
|  | 8225.5053 | 0.24242
|  | 8235.5871 | 0.24201
|  | 8245.6668 | 0.24166
|  | 8255.7446 | 0.2411
|  | 8265.8204 | 0.24046
|  | 8275.1748 | 0.24006
|  | 8285.2468 | 0.23975
|  | 8295.3169 | 0.23941
|  | 8305.3849 | 0.23883
|  | 8315.451 | 0.23849
|  | 8325.5151 | 0.23793
|  | 8335.5772 | 0.2377
|  | 8345.6373 | 0.23729
|  | 8355.6954 | 0.23675
|  | 8365.7515 | 0.23681
|  | 8375.0876 | 0.23705
|  | 8385.1398 | 0.23722
|  | 8395.1901 | 0.23691
|  | 8405.2383 | 0.23652
|  | 8415.2846 | 0.23611
|  | 8425.3288 | 0.23573
|  | 8435.3711 | 0.23544
|  | 8445.4113 | 0.23522
|  | 8455.4495 | 0.23504
|  | 8465.4856 | 0.23523
|  | 8475.5198 | 0.23542
|  | 8485.5519 | 0.23511
|  | 8495.582 | 0.23458
|  | 8505.6101 | 0.2342
|  | 8515.6362 | 0.23363
|  | 8525.6602 | 0.23352
|  | 8535.6821 | 0.23331
|  | 8544.9864 | 0.23335
|  | 8555.0045 | 0.23336
|  | 8565.0205 | 0.23318
|  | 8575.0344 | 0.23286
|  | 8585.0463 | 0.2327
|  | 8595.0562 | 0.23275
|  | 8605.064 | 0.23255
|  | 8615.0697 | 0.23217
|  | 8625.0734 | 0.23169
|  | 8635.075 | 0.23123
|  | 8645.0746 | 0.23085
|  | 8655.0721 | 0.23056
|  | 8665.0675 | 0.23031
|  | 8675.0609 | 0.23008
|  | 8685.0522 | 0.22973
|  | 8695.0414 | 0.22939
|  | 8705.0286 | 0.2292
|  | 8715.0136 | 0.2289
|  | 8724.9966 | 0.22874
|  | 8734.9775 | 0.22849
|  | 8744.9563 | 0.22816
|  | 8754.9331 | 0.22785
|  | 8764.9077 | 0.22765
|  | 8774.8802 | 0.22741
|  | 8784.8507 | 0.22695
|  | 8794.819 | 0.22691
|  | 8804.7853 | 0.22729
|  | 8815.4611 | 0.22789
|  | 8825.4229 | 0.22762
|  | 8835.3827 | 0.22739
|  | 8845.3404 | 0.22792
|  | 8855.296 | 0.22794
|  | 8865.2494 | 0.2275
|  | 8875.2007 | 0.22764
|  | 8885.1499 | 0.2277
|  | 8895.097 | 0.2272
|  | 8905.042 | 0.22698
|  | 8914.9848 | 0.22684
|  | 8924.9255 | 0.22652
|  | 8934.8641 | 0.22623
|  | 8944.8005 | 0.22622
|  | 8954.7348 | 0.22601
|  | 8965.3764 | 0.22594
|  | 8975.3062 | 0.22549
|  | 8985.234 | 0.22505
|  | 8995.1595 | 0.22488
|  | 9005.083 | 0.22451
|  | 9015.0042 | 0.22414
|  | 9024.9234 | 0.22388
|  | 9034.8404 | 0.22391
|  | 9044.7552 | 0.2237
|  | 9054.6678 | 0.22349
|  | 9065.2861 | 0.22311
|  | 9075.1943 | 0.22329
|  | 9085.1003 | 0.22325
|  | 9095.0041 | 0.22292
|  | 9104.9058 | 0.22253
|  | 9114.8053 | 0.2225
|  | 9124.7026 | 0.22256
|  | 9134.5978 | 0.2225
|  | 9145.1973 | 0.22202
|  | 9155.0879 | 0.22169
|  | 9164.9763 | 0.22133
|  | 9174.8625 | 0.22133
|  | 9184.7466 | 0.22151
|  | 9194.6284 | 0.22226
|  | 9204.5081 | 0.22251
|  | 9215.091 | 0.22266
|  | 9224.9661 | 0.22276
|  | 9234.839 | 0.2229
|  | 9244.7097 | 0.223
|  | 9254.5782 | 0.22298
|  | 9265.1491 | 0.22263
|  | 9275.013 | 0.22222
|  | 9284.8747 | 0.2221
|  | 9294.7342 | 0.22199
|  | 9304.5914 | 0.22153
|  | 9314.4465 | 0.22119
|  | 9325.0029 | 0.22082
|  | 9334.8534 | 0.22057
|  | 9344.7016 | 0.22028
|  | 9354.5475 | 0.22005
|  | 9364.3912 | 0.21964
|  | 9374.9356 | 0.21923
|  | 9384.7747 | 0.21911
|  | 9394.6115 | 0.21868
|  | 9404.4461 | 0.21831
|  | 9414.9807 | 0.21795
|  | 9424.8107 | 0.21758
|  | 9434.6384 | 0.21736
|  | 9444.4638 | 0.21749
|  | 9454.9886 | 0.21771
|  | 9464.8094 | 0.21747
|  | 9474.6279 | 0.21707
|  | 9484.4441 | 0.21672
|  | 9494.959 | 0.2167
|  | 9504.7706 | 0.21675
|  | 9514.5798 | 0.2164
|  | 9524.3869 | 0.21602
|  | 9534.8918 | 0.21567
|  | 9544.6941 | 0.21565
|  | 9554.4942 | 0.21543
|  | 9564.2919 | 0.21527
|  | 9574.7869 | 0.21519
|  | 9584.5799 | 0.21502
|  | 9594.3706 | 0.21495
|  | 9604.8581 | 0.2151
|  | 9614.6441 | 0.21545
|  | 9624.4278 | 0.21539
|  | 9634.2091 | 0.21507
|  | 9644.6866 | 0.2148
|  | 9654.4632 | 0.21446
|  | 9664.2375 | 0.21419
|  | 9674.7074 | 0.2138
|  | 9684.4769 | 0.21349
|  | 9694.2441 | 0.21316
|  | 9704.7064 | 0.21275
|  | 9714.4688 | 0.21246
|  | 9724.2289 | 0.21228
|  | 9734.6835 | 0.21193
|  | 9744.4388 | 0.21184
|  | 9754.1918 | 0.21184
|  | 9764.6387 | 0.21178
|  | 9774.3869 | 0.21166
|  | 9784.1326 | 0.2113
|  | 9794.5719 | 0.21092
|  | 9804.3129 | 0.21056
|  | 9814.747 | 0.21045
|  | 9824.4831 | 0.21031
|  | 9834.2168 | 0.21032
|  | 9844.6432 | 0.21028
|  | 9854.3721 | 0.21035
|  | 9864.0986 | 0.21037
|  | 9874.5172 | 0.21067
|  | 9884.2389 | 0.21097
|  | 9894.6523 | 0.211
|  | 9904.369 | 0.21093
|  | 9914.0834 | 0.21077
|  | 9924.489 | 0.21088
|  | 9934.1985 | 0.21071
|  | 9944.5989 | 0.21084
|  | 9954.3034 | 0.21047
|  | 9964.0056 | 0.21027
|  | 9974.3981 | 0.21007
|  | 9984.0954 | 0.20976
|  | 9994.4826 | 0.20945
|  | 10004.1749 | 0.20955
|  | 10014.5569 | 0.20955
|  | 10024.2442 | 0.2096
|  | 10033.9292 | 0.20933
|  | 10044.3033 | 0.20902
|  | 10053.9832 | 0.20869
|  | 10064.352 | 0.20855
|  | 10074.027 | 0.20819
|  | 10084.3904 | 0.20812
|  | 10094.0605 | 0.20834
|  | 10104.4185 | 0.20866
|  | 10114.0835 | 0.20849
|  | 10124.4363 | 0.20824
|  | 10134.0963 | 0.20809
|  | 10144.4436 | 0.20842
|  | 10154.0986 | 0.20856
|  | 10164.4406 | 0.20831
|  | 10174.0906 | 0.20815
|  | 10184.4271 | 0.20785
|  | 10194.0721 | 0.20751
|  | 10204.4032 | 0.20755
|  | 10214.0431 | 0.20748
|  | 10224.3689 | 0.20736
|  | 10234.0037 | 0.20721
|  | 10244.3241 | 0.20706
|  | 10253.9539 | 0.20685
|  | 10264.2688 | 0.20651
|  | 10273.8935 | 0.20629
|  | 10284.2029 | 0.20595
|  | 10293.8226 | 0.20598
|  | 10304.1266 | 0.20602
|  | 10313.7411 | 0.20601
|  | 10324.0396 | 0.20584
|  | 10334.3353 | 0.20556
|  | 10343.9421 | 0.20543
|  | 10354.2323 | 0.20553
|  | 10363.834 | 0.20568
|  | 10374.1187 | 0.20547
|  | 10383.7153 | 0.20566
|  | 10393.9945 | 0.20616
|  | 10404.2709 | 0.20613
|  | 10413.8596 | 0.20601
|  | 10424.1305 | 0.20629
|  | 10433.7141 | 0.20628
|  | 10443.9794 | 0.20642
|  | 10454.2419 | 0.20686
|  | 10463.8176 | 0.20701
|  | 10474.0746 | 0.2067
|  | 10483.6451 | 0.20642
|  | 10493.8965 | 0.20642
|  | 10504.145 | 0.20632
|  | 10513.7077 | 0.20605
|  | 10523.9506 | 0.20603
|  | 10534.1907 | 0.20584
|  | 10543.7455 | 0.20572
|  | 10553.9799 | 0.20574
|  | 10564.2115 | 0.20556
|  | 10573.7584 | 0.20531
|  | 10583.9843 | 0.20506
|  | 10593.5259 | 0.20524
|  | 10603.7463 | 0.20504
|  | 10613.9638 | 0.20494
|  | 10624.1783 | 0.20467
|  | 10633.7092 | 0.20482
|  | 10643.9181 | 0.20455
|  | 10654.1241 | 0.2044
|  | 10663.6471 | 0.20451
|  | 10673.8474 | 0.20437
|  | 10684.0449 | 0.20438
|  | 10693.5598 | 0.2044
|  | 10703.7515 | 0.20444
|  | 10713.9404 | 0.20416
|  | 10723.4473 | 0.2041
|  | 10733.6304 | 0.20399
|  | 10743.8106 | 0.2038
|  | 10753.9878 | 0.20383
|  | 10763.4839 | 0.20367
|  | 10773.6555 | 0.20354
|  | 10783.8241 | 0.20354
|  | 10793.9897 | 0.20333
|  | 10803.4749 | 0.20311
|  | 10813.6349 | 0.20329
|  | 10823.7918 | 0.20338
|  | 10833.9458 | 0.20368
|  | 10843.4201 | 0.2034
|  | 10853.5684 | 0.20318
|  | 10863.7136 | 0.20299
|  | 10873.8559 | 0.20329
|  | 10883.3193 | 0.20353
|  | 10893.4559 | 0.20379
|  | 10903.5894 | 0.20412
|  | 10913.7199 | 0.20423
|  | 10923.8475 | 0.20416
|  | 10933.2971 | 0.20392
|  | 10943.4189 | 0.20364
|  | 10953.5376 | 0.20354
|  | 10963.6534 | 0.20366
|  | 10973.7661 | 0.20363
|  | 10983.8759 | 0.20389
|  | 10993.3089 | 0.20408
|  | 11003.4128 | 0.20441
|  | 11013.5137 | 0.2045
|  | 11023.6116 | 0.20478
|  | 11033.7064 | 0.20518
|  | 11043.7982 | 0.20571
|  | 11053.2146 | 0.20636
|  | 11063.3005 | 0.20629
|  | 11073.3835 | 0.20615
|  | 11083.4634 | 0.20613
|  | 11093.5402 | 0.20611
|  | 11103.6141 | 0.20611
|  | 11113.6848 | 0.20624
|  | 11123.7526 | 0.206
|  | 11133.1464 | 0.20584
|  | 11143.2082 | 0.20562
|  | 11153.267 | 0.20533
|  | 11163.3227 | 0.20527
|  | 11173.3753 | 0.20499
|  | 11183.4249 | 0.20472
|  | 11193.4715 | 0.20469
|  | 11203.5149 | 0.20439
|  | 11213.5553 | 0.2042
|  | 11223.5926 | 0.20433
|  | 11233.6269 | 0.20407
|  | 11243.658 | 0.20379
|  | 11253.6861 | 0.20363
|  | 11263.7111 | 0.20335
|  | 11273.065 | 0.20323
|  | 11283.084 | 0.20337
|  | 11293.0999 | 0.20336
|  | 11303.1127 | 0.20308
|  | 11313.1225 | 0.20351
|  | 11323.1291 | 0.20407
|  | 11333.1326 | 0.2048
|  | 11343.133 | 0.20462
|  | 11353.1303 | 0.20437
|  | 11363.1245 | 0.20442
|  | 11373.1156 | 0.20419
|  | 11383.1036 | 0.20398
|  | 11393.0884 | 0.20372
|  | 11403.0701 | 0.20359
|  | 11413.0487 | 0.20353
|  | 11423.0242 | 0.20334
|  | 11432.9965 | 0.20362
|  | 11442.9657 | 0.20409
|  | 11452.9318 | 0.20442
|  | 11463.5588 | 0.20423
|  | 11473.5183 | 0.20409
|  | 11483.4748 | 0.20391
|  | 11493.428 | 0.20404
|  | 11503.3782 | 0.20422
|  | 11513.3251 | 0.20401
|  | 11523.2689 | 0.20382
|  | 11533.2096 | 0.20356
|  | 11543.1471 | 0.20385
|  | 11553.0814 | 0.20415
|  | 11563.0126 | 0.204
|  | 11572.9405 | 0.20377
|  | 11582.8654 | 0.20423
|  | 11593.4483 | 0.2041
|  | 11603.3666 | 0.20401
|  | 11613.2817 | 0.20386
|  | 11623.1935 | 0.20386
|  | 11633.1022 | 0.20401
|  | 11643.0077 | 0.20403
|  | 11652.9101 | 0.20401
|  | 11662.8092 | 0.20377
|  | 11673.3647 | 0.20379
|  | 11683.2572 | 0.20401
|  | 11693.1465 | 0.20417
|  | 11703.0326 | 0.20416
|  | 11712.9155 | 0.20398
|  | 11722.7952 | 0.20389
|  | 11733.33 | 0.20377
|  | 11743.203 | 0.20382
|  | 11753.0729 | 0.20364
|  | 11762.9395 | 0.20378
|  | 11772.8028 | 0.2038
|  | 11783.3202 | 0.20431
|  | 11793.1769 | 0.20429
|  | 11803.0304 | 0.20403
|  | 11812.8806 | 0.20382
|  | 11822.7276 | 0.20371
|  | 11833.2275 | 0.20344
|  | 11843.0678 | 0.20372
|  | 11852.9048 | 0.20365
|  | 11862.7386 | 0.20378
|  | 11873.2244 | 0.20432
|  | 11883.0515 | 0.20458
|  | 11892.8753 | 0.20487
|  | 11902.6958 | 0.20484
|  | 11913.1675 | 0.20491
|  | 11922.9813 | 0.20479
|  | 11932.7918 | 0.20482
|  | 11942.5991 | 0.20465
|  | 11953.0565 | 0.2048
|  | 11962.857 | 0.20513
|  | 11972.6542 | 0.20569
|  | 11983.101 | 0.20613
|  | 11992.8914 | 0.20605
|  | 12002.6786 | 0.20614
|  | 12013.1146 | 0.20657
|  | 12022.8949 | 0.2064
|  | 12032.6719 | 0.20622
|  | 12043.0971 | 0.20603
|  | 12052.8674 | 0.20602
|  | 12062.6343 | 0.20604
|  | 12073.0487 | 0.20612
|  | 12082.8087 | 0.20592
|  | 12092.5655 | 0.20599
|  | 12102.9691 | 0.20574
|  | 12112.719 | 0.20559
|  | 12122.4656 | 0.20577
|  | 12132.8583 | 0.20573
|  | 12142.598 | 0.20574
|  | 12152.9833 | 0.20563
|  | 12162.7162 | 0.20546
|  | 12172.4457 | 0.20554
|  | 12182.8201 | 0.20562
|  | 12192.5427 | 0.20577
|  | 12202.9098 | 0.20571
|  | 12212.6255 | 0.20551
|  | 12222.9852 | 0.2055
|  | 12232.694 | 0.20548
|  | 12242.3994 | 0.20558
|  | 12252.7481 | 0.20602
|  | 12262.4466 | 0.20608
|  | 12272.788 | 0.20595
|  | 12282.4795 | 0.206
|  | 12292.8134 | 0.20582
|  | 12302.498 | 0.20574
|  | 12312.8244 | 0.20552
|  | 12322.502 | 0.20608
|  | 12332.8211 | 0.20671
|  | 12342.4917 | 0.20707
|  | 12352.8033 | 0.20711
|  | 12362.4669 | 0.20709
|  | 12372.771 | 0.20703
|  | 12382.4276 | 0.20717
|  | 12392.7242 | 0.2071
|  | 12402.3738 | 0.20722
|  | 12412.6629 | 0.20715
|  | 12422.3055 | 0.2071
|  | 12432.5871 | 0.20739
|  | 12442.2226 | 0.20768
|  | 12452.4967 | 0.20766
|  | 12462.767 | 0.20764
|  | 12472.3918 | 0.20766
|  | 12482.6545 | 0.20767
|  | 12492.2722 | 0.20753
|  | 12502.5274 | 0.20743
|  | 12512.7786 | 0.20726
|  | 12522.3856 | 0.20708
|  | 12532.6293 | 0.20699
|  | 12542.2292 | 0.20685
|  | 12552.4653 | 0.20688
|  | 12562.6975 | 0.20709
|  | 12572.2867 | 0.20693
|  | 12582.5112 | 0.20677
|  | 12592.7319 | 0.207
|  | 12602.3102 | 0.20698
|  | 12612.5233 | 0.20721
|  | 12622.0945 | 0.20704
|  | 12632.2999 | 0.20707
|  | 12642.5014 | 0.20735
|  | 12652.6989 | 0.20747
|  | 12662.2556 | 0.20733
|  | 12672.4455 | 0.20716
|  | 12682.6314 | 0.207
|  | 12692.1771 | 0.20727
|  | 12702.3554 | 0.20702
|  | 12712.5297 | 0.20709
|  | 12722.0646 | 0.20752
|  | 12732.2312 | 0.20767
|  | 12742.3939 | 0.20795
|  | 12752.5526 | 0.20819
|  | 12762.0727 | 0.20803
|  | 12772.2237 | 0.20826
|  | 12782.3707 | 0.20847
|  | 12792.5137 | 0.20873
|  | 12802.0191 | 0.2087
|  | 12812.1544 | 0.20892
|  | 12822.2857 | 0.20893
|  | 12832.4129 | 0.20911
|  | 12842.5362 | 0.20904
|  | 12852.0232 | 0.20889
|  | 12862.1387 | 0.20885
|  | 12872.2502 | 0.20897
|  | 12882.3576 | 0.20874
|  | 12892.4611 | 0.20889
|  | 12901.9294 | 0.2093
|  | 12912.0251 | 0.20926
|  | 12922.1167 | 0.20902
|  | 12932.2044 | 0.20893
|  | 12942.2879 | 0.20925
|  | 12952.3675 | 0.20999
|  | 12962.443 | 0.21052
|  | 12971.8851 | 0.21038
|  | 12981.9527 | 0.2102
|  | 12992.0163 | 0.21019
|  | 13002.0759 | 0.21032
|  | 13012.1314 | 0.21048
|  | 13022.1829 | 0.21047
|  | 13032.2302 | 0.2105
|  | 13042.2736 | 0.21085
|  | 13052.3128 | 0.21113
|  | 13062.348 | 0.21133
|  | 13072.3791 | 0.21116
|  | 13081.7795 | 0.21108
|  | 13091.8028 | 0.21131
|  | 13101.8219 | 0.21128
|  | 13111.8369 | 0.21125
|  | 13121.8478 | 0.21146
|  | 13131.8547 | 0.2115
|  | 13141.8574 | 0.21156
|  | 13151.8561 | 0.2115
|  | 13161.8506 | 0.21151
|  | 13171.8411 | 0.21134
|  | 13181.8274 | 0.21127
|  | 13191.8096 | 0.21124
|  | 13201.7877 | 0.21133
|  | 13211.7617 | 0.21116
|  | 13221.7316 | 0.21121
|  | 13231.6973 | 0.21115
|  | 13241.6589 | 0.21109
|  | 13252.2386 | 0.2112
|  | 13262.1917 | 0.21099
|  | 13272.1407 | 0.21083
|  | 13282.0855 | 0.21102
|  | 13292.0262 | 0.21085
|  | 13301.9627 | 0.21064
|  | 13311.8951 | 0.21082
|  | 13321.8233 | 0.21086
|  | 13331.7474 | 0.21062
|  | 13341.6673 | 0.21097
|  | 13351.5831 | 0.21156
|  | 13362.114 | 0.21177
|  | 13372.0211 | 0.21168
|  | 13381.9241 | 0.21169
|  | 13391.8229 | 0.21157
|  | 13401.7176 | 0.21157
|  | 13411.608 | 0.21173
|  | 13422.1121 | 0.21195
|  | 13431.9939 | 0.21184
|  | 13441.8715 | 0.21182
|  | 13451.745 | 0.21172
|  | 13461.6142 | 0.21202
|  | 13472.0957 | 0.21259
|  | 13481.9562 | 0.21294
|  | 13491.8126 | 0.21334
|  | 13501.6648 | 0.21311
|  | 13511.5127 | 0.21315
|  | 13521.9716 | 0.21293
|  | 13531.8108 | 0.21284
|  | 13541.6459 | 0.21261
|  | 13551.4767 | 0.21244
|  | 13561.9173 | 0.21238
|  | 13571.7394 | 0.21218
|  | 13581.5572 | 0.21203
|  | 13591.9841 | 0.21208
|  | 13601.7932 | 0.21219
|  | 13611.5981 | 0.21238
|  | 13621.3987 | 0.21251
|  | 13631.8072 | 0.21303
|  | 13641.5991 | 0.21342
|  | 13651.3867 | 0.21318
|  | 13661.7814 | 0.21323
|  | 13671.5602 | 0.2137
|  | 13681.9455 | 0.21356
|  | 13691.7155 | 0.21364
|  | 13701.4813 | 0.21371
|  | 13711.8527 | 0.21363
|  | 13721.6096 | 0.21345
|  | 13731.3623 | 0.21348
|  | 13741.7198 | 0.21333
|  | 13751.4636 | 0.21347
|  | 13761.8117 | 0.21327
|  | 13771.5467 | 0.21335
|  | 13781.8854 | 0.21378
|  | 13791.6115 | 0.21384
|  | 13801.3333 | 0.2138
|  | 13811.658 | 0.2136
|  | 13821.3709 | 0.21362
|  | 13831.6861 | 0.21423
|  | 13841.3902 | 0.2143
|  | 13851.696 | 0.21451
|  | 13861.3911 | 0.21444
|  | 13871.6874 | 0.21452
|  | 13881.3736 | 0.21438
|  | 13891.6604 | 0.2142
|  | 13901.3377 | 0.21402
|  | 13911.615 | 0.21421
|  | 13921.2833 | 0.21456
|  | 13931.5512 | 0.21512
|  | 13941.2105 | 0.21553
|  | 13951.4688 | 0.21563
|  | 13961.7222 | 0.21546
|  | 13971.3679 | 0.21532
|  | 13981.6118 | 0.21553
|  | 13991.2486 | 0.21607
|  | 14001.4828 | 0.21638
|  | 14011.7122 | 0.2163
|  | 14021.3353 | 0.21629
|  | 14031.5551 | 0.21624
|  | 14041.1691 | 0.21662
|  | 14051.3793 | 0.21727
|  | 14061.5845 | 0.21717
|  | 14071.1849 | 0.21699
|  | 14081.3805 | 0.21718
|  | 14091.5712 | 0.21712
|  | 14101.1578 | 0.2176
|  | 14111.3389 | 0.21791
|  | 14121.5149 | 0.21785
|  | 14131.0878 | 0.21769
|  | 14141.2542 | 0.2178
|  | 14151.4156 | 0.2176
|  | 14161.572 | 0.21743
|  | 14171.1265 | 0.21726
|  | 14181.2732 | 0.2172
|  | 14191.415 | 0.21757
|  | 14201.5517 | 0.21761
|  | 14211.0876 | 0.21754
|  | 14221.2147 | 0.21831
|  | 14231.3367 | 0.21839
|  | 14241.4537 | 0.21832
|  | 14250.971 | 0.21853
|  | 14261.0783 | 0.21839
|  | 14271.1806 | 0.21874
|  | 14281.2778 | 0.21896
|  | 14291.37 | 0.21925
|  | 14301.4572 | 0.21925
|  | 14310.9464 | 0.21909
|  | 14321.0238 | 0.21929
|  | 14331.0961 | 0.21935
|  | 14341.1634 | 0.21941
|  | 14351.2257 | 0.21933
|  | 14361.2829 | 0.21921
|  | 14371.335 | 0.21959
|  | 14381.3821 | 0.21956
|  | 14391.4242 | 0.21972
|  | 14400.8708 | 0.21962
|  | 14410.903 | 0.21978
|  | 14420.9301 | 0.21974
|  | 14430.9521 | 0.22014
|  | 14440.9691 | 0.22029
|  | 14450.9809 | 0.22046
|  | 14460.9877 | 0.22069
|  | 14470.9894 | 0.22084
|  | 14480.986 | 0.22077
|  | 14490.9775 | 0.22096
|  | 14500.9638 | 0.22134
|  | 14510.9451 | 0.22145
|  | 14520.9213 | 0.22138
|  | 14530.8923 | 0.2212
|  | 14540.8582 | 0.2212
|  | 14550.8191 | 0.22136
|  | 14560.7748 | 0.22173
|  | 14571.3105 | 0.22223
|  | 14581.2556 | 0.22292
|  | 14591.1956 | 0.22301
|  | 14601.1305 | 0.22328
|  | 14611.0602 | 0.22343
|  | 14620.9847 | 0.2235
|  | 14630.9042 | 0.22414
|  | 14640.8184 | 0.22534
|  | 14650.7275 | 0.22649
|  | 14661.2139 | 0.22693
|  | 14671.1124 | 0.22691
|  | 14681.0057 | 0.22753
|  | 14690.8939 | 0.22802
|  | 14700.7769 | 0.22857
|  | 14710.6547 | 0.2289
|  | 14721.1079 | 0.22938
|  | 14730.975 | 0.22996
|  | 14740.837 | 0.22982
|  | 14750.6937 | 0.22994
|  | 14761.1246 | 0.23055
|  | 14770.9707 | 0.23064
|  | 14780.8115 | 0.23053
|  | 14790.6472 | 0.23055
|  | 14801.0557 | 0.23119
|  | 14810.8806 | 0.23286
|  | 14820.7003 | 0.23414
|  | 14831.092 | 0.23497
|  | 14840.9009 | 0.2355
|  | 14850.7047 | 0.23547
|  | 14861.0794 | 0.23528
|  | 14870.8724 | 0.23566
|  | 14880.6601 | 0.23573
|  | 14891.0179 | 0.23583
|  | 14900.7948 | 0.23623
|  | 14910.5665 | 0.23632
|  | 14920.9073 | 0.2371
|  | 14930.6681 | 0.23764
|  | 14940.9974 | 0.23768
|  | 14950.7475 | 0.2381
|  | 14960.4923 | 0.23859
|  | 14970.8045 | 0.23908
|  | 14980.5385 | 0.23944
|  | 14990.8392 | 0.24064
|  | 15000.5623 | 0.24086
|  | 15010.8515 | 0.24152
|  | 15020.5637 | 0.24354
|  | 15030.8415 | 0.24438
|  | 15040.5428 | 0.24463
|  | 15050.8089 | 0.24474
|  | 15060.4993 | 0.24521
|  | 15070.754 | 0.24566
|  | 15080.4334 | 0.24603
|  | 15090.6765 | 0.24656
|  | 15100.9136 | 0.24746
|  | 15110.5765 | 0.2488
|  | 15120.802 | 0.25084
|  | 15130.4539 | 0.25298
|  | 15140.6678 | 0.25524
|  | 15150.8757 | 0.25618
|  | 15160.511 | 0.25685
|  | 15170.7073 | 0.25661
|  | 15180.3316 | 0.25653
|  | 15190.5163 | 0.25641
|  | 15200.6949 | 0.25642
|  | 15210.3025 | 0.25664
|  | 15220.4695 | 0.25789
|  | 15230.6305 | 0.25906
|  | 15240.7854 | 0.26053
|  | 15250.3706 | 0.2609
|  | 15260.5139 | 0.261
|  | 15270.6511 | 0.26087
|  | 15280.7823 | 0.26113
|  | 15290.3451 | 0.26102
|  | 15300.4645 | 0.26078
|  | 15310.5779 | 0.26141
|  | 15320.6853 | 0.26141
|  | 15330.2256 | 0.26206
|  | 15340.3212 | 0.26258
|  | 15350.4107 | 0.26365
|  | 15360.4942 | 0.26479
|  | 15370.5716 | 0.26552
|  | 15380.643 | 0.26579
|  | 15390.7083 | 0.26558
|  | 15400.2088 | 0.26568
|  | 15410.2622 | 0.26559
|  | 15420.3096 | 0.26571
|  | 15430.3509 | 0.26615
|  | 15440.3861 | 0.26702
|  | 15450.4152 | 0.26693
|  | 15460.4382 | 0.2673
|  | 15470.4551 | 0.26793
|  | 15480.4659 | 0.26779
|  | 15490.4706 | 0.26844
|  | 15500.4692 | 0.26973
|  | 15510.4616 | 0.27004
|  | 15520.4479 | 0.26982
|  | 15530.4281 | 0.26981
|  | 15540.4022 | 0.27031
|  | 15550.3701 | 0.2711
|  | 15560.3319 | 0.27133
|  | 15570.2876 | 0.27159
|  | 15580.2371 | 0.27203
|  | 15590.1804 | 0.27281
|  | 15600.1176 | 0.27275
|  | 15610.0487 | 0.27292
|  | 15620.5247 | 0.27357
|  | 15630.4431 | 0.27393
|  | 15640.3553 | 0.27391
|  | 15650.2613 | 0.27401
|  | 15660.1611 | 0.27425
|  | 15670.0548 | 0.27425
|  | 15680.4914 | 0.2741
|  | 15690.3723 | 0.27439
|  | 15700.2471 | 0.27467
|  | 15710.1156 | 0.27555
|  | 15719.978 | 0.27534
|  | 15730.3815 | 0.27572
|  | 15740.2311 | 0.27576
|  | 15750.0744 | 0.27685
|  | 15759.9116 | 0.27786
|  | 15770.2885 | 0.27875
|  | 15780.1129 | 0.27885
|  | 15789.931 | 0.27892
|  | 15800.2878 | 0.27881
|  | 15810.0931 | 0.27886
|  | 15819.8922 | 0.27895
|  | 15830.2289 | 0.27882
|  | 15840.0151 | 0.27878
|  | 15850.3382 | 0.27928
|  | 15860.1116 | 0.27932
|  | 15869.8787 | 0.27918
|  | 15880.1816 | 0.27947
|  | 15889.9358 | 0.27962
|  | 15900.2252 | 0.28005
|  | 15909.9665 | 0.28034
|  | 15920.2422 | 0.28043
|  | 15929.9706 | 0.28033
|  | 15940.2326 | 0.28083
|  | 15949.9481 | 0.28109
|  | 15960.1965 | 0.28111
|  | 15969.899 | 0.28121
|  | 15980.1338 | 0.2821
|  | 15989.8233 | 0.28286
|  | 16000.0444 | 0.28272