## Transmission
|  | Wavelength (nm) | % Transmission
|  | 800 | 29.3257
|  | 799 | 29.4076
|  | 798 | 29.4759
|  | 797 | 29.5737
Product Raw Data |  | 796 | 29.6479
Ø25 mm Neutral Density Filter, AR Coated: 350-700 nm, OD: 0.6 |  | 795 | 29.7028
|  | 794 | 29.8031
Item # | NE06B-A | 793 | 29.8777
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 792 | 29.9446
|  | 791 | 30.0289
|  | 790 | 30.1102
|  | 789 | 30.1839
|  | 788 | 30.2614
|  | 787 | 30.3366
|  | 786 | 30.4153
Additional Information: |  | 785 | 30.5016
Measurements Made at Normal Incidence |  | 784 | 30.5793
|  | 783 | 30.6533
|  | 782 | 30.7346
|  | 781 | 30.8007
|  | 780 | 30.8769
|  | 779 | 30.946
|  | 778 | 31.0404
|  | 777 | 31.1047
|  | 776 | 31.191
|  | 775 | 31.2684
|  | 774 | 31.3396
|  | 773 | 31.4028
|  | 772 | 31.5059
|  | 771 | 31.5667
|  | 770 | 31.6476
|  | 769 | 31.7035
|  | 768 | 31.7807
|  | 767 | 31.8642
|  | 766 | 31.9468
|  | 765 | 31.9985
|  | 764 | 32.0757
|  | 763 | 32.1476
|  | 762 | 32.2073
|  | 761 | 32.2937
|  | 760 | 32.3769
|  | 759 | 32.4159
|  | 758 | 32.5087
|  | 757 | 32.5526
|  | 756 | 32.618
|  | 755 | 32.6824
|  | 754 | 32.7624
|  | 753 | 32.7987
|  | 752 | 32.8755
|  | 751 | 32.9554
|  | 750 | 32.9856
|  | 749 | 33.0608
|  | 748 | 33.1198
|  | 747 | 33.1833
|  | 746 | 33.2342
|  | 745 | 33.3063
|  | 744 | 33.3331
|  | 743 | 33.4014
|  | 742 | 33.4602
|  | 741 | 33.496
|  | 740 | 33.5542
|  | 739 | 33.5917
|  | 738 | 33.6442
|  | 737 | 33.6859
|  | 736 | 33.7507
|  | 735 | 33.7658
|  | 734 | 33.8213
|  | 733 | 33.849
|  | 732 | 33.8651
|  | 731 | 33.9084
|  | 730 | 33.945
|  | 729 | 33.9629
|  | 728 | 33.9969
|  | 727 | 34.0253
|  | 726 | 34.035
|  | 725 | 34.0622
|  | 724 | 34.0721
|  | 723 | 34.0765
|  | 722 | 34.1019
|  | 721 | 34.0946
|  | 720 | 34.0759
|  | 719 | 34.0949
|  | 718 | 34.097
|  | 717 | 34.0687
|  | 716 | 34.0616
|  | 715 | 34.0364
|  | 714 | 34.007
|  | 713 | 33.9845
|  | 712 | 33.9703
|  | 711 | 33.9163
|  | 710 | 33.8785
|  | 709 | 33.8315
|  | 708 | 33.7479
|  | 707 | 33.7051
|  | 706 | 33.6444
|  | 705 | 33.557
|  | 704 | 33.4807
|  | 703 | 33.3958
|  | 702 | 33.2912
|  | 701 | 33.1882
|  | 700 | 33.0909
|  | 699 | 32.9681
|  | 698 | 32.8429
|  | 697 | 32.7063
|  | 696 | 32.5516
|  | 695 | 32.4187
|  | 694 | 32.2635
|  | 693 | 32.0975
|  | 692 | 31.9456
|  | 691 | 31.7709
|  | 690 | 31.5813
|  | 689 | 31.4011
|  | 688 | 31.1909
|  | 687 | 31.0061
|  | 686 | 30.8043
|  | 685 | 30.6005
|  | 684 | 30.388
|  | 683 | 30.1892
|  | 682 | 29.9616
|  | 681 | 29.7497
|  | 680 | 29.5415
|  | 679 | 29.3265
|  | 678 | 29.1312
|  | 677 | 28.914
|  | 676 | 28.7121
|  | 675 | 28.5254
|  | 674 | 28.3378
|  | 673 | 28.1481
|  | 672 | 27.9845
|  | 671 | 27.8123
|  | 670 | 27.6507
|  | 669 | 27.5153
|  | 668 | 27.3661
|  | 667 | 27.2292
|  | 666 | 27.1092
|  | 665 | 26.9818
|  | 664 | 26.8674
|  | 663 | 26.7742
|  | 662 | 26.6866
|  | 661 | 26.5913
|  | 660 | 26.5177
|  | 659 | 26.4342
|  | 658 | 26.355
|  | 657 | 26.3018
|  | 656 | 26.2525
|  | 655 | 26.1974
|  | 654 | 26.1584
|  | 653 | 26.1065
|  | 652 | 26.0599
|  | 651 | 26.0435
|  | 650 | 26.025
|  | 649 | 25.9981
|  | 648 | 25.9915
|  | 647 | 25.9678
|  | 646 | 25.9619
|  | 645 | 25.9649
|  | 644 | 25.9682
|  | 643 | 25.9691
|  | 642 | 25.9816
|  | 641 | 25.9807
|  | 640 | 25.9822
|  | 639 | 26.0083
|  | 638 | 26.0245
|  | 637 | 26.0357
|  | 636 | 26.0529
|  | 635 | 26.0592
|  | 634 | 26.0625
|  | 633 | 26.085
|  | 632 | 26.0957
|  | 631 | 26.0977
|  | 630 | 26.1149
|  | 629 | 26.1099
|  | 628 | 26.1055
|  | 627 | 26.111
|  | 626 | 26.1032
|  | 625 | 26.0878
|  | 624 | 26.0738
|  | 623 | 26.0513
|  | 622 | 26.0228
|  | 621 | 26.0129
|  | 620 | 25.987
|  | 619 | 25.951
|  | 618 | 25.9191
|  | 617 | 25.8655
|  | 616 | 25.8276
|  | 615 | 25.7933
|  | 614 | 25.7417
|  | 613 | 25.6926
|  | 612 | 25.6511
|  | 611 | 25.5965
|  | 610 | 25.5416
|  | 609 | 25.5024
|  | 608 | 25.4598
|  | 607 | 25.411
|  | 606 | 25.37
|  | 605 | 25.3101
|  | 604 | 25.2605
|  | 603 | 25.2312
|  | 602 | 25.1877
|  | 601 | 25.1449
|  | 600 | 25.107
|  | 599 | 25.0627
|  | 598 | 25.0243
|  | 597 | 24.9999
|  | 596 | 24.9757
|  | 595 | 24.9482
|  | 594 | 24.9335
|  | 593 | 24.9106
|  | 592 | 24.8951
|  | 591 | 24.9114
|  | 590 | 24.9179
|  | 589 | 24.9284
|  | 588 | 24.9483
|  | 587 | 24.9681
|  | 586 | 25.006
|  | 585 | 25.0662
|  | 584 | 25.1069
|  | 583 | 25.1533
|  | 582 | 25.2151
|  | 581 | 25.2646
|  | 580 | 25.3319
|  | 579 | 25.4076
|  | 578 | 25.4751
|  | 577 | 25.5486
|  | 576 | 25.6309
|  | 575 | 25.6981
|  | 574 | 25.7686
|  | 573 | 25.8617
|  | 572 | 25.9369
|  | 571 | 26.0166
|  | 570 | 26.0934
|  | 569 | 26.1625
|  | 568 | 26.2375
|  | 567 | 26.3225
|  | 566 | 26.4051
|  | 565 | 26.4693
|  | 564 | 26.5375
|  | 563 | 26.5979
|  | 562 | 26.6513
|  | 561 | 26.7234
|  | 560 | 26.7756
|  | 559 | 26.8214
|  | 558 | 26.8815
|  | 557 | 26.9212
|  | 556 | 26.9566
|  | 555 | 26.9919
|  | 554 | 27.0024
|  | 553 | 27.022
|  | 552 | 27.0511
|  | 551 | 27.0588
|  | 550 | 27.0707
|  | 549 | 27.0727
|  | 548 | 27.0626
|  | 547 | 27.0564
|  | 546 | 27.0474
|  | 545 | 27.031
|  | 544 | 27.0025
|  | 543 | 26.9794
|  | 542 | 26.9419
|  | 541 | 26.9004
|  | 540 | 26.8752
|  | 539 | 26.8217
|  | 538 | 26.7739
|  | 537 | 26.7246
|  | 536 | 26.652
|  | 535 | 26.594
|  | 534 | 26.5489
|  | 533 | 26.4742
|  | 532 | 26.4112
|  | 531 | 26.3483
|  | 530 | 26.2637
|  | 529 | 26.2032
|  | 528 | 26.1424
|  | 527 | 26.0832
|  | 526 | 26.0283
|  | 525 | 25.9635
|  | 524 | 25.8966
|  | 523 | 25.8463
|  | 522 | 25.8028
|  | 521 | 25.7527
|  | 520 | 25.7082
|  | 519 | 25.6609
|  | 518 | 25.6208
|  | 517 | 25.5787
|  | 516 | 25.5658
|  | 515 | 25.5306
|  | 514 | 25.498
|  | 513 | 25.4803
|  | 512 | 25.4458
|  | 511 | 25.4213
|  | 510 | 25.4193
|  | 509 | 25.399
|  | 508 | 25.3984
|  | 507 | 25.3964
|  | 506 | 25.3876
|  | 505 | 25.3932
|  | 504 | 25.4184
|  | 503 | 25.4281
|  | 502 | 25.4509
|  | 501 | 25.4649
|  | 500 | 25.4776
|  | 499 | 25.5048
|  | 498 | 25.5498
|  | 497 | 25.5549
|  | 496 | 25.6026
|  | 495 | 25.6365
|  | 494 | 25.6509
|  | 493 | 25.7006
|  | 492 | 25.7444
|  | 491 | 25.7751
|  | 490 | 25.8274
|  | 489 | 25.8735
|  | 488 | 25.9194
|  | 487 | 25.9711
|  | 486 | 26.0369
|  | 485 | 26.0978
|  | 484 | 26.1554
|  | 483 | 26.2181
|  | 482 | 26.275
|  | 481 | 26.344
|  | 480 | 26.4302
|  | 479 | 26.4828
|  | 478 | 26.5589
|  | 477 | 26.6297
|  | 476 | 26.6781
|  | 475 | 26.7478
|  | 474 | 26.8367
|  | 473 | 26.8775
|  | 472 | 26.9456
|  | 471 | 26.9982
|  | 470 | 27.0319
|  | 469 | 27.0997
|  | 468 | 27.1434
|  | 467 | 27.1729
|  | 466 | 27.2046
|  | 465 | 27.2195
|  | 464 | 27.2255
|  | 463 | 27.2098
|  | 462 | 27.2093
|  | 461 | 27.1701
|  | 460 | 27.1329
|  | 459 | 27.0736
|  | 458 | 26.981
|  | 457 | 26.8965
|  | 456 | 26.7971
|  | 455 | 26.6742
|  | 454 | 26.5461
|  | 453 | 26.4
|  | 452 | 26.2322
|  | 451 | 26.0724
|  | 450 | 25.9161
|  | 449 | 25.7374
|  | 448 | 25.5593
|  | 447 | 25.3838
|  | 446 | 25.1991
|  | 445 | 25.0524
|  | 444 | 24.9321
|  | 443 | 24.7954
|  | 442 | 24.7061
|  | 441 | 24.6402
|  | 440 | 24.5617
|  | 439 | 24.5603
|  | 438 | 24.5653
|  | 437 | 24.5639
|  | 436 | 24.6127
|  | 435 | 24.6229
|  | 434 | 24.655
|  | 433 | 24.6739
|  | 432 | 24.6934
|  | 431 | 24.6801
|  | 430 | 24.6401
|  | 429 | 24.6011
|  | 428 | 24.5212
|  | 427 | 24.4469
|  | 426 | 24.3541
|  | 425 | 24.2336
|  | 424 | 24.1276
|  | 423 | 24.0065
|  | 422 | 23.8681
|  | 421 | 23.7611
|  | 420 | 23.657
|  | 419 | 23.508
|  | 418 | 23.4197
|  | 417 | 23.3023
|  | 416 | 23.2041
|  | 415 | 23.139
|  | 414 | 23.0817
|  | 413 | 23.0223
|  | 412 | 22.9912
|  | 411 | 22.9702
|  | 410 | 22.9445
|  | 409 | 22.944
|  | 408 | 22.9631
|  | 407 | 22.9363
|  | 406 | 22.946
|  | 405 | 22.9101
|  | 404 | 22.8638
|  | 403 | 22.8056
|  | 402 | 22.7231
|  | 401 | 22.5805
|  | 400 | 22.4348
|  | 399 | 22.2268
|  | 398 | 21.9752
|  | 397 | 21.7005
|  | 396 | 21.3926
|  | 395 | 21.0215
|  | 394 | 20.633
|  | 393 | 20.2199
|  | 392 | 19.724
|  | 391 | 19.2263
|  | 390 | 18.6658
|  | 389 | 18.0345
|  | 388 | 17.3831
|  | 387 | 16.6707
|  | 386 | 15.9142
|  | 385 | 15.145
|  | 384 | 14.3719
|  | 383 | 13.5869
|  | 382 | 12.8142
|  | 381 | 12.0817
|  | 380 | 11.4283
|  | 379 | 10.883
|  | 378 | 10.4577
|  | 377 | 10.2605
|  | 376 | 10.2385
|  | 375 | 10.3617
|  | 374 | 10.563
|  | 373 | 10.7882
|  | 372 | 10.9751
|  | 371 | 11.042
|  | 370 | 11.004
|  | 369 | 10.8372
|  | 368 | 10.5522
|  | 367 | 10.1937
|  | 366 | 9.7641
|  | 365 | 9.3089
|  | 364 | 8.8332
|  | 363 | 8.3414
|  | 362 | 7.8332
|  | 361 | 7.3254
|  | 360 | 6.8164
|  | 359 | 6.2985
|  | 358 | 5.7998
|  | 357 | 5.3159
|  | 356 | 4.8436
|  | 355 | 4.3976
|  | 354 | 3.9678
|  | 353 | 3.5626
|  | 352 | 3.1833
|  | 351 | 2.8262
|  | 350 | 2.4781
|  | 349 | 2.164
|  | 348 | 1.8631
|  | 347 | 1.5906
|  | 346 | 1.3482
|  | 345 | 1.139
|  | 344 | 0.94856
|  | 343 | 0.78283
|  | 342 | 0.63918
|  | 341 | 0.50965
|  | 340 | 0.40268
|  | 339 | 0.31705
|  | 338 | 0.24238
|  | 337 | 0.18113
|  | 336 | 0.13198
|  | 335 | 0.094272
|  | 334 | 0.066009
|  | 333 | 0.049308
|  | 332 | 0.033624
|  | 331 | 0.023017
|  | 330 | 0.014605
|  | 329 | 0.006515
|  | 328 | 0.003784
|  | 327 | 0.006203
|  | 326 | 0.004625
|  | 325 | 0.003889
|  | 324 | 0.002312
|  | 323 | 0.001576
|  | 322 | 0.001367
|  | 321 | 0.005362
|  | 320 | -0.000736
|  | 319 | 0.001156
|  | 318 | 0.002104
|  | 317 | 0.002004
|  | 316 | 0.000527
|  | 315 | -0.000528
|  | 314 | 0.001055
|  | 313 | -0.000316
|  | 312 | 0.003481
|  | 311 | 0.002005
|  | 310 | -0.001688
|  | 309 | -0.001688
|  | 308 | 0.000422
|  | 307 | -0.000211
|  | 306 | 0.004011
|  | 305 | 0.0019
|  | 304 | -0.001161
|  | 303 | -0.00095
|  | 302 | 0.001161
|  | 301 | -0.000845
|  | 300 | 0.002322
|  | 299 | 0.0019
|  | 298 | -0.001794
|  | 297 | -0.001689
|  | 296 | 0.000844
|  | 295 | -0.000106
|  | 294 | 0.003589
|  | 293 | 0.002638
|  | 292 | -0.00095
|  | 291 | -0.002005
|  | 290 | 0
|  | 289 | -0.000317
|  | 288 | 0.004114
|  | 287 | 0.002321
|  | 286 | 0.000527
|  | 285 | 0
|  | 284 | 0.001055
|  | 283 | -0.000106
|  | 282 | 0.004113
|  | 281 | 0.002953
|  | 280 | -0.000316
|  | 279 | -0.000844
|  | 278 | 0.000738
|  | 277 | 0.000843
|  | 276 | 0.003372
|  | 275 | 0.001686
|  | 274 | 0.000421
|  | 273 | 0.000948
|  | 272 | 0.001896
|  | 271 | 0.002632
|  | 270 | 0.002104
|  | 269 | 0.001998
|  | 268 | 0.001997
|  | 267 | 0.002102
|  | 266 | 0.003992
|  | 265 | 0.00357
|  | 264 | 0.004511
|  | 263 | 0.002517
|  | 262 | -0.001468
|  | 261 | -0.001467
|  | 260 | 0.000419
|  | 259 | 0.000209
|  | 258 | 0.003664
|  | 257 | 0.003035
|  | 256 | -0.001046
|  | 255 | -0.001465
|  | 254 | 0.001046
|  | 253 | 0.001046
|  | 252 | 0.004078
|  | 251 | 0.002404
|  | 250 | -0.000941
|  | 299 | 0.00074
|  | 298 | -0.001691
|  | 297 | 0
|  | 296 | 0.00148
|  | 295 | -0.001268
|  | 294 | 0.002114
|  | 293 | 0.000845
|  | 292 | -0.001585
|  | 291 | 0.002114
|  | 290 | 0.003488
|  | 289 | -0.002324
|  | 288 | -0.001796
|  | 287 | -0.000317
|  | 286 | 0.001268
|  | 285 | 0.001162
|  | 284 | 0.000317
|  | 283 | 0.001162
|  | 282 | 0.001373
|  | 281 | -0.001267
|  | 280 | -0.002746
|  | 279 | 0.000422
|  | 278 | 0.002112
|  | 277 | 0.000317
|  | 276 | 0.002427
|  | 275 | 0.00095
|  | 274 | -0.000738
|  | 273 | 0.001793
|  | 272 | 0.001582
|  | 271 | -0.000422
|  | 270 | 0.002002
|  | 269 | 0.000526
|  | 268 | -0.001579
|  | 267 | 0.001368
|  | 266 | 0.001157
|  | 265 | 0.000105
|  | 264 | 0.001891
|  | 263 | 0.00063
|  | 262 | -0.000734
|  | 261 | 0.001364
|  | 260 | 0.000524
|  | 259 | -0.000734
|  | 258 | 0.001467
|  | 257 | -0.000524
|  | 256 | -0.001047
|  | 255 | 0
|  | 254 | -0.002304
|  | 253 | -0.001047
|  | 252 | 0.002721
|  | 251 | 0.001569
|  | 250 | 0.000105
|  | 249 | 0.001987
|  | 248 | 0.000418
|  | 247 | -0.000313
|  | 246 | 0.002087
|  | 245 | -0.00073
|  | 244 | -0.003022
|  | 243 | -0.001458
|  | 242 | -0.001559
|  | 241 | -0.000104
|  | 240 | 0.00259
|  | 239 | -0.00031
|  | 238 | -0.001858
|  | 237 | -0.000515
|  | 236 | -0.001132
|  | 235 | 0
|  | 234 | 0.00246
|  | 233 | -0.000205
|  | 232 | -0.001942
|  | 231 | 0.001123
|  | 230 | -0.000714
|  | 229 | -0.000407
|  | 228 | 0.002848
|  | 227 | 0.000813
|  | 226 | -0.001016
|  | 225 | -0.000508
|  | 224 | -0.001727
|  | 223 | 0
|  | 222 | 0.002335
|  | 221 | 0.000711
|  | 220 | -0.000711
|  | 219 | 0.000305
|  | 218 | -0.000812
|  | 217 | 0.000305
|  | 216 | 0.002335
|  | 215 | 0
|  | 214 | -0.001015
|  | 213 | 0.000203
|  | 212 | -0.001725
|  | 211 | 0.000608
|  | 210 | 0.00223
|  | 209 | 0.000101
|  | 208 | -0.002531
|  | 207 | 0.001214
|  | 206 | 0.000202
|  | 205 | -0.001614
|  | 204 | 0
|  | 203 | -0.001004
|  | 202 | 0.0003
|  | 201 | 0.0002
|  | 200 | -0.003873