## Transmission
|  | Wavelength (nm) | % Transmission
|  | 1150 | 9.7568
|  | 1149 | 9.7405
|  | 1148 | 9.722
|  | 1147 | 9.6913
Product Raw Data |  | 1146 | 9.6788
Ø25 mm Absorptive Neutral Density Filter, ARC: 650-1050 nm, SM1-Threaded Mount, OD: 1.0 |  | 1145 | 9.6567
|  | 1144 | 9.6491
Item # | NE10A-B | 1143 | 9.6307
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1142 | 9.6192
|  | 1141 | 9.6106
|  | 1140 | 9.6083
|  | 1139 | 9.5905
|  | 1138 | 9.581
|  | 1137 | 9.5723
|  | 1136 | 9.5256
Additional Information: |  | 1135 | 9.55
Measurements Made at Normal Incidence |  | 1134 | 9.5302
|  | 1133 | 9.4905
|  | 1132 | 9.4512
|  | 1131 | 9.4337
|  | 1130 | 9.4822
|  | 1129 | 9.5132
|  | 1128 | 9.5285
|  | 1127 | 9.5215
|  | 1126 | 9.4548
|  | 1125 | 9.4541
|  | 1124 | 9.4536
|  | 1123 | 9.4518
|  | 1122 | 9.4571
|  | 1121 | 9.4082
|  | 1120 | 9.3938
|  | 1119 | 9.3808
|  | 1118 | 9.388
|  | 1117 | 9.3853
|  | 1116 | 9.3871
|  | 1115 | 9.3941
|  | 1114 | 9.3854
|  | 1113 | 9.3808
|  | 1112 | 9.3876
|  | 1111 | 9.3893
|  | 1110 | 9.3915
|  | 1109 | 9.3925
|  | 1108 | 9.3856
|  | 1107 | 9.3876
|  | 1106 | 9.39
|  | 1105 | 9.3915
|  | 1104 | 9.3946
|  | 1103 | 9.3958
|  | 1102 | 9.3906
|  | 1101 | 9.3892
|  | 1100 | 9.341
|  | 1099 | 9.331
|  | 1098 | 9.3377
|  | 1097 | 9.3465
|  | 1096 | 9.3558
|  | 1095 | 9.3709
|  | 1094 | 9.3692
|  | 1093 | 9.3588
|  | 1092 | 9.3291
|  | 1091 | 9.3293
|  | 1090 | 9.3351
|  | 1089 | 9.3418
|  | 1088 | 9.3559
|  | 1087 | 9.3638
|  | 1086 | 9.372
|  | 1085 | 9.3608
|  | 1084 | 9.3279
|  | 1083 | 9.3302
|  | 1082 | 9.3431
|  | 1081 | 9.3461
|  | 1080 | 9.3599
|  | 1079 | 9.3764
|  | 1078 | 9.3784
|  | 1077 | 9.3658
|  | 1076 | 9.3295
|  | 1075 | 9.3362
|  | 1074 | 9.3467
|  | 1073 | 9.3609
|  | 1072 | 9.3722
|  | 1071 | 9.385
|  | 1070 | 9.3907
|  | 1069 | 9.3992
|  | 1068 | 9.3984
|  | 1067 | 9.3908
|  | 1066 | 9.3587
|  | 1065 | 9.3575
|  | 1064 | 9.3714
|  | 1063 | 9.382
|  | 1062 | 9.3994
|  | 1061 | 9.4146
|  | 1060 | 9.4312
|  | 1059 | 9.4412
|  | 1058 | 9.4532
|  | 1057 | 9.4462
|  | 1056 | 9.4169
|  | 1055 | 9.4216
|  | 1054 | 9.4322
|  | 1053 | 9.4472
|  | 1052 | 9.4693
|  | 1051 | 9.4848
|  | 1050 | 9.4825
|  | 1049 | 9.4537
|  | 1048 | 9.4616
|  | 1047 | 9.4806
|  | 1046 | 9.5002
|  | 1045 | 9.5152
|  | 1044 | 9.5301
|  | 1043 | 9.5295
|  | 1042 | 9.5016
|  | 1041 | 9.5089
|  | 1040 | 9.5342
|  | 1039 | 9.554
|  | 1038 | 9.577
|  | 1037 | 9.5953
|  | 1036 | 9.593
|  | 1035 | 9.568
|  | 1034 | 9.5733
|  | 1033 | 9.5946
|  | 1032 | 9.6135
|  | 1031 | 9.6355
|  | 1030 | 9.6461
|  | 1029 | 9.6302
|  | 1028 | 9.6361
|  | 1027 | 9.6522
|  | 1026 | 9.6785
|  | 1025 | 9.7065
|  | 1024 | 9.7089
|  | 1023 | 9.691
|  | 1022 | 9.7041
|  | 1021 | 9.7297
|  | 1020 | 9.7483
|  | 1019 | 9.7686
|  | 1018 | 9.7932
|  | 1017 | 9.7946
|  | 1016 | 9.7735
|  | 1015 | 9.7938
|  | 1014 | 9.8199
|  | 1013 | 9.8445
|  | 1012 | 9.866
|  | 1011 | 9.868
|  | 1010 | 9.8541
|  | 1009 | 9.8693
|  | 1008 | 9.8948
|  | 1007 | 9.9259
|  | 1006 | 9.9321
|  | 1005 | 9.9182
|  | 1004 | 9.9406
|  | 1003 | 9.9767
|  | 1002 | 10.0093
|  | 1001 | 10.0095
|  | 1000 | 10.0015
|  | 999 | 10.0257
|  | 998 | 10.0542
|  | 997 | 10.0778
|  | 996 | 10.0815
|  | 995 | 10.0767
|  | 994 | 10.1035
|  | 993 | 10.142
|  | 992 | 10.1724
|  | 991 | 10.1743
|  | 990 | 10.1725
|  | 989 | 10.196
|  | 988 | 10.2321
|  | 987 | 10.2442
|  | 986 | 10.2446
|  | 985 | 10.268
|  | 984 | 10.298
|  | 983 | 10.3065
|  | 982 | 10.3046
|  | 981 | 10.3361
|  | 980 | 10.377
|  | 979 | 10.4173
|  | 978 | 10.4283
|  | 977 | 10.4244
|  | 976 | 10.4544
|  | 975 | 10.4666
|  | 974 | 10.4731
|  | 973 | 10.5078
|  | 972 | 10.5471
|  | 971 | 10.5631
|  | 970 | 10.5685
|  | 969 | 10.5738
|  | 968 | 10.5827
|  | 967 | 10.6212
|  | 966 | 10.679
|  | 965 | 10.6993
|  | 964 | 10.699
|  | 963 | 10.7357
|  | 962 | 10.7515
|  | 961 | 10.7583
|  | 960 | 10.8027
|  | 959 | 10.8347
|  | 958 | 10.8219
|  | 957 | 10.8278
|  | 956 | 10.8761
|  | 955 | 10.931
|  | 954 | 10.9598
|  | 953 | 10.9774
|  | 952 | 11.0025
|  | 951 | 11.0339
|  | 950 | 11.0544
|  | 949 | 11.0731
|  | 948 | 11.0882
|  | 947 | 11.1123
|  | 946 | 11.1661
|  | 945 | 11.2006
|  | 944 | 11.2291
|  | 943 | 11.2441
|  | 942 | 11.2649
|  | 941 | 11.2777
|  | 940 | 11.312
|  | 939 | 11.3776
|  | 938 | 11.4141
|  | 937 | 11.4253
|  | 936 | 11.4492
|  | 935 | 11.47
|  | 934 | 11.4697
|  | 933 | 11.4979
|  | 932 | 11.5586
|  | 931 | 11.6231
|  | 930 | 11.6509
|  | 929 | 11.6404
|  | 928 | 11.6528
|  | 927 | 11.7181
|  | 926 | 11.7663
|  | 925 | 11.7826
|  | 924 | 11.8185
|  | 923 | 11.8532
|  | 922 | 11.8984
|  | 921 | 11.9295
|  | 920 | 11.9362
|  | 919 | 11.9818
|  | 918 | 12.0311
|  | 917 | 12.0499
|  | 916 | 12.0934
|  | 915 | 12.1312
|  | 914 | 12.152
|  | 913 | 12.2062
|  | 912 | 12.258
|  | 911 | 12.2881
|  | 910 | 12.3062
|  | 909 | 12.36
|  | 908 | 12.4108
|  | 907 | 12.4299
|  | 906 | 12.4495
|  | 905 | 12.4813
|  | 904 | 12.5193
|  | 903 | 12.5801
|  | 902 | 12.6415
|  | 901 | 12.6335
|  | 900 | 12.6013
|  | 899 | 12.595
|  | 898 | 12.6404
|  | 897 | 12.7185
|  | 896 | 12.7665
|  | 895 | 12.7962
|  | 894 | 12.8563
|  | 893 | 12.902
|  | 892 | 12.9235
|  | 891 | 12.947
|  | 890 | 13.0192
|  | 889 | 13.1034
|  | 888 | 13.1389
|  | 887 | 13.143
|  | 886 | 13.1587
|  | 885 | 13.1966
|  | 884 | 13.2392
|  | 883 | 13.3201
|  | 882 | 13.3945
|  | 881 | 13.4363
|  | 880 | 13.4379
|  | 879 | 13.4592
|  | 878 | 13.4979
|  | 877 | 13.5452
|  | 876 | 13.6329
|  | 875 | 13.7122
|  | 874 | 13.7301
|  | 873 | 13.7359
|  | 872 | 13.7568
|  | 871 | 13.8042
|  | 870 | 13.8472
|  | 869 | 13.8804
|  | 868 | 13.9026
|  | 867 | 13.9707
|  | 866 | 14.037
|  | 865 | 14.064
|  | 864 | 14.1005
|  | 863 | 14.1237
|  | 862 | 14.1499
|  | 861 | 14.1808
|  | 860 | 14.1953
|  | 859 | 14.2405
|  | 858 | 14.2645
|  | 857 | 14.3212
|  | 856 | 14.3547
|  | 855 | 14.3924
|  | 854 | 14.4488
|  | 853 | 14.4707
|  | 852 | 14.5392
|  | 851 | 14.5897
|  | 850 | 14.6054
|  | 849 | 14.6486
|  | 848 | 14.6926
|  | 847 | 14.7218
|  | 846 | 14.7566
|  | 845 | 14.7823
|  | 844 | 14.8469
|  | 843 | 14.8637
|  | 842 | 14.92
|  | 841 | 14.9672
|  | 840 | 14.9939
|  | 839 | 15.06
|  | 838 | 15.0915
|  | 837 | 15.1228
|  | 836 | 15.171
|  | 835 | 15.2157
|  | 834 | 15.261
|  | 833 | 15.2979
|  | 832 | 15.3341
|  | 831 | 15.3754
|  | 830 | 15.4156
|  | 829 | 15.4563
|  | 828 | 15.5105
|  | 827 | 15.5507
|  | 826 | 15.5724
|  | 825 | 15.6266
|  | 824 | 15.6785
|  | 823 | 15.7149
|  | 822 | 15.7724
|  | 821 | 15.8112
|  | 820 | 15.8481
|  | 819 | 15.8981
|  | 818 | 15.9333
|  | 817 | 15.9604
|  | 816 | 16.0079
|  | 815 | 16.0608
|  | 814 | 16.1009
|  | 813 | 16.1347
|  | 812 | 16.1861
|  | 811 | 16.2194
|  | 810 | 16.2869
|  | 809 | 16.3133
|  | 808 | 16.341
|  | 807 | 16.3999
|  | 806 | 16.4325
|  | 805 | 16.4659
|  | 804 | 16.5204
|  | 803 | 16.5611
|  | 802 | 16.5912
|  | 801 | 16.6504
|  | 800 | 16.7017
|  | 799 | 16.7281
|  | 798 | 16.779
|  | 797 | 16.8143
|  | 796 | 16.8544
|  | 795 | 16.8958
|  | 794 | 16.9437
|  | 793 | 16.9819
|  | 792 | 17.0157
|  | 791 | 17.0515
|  | 790 | 17.0946
|  | 789 | 17.1556
|  | 788 | 17.1875
|  | 787 | 17.2252
|  | 786 | 17.2664
|  | 785 | 17.3166
|  | 784 | 17.348
|  | 783 | 17.3901
|  | 782 | 17.432
|  | 781 | 17.47
|  | 780 | 17.4975
|  | 779 | 17.5541
|  | 778 | 17.5912
|  | 777 | 17.6291
|  | 776 | 17.6669
|  | 775 | 17.6992
|  | 774 | 17.7439
|  | 773 | 17.7767
|  | 772 | 17.7928
|  | 771 | 17.8442
|  | 770 | 17.8733
|  | 769 | 17.9049
|  | 768 | 17.954
|  | 767 | 17.9851
|  | 766 | 18.0079
|  | 765 | 18.0678
|  | 764 | 18.0904
|  | 763 | 18.1122
|  | 762 | 18.1504
|  | 761 | 18.1783
|  | 760 | 18.2054
|  | 759 | 18.2557
|  | 758 | 18.2698
|  | 757 | 18.2963
|  | 756 | 18.3218
|  | 755 | 18.3567
|  | 754 | 18.3735
|  | 753 | 18.4124
|  | 752 | 18.431
|  | 751 | 18.4652
|  | 750 | 18.4827
|  | 749 | 18.5045
|  | 748 | 18.5256
|  | 747 | 18.5455
|  | 746 | 18.5667
|  | 745 | 18.5718
|  | 744 | 18.6052
|  | 743 | 18.6256
|  | 742 | 18.6277
|  | 741 | 18.6599
|  | 740 | 18.6653
|  | 739 | 18.6666
|  | 738 | 18.6751
|  | 737 | 18.6786
|  | 736 | 18.692
|  | 735 | 18.7139
|  | 734 | 18.705
|  | 733 | 18.711
|  | 732 | 18.7136
|  | 731 | 18.7094
|  | 730 | 18.6936
|  | 729 | 18.7079
|  | 728 | 18.6923
|  | 727 | 18.6809
|  | 726 | 18.6666
|  | 725 | 18.6518
|  | 724 | 18.626
|  | 723 | 18.6271
|  | 722 | 18.5977
|  | 721 | 18.5672
|  | 720 | 18.5488
|  | 719 | 18.5117
|  | 718 | 18.4677
|  | 717 | 18.4538
|  | 716 | 18.4003
|  | 715 | 18.3514
|  | 714 | 18.3077
|  | 713 | 18.2484
|  | 712 | 18.1902
|  | 711 | 18.1456
|  | 710 | 18.0688
|  | 709 | 18.0058
|  | 708 | 17.9289
|  | 707 | 17.8433
|  | 706 | 17.7585
|  | 705 | 17.6905
|  | 704 | 17.5824
|  | 703 | 17.4833
|  | 702 | 17.3672
|  | 701 | 17.2614
|  | 700 | 17.1414
|  | 699 | 17.0306
|  | 698 | 16.9
|  | 697 | 16.7564
|  | 696 | 16.6123
|  | 695 | 16.4723
|  | 694 | 16.3277
|  | 693 | 16.1844
|  | 692 | 16.0248
|  | 691 | 15.8609
|  | 690 | 15.6904
|  | 689 | 15.5133
|  | 688 | 15.3397
|  | 687 | 15.1718
|  | 686 | 14.986
|  | 685 | 14.8049
|  | 684 | 14.6215
|  | 683 | 14.4409
|  | 682 | 14.2574
|  | 681 | 14.0859
|  | 680 | 13.9206
|  | 679 | 13.7318
|  | 678 | 13.5538
|  | 677 | 13.3934
|  | 676 | 13.2316
|  | 675 | 13.0856
|  | 674 | 12.9369
|  | 673 | 12.7915
|  | 672 | 12.6526
|  | 671 | 12.5216
|  | 670 | 12.3979
|  | 669 | 12.2905
|  | 668 | 12.1683
|  | 667 | 12.0551
|  | 666 | 11.9546
|  | 665 | 11.8678
|  | 664 | 11.7793
|  | 663 | 11.7123
|  | 662 | 11.6268
|  | 661 | 11.5516
|  | 660 | 11.487
|  | 659 | 11.4267
|  | 658 | 11.3716
|  | 657 | 11.3275
|  | 656 | 11.2737
|  | 655 | 11.2217
|  | 654 | 11.1819
|  | 653 | 11.1486
|  | 652 | 11.1198
|  | 651 | 11.0953
|  | 650 | 11.0675
|  | 649 | 11.0406
|  | 648 | 11.0153
|  | 647 | 11.0026
|  | 646 | 10.9933
|  | 645 | 10.9844
|  | 644 | 10.9713
|  | 643 | 10.9614
|  | 642 | 10.9545
|  | 641 | 10.953
|  | 640 | 10.9573
|  | 639 | 10.9625
|  | 638 | 10.9524
|  | 637 | 10.9432
|  | 636 | 10.9431
|  | 635 | 10.9456
|  | 634 | 10.9453
|  | 633 | 10.943
|  | 632 | 10.9383
|  | 631 | 10.927
|  | 630 | 10.9131
|  | 629 | 10.9066
|  | 628 | 10.8975
|  | 627 | 10.887
|  | 626 | 10.8636
|  | 625 | 10.8426
|  | 624 | 10.8184
|  | 623 | 10.7944
|  | 622 | 10.7729
|  | 621 | 10.7479
|  | 620 | 10.7072
|  | 619 | 10.6719
|  | 618 | 10.6322
|  | 617 | 10.5936
|  | 616 | 10.5555
|  | 615 | 10.5161
|  | 614 | 10.4683
|  | 613 | 10.42
|  | 612 | 10.3751
|  | 611 | 10.333
|  | 610 | 10.288
|  | 609 | 10.245
|  | 608 | 10.1921
|  | 607 | 10.1418
|  | 606 | 10.0965
|  | 605 | 10.0523
|  | 604 | 10.011
|  | 603 | 9.9718
|  | 602 | 9.925
|  | 601 | 9.8788
|  | 600 | 9.8383
|  | 599 | 9.7979
|  | 598 | 9.7605
|  | 597 | 9.7251
|  | 596 | 9.6848
|  | 595 | 9.6499
|  | 594 | 9.6167
|  | 593 | 9.5914
|  | 592 | 9.571
|  | 591 | 9.552
|  | 590 | 9.5335
|  | 589 | 9.5192
|  | 588 | 9.5101
|  | 587 | 9.506
|  | 586 | 9.5091
|  | 585 | 9.5138
|  | 584 | 9.5155
|  | 583 | 9.5203
|  | 582 | 9.5294
|  | 581 | 9.5437
|  | 580 | 9.5595
|  | 579 | 9.5746
|  | 578 | 9.5911
|  | 577 | 9.6067
|  | 576 | 9.6245
|  | 575 | 9.6474
|  | 574 | 9.6716
|  | 573 | 9.6901
|  | 572 | 9.7049
|  | 571 | 9.723
|  | 570 | 9.7396
|  | 569 | 9.7568
|  | 568 | 9.7811
|  | 567 | 9.7944
|  | 566 | 9.8031
|  | 565 | 9.8142
|  | 564 | 9.8249
|  | 563 | 9.8335
|  | 562 | 9.8439
|  | 561 | 9.856
|  | 560 | 9.8599
|  | 559 | 9.8611
|  | 558 | 9.8521
|  | 557 | 9.841
|  | 556 | 9.825
|  | 555 | 9.8073
|  | 554 | 9.7893
|  | 553 | 9.7735
|  | 552 | 9.7468
|  | 551 | 9.7149
|  | 550 | 9.6793