## Transmission
|  | Wavelength (nm) | % Transmission
|  | 1150 | 39.0168
|  | 1149 | 39.0027
|  | 1148 | 38.9909
|  | 1147 | 38.9664
Product Raw Data |  | 1146 | 38.9605
Ø1/2" Neutral Density Filter, AR Coated: 650 - 1050 nm, OD: 0.4 |  | 1145 | 38.9446
|  | 1144 | 38.9339
Item # | NE504B-B | 1143 | 38.9235
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1142 | 38.9185
|  | 1141 | 38.9058
|  | 1140 | 38.8879
|  | 1139 | 38.8648
|  | 1138 | 38.8741
|  | 1137 | 38.8488
|  | 1136 | 38.8392
Additional Information: |  | 1135 | 38.815
Measurements Made at Normal Incidence |  | 1134 | 38.8225
|  | 1133 | 38.8058
|  | 1132 | 38.795
|  | 1131 | 38.7915
|  | 1130 | 38.7704
|  | 1129 | 38.7541
|  | 1128 | 38.7061
|  | 1127 | 38.7457
|  | 1126 | 38.7926
|  | 1125 | 38.746
|  | 1124 | 38.6966
|  | 1123 | 38.6687
|  | 1122 | 38.6865
|  | 1121 | 38.7187
|  | 1120 | 38.7145
|  | 1119 | 38.6999
|  | 1118 | 38.7024
|  | 1117 | 38.7107
|  | 1116 | 38.6942
|  | 1115 | 38.6805
|  | 1114 | 38.6752
|  | 1113 | 38.6669
|  | 1112 | 38.6615
|  | 1111 | 38.6643
|  | 1110 | 38.6392
|  | 1109 | 38.6397
|  | 1108 | 38.6307
|  | 1107 | 38.6096
|  | 1106 | 38.5922
|  | 1105 | 38.6062
|  | 1104 | 38.6406
|  | 1103 | 38.6124
|  | 1102 | 38.6004
|  | 1101 | 38.6088
|  | 1100 | 38.6104
|  | 1099 | 38.6099
|  | 1098 | 38.6072
|  | 1097 | 38.6054
|  | 1096 | 38.6176
|  | 1095 | 38.6375
|  | 1094 | 38.628
|  | 1093 | 38.6419
|  | 1092 | 38.6243
|  | 1091 | 38.635
|  | 1090 | 38.6368
|  | 1089 | 38.648
|  | 1088 | 38.6296
|  | 1087 | 38.644
|  | 1086 | 38.6353
|  | 1085 | 38.633
|  | 1084 | 38.6347
|  | 1083 | 38.6503
|  | 1082 | 38.6365
|  | 1081 | 38.639
|  | 1080 | 38.6383
|  | 1079 | 38.6547
|  | 1078 | 38.661
|  | 1077 | 38.6541
|  | 1076 | 38.6521
|  | 1075 | 38.6695
|  | 1074 | 38.6799
|  | 1073 | 38.6886
|  | 1072 | 38.6941
|  | 1071 | 38.6862
|  | 1070 | 38.731
|  | 1069 | 38.7133
|  | 1068 | 38.7053
|  | 1067 | 38.718
|  | 1066 | 38.7283
|  | 1065 | 38.7346
|  | 1064 | 38.7366
|  | 1063 | 38.7613
|  | 1062 | 38.7604
|  | 1061 | 38.7696
|  | 1060 | 38.7775
|  | 1059 | 38.7875
|  | 1058 | 38.7959
|  | 1057 | 38.8073
|  | 1056 | 38.8207
|  | 1055 | 38.8334
|  | 1054 | 38.8268
|  | 1053 | 38.8501
|  | 1052 | 38.8755
|  | 1051 | 38.9185
|  | 1050 | 38.89
|  | 1049 | 38.8903
|  | 1048 | 38.9055
|  | 1047 | 38.9202
|  | 1046 | 38.9282
|  | 1045 | 38.9573
|  | 1044 | 38.9921
|  | 1043 | 38.9717
|  | 1042 | 38.9698
|  | 1041 | 38.9877
|  | 1040 | 39.0084
|  | 1039 | 39.0341
|  | 1038 | 39.0631
|  | 1037 | 39.0964
|  | 1036 | 39.0946
|  | 1035 | 39.0872
|  | 1034 | 39.1026
|  | 1033 | 39.1206
|  | 1032 | 39.1332
|  | 1031 | 39.1689
|  | 1030 | 39.2088
|  | 1029 | 39.2096
|  | 1028 | 39.2044
|  | 1027 | 39.2234
|  | 1026 | 39.249
|  | 1025 | 39.2834
|  | 1024 | 39.3119
|  | 1023 | 39.3098
|  | 1022 | 39.3146
|  | 1021 | 39.3388
|  | 1020 | 39.3666
|  | 1019 | 39.384
|  | 1018 | 39.4028
|  | 1017 | 39.4146
|  | 1016 | 39.4362
|  | 1015 | 39.4607
|  | 1014 | 39.492
|  | 1013 | 39.522
|  | 1012 | 39.5465
|  | 1011 | 39.5601
|  | 1010 | 39.5621
|  | 1009 | 39.5896
|  | 1008 | 39.6257
|  | 1007 | 39.6707
|  | 1006 | 39.7034
|  | 1005 | 39.7008
|  | 1004 | 39.6982
|  | 1003 | 39.7286
|  | 1002 | 39.7629
|  | 1001 | 39.8009
|  | 1000 | 39.8288
|  | 999 | 39.8355
|  | 998 | 39.8575
|  | 997 | 39.8826
|  | 996 | 39.9272
|  | 995 | 39.9712
|  | 994 | 39.9818
|  | 993 | 40.0093
|  | 992 | 40.0261
|  | 991 | 40.0534
|  | 990 | 40.0873
|  | 989 | 40.1252
|  | 988 | 40.1604
|  | 987 | 40.1951
|  | 986 | 40.2172
|  | 985 | 40.233
|  | 984 | 40.2615
|  | 983 | 40.2981
|  | 982 | 40.3247
|  | 981 | 40.353
|  | 980 | 40.3929
|  | 979 | 40.4214
|  | 978 | 40.4488
|  | 977 | 40.4848
|  | 976 | 40.5189
|  | 975 | 40.5493
|  | 974 | 40.5733
|  | 973 | 40.6099
|  | 972 | 40.6618
|  | 971 | 40.7042
|  | 970 | 40.7115
|  | 969 | 40.7393
|  | 968 | 40.7915
|  | 967 | 40.8399
|  | 966 | 40.8461
|  | 965 | 40.8518
|  | 964 | 40.9041
|  | 963 | 40.9598
|  | 962 | 41.0025
|  | 961 | 41.044
|  | 960 | 41.069
|  | 959 | 41.0851
|  | 958 | 41.1162
|  | 957 | 41.1829
|  | 956 | 41.2358
|  | 955 | 41.2423
|  | 954 | 41.261
|  | 953 | 41.3437
|  | 952 | 41.4109
|  | 951 | 41.4194
|  | 950 | 41.4339
|  | 949 | 41.4647
|  | 948 | 41.5179
|  | 947 | 41.5793
|  | 946 | 41.6053
|  | 945 | 41.6166
|  | 944 | 41.6728
|  | 943 | 41.7405
|  | 942 | 41.7859
|  | 941 | 41.8193
|  | 940 | 41.8389
|  | 939 | 41.867
|  | 938 | 41.9374
|  | 937 | 42.0097
|  | 936 | 42.0518
|  | 935 | 42.0576
|  | 934 | 42.0788
|  | 933 | 42.1197
|  | 932 | 42.1797
|  | 931 | 42.2443
|  | 930 | 42.2704
|  | 929 | 42.2965
|  | 928 | 42.3539
|  | 927 | 42.4102
|  | 926 | 42.4314
|  | 925 | 42.4643
|  | 924 | 42.5464
|  | 923 | 42.5998
|  | 922 | 42.6271
|  | 921 | 42.6651
|  | 920 | 42.7314
|  | 919 | 42.7473
|  | 918 | 42.764
|  | 917 | 42.8437
|  | 916 | 42.9066
|  | 915 | 42.9668
|  | 914 | 43.0047
|  | 913 | 43.0347
|  | 912 | 43.0832
|  | 911 | 43.1466
|  | 910 | 43.1958
|  | 909 | 43.2767
|  | 908 | 43.3091
|  | 907 | 43.3161
|  | 906 | 43.3689
|  | 905 | 43.4559
|  | 904 | 43.5055
|  | 903 | 43.5286
|  | 902 | 43.5728
|  | 901 | 43.631
|  | 900 | 43.6868
|  | 899 | 43.7251
|  | 898 | 43.7781
|  | 897 | 43.8224
|  | 896 | 43.8619
|  | 895 | 43.9453
|  | 894 | 43.9909
|  | 893 | 44.0244
|  | 892 | 44.0691
|  | 891 | 44.1232
|  | 890 | 44.1789
|  | 889 | 44.2231
|  | 888 | 44.3228
|  | 887 | 44.3594
|  | 886 | 44.3752
|  | 885 | 44.4001
|  | 884 | 44.4725
|  | 883 | 44.5227
|  | 882 | 44.5836
|  | 881 | 44.6501
|  | 880 | 44.7041
|  | 879 | 44.7416
|  | 878 | 44.8105
|  | 877 | 44.8625
|  | 876 | 44.9235
|  | 875 | 44.9705
|  | 874 | 45.0208
|  | 873 | 45.0638
|  | 872 | 45.1213
|  | 871 | 45.1875
|  | 870 | 45.2415
|  | 869 | 45.2904
|  | 868 | 45.313
|  | 867 | 45.3642
|  | 866 | 45.435
|  | 865 | 45.5272
|  | 864 | 45.5807
|  | 863 | 45.6151
|  | 862 | 45.6821
|  | 861 | 45.7025
|  | 860 | 45.5502
|  | 859 | 45.5247
|  | 858 | 45.6119
|  | 857 | 45.6699
|  | 856 | 45.7405
|  | 855 | 45.8218
|  | 854 | 45.8825
|  | 853 | 45.8741
|  | 852 | 45.9279
|  | 851 | 46.0564
|  | 850 | 46.0943
|  | 849 | 46.1327
|  | 848 | 46.1954
|  | 847 | 46.2568
|  | 846 | 46.314
|  | 845 | 46.3545
|  | 844 | 46.3683
|  | 843 | 46.4348
|  | 842 | 46.5125
|  | 841 | 46.5395
|  | 840 | 46.5842
|  | 839 | 46.6806
|  | 838 | 46.7094
|  | 837 | 46.7815
|  | 836 | 46.8268
|  | 835 | 46.8916
|  | 834 | 46.9443
|  | 833 | 47.0157
|  | 832 | 47.0397
|  | 831 | 47.0899
|  | 830 | 47.1583
|  | 829 | 47.2044
|  | 828 | 47.2655
|  | 827 | 47.335
|  | 826 | 47.3485
|  | 825 | 47.4072
|  | 824 | 47.4726
|  | 823 | 47.5181
|  | 822 | 47.5914
|  | 821 | 47.6422
|  | 820 | 47.6964
|  | 819 | 47.7673
|  | 818 | 47.8272
|  | 817 | 47.851
|  | 816 | 47.9112
|  | 815 | 47.9951
|  | 814 | 48.0129
|  | 813 | 48.0708
|  | 812 | 48.098
|  | 811 | 48.1701
|  | 810 | 48.2083
|  | 809 | 48.2809
|  | 808 | 48.355
|  | 807 | 48.3741
|  | 806 | 48.4582
|  | 805 | 48.4964
|  | 804 | 48.544
|  | 803 | 48.6229
|  | 802 | 48.6429
|  | 801 | 48.7097
|  | 800 | 48.7691
|  | 799 | 48.8234
|  | 798 | 48.8844
|  | 797 | 48.9431
|  | 796 | 48.9725
|  | 795 | 49.047
|  | 794 | 49.1125
|  | 793 | 49.1493
|  | 792 | 49.1971
|  | 791 | 49.2726
|  | 790 | 49.2946
|  | 789 | 49.3459
|  | 788 | 49.3974
|  | 787 | 49.4414
|  | 786 | 49.5052
|  | 785 | 49.5445
|  | 784 | 49.6053
|  | 783 | 49.6341
|  | 782 | 49.7105
|  | 781 | 49.7388
|  | 780 | 49.8121
|  | 779 | 49.8296
|  | 778 | 49.8478
|  | 777 | 49.937
|  | 776 | 49.9984
|  | 775 | 50.0272
|  | 774 | 50.1189
|  | 773 | 50.1302
|  | 772 | 50.1706
|  | 771 | 50.1945
|  | 770 | 50.2718
|  | 769 | 50.2954
|  | 768 | 50.351
|  | 767 | 50.3876
|  | 766 | 50.4055
|  | 765 | 50.4698
|  | 764 | 50.545
|  | 763 | 50.5443
|  | 762 | 50.6343
|  | 761 | 50.6267
|  | 760 | 50.6683
|  | 759 | 50.6945
|  | 758 | 50.7568
|  | 757 | 50.7765
|  | 756 | 50.8067
|  | 755 | 50.8534
|  | 754 | 50.8448
|  | 753 | 50.907
|  | 752 | 50.9511
|  | 751 | 50.969
|  | 750 | 51.0224
|  | 749 | 51.0199
|  | 748 | 51.0356
|  | 747 | 51.0676
|  | 746 | 51.1143
|  | 745 | 51.1209
|  | 744 | 51.1588
|  | 743 | 51.1859
|  | 742 | 51.1668
|  | 741 | 51.2223
|  | 740 | 51.2353
|  | 739 | 51.243
|  | 738 | 51.267
|  | 737 | 51.2603
|  | 736 | 51.2755
|  | 735 | 51.2696
|  | 734 | 51.3192
|  | 733 | 51.309
|  | 732 | 51.3103
|  | 731 | 51.3057
|  | 730 | 51.2845
|  | 729 | 51.2994
|  | 728 | 51.3275
|  | 727 | 51.3101
|  | 726 | 51.3099
|  | 725 | 51.2895
|  | 724 | 51.2646
|  | 723 | 51.2611
|  | 722 | 51.273
|  | 721 | 51.217
|  | 720 | 51.1975
|  | 719 | 51.1453
|  | 718 | 51.133
|  | 717 | 51.1122
|  | 716 | 51.0703
|  | 715 | 50.9985
|  | 714 | 50.9635
|  | 713 | 50.9301
|  | 712 | 50.8429
|  | 711 | 50.8022
|  | 710 | 50.7199
|  | 709 | 50.6391
|  | 708 | 50.5547
|  | 707 | 50.4912
|  | 706 | 50.394
|  | 705 | 50.3025
|  | 704 | 50.2101
|  | 703 | 50.0969
|  | 702 | 49.9654
|  | 701 | 49.8711
|  | 700 | 49.7201
|  | 699 | 49.6062
|  | 698 | 49.4566
|  | 697 | 49.2861
|  | 696 | 49.1357
|  | 695 | 48.9729
|  | 694 | 48.8134
|  | 693 | 48.623
|  | 692 | 48.4677
|  | 691 | 48.2576
|  | 690 | 48.0705
|  | 689 | 47.8674
|  | 688 | 47.6512
|  | 687 | 47.4399
|  | 686 | 47.2288
|  | 685 | 47.0149
|  | 684 | 46.7929
|  | 683 | 46.5676
|  | 682 | 46.3354
|  | 681 | 46.1219
|  | 680 | 45.8965
|  | 679 | 45.6645
|  | 678 | 45.4352
|  | 677 | 45.2131
|  | 676 | 44.9892
|  | 675 | 44.7911
|  | 674 | 44.5846
|  | 673 | 44.3836
|  | 672 | 44.2057
|  | 671 | 44.0301
|  | 670 | 43.8488
|  | 669 | 43.7099
|  | 668 | 43.5725
|  | 667 | 43.3973
|  | 666 | 43.2524
|  | 665 | 43.1195
|  | 664 | 43.0055
|  | 663 | 42.8926
|  | 662 | 42.7985
|  | 661 | 42.6817
|  | 660 | 42.5989
|  | 659 | 42.4932
|  | 658 | 42.4418
|  | 657 | 42.378
|  | 656 | 42.3166
|  | 655 | 42.2226
|  | 654 | 42.1876
|  | 653 | 42.1377
|  | 652 | 42.1034
|  | 651 | 42.0924
|  | 650 | 42.0488
|  | 649 | 42.0038
|  | 648 | 41.979
|  | 647 | 41.9732
|  | 646 | 41.9664
|  | 645 | 41.9766
|  | 644 | 41.9741
|  | 643 | 41.9599
|  | 642 | 41.9468
|  | 641 | 41.9623
|  | 640 | 41.9744
|  | 639 | 41.992
|  | 638 | 42.0092
|  | 637 | 42.0034
|  | 636 | 42.0242
|  | 635 | 42.0412
|  | 634 | 42.0608
|  | 633 | 42.0819
|  | 632 | 42.0947
|  | 631 | 42.0733
|  | 630 | 42.0658
|  | 629 | 42.0663
|  | 628 | 42.0627
|  | 627 | 42.079
|  | 626 | 42.0647
|  | 625 | 42.041
|  | 624 | 42.0194
|  | 623 | 41.9945
|  | 622 | 41.9737
|  | 621 | 41.9581
|  | 620 | 41.9249
|  | 619 | 41.8739
|  | 618 | 41.8294
|  | 617 | 41.7745
|  | 616 | 41.7326
|  | 615 | 41.6814
|  | 614 | 41.6301
|  | 613 | 41.5569
|  | 612 | 41.5051
|  | 611 | 41.4537
|  | 610 | 41.3952
|  | 609 | 41.3537
|  | 608 | 41.2774
|  | 607 | 41.2043
|  | 606 | 41.1292
|  | 605 | 41.0731
|  | 604 | 41.018
|  | 603 | 40.9647
|  | 602 | 40.9096
|  | 601 | 40.8336
|  | 600 | 40.7901
|  | 599 | 40.7383
|  | 598 | 40.6891
|  | 597 | 40.6255
|  | 596 | 40.5803
|  | 595 | 40.5195
|  | 594 | 40.469
|  | 593 | 40.4274
|  | 592 | 40.3905
|  | 591 | 40.3832
|  | 590 | 40.3591
|  | 589 | 40.3254
|  | 588 | 40.3217
|  | 587 | 40.3108
|  | 586 | 40.3178
|  | 585 | 40.3399
|  | 584 | 40.3377
|  | 583 | 40.3423
|  | 582 | 40.3556
|  | 581 | 40.37
|  | 580 | 40.4018
|  | 579 | 40.4377
|  | 578 | 40.4512
|  | 577 | 40.4485
|  | 576 | 40.4748
|  | 575 | 40.4981
|  | 574 | 40.525
|  | 573 | 40.5512
|  | 572 | 40.5604
|  | 571 | 40.564
|  | 570 | 40.5679
|  | 569 | 40.5865
|  | 568 | 40.5987
|  | 567 | 40.5977
|  | 566 | 40.5923
|  | 565 | 40.5717
|  | 564 | 40.5509
|  | 563 | 40.5264
|  | 562 | 40.5125
|  | 561 | 40.4816
|  | 560 | 40.4175
|  | 559 | 40.3899
|  | 558 | 40.3583
|  | 557 | 40.2424
|  | 556 | 40.0954
|  | 555 | 40.0818
|  | 554 | 40.0214
|  | 553 | 39.8913
|  | 552 | 39.8273
|  | 551 | 39.7218
|  | 550 | 39.6046