## Transmission
|  | Wavelength (nm) | % Transmission
|  | 1150 | 0.40481
|  | 1149 | 0.37534
|  | 1148 | 0.35644
|  | 1147 | 0.3493
Product Raw Data |  | 1146 | 0.34866
Ø1/2" Neutral Density Filter, AR Coated: 650 - 1050 nm, OD: 4.0 |  | 1145 | 0.34758
|  | 1144 | 0.3529
Item # | NE540B-B | 1143 | 0.36002
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1142 | 0.35806
|  | 1141 | 0.3539
|  | 1140 | 0.34735
|  | 1139 | 0.34475
|  | 1138 | 0.34232
|  | 1137 | 0.34242
|  | 1136 | 0.34111
Additional Information: |  | 1135 | 0.33476
Measurements Made at Normal Incidence |  | 1134 | 0.34087
|  | 1133 | 0.33193
|  | 1132 | 0.33773
|  | 1131 | 0.31803
|  | 1130 | 0.30275
|  | 1129 | 0.30026
|  | 1128 | 0.32458
|  | 1127 | 0.33728
|  | 1126 | 0.33922
|  | 1125 | 0.34063
|  | 1124 | 0.33481
|  | 1123 | 0.31535
|  | 1122 | 0.31264
|  | 1121 | 0.31198
|  | 1120 | 0.31831
|  | 1119 | 0.31936
|  | 1118 | 0.31948
|  | 1117 | 0.31552
|  | 1116 | 0.31565
|  | 1115 | 0.31451
|  | 1114 | 0.3136
|  | 1113 | 0.31304
|  | 1112 | 0.31225
|  | 1111 | 0.31491
|  | 1110 | 0.30825
|  | 1109 | 0.31352
|  | 1108 | 0.30752
|  | 1107 | 0.29095
|  | 1106 | 0.29165
|  | 1105 | 0.29474
|  | 1104 | 0.29741
|  | 1103 | 0.30068
|  | 1102 | 0.30023
|  | 1101 | 0.3039
|  | 1100 | 0.30237
|  | 1099 | 0.30578
|  | 1098 | 0.30773
|  | 1097 | 0.30133
|  | 1096 | 0.28635
|  | 1095 | 0.28511
|  | 1094 | 0.28809
|  | 1093 | 0.29042
|  | 1092 | 0.29197
|  | 1091 | 0.29434
|  | 1090 | 0.29604
|  | 1089 | 0.29599
|  | 1088 | 0.29678
|  | 1087 | 0.28104
|  | 1086 | 0.27897
|  | 1085 | 0.28379
|  | 1084 | 0.28436
|  | 1083 | 0.28656
|  | 1082 | 0.28871
|  | 1081 | 0.28951
|  | 1080 | 0.29163
|  | 1079 | 0.29196
|  | 1078 | 0.27957
|  | 1077 | 0.27914
|  | 1076 | 0.2817
|  | 1075 | 0.28325
|  | 1074 | 0.28501
|  | 1073 | 0.28558
|  | 1072 | 0.28381
|  | 1071 | 0.26977
|  | 1070 | 0.26703
|  | 1069 | 0.27142
|  | 1068 | 0.27465
|  | 1067 | 0.2771
|  | 1066 | 0.2785
|  | 1065 | 0.28028
|  | 1064 | 0.28129
|  | 1063 | 0.28072
|  | 1062 | 0.28034
|  | 1061 | 0.28154
|  | 1060 | 0.27995
|  | 1059 | 0.27076
|  | 1058 | 0.26979
|  | 1057 | 0.27102
|  | 1056 | 0.2753
|  | 1055 | 0.27616
|  | 1054 | 0.27719
|  | 1053 | 0.27375
|  | 1052 | 0.26399
|  | 1051 | 0.26273
|  | 1050 | 0.26583
|  | 1049 | 0.27091
|  | 1048 | 0.27365
|  | 1047 | 0.27405
|  | 1046 | 0.27519
|  | 1045 | 0.27435
|  | 1044 | 0.26252
|  | 1043 | 0.26291
|  | 1042 | 0.26604
|  | 1041 | 0.27003
|  | 1040 | 0.27352
|  | 1039 | 0.28008
|  | 1038 | 0.27986
|  | 1037 | 0.27493
|  | 1036 | 0.26445
|  | 1035 | 0.26461
|  | 1034 | 0.26974
|  | 1033 | 0.27162
|  | 1032 | 0.27268
|  | 1031 | 0.2707
|  | 1030 | 0.26031
|  | 1029 | 0.26121
|  | 1028 | 0.26288
|  | 1027 | 0.26863
|  | 1026 | 0.27232
|  | 1025 | 0.27023
|  | 1024 | 0.26028
|  | 1023 | 0.2608
|  | 1022 | 0.26453
|  | 1021 | 0.26899
|  | 1020 | 0.27194
|  | 1019 | 0.27298
|  | 1018 | 0.26929
|  | 1017 | 0.25977
|  | 1016 | 0.25978
|  | 1015 | 0.26475
|  | 1014 | 0.26928
|  | 1013 | 0.27109
|  | 1012 | 0.2685
|  | 1011 | 0.26159
|  | 1010 | 0.26222
|  | 1009 | 0.26616
|  | 1008 | 0.27036
|  | 1007 | 0.27358
|  | 1006 | 0.26971
|  | 1005 | 0.26193
|  | 1004 | 0.26247
|  | 1003 | 0.26771
|  | 1002 | 0.27122
|  | 1001 | 0.26848
|  | 1000 | 0.26178
|  | 999 | 0.2645
|  | 998 | 0.26859
|  | 997 | 0.26585
|  | 996 | 0.26151
|  | 995 | 0.26422
|  | 994 | 0.26829
|  | 993 | 0.27166
|  | 992 | 0.26924
|  | 991 | 0.2636
|  | 990 | 0.26482
|  | 989 | 0.27053
|  | 988 | 0.26852
|  | 987 | 0.26276
|  | 986 | 0.26563
|  | 985 | 0.27123
|  | 984 | 0.26993
|  | 983 | 0.26402
|  | 982 | 0.26712
|  | 981 | 0.27209
|  | 980 | 0.27696
|  | 979 | 0.27607
|  | 978 | 0.27019
|  | 977 | 0.27154
|  | 976 | 0.26854
|  | 975 | 0.26321
|  | 974 | 0.26709
|  | 973 | 0.2738
|  | 972 | 0.27334
|  | 971 | 0.26857
|  | 970 | 0.27178
|  | 969 | 0.27802
|  | 968 | 0.27923
|  | 967 | 0.27481
|  | 966 | 0.27244
|  | 965 | 0.27152
|  | 964 | 0.27546
|  | 963 | 0.27547
|  | 962 | 0.27247
|  | 961 | 0.27762
|  | 960 | 0.27854
|  | 959 | 0.27674
|  | 958 | 0.28143
|  | 957 | 0.28077
|  | 956 | 0.27233
|  | 955 | 0.27009
|  | 954 | 0.2771
|  | 953 | 0.28563
|  | 952 | 0.28616
|  | 951 | 0.27896
|  | 950 | 0.27736
|  | 949 | 0.28393
|  | 948 | 0.28481
|  | 947 | 0.28369
|  | 946 | 0.2828
|  | 945 | 0.28188
|  | 944 | 0.28235
|  | 943 | 0.28289
|  | 942 | 0.29088
|  | 941 | 0.29108
|  | 940 | 0.28147
|  | 939 | 0.27913
|  | 938 | 0.28686
|  | 937 | 0.28946
|  | 936 | 0.29074
|  | 935 | 0.2926
|  | 934 | 0.28814
|  | 933 | 0.28957
|  | 932 | 0.28964
|  | 931 | 0.28848
|  | 930 | 0.28986
|  | 929 | 0.29017
|  | 928 | 0.28676
|  | 927 | 0.28783
|  | 926 | 0.29879
|  | 925 | 0.30265
|  | 924 | 0.29648
|  | 923 | 0.28856
|  | 922 | 0.28939
|  | 921 | 0.30128
|  | 920 | 0.30792
|  | 919 | 0.29939
|  | 918 | 0.29282
|  | 917 | 0.29471
|  | 916 | 0.29867
|  | 915 | 0.30571
|  | 914 | 0.30339
|  | 913 | 0.30071
|  | 912 | 0.29675
|  | 911 | 0.30096
|  | 910 | 0.30613
|  | 909 | 0.30435
|  | 908 | 0.30854
|  | 907 | 0.31049
|  | 906 | 0.30554
|  | 905 | 0.29973
|  | 904 | 0.30575
|  | 903 | 0.31229
|  | 902 | 0.31091
|  | 901 | 0.30747
|  | 900 | 0.31438
|  | 899 | 0.3177
|  | 898 | 0.31434
|  | 897 | 0.30891
|  | 896 | 0.30883
|  | 895 | 0.30956
|  | 894 | 0.31066
|  | 893 | 0.3149
|  | 892 | 0.31976
|  | 891 | 0.31946
|  | 890 | 0.31762
|  | 889 | 0.31491
|  | 888 | 0.31137
|  | 887 | 0.31072
|  | 886 | 0.31916
|  | 885 | 0.32642
|  | 884 | 0.32351
|  | 883 | 0.31603
|  | 882 | 0.31395
|  | 881 | 0.3236
|  | 880 | 0.3337
|  | 879 | 0.33447
|  | 878 | 0.32433
|  | 877 | 0.31801
|  | 876 | 0.31596
|  | 875 | 0.31769
|  | 874 | 0.32729
|  | 873 | 0.33502
|  | 872 | 0.32739
|  | 871 | 0.32539
|  | 870 | 0.32118
|  | 869 | 0.32123
|  | 868 | 0.32438
|  | 867 | 0.32351
|  | 866 | 0.32108
|  | 865 | 0.33081
|  | 864 | 0.337
|  | 863 | 0.33113
|  | 862 | 0.33134
|  | 861 | 0.33004
|  | 860 | 0.3341
|  | 859 | 0.33785
|  | 858 | 0.33814
|  | 857 | 0.33954
|  | 856 | 0.34127
|  | 855 | 0.34012
|  | 854 | 0.34078
|  | 853 | 0.33739
|  | 852 | 0.34143
|  | 851 | 0.34019
|  | 850 | 0.34223
|  | 849 | 0.34047
|  | 848 | 0.34029
|  | 847 | 0.34064
|  | 846 | 0.34183
|  | 845 | 0.34152
|  | 844 | 0.34321
|  | 843 | 0.34099
|  | 842 | 0.34155
|  | 841 | 0.34007
|  | 840 | 0.34096
|  | 839 | 0.34082
|  | 838 | 0.34179
|  | 837 | 0.34055
|  | 836 | 0.33933
|  | 835 | 0.33902
|  | 834 | 0.34009
|  | 833 | 0.34008
|  | 832 | 0.34067
|  | 831 | 0.3388
|  | 830 | 0.33703
|  | 829 | 0.338
|  | 828 | 0.33851
|  | 827 | 0.33908
|  | 826 | 0.33926
|  | 825 | 0.337
|  | 824 | 0.33618
|  | 823 | 0.33551
|  | 822 | 0.33586
|  | 821 | 0.33692
|  | 820 | 0.33637
|  | 819 | 0.33428
|  | 818 | 0.33386
|  | 817 | 0.33133
|  | 816 | 0.33271
|  | 815 | 0.33191
|  | 814 | 0.33302
|  | 813 | 0.32998
|  | 812 | 0.32913
|  | 811 | 0.32817
|  | 810 | 0.32848
|  | 809 | 0.32836
|  | 808 | 0.32675
|  | 807 | 0.32659
|  | 806 | 0.32591
|  | 805 | 0.32582
|  | 804 | 0.3223
|  | 803 | 0.32109
|  | 802 | 0.32021
|  | 801 | 0.32051
|  | 800 | 0.31998
|  | 799 | 0.31902
|  | 798 | 0.31829
|  | 797 | 0.31676
|  | 796 | 0.3148
|  | 795 | 0.31466
|  | 794 | 0.31443
|  | 793 | 0.31353
|  | 792 | 0.31169
|  | 791 | 0.30942
|  | 790 | 0.30861
|  | 789 | 0.30783
|  | 788 | 0.30735
|  | 787 | 0.30578
|  | 786 | 0.30305
|  | 785 | 0.30145
|  | 784 | 0.30037
|  | 783 | 0.29969
|  | 782 | 0.29859
|  | 781 | 0.29807
|  | 780 | 0.29558
|  | 779 | 0.2938
|  | 778 | 0.29098
|  | 777 | 0.29038
|  | 776 | 0.28946
|  | 775 | 0.2882
|  | 774 | 0.28529
|  | 773 | 0.28402
|  | 772 | 0.28178
|  | 771 | 0.28108
|  | 770 | 0.28023
|  | 769 | 0.27869
|  | 768 | 0.27513
|  | 767 | 0.27337
|  | 766 | 0.2714
|  | 765 | 0.27004
|  | 764 | 0.2684
|  | 763 | 0.26738
|  | 762 | 0.26452
|  | 761 | 0.2634
|  | 760 | 0.25968
|  | 759 | 0.25783
|  | 758 | 0.25653
|  | 757 | 0.25522
|  | 756 | 0.2518
|  | 755 | 0.24988
|  | 754 | 0.24719
|  | 753 | 0.24626
|  | 752 | 0.24401
|  | 751 | 0.24271
|  | 750 | 0.23925
|  | 749 | 0.23719
|  | 748 | 0.23415
|  | 747 | 0.2326
|  | 746 | 0.23118
|  | 745 | 0.22858
|  | 744 | 0.22522
|  | 743 | 0.22318
|  | 742 | 0.22073
|  | 741 | 0.21932
|  | 740 | 0.21666
|  | 739 | 0.21446
|  | 738 | 0.21138
|  | 737 | 0.20915
|  | 736 | 0.20637
|  | 735 | 0.20435
|  | 734 | 0.20235
|  | 733 | 0.20037
|  | 732 | 0.19682
|  | 731 | 0.19427
|  | 730 | 0.19072
|  | 729 | 0.18915
|  | 728 | 0.18722
|  | 727 | 0.18464
|  | 726 | 0.18069
|  | 725 | 0.1782
|  | 724 | 0.17495
|  | 723 | 0.17232
|  | 722 | 0.17052
|  | 721 | 0.16772
|  | 720 | 0.16412
|  | 719 | 0.16105
|  | 718 | 0.1581
|  | 717 | 0.15581
|  | 716 | 0.15308
|  | 715 | 0.14999
|  | 714 | 0.14609
|  | 713 | 0.14315
|  | 712 | 0.13999
|  | 711 | 0.13675
|  | 710 | 0.13421
|  | 709 | 0.13123
|  | 708 | 0.12746
|  | 707 | 0.12427
|  | 706 | 0.1207
|  | 705 | 0.11785
|  | 704 | 0.11491
|  | 703 | 0.11117
|  | 702 | 0.1079
|  | 701 | 0.10454
|  | 700 | 0.101
|  | 699 | 0.099045
|  | 698 | 0.096153
|  | 697 | 0.092658
|  | 696 | 0.088817
|  | 695 | 0.08529
|  | 694 | 0.081923
|  | 693 | 0.078936
|  | 692 | 0.076053
|  | 691 | 0.072855
|  | 690 | 0.069522
|  | 689 | 0.066481
|  | 688 | 0.063142
|  | 687 | 0.06044
|  | 686 | 0.057967
|  | 685 | 0.055172
|  | 684 | 0.052265
|  | 683 | 0.049748
|  | 682 | 0.047426
|  | 681 | 0.045361
|  | 680 | 0.043176
|  | 679 | 0.040954
|  | 678 | 0.038888
|  | 677 | 0.036993
|  | 676 | 0.035079
|  | 675 | 0.033586
|  | 674 | 0.032261
|  | 673 | 0.030736
|  | 672 | 0.029323
|  | 671 | 0.028052
|  | 670 | 0.026851
|  | 669 | 0.025808
|  | 668 | 0.024854
|  | 667 | 0.023924
|  | 666 | 0.022885
|  | 665 | 0.022004
|  | 664 | 0.021265
|  | 663 | 0.020657
|  | 662 | 0.020079
|  | 661 | 0.019454
|  | 660 | 0.018775
|  | 659 | 0.018227
|  | 658 | 0.017704
|  | 657 | 0.017348
|  | 656 | 0.016967
|  | 655 | 0.016511
|  | 654 | 0.016087
|  | 653 | 0.015729
|  | 652 | 0.015339
|  | 651 | 0.015126
|  | 650 | 0.014915
|  | 649 | 0.014586
|  | 648 | 0.014309
|  | 647 | 0.01405
|  | 646 | 0.013775
|  | 645 | 0.013607
|  | 644 | 0.013509
|  | 643 | 0.013356
|  | 642 | 0.01313
|  | 641 | 0.01299
|  | 640 | 0.012807
|  | 639 | 0.01271
|  | 638 | 0.012604
|  | 637 | 0.012484
|  | 636 | 0.012344
|  | 635 | 0.012182
|  | 634 | 0.012026
|  | 633 | 0.011971
|  | 632 | 0.011854
|  | 631 | 0.011706
|  | 630 | 0.011578
|  | 629 | 0.01142
|  | 628 | 0.01128
|  | 627 | 0.011221
|  | 626 | 0.0111
|  | 625 | 0.010925
|  | 624 | 0.010776
|  | 623 | 0.01061
|  | 622 | 0.01048
|  | 621 | 0.010404
|  | 620 | 0.01024
|  | 619 | 0.01006
|  | 618 | 0.009878
|  | 617 | 0.009742
|  | 616 | 0.009593
|  | 615 | 0.00941
|  | 614 | 0.009264
|  | 613 | 0.009123
|  | 612 | 0.008989
|  | 611 | 0.008795
|  | 610 | 0.008616
|  | 609 | 0.008498
|  | 608 | 0.008378
|  | 607 | 0.008217
|  | 606 | 0.008071
|  | 605 | 0.007925
|  | 604 | 0.007769
|  | 603 | 0.007663
|  | 602 | 0.007572
|  | 601 | 0.007418
|  | 600 | 0.007305
|  | 599 | 0.007187
|  | 598 | 0.007058
|  | 597 | 0.00696
|  | 596 | 0.006892
|  | 595 | 0.006789
|  | 594 | 0.00667
|  | 593 | 0.006581
|  | 592 | 0.006525
|  | 591 | 0.006495
|  | 590 | 0.006472
|  | 589 | 0.006397
|  | 588 | 0.006332
|  | 587 | 0.006276
|  | 586 | 0.00627
|  | 585 | 0.006284
|  | 584 | 0.00629
|  | 583 | 0.006279
|  | 582 | 0.006279
|  | 581 | 0.00628
|  | 580 | 0.006293
|  | 579 | 0.006338
|  | 578 | 0.006425
|  | 577 | 0.006448
|  | 576 | 0.006499
|  | 575 | 0.006542
|  | 574 | 0.006557
|  | 573 | 0.006625
|  | 572 | 0.006679
|  | 571 | 0.006716
|  | 570 | 0.00678
|  | 569 | 0.006835
|  | 568 | 0.006892
|  | 567 | 0.006983
|  | 566 | 0.007078
|  | 565 | 0.007143
|  | 564 | 0.007198
|  | 563 | 0.007236
|  | 562 | 0.007274
|  | 561 | 0.00734
|  | 560 | 0.007391
|  | 559 | 0.007404
|  | 558 | 0.007476
|  | 557 | 0.007565
|  | 556 | 0.007586
|  | 555 | 0.00756
|  | 554 | 0.007546
|  | 553 | 0.007525
|  | 552 | 0.007528
|  | 551 | 0.007576
|  | 550 | 0.007576