## Connection
AMP145 Typical Frequency Response
|  | Frequency (MHz) | Relative Gain (dB)
|  |  | Direct Connection | 150 mm SMA Cable (CA2906) | 300 mm SMA Cable (CA2912) | 600 mm SMA Cable (CA2924)
|  | 0.3 | -0.84082 | -0.82275 | -0.8418 | -0.84082
|  | 2.7985 | -0.01269 | 0.00733 | -0.00342 | -0.00586
|  | 5.297 | 0.02734 | 0.04541 | 0.02539 | 0.03369
|  | 7.7955 | 0 | 0.02002 | 0.00098 | 0.00733
Product Raw Data |  | 10.294 | -0.06103 | -0.04687 | -0.05273 | -0.06445
Transimpedance Amplifier, 100 MHz Bandwidth, 2.5 kV/A Gain |  | 12.7925 | -0.04931 | -0.03369 | -0.04785 | -0.05908
|  | 15.291 | -0.03711 | -0.03711 | -0.05127 | -0.06689
Item # | AMP145 | 17.7895 | -0.05371 | -0.05371 | -0.06103 | -0.0791
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 20.288 | 0.01709 | 0.00049 | -0.00781 | -0.02588
|  | 22.7865 | 0.03076 | 0.02344 | -0.00635 | -0.04394
|  | 25.285 | 0.02539 | 0.00684 | -0.01025 | -0.0498
|  | 27.7835 | 0.06055 | 0.04541 | 0.02149 | -0.0332
|  | 30.282 | 0.0249 | 0.01123 | -0.01562 | -0.06494
|  | 32.7805 | 0.02881 | 0.02539 | -0.01367 | -0.07568
This data may be used in publications. However, please cite Thorlabs as the source. |  | 35.279 | 0.02149 | 0.00977 | -0.02295 | -0.08154
|  | 37.7775 | 0.03516 | 0.01465 | -0.01562 | -0.08984
|  | 40.276 | 0.05371 | 0.01611 | -0.01221 | -0.08887
Additional Information: |  | 42.7745 | 0.03076 | 0.01025 | -0.04394 | -0.12939
This data was measured using an input source with capacitance of 1.5 pF. The plot shows bandwidth's independence of input cable length. |  | 45.273 | 0.03076 | 0 | -0.03711 | -0.11767
|  | 47.7715 | 0.05811 | 0.0083 | -0.02881 | -0.12012
|  | 50.27 | 0.01221 | -0.03955 | -0.07861 | -0.16455
|  | 52.7685 | 0.00147 | -0.05664 | -0.09521 | -0.18799
|  | 55.267 | 0.00049 | -0.06982 | -0.11279 | -0.19336
|  | 57.7655 | 0.01367 | -0.05713 | -0.10351 | -0.17676
|  | 60.264 | 0.00195 | -0.06543 | -0.1123 | -0.19433
|  | 62.7625 | 0.01465 | -0.06933 | -0.12061 | -0.18945
|  | 65.261 | -0.0376 | -0.11426 | -0.17236 | -0.23047
|  | 67.7595 | -0.03906 | -0.14404 | -0.19531 | -0.23926
|  | 70.258 | -0.07275 | -0.16748 | -0.21826 | -0.27392
|  | 72.7565 | -0.07422 | -0.16308 | -0.22558 | -0.27734
|  | 75.255 | -0.0918 | -0.20312 | -0.26758 | -0.29346
|  | 77.7535 | -0.11963 | -0.24267 | -0.29834 | -0.32959
|  | 80.252 | -0.09912 | -0.22412 | -0.28906 | -0.30322
|  | 82.7505 | -0.14697 | -0.27441 | -0.34814 | -0.34228
|  | 85.249 | -0.18555 | -0.32226 | -0.38818 | -0.36035
|  | 87.7475 | -0.1875 | -0.34961 | -0.4209 | -0.35303
|  | 90.246 | -0.23584 | -0.39648 | -0.46533 | -0.38428
|  | 92.7445 | -0.27539 | -0.4458 | -0.49512 | -0.41601
|  | 95.243 | -0.31494 | -0.48193 | -0.53906 | -0.42773
|  | 97.7415 | -0.35547 | -0.54785 | -0.58789 | -0.45068
|  | 100.24 | -0.37158 | -0.58252 | -0.63672 | -0.45264
|  | 102.7385 | -0.46875 | -0.69531 | -0.74853 | -0.53467
|  | 105.237 | -0.50732 | -0.73193 | -0.77002 | -0.54199
|  | 107.7355 | -0.51709 | -0.76025 | -0.80273 | -0.53467
|  | 110.234 | -0.61475 | -0.89014 | -0.93017 | -0.62109
|  | 112.7325 | -0.67285 | -0.94726 | -0.97705 | -0.63525
|  | 115.231 | -0.75195 | -1.0518 | -1.0742 | -0.69824
|  | 117.7295 | -0.81006 | -1.1255 | -1.1231 | -0.72851
|  | 120.228 | -0.85644 | -1.1787 | -1.1802 | -0.74512
|  | 122.7265 | -0.98389 | -1.3232 | -1.3213 | -0.84375
|  | 125.225 | -1.0747 | -1.417 | -1.376 | -0.87549
|  | 127.7235 | -1.1465 | -1.523 | -1.4746 | -0.95361
|  | 130.222 | -1.2344 | -1.6143 | -1.523 | -0.99609
|  | 132.7205 | -1.3623 | -1.7637 | -1.6421 | -1.1006
|  | 135.219 | -1.4492 | -1.8325 | -1.7173 | -1.1743
|  | 137.7175 | -1.5596 | -1.9839 | -1.8101 | -1.2783
|  | 140.216 | -1.6533 | -2.0772 | -1.8686 | -1.355
|  | 142.7145 | -1.7617 | -2.2229 | -1.9641 | -1.4605
|  | 145.213 | -1.9351 | -2.3799 | -2.0852 | -1.6489
|  | 147.7115 | -2.022 | -2.4836 | -2.1416 | -1.7564
|  | 150.21 | -2.1641 | -2.6179 | -2.2458 | -1.9194
|  | 152.7085 | -2.2827 | -2.7605 | -2.29 | -2.0515
|  | 155.207 | -2.4294 | -2.8872 | -2.3926 | -2.2195
|  | 157.7055 | -2.5208 | -3.0046 | -2.4495 | -2.3755
|  | 160.204 | -2.6755 | -3.1431 | -2.5276 | -2.5718
|  | 162.7025 | -2.8357 | -3.3193 | -2.6313 | -2.782
|  | 165.201 | -2.9324 | -3.4085 | -2.6626 | -2.9492
|  | 167.6995 | -3.1099 | -3.562 | -2.7524 | -3.1641
|  | 170.198 | -3.2739 | -3.7085 | -2.8481 | -3.397
|  | 172.6965 | -3.4517 | -3.8813 | -2.9153 | -3.6235
|  | 175.195 | -3.6091 | -3.9971 | -2.9919 | -3.8118
|  | 177.6935 | -3.7947 | -4.167 | -3.0925 | -4.0825
|  | 180.192 | -3.9514 | -4.3144 | -3.1516 | -4.2764
|  | 182.6905 | -4.1174 | -4.4478 | -3.2292 | -4.5056
|  | 185.189 | -4.2873 | -4.6082 | -3.3174 | -4.7373
|  | 187.6875 | -4.4949 | -4.7612 | -3.4165 | -4.9822
|  | 190.186 | -4.6577 | -4.8984 | -3.4981 | -5.1428
|  | 192.6845 | -4.8604 | -5.0613 | -3.5923 | -5.3787
|  | 195.183 | -5.1055 | -5.2615 | -3.7263 | -5.6125
|  | 197.6815 | -5.291 | -5.4199 | -3.8149 | -5.8345
|  | 200.18 | -5.5173 | -5.5967 | -3.9465 | -6.0098
|  | 202.6785 | -5.6872 | -5.7188 | -3.9983 | -6.1761
|  | 205.177 | -5.9006 | -5.908 | -4.1428 | -6.3818
|  | 207.6755 | -6.155 | -6.0304 | -4.2959 | -6.5662
|  | 210.174 | -6.4055 | -6.2495 | -4.4526 | -6.7379
|  | 212.6725 | -6.6199 | -6.3594 | -4.5857 | -6.8564
|  | 215.171 | -6.7876 | -6.4619 | -4.678 | -6.9841
|  | 217.6695 | -7.006 | -6.6255 | -4.8594 | -7.1088
|  | 220.168 | -7.2357 | -6.7424 | -5.0151 | -7.228
|  | 222.6665 | -7.5332 | -6.9402 | -5.2644 | -7.3619
|  | 225.165 | -7.712 | -7.0435 | -5.4209 | -7.4466
|  | 227.6635 | -7.9903 | -7.202 | -5.6653 | -7.5394
|  | 230.162 | -8.1881 | -7.3331 | -5.8647 | -7.5802
|  | 232.6605 | -8.4453 | -7.4718 | -6.088 | -7.6228
|  | 235.159 | -8.6443 | -7.5585 | -6.3127 | -7.6396
|  | 237.6575 | -8.8769 | -7.6956 | -6.5647 | -7.6627
|  | 240.156 | -9.144 | -7.853 | -6.9135 | -7.7408
|  | 242.6545 | -9.3462 | -7.9182 | -7.0926 | -7.7108
|  | 245.153 | -9.5485 | -7.9954 | -7.3654 | -7.712
|  | 247.6515 | -9.8146 | -8.1552 | -7.6505 | -7.7189
|  | 250.15 | -10.0887 | -8.2951 | -7.9827 | -7.7612
|  | 252.6485 | -10.2607 | -8.3731 | -8.2548 | -7.7124
|  | 255.147 | -10.5455 | -8.5081 | -8.5944 | -7.8186
|  | 257.6455 | -10.7422 | -8.5808 | -8.8321 | -7.8213
|  | 260.144 | -10.9838 | -8.6876 | -9.2052 | -7.896
|  | 262.6425 | -11.1663 | -8.7841 | -9.5124 | -7.9784
|  | 265.141 | -11.4412 | -8.9329 | -9.8311 | -8.1451
|  | 267.6395 | -11.6392 | -8.9989 | -10.1762 | -8.2535
|  | 270.138 | -11.8726 | -9.087 | -10.4995 | -8.4664
|  | 272.6365 | -12.1161 | -9.1874 | -10.8006 | -8.6809
|  | 275.135 | -12.2961 | -9.2797 | -11.0915 | -8.8948
|  | 277.6335 | -12.5142 | -9.4006 | -11.5242 | -9.221
|  | 280.132 | -12.843 | -9.5823 | -11.8115 | -9.5583
|  | 282.6305 | -12.9874 | -9.5954 | -12.1371 | -9.9295
|  | 285.129 | -13.2437 | -9.6707 | -12.4539 | -10.2905
|  | 287.6275 | -13.5184 | -9.7571 | -12.8335 | -10.7815
|  | 290.126 | -13.7231 | -9.8461 | -13.1177 | -11.2094
|  | 292.6245 | -13.9353 | -9.925 | -13.4667 | -11.6442
|  | 295.123 | -14.1457 | -9.9814 | -13.807 | -12.1201
|  | 297.6215 | -14.4617 | -10.091 | -14.0273 | -12.5612
|  | 300.12 | -14.6374 | -10.2764 | -14.4128 | -13.0739
|  | 302.6185 | -14.8259 | -10.4457 | -14.6138 | -13.52
|  | 305.117 | -15.0723 | -10.5779 | -14.8137 | -13.8795
|  | 307.6155 | -15.2717 | -10.6921 | -15.0967 | -14.3052
|  | 310.114 | -15.4456 | -10.764 | -15.3857 | -14.6338
|  | 312.6125 | -15.6985 | -10.9335 | -15.644 | -15.043
|  | 315.111 | -15.8249 | -11.0508 | -15.9863 | -15.4148
|  | 317.6095 | -16.0454 | -11.1981 | -16.1687 | -15.7222
|  | 320.108 | -16.2747 | -11.3614 | -16.2898 | -16.1853
|  | 322.6065 | -16.4526 | -11.4296 | -16.5378 | -16.3081
|  | 325.105 | -16.6001 | -11.6378 | -16.7793 | -16.6338
|  | 327.6035 | -16.8413 | -11.8259 | -16.8835 | -16.9128
|  | 330.102 | -16.8921 | -11.9864 | -17.0566 | -17.1489
|  | 332.6005 | -17.1921 | -12.2069 | -17.2649 | -17.3101
|  | 335.099 | -17.2004 | -12.3592 | -17.5527 | -17.5422
|  | 337.5975 | -17.4627 | -12.5271 | -17.5784 | -17.7085
|  | 340.096 | -17.6169 | -12.7872 | -17.7354 | -17.7595
|  | 342.5945 | -17.8711 | -13.0028 | -17.8733 | -17.9136
|  | 345.093 | -17.9439 | -13.3109 | -18.0195 | -18.125
|  | 347.5915 | -18.1348 | -13.5377 | -18.2305 | -18.2725
|  | 350.09 | -18.3765 | -13.8671 | -18.3242 | -18.2515
|  | 352.5885 | -18.6274 | -14.1877 | -18.4839 | -18.3257
|  | 355.087 | -18.7529 | -14.5203 | -18.6777 | -18.4087
|  | 357.5855 | -18.834 | -14.7153 | -18.6616 | -18.4756
|  | 360.084 | -19.1284 | -15.0796 | -18.8061 | -18.4434
|  | 362.5825 | -19.2812 | -15.5393 | -18.9917 | -18.5024
|  | 365.081 | -19.4551 | -15.8057 | -19.1265 | -18.3809
|  | 367.5795 | -19.5264 | -16.0659 | -19.0254 | -18.398
|  | 370.078 | -19.7393 | -16.4492 | -19.1221 | -18.3555
|  | 372.5765 | -19.9253 | -16.9453 | -19.1323 | -18.3291
|  | 375.075 | -20.1255 | -17.1633 | -19.209 | -18.0884
|  | 377.5735 | -20.1802 | -17.4744 | -19.1411 | -17.9985
|  | 380.072 | -20.3042 | -17.8162 | -19.2217 | -17.8555
|  | 382.5705 | -20.6055 | -18.1235 | -19.2539 | -17.7134
|  | 385.069 | -20.6704 | -18.4375 | -19.1963 | -17.4668
|  | 387.5675 | -20.9585 | -18.6611 | -19.0752 | -17.1423
|  | 390.066 | -20.9351 | -19.084 | -19.1064 | -16.9936
|  | 392.5645 | -21.0566 | -19.2485 | -18.9819 | -16.791
|  | 395.063 | -21.1802 | -19.7754 | -18.9556 | -16.6538
|  | 397.5615 | -21.1968 | -19.9912 | -18.9805 | -16.498
|  | 400.06 | -21.2837 | -20.2095 | -18.731 | -16.4817
|  | 402.5585 | -21.3784 | -20.6597 | -18.7705 | -16.7026
|  | 405.057 | -21.5815 | -20.9346 | -18.5435 | -16.8484
|  | 407.5555 | -21.7109 | -21.4688 | -18.6689 | -17.0566
|  | 410.054 | -21.8198 | -21.3926 | -18.583 | -17.4023
|  | 412.5525 | -22.042 | -22.0093 | -18.6548 | -17.9126
|  | 415.051 | -21.8501 | -22.1987 | -18.7261 | -18.3618
|  | 417.5495 | -22.2686 | -22.686 | -18.8799 | -18.9214
|  | 420.048 | -22.4766 | -22.7114 | -19.2153 | -19.4575
|  | 422.5465 | -22.666 | -23.2031 | -19.5249 | -20.0972
|  | 425.045 | -23.0518 | -23.4077 | -19.9888 | -20.7534
|  | 427.5435 | -23.3018 | -23.7642 | -20.1699 | -21.2524
|  | 430.042 | -23.7588 | -23.8262 | -20.5181 | -21.623
|  | 432.5405 | -23.8364 | -23.998 | -20.5381 | -21.937
|  | 435.039 | -24.2573 | -23.877 | -20.4575 | -22.3696
|  | 437.5375 | -24.5239 | -23.9351 | -20.2178 | -22.71
|  | 440.036 | -24.5762 | -24.2822 | -20.1787 | -23.0679
|  | 442.5345 | -24.7251 | -24.4331 | -19.9258 | -23.603
|  | 445.033 | -24.6899 | -24.627 | -19.7261 | -23.7847
|  | 447.5315 | -24.7671 | -25.0347 | -19.6201 | -24.1792
|  | 450.03 | -24.8994 | -25.3989 | -19.5874 | -24.5171
|  | 452.5285 | -24.9131 | -25.4273 | -19.5977 | -24.9248
|  | 455.027 | -25.0625 | -25.6523 | -19.6372 | -25.3906
|  | 457.5255 | -25.2046 | -25.5186 | -19.6387 | -25.6709
|  | 460.024 | -25.1182 | -25.8711 | -19.9419 | -25.9912
|  | 462.5225 | -25.1811 | -26.1914 | -20.123 | -26.2168
|  | 465.021 | -25.3403 | -26.2705 | -20.4263 | -26.5713
|  | 467.5195 | -25.3648 | -26.7461 | -20.6572 | -26.5439
|  | 470.018 | -25.2871 | -26.9043 | -21.0044 | -26.9619
|  | 472.5165 | -25.3393 | -27.1025 | -21.4932 | -27.1328
|  | 475.015 | -25.417 | -27.3682 | -21.6821 | -27.6719
|  | 477.5135 | -25.6074 | -27.4707 | -22.3008 | -27.625
|  | 480.012 | -25.7349 | -27.458 | -22.5649 | -27.793
|  | 482.5105 | -25.8691 | -28.0713 | -23.102 | -28.2314
|  | 485.009 | -25.9141 | -27.9609 | -23.3711 | -28.4229
|  | 487.5075 | -26.1855 | -28.1865 | -23.9175 | -28.3525
|  | 490.006 | -26.4014 | -28.2539 | -24.2886 | -28.4473
|  | 492.5045 | -26.3828 | -28.5898 | -24.624 | -28.4668
|  | 495.003 | -26.1611 | -28.6631 | -25.1494 | -28.3428
|  | 497.5015 | -26.6006 | -28.9131 | -25.6533 | -28.501
|  | 500 | -26.6162 | -29.0459 | -25.9595 | -28.375

## PD Polarity
AMP145 Typical Frequency Response
|  | Frequency (MHz) | Relative Gain (dB)
|  |  | Cathode Grounded | Anode Grounded
|  | 0.3 | -0.84082 | -0.83447
|  | 2.7985 | -0.01269 | -0.01074
|  | 5.297 | 0.02734 | 0.03076
|  | 7.7955 | 0 | 0
Product Raw Data |  | 10.294 | -0.06103 | -0.0542
Transimpedance Amplifier, 100 MHz Bandwidth, 2.5 kV/A Gain |  | 12.7925 | -0.04931 | -0.05029
|  | 15.291 | -0.03711 | -0.04639
Item # | AMP145 | 17.7895 | -0.05371 | -0.06201
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 20.288 | 0.01709 | -0.01123
|  | 22.7865 | 0.03076 | -0.01611
|  | 25.285 | 0.02539 | -0.01709
|  | 27.7835 | 0.06055 | 0.02344
|  | 30.282 | 0.0249 | -0.02783
|  | 32.7805 | 0.02881 | -0.03906
This data may be used in publications. However, please cite Thorlabs as the source. |  | 35.279 | 0.02149 | -0.04688
|  | 37.7775 | 0.03516 | -0.05469
|  | 40.276 | 0.05371 | -0.04785
Additional Information: |  | 42.7745 | 0.03076 | -0.09522
This data was measured using an input source with capacitance of 1.5 pF. |  | 45.273 | 0.03076 | -0.10938
|  | 47.7715 | 0.05811 | -0.10498
|  | 50.27 | 0.01221 | -0.15625
|  | 52.7685 | 0.00147 | -0.19141
|  | 55.267 | 0.00049 | -0.20508
|  | 57.7655 | 0.01367 | -0.20801
|  | 60.264 | 0.00195 | -0.2417
|  | 62.7625 | 0.01465 | -0.25293
|  | 65.261 | -0.0376 | -0.31836
|  | 67.7595 | -0.03906 | -0.34522
|  | 70.258 | -0.07275 | -0.38721
|  | 72.7565 | -0.07422 | -0.41065
|  | 75.255 | -0.0918 | -0.4668
|  | 77.7535 | -0.11963 | -0.51026
|  | 80.252 | -0.09912 | -0.52637
|  | 82.7505 | -0.14697 | -0.59033
|  | 85.249 | -0.18555 | -0.67383
|  | 87.7475 | -0.1875 | -0.70703
|  | 90.246 | -0.23584 | -0.78467
|  | 92.7445 | -0.27539 | -0.85986
|  | 95.243 | -0.31494 | -0.93213
|  | 97.7415 | -0.35547 | -1.0098
|  | 100.24 | -0.37158 | -1.0649
|  | 102.7385 | -0.46875 | -1.2056
|  | 105.237 | -0.50732 | -1.2856
|  | 107.7355 | -0.51709 | -1.3398
|  | 110.234 | -0.61475 | -1.4932
|  | 112.7325 | -0.67285 | -1.6006
|  | 115.231 | -0.75195 | -1.728
|  | 117.7295 | -0.81006 | -1.8569
|  | 120.228 | -0.85644 | -1.9661
|  | 122.7265 | -0.98389 | -2.1511
|  | 125.225 | -1.0747 | -2.2842
|  | 127.7235 | -1.1465 | -2.4519
|  | 130.222 | -1.2344 | -2.5891
|  | 132.7205 | -1.3623 | -2.792
|  | 135.219 | -1.4492 | -2.9553
|  | 137.7175 | -1.5596 | -3.154
|  | 140.216 | -1.6533 | -3.3206
|  | 142.7145 | -1.7617 | -3.5298
|  | 145.213 | -1.9351 | -3.7737
|  | 147.7115 | -2.022 | -3.9512
|  | 150.21 | -2.1641 | -4.1878
|  | 152.7085 | -2.2827 | -4.3945
|  | 155.207 | -2.4294 | -4.5977
|  | 157.7055 | -2.5208 | -4.8113
|  | 160.204 | -2.6755 | -5.0427
|  | 162.7025 | -2.8357 | -5.3025
|  | 165.201 | -2.9324 | -5.4836
|  | 167.6995 | -3.1099 | -5.739
|  | 170.198 | -3.2739 | -5.9846
|  | 172.6965 | -3.4517 | -6.2533
|  | 175.195 | -3.6091 | -6.4762
|  | 177.6935 | -3.7947 | -6.7687
|  | 180.192 | -3.9514 | -7.0409
|  | 182.6905 | -4.1174 | -7.2867
|  | 185.189 | -4.2873 | -7.5214
|  | 187.6875 | -4.4949 | -7.8359
|  | 190.186 | -4.6577 | -8.0913
|  | 192.6845 | -4.8604 | -8.3717
|  | 195.183 | -5.1055 | -8.6712
|  | 197.6815 | -5.291 | -8.9243
|  | 200.18 | -5.5173 | -9.2361
|  | 202.6785 | -5.6872 | -9.4823
|  | 205.177 | -5.9006 | -9.7963
|  | 207.6755 | -6.155 | -10.0434
|  | 210.174 | -6.4055 | -10.3844
|  | 212.6725 | -6.6199 | -10.6673
|  | 215.171 | -6.7876 | -10.8613
|  | 217.6695 | -7.006 | -11.2015
|  | 220.168 | -7.2357 | -11.472
|  | 222.6665 | -7.5332 | -11.7719
|  | 225.165 | -7.712 | -12.038
|  | 227.6635 | -7.9903 | -12.3502
|  | 230.162 | -8.1881 | -12.6422
|  | 232.6605 | -8.4453 | -12.8971
|  | 235.159 | -8.6443 | -13.1179
|  | 237.6575 | -8.8769 | -13.4043
|  | 240.156 | -9.144 | -13.6813
|  | 242.6545 | -9.3462 | -13.9305
|  | 245.153 | -9.5485 | -14.1502
|  | 247.6515 | -9.8146 | -14.4807
|  | 250.15 | -10.0887 | -14.7507
|  | 252.6485 | -10.2607 | -15.0112
|  | 255.147 | -10.5455 | -15.2817
|  | 257.6455 | -10.7422 | -15.5383
|  | 260.144 | -10.9838 | -15.7434
|  | 262.6425 | -11.1663 | -16.0232
|  | 265.141 | -11.4412 | -16.3633
|  | 267.6395 | -11.6392 | -16.4841
|  | 270.138 | -11.8726 | -16.782
|  | 272.6365 | -12.1161 | -17.051
|  | 275.135 | -12.2961 | -17.2949
|  | 277.6335 | -12.5142 | -17.5122
|  | 280.132 | -12.843 | -17.7898
|  | 282.6305 | -12.9874 | -17.9128
|  | 285.129 | -13.2437 | -18.2349
|  | 287.6275 | -13.5184 | -18.4443
|  | 290.126 | -13.7231 | -18.71
|  | 292.6245 | -13.9353 | -19.04
|  | 295.123 | -14.1457 | -19.2827
|  | 297.6215 | -14.4617 | -19.3936
|  | 300.12 | -14.6374 | -19.7075
|  | 302.6185 | -14.8259 | -19.8882
|  | 305.117 | -15.0723 | -20.2925
|  | 307.6155 | -15.2717 | -20.4702
|  | 310.114 | -15.4456 | -20.5493
|  | 312.6125 | -15.6985 | -20.8477
|  | 315.111 | -15.8249 | -21.002
|  | 317.6095 | -16.0454 | -21.2046
|  | 320.108 | -16.2747 | -21.3564
|  | 322.6065 | -16.4526 | -21.5801
|  | 325.105 | -16.6001 | -21.6616
|  | 327.6035 | -16.8413 | -21.9976
|  | 330.102 | -16.8921 | -22.2305
|  | 332.6005 | -17.1921 | -22.2388
|  | 335.099 | -17.2004 | -22.543
|  | 337.5975 | -17.4627 | -22.7188
|  | 340.096 | -17.6169 | -22.8389
|  | 342.5945 | -17.8711 | -23.0439
|  | 345.093 | -17.9439 | -23.2959
|  | 347.5915 | -18.1348 | -23.4727
|  | 350.09 | -18.3765 | -23.6362
|  | 352.5885 | -18.6274 | -23.7368
|  | 355.087 | -18.7529 | -24.0571
|  | 357.5855 | -18.834 | -24.0479
|  | 360.084 | -19.1284 | -24.312
|  | 362.5825 | -19.2812 | -24.3999
|  | 365.081 | -19.4551 | -24.5264
|  | 367.5795 | -19.5264 | -24.9565
|  | 370.078 | -19.7393 | -24.8267
|  | 372.5765 | -19.9253 | -25.1074
|  | 375.075 | -20.1255 | -25.415
|  | 377.5735 | -20.1802 | -25.5376
|  | 380.072 | -20.3042 | -25.9082
|  | 382.5705 | -20.6055 | -25.7852
|  | 385.069 | -20.6704 | -26.0083
|  | 387.5675 | -20.9585 | -26.1304
|  | 390.066 | -20.9351 | -26.189
|  | 392.5645 | -21.0566 | -26.1108
|  | 395.063 | -21.1802 | -26.5122
|  | 397.5615 | -21.1968 | -26.5444
|  | 400.06 | -21.2837 | -26.4888
|  | 402.5585 | -21.3784 | -26.8003
|  | 405.057 | -21.5815 | -26.9341
|  | 407.5555 | -21.7109 | -26.9341
|  | 410.054 | -21.8198 | -26.6939
|  | 412.5525 | -22.042 | -27.1284
|  | 415.051 | -21.8501 | -27.5181
|  | 417.5495 | -22.2686 | -27.4624
|  | 420.048 | -22.4766 | -27.5884
|  | 422.5465 | -22.666 | -27.8101
|  | 425.045 | -23.0518 | -28.104
|  | 427.5435 | -23.3018 | -28.603
|  | 430.042 | -23.7588 | -29.0044
|  | 432.5405 | -23.8364 | -28.8716
|  | 435.039 | -24.2573 | -28.8657
|  | 437.5375 | -24.5239 | -29.0357
|  | 440.036 | -24.5762 | -29.438
|  | 442.5345 | -24.7251 | -29.1108
|  | 445.033 | -24.6899 | -29.8472
|  | 447.5315 | -24.7671 | -29.8774
|  | 450.03 | -24.8994 | -29.5913
|  | 452.5285 | -24.9131 | -29.9429
|  | 455.027 | -25.0625 | -29.5689
|  | 457.5255 | -25.2046 | -29.9253
|  | 460.024 | -25.1182 | -29.9409
|  | 462.5225 | -25.1811 | -30.0747
|  | 465.021 | -25.3403 | -29.8364
|  | 467.5195 | -25.3648 | -29.9048
|  | 470.018 | -25.2871 | -30.5708
|  | 472.5165 | -25.3393 | -30.686
|  | 475.015 | -25.417 | -30.6304
|  | 477.5135 | -25.6074 | -30.9107
|  | 480.012 | -25.7349 | -30.4077
|  | 482.5105 | -25.8691 | -30.6714
|  | 485.009 | -25.9141 | -30.7241
|  | 487.5075 | -26.1855 | -31.0064
|  | 490.006 | -26.4014 | -30.5474
|  | 492.5045 | -26.3828 | -31.3569
|  | 495.003 | -26.1611 | -31.354
|  | 497.5015 | -26.6006 | -31.3228
|  | 500 | -26.6162 | -31.4038