## ASE Spectrum
BOA1080x Typical ASE Spectrum
|  | Wavelength (nm) | Intensity (dB)
|  | 1430 | -47.7545
|  | 1430.5 | -47.6921
|  | 1431 | -47.6222
|  | 1431.5 | -47.6638
Product Raw Data |  | 1432 | -47.5614
1590 nm L-Band Booster Optical Amplifier, Butterfly Package, FC/APC |  | 1432.5 | -47.5679
|  | 1433 | -47.505
Item # | BOA1080S and BOA1080P | 1433.5 | -47.3768
|  | 1434 | -47.3394
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1434.5 | -47.3098
|  | 1435 | -47.2512
|  | 1435.5 | -47.1761
|  | 1436 | -47.0601
|  | 1436.5 | -47.0243
|  | 1437 | -46.9148
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1437.5 | -46.8854
|  | 1438 | -46.8836
|  | 1438.5 | -46.6898
Additional Information: |  | 1439 | -46.5629
I = 600 mA |  | 1439.5 | -46.5135
|  | 1440 | -46.4301
|  | 1440.5 | -46.3037
|  | 1441 | -46.1889
|  | 1441.5 | -46.1411
|  | 1442 | -46.0664
|  | 1442.5 | -45.9342
|  | 1443 | -45.8447
|  | 1443.5 | -45.73
|  | 1444 | -45.5694
|  | 1444.5 | -45.464
|  | 1445 | -45.3701
|  | 1445.5 | -45.2748
|  | 1446 | -45.347
|  | 1446.5 | -45.043
|  | 1447 | -44.8528
|  | 1447.5 | -44.7613
|  | 1448 | -44.6232
|  | 1448.5 | -44.5023
|  | 1449 | -44.4006
|  | 1449.5 | -44.2524
|  | 1450 | -44.1414
|  | 1450.5 | -44.0887
|  | 1451 | -44.0364
|  | 1451.5 | -43.8064
|  | 1452 | -43.6592
|  | 1452.5 | -43.5579
|  | 1453 | -43.3817
|  | 1453.5 | -43.2546
|  | 1454 | -43.1003
|  | 1454.5 | -42.9734
|  | 1455 | -42.8315
|  | 1455.5 | -42.7953
|  | 1456 | -42.5872
|  | 1456.5 | -42.4362
|  | 1457 | -42.2898
|  | 1457.5 | -42.171
|  | 1458 | -42.0474
|  | 1458.5 | -41.8606
|  | 1459 | -41.7449
|  | 1459.5 | -41.6039
|  | 1460 | -41.433
|  | 1460.5 | -41.365
|  | 1461 | -41.1551
|  | 1461.5 | -41.0217
|  | 1462 | -40.8593
|  | 1462.5 | -40.6765
|  | 1463 | -40.5464
|  | 1463.5 | -40.4781
|  | 1464 | -40.2148
|  | 1464.5 | -40.0594
|  | 1465 | -39.9246
|  | 1465.5 | -39.8257
|  | 1466 | -39.6064
|  | 1466.5 | -39.4687
|  | 1467 | -39.3247
|  | 1467.5 | -39.1453
|  | 1468 | -38.9691
|  | 1468.5 | -38.7817
|  | 1469 | -38.6315
|  | 1469.5 | -38.4899
|  | 1470 | -38.404
|  | 1470.5 | -38.1399
|  | 1471 | -38.1201
|  | 1471.5 | -37.8629
|  | 1472 | -37.6677
|  | 1472.5 | -37.6267
|  | 1473 | -37.4117
|  | 1473.5 | -37.2719
|  | 1474 | -37.0723
|  | 1474.5 | -36.8834
|  | 1475 | -36.7183
|  | 1475.5 | -36.5476
|  | 1476 | -36.4426
|  | 1476.5 | -36.2801
|  | 1477 | -36.1159
|  | 1477.5 | -35.9898
|  | 1478 | -35.8807
|  | 1478.5 | -35.7119
|  | 1479 | -35.5212
|  | 1479.5 | -35.3854
|  | 1480 | -35.2595
|  | 1480.5 | -35.1684
|  | 1481 | -34.9947
|  | 1481.5 | -34.778
|  | 1482 | -34.7233
|  | 1482.5 | -34.541
|  | 1483 | -34.3571
|  | 1483.5 | -34.226
|  | 1484 | -34.0804
|  | 1484.5 | -33.9745
|  | 1485 | -33.8208
|  | 1485.5 | -33.6784
|  | 1486 | -33.5654
|  | 1486.5 | -33.4464
|  | 1487 | -33.3168
|  | 1487.5 | -33.1341
|  | 1488 | -33.0142
|  | 1488.5 | -32.8766
|  | 1489 | -32.7219
|  | 1489.5 | -32.5874
|  | 1490 | -32.4938
|  | 1490.5 | -32.3406
|  | 1491 | -32.1901
|  | 1491.5 | -32.0766
|  | 1492 | -31.9742
|  | 1492.5 | -31.8212
|  | 1493 | -31.6597
|  | 1493.5 | -31.5322
|  | 1494 | -31.4136
|  | 1494.5 | -31.2794
|  | 1495 | -31.1455
|  | 1495.5 | -31.0204
|  | 1496 | -30.9092
|  | 1496.5 | -30.79
|  | 1497 | -30.6407
|  | 1497.5 | -30.5131
|  | 1498 | -30.4316
|  | 1498.5 | -30.2966
|  | 1499 | -30.1428
|  | 1499.5 | -30.0278
|  | 1500 | -29.9219
|  | 1500.5 | -29.7935
|  | 1501 | -29.6765
|  | 1501.5 | -29.5687
|  | 1502 | -29.4855
|  | 1502.5 | -29.3759
|  | 1503 | -29.2273
|  | 1503.5 | -29.1135
|  | 1504 | -29.0495
|  | 1504.5 | -28.9216
|  | 1505 | -28.7885
|  | 1505.5 | -28.6891
|  | 1506 | -28.5913
|  | 1506.5 | -28.4813
|  | 1507 | -28.3657
|  | 1507.5 | -28.2642
|  | 1508 | -28.1922
|  | 1508.5 | -28.0992
|  | 1509 | -27.9565
|  | 1509.5 | -27.8383
|  | 1510 | -27.7641
|  | 1510.5 | -27.6586
|  | 1511 | -27.6069
|  | 1511.5 | -27.5308
|  | 1512 | -27.4397
|  | 1512.5 | -27.3503
|  | 1513 | -27.2345
|  | 1513.5 | -27.1471
|  | 1514 | -27.068
|  | 1514.5 | -26.9887
|  | 1515 | -26.8735
|  | 1515.5 | -26.7563
|  | 1516 | -26.6997
|  | 1516.5 | -26.6175
|  | 1517 | -26.5109
|  | 1517.5 | -26.4453
|  | 1518 | -26.3918
|  | 1518.5 | -26.2746
|  | 1519 | -26.1549
|  | 1519.5 | -26.0525
|  | 1520 | -26.0031
|  | 1520.5 | -25.9042
|  | 1521 | -25.8121
|  | 1521.5 | -25.7332
|  | 1522 | -25.6931
|  | 1522.5 | -25.6418
|  | 1523 | -25.5355
|  | 1523.5 | -25.4466
|  | 1524 | -25.4039
|  | 1524.5 | -25.3175
|  | 1525 | -25.2367
|  | 1525.5 | -25.1306
|  | 1526 | -25.0877
|  | 1526.5 | -25.0193
|  | 1527 | -24.9428
|  | 1527.5 | -24.8527
|  | 1528 | -24.8032
|  | 1528.5 | -24.7987
|  | 1529 | -24.7053
|  | 1529.5 | -24.6045
|  | 1530 | -24.534
|  | 1530.5 | -24.4906
|  | 1531 | -24.4214
|  | 1531.5 | -24.3416
|  | 1532 | -24.2891
|  | 1532.5 | -24.2627
|  | 1533 | -24.2176
|  | 1533.5 | -24.1084
|  | 1534 | -24.0309
|  | 1534.5 | -24.0014
|  | 1535 | -23.9505
|  | 1535.5 | -23.8726
|  | 1536 | -23.805
|  | 1536.5 | -23.814
|  | 1537 | -23.7813
|  | 1537.5 | -23.6817
|  | 1538 | -23.5982
|  | 1538.5 | -23.5423
|  | 1539 | -23.5177
|  | 1539.5 | -23.4565
|  | 1540 | -23.3753
|  | 1540.5 | -23.3453
|  | 1541 | -23.3591
|  | 1541.5 | -23.3118
|  | 1542 | -23.2078
|  | 1542.5 | -23.1387
|  | 1543 | -23.1166
|  | 1543.5 | -23.067
|  | 1544 | -22.9925
|  | 1544.5 | -22.9464
|  | 1545 | -22.9532
|  | 1545.5 | -22.9327
|  | 1546 | -22.8478
|  | 1546.5 | -22.7558
|  | 1547 | -22.7253
|  | 1547.5 | -22.7154
|  | 1548 | -22.6621
|  | 1548.5 | -22.5914
|  | 1549 | -22.587
|  | 1549.5 | -22.5866
|  | 1550 | -22.5392
|  | 1550.5 | -22.4496
|  | 1551 | -22.3847
|  | 1551.5 | -22.3661
|  | 1552 | -22.3517
|  | 1552.5 | -22.2737
|  | 1553 | -22.2246
|  | 1553.5 | -22.2471
|  | 1554 | -22.2577
|  | 1554.5 | -22.1737
|  | 1555 | -22.0801
|  | 1555.5 | -22.0559
|  | 1556 | -22.0557
|  | 1556.5 | -22.0184
|  | 1557 | -21.9366
|  | 1557.5 | -21.9117
|  | 1558 | -21.9394
|  | 1558.5 | -21.9291
|  | 1559 | -21.8255
|  | 1559.5 | -21.7588
|  | 1560 | -21.7802
|  | 1560.5 | -21.772
|  | 1561 | -21.7114
|  | 1561.5 | -21.6509
|  | 1562 | -21.6432
|  | 1562.5 | -21.6733
|  | 1563 | -21.6337
|  | 1563.5 | -21.5313
|  | 1564 | -21.4897
|  | 1564.5 | -21.532
|  | 1565 | -21.5374
|  | 1565.5 | -21.4443
|  | 1566 | -21.4144
|  | 1566.5 | -21.4454
|  | 1567 | -21.4351
|  | 1567.5 | -21.3579
|  | 1568 | -21.2919
|  | 1568.5 | -21.3027
|  | 1569 | -21.3461
|  | 1569.5 | -21.3207
|  | 1570 | -21.2408
|  | 1570.5 | -21.1909
|  | 1571 | -21.2366
|  | 1571.5 | -21.2415
|  | 1572 | -21.1527
|  | 1572.5 | -21.1176
|  | 1573 | -21.1725
|  | 1573.5 | -21.2026
|  | 1574 | -21.1628
|  | 1574.5 | -21.0904
|  | 1575 | -21.0574
|  | 1575.5 | -21.0781
|  | 1576 | -21.0877
|  | 1576.5 | -21.0171
|  | 1577 | -20.9882
|  | 1577.5 | -21.0597
|  | 1578 | -21.1035
|  | 1578.5 | -21.0347
|  | 1579 | -20.9496
|  | 1579.5 | -20.9781
|  | 1580 | -21.0382
|  | 1580.5 | -21.0119
|  | 1581 | -20.9467
|  | 1581.5 | -20.9241
|  | 1582 | -20.969
|  | 1582.5 | -21.0061
|  | 1583 | -20.9605
|  | 1583.5 | -20.8965
|  | 1584 | -20.951
|  | 1584.5 | -21.0328
|  | 1585 | -21.0137
|  | 1585.5 | -20.9242
|  | 1586 | -20.9117
|  | 1586.5 | -20.9729
|  | 1587 | -20.9989
|  | 1587.5 | -20.9465
|  | 1588 | -20.9097
|  | 1588.5 | -20.9718
|  | 1589 | -21.0474
|  | 1589.5 | -21.0475
|  | 1590 | -20.9786
|  | 1590.5 | -20.9681
|  | 1591 | -21.0596
|  | 1591.5 | -21.1104
|  | 1592 | -21.0384
|  | 1592.5 | -20.9769
|  | 1593 | -21.0209
|  | 1593.5 | -21.0892
|  | 1594 | -21.0836
|  | 1594.5 | -21.0205
|  | 1595 | -21.047
|  | 1595.5 | -21.1504
|  | 1596 | -21.2044
|  | 1596.5 | -21.1568
|  | 1597 | -21.1091
|  | 1597.5 | -21.1543
|  | 1598 | -21.2434
|  | 1598.5 | -21.2648
|  | 1599 | -21.1928
|  | 1599.5 | -21.1723
|  | 1600 | -21.2713
|  | 1600.5 | -21.3475
|  | 1601 | -21.2968
|  | 1601.5 | -21.2599
|  | 1602 | -21.335
|  | 1602.5 | -21.4467
|  | 1603 | -21.4652
|  | 1603.5 | -21.4002
|  | 1604 | -21.3941
|  | 1604.5 | -21.4843
|  | 1605 | -21.589
|  | 1605.5 | -21.5848
|  | 1606 | -21.526
|  | 1606.5 | -21.5375
|  | 1607 | -21.6466
|  | 1607.5 | -21.7039
|  | 1608 | -21.6619
|  | 1608.5 | -21.6522
|  | 1609 | -21.7653
|  | 1609.5 | -21.889
|  | 1610 | -21.8942
|  | 1610.5 | -21.8477
|  | 1611 | -21.8842
|  | 1611.5 | -22.0102
|  | 1612 | -22.0948
|  | 1612.5 | -22.0969
|  | 1613 | -22.0673
|  | 1613.5 | -22.1222
|  | 1614 | -22.2446
|  | 1614.5 | -22.3232
|  | 1615 | -22.2864
|  | 1615.5 | -22.2853
|  | 1616 | -22.4228
|  | 1616.5 | -22.5625
|  | 1617 | -22.576
|  | 1617.5 | -22.5489
|  | 1618 | -22.6319
|  | 1618.5 | -22.8029
|  | 1619 | -22.9099
|  | 1619.5 | -22.9095
|  | 1620 | -22.8831
|  | 1620.5 | -22.9583
|  | 1621 | -23.1386
|  | 1621.5 | -23.2526
|  | 1622 | -23.2206
|  | 1622.5 | -23.2151
|  | 1623 | -23.3684
|  | 1623.5 | -23.5163
|  | 1624 | -23.5467
|  | 1624.5 | -23.5277
|  | 1625 | -23.6462
|  | 1625.5 | -23.8273
|  | 1626 | -23.9849
|  | 1626.5 | -24.0397
|  | 1627 | -24.047
|  | 1627.5 | -24.1232
|  | 1628 | -24.3479
|  | 1628.5 | -24.4924
|  | 1629 | -24.5069
|  | 1629.5 | -24.5023
|  | 1630 | -24.677
|  | 1630.5 | -24.9424
|  | 1631 | -25.0322
|  | 1631.5 | -25.0581
|  | 1632 | -25.1436
|  | 1632.5 | -25.312
|  | 1633 | -25.5284
|  | 1633.5 | -25.6479
|  | 1634 | -25.7154
|  | 1634.5 | -25.8617
|  | 1635 | -26.0678
|  | 1635.5 | -26.3408
|  | 1636 | -26.4074
|  | 1636.5 | -26.4408
|  | 1637 | -26.6807
|  | 1637.5 | -26.9835
|  | 1638 | -27.2138
|  | 1638.5 | -27.2365
|  | 1639 | -27.3341
|  | 1639.5 | -27.6223
|  | 1640 | -27.8657
|  | 1640.5 | -28.0774
|  | 1641 | -28.2367
|  | 1641.5 | -28.2898
|  | 1642 | -28.5681
|  | 1642.5 | -28.8422
|  | 1643 | -29.0799
|  | 1643.5 | -29.1872
|  | 1644 | -29.1783
|  | 1644.5 | -29.4051
|  | 1645 | -29.6933
|  | 1645.5 | -29.814
|  | 1646 | -29.8908
|  | 1646.5 | -30.0845
|  | 1647 | -30.3748
|  | 1647.5 | -30.6035
|  | 1648 | -30.7216
|  | 1648.5 | -30.8142
|  | 1649 | -31.0112
|  | 1649.5 | -31.3015
|  | 1650 | -31.5474
|  | 1650.5 | -31.6339
|  | 1651 | -31.688
|  | 1651.5 | -31.8978
|  | 1652 | -32.2441
|  | 1652.5 | -32.458
|  | 1653 | -32.4893
|  | 1653.5 | -32.5566
|  | 1654 | -32.7947
|  | 1654.5 | -33.0872
|  | 1655 | -33.2624
|  | 1655.5 | -33.3408
|  | 1656 | -33.4288
|  | 1656.5 | -33.6254
|  | 1657 | -33.9326
|  | 1657.5 | -34.1534
|  | 1658 | -34.2133
|  | 1658.5 | -34.2978
|  | 1659 | -34.5369
|  | 1659.5 | -34.8547
|  | 1660 | -35.0147
|  | 1660.5 | -35.0795
|  | 1661 | -35.2168
|  | 1661.5 | -35.4918
|  | 1662 | -35.8439
|  | 1662.5 | -35.8529
|  | 1663 | -36.0042
|  | 1663.5 | -36.185
|  | 1664 | -36.4406
|  | 1664.5 | -36.7236
|  | 1665 | -36.8905
|  | 1665.5 | -36.9793
|  | 1666 | -37.1227
|  | 1666.5 | -37.4236
|  | 1667 | -37.7352
|  | 1667.5 | -37.876
|  | 1668 | -37.9433
|  | 1668.5 | -38.1291
|  | 1669 | -38.4403
|  | 1669.5 | -38.723
|  | 1670 | -38.8469
|  | 1670.5 | -38.9129
|  | 1671 | -39.0893
|  | 1671.5 | -39.3993
|  | 1672 | -39.6767
|  | 1672.5 | -39.8276
|  | 1673 | -39.8875
|  | 1673.5 | -40.0486
|  | 1674 | -40.3513
|  | 1674.5 | -40.6302
|  | 1675 | -40.7769
|  | 1675.5 | -40.8334
|  | 1676 | -40.9934
|  | 1676.5 | -41.242
|  | 1677 | -41.5255
|  | 1677.5 | -41.649
|  | 1678 | -41.716
|  | 1678.5 | -41.8294
|  | 1679 | -42.1003
|  | 1679.5 | -42.3199
|  | 1680 | -42.4116

## Gain vs Output Power
BOA1080x Gain vs. Output Power
|  | Output Power (dBm) | Gain (dB)
|  | -6.044 | 30.482
|  | -4.085 | 30.512
|  | -2.104 | 30.475
|  | -0.051 | 30.501
Product Raw Data |  | 1.857 | 30.435
1590 nm L-Band Booster Optical Amplifier, Butterfly Package, FC/APC |  | 3.869 | 30.381
|  | 5.847 | 30.377
Item # | BOA1080S and BOA1080P | 7.704 | 30.223
|  | 9.555 | 30.119
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 11.262 | 29.803
|  | 12.693 | 29.208
|  | 14.029 | 28.586
|  | 15.042 | 27.552
|  | 15.927 | 26.474
|  | 16.613 | 25.163
This data may be used in publications. However, please cite Thorlabs as the source. |  | 17.184 | 23.677
Additional Information:
I = 600 mA, λ = 1590 nm