## LIV
Sample BOA1300P LIV Characteristics
|  | Current (mA) | Optical Power (mW) | Forward Voltage (V) | Optical Power with Seed
|  | 0 | 8.139e-06 | 0 | 4.593e-05
|  | 100 | 0.01017 | 0.985 | 0.7813
|  | 200 | 0.1921 | 1.048 | 19.53
|  | 300 | 1.096 | 1.098 | 45.09
Product Raw Data |  | 400 | 3.244 | 1.144 | 71.02
1280 nm C-Band Booster Optical Amplifier, Butterfly Package, PM, FC/APC |  | 500 | 6.725 | 1.186 | 96.93
|  | 600 | 11.33 | 1.228 | 122.5
|  | 700 | 16.71 | 1.268 | 147.6
Item # | BOA1300P | 800 | 22.77 | 1.307 | 172.2
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 900 | 28.88 | 1.346 | 197.7
|  | 1000 | 35 | 1.385 | 221.2
|  | 1100 | 40.94 | 1.423 | 243.9
|  | 1200 | 46.67 | 1.461 | 265.7
|  | 1300 | 52.1 | 1.5 | 286.8
|  | 1400 | 57.17 | 1.538 | 306.8
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1500 | 61.81 | 1.576 | 325.7
|  | 1600 | 66.02 | 1.614 | 343.4
|  | 1700 | 69.79 | 1.653 | 359.8
|  | 1800 | 73.04 | 1.692 | 375
Additional Information:
T = 25 °C

## ASE Spectrum
Sample Spectrum
|  | Wavelength (nm) | Intensity (dB)
|  | 1180 | -36.97
|  | 1180.5 | -36.948
|  | 1181 | -36.9566
|  | 1181.5 | -36.9573
Product Raw Data |  | 1182 | -36.9819
1280 nm C-Band Booster Optical Amplifier, Butterfly Package, PM, FC/APC |  | 1182.5 | -36.9729
|  | 1183 | -36.9433
|  | 1183.5 | -37.0267
Item # | BOA1300P | 1184 | -36.9902
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1184.5 | -36.9961
|  | 1185 | -37.0206
|  | 1185.5 | -37.0369
|  | 1186 | -37.028
|  | 1186.5 | -37.0045
|  | 1187 | -37.0374
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1187.5 | -37.0372
|  | 1188 | -37.0443
|  | 1188.5 | -37.0303
|  | 1189 | -37.0688
Additional Information: |  | 1189.5 | -37.0676
T = 25 °C, I = 1700 mA |  | 1190 | -37.0496
|  | 1190.5 | -37.0713
|  | 1191 | -37.0601
|  | 1191.5 | -37.0503
|  | 1192 | -37.0446
|  | 1192.5 | -37.0618
|  | 1193 | -37.0547
|  | 1193.5 | -37.0593
|  | 1194 | -37.05
|  | 1194.5 | -37.0531
|  | 1195 | -37.0129
|  | 1195.5 | -37.0135
|  | 1196 | -36.9945
|  | 1196.5 | -36.9673
|  | 1197 | -36.9373
|  | 1197.5 | -36.907
|  | 1198 | -36.8832
|  | 1198.5 | -36.8598
|  | 1199 | -36.8295
|  | 1199.5 | -36.76
|  | 1200 | -36.7153
|  | 1200.5 | -36.6509
|  | 1201 | -36.5824
|  | 1201.5 | -36.5106
|  | 1202 | -36.39
|  | 1202.5 | -36.2425
|  | 1203 | -36.149
|  | 1203.5 | -36.008
|  | 1204 | -35.892
|  | 1204.5 | -35.7159
|  | 1205 | -35.5522
|  | 1205.5 | -35.4457
|  | 1206 | -35.2866
|  | 1206.5 | -35.1082
|  | 1207 | -34.9133
|  | 1207.5 | -34.6689
|  | 1208 | -34.5108
|  | 1208.5 | -34.2581
|  | 1209 | -34.0006
|  | 1209.5 | -33.7102
|  | 1210 | -33.402
|  | 1210.5 | -33.183
|  | 1211 | -32.8552
|  | 1211.5 | -32.6018
|  | 1212 | -32.2182
|  | 1212.5 | -31.9222
|  | 1213 | -31.6202
|  | 1213.5 | -31.3222
|  | 1214 | -30.9876
|  | 1214.5 | -30.6409
|  | 1215 | -30.3478
|  | 1215.5 | -30.0934
|  | 1216 | -29.7962
|  | 1216.5 | -29.5241
|  | 1217 | -29.1718
|  | 1217.5 | -28.9801
|  | 1218 | -28.6642
|  | 1218.5 | -28.4549
|  | 1219 | -28.1659
|  | 1219.5 | -27.8687
|  | 1220 | -27.6587
|  | 1220.5 | -27.3333
|  | 1221 | -27.1721
|  | 1221.5 | -26.8227
|  | 1222 | -26.62
|  | 1222.5 | -26.3422
|  | 1223 | -26.0982
|  | 1223.5 | -25.8962
|  | 1224 | -25.5965
|  | 1224.5 | -25.3891
|  | 1225 | -25.1374
|  | 1225.5 | -24.9073
|  | 1226 | -24.7742
|  | 1226.5 | -24.5151
|  | 1227 | -24.3182
|  | 1227.5 | -24.0138
|  | 1228 | -23.8619
|  | 1228.5 | -23.5337
|  | 1229 | -23.3687
|  | 1229.5 | -23.1018
|  | 1230 | -22.8746
|  | 1230.5 | -22.7187
|  | 1231 | -22.4387
|  | 1231.5 | -22.2888
|  | 1232 | -21.9803
|  | 1232.5 | -21.8616
|  | 1233 | -21.5881
|  | 1233.5 | -21.4286
|  | 1234 | -21.1823
|  | 1234.5 | -20.9829
|  | 1235 | -20.7946
|  | 1235.5 | -20.5714
|  | 1236 | -20.4518
|  | 1236.5 | -20.1963
|  | 1237 | -20.0625
|  | 1237.5 | -19.8363
|  | 1238 | -19.6865
|  | 1238.5 | -19.5178
|  | 1239 | -19.3034
|  | 1239.5 | -19.1617
|  | 1240 | -18.938
|  | 1240.5 | -18.8454
|  | 1241 | -18.6235
|  | 1241.5 | -18.5092
|  | 1242 | -18.2916
|  | 1242.5 | -18.1623
|  | 1243 | -17.9943
|  | 1243.5 | -17.8509
|  | 1244 | -17.7108
|  | 1244.5 | -17.5053
|  | 1245 | -17.4175
|  | 1245.5 | -17.1981
|  | 1246 | -17.099
|  | 1246.5 | -16.917
|  | 1247 | -16.7917
|  | 1247.5 | -16.6431
|  | 1248 | -16.5194
|  | 1248.5 | -16.3827
|  | 1249 | -16.2401
|  | 1249.5 | -16.1666
|  | 1250 | -15.975
|  | 1250.5 | -15.9349
|  | 1251 | -15.7269
|  | 1251.5 | -15.6836
|  | 1252 | -15.5135
|  | 1252.5 | -15.4373
|  | 1253 | -15.279
|  | 1253.5 | -15.1845
|  | 1254 | -15.0752
|  | 1254.5 | -14.9663
|  | 1255 | -14.8555
|  | 1255.5 | -14.716
|  | 1256 | -14.6591
|  | 1256.5 | -14.5042
|  | 1257 | -14.4723
|  | 1257.5 | -14.3476
|  | 1258 | -14.2989
|  | 1258.5 | -14.1584
|  | 1259 | -14.1236
|  | 1259.5 | -14.0371
|  | 1260 | -13.993
|  | 1260.5 | -13.9091
|  | 1261 | -13.829
|  | 1261.5 | -13.7554
|  | 1262 | -13.6901
|  | 1262.5 | -13.7051
|  | 1263 | -13.5938
|  | 1263.5 | -13.5844
|  | 1264 | -13.4369
|  | 1264.5 | -13.4897
|  | 1265 | -13.3975
|  | 1265.5 | -13.4289
|  | 1266 | -13.3141
|  | 1266.5 | -13.3114
|  | 1267 | -13.2211
|  | 1267.5 | -13.2485
|  | 1268 | -13.2125
|  | 1268.5 | -13.18
|  | 1269 | -13.1201
|  | 1269.5 | -13.0743
|  | 1270 | -13.083
|  | 1270.5 | -13.0496
|  | 1271 | -13.0359
|  | 1271.5 | -12.9206
|  | 1272 | -12.9518
|  | 1272.5 | -12.8685
|  | 1273 | -12.9638
|  | 1273.5 | -12.8766
|  | 1274 | -12.8839
|  | 1274.5 | -12.7506
|  | 1275 | -12.7952
|  | 1275.5 | -12.7656
|  | 1276 | -12.835
|  | 1276.5 | -12.7491
|  | 1277 | -12.7399
|  | 1277.5 | -12.6935
|  | 1278 | -12.7429
|  | 1278.5 | -12.7352
|  | 1279 | -12.7578
|  | 1279.5 | -12.687
|  | 1280 | -12.6738
|  | 1280.5 | -12.7333
|  | 1281 | -12.7754
|  | 1281.5 | -12.8111
|  | 1282 | -12.7561
|  | 1282.5 | -12.7192
|  | 1283 | -12.7439
|  | 1283.5 | -12.8537
|  | 1284 | -12.8571
|  | 1284.5 | -12.881
|  | 1285 | -12.8302
|  | 1285.5 | -12.9042
|  | 1286 | -12.9093
|  | 1286.5 | -13.0297
|  | 1287 | -12.9972
|  | 1287.5 | -13.0026
|  | 1288 | -12.9691
|  | 1288.5 | -13.1096
|  | 1289 | -13.1345
|  | 1289.5 | -13.2341
|  | 1290 | -13.1761
|  | 1290.5 | -13.2226
|  | 1291 | -13.2276
|  | 1291.5 | -13.3532
|  | 1292 | -13.3675
|  | 1292.5 | -13.4239
|  | 1293 | -13.3944
|  | 1293.5 | -13.4675
|  | 1294 | -13.5239
|  | 1294.5 | -13.6421
|  | 1295 | -13.6484
|  | 1295.5 | -13.7119
|  | 1296 | -13.6643
|  | 1296.5 | -13.7833
|  | 1297 | -13.8155
|  | 1297.5 | -13.9319
|  | 1298 | -13.9424
|  | 1298.5 | -13.9886
|  | 1299 | -13.9929
|  | 1299.5 | -14.1325
|  | 1300 | -14.2013
|  | 1300.5 | -14.2806
|  | 1301 | -14.2971
|  | 1301.5 | -14.3699
|  | 1302 | -14.3931
|  | 1302.5 | -14.5355
|  | 1303 | -14.5688
|  | 1303.5 | -14.6645
|  | 1304 | -14.6711
|  | 1304.5 | -14.7824
|  | 1305 | -14.8279
|  | 1305.5 | -14.9805
|  | 1306 | -15.0362
|  | 1306.5 | -15.1143
|  | 1307 | -15.1355
|  | 1307.5 | -15.2695
|  | 1308 | -15.3078
|  | 1308.5 | -15.4511
|  | 1309 | -15.4832
|  | 1309.5 | -15.5788
|  | 1310 | -15.6095
|  | 1310.5 | -15.7596
|  | 1311 | -15.8114
|  | 1311.5 | -15.9653
|  | 1312 | -16.0069
|  | 1312.5 | -16.1325
|  | 1313 | -16.1714
|  | 1313.5 | -16.3552
|  | 1314 | -16.4167
|  | 1314.5 | -16.5621
|  | 1315 | -16.6034
|  | 1315.5 | -16.7317
|  | 1316 | -16.8035
|  | 1316.5 | -16.9574
|  | 1317 | -17.0375
|  | 1317.5 | -17.1659
|  | 1318 | -17.2292
|  | 1318.5 | -17.3774
|  | 1319 | -17.4566
|  | 1319.5 | -17.6091
|  | 1320 | -17.7145
|  | 1320.5 | -17.8527
|  | 1321 | -17.9283
|  | 1321.5 | -18.0887
|  | 1322 | -18.1896
|  | 1322.5 | -18.337
|  | 1323 | -18.4712
|  | 1323.5 | -18.5952
|  | 1324 | -18.7055
|  | 1324.5 | -18.8161
|  | 1325 | -18.9785
|  | 1325.5 | -19.0616
|  | 1326 | -19.2283
|  | 1326.5 | -19.3291
|  | 1327 | -19.5349
|  | 1327.5 | -19.6268
|  | 1328 | -19.8086
|  | 1328.5 | -19.9368
|  | 1329 | -20.0996
|  | 1329.5 | -20.2002
|  | 1330 | -20.3692
|  | 1330.5 | -20.5072
|  | 1331 | -20.6768
|  | 1331.5 | -20.816
|  | 1332 | -21.0158
|  | 1332.5 | -21.1366
|  | 1333 | -21.312
|  | 1333.5 | -21.4448
|  | 1334 | -21.6564
|  | 1334.5 | -21.816
|  | 1335 | -22.0003
|  | 1335.5 | -22.1759
|  | 1336 | -22.363
|  | 1336.5 | -22.5433
|  | 1337 | -22.7148
|  | 1337.5 | -22.9309
|  | 1338 | -23.0717
|  | 1338.5 | -23.3026
|  | 1339 | -23.4414
|  | 1339.5 | -23.6686
|  | 1340 | -23.8443
|  | 1340.5 | -24.0859
|  | 1341 | -24.2569
|  | 1341.5 | -24.4415
|  | 1342 | -24.6442
|  | 1342.5 | -24.8286
|  | 1343 | -25.0255
|  | 1343.5 | -25.2384
|  | 1344 | -25.4597
|  | 1344.5 | -25.6592
|  | 1345 | -25.8693
|  | 1345.5 | -26.0165
|  | 1346 | -26.2667
|  | 1346.5 | -26.4224
|  | 1347 | -26.6901
|  | 1347.5 | -26.8619
|  | 1348 | -27.2801
|  | 1348.5 | -27.4001
|  | 1349 | -27.6286
|  | 1349.5 | -27.7687
|  | 1350 | -27.9646
|  | 1350.5 | -28.3027
|  | 1351 | -28.5282
|  | 1351.5 | -28.686
|  | 1352 | -28.8777
|  | 1352.5 | -28.9125
|  | 1353 | -29.1307
|  | 1353.5 | -29.4014
|  | 1354 | -29.4898
|  | 1354.5 | -29.7566
|  | 1355 | -30.3715
|  | 1355.5 | -30.4589
|  | 1356 | -30.7897
|  | 1356.5 | -30.8552
|  | 1357 | -30.8059
|  | 1357.5 | -31.4949
|  | 1358 | -31.4496
|  | 1358.5 | -31.6606
|  | 1359 | -31.9521
|  | 1359.5 | -32.1589
|  | 1360 | -32.8671
|  | 1360.5 | -32.5182
|  | 1361 | -33.0892
|  | 1361.5 | -33.4991
|  | 1362 | -33.9193
|  | 1362.5 | -34.5493
|  | 1363 | -34.4926
|  | 1363.5 | -33.9641
|  | 1364 | -34.1594
|  | 1364.5 | -34.7279
|  | 1365 | -35.7106
|  | 1365.5 | -35.4864
|  | 1366 | -35.6297
|  | 1366.5 | -35.4381
|  | 1367 | -35.881
|  | 1367.5 | -36.2168
|  | 1368 | -36.8502
|  | 1368.5 | -36.9358
|  | 1369 | -37.4108
|  | 1369.5 | -37.0356
|  | 1370 | -37.4169
|  | 1370.5 | -37.7673
|  | 1371 | -37.9771
|  | 1371.5 | -38.464
|  | 1372 | -38.3135
|  | 1372.5 | -38.7385
|  | 1373 | -38.6869
|  | 1373.5 | -38.8935
|  | 1374 | -39.1268
|  | 1374.5 | -39.1643
|  | 1375 | -39.4622
|  | 1375.5 | -39.6599
|  | 1376 | -39.7722
|  | 1376.5 | -40.021
|  | 1377 | -40.2093
|  | 1377.5 | -40.4975
|  | 1378 | -40.4268
|  | 1378.5 | -40.593
|  | 1379 | -41.0608
|  | 1379.5 | -40.9842
|  | 1380 | -40.9946
|  | 1380.5 | -41.3056
|  | 1381 | -41.9149
|  | 1381.5 | -41.6885
|  | 1382 | -41.5631
|  | 1382.5 | -41.7865
|  | 1383 | -42.3838
|  | 1383.5 | -42.137
|  | 1384 | -42.1046
|  | 1384.5 | -42.1942
|  | 1385 | -42.2406
|  | 1385.5 | -42.4553
|  | 1386 | -42.4518
|  | 1386.5 | -42.5033
|  | 1387 | -42.5682
|  | 1387.5 | -42.5965
|  | 1388 | -42.7474
|  | 1388.5 | -42.9663
|  | 1389 | -42.8477
|  | 1389.5 | -42.8551
|  | 1390 | -42.9456
|  | 1390.5 | -42.972
|  | 1391 | -43.0192
|  | 1391.5 | -43.0352
|  | 1392 | -43.0644
|  | 1392.5 | -43.2026
|  | 1393 | -43.2381
|  | 1393.5 | -43.1165
|  | 1394 | -43.134
|  | 1394.5 | -43.1252
|  | 1395 | -43.2034
|  | 1395.5 | -43.261
|  | 1396 | -43.1977
|  | 1396.5 | -43.2396
|  | 1397 | -43.2273
|  | 1397.5 | -43.1784
|  | 1398 | -43.1612
|  | 1398.5 | -43.137
|  | 1399 | -43.1549
|  | 1399.5 | -43.1466
|  | 1400 | -43.1941
|  | 1400.5 | -43.1703
|  | 1401 | -43.2123
|  | 1401.5 | -43.1772
|  | 1402 | -43.1413
|  | 1402.5 | -43.1397
|  | 1403 | -43.1441
|  | 1403.5 | -43.1129
|  | 1404 | -43.1432
|  | 1404.5 | -43.1259
|  | 1405 | -43.1517
|  | 1405.5 | -43.1728
|  | 1406 | -43.1127
|  | 1406.5 | -43.1224
|  | 1407 | -43.1269
|  | 1407.5 | -43.1413
|  | 1408 | -43.1349
|  | 1408.5 | -43.0911
|  | 1409 | -43.1153
|  | 1409.5 | -43.1154
|  | 1410 | -43.1193
|  | 1410.5 | -43.0784
|  | 1411 | -43.0711
|  | 1411.5 | -43.0815
|  | 1412 | -43.0428
|  | 1412.5 | -43.0751
|  | 1413 | -43.0444
|  | 1413.5 | -43.0405
|  | 1414 | -43.0504
|  | 1414.5 | -43.0296
|  | 1415 | -43.0318
|  | 1415.5 | -43.0138
|  | 1416 | -43.0092
|  | 1416.5 | -42.9948
|  | 1417 | -42.9778
|  | 1417.5 | -42.9957
|  | 1418 | -42.966
|  | 1418.5 | -42.9762
|  | 1419 | -42.9543
|  | 1419.5 | -42.9739
|  | 1420 | -42.9633
|  | 1420.5 | -42.9287
|  | 1421 | -42.93
|  | 1421.5 | -42.9093
|  | 1422 | -42.9251
|  | 1422.5 | -42.916
|  | 1423 | -42.9437
|  | 1423.5 | -42.9437
|  | 1424 | -42.9451
|  | 1424.5 | -42.9472
|  | 1425 | -42.929
|  | 1425.5 | -42.9524
|  | 1426 | -42.9378
|  | 1426.5 | -42.9713
|  | 1427 | -42.9594
|  | 1427.5 | -42.9744
|  | 1428 | -42.9969
|  | 1428.5 | -42.9644
|  | 1429 | -43.0097
|  | 1429.5 | -42.9708
|  | 1430 | -43.0092

## Spectrum with Seed
Sample Spectrum
|  | Wavelength (nm) | Intensity (dB)
|  | 1180 | -63.1639
|  | 1180.5 | -61.1163
|  | 1181 | -62.5675
|  | 1181.5 | -63.797
Product Raw Data |  | 1182 | -63.3804
1280 nm C-Band Booster Optical Amplifier, Butterfly Package, PM, FC/APC |  | 1182.5 | -63.4072
|  | 1183 | -64.3163
|  | 1183.5 | -63.8479
Item # | BOA1300P | 1184 | -63.1437
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1184.5 | -62.8451
|  | 1185 | -62.655
|  | 1185.5 | -65.9335
|  | 1186 | -62.3588
|  | 1186.5 | -64.0344
|  | 1187 | -62.3949
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1187.5 | -63.4654
|  | 1188 | -62.8215
|  | 1188.5 | -62.9006
|  | 1189 | -62.9873
Additional Information: |  | 1189.5 | -62.0436
T = 25 °C |  | 1190 | -63.5345
|  | 1190.5 | -62.7351
|  | 1191 | -65.1261
|  | 1191.5 | -62.9327
|  | 1192 | -64.1127
|  | 1192.5 | -63.1157
|  | 1193 | -62.6331
|  | 1193.5 | -62.2699
|  | 1194 | -62.5831
|  | 1194.5 | -63.2948
|  | 1195 | -63.6766
|  | 1195.5 | -62.6842
|  | 1196 | -63.8559
|  | 1196.5 | -61.662
|  | 1197 | -66.3485
|  | 1197.5 | -63.2566
|  | 1198 | -62.8445
|  | 1198.5 | -61.7318
|  | 1199 | -64.5451
|  | 1199.5 | -63.6588
|  | 1200 | -63.6927
|  | 1200.5 | -66.7303
|  | 1201 | -63.6676
|  | 1201.5 | -62.8886
|  | 1202 | -62.4311
|  | 1202.5 | -62.5829
|  | 1203 | -62.2382
|  | 1203.5 | -64.1666
|  | 1204 | -63.4258
|  | 1204.5 | -61.2161
|  | 1205 | -61.5156
|  | 1205.5 | -62.1487
|  | 1206 | -60.9773
|  | 1206.5 | -61.9104
|  | 1207 | -63.2262
|  | 1207.5 | -62.0451
|  | 1208 | -61.8158
|  | 1208.5 | -62.1639
|  | 1209 | -63.2806
|  | 1209.5 | -62.3283
|  | 1210 | -61.4463
|  | 1210.5 | -63.2515
|  | 1211 | -61.8137
|  | 1211.5 | -62.75
|  | 1212 | -60.8202
|  | 1212.5 | -61.8702
|  | 1213 | -63.0436
|  | 1213.5 | -62.6144
|  | 1214 | -62.0835
|  | 1214.5 | -62.4502
|  | 1215 | -62.9947
|  | 1215.5 | -61.3698
|  | 1216 | -60.9981
|  | 1216.5 | -62.0678
|  | 1217 | -60.9222
|  | 1217.5 | -61.8166
|  | 1218 | -61.5271
|  | 1218.5 | -63.4929
|  | 1219 | -61.4788
|  | 1219.5 | -63.5041
|  | 1220 | -61.7853
|  | 1220.5 | -59.7956
|  | 1221 | -62.6228
|  | 1221.5 | -61.6011
|  | 1222 | -61.6589
|  | 1222.5 | -62.5998
|  | 1223 | -61.7907
|  | 1223.5 | -61.866
|  | 1224 | -61.6852
|  | 1224.5 | -60.4028
|  | 1225 | -63.2611
|  | 1225.5 | -61.5078
|  | 1226 | -61.8292
|  | 1226.5 | -61.4396
|  | 1227 | -62.2411
|  | 1227.5 | -62.5426
|  | 1228 | -61.5895
|  | 1228.5 | -63.3702
|  | 1229 | -62.4669
|  | 1229.5 | -62.3981
|  | 1230 | -61.7375
|  | 1230.5 | -60.7975
|  | 1231 | -61.797
|  | 1231.5 | -61.2265
|  | 1232 | -61.1263
|  | 1232.5 | -62.5653
|  | 1233 | -61.7193
|  | 1233.5 | -62.0311
|  | 1234 | -63.2012
|  | 1234.5 | -62.056
|  | 1235 | -63.7101
|  | 1235.5 | -63.3994
|  | 1236 | -60.7181
|  | 1236.5 | -61.5994
|  | 1237 | -61.5891
|  | 1237.5 | -61.9885
|  | 1238 | -62.8321
|  | 1238.5 | -63.554
|  | 1239 | -62.0405
|  | 1239.5 | -61.3182
|  | 1240 | -62.3653
|  | 1240.5 | -62.2035
|  | 1241 | -60.9088
|  | 1241.5 | -61.2141
|  | 1242 | -61.9077
|  | 1242.5 | -61.2161
|  | 1243 | -62.1913
|  | 1243.5 | -62.4613
|  | 1244 | -60.866
|  | 1244.5 | -61.1223
|  | 1245 | -62.4719
|  | 1245.5 | -61.4628
|  | 1246 | -61.3286
|  | 1246.5 | -60.108
|  | 1247 | -60.9292
|  | 1247.5 | -62.0913
|  | 1248 | -62.1833
|  | 1248.5 | -61.7492
|  | 1249 | -61.3838
|  | 1249.5 | -60.7194
|  | 1250 | -61.0507
|  | 1250.5 | -61.1432
|  | 1251 | -61.3816
|  | 1251.5 | -61.0923
|  | 1252 | -61.1442
|  | 1252.5 | -62.2153
|  | 1253 | -60.8093
|  | 1253.5 | -60.6561
|  | 1254 | -61.5606
|  | 1254.5 | -62.6838
|  | 1255 | -63.4853
|  | 1255.5 | -61.5348
|  | 1256 | -62.0761
|  | 1256.5 | -61.9987
|  | 1257 | -61.6544
|  | 1257.5 | -60.9103
|  | 1258 | -61.752
|  | 1258.5 | -62.2124
|  | 1259 | -60.9078
|  | 1259.5 | -60.9203
|  | 1260 | -61.708
|  | 1260.5 | -60.9952
|  | 1261 | -61.6863
|  | 1261.5 | -61.5505
|  | 1262 | -61.0035
|  | 1262.5 | -60.2713
|  | 1263 | -61.1881
|  | 1263.5 | -60.8759
|  | 1264 | -61.9932
|  | 1264.5 | -60.8945
|  | 1265 | -61.264
|  | 1265.5 | -60.5591
|  | 1266 | -61.2345
|  | 1266.5 | -60.4868
|  | 1267 | -60.5601
|  | 1267.5 | -60.8704
|  | 1268 | -61.0192
|  | 1268.5 | -60.4483
|  | 1269 | -60.1445
|  | 1269.5 | -60.0334
|  | 1270 | -60.0831
|  | 1270.5 | -59.2956
|  | 1271 | -59.6006
|  | 1271.5 | -58.9287
|  | 1272 | -58.8344
|  | 1272.5 | -58.9513
|  | 1273 | -58.9709
|  | 1273.5 | -58.0114
|  | 1274 | -56.9287
|  | 1274.5 | -58.7198
|  | 1275 | -58.302
|  | 1275.5 | -57.6869
|  | 1276 | -56.4695
|  | 1276.5 | -56.2572
|  | 1277 | -56.4516
|  | 1277.5 | -55.7338
|  | 1278 | -55.3386
|  | 1278.5 | -54.9477
|  | 1279 | -55.162
|  | 1279.5 | -55.0074
|  | 1280 | -54.045
|  | 1280.5 | -53.9516
|  | 1281 | -53.9061
|  | 1281.5 | -53.6936
|  | 1282 | -52.9397
|  | 1282.5 | -52.3473
|  | 1283 | -52.3503
|  | 1283.5 | -52.0554
|  | 1284 | -51.3208
|  | 1284.5 | -50.8872
|  | 1285 | -51.0383
|  | 1285.5 | -50.7199
|  | 1286 | -49.753
|  | 1286.5 | -49.1745
|  | 1287 | -49.2852
|  | 1287.5 | -49.3566
|  | 1288 | -48.4937
|  | 1288.5 | -47.7851
|  | 1289 | -47.678
|  | 1289.5 | -47.5858
|  | 1290 | -46.894
|  | 1290.5 | -46.5235
|  | 1291 | -46.491
|  | 1291.5 | -46.1525
|  | 1292 | -45.3026
|  | 1292.5 | -44.903
|  | 1293 | -45.0976
|  | 1293.5 | -44.9803
|  | 1294 | -44.1908
|  | 1294.5 | -43.6318
|  | 1295 | -43.481
|  | 1295.5 | -43.2457
|  | 1296 | -42.8552
|  | 1296.5 | -42.4358
|  | 1297 | -42.3867
|  | 1297.5 | -41.8689
|  | 1298 | -41.0719
|  | 1298.5 | -40.9272
|  | 1299 | -41.0393
|  | 1299.5 | -40.6735
|  | 1300 | -40.0972
|  | 1300.5 | -39.9082
|  | 1301 | -39.7059
|  | 1301.5 | -39.3391
|  | 1302 | -39.2128
|  | 1302.5 | -39.2871
|  | 1303 | -38.9525
|  | 1303.5 | -38.7515
|  | 1304 | -38.6791
|  | 1304.5 | -38.7276
|  | 1305 | -38.7114
|  | 1305.5 | -38.7647
|  | 1306 | -38.7368
|  | 1306.5 | -38.7675
|  | 1307 | -38.7901
|  | 1307.5 | -39.0279
|  | 1308 | -39.2671
|  | 1308.5 | -39.4526
|  | 1309 | -39.6029
|  | 1309.5 | -39.8018
|  | 1310 | -39.7733
|  | 1310.5 | 2.6235
|  | 1311 | 7.6203
|  | 1311.5 | -3.179
|  | 1312 | -37.6206
|  | 1312.5 | -37.6843
|  | 1313 | -37.7856
|  | 1313.5 | -37.7918
|  | 1314 | -37.8559
|  | 1314.5 | -37.8359
|  | 1315 | -37.6996
|  | 1315.5 | -37.5612
|  | 1316 | -37.4481
|  | 1316.5 | -37.4585
|  | 1317 | -37.4004
|  | 1317.5 | -37.3722
|  | 1318 | -37.26
|  | 1318.5 | -37.1596
|  | 1319 | -37.1334
|  | 1319.5 | -37.0693
|  | 1320 | -37.1501
|  | 1320.5 | -37.1449
|  | 1321 | -37.1046
|  | 1321.5 | -37.1967
|  | 1322 | -37.1599
|  | 1322.5 | -37.2274
|  | 1323 | -37.3455
|  | 1323.5 | -37.3641
|  | 1324 | -37.492
|  | 1324.5 | -37.5994
|  | 1325 | -37.6385
|  | 1325.5 | -37.7684
|  | 1326 | -37.9075
|  | 1326.5 | -37.9492
|  | 1327 | -38.0968
|  | 1327.5 | -38.2252
|  | 1328 | -38.2513
|  | 1328.5 | -38.3483
|  | 1329 | -38.5157
|  | 1329.5 | -38.5519
|  | 1330 | -38.5818
|  | 1330.5 | -38.7306
|  | 1331 | -38.7919
|  | 1331.5 | -38.7963
|  | 1332 | -38.8928
|  | 1332.5 | -39.0137
|  | 1333 | -39.0125
|  | 1333.5 | -39.1048
|  | 1334 | -39.3062
|  | 1334.5 | -39.3604
|  | 1335 | -39.3979
|  | 1335.5 | -39.5258
|  | 1336 | -39.6639
|  | 1336.5 | -39.7489
|  | 1337 | -39.9441
|  | 1337.5 | -40.1733
|  | 1338 | -40.2397
|  | 1338.5 | -40.2883
|  | 1339 | -40.4385
|  | 1339.5 | -40.6423
|  | 1340 | -40.8047
|  | 1340.5 | -41.0285
|  | 1341 | -41.2256
|  | 1341.5 | -41.2881
|  | 1342 | -41.3656
|  | 1342.5 | -41.6082
|  | 1343 | -41.872
|  | 1343.5 | -42.0773
|  | 1344 | -42.2897
|  | 1344.5 | -42.4776
|  | 1345 | -42.5775
|  | 1345.5 | -42.7762
|  | 1346 | -43.1182
|  | 1346.5 | -43.4841
|  | 1347 | -43.698
|  | 1347.5 | -43.9682
|  | 1348 | -44.2495
|  | 1348.5 | -44.4784
|  | 1349 | -44.7994
|  | 1349.5 | -45.1567
|  | 1350 | -45.6023
|  | 1350.5 | -45.9858
|  | 1351 | -46.147
|  | 1351.5 | -46.5438
|  | 1352 | -46.9522
|  | 1352.5 | -47.4897
|  | 1353 | -48.0108
|  | 1353.5 | -48.3639
|  | 1354 | -48.6285
|  | 1354.5 | -49.1194
|  | 1355 | -49.6359
|  | 1355.5 | -50.0308
|  | 1356 | -50.7372
|  | 1356.5 | -50.8601
|  | 1357 | -51.502
|  | 1357.5 | -51.5635
|  | 1358 | -51.9292
|  | 1358.5 | -52.47
|  | 1359 | -52.9218
|  | 1359.5 | -54.0732
|  | 1360 | -53.9486
|  | 1360.5 | -54.1705
|  | 1361 | -54.9148
|  | 1361.5 | -55.4696
|  | 1362 | -55.8517
|  | 1362.5 | -56.5449
|  | 1363 | -56.5243
|  | 1363.5 | -56.5091
|  | 1364 | -56.8242
|  | 1364.5 | -57.4161
|  | 1365 | -58.1507
|  | 1365.5 | -57.912
|  | 1366 | -58.4128
|  | 1366.5 | -58.1724
|  | 1367 | -58.508
|  | 1367.5 | -59.3471
|  | 1368 | -59.1221
|  | 1368.5 | -60.745
|  | 1369 | -60.3351
|  | 1369.5 | -60.1963
|  | 1370 | -61.0335
|  | 1370.5 | -60.2441
|  | 1371 | -61.8454
|  | 1371.5 | -61.4372
|  | 1372 | -61.0442
|  | 1372.5 | -60.7286
|  | 1373 | -61.6745
|  | 1373.5 | -61.3232
|  | 1374 | -62.4297
|  | 1374.5 | -62.7244
|  | 1375 | -60.3665
|  | 1375.5 | -61.963
|  | 1376 | -60.6881
|  | 1376.5 | -60.8306
|  | 1377 | -61.1773
|  | 1377.5 | -61.2642
|  | 1378 | -62.5774
|  | 1378.5 | -62.5114
|  | 1379 | -61.5532
|  | 1379.5 | -65.1931
|  | 1380 | -62.2682
|  | 1380.5 | -62.6217
|  | 1381 | -61.7382
|  | 1381.5 | -62.6859
|  | 1382 | -62.2513
|  | 1382.5 | -63.7094
|  | 1383 | -61.2856
|  | 1383.5 | -61.7
|  | 1384 | -61.9968
|  | 1384.5 | -62.2467
|  | 1385 | -61.7349
|  | 1385.5 | -62.3858
|  | 1386 | -61.0468
|  | 1386.5 | -61.1577
|  | 1387 | -62.3287
|  | 1387.5 | -62.4206
|  | 1388 | -61.5695
|  | 1388.5 | -62.3051
|  | 1389 | -62.3098
|  | 1389.5 | -62.7055
|  | 1390 | -62.2843
|  | 1390.5 | -62.6036
|  | 1391 | -62.9636
|  | 1391.5 | -60.7334
|  | 1392 | -62.7294
|  | 1392.5 | -61.7545
|  | 1393 | -61.9023
|  | 1393.5 | -61.9377
|  | 1394 | -62.2062
|  | 1394.5 | -62.4869
|  | 1395 | -61.7618
|  | 1395.5 | -63.1058
|  | 1396 | -61.4432
|  | 1396.5 | -63.3623
|  | 1397 | -62.9176
|  | 1397.5 | -62.9148
|  | 1398 | -61.7302
|  | 1398.5 | -62.1965
|  | 1399 | -62.1569
|  | 1399.5 | -61.1266
|  | 1400 | -62.042
|  | 1400.5 | -61.9883
|  | 1401 | -62.7988
|  | 1401.5 | -61.5769
|  | 1402 | -62.2397
|  | 1402.5 | -61.1757
|  | 1403 | -63.3549
|  | 1403.5 | -62.7071
|  | 1404 | -61.948
|  | 1404.5 | -62.9377
|  | 1405 | -61.5389
|  | 1405.5 | -64.2677
|  | 1406 | -64.0761
|  | 1406.5 | -61.6307
|  | 1407 | -63.7178
|  | 1407.5 | -62.1515
|  | 1408 | -62.2488
|  | 1408.5 | -61.7813
|  | 1409 | -62.4703
|  | 1409.5 | -64.0391
|  | 1410 | -63.1962
|  | 1410.5 | -64.5137
|  | 1411 | -60.9175
|  | 1411.5 | -63.135
|  | 1412 | -62.7686
|  | 1412.5 | -63.3272
|  | 1413 | -64.9509
|  | 1413.5 | -62.0363
|  | 1414 | -61.4402
|  | 1414.5 | -63.6467
|  | 1415 | -63.058
|  | 1415.5 | -62.9458
|  | 1416 | -62.1372
|  | 1416.5 | -63.2321
|  | 1417 | -62.4494
|  | 1417.5 | -64.1267
|  | 1418 | -64.1026
|  | 1418.5 | -63.7004
|  | 1419 | -62.2512
|  | 1419.5 | -64.6338
|  | 1420 | -63.0827
|  | 1420.5 | -64.9289
|  | 1421 | -62.7945
|  | 1421.5 | -64.8293
|  | 1422 | -62.7531
|  | 1422.5 | -63.3131
|  | 1423 | -65.1744
|  | 1423.5 | -63.0567
|  | 1424 | -63.9956
|  | 1424.5 | -64.1409
|  | 1425 | -64.2174
|  | 1425.5 | -63.3788
|  | 1426 | -64.3969
|  | 1426.5 | -62.1771
|  | 1427 | -63.565
|  | 1427.5 | -65.4059
|  | 1428 | -62.8763
|  | 1428.5 | -62.6329
|  | 1429 | -63.4286
|  | 1429.5 | -64.9917
|  | 1430 | -63.4776

## Ripple
Sample Spectrum
|  | Wavelength (nm) | Intensity (dB)
|  | 1273 | -23.4949
|  | 1273.01 | -23.4797
|  | 1273.02 | -23.4865
|  | 1273.03 | -23.4745
Product Raw Data |  | 1273.04 | -23.4612
1280 nm C-Band Booster Optical Amplifier, Butterfly Package, PM, FC/APC |  | 1273.05 | -23.4421
|  | 1273.0601 | -23.4045
|  | 1273.0699 | -23.389
Item # | BOA1300P | 1273.08 | -23.4028
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1273.09 | -23.3971
|  | 1273.1 | -23.3916
|  | 1273.11 | -23.3729
|  | 1273.12 | -23.3235
|  | 1273.13 | -23.2886
|  | 1273.14 | -23.2842
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1273.15 | -23.3188
|  | 1273.16 | -23.3417
|  | 1273.17 | -23.3308
|  | 1273.1801 | -23.2929
Additional Information: |  | 1273.1899 | -23.2657
T = 25 °C, I = 1700 mA |  | 1273.2 | -23.255
|  | 1273.21 | -23.2744
|  | 1273.22 | -23.3103
|  | 1273.23 | -23.3585
|  | 1273.24 | -23.3567
|  | 1273.25 | -23.3563
|  | 1273.26 | -23.3176
|  | 1273.27 | -23.3079
|  | 1273.28 | -23.3344
|  | 1273.29 | -23.3819
|  | 1273.3 | -23.4133
|  | 1273.3101 | -23.4446
|  | 1273.3199 | -23.4308
|  | 1273.33 | -23.4064
|  | 1273.34 | -23.3929
|  | 1273.35 | -23.3966
|  | 1273.36 | -23.4347
|  | 1273.37 | -23.4704
|  | 1273.38 | -23.4965
|  | 1273.39 | -23.4774
|  | 1273.4 | -23.4428
|  | 1273.41 | -23.4001
|  | 1273.42 | -23.3969
|  | 1273.4301 | -23.4146
|  | 1273.4399 | -23.4445
|  | 1273.45 | -23.4629
|  | 1273.46 | -23.4581
|  | 1273.47 | -23.4263
|  | 1273.48 | -23.4003
|  | 1273.49 | -23.3731
|  | 1273.5 | -23.3928
|  | 1273.51 | -23.4176
|  | 1273.52 | -23.4489
|  | 1273.53 | -23.4594
|  | 1273.54 | -23.4508
|  | 1273.55 | -23.4192
|  | 1273.5601 | -23.4226
|  | 1273.5699 | -23.4533
|  | 1273.58 | -23.5052
|  | 1273.59 | -23.5431
|  | 1273.6 | -23.537
|  | 1273.61 | -23.5121
|  | 1273.62 | -23.4861
|  | 1273.63 | -23.529
|  | 1273.64 | -23.5886
|  | 1273.65 | -23.655
|  | 1273.66 | -23.6614
|  | 1273.67 | -23.6178
|  | 1273.6801 | -23.5526
|  | 1273.6899 | -23.541
|  | 1273.7 | -23.5782
|  | 1273.71 | -23.632
|  | 1273.72 | -23.6732
|  | 1273.73 | -23.6256
|  | 1273.74 | -23.5301
|  | 1273.75 | -23.4379
|  | 1273.76 | -23.4306
|  | 1273.77 | -23.4755
|  | 1273.78 | -23.5421
|  | 1273.79 | -23.5348
|  | 1273.8 | -23.4817
|  | 1273.8101 | -23.3822
|  | 1273.8199 | -23.2968
|  | 1273.83 | -23.2563
|  | 1273.84 | -23.2978
|  | 1273.85 | -23.3567
|  | 1273.86 | -23.3906
|  | 1273.87 | -23.3646
|  | 1273.88 | -23.2999
|  | 1273.89 | -23.2107
|  | 1273.9 | -23.1878
|  | 1273.91 | -23.2176
|  | 1273.92 | -23.2957
|  | 1273.9301 | -23.3738
|  | 1273.9399 | -23.3891
|  | 1273.95 | -23.3501
|  | 1273.96 | -23.3067
|  | 1273.97 | -23.292
|  | 1273.98 | -23.3265
|  | 1273.99 | -23.384
|  | 1274 | -23.4562
|  | 1274.01 | -23.4746
|  | 1274.02 | -23.4474
|  | 1274.03 | -23.4057
|  | 1274.04 | -23.3909
|  | 1274.05 | -23.4069
|  | 1274.0601 | -23.4282
|  | 1274.0699 | -23.4667
|  | 1274.08 | -23.4594
|  | 1274.09 | -23.4081
|  | 1274.1 | -23.3182
|  | 1274.11 | -23.2495
|  | 1274.12 | -23.2534
|  | 1274.13 | -23.2905
|  | 1274.14 | -23.336
|  | 1274.15 | -23.334
|  | 1274.16 | -23.2302
|  | 1274.17 | -23.1075
|  | 1274.1801 | -23.0145
|  | 1274.1899 | -23.018
|  | 1274.2 | -23.0687
|  | 1274.21 | -23.1517
|  | 1274.22 | -23.1812
|  | 1274.23 | -23.1275
|  | 1274.24 | -23.029
|  | 1274.25 | -22.9229
|  | 1274.26 | -22.9078
|  | 1274.27 | -22.9863
|  | 1274.28 | -23.0861
|  | 1274.29 | -23.181
|  | 1274.3 | -23.1878
|  | 1274.3101 | -23.1334
|  | 1274.3199 | -23.0815
|  | 1274.33 | -23.0745
|  | 1274.34 | -23.1445
|  | 1274.35 | -23.2542
|  | 1274.36 | -23.3785
|  | 1274.37 | -23.4312
|  | 1274.38 | -23.4301
|  | 1274.39 | -23.3661
|  | 1274.4 | -23.3268
|  | 1274.41 | -23.3448
|  | 1274.42 | -23.4254
|  | 1274.4301 | -23.5112
|  | 1274.4399 | -23.6015
|  | 1274.45 | -23.6063
|  | 1274.46 | -23.5372
|  | 1274.47 | -23.4759
|  | 1274.48 | -23.4338
|  | 1274.49 | -23.4555
|  | 1274.5 | -23.5185
|  | 1274.51 | -23.5669
|  | 1274.52 | -23.5516
|  | 1274.53 | -23.4751
|  | 1274.54 | -23.3874
|  | 1274.55 | -23.3658
|  | 1274.5601 | -23.3838
|  | 1274.5699 | -23.4278
|  | 1274.58 | -23.4311
|  | 1274.59 | -23.3741
|  | 1274.6 | -23.3036
|  | 1274.61 | -23.2501
|  | 1274.62 | -23.2711
|  | 1274.63 | -23.3455
|  | 1274.64 | -23.409
|  | 1274.65 | -23.4159
|  | 1274.66 | -23.3497
|  | 1274.67 | -23.2858
|  | 1274.6801 | -23.3003
|  | 1274.6899 | -23.3796
|  | 1274.7 | -23.4874
|  | 1274.71 | -23.5357
|  | 1274.72 | -23.4835
|  | 1274.73 | -23.4185
|  | 1274.74 | -23.3751
|  | 1274.75 | -23.4024
|  | 1274.76 | -23.4838
|  | 1274.77 | -23.5512
|  | 1274.78 | -23.5607
|  | 1274.79 | -23.4961
|  | 1274.8 | -23.3762
|  | 1274.8101 | -23.3168
|  | 1274.8199 | -23.3254
|  | 1274.83 | -23.3871
|  | 1274.84 | -23.4409
|  | 1274.85 | -23.448
|  | 1274.86 | -23.3881
|  | 1274.87 | -23.2718
|  | 1274.88 | -23.2227
|  | 1274.89 | -23.212
|  | 1274.9 | -23.24
|  | 1274.91 | -23.2888
|  | 1274.92 | -23.2942
|  | 1274.9301 | -23.2598
|  | 1274.9399 | -23.1932
|  | 1274.95 | -23.1202
|  | 1274.96 | -23.0897
|  | 1274.97 | -23.1007
|  | 1274.98 | -23.1575
|  | 1274.99 | -23.2002
|  | 1275 | -23.2183
|  | 1275.01 | -23.1921
|  | 1275.02 | -23.1537
|  | 1275.03 | -23.1389
|  | 1275.04 | -23.1536
|  | 1275.05 | -23.195
|  | 1275.0601 | -23.2558
|  | 1275.0699 | -23.2913
|  | 1275.08 | -23.3011
|  | 1275.09 | -23.2715
|  | 1275.1 | -23.2494
|  | 1275.11 | -23.2599
|  | 1275.12 | -23.303
|  | 1275.13 | -23.3529
|  | 1275.14 | -23.3966
|  | 1275.15 | -23.3877
|  | 1275.16 | -23.3413
|  | 1275.17 | -23.3094
|  | 1275.1801 | -23.2987
|  | 1275.1899 | -23.3426
|  | 1275.2 | -23.3854
|  | 1275.21 | -23.3982
|  | 1275.22 | -23.3501
|  | 1275.23 | -23.2866
|  | 1275.24 | -23.2233
|  | 1275.25 | -23.214
|  | 1275.26 | -23.2403
|  | 1275.27 | -23.2773
|  | 1275.28 | -23.2774
|  | 1275.29 | -23.257
|  | 1275.3 | -23.2134
|  | 1275.3101 | -23.1691
|  | 1275.3199 | -23.1714
|  | 1275.33 | -23.2045
|  | 1275.34 | -23.2439
|  | 1275.35 | -23.2773
|  | 1275.36 | -23.2823
|  | 1275.37 | -23.259
|  | 1275.38 | -23.2314
|  | 1275.39 | -23.2476
|  | 1275.4 | -23.2986
|  | 1275.41 | -23.3554
|  | 1275.42 | -23.3925
|  | 1275.4301 | -23.4155
|  | 1275.4399 | -23.4044
|  | 1275.45 | -23.4088
|  | 1275.46 | -23.4361
|  | 1275.47 | -23.4715
|  | 1275.48 | -23.5162
|  | 1275.49 | -23.5568
|  | 1275.5 | -23.5674
|  | 1275.51 | -23.557
|  | 1275.52 | -23.5589
|  | 1275.53 | -23.5719
|  | 1275.54 | -23.5886
|  | 1275.55 | -23.621
|  | 1275.5601 | -23.6172
|  | 1275.5699 | -23.5954
|  | 1275.58 | -23.5619
|  | 1275.59 | -23.5374
|  | 1275.6 | -23.5171
|  | 1275.61 | -23.5203
|  | 1275.62 | -23.5199
|  | 1275.63 | -23.513
|  | 1275.64 | -23.4793
|  | 1275.65 | -23.4401
|  | 1275.66 | -23.3976
|  | 1275.67 | -23.3864
|  | 1275.6801 | -23.3878
|  | 1275.6899 | -23.3946
|  | 1275.7 | -23.3918
|  | 1275.71 | -23.3544
|  | 1275.72 | -23.3092
|  | 1275.73 | -23.3065
|  | 1275.74 | -23.3277
|  | 1275.75 | -23.375
|  | 1275.76 | -23.3966
|  | 1275.77 | -23.396
|  | 1275.78 | -23.3845
|  | 1275.79 | -23.3638
|  | 1275.8 | -23.3769
|  | 1275.8101 | -23.4233
|  | 1275.8199 | -23.4627
|  | 1275.83 | -23.4804
|  | 1275.84 | -23.466
|  | 1275.85 | -23.4469
|  | 1275.86 | -23.4289
|  | 1275.87 | -23.4397
|  | 1275.88 | -23.4672
|  | 1275.89 | -23.4813
|  | 1275.9 | -23.4518
|  | 1275.91 | -23.4039
|  | 1275.92 | -23.3572
|  | 1275.9301 | -23.3331
|  | 1275.9399 | -23.3382
|  | 1275.95 | -23.3635
|  | 1275.96 | -23.3592
|  | 1275.97 | -23.3224
|  | 1275.98 | -23.2567
|  | 1275.99 | -23.2091
|  | 1276 | -23.1828
|  | 1276.01 | -23.1975
|  | 1276.02 | -23.2303
|  | 1276.03 | -23.2488
|  | 1276.04 | -23.2316
|  | 1276.05 | -23.1763
|  | 1276.0601 | -23.1255
|  | 1276.0699 | -23.1078
|  | 1276.08 | -23.1361
|  | 1276.09 | -23.1829
|  | 1276.1 | -23.2177
|  | 1276.11 | -23.2276
|  | 1276.12 | -23.1849
|  | 1276.13 | -23.1475
|  | 1276.14 | -23.1476
|  | 1276.15 | -23.1773
|  | 1276.16 | -23.2374
|  | 1276.17 | -23.2996
|  | 1276.1801 | -23.3193
|  | 1276.1899 | -23.3131
|  | 1276.2 | -23.2828
|  | 1276.21 | -23.2472
|  | 1276.22 | -23.2655
|  | 1276.23 | -23.3176
|  | 1276.24 | -23.3878
|  | 1276.25 | -23.4295
|  | 1276.26 | -23.418
|  | 1276.27 | -23.3614
|  | 1276.28 | -23.311
|  | 1276.29 | -23.2743
|  | 1276.3 | -23.2959
|  | 1276.3101 | -23.3415
|  | 1276.3199 | -23.382
|  | 1276.33 | -23.3933
|  | 1276.34 | -23.3449
|  | 1276.35 | -23.2709
|  | 1276.36 | -23.2236
|  | 1276.37 | -23.2238
|  | 1276.38 | -23.2731
|  | 1276.39 | -23.3339
|  | 1276.4 | -23.3435
|  | 1276.41 | -23.3117
|  | 1276.42 | -23.2424
|  | 1276.4301 | -23.207
|  | 1276.4399 | -23.2193
|  | 1276.45 | -23.2877
|  | 1276.46 | -23.3539
|  | 1276.47 | -23.4057
|  | 1276.48 | -23.3914
|  | 1276.49 | -23.3348
|  | 1276.5 | -23.2975
|  | 1276.51 | -23.3282
|  | 1276.52 | -23.4081
|  | 1276.53 | -23.5012
|  | 1276.54 | -23.5361
|  | 1276.55 | -23.4847
|  | 1276.5601 | -23.4412
|  | 1276.5699 | -23.4077
|  | 1276.58 | -23.4502
|  | 1276.59 | -23.5245
|  | 1276.6 | -23.5753
|  | 1276.61 | -23.5544
|  | 1276.62 | -23.4838
|  | 1276.63 | -23.4188
|  | 1276.64 | -23.4053
|  | 1276.65 | -23.4492
|  | 1276.66 | -23.4991
|  | 1276.67 | -23.5103
|  | 1276.6801 | -23.453
|  | 1276.6899 | -23.3525
|  | 1276.7 | -23.2738
|  | 1276.71 | -23.2587
|  | 1276.72 | -23.299
|  | 1276.73 | -23.3711
|  | 1276.74 | -23.3844
|  | 1276.75 | -23.3267
|  | 1276.76 | -23.2077
|  | 1276.77 | -23.0952
|  | 1276.78 | -23.0735
|  | 1276.79 | -23.1683
|  | 1276.8 | -23.252
|  | 1276.8101 | -23.319
|  | 1276.8199 | -23.2532
|  | 1276.83 | -23.1277
|  | 1276.84 | -23.0621
|  | 1276.85 | -23.0587
|  | 1276.86 | -23.1523
|  | 1276.87 | -23.2709
|  | 1276.88 | -23.3233
|  | 1276.89 | -23.2814
|  | 1276.9 | -23.1752
|  | 1276.91 | -23.0931
|  | 1276.92 | -23.0821
|  | 1276.9301 | -23.1463
|  | 1276.9399 | -23.2368
|  | 1276.95 | -23.2919
|  | 1276.96 | -23.2774
|  | 1276.97 | -23.1817
|  | 1276.98 | -23.088
|  | 1276.99 | -23.0521
|  | 1277 | -23.089
|  | 1277.01 | -23.1565
|  | 1277.02 | -23.2277
|  | 1277.03 | -23.2164
|  | 1277.04 | -23.1455
|  | 1277.05 | -23.0614
|  | 1277.0601 | -23.0208
|  | 1277.0699 | -23.0504
|  | 1277.08 | -23.1402
|  | 1277.09 | -23.193
|  | 1277.1 | -23.2163
|  | 1277.11 | -23.185
|  | 1277.12 | -23.111
|  | 1277.13 | -23.0713
|  | 1277.14 | -23.0954
|  | 1277.15 | -23.1565
|  | 1277.16 | -23.2377
|  | 1277.17 | -23.297
|  | 1277.1801 | -23.2896
|  | 1277.1899 | -23.2379
|  | 1277.2 | -23.196
|  | 1277.21 | -23.1882
|  | 1277.22 | -23.2331
|  | 1277.23 | -23.3448
|  | 1277.24 | -23.4104
|  | 1277.25 | -23.4299
|  | 1277.26 | -23.3775
|  | 1277.27 | -23.2913
|  | 1277.28 | -23.2399
|  | 1277.29 | -23.2561
|  | 1277.3 | -23.3482
|  | 1277.3101 | -23.4307
|  | 1277.3199 | -23.4779
|  | 1277.33 | -23.4422
|  | 1277.34 | -23.3339
|  | 1277.35 | -23.2492
|  | 1277.36 | -23.2312
|  | 1277.37 | -23.2872
|  | 1277.38 | -23.3848
|  | 1277.39 | -23.4096
|  | 1277.4 | -23.372
|  | 1277.41 | -23.269
|  | 1277.42 | -23.1817
|  | 1277.4301 | -23.1567
|  | 1277.4399 | -23.1904
|  | 1277.45 | -23.2784
|  | 1277.46 | -23.3432
|  | 1277.47 | -23.3156
|  | 1277.48 | -23.244
|  | 1277.49 | -23.1786
|  | 1277.5 | -23.1797
|  | 1277.51 | -23.2623
|  | 1277.52 | -23.3612
|  | 1277.53 | -23.4272
|  | 1277.54 | -23.4209
|  | 1277.55 | -23.3512
|  | 1277.5601 | -23.3334
|  | 1277.5699 | -23.3689
|  | 1277.58 | -23.4333
|  | 1277.59 | -23.5176
|  | 1277.6 | -23.5463
|  | 1277.61 | -23.5064
|  | 1277.62 | -23.4506
|  | 1277.63 | -23.4257
|  | 1277.64 | -23.4483
|  | 1277.65 | -23.4971
|  | 1277.66 | -23.5411
|  | 1277.67 | -23.5383
|  | 1277.6801 | -23.473
|  | 1277.6899 | -23.4219
|  | 1277.7 | -23.3529
|  | 1277.71 | -23.3465
|  | 1277.72 | -23.3846
|  | 1277.73 | -23.4076
|  | 1277.74 | -23.3792
|  | 1277.75 | -23.3173
|  | 1277.76 | -23.2085
|  | 1277.77 | -23.1444
|  | 1277.78 | -23.1371
|  | 1277.79 | -23.1808
|  | 1277.8 | -23.2409
|  | 1277.8101 | -23.2254
|  | 1277.8199 | -23.1617
|  | 1277.83 | -23.0727
|  | 1277.84 | -23.0241
|  | 1277.85 | -23.046
|  | 1277.86 | -23.1102
|  | 1277.87 | -23.186
|  | 1277.88 | -23.2083
|  | 1277.89 | -23.1944
|  | 1277.9 | -23.1452
|  | 1277.91 | -23.1259
|  | 1277.92 | -23.1418
|  | 1277.9301 | -23.1922
|  | 1277.9399 | -23.2749
|  | 1277.95 | -23.3124
|  | 1277.96 | -23.3132
|  | 1277.97 | -23.2962
|  | 1277.98 | -23.2772
|  | 1277.99 | -23.286
|  | 1278 | -23.3308
|  | 1278.01 | -23.3727
|  | 1278.02 | -23.3899
|  | 1278.03 | -23.3822
|  | 1278.04 | -23.3585
|  | 1278.05 | -23.332
|  | 1278.0601 | -23.3237
|  | 1278.0699 | -23.3318
|  | 1278.08 | -23.3325
|  | 1278.09 | -23.319
|  | 1278.1 | -23.2891
|  | 1278.11 | -23.2462
|  | 1278.12 | -23.2166
|  | 1278.13 | -23.2151
|  | 1278.14 | -23.2099
|  | 1278.15 | -23.2087
|  | 1278.16 | -23.1868
|  | 1278.17 | -23.1599
|  | 1278.1801 | -23.1299
|  | 1278.1899 | -23.1194
|  | 1278.2 | -23.1164
|  | 1278.21 | -23.146
|  | 1278.22 | -23.1768
|  | 1278.23 | -23.1938
|  | 1278.24 | -23.1937
|  | 1278.25 | -23.1948
|  | 1278.26 | -23.1874
|  | 1278.27 | -23.2182
|  | 1278.28 | -23.2701
|  | 1278.29 | -23.3319
|  | 1278.3 | -23.3848
|  | 1278.3101 | -23.4113
|  | 1278.3199 | -23.4265
|  | 1278.33 | -23.4121
|  | 1278.34 | -23.4163
|  | 1278.35 | -23.4518
|  | 1278.36 | -23.5017
|  | 1278.37 | -23.557
|  | 1278.38 | -23.563
|  | 1278.39 | -23.5474
|  | 1278.4 | -23.4895
|  | 1278.41 | -23.4651
|  | 1278.42 | -23.4773
|  | 1278.4301 | -23.5274
|  | 1278.4399 | -23.5626
|  | 1278.45 | -23.538
|  | 1278.46 | -23.4701
|  | 1278.47 | -23.3969
|  | 1278.48 | -23.3766
|  | 1278.49 | -23.3918
|  | 1278.5 | -23.4146
|  | 1278.51 | -23.3983
|  | 1278.52 | -23.3454
|  | 1278.53 | -23.2769
|  | 1278.54 | -23.2394
|  | 1278.55 | -23.2501
|  | 1278.5601 | -23.2702
|  | 1278.5699 | -23.3099
|  | 1278.58 | -23.2987
|  | 1278.59 | -23.2653
|  | 1278.6 | -23.24
|  | 1278.61 | -23.2535
|  | 1278.62 | -23.3065
|  | 1278.63 | -23.3617
|  | 1278.64 | -23.3897
|  | 1278.65 | -23.3824
|  | 1278.66 | -23.3721
|  | 1278.67 | -23.3616
|  | 1278.6801 | -23.3976
|  | 1278.6899 | -23.4379
|  | 1278.7 | -23.489
|  | 1278.71 | -23.5105
|  | 1278.72 | -23.4933
|  | 1278.73 | -23.4639
|  | 1278.74 | -23.4398
|  | 1278.75 | -23.4427
|  | 1278.76 | -23.4563
|  | 1278.77 | -23.4633
|  | 1278.78 | -23.4474
|  | 1278.79 | -23.406
|  | 1278.8 | -23.3594
|  | 1278.8101 | -23.3133
|  | 1278.8199 | -23.302
|  | 1278.83 | -23.3038
|  | 1278.84 | -23.3055
|  | 1278.85 | -23.2857
|  | 1278.86 | -23.2488
|  | 1278.87 | -23.1726
|  | 1278.88 | -23.1214
|  | 1278.89 | -23.0856
|  | 1278.9 | -23.1042
|  | 1278.91 | -23.1388
|  | 1278.92 | -23.1567
|  | 1278.9301 | -23.1355
|  | 1278.9399 | -23.0749
|  | 1278.95 | -23.017
|  | 1278.96 | -22.9985
|  | 1278.97 | -23.0261
|  | 1278.98 | -23.1184
|  | 1278.99 | -23.1835
|  | 1279 | -23.2055
|  | 1279.01 | -23.1676
|  | 1279.02 | -23.1247
|  | 1279.03 | -23.1021
|  | 1279.04 | -23.1363
|  | 1279.05 | -23.1979
|  | 1279.0601 | -23.2772
|  | 1279.0699 | -23.3086
|  | 1279.08 | -23.2749
|  | 1279.09 | -23.2144
|  | 1279.1 | -23.1496
|  | 1279.11 | -23.1618
|  | 1279.12 | -23.2036
|  | 1279.13 | -23.2964
|  | 1279.14 | -23.3623
|  | 1279.15 | -23.3457
|  | 1279.16 | -23.2737
|  | 1279.17 | -23.187
|  | 1279.1801 | -23.1486
|  | 1279.1899 | -23.1726
|  | 1279.2 | -23.2435
|  | 1279.21 | -23.3237
|  | 1279.22 | -23.341
|  | 1279.23 | -23.2973
|  | 1279.24 | -23.1934
|  | 1279.25 | -23.1116
|  | 1279.26 | -23.0812
|  | 1279.27 | -23.1321
|  | 1279.28 | -23.2012
|  | 1279.29 | -23.2819
|  | 1279.3 | -23.2867
|  | 1279.3101 | -23.2285
|  | 1279.3199 | -23.1608
|  | 1279.33 | -23.1345
|  | 1279.34 | -23.1864
|  | 1279.35 | -23.2855
|  | 1279.36 | -23.3582
|  | 1279.37 | -23.3899
|  | 1279.38 | -23.35
|  | 1279.39 | -23.2883
|  | 1279.4 | -23.2737
|  | 1279.41 | -23.3333
|  | 1279.42 | -23.4282
|  | 1279.4301 | -23.5031
|  | 1279.4399 | -23.4824
|  | 1279.45 | -23.3871
|  | 1279.46 | -23.3114
|  | 1279.47 | -23.3245
|  | 1279.48 | -23.3846
|  | 1279.49 | -23.4877
|  | 1279.5 | -23.4925
|  | 1279.51 | -23.3953
|  | 1279.52 | -23.2986
|  | 1279.53 | -23.2442
|  | 1279.54 | -23.2705
|  | 1279.55 | -23.3474
|  | 1279.5601 | -23.3909
|  | 1279.5699 | -23.3521
|  | 1279.58 | -23.2729
|  | 1279.59 | -23.1872
|  | 1279.6 | -23.1574
|  | 1279.61 | -23.1893
|  | 1279.62 | -23.256
|  | 1279.63 | -23.281
|  | 1279.64 | -23.2423
|  | 1279.65 | -23.1625
|  | 1279.66 | -23.0872
|  | 1279.67 | -23.0618
|  | 1279.6801 | -23.1146
|  | 1279.6899 | -23.1839
|  | 1279.7 | -23.2574
|  | 1279.71 | -23.2605
|  | 1279.72 | -23.1856
|  | 1279.73 | -23.1124
|  | 1279.74 | -23.0679
|  | 1279.75 | -23.1164
|  | 1279.76 | -23.224
|  | 1279.77 | -23.3121
|  | 1279.78 | -23.3593
|  | 1279.79 | -23.3099
|  | 1279.8 | -23.2288
|  | 1279.8101 | -23.1801
|  | 1279.8199 | -23.1923
|  | 1279.83 | -23.2654
|  | 1279.84 | -23.3628
|  | 1279.85 | -23.3968
|  | 1279.86 | -23.3532
|  | 1279.87 | -23.2582
|  | 1279.88 | -23.1653
|  | 1279.89 | -23.1315
|  | 1279.9 | -23.179
|  | 1279.91 | -23.2572
|  | 1279.92 | -23.2986
|  | 1279.9301 | -23.2481
|  | 1279.9399 | -23.1254
|  | 1279.95 | -23.0131
|  | 1279.96 | -22.9735
|  | 1279.97 | -23.025
|  | 1279.98 | -23.1404
|  | 1279.99 | -23.2047
|  | 1280 | -23.1973
|  | 1280.01 | -23.1201
|  | 1280.02 | -23.0102
|  | 1280.03 | -22.9596
|  | 1280.04 | -22.9969
|  | 1280.05 | -23.1109
|  | 1280.0601 | -23.2066
|  | 1280.0699 | -23.2532
|  | 1280.08 | -23.2182
|  | 1280.09 | -23.1464
|  | 1280.1 | -23.0984
|  | 1280.11 | -23.1246
|  | 1280.12 | -23.201
|  | 1280.13 | -23.298
|  | 1280.14 | -23.3518
|  | 1280.15 | -23.3602
|  | 1280.16 | -23.3161
|  | 1280.17 | -23.2799
|  | 1280.1801 | -23.244
|  | 1280.1899 | -23.2953
|  | 1280.2 | -23.3757
|  | 1280.21 | -23.4556
|  | 1280.22 | -23.4844
|  | 1280.23 | -23.4592
|  | 1280.24 | -23.3834
|  | 1280.25 | -23.3327
|  | 1280.26 | -23.3264
|  | 1280.27 | -23.3795
|  | 1280.28 | -23.4629
|  | 1280.29 | -23.4957
|  | 1280.3 | -23.4809
|  | 1280.3101 | -23.418
|  | 1280.3199 | -23.3322
|  | 1280.33 | -23.2972
|  | 1280.34 | -23.3291
|  | 1280.35 | -23.3785
|  | 1280.36 | -23.429
|  | 1280.37 | -23.453
|  | 1280.38 | -23.4029
|  | 1280.39 | -23.3169
|  | 1280.4 | -23.2687
|  | 1280.41 | -23.2836
|  | 1280.42 | -23.3712
|  | 1280.4301 | -23.4544
|  | 1280.4399 | -23.4758
|  | 1280.45 | -23.4215
|  | 1280.46 | -23.3402
|  | 1280.47 | -23.3542
|  | 1280.48 | -23.4207
|  | 1280.49 | -23.5065
|  | 1280.5 | -23.5541
|  | 1280.51 | -23.5221
|  | 1280.52 | -23.4867
|  | 1280.53 | -23.4478
|  | 1280.54 | -23.456
|  | 1280.55 | -23.5141
|  | 1280.5601 | -23.5403
|  | 1280.5699 | -23.5299
|  | 1280.58 | -23.4803
|  | 1280.59 | -23.4134
|  | 1280.6 | -23.3881
|  | 1280.61 | -23.3861
|  | 1280.62 | -23.4012
|  | 1280.63 | -23.3963
|  | 1280.64 | -23.3646
|  | 1280.65 | -23.317
|  | 1280.66 | -23.2627
|  | 1280.67 | -23.2365
|  | 1280.6801 | -23.2551
|  | 1280.6899 | -23.2807
|  | 1280.7 | -23.2751
|  | 1280.71 | -23.2603
|  | 1280.72 | -23.2098
|  | 1280.73 | -23.1709
|  | 1280.74 | -23.1758
|  | 1280.75 | -23.2027
|  | 1280.76 | -23.2352
|  | 1280.77 | -23.2499
|  | 1280.78 | -23.2531
|  | 1280.79 | -23.2378
|  | 1280.8 | -23.2332
|  | 1280.8101 | -23.2368
|  | 1280.8199 | -23.2718
|  | 1280.83 | -23.3086
|  | 1280.84 | -23.336
|  | 1280.85 | -23.3429
|  | 1280.86 | -23.3493
|  | 1280.87 | -23.3403
|  | 1280.88 | -23.3277
|  | 1280.89 | -23.3412
|  | 1280.9 | -23.3586
|  | 1280.91 | -23.3756
|  | 1280.92 | -23.3792
|  | 1280.9301 | -23.3644
|  | 1280.9399 | -23.3266
|  | 1280.95 | -23.3059
|  | 1280.96 | -23.2994
|  | 1280.97 | -23.3171
|  | 1280.98 | -23.3439
|  | 1280.99 | -23.3184
|  | 1281 | -23.275
|  | 1281.01 | -23.2375
|  | 1281.02 | -23.2193
|  | 1281.03 | -23.2216
|  | 1281.04 | -23.2476
|  | 1281.05 | -23.2718
|  | 1281.0601 | -23.2779
|  | 1281.0699 | -23.258
|  | 1281.08 | -23.2252
|  | 1281.09 | -23.2289
|  | 1281.1 | -23.2566
|  | 1281.11 | -23.2961
|  | 1281.12 | -23.3432
|  | 1281.13 | -23.3522
|  | 1281.14 | -23.3449
|  | 1281.15 | -23.3469
|  | 1281.16 | -23.3444
|  | 1281.17 | -23.388
|  | 1281.1801 | -23.429
|  | 1281.1899 | -23.4905
|  | 1281.2 | -23.5055
|  | 1281.21 | -23.5031
|  | 1281.22 | -23.4772
|  | 1281.23 | -23.4643
|  | 1281.24 | -23.4875
|  | 1281.25 | -23.5194
|  | 1281.26 | -23.5508
|  | 1281.27 | -23.5675
|  | 1281.28 | -23.5357
|  | 1281.29 | -23.5006
|  | 1281.3 | -23.4551
|  | 1281.3101 | -23.4586
|  | 1281.3199 | -23.4843
|  | 1281.33 | -23.5104
|  | 1281.34 | -23.5063
|  | 1281.35 | -23.4515
|  | 1281.36 | -23.3941
|  | 1281.37 | -23.3554
|  | 1281.38 | -23.3673
|  | 1281.39 | -23.4144
|  | 1281.4 | -23.441
|  | 1281.41 | -23.4263
|  | 1281.42 | -23.371
|  | 1281.4301 | -23.3366
|  | 1281.4399 | -23.3281
|  | 1281.45 | -23.3623
|  | 1281.46 | -23.4212
|  | 1281.47 | -23.4621
|  | 1281.48 | -23.4506
|  | 1281.49 | -23.4185
|  | 1281.5 | -23.3649
|  | 1281.51 | -23.3717
|  | 1281.52 | -23.428
|  | 1281.53 | -23.5015
|  | 1281.54 | -23.548
|  | 1281.55 | -23.5351
|  | 1281.5601 | -23.4747
|  | 1281.5699 | -23.4004
|  | 1281.58 | -23.3996
|  | 1281.59 | -23.446
|  | 1281.6 | -23.5241
|  | 1281.61 | -23.5684
|  | 1281.62 | -23.5161
|  | 1281.63 | -23.4089
|  | 1281.64 | -23.3247
|  | 1281.65 | -23.2922
|  | 1281.66 | -23.3074
|  | 1281.67 | -23.374
|  | 1281.6801 | -23.4041
|  | 1281.6899 | -23.3676
|  | 1281.7 | -23.2797
|  | 1281.71 | -23.2056
|  | 1281.72 | -23.1436
|  | 1281.73 | -23.1545
|  | 1281.74 | -23.206
|  | 1281.75 | -23.2385
|  | 1281.76 | -23.2317
|  | 1281.77 | -23.1508
|  | 1281.78 | -23.0852
|  | 1281.79 | -23.0454
|  | 1281.8 | -23.0741
|  | 1281.8101 | -23.1363
|  | 1281.8199 | -23.1959
|  | 1281.83 | -23.1921
|  | 1281.84 | -23.1633
|  | 1281.85 | -23.1087
|  | 1281.86 | -23.0718
|  | 1281.87 | -23.1145
|  | 1281.88 | -23.195
|  | 1281.89 | -23.2835
|  | 1281.9 | -23.3349
|  | 1281.91 | -23.3031
|  | 1281.92 | -23.2462
|  | 1281.9301 | -23.204
|  | 1281.9399 | -23.2285
|  | 1281.95 | -23.3041
|  | 1281.96 | -23.411
|  | 1281.97 | -23.4843
|  | 1281.98 | -23.4685
|  | 1281.99 | -23.4166
|  | 1282 | -23.3417
|  | 1282.01 | -23.287
|  | 1282.02 | -23.3186
|  | 1282.03 | -23.4042
|  | 1282.04 | -23.4607
|  | 1282.05 | -23.4716
|  | 1282.0601 | -23.3969
|  | 1282.0699 | -23.2702
|  | 1282.08 | -23.1691
|  | 1282.09 | -23.1464
|  | 1282.1 | -23.2069
|  | 1282.11 | -23.3127
|  | 1282.12 | -23.3617
|  | 1282.13 | -23.3211
|  | 1282.14 | -23.2016
|  | 1282.15 | -23.0626
|  | 1282.16 | -23.0052
|  | 1282.17 | -23.0254
|  | 1282.1801 | -23.1416
|  | 1282.1899 | -23.2552
|  | 1282.2 | -23.2881
|  | 1282.21 | -23.2365
|  | 1282.22 | -23.1098
|  | 1282.23 | -23.0238
|  | 1282.24 | -23.0347
|  | 1282.25 | -23.1477
|  | 1282.26 | -23.289
|  | 1282.27 | -23.3762
|  | 1282.28 | -23.3612
|  | 1282.29 | -23.2972
|  | 1282.3 | -23.2155
|  | 1282.3101 | -23.2334
|  | 1282.3199 | -23.3516
|  | 1282.33 | -23.5072
|  | 1282.34 | -23.6131
|  | 1282.35 | -23.587
|  | 1282.36 | -23.4953
|  | 1282.37 | -23.3886
|  | 1282.38 | -23.4155
|  | 1282.39 | -23.505
|  | 1282.4 | -23.5938
|  | 1282.41 | -23.6134
|  | 1282.42 | -23.5103
|  | 1282.4301 | -23.3923
|  | 1282.4399 | -23.3263
|  | 1282.45 | -23.3372
|  | 1282.46 | -23.4226
|  | 1282.47 | -23.4669
|  | 1282.48 | -23.4599
|  | 1282.49 | -23.3613
|  | 1282.5 | -23.2425
|  | 1282.51 | -23.1741
|  | 1282.52 | -23.1864
|  | 1282.53 | -23.2891
|  | 1282.54 | -23.3586
|  | 1282.55 | -23.3434
|  | 1282.5601 | -23.2535
|  | 1282.5699 | -23.1455
|  | 1282.58 | -23.0878
|  | 1282.59 | -23.1321
|  | 1282.6 | -23.2346
|  | 1282.61 | -23.3373
|  | 1282.62 | -23.3545
|  | 1282.63 | -23.288
|  | 1282.64 | -23.2186
|  | 1282.65 | -23.2071
|  | 1282.66 | -23.2711
|  | 1282.67 | -23.363
|  | 1282.6801 | -23.4482
|  | 1282.6899 | -23.4505
|  | 1282.7 | -23.3997
|  | 1282.71 | -23.3209
|  | 1282.72 | -23.2594
|  | 1282.73 | -23.2783
|  | 1282.74 | -23.3442
|  | 1282.75 | -23.4122
|  | 1282.76 | -23.4187
|  | 1282.77 | -23.3792
|  | 1282.78 | -23.2895
|  | 1282.79 | -23.2156
|  | 1282.8 | -23.1884
|  | 1282.8101 | -23.2161
|  | 1282.8199 | -23.2747
|  | 1282.83 | -23.3065
|  | 1282.84 | -23.3019
|  | 1282.85 | -23.235
|  | 1282.86 | -23.1661
|  | 1282.87 | -23.1295
|  | 1282.88 | -23.129
|  | 1282.89 | -23.1712
|  | 1282.9 | -23.2191
|  | 1282.91 | -23.2404
|  | 1282.92 | -23.2135
|  | 1282.9301 | -23.1653
|  | 1282.9399 | -23.1566
|  | 1282.95 | -23.1733
|  | 1282.96 | -23.2336
|  | 1282.97 | -23.2928
|  | 1282.98 | -23.3454
|  | 1282.99 | -23.353
|  | 1283 | -23.3364

## Gain v Output Power
Gain vs. Output Power
|  | Output Power (dBm) | Gain (dB)
|  | 4.742 | 36.543
|  | 6.728 | 36.539
|  | 8.694 | 36.509
|  | 10.632 | 36.46
Product Raw Data |  | 12.553 | 36.384
1280 nm C-Band Booster Optical Amplifier, Butterfly Package, PM, FC/APC |  | 14.434 | 36.266
|  | 16.222 | 36.065
|  | 17.893 | 35.734
Item # | BOA1300P | 19.37 | 35.211
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 20.594 | 34.452
|  | 21.6 | 33.452
|  | 22.34 | 32.191
|  | 22.929 | 30.79
|  | 23.404 | 29.26
|  | 23.781 | 27.635
This data may be used in publications. However, please cite Thorlabs as the source. |  | 24.087 | 25.939
|  | 24.323 | 24.19
|  | 24.504 | 22.357
|  | 24.638 | 20.6
Additional Information:
T = 25 °C, I = 1700 mA, λ = 1312 nm

## Gain v Wavelength
Gain vs. Wavelength
|  | Wavelength (nm) | Gain (dB)
|  | 1500 | 36.314
|  | 1600 | 36.358
|  | 1700 | 36.399
Product Raw Data
1280 nm C-Band Booster Optical Amplifier, Butterfly Package, PM, FC/APC
Item # | BOA1300P
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data.
This data may be used in publications. However, please cite Thorlabs as the source.
Additional Information:
T = 25 °C, λ = 1312 nm, P = -20 dBm