## A019410
SN: | A019410
Item #: | BXC55
Item Description: | 2x2 50:50 Boxed Wideband Fiber Optic Coupler
Fiber Type: | Thorlabs 780HP
Port Name: | IN 1 (Input) - OUT 1 (Signal Output)
Test Wavelength (nm): | 805
Insertion Loss (dB): | -3.27
Coupling Ratio (%): | 47.5
Uniformity (dB): | 0.6
Port Name: | IN 1 (Input) - OUT 2 (Tap Output)
Test Wavelength (nm): | 805
Insertion Loss (dB): | -2.84
Coupling Ratio (%): | 52.5
Uniformity (dB): | 0.7
Spectral Response
Wavelength (nm) | Insertion Loss - OUT 1 (Signal Output) (dB) | Coupling Ratio - OUT 1 (Signal Output) (%) | Insertion Loss - OUT 2 (Tap Output) (dB) | Coupling Ratio - OUT 2 (Tap Output) (%)
720 | -2.523 | 56.529 | -3.663 | 43.471
720.341 | -2.529 | 56.495 | -3.664 | 43.505
720.681 | -2.544 | 56.416 | -3.665 | 43.584
721.022 | -2.549 | 56.457 | -3.677 | 43.543
721.363 | -2.549 | 56.555 | -3.695 | 43.445
721.703 | -2.552 | 56.527 | -3.692 | 43.473
722.044 | -2.556 | 56.461 | -3.684 | 43.539
722.385 | -2.562 | 56.288 | -3.66 | 43.712
722.725 | -2.568 | 56.156 | -3.643 | 43.844
723.066 | -2.572 | 56.075 | -3.633 | 43.925
723.407 | -2.583 | 55.974 | -3.625 | 44.026
723.747 | -2.595 | 55.865 | -3.619 | 44.135
724.088 | -2.602 | 55.746 | -3.605 | 44.254
724.429 | -2.607 | 55.651 | -3.593 | 44.349
724.77 | -2.604 | 55.631 | -3.587 | 44.369
725.11 | -2.606 | 55.599 | -3.583 | 44.401
725.451 | -2.613 | 55.551 | -3.581 | 44.449
725.792 | -2.621 | 55.479 | -3.576 | 44.521
726.132 | -2.628 | 55.401 | -3.57 | 44.599
726.473 | -2.636 | 55.356 | -3.57 | 44.644
726.814 | -2.643 | 55.316 | -3.57 | 44.684
727.154 | -2.644 | 55.286 | -3.566 | 44.714
727.495 | -2.644 | 55.227 | -3.555 | 44.773
727.836 | -2.642 | 55.142 | -3.538 | 44.858
728.176 | -2.648 | 55.036 | -3.526 | 44.964
728.517 | -2.656 | 54.933 | -3.516 | 45.067
728.858 | -2.661 | 54.926 | -3.52 | 45.074
729.198 | -2.667 | 54.924 | -3.525 | 45.076
729.539 | -2.673 | 54.922 | -3.53 | 45.078
729.88 | -2.679 | 54.878 | -3.53 | 45.122
730.22 | -2.686 | 54.804 | -3.524 | 45.196
730.561 | -2.684 | 54.747 | -3.511 | 45.253
730.902 | -2.68 | 54.689 | -3.497 | 45.311
731.242 | -2.686 | 54.597 | -3.487 | 45.403
731.583 | -2.694 | 54.498 | -3.478 | 45.502
731.924 | -2.705 | 54.395 | -3.471 | 45.605
732.265 | -2.71 | 54.319 | -3.462 | 45.681
732.605 | -2.71 | 54.26 | -3.452 | 45.74
732.946 | -2.719 | 54.184 | -3.448 | 45.816
733.287 | -2.73 | 54.102 | -3.444 | 45.898
733.627 | -2.735 | 54.009 | -3.433 | 45.991
733.968 | -2.737 | 53.929 | -3.421 | 46.071
734.309 | -2.734 | 53.876 | -3.408 | 46.124
734.649 | -2.729 | 53.908 | -3.409 | 46.092
734.99 | -2.724 | 53.983 | -3.418 | 46.017
735.331 | -2.72 | 53.989 | -3.415 | 46.011
735.671 | -2.721 | 53.956 | -3.41 | 46.044
736.012 | -2.738 | 53.844 | -3.407 | 46.156
736.353 | -2.752 | 53.764 | -3.407 | 46.236
736.693 | -2.761 | 53.729 | -3.41 | 46.271
737.034 | -2.765 | 53.657 | -3.401 | 46.343
737.375 | -2.767 | 53.564 | -3.388 | 46.436
737.715 | -2.773 | 53.485 | -3.379 | 46.515
738.056 | -2.778 | 53.414 | -3.372 | 46.586
738.397 | -2.781 | 53.361 | -3.366 | 46.639
738.737 | -2.785 | 53.342 | -3.367 | 46.658
739.078 | -2.792 | 53.347 | -3.374 | 46.653
739.419 | -2.798 | 53.265 | -3.366 | 46.735
739.76 | -2.804 | 53.154 | -3.352 | 46.846
740.1 | -2.8 | 53.136 | -3.346 | 46.864
740.441 | -2.799 | 53.107 | -3.339 | 46.893
740.782 | -2.803 | 53.029 | -3.33 | 46.971
741.122 | -2.808 | 52.996 | -3.329 | 47.004
741.463 | -2.812 | 53.001 | -3.334 | 46.999
741.804 | -2.813 | 52.934 | -3.324 | 47.066
742.144 | -2.813 | 52.845 | -3.308 | 47.155
742.485 | -2.814 | 52.802 | -3.301 | 47.198
742.826 | -2.818 | 52.736 | -3.294 | 47.264
743.166 | -2.827 | 52.62 | -3.282 | 47.38
743.507 | -2.838 | 52.545 | -3.28 | 47.455
743.848 | -2.85 | 52.504 | -3.285 | 47.496
744.188 | -2.86 | 52.425 | -3.282 | 47.575
744.529 | -2.868 | 52.352 | -3.276 | 47.648
744.87 | -2.865 | 52.363 | -3.276 | 47.637
745.21 | -2.865 | 52.38 | -3.279 | 47.62
745.551 | -2.871 | 52.375 | -3.284 | 47.625
745.892 | -2.874 | 52.315 | -3.276 | 47.685
746.232 | -2.874 | 52.212 | -3.259 | 47.788
746.573 | -2.882 | 52.095 | -3.247 | 47.905
746.914 | -2.892 | 51.998 | -3.239 | 48.002
747.255 | -2.898 | 51.974 | -3.241 | 48.026
747.595 | -2.903 | 51.952 | -3.242 | 48.048
747.936 | -2.905 | 51.915 | -3.238 | 48.085
748.277 | -2.899 | 51.877 | -3.226 | 48.123
748.617 | -2.893 | 51.836 | -3.212 | 48.164
748.958 | -2.903 | 51.778 | -3.212 | 48.222
749.299 | -2.919 | 51.7 | -3.214 | 48.3
749.639 | -2.932 | 51.604 | -3.211 | 48.396
749.98 | -2.936 | 51.621 | -3.218 | 48.379
750.321 | -2.93 | 51.755 | -3.235 | 48.245
750.661 | -2.929 | 51.74 | -3.232 | 48.26
751.002 | -2.932 | 51.64 | -3.217 | 48.36
751.343 | -2.931 | 51.639 | -3.216 | 48.361
751.683 | -2.934 | 51.625 | -3.216 | 48.375
752.024 | -2.944 | 51.508 | -3.206 | 48.492
752.365 | -2.952 | 51.364 | -3.189 | 48.636
752.705 | -2.954 | 51.228 | -3.167 | 48.772
753.046 | -2.959 | 51.163 | -3.161 | 48.837
753.387 | -2.964 | 51.137 | -3.161 | 48.863
753.727 | -2.962 | 51.11 | -3.154 | 48.89
754.068 | -2.963 | 51.089 | -3.152 | 48.911
754.409 | -2.973 | 51.086 | -3.161 | 48.914
754.75 | -2.977 | 51.087 | -3.166 | 48.913
755.09 | -2.976 | 51.075 | -3.163 | 48.925
755.431 | -2.98 | 50.998 | -3.154 | 49.002
755.772 | -2.988 | 50.894 | -3.143 | 49.106
756.112 | -2.994 | 50.811 | -3.135 | 49.189
756.453 | -2.999 | 50.746 | -3.129 | 49.254
756.794 | -3.004 | 50.713 | -3.128 | 49.287
757.134 | -3.006 | 50.734 | -3.133 | 49.266
757.475 | -3.006 | 50.775 | -3.141 | 49.225
757.816 | -3.011 | 50.724 | -3.137 | 49.276
758.156 | -3.018 | 50.647 | -3.13 | 49.353
758.497 | -3.02 | 50.626 | -3.129 | 49.374
758.838 | -3.024 | 50.58 | -3.124 | 49.42
759.178 | -3.029 | 50.484 | -3.113 | 49.516
759.519 | -3.027 | 50.45 | -3.105 | 49.55
759.86 | -3.021 | 50.47 | -3.103 | 49.53
760.2 | -3.023 | 50.456 | -3.102 | 49.544
760.541 | -3.029 | 50.405 | -3.099 | 49.595
760.882 | -3.035 | 50.308 | -3.088 | 49.692
761.222 | -3.041 | 50.211 | -3.077 | 49.789
761.563 | -3.047 | 50.139 | -3.071 | 49.861
761.904 | -3.052 | 50.091 | -3.068 | 49.909
762.245 | -3.056 | 50.066 | -3.067 | 49.934
762.585 | -3.059 | 50.069 | -3.07 | 49.931
762.926 | -3.063 | 50.046 | -3.071 | 49.954
763.267 | -3.074 | 49.948 | -3.065 | 50.052
763.607 | -3.08 | 49.868 | -3.057 | 50.132
763.948 | -3.078 | 49.844 | -3.051 | 50.156
764.289 | -3.075 | 49.845 | -3.048 | 50.155
764.629 | -3.074 | 49.847 | -3.048 | 50.153
764.97 | -3.077 | 49.825 | -3.047 | 50.175
765.311 | -3.083 | 49.778 | -3.045 | 50.222
765.651 | -3.091 | 49.709 | -3.04 | 50.291
765.992 | -3.095 | 49.659 | -3.035 | 50.341
766.333 | -3.094 | 49.632 | -3.03 | 50.368
766.673 | -3.099 | 49.584 | -3.027 | 50.416
767.014 | -3.105 | 49.544 | -3.026 | 50.456
767.355 | -3.106 | 49.574 | -3.032 | 50.426
767.695 | -3.104 | 49.605 | -3.036 | 50.395
768.036 | -3.103 | 49.581 | -3.03 | 50.419
768.377 | -3.107 | 49.511 | -3.022 | 50.489
768.717 | -3.115 | 49.418 | -3.014 | 50.582
769.058 | -3.123 | 49.348 | -3.01 | 50.652
769.399 | -3.127 | 49.316 | -3.008 | 50.684
769.74 | -3.124 | 49.337 | -3.009 | 50.663
770.08 | -3.123 | 49.326 | -3.006 | 50.674
770.421 | -3.132 | 49.238 | -2.999 | 50.762
770.762 | -3.139 | 49.148 | -2.991 | 50.852
771.102 | -3.141 | 49.09 | -2.983 | 50.91
771.443 | -3.141 | 49.06 | -2.978 | 50.94
771.784 | -3.14 | 49.05 | -2.975 | 50.95
772.124 | -3.142 | 49.057 | -2.978 | 50.943
772.465 | -3.141 | 49.075 | -2.981 | 50.925
772.806 | -3.138 | 49.1 | -2.982 | 50.9
773.146 | -3.137 | 49.113 | -2.983 | 50.887
773.487 | -3.139 | 49.108 | -2.984 | 50.892
773.828 | -3.143 | 49.081 | -2.983 | 50.919
774.168 | -3.148 | 49.038 | -2.981 | 50.962
774.509 | -3.152 | 48.979 | -2.975 | 51.021
774.85 | -3.157 | 48.912 | -2.968 | 51.088
775.19 | -3.163 | 48.851 | -2.963 | 51.149
775.531 | -3.167 | 48.824 | -2.963 | 51.176
775.872 | -3.17 | 48.821 | -2.965 | 51.179
776.212 | -3.17 | 48.817 | -2.964 | 51.183
776.553 | -3.169 | 48.797 | -2.96 | 51.203
776.894 | -3.167 | 48.756 | -2.951 | 51.244
777.234 | -3.169 | 48.713 | -2.946 | 51.287
777.575 | -3.174 | 48.686 | -2.946 | 51.314
777.916 | -3.179 | 48.686 | -2.951 | 51.314
778.257 | -3.182 | 48.7 | -2.956 | 51.3
778.597 | -3.183 | 48.704 | -2.958 | 51.296
778.938 | -3.184 | 48.69 | -2.957 | 51.31
779.279 | -3.188 | 48.657 | -2.955 | 51.343
779.619 | -3.192 | 48.629 | -2.953 | 51.371
779.96 | -3.194 | 48.607 | -2.952 | 51.393
780.301 | -3.196 | 48.562 | -2.946 | 51.438
780.641 | -3.199 | 48.495 | -2.938 | 51.505
780.982 | -3.204 | 48.422 | -2.93 | 51.578
781.323 | -3.209 | 48.368 | -2.925 | 51.632
781.663 | -3.212 | 48.347 | -2.924 | 51.653
782.004 | -3.213 | 48.332 | -2.923 | 51.668
782.345 | -3.213 | 48.31 | -2.919 | 51.69
782.685 | -3.212 | 48.289 | -2.915 | 51.711
783.026 | -3.211 | 48.281 | -2.913 | 51.719
783.367 | -3.211 | 48.298 | -2.916 | 51.702
783.707 | -3.213 | 48.297 | -2.917 | 51.703
784.048 | -3.215 | 48.256 | -2.912 | 51.744
784.389 | -3.216 | 48.214 | -2.905 | 51.786
784.729 | -3.215 | 48.195 | -2.901 | 51.805
785.07 | -3.214 | 48.194 | -2.9 | 51.806
785.411 | -3.214 | 48.192 | -2.899 | 51.808
785.752 | -3.216 | 48.176 | -2.899 | 51.824
786.092 | -3.217 | 48.164 | -2.898 | 51.836
786.433 | -3.216 | 48.171 | -2.898 | 51.829
786.774 | -3.214 | 48.18 | -2.898 | 51.82
787.114 | -3.217 | 48.18 | -2.9 | 51.82
787.455 | -3.225 | 48.167 | -2.906 | 51.833
787.796 | -3.235 | 48.125 | -2.91 | 51.875
788.136 | -3.243 | 48.037 | -2.902 | 51.963
788.477 | -3.248 | 47.936 | -2.889 | 52.064
788.818 | -3.251 | 47.859 | -2.879 | 52.141
789.158 | -3.253 | 47.823 | -2.875 | 52.177
789.499 | -3.255 | 47.82 | -2.877 | 52.18
789.84 | -3.256 | 47.829 | -2.878 | 52.171
790.18 | -3.255 | 47.835 | -2.878 | 52.165
790.521 | -3.253 | 47.833 | -2.876 | 52.167
790.862 | -3.251 | 47.839 | -2.875 | 52.161
791.202 | -3.25 | 47.845 | -2.876 | 52.155
791.543 | -3.254 | 47.815 | -2.874 | 52.185
791.884 | -3.259 | 47.783 | -2.873 | 52.217
792.224 | -3.255 | 47.814 | -2.875 | 52.186
792.565 | -3.251 | 47.842 | -2.876 | 52.158
792.906 | -3.254 | 47.798 | -2.872 | 52.202
793.247 | -3.258 | 47.734 | -2.864 | 52.266
793.587 | -3.259 | 47.703 | -2.86 | 52.297
793.928 | -3.26 | 47.713 | -2.863 | 52.287
794.269 | -3.262 | 47.72 | -2.866 | 52.28
794.609 | -3.264 | 47.673 | -2.86 | 52.327
794.95 | -3.265 | 47.626 | -2.852 | 52.374
795.291 | -3.265 | 47.625 | -2.852 | 52.375
795.631 | -3.266 | 47.63 | -2.854 | 52.37
795.972 | -3.267 | 47.618 | -2.853 | 52.382
796.313 | -3.268 | 47.599 | -2.851 | 52.401
796.653 | -3.268 | 47.585 | -2.848 | 52.415
796.994 | -3.267 | 47.576 | -2.846 | 52.424
797.335 | -3.268 | 47.563 | -2.844 | 52.437
797.675 | -3.269 | 47.544 | -2.842 | 52.456
798.016 | -3.269 | 47.541 | -2.842 | 52.459
798.357 | -3.267 | 47.559 | -2.843 | 52.441
798.697 | -3.263 | 47.587 | -2.844 | 52.413
799.038 | -3.262 | 47.604 | -2.845 | 52.396
799.379 | -3.267 | 47.594 | -2.848 | 52.406
799.719 | -3.272 | 47.567 | -2.849 | 52.433
800.06 | -3.274 | 47.541 | -2.847 | 52.459
800.401 | -3.277 | 47.533 | -2.848 | 52.467
800.741 | -3.278 | 47.546 | -2.852 | 52.454
801.082 | -3.275 | 47.568 | -2.852 | 52.432
801.423 | -3.271 | 47.584 | -2.851 | 52.416
801.764 | -3.274 | 47.586 | -2.855 | 52.414
802.104 | -3.275 | 47.582 | -2.855 | 52.418
802.445 | -3.27 | 47.57 | -2.848 | 52.43
802.786 | -3.268 | 47.535 | -2.839 | 52.465
803.126 | -3.273 | 47.479 | -2.834 | 52.521
803.467 | -3.279 | 47.423 | -2.831 | 52.577
803.808 | -3.282 | 47.391 | -2.829 | 52.609
804.148 | -3.28 | 47.399 | -2.828 | 52.601
804.489 | -3.276 | 47.432 | -2.83 | 52.568
804.83 | -3.273 | 47.475 | -2.834 | 52.525
805.17 | -3.27 | 47.515 | -2.838 | 52.485
805.511 | -3.269 | 47.524 | -2.839 | 52.476
805.852 | -3.274 | 47.481 | -2.836 | 52.519
806.192 | -3.28 | 47.429 | -2.833 | 52.571
806.533 | -3.28 | 47.413 | -2.83 | 52.587
806.874 | -3.28 | 47.417 | -2.83 | 52.583
807.214 | -3.28 | 47.426 | -2.833 | 52.574
807.555 | -3.281 | 47.436 | -2.835 | 52.564
807.896 | -3.28 | 47.447 | -2.836 | 52.553
808.236 | -3.28 | 47.455 | -2.838 | 52.545
808.577 | -3.281 | 47.449 | -2.838 | 52.551
808.918 | -3.281 | 47.427 | -2.834 | 52.573
809.259 | -3.282 | 47.418 | -2.834 | 52.582
809.599 | -3.283 | 47.436 | -2.837 | 52.564
809.94 | -3.279 | 47.463 | -2.838 | 52.537
810.281 | -3.277 | 47.474 | -2.838 | 52.526
810.621 | -3.281 | 47.454 | -2.838 | 52.546
810.962 | -3.285 | 47.415 | -2.836 | 52.585
811.303 | -3.284 | 47.383 | -2.829 | 52.617
811.643 | -3.28 | 47.376 | -2.824 | 52.624
811.984 | -3.278 | 47.39 | -2.824 | 52.61
812.325 | -3.277 | 47.396 | -2.824 | 52.604
812.665 | -3.277 | 47.396 | -2.824 | 52.604
813.006 | -3.276 | 47.411 | -2.825 | 52.589
813.347 | -3.274 | 47.427 | -2.827 | 52.573
813.687 | -3.274 | 47.432 | -2.828 | 52.568
814.028 | -3.276 | 47.428 | -2.828 | 52.572
814.369 | -3.277 | 47.428 | -2.83 | 52.572
814.709 | -3.277 | 47.447 | -2.833 | 52.553
815.05 | -3.275 | 47.475 | -2.836 | 52.525
815.391 | -3.274 | 47.49 | -2.837 | 52.51
815.731 | -3.274 | 47.484 | -2.837 | 52.516
816.072 | -3.276 | 47.464 | -2.835 | 52.536
816.413 | -3.278 | 47.45 | -2.834 | 52.55
816.753 | -3.279 | 47.446 | -2.835 | 52.554
817.094 | -3.281 | 47.438 | -2.836 | 52.562
817.435 | -3.282 | 47.435 | -2.836 | 52.565
817.776 | -3.277 | 47.45 | -2.834 | 52.55
818.116 | -3.272 | 47.468 | -2.832 | 52.532
818.457 | -3.27 | 47.476 | -2.831 | 52.524
818.798 | -3.27 | 47.474 | -2.83 | 52.526
819.138 | -3.27 | 47.47 | -2.83 | 52.53
819.479 | -3.27 | 47.47 | -2.831 | 52.53
819.82 | -3.27 | 47.482 | -2.833 | 52.518
820.16 | -3.269 | 47.504 | -2.835 | 52.496
820.501 | -3.267 | 47.52 | -2.836 | 52.48
820.842 | -3.266 | 47.524 | -2.836 | 52.476
821.182 | -3.265 | 47.541 | -2.837 | 52.459
821.523 | -3.264 | 47.564 | -2.841 | 52.436
821.864 | -3.267 | 47.569 | -2.844 | 52.431
822.204 | -3.271 | 47.554 | -2.846 | 52.446
822.545 | -3.273 | 47.531 | -2.844 | 52.469
822.886 | -3.274 | 47.515 | -2.842 | 52.485
823.226 | -3.274 | 47.516 | -2.842 | 52.484
823.567 | -3.273 | 47.53 | -2.844 | 52.47
823.908 | -3.271 | 47.556 | -2.846 | 52.444
824.248 | -3.266 | 47.597 | -2.849 | 52.403
824.589 | -3.262 | 47.637 | -2.851 | 52.363
824.93 | -3.26 | 47.664 | -2.854 | 52.336
825.271 | -3.259 | 47.683 | -2.856 | 52.317
825.611 | -3.258 | 47.693 | -2.857 | 52.307
825.952 | -3.258 | 47.69 | -2.856 | 52.31
826.293 | -3.257 | 47.684 | -2.855 | 52.316
826.633 | -3.256 | 47.69 | -2.855 | 52.31
826.974 | -3.255 | 47.705 | -2.856 | 52.295
827.315 | -3.254 | 47.718 | -2.857 | 52.282
827.655 | -3.253 | 47.721 | -2.857 | 52.279
827.996 | -3.254 | 47.712 | -2.856 | 52.288
828.337 | -3.254 | 47.703 | -2.855 | 52.297
828.677 | -3.254 | 47.702 | -2.855 | 52.298
829.018 | -3.251 | 47.719 | -2.854 | 52.281
829.359 | -3.246 | 47.755 | -2.856 | 52.245
829.699 | -3.241 | 47.809 | -2.86 | 52.191
830.04 | -3.238 | 47.86 | -2.866 | 52.14
830.381 | -3.238 | 47.895 | -2.872 | 52.105
830.721 | -3.237 | 47.909 | -2.874 | 52.091
831.062 | -3.236 | 47.906 | -2.872 | 52.094
831.403 | -3.234 | 47.889 | -2.867 | 52.111
831.743 | -3.232 | 47.88 | -2.863 | 52.12
832.084 | -3.229 | 47.895 | -2.864 | 52.105
832.425 | -3.228 | 47.926 | -2.867 | 52.074
832.766 | -3.228 | 47.954 | -2.872 | 52.046
833.106 | -3.23 | 47.954 | -2.874 | 52.046
833.447 | -3.231 | 47.942 | -2.874 | 52.058
833.788 | -3.229 | 47.946 | -2.872 | 52.054
834.128 | -3.225 | 47.973 | -2.873 | 52.027
834.469 | -3.222 | 48.019 | -2.877 | 51.981
834.81 | -3.219 | 48.054 | -2.881 | 51.946
835.15 | -3.218 | 48.066 | -2.882 | 51.934
835.491 | -3.218 | 48.059 | -2.881 | 51.941
835.832 | -3.218 | 48.061 | -2.881 | 51.939
836.172 | -3.215 | 48.092 | -2.883 | 51.908
836.513 | -3.213 | 48.121 | -2.887 | 51.879
836.854 | -3.214 | 48.134 | -2.89 | 51.866
837.194 | -3.213 | 48.155 | -2.892 | 51.845
837.535 | -3.21 | 48.178 | -2.894 | 51.822
837.876 | -3.209 | 48.179 | -2.892 | 51.821
838.216 | -3.208 | 48.185 | -2.892 | 51.815
838.557 | -3.206 | 48.226 | -2.898 | 51.774
838.898 | -3.203 | 48.281 | -2.905 | 51.719
839.238 | -3.199 | 48.325 | -2.908 | 51.675
839.579 | -3.198 | 48.329 | -2.907 | 51.671
839.92 | -3.197 | 48.32 | -2.905 | 51.68
840.26 | -3.194 | 48.359 | -2.909 | 51.641
840.601 | -3.19 | 48.415 | -2.914 | 51.585
840.942 | -3.186 | 48.461 | -2.918 | 51.539
841.283 | -3.183 | 48.497 | -2.922 | 51.503
841.623 | -3.182 | 48.519 | -2.925 | 51.481
841.964 | -3.178 | 48.515 | -2.92 | 51.485
842.305 | -3.175 | 48.503 | -2.915 | 51.497
842.645 | -3.178 | 48.512 | -2.919 | 51.488
842.986 | -3.18 | 48.537 | -2.926 | 51.463
843.327 | -3.176 | 48.572 | -2.928 | 51.428
843.667 | -3.172 | 48.584 | -2.926 | 51.416
844.008 | -3.168 | 48.584 | -2.922 | 51.416
844.349 | -3.166 | 48.63 | -2.928 | 51.37
844.689 | -3.164 | 48.691 | -2.936 | 51.309
845.03 | -3.159 | 48.709 | -2.935 | 51.291
845.371 | -3.156 | 48.714 | -2.933 | 51.286
845.711 | -3.155 | 48.73 | -2.935 | 51.27
846.052 | -3.153 | 48.76 | -2.938 | 51.24
846.393 | -3.15 | 48.796 | -2.941 | 51.204
846.733 | -3.149 | 48.821 | -2.944 | 51.179
847.074 | -3.148 | 48.844 | -2.947 | 51.156
847.415 | -3.143 | 48.884 | -2.949 | 51.116
847.755 | -3.138 | 48.915 | -2.949 | 51.085
848.096 | -3.135 | 48.925 | -2.949 | 51.075
848.437 | -3.134 | 48.93 | -2.948 | 51.07
848.778 | -3.132 | 48.953 | -2.95 | 51.047
849.118 | -3.127 | 49.036 | -2.959 | 50.964
849.459 | -3.122 | 49.121 | -2.969 | 50.879
849.8 | -3.12 | 49.144 | -2.971 | 50.856
850.14 | -3.118 | 49.158 | -2.972 | 50.842
850.481 | -3.117 | 49.177 | -2.973 | 50.823
850.822 | -3.118 | 49.146 | -2.969 | 50.854
851.162 | -3.119 | 49.105 | -2.964 | 50.895
851.503 | -3.114 | 49.167 | -2.969 | 50.833
851.844 | -3.105 | 49.27 | -2.979 | 50.73
852.184 | -3.098 | 49.356 | -2.986 | 50.644
852.525 | -3.091 | 49.414 | -2.989 | 50.586
852.866 | -3.085 | 49.435 | -2.987 | 50.565
853.206 | -3.087 | 49.434 | -2.989 | 50.566
853.547 | -3.091 | 49.432 | -2.993 | 50.568
853.888 | -3.087 | 49.472 | -2.996 | 50.528
854.228 | -3.082 | 49.524 | -3 | 50.476
854.569 | -3.082 | 49.565 | -3.007 | 50.435
854.91 | -3.084 | 49.574 | -3.01 | 50.426
855.25 | -3.086 | 49.559 | -3.01 | 50.441
855.591 | -3.087 | 49.598 | -3.018 | 50.402
855.932 | -3.087 | 49.671 | -3.03 | 50.329
856.273 | -3.084 | 49.727 | -3.037 | 50.273
856.613 | -3.081 | 49.772 | -3.041 | 50.228
856.954 | -3.076 | 49.804 | -3.042 | 50.196
857.295 | -3.074 | 49.833 | -3.044 | 50.167
857.635 | -3.074 | 49.861 | -3.05 | 50.139
857.976 | -3.075 | 49.897 | -3.057 | 50.103
858.317 | -3.077 | 49.94 | -3.066 | 50.06
858.657 | -3.078 | 49.997 | -3.078 | 50.003
858.998 | -3.077 | 50.052 | -3.086 | 49.948
859.339 | -3.071 | 50.102 | -3.088 | 49.898
859.679 | -3.06 | 50.154 | -3.086 | 49.846
860.02 | -3.046 | 50.208 | -3.082 | 49.792
860.361 | -3.037 | 50.244 | -3.08 | 49.756
860.701 | -3.032 | 50.272 | -3.079 | 49.728
861.042 | -3.032 | 50.303 | -3.085 | 49.697
861.383 | -3.031 | 50.34 | -3.09 | 49.66
861.723 | -3.025 | 50.384 | -3.092 | 49.616
862.064 | -3.02 | 50.423 | -3.093 | 49.577
862.405 | -3.014 | 50.453 | -3.093 | 49.547
862.745 | -3.008 | 50.479 | -3.091 | 49.521
863.086 | -3.003 | 50.5 | -3.09 | 49.5
863.427 | -3 | 50.517 | -3.09 | 49.483
863.768 | -2.996 | 50.554 | -3.092 | 49.446
864.108 | -2.987 | 50.623 | -3.095 | 49.377
864.449 | -2.98 | 50.681 | -3.099 | 49.319
864.79 | -2.976 | 50.726 | -3.102 | 49.274
865.13 | -2.972 | 50.778 | -3.107 | 49.222
865.471 | -2.968 | 50.829 | -3.112 | 49.171
865.812 | -2.968 | 50.864 | -3.118 | 49.136
866.152 | -2.967 | 50.9 | -3.124 | 49.1
866.493 | -2.965 | 50.938 | -3.127 | 49.062
866.834 | -2.96 | 50.97 | -3.129 | 49.03
867.174 | -2.955 | 50.998 | -3.129 | 49.002
867.515 | -2.952 | 51.034 | -3.131 | 48.966
867.856 | -2.948 | 51.07 | -3.134 | 48.93
868.196 | -2.944 | 51.102 | -3.136 | 48.898
868.537 | -2.939 | 51.145 | -3.138 | 48.855
868.878 | -2.934 | 51.203 | -3.143 | 48.797
869.218 | -2.931 | 51.253 | -3.148 | 48.747
869.559 | -2.929 | 51.296 | -3.154 | 48.704
869.9 | -2.927 | 51.34 | -3.16 | 48.66
870.24 | -2.924 | 51.387 | -3.165 | 48.613
870.581 | -2.919 | 51.445 | -3.171 | 48.555
870.922 | -2.916 | 51.492 | -3.175 | 48.508
871.263 | -2.914 | 51.524 | -3.178 | 48.476
871.603 | -2.909 | 51.571 | -3.182 | 48.429
871.944 | -2.903 | 51.627 | -3.186 | 48.373
872.285 | -2.899 | 51.693 | -3.193 | 48.307
872.625 | -2.895 | 51.759 | -3.201 | 48.241
872.966 | -2.891 | 51.819 | -3.207 | 48.181
873.307 | -2.887 | 51.866 | -3.211 | 48.134
873.647 | -2.883 | 51.901 | -3.213 | 48.099
873.988 | -2.878 | 51.941 | -3.216 | 48.059
874.329 | -2.873 | 51.985 | -3.218 | 48.015
874.669 | -2.868 | 52.043 | -3.223 | 47.957
875.01 | -2.864 | 52.094 | -3.228 | 47.906
875.351 | -2.862 | 52.127 | -3.232 | 47.873
875.691 | -2.86 | 52.165 | -3.236 | 47.835
876.032 | -2.856 | 52.21 | -3.241 | 47.79
876.373 | -2.853 | 52.254 | -3.245 | 47.746
876.713 | -2.849 | 52.298 | -3.248 | 47.702
877.054 | -2.844 | 52.35 | -3.253 | 47.65
877.395 | -2.84 | 52.406 | -3.258 | 47.594
877.735 | -2.835 | 52.47 | -3.264 | 47.53
878.076 | -2.831 | 52.515 | -3.268 | 47.485
878.417 | -2.828 | 52.546 | -3.271 | 47.454
878.758 | -2.825 | 52.581 | -3.274 | 47.419
879.098 | -2.822 | 52.621 | -3.277 | 47.379
879.439 | -2.816 | 52.679 | -3.282 | 47.321
879.78 | -2.811 | 52.737 | -3.287 | 47.263
880.12 | -2.808 | 52.795 | -3.294 | 47.205
880.461 | -2.805 | 52.854 | -3.301 | 47.146
880.802 | -2.802 | 52.916 | -3.309 | 47.084
881.142 | -2.796 | 52.99 | -3.316 | 47.01
881.483 | -2.79 | 53.061 | -3.322 | 46.939
881.824 | -2.784 | 53.102 | -3.323 | 46.898
882.164 | -2.779 | 53.141 | -3.325 | 46.859
882.505 | -2.774 | 53.181 | -3.328 | 46.819
882.846 | -2.771 | 53.236 | -3.334 | 46.764
883.186 | -2.769 | 53.301 | -3.343 | 46.699
883.527 | -2.766 | 53.358 | -3.35 | 46.642
883.868 | -2.762 | 53.412 | -3.356 | 46.588
884.208 | -2.758 | 53.456 | -3.359 | 46.544
884.549 | -2.751 | 53.508 | -3.362 | 46.492
884.89 | -2.742 | 53.572 | -3.364 | 46.428
885.23 | -2.738 | 53.625 | -3.368 | 46.375
885.571 | -2.735 | 53.674 | -3.374 | 46.326
885.912 | -2.731 | 53.717 | -3.378 | 46.283
886.253 | -2.728 | 53.761 | -3.383 | 46.239
886.593 | -2.725 | 53.81 | -3.388 | 46.19
886.934 | -2.721 | 53.868 | -3.394 | 46.132
887.275 | -2.715 | 53.937 | -3.401 | 46.063
887.615 | -2.711 | 54.003 | -3.408 | 45.997
887.956 | -2.708 | 54.068 | -3.416 | 45.932
888.297 | -2.707 | 54.077 | -3.416 | 45.923
888.637 | -2.704 | 54.104 | -3.418 | 45.896
888.978 | -2.695 | 54.188 | -3.424 | 45.812
889.319 | -2.688 | 54.258 | -3.43 | 45.742
889.659 | -2.684 | 54.312 | -3.435 | 45.688
890 | -2.678 | 54.378 | -3.44 | 45.622