## Phase vs Voltage
Phase Stroke vs. Voltage
|  | Voltage (V) | Phase Stroke (π rad)
|  | 0.2119 | -0.02212
|  | 0.21236 | -0.02209
|  | 0.21328 | -0.02202
|  | 0.21468 | -0.02193
Product Raw Data |  | 0.21656 | -0.0218
Piezo-Based Fiber Phase Shifter |  | 0.21891 | -0.02164
|  | 0.22173 | -0.02145
Item # | FVP155 | 0.22502 | -0.02122
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 0.22879 | -0.02096
|  | 0.23303 | -0.02067
|  | 0.23775 | -0.02035
|  | 0.24293 | -0.02
|  | 0.24859 | -0.01961
|  | 0.25473 | -0.01919
This data may be used in publications. However, please cite Thorlabs as the source. |  | 0.26134 | -0.01874
|  | 0.26842 | -0.01826
|  | 0.27597 | -0.01774
Additional Information: |  | 0.284 | -0.01719
Measured with 1550 nm input light at 25 °C. The phase stroke versus voltage was measured at 2000 Hz |  | 0.29249 | -0.01661
|  | 0.30147 | -0.016
|  | 0.31091 | -0.01535
|  | 0.32083 | -0.01467
|  | 0.33122 | -0.01396
|  | 0.34208 | -0.01322
|  | 0.35342 | -0.01244
|  | 0.36523 | -0.01163
|  | 0.37751 | -0.01079
|  | 0.39026 | -0.00992
|  | 0.40349 | -0.00901
|  | 0.41718 | -0.00807
|  | 0.43135 | -0.0071
|  | 0.446 | -0.00609
|  | 0.46111 | -0.00505
|  | 0.4767 | -0.00398
|  | 0.49275 | -0.00287
|  | 0.50928 | -0.00174
|  | 0.52628 | -0.00056478
|  | 0.54375 | 0.0006396
|  | 0.5617 | 0.00188
|  | 0.58011 | 0.00315
|  | 0.599 | 0.00445
|  | 0.61835 | 0.00579
|  | 0.63818 | 0.00716
|  | 0.65848 | 0.00857
|  | 0.67925 | 0.01
|  | 0.70049 | 0.01147
|  | 0.7222 | 0.01298
|  | 0.74438 | 0.01452
|  | 0.76702 | 0.01609
|  | 0.79014 | 0.0177
|  | 0.81373 | 0.01934
|  | 0.83779 | 0.02101
|  | 0.86232 | 0.02272
|  | 0.88732 | 0.02446
|  | 0.91279 | 0.02624
|  | 0.93872 | 0.02805
|  | 0.96513 | 0.0299
|  | 0.992 | 0.03178
|  | 1.0193 | 0.03369
|  | 1.0472 | 0.03564
|  | 1.0754 | 0.03762
|  | 1.1042 | 0.03964
|  | 1.1334 | 0.04169
|  | 1.1631 | 0.04378
|  | 1.1932 | 0.0459
|  | 1.2238 | 0.04806
|  | 1.2549 | 0.05025
|  | 1.2865 | 0.05248
|  | 1.3185 | 0.05474
|  | 1.351 | 0.05704
|  | 1.3839 | 0.05937
|  | 1.4173 | 0.06174
|  | 1.4512 | 0.06414
|  | 1.4856 | 0.06658
|  | 1.5204 | 0.06906
|  | 1.5556 | 0.07157
|  | 1.5914 | 0.07411
|  | 1.6276 | 0.0767
|  | 1.6643 | 0.07932
|  | 1.7014 | 0.08197
|  | 1.739 | 0.08466
|  | 1.7771 | 0.08739
|  | 1.8156 | 0.09015
|  | 1.8546 | 0.09296
|  | 1.894 | 0.09579
|  | 1.934 | 0.09867
|  | 1.9743 | 0.10158
|  | 2.0152 | 0.10453
|  | 2.0565 | 0.10751
|  | 2.0982 | 0.11053
|  | 2.1405 | 0.11359
|  | 2.1831 | 0.11669
|  | 2.2263 | 0.11982
|  | 2.2699 | 0.12299
|  | 2.314 | 0.1262
|  | 2.3585 | 0.12945
|  | 2.4035 | 0.13273
|  | 2.4489 | 0.13606
|  | 2.4949 | 0.13942
|  | 2.5412 | 0.14282
|  | 2.588 | 0.14625
|  | 2.6353 | 0.14973
|  | 2.6831 | 0.15324
|  | 2.7313 | 0.15679
|  | 2.7799 | 0.16038
|  | 2.8291 | 0.16401
|  | 2.8786 | 0.16768
|  | 2.9287 | 0.17139
|  | 2.9791 | 0.17514
|  | 3.0301 | 0.17892
|  | 3.0815 | 0.18275
|  | 3.1333 | 0.18661
|  | 3.1856 | 0.19052
|  | 3.2384 | 0.19446
|  | 3.2916 | 0.19845
|  | 3.3453 | 0.20247
|  | 3.3994 | 0.20653
|  | 3.454 | 0.21064
|  | 3.509 | 0.21478
|  | 3.5645 | 0.21897
|  | 3.6204 | 0.22319
|  | 3.6768 | 0.22746
|  | 3.7336 | 0.23176
|  | 3.7909 | 0.23611
|  | 3.8487 | 0.2405
|  | 3.9069 | 0.24493
|  | 3.9655 | 0.2494
|  | 4.0246 | 0.25391
|  | 4.0841 | 0.25846
|  | 4.1441 | 0.26306
|  | 4.2046 | 0.26769
|  | 4.2654 | 0.27237
|  | 4.3268 | 0.27709
|  | 4.3886 | 0.28185
|  | 4.4508 | 0.28665
|  | 4.5134 | 0.2915
|  | 4.5766 | 0.29639
|  | 4.6401 | 0.30132
|  | 4.7041 | 0.30629
|  | 4.7686 | 0.31131
|  | 4.8335 | 0.31637
|  | 4.8989 | 0.32147
|  | 4.9646 | 0.32661
|  | 5.0309 | 0.3318
|  | 5.0975 | 0.33703
|  | 5.1647 | 0.3423
|  | 5.2322 | 0.34762
|  | 5.3002 | 0.35298
|  | 5.3687 | 0.35839
|  | 5.4375 | 0.36384
|  | 5.5069 | 0.36933
|  | 5.5766 | 0.37486
|  | 5.6468 | 0.38045
|  | 5.7175 | 0.38607
|  | 5.7886 | 0.39174
|  | 5.8601 | 0.39745
|  | 5.932 | 0.40321
|  | 6.0044 | 0.40902
|  | 6.0773 | 0.41486
|  | 6.1505 | 0.42076
|  | 6.2242 | 0.42669
|  | 6.2984 | 0.43268
|  | 6.373 | 0.43871
|  | 6.4479 | 0.44478
|  | 6.5234 | 0.4509
|  | 6.5993 | 0.45706
|  | 6.6756 | 0.46328
|  | 6.7523 | 0.46953
|  | 6.8295 | 0.47583
|  | 6.9071 | 0.48218
|  | 6.9851 | 0.48858
|  | 7.0636 | 0.49502
|  | 7.1425 | 0.5015
|  | 7.2218 | 0.50804
|  | 7.3016 | 0.51462
|  | 7.3818 | 0.52125
|  | 7.4624 | 0.52792
|  | 7.5434 | 0.53464
|  | 7.6249 | 0.54141
|  | 7.7068 | 0.54822
|  | 7.7891 | 0.55508
|  | 7.8719 | 0.56199
|  | 7.955 | 0.56895
|  | 8.0386 | 0.57595
|  | 8.1226 | 0.583
|  | 8.2071 | 0.5901
|  | 8.2919 | 0.59725
|  | 8.3772 | 0.60444
|  | 8.4629 | 0.61169
|  | 8.5491 | 0.61898
|  | 8.6356 | 0.62631
|  | 8.7226 | 0.6337
|  | 8.81 | 0.64114
|  | 8.8978 | 0.64862
|  | 8.986 | 0.65615
|  | 9.0747 | 0.66373
|  | 9.1637 | 0.67136
|  | 9.2532 | 0.67904
|  | 9.3431 | 0.68677
|  | 9.4334 | 0.69454
|  | 9.5242 | 0.70237
|  | 9.6153 | 0.71024
|  | 9.7069 | 0.71816
|  | 9.7988 | 0.72613
|  | 9.8912 | 0.73415
|  | 9.984 | 0.74223
|  | 10.0772 | 0.75035
|  | 10.1708 | 0.75852
|  | 10.2649 | 0.76673
|  | 10.3593 | 0.775
|  | 10.4542 | 0.78332
|  | 10.5494 | 0.79169
|  | 10.6451 | 0.80011
|  | 10.7411 | 0.80858
|  | 10.8376 | 0.8171
|  | 10.9345 | 0.82566
|  | 11.0318 | 0.83428
|  | 11.1295 | 0.84295
|  | 11.2276 | 0.85167
|  | 11.3261 | 0.86044
|  | 11.425 | 0.86926
|  | 11.5243 | 0.87813
|  | 11.624 | 0.88705
|  | 11.7242 | 0.89602
|  | 11.8247 | 0.90504
|  | 11.9256 | 0.91412
|  | 12.0269 | 0.92324
|  | 12.1286 | 0.93241
|  | 12.2307 | 0.94164
|  | 12.3332 | 0.95092
|  | 12.4361 | 0.96024
|  | 12.5394 | 0.96962
|  | 12.6431 | 0.97905
|  | 12.7472 | 0.98853
|  | 12.8517 | 0.99806
|  | 12.9566 | 1.0076
|  | 13.0619 | 1.0173
|  | 13.1675 | 1.027
|  | 13.2736 | 1.0367
|  | 13.38 | 1.0465
|  | 13.4869 | 1.0563
|  | 13.5941 | 1.0662
|  | 13.7017 | 1.0761
|  | 13.8097 | 1.0861
|  | 13.9181 | 1.0962
|  | 14.0269 | 1.1063
|  | 14.1361 | 1.1164
|  | 14.2456 | 1.1266
|  | 14.3555 | 1.1369
|  | 14.4659 | 1.1472
|  | 14.5766 | 1.1575
|  | 14.6876 | 1.1679
|  | 14.7991 | 1.1784
|  | 14.911 | 1.1889
|  | 15.0232 | 1.1995
|  | 15.1358 | 1.2101
|  | 15.2488 | 1.2207
|  | 15.3622 | 1.2314
|  | 15.4759 | 1.2422
|  | 15.59 | 1.253
|  | 15.7045 | 1.2639
|  | 15.8194 | 1.2748
|  | 15.9346 | 1.2858
|  | 16.0503 | 1.2968
|  | 16.1663 | 1.3079
|  | 16.2826 | 1.319
|  | 16.3994 | 1.3302
|  | 16.5165 | 1.3414
|  | 16.634 | 1.3527
|  | 16.7518 | 1.364
|  | 16.87 | 1.3754
|  | 16.9886 | 1.3869
|  | 17.1076 | 1.3983
|  | 17.2269 | 1.4099
|  | 17.3466 | 1.4215
|  | 17.4667 | 1.4331
|  | 17.5871 | 1.4448
|  | 17.7079 | 1.4566
|  | 17.829 | 1.4684
|  | 17.9505 | 1.4802
|  | 18.0724 | 1.4921
|  | 18.1946 | 1.5041
|  | 18.3172 | 1.5161
|  | 18.4401 | 1.5281
|  | 18.5634 | 1.5402
|  | 18.6871 | 1.5524
|  | 18.8111 | 1.5646
|  | 18.9355 | 1.5769
|  | 19.0602 | 1.5892
|  | 19.1853 | 1.6015
|  | 19.3107 | 1.6139
|  | 19.4365 | 1.6264
|  | 19.5627 | 1.6389
|  | 19.6892 | 1.6515
|  | 19.816 | 1.6641
|  | 19.9432 | 1.6767
|  | 20.0708 | 1.6895
|  | 20.1987 | 1.7022
|  | 20.3269 | 1.715
|  | 20.4555 | 1.7279
|  | 20.5844 | 1.7408
|  | 20.7137 | 1.7538
|  | 20.8433 | 1.7668
|  | 20.9733 | 1.7799
|  | 21.1036 | 1.793
|  | 21.2342 | 1.8062
|  | 21.3652 | 1.8194
|  | 21.4965 | 1.8326
|  | 21.6282 | 1.846
|  | 21.7602 | 1.8593
|  | 21.8925 | 1.8728
|  | 22.0252 | 1.8862
|  | 22.1582 | 1.8997
|  | 22.2916 | 1.9133
|  | 22.4253 | 1.9269
|  | 22.5593 | 1.9406
|  | 22.6936 | 1.9543
|  | 22.8283 | 1.9681
|  | 22.9633 | 1.9819
|  | 23.0987 | 1.9957
|  | 23.2343 | 2.0096
|  | 23.3703 | 2.0236
|  | 23.5066 | 2.0376
|  | 23.6433 | 2.0516
|  | 23.7803 | 2.0657
|  | 23.9176 | 2.0799
|  | 24.0552 | 2.0941
|  | 24.1931 | 2.1084
|  | 24.3314 | 2.1226
|  | 24.47 | 2.137
|  | 24.6089 | 2.1514
|  | 24.7481 | 2.1658
|  | 24.8877 | 2.1803
|  | 25.0275 | 2.1948
|  | 25.1677 | 2.2094
|  | 25.3082 | 2.224
|  | 25.449 | 2.2387
|  | 25.5902 | 2.2534
|  | 25.7316 | 2.2682
|  | 25.8733 | 2.283
|  | 26.0154 | 2.2979
|  | 26.1578 | 2.3128
|  | 26.3005 | 2.3277
|  | 26.4434 | 2.3427
|  | 26.5867 | 2.3578
|  | 26.7304 | 2.3729
|  | 26.8743 | 2.388
|  | 27.0185 | 2.4032
|  | 27.163 | 2.4184
|  | 27.3078 | 2.4337
|  | 27.453 | 2.449
|  | 27.5984 | 2.4643
|  | 27.7441 | 2.4797
|  | 27.8901 | 2.4952
|  | 28.0364 | 2.5107
|  | 28.1831 | 2.5262
|  | 28.33 | 2.5418
|  | 28.4772 | 2.5574
|  | 28.6247 | 2.5731
|  | 28.7725 | 2.5888
|  | 28.9206 | 2.6046
|  | 29.069 | 2.6204
|  | 29.2177 | 2.6362
|  | 29.3667 | 2.6521
|  | 29.5159 | 2.668
|  | 29.6655 | 2.684
|  | 29.8153 | 2.7
|  | 29.9654 | 2.7161
|  | 30.1158 | 2.7322
|  | 30.2665 | 2.7483
|  | 30.4175 | 2.7645
|  | 30.5688 | 2.7807
|  | 30.7203 | 2.797
|  | 30.8721 | 2.8133
|  | 31.0242 | 2.8296
|  | 31.1766 | 2.846
|  | 31.3293 | 2.8625
|  | 31.4822 | 2.8789
|  | 31.6354 | 2.8954
|  | 31.7889 | 2.912
|  | 31.9427 | 2.9286
|  | 32.0967 | 2.9452
|  | 32.251 | 2.9619
|  | 32.4056 | 2.9786
|  | 32.5604 | 2.9954
|  | 32.7155 | 3.0121
|  | 32.8709 | 3.029
|  | 33.0266 | 3.0458
|  | 33.1825 | 3.0627
|  | 33.3387 | 3.0797
|  | 33.4951 | 3.0967
|  | 33.6518 | 3.1137
|  | 33.8088 | 3.1307
|  | 33.966 | 3.1478
|  | 34.1235 | 3.165
|  | 34.2812 | 3.1821
|  | 34.4393 | 3.1993
|  | 34.5975 | 3.2166
|  | 34.756 | 3.2338
|  | 34.9148 | 3.2512
|  | 35.0739 | 3.2685
|  | 35.2331 | 3.2859
|  | 35.3927 | 3.3033
|  | 35.5525 | 3.3208
|  | 35.7125 | 3.3383
|  | 35.8728 | 3.3558
|  | 36.0333 | 3.3734
|  | 36.1941 | 3.391
|  | 36.3551 | 3.4086
|  | 36.5164 | 3.4263
|  | 36.6779 | 3.444
|  | 36.8397 | 3.4617
|  | 37.0017 | 3.4794
|  | 37.1639 | 3.4973
|  | 37.3264 | 3.5151
|  | 37.4891 | 3.5329
|  | 37.6521 | 3.5508
|  | 37.8153 | 3.5688
|  | 37.9787 | 3.5867
|  | 38.1424 | 3.6047
|  | 38.3063 | 3.6228
|  | 38.4704 | 3.6408
|  | 38.6348 | 3.6589
|  | 38.7994 | 3.677
|  | 38.9642 | 3.6952
|  | 39.1293 | 3.7134
|  | 39.2946 | 3.7316
|  | 39.4601 | 3.7498
|  | 39.6258 | 3.7681
|  | 39.7918 | 3.7864
|  | 39.958 | 3.8047
|  | 40.1244 | 3.8231
|  | 40.291 | 3.8415
|  | 40.4579 | 3.8599
|  | 40.6249 | 3.8783
|  | 40.7922 | 3.8968
|  | 40.9597 | 3.9153
|  | 41.1274 | 3.9338
|  | 41.2954 | 3.9524
|  | 41.4635 | 3.971
|  | 41.6319 | 3.9896
|  | 41.8004 | 4.0082
|  | 41.9692 | 4.0269
|  | 42.1382 | 4.0456
|  | 42.3074 | 4.0643
|  | 42.4768 | 4.0831
|  | 42.6464 | 4.1018
|  | 42.8162 | 4.1206
|  | 42.9863 | 4.1394
|  | 43.1565 | 4.1583
|  | 43.3269 | 4.1772
|  | 43.4976 | 4.1961
|  | 43.6684 | 4.215
|  | 43.8394 | 4.2339
|  | 44.0106 | 4.2529
|  | 44.1821 | 4.2719
|  | 44.3537 | 4.2909
|  | 44.5255 | 4.3099
|  | 44.6975 | 4.329
|  | 44.8697 | 4.3481
|  | 45.0421 | 4.3672
|  | 45.2147 | 4.3863
|  | 45.3875 | 4.4055
|  | 45.5604 | 4.4246
|  | 45.7336 | 4.4438
|  | 45.9069 | 4.463
|  | 46.0804 | 4.4823
|  | 46.2541 | 4.5015
|  | 46.428 | 4.5208
|  | 46.6021 | 4.5401
|  | 46.7763 | 4.5594
|  | 46.9507 | 4.5787
|  | 47.1253 | 4.5981
|  | 47.3001 | 4.6175
|  | 47.4751 | 4.6369
|  | 47.6502 | 4.6563
|  | 47.8255 | 4.6757
|  | 48.001 | 4.6951
|  | 48.1766 | 4.7146
|  | 48.3524 | 4.7341
|  | 48.5284 | 4.7536
|  | 48.7046 | 4.7731
|  | 48.8809 | 4.7927
|  | 49.0574 | 4.8122
|  | 49.2341 | 4.8318
|  | 49.4109 | 4.8514
|  | 49.5879 | 4.871
|  | 49.765 | 4.8906
|  | 49.9423 | 4.9102
|  | 50.1198 | 4.9299
|  | 50.2974 | 4.9495
|  | 50.4752 | 4.9692
|  | 50.6531 | 4.9889
|  | 50.8312 | 5.0086
|  | 51.0094 | 5.0283
|  | 51.1878 | 5.048
|  | 51.3664 | 5.0678
|  | 51.5451 | 5.0876
|  | 51.7239 | 5.1073
|  | 51.9029 | 5.1271
|  | 52.0821 | 5.1469
|  | 52.2613 | 5.1667
|  | 52.4408 | 5.1866
|  | 52.6203 | 5.2064
|  | 52.8 | 5.2262
|  | 52.9799 | 5.2461
|  | 53.1599 | 5.266
|  | 53.34 | 5.2858
|  | 53.5203 | 5.3057
|  | 53.7007 | 5.3256
|  | 53.8813 | 5.3456
|  | 54.062 | 5.3655
|  | 54.2428 | 5.3854
|  | 54.4237 | 5.4054
|  | 54.6048 | 5.4253
|  | 54.786 | 5.4453
|  | 54.9673 | 5.4652
|  | 55.1488 | 5.4852
|  | 55.3304 | 5.5052
|  | 55.5121 | 5.5252
|  | 55.694 | 5.5452
|  | 55.8759 | 5.5652
|  | 56.058 | 5.5852
|  | 56.2402 | 5.6052
|  | 56.4225 | 5.6253
|  | 56.605 | 5.6453
|  | 56.7875 | 5.6654
|  | 56.9702 | 5.6854
|  | 57.153 | 5.7055
|  | 57.3359 | 5.7255
|  | 57.5189 | 5.7456
|  | 57.702 | 5.7657
|  | 57.8853 | 5.7858
|  | 58.0686 | 5.8058
|  | 58.2521 | 5.8259
|  | 58.4357 | 5.846
|  | 58.6193 | 5.8661
|  | 58.8031 | 5.8862
|  | 58.987 | 5.9063
|  | 59.1709 | 5.9264
|  | 59.355 | 5.9466
|  | 59.5392 | 5.9667
|  | 59.7235 | 5.9868
|  | 59.9079 | 6.0069
|  | 60.0923 | 6.027
|  | 60.2769 | 6.0472
|  | 60.4616 | 6.0673
|  | 60.6463 | 6.0874
|  | 60.8312 | 6.1075
|  | 61.0161 | 6.1277
|  | 61.2011 | 6.1478
|  | 61.3862 | 6.1679
|  | 61.5714 | 6.1881
|  | 61.7567 | 6.2082
|  | 61.9421 | 6.2283
|  | 62.1275 | 6.2485
|  | 62.3131 | 6.2686
|  | 62.4987 | 6.2888
|  | 62.6844 | 6.3089
|  | 62.8702 | 6.329
|  | 63.056 | 6.3492
|  | 63.242 | 6.3693
|  | 63.428 | 6.3894
|  | 63.614 | 6.4096
|  | 63.8002 | 6.4297
|  | 63.9864 | 6.4498
|  | 64.1727 | 6.4699
|  | 64.3591 | 6.4901
|  | 64.5455 | 6.5102
|  | 64.732 | 6.5303
|  | 64.9186 | 6.5504
|  | 65.1052 | 6.5705
|  | 65.2919 | 6.5906
|  | 65.4787 | 6.6107
|  | 65.6655 | 6.6308
|  | 65.8524 | 6.6509
|  | 66.0393 | 6.671
|  | 66.2263 | 6.6911
|  | 66.4133 | 6.7111
|  | 66.6004 | 6.7312
|  | 66.7876 | 6.7513
|  | 66.9748 | 6.7714
|  | 67.1621 | 6.7914
|  | 67.3494 | 6.8115
|  | 67.5367 | 6.8315
|  | 67.7242 | 6.8516
|  | 67.9116 | 6.8716
|  | 68.0991 | 6.8916
|  | 68.2867 | 6.9117
|  | 68.4743 | 6.9317
|  | 68.6619 | 6.9517
|  | 68.8496 | 6.9717
|  | 69.0373 | 6.9917
|  | 69.225 | 7.0117
|  | 69.4128 | 7.0316
|  | 69.6007 | 7.0516
|  | 69.7885 | 7.0716
|  | 69.9764 | 7.0915
|  | 70.1644 | 7.1115
|  | 70.3523 | 7.1314
|  | 70.5403 | 7.1514
|  | 70.7283 | 7.1713
|  | 70.9164 | 7.1912
|  | 71.1045 | 7.2111
|  | 71.2926 | 7.231
|  | 71.4807 | 7.2509
|  | 71.6688 | 7.2707
|  | 71.857 | 7.2906
|  | 72.0452 | 7.3105
|  | 72.2334 | 7.3303
|  | 72.4216 | 7.3501
|  | 72.6099 | 7.37
|  | 72.7982 | 7.3898
|  | 72.9864 | 7.4096
|  | 73.1747 | 7.4294
|  | 73.363 | 7.4491
|  | 73.5513 | 7.4689
|  | 73.7397 | 7.4887
|  | 73.928 | 7.5084
|  | 74.1164 | 7.5281
|  | 74.3047 | 7.5479
|  | 74.4931 | 7.5675
|  | 74.6814 | 7.5873
|  | 74.8698 | 7.6069
|  | 75.0581 | 7.6266
|  | 75.2465 | 7.6463
|  | 75.4349 | 7.6659
|  | 75.6232 | 7.6855
|  | 75.8116 | 7.7051
|  | 76 | 7.7247
|  | 76.1883 | 7.7443
|  | 76.3767 | 7.7639
|  | 76.565 | 7.7835
|  | 76.7533 | 7.803
|  | 76.9416 | 7.8225
|  | 77.1299 | 7.842
|  | 77.3182 | 7.8615
|  | 77.5065 | 7.881
|  | 77.6948 | 7.9005
|  | 77.883 | 7.92
|  | 78.0713 | 7.9394
|  | 78.2595 | 7.9588
|  | 78.4477 | 7.9782
|  | 78.6358 | 7.9976
|  | 78.824 | 8.017
|  | 79.0121 | 8.0364
|  | 79.2002 | 8.0557
|  | 79.3883 | 8.075
|  | 79.5764 | 8.0943
|  | 79.7644 | 8.1136
|  | 79.9524 | 8.1329
|  | 80.1403 | 8.1522
|  | 80.3283 | 8.1714
|  | 80.5162 | 8.1906
|  | 80.704 | 8.2098
|  | 80.8919 | 8.229
|  | 81.0797 | 8.2482
|  | 81.2674 | 8.2674
|  | 81.4551 | 8.2865
|  | 81.6428 | 8.3056
|  | 81.8305 | 8.3247
|  | 82.0181 | 8.3438
|  | 82.2056 | 8.3629
|  | 82.3931 | 8.3819
|  | 82.5806 | 8.401
|  | 82.768 | 8.42
|  | 82.9554 | 8.439
|  | 83.1427 | 8.4579
|  | 83.33 | 8.4769
|  | 83.5172 | 8.4958
|  | 83.7043 | 8.5147
|  | 83.8915 | 8.5336
|  | 84.0785 | 8.5525
|  | 84.2655 | 8.5714
|  | 84.4524 | 8.5902
|  | 84.6393 | 8.609
|  | 84.8261 | 8.6278
|  | 85.0129 | 8.6466
|  | 85.1996 | 8.6653
|  | 85.3862 | 8.6841
|  | 85.5728 | 8.7028
|  | 85.7593 | 8.7215
|  | 85.9458 | 8.7401
|  | 86.1321 | 8.7588
|  | 86.3184 | 8.7774
|  | 86.5047 | 8.796
|  | 86.6908 | 8.8146
|  | 86.8769 | 8.8332
|  | 87.0629 | 8.8517
|  | 87.2489 | 8.8702
|  | 87.4347 | 8.8887
|  | 87.6205 | 8.9072
|  | 87.8062 | 8.9256
|  | 87.9918 | 8.9441
|  | 88.1774 | 8.9625
|  | 88.3628 | 8.9809
|  | 88.5482 | 8.9992
|  | 88.7335 | 9.0176
|  | 88.9187 | 9.0359
|  | 89.1038 | 9.0542
|  | 89.2889 | 9.0725
|  | 89.4738 | 9.0907
|  | 89.6586 | 9.1089
|  | 89.8434 | 9.1271
|  | 90.0281 | 9.1453
|  | 90.2127 | 9.1635
|  | 90.3971 | 9.1816
|  | 90.5815 | 9.1997
|  | 90.7658 | 9.2178
|  | 90.95 | 9.2359
|  | 91.1341 | 9.2539
|  | 91.3181 | 9.2719
|  | 91.5019 | 9.2899
|  | 91.6857 | 9.3079
|  | 91.8694 | 9.3258
|  | 92.053 | 9.3437
|  | 92.2364 | 9.3616
|  | 92.4198 | 9.3795
|  | 92.603 | 9.3973
|  | 92.7862 | 9.4151
|  | 92.9692 | 9.4329
|  | 93.1521 | 9.4507
|  | 93.3349 | 9.4684
|  | 93.5176 | 9.4861
|  | 93.7002 | 9.5038
|  | 93.8826 | 9.5215
|  | 94.065 | 9.5391
|  | 94.2472 | 9.5567
|  | 94.4293 | 9.5743
|  | 94.6112 | 9.5919
|  | 94.7931 | 9.6094
|  | 94.9748 | 9.6269
|  | 95.1564 | 9.6444
|  | 95.3379 | 9.6618
|  | 95.5192 | 9.6793
|  | 95.7005 | 9.6967
|  | 95.8816 | 9.7141
|  | 96.0625 | 9.7314
|  | 96.2433 | 9.7487
|  | 96.424 | 9.766
|  | 96.6046 | 9.7833
|  | 96.785 | 9.8005
|  | 96.9653 | 9.8177
|  | 97.1454 | 9.8349
|  | 97.3254 | 9.8521
|  | 97.5053 | 9.8692
|  | 97.685 | 9.8863
|  | 97.8646 | 9.9034
|  | 98.0441 | 9.9204
|  | 98.2234 | 9.9375
|  | 98.4025 | 9.9544
|  | 98.5815 | 9.9714
|  | 98.7604 | 9.9884
|  | 98.9391 | 10.0053
|  | 99.1176 | 10.0221
|  | 99.296 | 10.039
|  | 99.4743 | 10.0558
|  | 99.6524 | 10.0726
|  | 99.8303 | 10.0894
|  | 100.0081 | 10.1061
|  | 100.1858 | 10.1228
|  | 100.3632 | 10.1395
|  | 100.5406 | 10.1562
|  | 100.7177 | 10.1728
|  | 100.8947 | 10.1894
|  | 101.0716 | 10.2059
|  | 101.2482 | 10.2225
|  | 101.4247 | 10.239
|  | 101.6011 | 10.2554
|  | 101.7772 | 10.2719
|  | 101.9532 | 10.2883
|  | 102.1291 | 10.3047
|  | 102.3047 | 10.3211
|  | 102.4802 | 10.3374
|  | 102.6555 | 10.3537
|  | 102.8307 | 10.3699
|  | 103.0057 | 10.3862
|  | 103.1804 | 10.4024
|  | 103.3551 | 10.4186
|  | 103.5295 | 10.4347
|  | 103.7038 | 10.4509
|  | 103.8778 | 10.4669
|  | 104.0517 | 10.483
|  | 104.2254 | 10.499
|  | 104.399 | 10.515
|  | 104.5723 | 10.531
|  | 104.7455 | 10.5469
|  | 104.9185 | 10.5628
|  | 105.0913 | 10.5787
|  | 105.2639 | 10.5945
|  | 105.4363 | 10.6104
|  | 105.6085 | 10.6261
|  | 105.7805 | 10.6419
|  | 105.9523 | 10.6576
|  | 106.124 | 10.6733
|  | 106.2954 | 10.6889
|  | 106.4667 | 10.7046
|  | 106.6377 | 10.7202
|  | 106.8085 | 10.7357
|  | 106.9792 | 10.7513
|  | 107.1496 | 10.7667
|  | 107.3199 | 10.7822
|  | 107.4899 | 10.7976
|  | 107.6598 | 10.813
|  | 107.8294 | 10.8284
|  | 107.9988 | 10.8438
|  | 108.168 | 10.8591
|  | 108.337 | 10.8743
|  | 108.5058 | 10.8896
|  | 108.6744 | 10.9048
|  | 108.8428 | 10.92
|  | 109.011 | 10.9351
|  | 109.1789 | 10.9502
|  | 109.3466 | 10.9653
|  | 109.5142 | 10.9803
|  | 109.6815 | 10.9954
|  | 109.8486 | 11.0103
|  | 110.0154 | 11.0253
|  | 110.1821 | 11.0402
|  | 110.3485 | 11.0551
|  | 110.5147 | 11.0699
|  | 110.6807 | 11.0847
|  | 110.8464 | 11.0995
|  | 111.012 | 11.1143
|  | 111.1773 | 11.129
|  | 111.3423 | 11.1437
|  | 111.5072 | 11.1583
|  | 111.6718 | 11.173
|  | 111.8362 | 11.1875
|  | 112.0003 | 11.2021
|  | 112.1643 | 11.2166
|  | 112.328 | 11.2311
|  | 112.4914 | 11.2455
|  | 112.6546 | 11.26
|  | 112.8176 | 11.2743
|  | 112.9804 | 11.2887
|  | 113.1428 | 11.303
|  | 113.3051 | 11.3173
|  | 113.4671 | 11.3315
|  | 113.6289 | 11.3457
|  | 113.7905 | 11.3599
|  | 113.9518 | 11.3741
|  | 114.1128 | 11.3882
|  | 114.2736 | 11.4022
|  | 114.4342 | 11.4163
|  | 114.5945 | 11.4303
|  | 114.7545 | 11.4443
|  | 114.9143 | 11.4582
|  | 115.0739 | 11.4721
|  | 115.2332 | 11.486
|  | 115.3923 | 11.4998
|  | 115.5511 | 11.5136
|  | 115.7096 | 11.5274
|  | 115.8679 | 11.5411
|  | 116.0259 | 11.5548
|  | 116.1837 | 11.5684
|  | 116.3412 | 11.5821
|  | 116.4984 | 11.5957
|  | 116.6554 | 11.6092
|  | 116.8122 | 11.6227
|  | 116.9686 | 11.6362
|  | 117.1248 | 11.6497
|  | 117.2808 | 11.6631
|  | 117.4364 | 11.6765
|  | 117.5918 | 11.6898
|  | 117.747 | 11.7031
|  | 117.9018 | 11.7164
|  | 118.0564 | 11.7296
|  | 118.2108 | 11.7428
|  | 118.3648 | 11.756
|  | 118.5186 | 11.7691
|  | 118.6721 | 11.7822
|  | 118.8253 | 11.7952
|  | 118.9783 | 11.8083
|  | 119.131 | 11.8213
|  | 119.2834 | 11.8342
|  | 119.4355 | 11.8471
|  | 119.5874 | 11.86
|  | 119.7389 | 11.8728
|  | 119.8902 | 11.8857
|  | 120.0412 | 11.8984
|  | 120.1919 | 11.9111
|  | 120.3423 | 11.9238
|  | 120.4925 | 11.9365
|  | 120.6423 | 11.9491
|  | 120.7919 | 11.9617
|  | 120.9412 | 11.9743
|  | 121.0902 | 11.9868
|  | 121.2389 | 11.9993
|  | 121.3873 | 12.0117
|  | 121.5354 | 12.0241
|  | 121.6833 | 12.0365
|  | 121.8308 | 12.0488
|  | 121.978 | 12.0611
|  | 122.125 | 12.0734
|  | 122.2716 | 12.0856
|  | 122.418 | 12.0978
|  | 122.564 | 12.1099
|  | 122.7098 | 12.1221
|  | 122.8552 | 12.1341
|  | 123.0004 | 12.1462
|  | 123.1452 | 12.1582
|  | 123.2898 | 12.1701
|  | 123.434 | 12.1821
|  | 123.578 | 12.194
|  | 123.7216 | 12.2058
|  | 123.8649 | 12.2177
|  | 124.0079 | 12.2294
|  | 124.1506 | 12.2412
|  | 124.293 | 12.2529
|  | 124.4351 | 12.2645
|  | 124.5769 | 12.2762
|  | 124.7184 | 12.2878
|  | 124.8595 | 12.2993
|  | 125.0003 | 12.3109
|  | 125.1409 | 12.3224
|  | 125.2811 | 12.3338
|  | 125.421 | 12.3452
|  | 125.5605 | 12.3566
|  | 125.6998 | 12.3679
|  | 125.8387 | 12.3792
|  | 125.9773 | 12.3905
|  | 126.1156 | 12.4017
|  | 126.2536 | 12.4129
|  | 126.3912 | 12.424
|  | 126.5286 | 12.4351
|  | 126.6656 | 12.4462
|  | 126.8023 | 12.4573
|  | 126.9386 | 12.4682
|  | 127.0746 | 12.4792
|  | 127.2103 | 12.4901
|  | 127.3457 | 12.501
|  | 127.4807 | 12.5119
|  | 127.6154 | 12.5227
|  | 127.7498 | 12.5335
|  | 127.8838 | 12.5442
|  | 128.0175 | 12.5549
|  | 128.1509 | 12.5655
|  | 128.284 | 12.5762
|  | 128.4167 | 12.5868
|  | 128.549 | 12.5973
|  | 128.6811 | 12.6078
|  | 128.8128 | 12.6183
|  | 128.9441 | 12.6287
|  | 129.0751 | 12.6391
|  | 129.2058 | 12.6495
|  | 129.3361 | 12.6598
|  | 129.4661 | 12.6701
|  | 129.5958 | 12.6803
|  | 129.7251 | 12.6905
|  | 129.854 | 12.7007
|  | 129.9827 | 12.7108
|  | 130.1109 | 12.7209
|  | 130.2388 | 12.731
|  | 130.3664 | 12.741
|  | 130.4936 | 12.751
|  | 130.6205 | 12.7609
|  | 130.747 | 12.7708
|  | 130.8732 | 12.7807
|  | 130.999 | 12.7905
|  | 131.1245 | 12.8003
|  | 131.2496 | 12.8101
|  | 131.3744 | 12.8198
|  | 131.4988 | 12.8294
|  | 131.6228 | 12.8391
|  | 131.7465 | 12.8487
|  | 131.8699 | 12.8582
|  | 131.9928 | 12.8678
|  | 132.1154 | 12.8773
|  | 132.2377 | 12.8867
|  | 132.3596 | 12.8961
|  | 132.4811 | 12.9055
|  | 132.6023 | 12.9148
|  | 132.7231 | 12.9241
|  | 132.8436 | 12.9334
|  | 132.9637 | 12.9426
|  | 133.0834 | 12.9518
|  | 133.2027 | 12.9609
|  | 133.3217 | 12.97
|  | 133.4403 | 12.9791
|  | 133.5586 | 12.9881
|  | 133.6765 | 12.9971
|  | 133.794 | 13.0061
|  | 133.9111 | 13.015
|  | 134.0279 | 13.0239
|  | 134.1443 | 13.0327
|  | 134.2603 | 13.0415
|  | 134.376 | 13.0503
|  | 134.4912 | 13.059
|  | 134.6061 | 13.0677
|  | 134.7207 | 13.0764
|  | 134.8348 | 13.085
|  | 134.9486 | 13.0936
|  | 135.062 | 13.1021
|  | 135.175 | 13.1106
|  | 135.2877 | 13.1191
|  | 135.3999 | 13.1275
|  | 135.5118 | 13.1359
|  | 135.6233 | 13.1443
|  | 135.7344 | 13.1526
|  | 135.8451 | 13.1608
|  | 135.9555 | 13.1691
|  | 136.0655 | 13.1773
|  | 136.175 | 13.1854
|  | 136.2842 | 13.1936
|  | 136.393 | 13.2017
|  | 136.5015 | 13.2097
|  | 136.6095 | 13.2177
|  | 136.7172 | 13.2257
|  | 136.8244 | 13.2337
|  | 136.9313 | 13.2416
|  | 137.0378 | 13.2494
|  | 137.1438 | 13.2572
|  | 137.2495 | 13.265
|  | 137.3548 | 13.2728
|  | 137.4598 | 13.2805
|  | 137.5643 | 13.2882
|  | 137.6684 | 13.2958
|  | 137.7721 | 13.3034
|  | 137.8755 | 13.311
|  | 137.9784 | 13.3185
|  | 138.081 | 13.326
|  | 138.1831 | 13.3335
|  | 138.2848 | 13.3409
|  | 138.3862 | 13.3483
|  | 138.4871 | 13.3556
|  | 138.5877 | 13.3629
|  | 138.6878 | 13.3702
|  | 138.7876 | 13.3774
|  | 138.8869 | 13.3846
|  | 138.9858 | 13.3918
|  | 139.0844 | 13.3989
|  | 139.1825 | 13.406
|  | 139.2803 | 13.413
|  | 139.3776 | 13.42
|  | 139.4745 | 13.427
|  | 139.571 | 13.4339
|  | 139.6671 | 13.4408
|  | 139.7628 | 13.4477
|  | 139.8581 | 13.4545
|  | 139.953 | 13.4613
|  | 140.0475 | 13.4681
|  | 140.1415 | 13.4748
|  | 140.2352 | 13.4815
|  | 140.3284 | 13.4881
|  | 140.4212 | 13.4947
|  | 140.5137 | 13.5013
|  | 140.6057 | 13.5078
|  | 140.6973 | 13.5143
|  | 140.7884 | 13.5208
|  | 140.8792 | 13.5272
|  | 140.9695 | 13.5336
|  | 141.0595 | 13.5399
|  | 141.149 | 13.5463
|  | 141.2381 | 13.5526
|  | 141.3268 | 13.5588
|  | 141.415 | 13.565
|  | 141.5029 | 13.5712
|  | 141.5903 | 13.5773
|  | 141.6773 | 13.5834
|  | 141.7639 | 13.5895
|  | 141.8501 | 13.5955
|  | 141.9358 | 13.6015
|  | 142.0211 | 13.6075
|  | 142.106 | 13.6134
|  | 142.1905 | 13.6193
|  | 142.2746 | 13.6251
|  | 142.3582 | 13.6309
|  | 142.4414 | 13.6367
|  | 142.5242 | 13.6425
|  | 142.6065 | 13.6482
|  | 142.6885 | 13.6538
|  | 142.77 | 13.6595
|  | 142.851 | 13.6651
|  | 142.9317 | 13.6707
|  | 143.0119 | 13.6762
|  | 143.0917 | 13.6817
|  | 143.1711 | 13.6871
|  | 143.25 | 13.6926
|  | 143.3285 | 13.698
|  | 143.4066 | 13.7033
|  | 143.4842 | 13.7086
|  | 143.5614 | 13.7139
|  | 143.6382 | 13.7192
|  | 143.7145 | 13.7244
|  | 143.7904 | 13.7296
|  | 143.8659 | 13.7347
|  | 143.941 | 13.7398
|  | 144.0156 | 13.7449
|  | 144.0898 | 13.75
|  | 144.1635 | 13.755
|  | 144.2368 | 13.7599
|  | 144.3097 | 13.7649
|  | 144.3821 | 13.7698
|  | 144.4541 | 13.7746
|  | 144.5256 | 13.7795
|  | 144.5967 | 13.7843
|  | 144.6674 | 13.789
|  | 144.7377 | 13.7938
|  | 144.8075 | 13.7985
|  | 144.8768 | 13.8032
|  | 144.9458 | 13.8078
|  | 145.0142 | 13.8124
|  | 145.0823 | 13.8169
|  | 145.1499 | 13.8215
|  | 145.217 | 13.826
|  | 145.2837 | 13.8304
|  | 145.35 | 13.8349
|  | 145.4158 | 13.8392
|  | 145.4812 | 13.8436
|  | 145.5461 | 13.8479
|  | 145.6106 | 13.8522
|  | 145.6747 | 13.8565
|  | 145.7383 | 13.8607
|  | 145.8014 | 13.8649
|  | 145.8641 | 13.8691
|  | 145.9264 | 13.8732
|  | 145.9882 | 13.8773
|  | 146.0496 | 13.8813
|  | 146.1105 | 13.8854
|  | 146.171 | 13.8894
|  | 146.231 | 13.8933
|  | 146.2906 | 13.8973
|  | 146.3497 | 13.9011
|  | 146.4084 | 13.905
|  | 146.4666 | 13.9088
|  | 146.5244 | 13.9126
|  | 146.5817 | 13.9164
|  | 146.6386 | 13.9201
|  | 146.695 | 13.9238
|  | 146.751 | 13.9275
|  | 146.8065 | 13.9311
|  | 146.8616 | 13.9347
|  | 146.9162 | 13.9383
|  | 146.9703 | 13.9418
|  | 147.024 | 13.9453
|  | 147.0773 | 13.9488
|  | 147.1301 | 13.9522
|  | 147.1824 | 13.9556
|  | 147.2343 | 13.959
|  | 147.2858 | 13.9624
|  | 147.3367 | 13.9657
|  | 147.3873 | 13.9689
|  | 147.4373 | 13.9722
|  | 147.4869 | 13.9754
|  | 147.5361 | 13.9786
|  | 147.5848 | 13.9817
|  | 147.633 | 13.9848
|  | 147.6808 | 13.9879
|  | 147.7281 | 13.991
|  | 147.775 | 13.994
|  | 147.8214 | 13.997
|  | 147.8673 | 13.9999
|  | 147.9128 | 14.0029
|  | 147.9579 | 14.0058
|  | 148.0024 | 14.0086
|  | 148.0465 | 14.0114
|  | 148.0902 | 14.0142
|  | 148.1334 | 14.017
|  | 148.1761 | 14.0197
|  | 148.2183 | 14.0224
|  | 148.2601 | 14.0251
|  | 148.3015 | 14.0278
|  | 148.3424 | 14.0304
|  | 148.3828 | 14.0329
|  | 148.4227 | 14.0355
|  | 148.4622 | 14.038
|  | 148.5012 | 14.0405
|  | 148.5398 | 14.0429
|  | 148.5779 | 14.0454
|  | 148.6156 | 14.0478
|  | 148.6527 | 14.0501
|  | 148.6894 | 14.0525
|  | 148.7257 | 14.0548
|  | 148.7615 | 14.057
|  | 148.7968 | 14.0593
|  | 148.8316 | 14.0615
|  | 148.866 | 14.0637
|  | 148.8999 | 14.0658
|  | 148.9334 | 14.0679
|  | 148.9664 | 14.07
|  | 148.9989 | 14.0721
|  | 149.0309 | 14.0741
|  | 149.0625 | 14.0761
|  | 149.0936 | 14.078
|  | 149.1243 | 14.08
|  | 149.1545 | 14.0819
|  | 149.1842 | 14.0838
|  | 149.2135 | 14.0856
|  | 149.2423 | 14.0874
|  | 149.2706 | 14.0892
|  | 149.2984 | 14.0909
|  | 149.3258 | 14.0927
|  | 149.3527 | 14.0943
|  | 149.3792 | 14.096
|  | 149.4051 | 14.0976
|  | 149.4306 | 14.0992
|  | 149.4557 | 14.1008
|  | 149.4802 | 14.1023
|  | 149.5043 | 14.1038
|  | 149.528 | 14.1053
|  | 149.5511 | 14.1068
|  | 149.5738 | 14.1082
|  | 149.596 | 14.1096
|  | 149.6178 | 14.111
|  | 149.639 | 14.1123
|  | 149.6599 | 14.1136
|  | 149.6802 | 14.1149
|  | 149.7001 | 14.1161
|  | 149.7194 | 14.1173
|  | 149.7384 | 14.1185
|  | 149.7568 | 14.1196
|  | 149.7748 | 14.1207
|  | 149.7923 | 14.1218
|  | 149.8093 | 14.1229
|  | 149.8259 | 14.1239
|  | 149.842 | 14.1249
|  | 149.8576 | 14.1259
|  | 149.8728 | 14.1269
|  | 149.8875 | 14.1278
|  | 149.9017 | 14.1287
|  | 149.9154 | 14.1295
|  | 149.9287 | 14.1303
|  | 149.9415 | 14.1311
|  | 149.9538 | 14.1319
|  | 149.9656 | 14.1326
|  | 149.977 | 14.1333
|  | 149.9879 | 14.134
|  | 149.9983 | 14.1347
|  | 150.0083 | 14.1353
|  | 150.0178 | 14.1359
|  | 150.0268 | 14.1364
|  | 150.0353 | 14.137
|  | 150.0434 | 14.1375
|  | 150.051 | 14.1379
|  | 150.0581 | 14.1384
|  | 150.0648 | 14.1388
|  | 150.0709 | 14.1392
|  | 150.0766 | 14.1395
|  | 150.0819 | 14.1398
|  | 150.0866 | 14.1401
|  | 150.0909 | 14.1404
|  | 150.0947 | 14.1406
|  | 150.098 | 14.1409
|  | 150.1009 | 14.141
|  | 150.1033 | 14.1412
|  | 150.1052 | 14.1413
|  | 150.1066 | 14.1414
|  | 150.1076 | 14.1414
|  | 150.1081 | 14.1415
|  | 150.1081 | 14.1415

## Phase vs Frequency
Phase Stroke vs. Frequency
|  | Frequency (kHz) | Phase Stroke (π rad)
|  | 0.1 | 3.5
|  | 1 | 3
|  | 2 | 3
|  | 3 | 4
Product Raw Data |  | 4 | 4
Piezo-Based Fiber Phase Shifter |  | 5 | 4
|  | 6 | 3
Item # | FVP155 | 7 | 4.5
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 8 | 5
|  | 9 | 5.5
|  | 10 | 4
|  | 11 | 3
|  | 12 | 5
|  | 13 | 6
This data may be used in publications. However, please cite Thorlabs as the source. |  | 14 | 9
|  | 16 | 6
|  | 18 | 5
Additional Information: |  | 20 | 2
Measured with 1550 nm input light at 25 °C.

## Half-Wave Voltage
Half-Wave Voltage vs. Frequency
|  | Frequency (kHz) | Half-Wave Voltage (V)
|  | 1 | 9
|  | 2 | 7.5
|  | 3 | 6.75
|  | 4 | 7.5
Product Raw Data |  | 5 | 6
Piezo-Based Fiber Phase Shifter |  | 6 | 7.5
|  | 7 | 6
Item # | FVP155 | 8 | 6
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 9 | 10.5
|  | 10 | 6
|  | 11 | 6
|  | 12 | 6
|  | 13 | 6
|  | 14 | 4.5
This data may be used in publications. However, please cite Thorlabs as the source. |  | 15 | 6
|  | 16 | 6
|  | 17 | 7.5
Additional Information: |  | 18 | 7.5
Measured with 1550 nm input light at 25 °C. |  | 19 | 4.5
|  | 20 | 6