## Transmission vs. Voltage
LCC1622(/M) Transmission vs. Voltage
|  |  | 700 nm | 750 nm | 800 nm | 850 nm | 900 nm | 950 nm | 1000 nm | 1050 nm | 1100 nm
|  | Attenuation Voltage (V) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%)
|  | 0 | 86.4486 | 87.3169 | 87.7815 | 91.7592 | 76.802 | 78.151 | 77.8602 | 74.6207 | 71.0405
|  | 0.5 | 72.3707 | 70.049 | 64.0107 | 63.2073 | 51.9427 | 51.3424 | 48.5965 | 44.9064 | 42.2419
|  | 1 | 37.251 | 34.7997 | 30.1632 | 27.0765 | 22.674 | 21.9373 | 19.9736 | 17.986 | 16.9152
|  | 1.5 | 14.0202 | 12.8204 | 11.115 | 9.3709 | 7.9039 | 7.4974 | 6.6178 | 5.8613 | 5.5424
Product Raw Data |  | 2 | 4.8711 | 4.3991 | 3.9038 | 3.2464 | 2.6206 | 2.4497 | 2.1184 | 1.8586 | 1.7636
Liquid Crystal Optical Shutter / Variable Attenuator, 700 - 1100 nm |  | 2.5 | 1.8086 | 1.6019 | 1.4668 | 1.3488 | 0.92243 | 0.85709 | 0.73128 | 0.63677 | 0.60896
|  | 3 | 0.83768 | 0.69325 | 0.66602 | 0.61014 | 0.37253 | 0.34927 | 0.29441 | 0.25655 | 0.24536
Item # | LCC1622(/M) | 3.5 | 0.43037 | 0.37691 | 0.34966 | 0.43938 | 0.18719 | 0.17083 | 0.14344 | 0.12691 | 0.12159
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 4 | 0.31509 | 0.22211 | 0.19829 | 0.29356 | 0.10817 | 0.09995 | 0.08721 | 0.07362 | 0.0697
|  | 4.5 | 0.23568 | 0.15884 | 0.19375 | 0.30123 | 0.07626 | 0.0701 | 0.05983 | 0.05193 | 0.05038
|  | 5 | 0.20494 | 0.1575 | 0.1105 | 0.17844 | 0.05984 | 0.0513 | 0.04311 | 0.03707 | 0.03913
This data may be used in publications. However, please cite Thorlabs as the source.
Additional Information:
Attenuator Mode

## Transmission vs. Wavelength
LCC1622(/M) Transmission vs. Wavelength
|  |  | 0 V | 0.5 V | 1 V | 1.5 V | 2 V | 2.5 V | 3 V | 3.5V | 4 V | 4.5 V | 5 V
|  | Wavelength (nm) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%)
|  | 600 | 69.6317 | 68.429 | 39.7811 | 16.3784 | 6.6307 | 3.2735 | 2.1575 | 1.77 | 1.5686 | 1.5112 | 1.4988
|  | 602 | 70.3862 | 68.6744 | 39.9665 | 16.4342 | 6.5875 | 3.2207 | 2.1087 | 1.7026 | 1.5273 | 1.4596 | 1.4304
|  | 604 | 70.9971 | 69.027 | 40.1553 | 16.3838 | 6.4843 | 3.1223 | 2.0602 | 1.6039 | 1.4711 | 1.3536 | 1.3292
|  | 606 | 71.4448 | 69.5214 | 40.318 | 16.3441 | 6.3971 | 3.0516 | 1.9733 | 1.5902 | 1.4236 | 1.3206 | 1.2752
Product Raw Data |  | 608 | 71.8612 | 70.1508 | 40.4158 | 16.3007 | 6.3609 | 3.0121 | 1.9014 | 1.5301 | 1.3482 | 1.2941 | 1.1979
Liquid Crystal Optical Shutter / Variable Attenuator, 700 - 1100 nm |  | 610 | 72.3746 | 70.7455 | 40.3855 | 16.1885 | 6.2719 | 2.9405 | 1.8335 | 1.4322 | 1.2741 | 1.2233 | 1.1279
|  | 612 | 73.0463 | 71.2078 | 40.3372 | 16.1227 | 6.231 | 2.874 | 1.7955 | 1.3615 | 1.1866 | 1.1407 | 1.0844
Item # | LCC1622(/M) | 614 | 73.8122 | 71.4254 | 40.2479 | 16.0998 | 6.2014 | 2.8558 | 1.7353 | 1.3176 | 1.122 | 1.075 | 1.0265
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 616 | 74.5434 | 71.5053 | 40.2266 | 16.0912 | 6.1754 | 2.8249 | 1.6775 | 1.2789 | 1.0891 | 1.0409 | 1.0263
|  | 618 | 75.1898 | 71.5151 | 40.2988 | 16.1349 | 6.1323 | 2.7836 | 1.6504 | 1.2592 | 1.081 | 1.0158 | 0.96795
|  | 620 | 75.6511 | 71.6465 | 40.4323 | 16.1294 | 6.1113 | 2.7499 | 1.6246 | 1.1944 | 1.0548 | 0.97418 | 0.93821
|  | 622 | 75.9744 | 71.9494 | 40.5631 | 16.09 | 6.0439 | 2.6667 | 1.5499 | 1.1453 | 1.0037 | 0.92939 | 0.86505
|  | 624 | 76.2107 | 72.3836 | 40.6077 | 15.9448 | 5.948 | 2.6139 | 1.4632 | 1.0768 | 0.93759 | 0.87509 | 0.80832
|  | 626 | 76.4606 | 72.8309 | 40.5109 | 15.7945 | 5.8482 | 2.5501 | 1.431 | 1.026 | 0.88626 | 0.82981 | 0.7536
This data may be used in publications. However, please cite Thorlabs as the source. |  | 628 | 76.8944 | 73.2368 | 40.37 | 15.7062 | 5.795 | 2.4782 | 1.3955 | 1.028 | 0.85831 | 0.78538 | 0.75172
|  | 630 | 77.5197 | 73.4268 | 40.1957 | 15.6383 | 5.8006 | 2.4772 | 1.3871 | 0.99674 | 0.84339 | 0.75836 | 0.74442
|  | 632 | 78.2528 | 73.4157 | 40.0657 | 15.6345 | 5.791 | 2.4775 | 1.3795 | 0.96771 | 0.81105 | 0.7237 | 0.71261
Additional Information: |  | 634 | 78.872 | 73.2597 | 39.9892 | 15.6534 | 5.7805 | 2.4555 | 1.3793 | 0.97145 | 0.7868 | 0.67657 | 0.66555
Attenuator Mode |  | 636 | 79.2922 | 73.0657 | 39.9995 | 15.6675 | 5.7717 | 2.4352 | 1.319 | 0.95191 | 0.77386 | 0.6547 | 0.63552
|  | 638 | 79.5839 | 73.1239 | 40.1573 | 15.6768 | 5.7346 | 2.4215 | 1.2598 | 0.91759 | 0.76216 | 0.64354 | 0.61764
|  | 640 | 79.6636 | 73.2899 | 40.2293 | 15.5868 | 5.6532 | 2.3864 | 1.2183 | 0.83978 | 0.69733 | 0.62 | 0.57658
|  | 642 | 79.6877 | 73.6508 | 40.2301 | 15.4125 | 5.5724 | 2.2986 | 1.1952 | 0.81438 | 0.65096 | 0.60099 | 0.53212
|  | 644 | 79.8836 | 74.0663 | 40.0863 | 15.2712 | 5.4946 | 2.2183 | 1.1616 | 0.80127 | 0.63322 | 0.56734 | 0.53104
|  | 646 | 80.2309 | 74.3378 | 39.7897 | 15.1268 | 5.4128 | 2.1659 | 1.1425 | 0.76925 | 0.62209 | 0.5445 | 0.51908
|  | 648 | 80.8304 | 74.4374 | 39.5225 | 15.0271 | 5.4097 | 2.2012 | 1.1645 | 0.74349 | 0.59293 | 0.53963 | 0.489
|  | 650 | 81.4621 | 74.2977 | 39.2694 | 15.0042 | 5.3822 | 2.1988 | 1.12 | 0.73515 | 0.60245 | 0.52681 | 0.46444
|  | 652 | 82.1141 | 74.0564 | 39.1825 | 15.0295 | 5.4484 | 2.2138 | 1.1095 | 0.73131 | 0.56865 | 0.50253 | 0.4655
|  | 654 | 82.5786 | 73.7466 | 39.2411 | 15.1294 | 5.45 | 2.1945 | 1.0992 | 0.71568 | 0.55884 | 0.48239 | 0.44812
|  | 656 | 82.7689 | 73.5954 | 39.3841 | 15.1467 | 5.4016 | 2.1527 | 1.054 | 0.69261 | 0.54278 | 0.4613 | 0.43107
|  | 658 | 82.6625 | 73.5478 | 39.4399 | 15.0834 | 5.3688 | 2.1101 | 1.0557 | 0.64048 | 0.48986 | 0.42306 | 0.39817
|  | 660 | 82.4892 | 73.7971 | 39.4546 | 14.9548 | 5.3106 | 2.0754 | 1.0436 | 0.62693 | 0.48456 | 0.38791 | 0.39575
|  | 662 | 82.4621 | 74.2189 | 39.3256 | 14.811 | 5.2271 | 2.0338 | 1.0097 | 0.60713 | 0.45079 | 0.39868 | 0.38434
|  | 664 | 82.6541 | 74.5651 | 39.0638 | 14.615 | 5.1423 | 1.9878 | 0.98351 | 0.59375 | 0.46512 | 0.39886 | 0.37548
|  | 666 | 83.1402 | 74.7524 | 38.7225 | 14.4537 | 5.0495 | 1.9589 | 0.95805 | 0.60931 | 0.44078 | 0.3993 | 0.33577
|  | 668 | 83.7832 | 74.6408 | 38.366 | 14.3092 | 4.9999 | 1.9542 | 0.91954 | 0.57164 | 0.42421 | 0.35178 | 0.30134
|  | 670 | 84.5105 | 74.3718 | 38.1324 | 14.3042 | 5.0241 | 1.9665 | 0.93226 | 0.53069 | 0.38995 | 0.32539 | 0.32539
|  | 672 | 85.0728 | 73.8999 | 38.0439 | 14.3406 | 5.0372 | 1.9558 | 0.9373 | 0.54923 | 0.39065 | 0.34295 | 0.32748
|  | 674 | 85.3109 | 73.4507 | 38.0864 | 14.4163 | 5.098 | 1.9537 | 0.92282 | 0.56502 | 0.40285 | 0.34107 | 0.32948
|  | 676 | 85.2747 | 73.1793 | 38.2349 | 14.5325 | 5.1171 | 1.9718 | 0.9319 | 0.54757 | 0.40618 | 0.32906 | 0.31492
|  | 678 | 84.9284 | 73.1393 | 38.3636 | 14.5596 | 5.1265 | 1.9788 | 0.9188 | 0.50945 | 0.38754 | 0.32722 | 0.28745
|  | 680 | 84.574 | 73.4403 | 38.4151 | 14.4594 | 5.0591 | 1.9513 | 0.91541 | 0.52694 | 0.40129 | 0.34488 | 0.25129
|  | 682 | 84.4519 | 73.8713 | 38.3575 | 14.2729 | 4.9635 | 1.8826 | 0.87275 | 0.5357 | 0.41139 | 0.3127 | 0.24606
|  | 684 | 84.624 | 74.2402 | 38.0595 | 14.0005 | 4.8064 | 1.8083 | 0.80683 | 0.47129 | 0.33554 | 0.26126 | 0.22284
|  | 686 | 85.0583 | 74.459 | 37.6237 | 13.7336 | 4.7135 | 1.7431 | 0.7858 | 0.43129 | 0.29307 | 0.2342 | 0.21629
|  | 688 | 85.8165 | 74.3678 | 37.1397 | 13.5436 | 4.6494 | 1.7315 | 0.78577 | 0.4236 | 0.2905 | 0.22524 | 0.20092
|  | 690 | 86.5869 | 73.9759 | 36.7724 | 13.5052 | 4.6655 | 1.7615 | 0.79442 | 0.43495 | 0.30191 | 0.25969 | 0.22899
|  | 692 | 87.1981 | 73.397 | 36.5457 | 13.5362 | 4.6758 | 1.768 | 0.79444 | 0.45031 | 0.31343 | 0.23795 | 0.24051
|  | 694 | 87.4474 | 72.7662 | 36.5104 | 13.6578 | 4.7624 | 1.8049 | 0.80972 | 0.44771 | 0.31596 | 0.22897 | 0.22769
|  | 696 | 87.3674 | 72.3739 | 36.6809 | 13.8022 | 4.8626 | 1.835 | 0.83432 | 0.46323 | 0.33654 | 0.24825 | 0.2137
|  | 698 | 86.9866 | 72.2094 | 36.9795 | 13.9516 | 4.9023 | 1.8483 | 0.83198 | 0.44543 | 0.33407 | 0.25471 | 0.20095
|  | 700 | 86.4486 | 72.3707 | 37.251 | 14.0202 | 4.8711 | 1.8086 | 0.83768 | 0.43037 | 0.31509 | 0.23568 | 0.20494
|  | 702 | 86.0824 | 72.7789 | 37.3772 | 13.9176 | 4.7973 | 1.7782 | 0.80895 | 0.43076 | 0.2641 | 0.21538 | 0.20384
|  | 704 | 85.9963 | 73.2386 | 37.2514 | 13.7163 | 4.647 | 1.7376 | 0.74818 | 0.41195 | 0.26052 | 0.21175 | 0.18095
|  | 706 | 86.2236 | 73.6073 | 36.8364 | 13.3914 | 4.5712 | 1.6696 | 0.73406 | 0.40809 | 0.26308 | 0.19121 | 0.15913
|  | 708 | 86.9184 | 73.7418 | 36.2933 | 13.1201 | 4.4226 | 1.6395 | 0.75938 | 0.40731 | 0.28525 | 0.19916 | 0.19402
|  | 710 | 87.7507 | 73.5471 | 35.7141 | 12.851 | 4.3792 | 1.5892 | 0.7213 | 0.40115 | 0.28929 | 0.20443 | 0.19158
|  | 712 | 88.5103 | 72.9942 | 35.1936 | 12.7147 | 4.3583 | 1.6239 | 0.72832 | 0.39762 | 0.26379 | 0.21875 | 0.15055
|  | 714 | 89.0076 | 72.2612 | 34.9128 | 12.6819 | 4.3454 | 1.6392 | 0.70233 | 0.38403 | 0.24871 | 0.19072 | 0.13531
|  | 716 | 89.2608 | 71.5798 | 34.847 | 12.8083 | 4.4312 | 1.6367 | 0.728 | 0.38336 | 0.24525 | 0.16651 | 0.12262
|  | 718 | 89.015 | 70.9941 | 35.0052 | 12.9925 | 4.5191 | 1.6533 | 0.72518 | 0.39943 | 0.22622 | 0.18356 | 0.16934
|  | 720 | 88.4857 | 70.7448 | 35.3497 | 13.2095 | 4.591 | 1.6952 | 0.76408 | 0.37427 | 0.25642 | 0.17872 | 0.19426
|  | 722 | 87.7009 | 70.8157 | 35.6899 | 13.3795 | 4.6496 | 1.6938 | 0.76262 | 0.40595 | 0.24642 | 0.20752 | 0.18806
|  | 724 | 87.1105 | 71.1762 | 36.0057 | 13.4221 | 4.6555 | 1.7289 | 0.77158 | 0.40268 | 0.26109 | 0.18835 | 0.13899
|  | 726 | 86.8245 | 71.8216 | 36.1295 | 13.3278 | 4.5996 | 1.6829 | 0.73277 | 0.40478 | 0.26942 | 0.23298 | 0.09501
|  | 728 | 87.0369 | 72.3662 | 35.9489 | 13.0936 | 4.4876 | 1.6307 | 0.70053 | 0.41354 | 0.27526 | 0.21264 | 0.13698
|  | 730 | 87.5884 | 72.7136 | 35.4893 | 12.7437 | 4.3106 | 1.5729 | 0.6851 | 0.35563 | 0.20919 | 0.18827 | 0.14905
|  | 732 | 88.4843 | 72.6891 | 34.8525 | 12.3705 | 4.1471 | 1.5052 | 0.65819 | 0.36187 | 0.20454 | 0.15734 | 0.15209
|  | 734 | 89.4498 | 72.2297 | 34.1195 | 12.0429 | 4.0445 | 1.4822 | 0.62941 | 0.33113 | 0.19316 | 0.14454 | 0.11958
|  | 736 | 90.2466 | 71.4551 | 33.4572 | 11.8874 | 3.977 | 1.4622 | 0.64548 | 0.3346 | 0.21472 | 0.18706 | 0.14886
|  | 738 | 90.66 | 70.5612 | 33.0691 | 11.8619 | 4.0398 | 1.4677 | 0.65129 | 0.34612 | 0.21005 | 0.19156 | 0.14796
|  | 740 | 90.5783 | 69.6986 | 32.9394 | 11.939 | 4.102 | 1.5078 | 0.65982 | 0.34846 | 0.22656 | 0.19874 | 0.13514
|  | 742 | 90.0659 | 69.0692 | 33.1069 | 12.1806 | 4.2339 | 1.5859 | 0.69125 | 0.36556 | 0.22731 | 0.17946 | 0.11033
|  | 744 | 89.2314 | 68.7687 | 33.5164 | 12.4485 | 4.3277 | 1.6172 | 0.65462 | 0.37064 | 0.21999 | 0.16532 | 0.15999
|  | 746 | 88.3537 | 68.9361 | 34.0561 | 12.6963 | 4.3926 | 1.6319 | 0.66745 | 0.36382 | 0.23408 | 0.12841 | 0.16185
|  | 748 | 87.6722 | 69.3744 | 34.5282 | 12.8362 | 4.4165 | 1.6381 | 0.70433 | 0.38101 | 0.23746 | 0.17038 | 0.15965
|  | 750 | 87.3169 | 70.049 | 34.7997 | 12.8204 | 4.3991 | 1.6019 | 0.69325 | 0.37691 | 0.22211 | 0.15884 | 0.1575
|  | 752 | 87.4706 | 70.7369 | 34.8685 | 12.6915 | 4.3152 | 1.5915 | 0.73225 | 0.34046 | 0.2013 | 0.15807 | 0.1378
|  | 754 | 88.0556 | 71.2934 | 34.5222 | 12.4066 | 4.2038 | 1.5305 | 0.69001 | 0.34026 | 0.23859 | 0.18301 | 0.15318
|  | 756 | 88.9825 | 71.3903 | 33.8716 | 12.0365 | 4.0607 | 1.51 | 0.66114 | 0.37546 | 0.24623 | 0.18229 | 0.11563
|  | 758 | 89.9838 | 71.1434 | 33.1349 | 11.6645 | 3.9205 | 1.427 | 0.63634 | 0.34958 | 0.24443 | 0.18298 | 0.13655
|  | 760 | 90.9489 | 70.4806 | 32.3174 | 11.2951 | 3.8089 | 1.4072 | 0.58018 | 0.3237 | 0.17831 | 0.10561 | 0.10973
|  | 762 | 91.5983 | 69.5279 | 31.6415 | 11.0807 | 3.7298 | 1.3677 | 0.59225 | 0.29888 | 0.18456 | 0.10055 | 0.11845
|  | 764 | 91.669 | 68.4065 | 31.1816 | 11.003 | 3.6935 | 1.3463 | 0.61097 | 0.30549 | 0.19767 | 0.12302 | 0.13685
|  | 766 | 91.2464 | 67.406 | 31.0229 | 11.1201 | 3.8001 | 1.3768 | 0.59403 | 0.28591 | 0.18876 | 0.13741 | 0.13047
|  | 768 | 90.4313 | 66.7508 | 31.1414 | 11.3294 | 3.9298 | 1.4442 | 0.67471 | 0.34572 | 0.20074 | 0.13662 | 0.1394
|  | 770 | 89.3878 | 66.4455 | 31.5021 | 11.6357 | 4.0405 | 1.5106 | 0.70562 | 0.34581 | 0.22401 | 0.1806 | 0.1134
|  | 772 | 88.3097 | 66.6442 | 32.1642 | 11.9787 | 4.1646 | 1.5575 | 0.68518 | 0.38832 | 0.2631 | 0.18994 | 0.11115
|  | 774 | 87.6007 | 67.2179 | 32.7679 | 12.2339 | 4.225 | 1.5845 | 0.67707 | 0.36327 | 0.23747 | 0.17386 | 0.13994
|  | 776 | 87.2676 | 68.0184 | 33.2884 | 12.3262 | 4.2143 | 1.5496 | 0.62781 | 0.32953 | 0.23436 | 0.14488 | 0.14488
|  | 778 | 87.4094 | 68.831 | 33.5008 | 12.2253 | 4.1997 | 1.5212 | 0.64216 | 0.34677 | 0.2269 | 0.11559 | 0.11702
|  | 780 | 88.1577 | 69.5622 | 33.3955 | 12.0776 | 4.0952 | 1.4875 | 0.66125 | 0.3629 | 0.20799 | 0.16782 | 0.12909
|  | 782 | 89.1244 | 69.9701 | 32.9832 | 11.7038 | 3.9633 | 1.4298 | 0.63626 | 0.33039 | 0.20055 | 0.13418 | 0.11831
|  | 784 | 90.2356 | 69.8191 | 32.2433 | 11.3039 | 3.7858 | 1.3918 | 0.63725 | 0.33311 | 0.20711 | 0.1709 | 0.14048
|  | 786 | 91.3308 | 69.2938 | 31.424 | 10.91 | 3.6619 | 1.3162 | 0.58387 | 0.34945 | 0.24316 | 0.15871 | 0.09027
|  | 788 | 92.1015 | 68.3298 | 30.518 | 10.5675 | 3.5737 | 1.2928 | 0.52998 | 0.31623 | 0.19472 | 0.1508 | 0.06881
|  | 790 | 92.334 | 67.1257 | 29.802 | 10.3587 | 3.4828 | 1.2845 | 0.51205 | 0.30605 | 0.20011 | 0.14273 | 0.1442
|  | 792 | 92.0855 | 65.9104 | 29.308 | 10.2528 | 3.4304 | 1.2342 | 0.55644 | 0.26638 | 0.17611 | 0.13763 | 0.14059
|  | 794 | 91.3029 | 64.8915 | 29.1486 | 10.3069 | 3.4982 | 1.2688 | 0.54059 | 0.28891 | 0.17275 | 0.1251 | 0.15041
|  | 796 | 90.102 | 64.0993 | 29.2032 | 10.4998 | 3.6002 | 1.3203 | 0.58083 | 0.29341 | 0.18563 | 0.15269 | 0.1482
|  | 798 | 88.8787 | 63.8441 | 29.571 | 10.7932 | 3.7191 | 1.3666 | 0.59603 | 0.34618 | 0.23329 | 0.12944 | 0.11138
|  | 800 | 87.7815 | 64.0107 | 30.1632 | 11.115 | 3.9038 | 1.4668 | 0.66602 | 0.34966 | 0.19829 | 0.19375 | 0.1105
|  | 802 | 86.9718 | 64.6568 | 30.8827 | 11.4424 | 4.0157 | 1.5021 | 0.63526 | 0.37628 | 0.24832 | 0.20718 | 0.10969
|  | 804 | 86.681 | 65.6137 | 31.5188 | 11.6691 | 4.0512 | 1.5334 | 0.63942 | 0.32355 | 0.21161 | 0.11807 | 0.08434
|  | 806 | 86.9061 | 66.5247 | 31.9246 | 11.7376 | 4.0149 | 1.4983 | 0.59714 | 0.30706 | 0.16664 | 0.14504 | 0.08641
|  | 808 | 87.6612 | 67.4316 | 32.121 | 11.6148 | 3.9306 | 1.4122 | 0.61057 | 0.28586 | 0.16779 | 0.09477 | 0.08079
|  | 810 | 88.7661 | 68.0508 | 31.9617 | 11.3966 | 3.8302 | 1.3706 | 0.62897 | 0.32074 | 0.19714 | 0.11735 | 0.09857
|  | 812 | 89.8627 | 68.1067 | 31.3612 | 11.0536 | 3.6808 | 1.3288 | 0.58881 | 0.32904 | 0.21096 | 0.17318 | 0.12437
|  | 814 | 91.0996 | 67.8452 | 30.5971 | 10.6469 | 3.5579 | 1.3087 | 0.57422 | 0.29504 | 0.21097 | 0.17607 | 0.14911
|  | 816 | 91.9617 | 66.9449 | 29.6536 | 10.2538 | 3.3663 | 1.245 | 0.58899 | 0.28252 | 0.20112 | 0.17877 | 0.12131
|  | 818 | 92.3798 | 65.8055 | 28.7457 | 9.9205 | 3.3465 | 1.2813 | 0.54729 | 0.32194 | 0.20282 | 0.15453 | 0.0998
|  | 820 | 92.2987 | 64.4343 | 27.9847 | 9.6461 | 3.2446 | 1.1942 | 0.48418 | 0.28271 | 0.19822 | 0.11048 | 0.11048
|  | 822 | 91.5883 | 63.132 | 27.4683 | 9.5111 | 3.2162 | 1.2157 | 0.5243 | 0.29819 | 0.1704 | 0.10978 | 0.14582
|  | 824 | 90.4168 | 62.0356 | 27.1847 | 9.527 | 3.2308 | 1.1965 | 0.547 | 0.27102 | 0.19666 | 0.15204 | 0.1603
|  | 826 | 89.1625 | 61.335 | 27.2732 | 9.7005 | 3.3225 | 1.2672 | 0.62277 | 0.3189 | 0.24209 | 0.21204 | 0.16529
|  | 828 | 87.6936 | 60.8932 | 27.547 | 9.952 | 3.5123 | 1.3601 | 0.68256 | 0.36909 | 0.21404 | 0.1955 | 0.17022
|  | 830 | 86.5517 | 61.1035 | 28.0434 | 10.3401 | 3.662 | 1.4041 | 0.66628 | 0.41238 | 0.30843 | 0.23005 | 0.18915
|  | 832 | 85.6961 | 61.5716 | 28.7542 | 10.6436 | 3.8222 | 1.491 | 0.6818 | 0.4201 | 0.35811 | 0.22038 | 0.12741
|  | 834 | 85.3085 | 62.445 | 29.4804 | 11.0021 | 3.9155 | 1.5516 | 0.66969 | 0.47487 | 0.35311 | 0.27484 | 0.20874
|  | 836 | 85.6247 | 63.5156 | 30.1582 | 11.1972 | 3.9374 | 1.5344 | 0.73638 | 0.38581 | 0.32063 | 0.24311 | 0.25897
|  | 838 | 86.2907 | 64.4903 | 30.5531 | 11.1775 | 3.8798 | 1.5369 | 0.78986 | 0.40474 | 0.29241 | 0.21752 | 0.20861
|  | 840 | 87.4574 | 65.389 | 30.6498 | 11.1452 | 3.8926 | 1.5238 | 0.75469 | 0.4622 | 0.33221 | 0.26179 | 0.2979
|  | 842 | 88.593 | 65.9618 | 30.4504 | 10.908 | 3.7706 | 1.5207 | 0.74024 | 0.42221 | 0.37103 | 0.3162 | 0.33996
|  | 844 | 89.8481 | 65.7914 | 29.8385 | 10.5529 | 3.6734 | 1.4727 | 0.77239 | 0.48228 | 0.38989 | 0.30304 | 0.33445
|  | 846 | 91.1052 | 65.2927 | 29.1186 | 10.1372 | 3.5138 | 1.3845 | 0.69789 | 0.48833 | 0.38543 | 0.33678 | 0.25633
|  | 848 | 91.8288 | 64.4192 | 28.1515 | 9.7558 | 3.3399 | 1.3359 | 0.62812 | 0.44405 | 0.36814 | 0.39281 | 0.21064
|  | 850 | 91.7592 | 63.2073 | 27.0765 | 9.3709 | 3.2464 | 1.3488 | 0.61014 | 0.43938 | 0.29356 | 0.30123 | 0.17844
|  | 852 | 91.3552 | 61.8161 | 26.4204 | 9.0745 | 3.0527 | 1.2425 | 0.57748 | 0.40249 | 0.2936 | 0.20805 | 0.24305
|  | 854 | 90.2668 | 60.2526 | 25.7998 | 8.8675 | 2.9926 | 1.1569 | 0.50958 | 0.3207 | 0.21249 | 0.18691 | 0.17708
|  | 856 | 88.6926 | 58.8784 | 25.2566 | 8.6695 | 2.9383 | 1.0524 | 0.57094 | 0.30039 | 0.19893 | 0.14522 | 0.14124
|  | 858 | 87.5554 | 58.317 | 25.1625 | 8.7655 | 3.019 | 1.1602 | 0.47988 | 0.20046 | 0.12959 | 0.07087 | 0.11137
|  | 860 | 85.3608 | 57.6676 | 25.1109 | 8.9414 | 3.0117 | 1.0724 | 0.3439 | 0.20553 | 0.16483 | 0.12413 | -0.01018
|  | 862 | 78.2131 | 53.9896 | 23.894 | 8.3674 | 2.7856 | 0.99007 | 0.4104 | 0.20883 | 0.13097 | 0.09314 | 0.07675
|  | 864 | 78.177 | 54.2962 | 24.1065 | 8.4545 | 2.8128 | 0.98792 | 0.41346 | 0.20665 | 0.12213 | 0.08641 | 0.07523
|  | 866 | 78.3408 | 54.6367 | 24.2987 | 8.4972 | 2.8232 | 0.99943 | 0.41612 | 0.20743 | 0.12587 | 0.09366 | 0.06616
|  | 868 | 78.6616 | 54.9571 | 24.4114 | 8.5136 | 2.8139 | 0.99964 | 0.4136 | 0.20068 | 0.13039 | 0.08928 | 0.07327
|  | 870 | 79.1446 | 55.2139 | 24.4409 | 8.4873 | 2.8029 | 0.99107 | 0.40191 | 0.20558 | 0.12896 | 0.08258 | 0.07333
|  | 872 | 79.6418 | 55.3139 | 24.3458 | 8.4028 | 2.7643 | 0.97839 | 0.40268 | 0.19508 | 0.11733 | 0.08276 | 0.06383
|  | 874 | 80.0969 | 55.2681 | 24.1438 | 8.2885 | 2.7162 | 0.95901 | 0.39369 | 0.19786 | 0.1229 | 0.08574 | 0.06731
|  | 876 | 80.4464 | 55.0575 | 23.8455 | 8.1351 | 2.6577 | 0.93422 | 0.37886 | 0.19442 | 0.11615 | 0.0792 | 0.0672
|  | 878 | 80.6687 | 54.6651 | 23.4836 | 7.9618 | 2.5917 | 0.9094 | 0.37008 | 0.18995 | 0.11303 | 0.08439 | 0.0685
|  | 880 | 80.6677 | 54.1275 | 23.0848 | 7.7857 | 2.5299 | 0.89274 | 0.36726 | 0.18076 | 0.10786 | 0.0847 | 0.06699
|  | 882 | 80.4539 | 53.5121 | 22.6795 | 7.6372 | 2.487 | 0.86832 | 0.35378 | 0.18449 | 0.11234 | 0.07572 | 0.06517
|  | 884 | 80.066 | 52.8723 | 22.3168 | 7.511 | 2.4466 | 0.86492 | 0.35499 | 0.17788 | 0.10598 | 0.07128 | 0.06105
|  | 886 | 79.4868 | 52.2381 | 22.0261 | 7.4367 | 2.4251 | 0.85551 | 0.34886 | 0.17373 | 0.11015 | 0.07642 | 0.05569
|  | 888 | 78.8294 | 51.7235 | 21.8477 | 7.4097 | 2.4282 | 0.85186 | 0.34924 | 0.17671 | 0.10565 | 0.07569 | 0.05854
|  | 890 | 78.1523 | 51.3485 | 21.7713 | 7.4243 | 2.4428 | 0.86353 | 0.35442 | 0.17258 | 0.10287 | 0.07742 | 0.05521
|  | 892 | 77.5619 | 51.1519 | 21.8224 | 7.4815 | 2.4725 | 0.87106 | 0.35989 | 0.17871 | 0.10784 | 0.07826 | 0.06116
|  | 894 | 77.0934 | 51.1361 | 21.9637 | 7.5786 | 2.5051 | 0.88075 | 0.35935 | 0.17667 | 0.10665 | 0.07618 | 0.05956
|  | 896 | 76.7952 | 51.2794 | 22.1642 | 7.6851 | 2.5476 | 0.90174 | 0.36678 | 0.18216 | 0.10699 | 0.07363 | 0.05888
|  | 898 | 76.6924 | 51.56 | 22.4136 | 7.7994 | 2.5848 | 0.91475 | 0.37299 | 0.17997 | 0.11071 | 0.07678 | 0.05543
|  | 900 | 76.802 | 51.9427 | 22.674 | 7.9039 | 2.6206 | 0.92243 | 0.37253 | 0.18719 | 0.10817 | 0.07626 | 0.05984
|  | 902 | 77.1483 | 52.356 | 22.8954 | 7.9774 | 2.6392 | 0.93124 | 0.37992 | 0.18551 | 0.10978 | 0.07788 | 0.05872
|  | 904 | 77.5775 | 52.7561 | 23.0667 | 8.0125 | 2.6414 | 0.93055 | 0.37789 | 0.18381 | 0.1132 | 0.07996 | 0.06204
|  | 906 | 78.1525 | 53.0747 | 23.1351 | 8.0045 | 2.6321 | 0.92515 | 0.37515 | 0.18558 | 0.10963 | 0.07779 | 0.06094
|  | 908 | 78.7366 | 53.2666 | 23.1013 | 7.948 | 2.6031 | 0.91393 | 0.36848 | 0.18248 | 0.10793 | 0.07302 | 0.0594
|  | 910 | 79.2638 | 53.2946 | 22.9611 | 7.849 | 2.5581 | 0.89792 | 0.36462 | 0.1794 | 0.10853 | 0.0747 | 0.05465
|  | 912 | 79.6875 | 53.1474 | 22.7156 | 7.712 | 2.5098 | 0.87773 | 0.35366 | 0.17852 | 0.10319 | 0.07135 | 0.05711
|  | 914 | 79.9206 | 52.817 | 22.3767 | 7.5516 | 2.4496 | 0.85844 | 0.34907 | 0.17316 | 0.10457 | 0.07349 | 0.05282
|  | 916 | 79.9397 | 52.3184 | 21.9938 | 7.3776 | 2.387 | 0.8341 | 0.34056 | 0.16722 | 0.10244 | 0.07182 | 0.05467
|  | 918 | 79.7164 | 51.6986 | 21.5704 | 7.2108 | 2.3321 | 0.81618 | 0.33296 | 0.1648 | 0.09756 | 0.06938 | 0.0533
|  | 920 | 79.3058 | 51.0261 | 21.1719 | 7.0606 | 2.285 | 0.79968 | 0.32361 | 0.15966 | 0.09377 | 0.06589 | 0.05164
|  | 922 | 78.7171 | 50.3299 | 20.8096 | 6.9409 | 2.251 | 0.78943 | 0.32227 | 0.15838 | 0.0969 | 0.06777 | 0.04829
|  | 924 | 77.9894 | 49.6831 | 20.5148 | 6.8602 | 2.2311 | 0.77989 | 0.31693 | 0.15754 | 0.09495 | 0.06642 | 0.05139
|  | 926 | 77.1884 | 49.1148 | 20.3088 | 6.8193 | 2.2251 | 0.77875 | 0.31939 | 0.15824 | 0.095 | 0.06446 | 0.04911
|  | 928 | 76.4278 | 48.6885 | 20.2154 | 6.8247 | 2.2327 | 0.78683 | 0.32085 | 0.15528 | 0.09507 | 0.0642 | 0.05084
|  | 930 | 75.7431 | 48.4452 | 20.2283 | 6.877 | 2.2595 | 0.79695 | 0.32192 | 0.15942 | 0.09301 | 0.06626 | 0.05073
|  | 932 | 75.1988 | 48.3712 | 20.3395 | 6.9566 | 2.2922 | 0.80684 | 0.32911 | 0.16155 | 0.09585 | 0.06601 | 0.05031
|  | 934 | 74.8577 | 48.4702 | 20.5263 | 7.0613 | 2.3313 | 0.82171 | 0.33269 | 0.16203 | 0.09534 | 0.06792 | 0.04913
|  | 936 | 74.725 | 48.7272 | 20.7766 | 7.178 | 2.3725 | 0.83782 | 0.34043 | 0.16775 | 0.09898 | 0.06815 | 0.05026
|  | 938 | 74.8289 | 49.1022 | 21.0466 | 7.295 | 2.4119 | 0.84884 | 0.34392 | 0.16856 | 0.09833 | 0.06761 | 0.0531
|  | 940 | 75.1034 | 49.523 | 21.3141 | 7.3988 | 2.4488 | 0.8603 | 0.34801 | 0.17153 | 0.1006 | 0.06877 | 0.05177
|  | 942 | 75.5395 | 49.9967 | 21.5666 | 7.4888 | 2.4752 | 0.87268 | 0.35396 | 0.17342 | 0.10257 | 0.06884 | 0.05152
|  | 944 | 76.132 | 50.452 | 21.7812 | 7.5513 | 2.492 | 0.8767 | 0.35619 | 0.17283 | 0.10345 | 0.07155 | 0.05451
|  | 946 | 76.7914 | 50.8673 | 21.9303 | 7.5782 | 2.4956 | 0.87744 | 0.35553 | 0.17552 | 0.10203 | 0.07117 | 0.05349
|  | 948 | 77.4836 | 51.1766 | 21.9876 | 7.5603 | 2.4792 | 0.87073 | 0.3541 | 0.1748 | 0.10028 | 0.06908 | 0.05449
|  | 950 | 78.151 | 51.3424 | 21.9373 | 7.4974 | 2.4497 | 0.85709 | 0.34927 | 0.17083 | 0.09995 | 0.0701 | 0.0513
|  | 952 | 78.7251 | 51.347 | 21.7846 | 7.3922 | 2.4045 | 0.8431 | 0.34403 | 0.16906 | 0.10041 | 0.07021 | 0.05028
|  | 954 | 79.1286 | 51.1623 | 21.5261 | 7.2475 | 2.3482 | 0.82229 | 0.33506 | 0.16262 | 0.09791 | 0.0672 | 0.05161
|  | 956 | 79.3002 | 50.7893 | 21.1747 | 7.0805 | 2.2884 | 0.79878 | 0.32357 | 0.15929 | 0.09448 | 0.06668 | 0.05044
|  | 958 | 79.2438 | 50.2454 | 20.7507 | 6.8916 | 2.2225 | 0.77545 | 0.31397 | 0.15675 | 0.09464 | 0.06195 | 0.04834
|  | 960 | 78.9007 | 49.5602 | 20.2926 | 6.7024 | 2.158 | 0.75087 | 0.30561 | 0.15108 | 0.09184 | 0.06441 | 0.04608
|  | 962 | 78.3069 | 48.7682 | 19.8216 | 6.5286 | 2.1005 | 0.73108 | 0.29692 | 0.14933 | 0.08997 | 0.06234 | 0.04459
|  | 964 | 77.51 | 47.9374 | 19.3752 | 6.3758 | 2.0521 | 0.71881 | 0.29388 | 0.14364 | 0.08747 | 0.05837 | 0.04688
|  | 966 | 76.5627 | 47.1307 | 18.9962 | 6.2591 | 2.0198 | 0.70791 | 0.28884 | 0.1419 | 0.08451 | 0.05786 | 0.04588
|  | 968 | 75.5413 | 46.4173 | 18.7011 | 6.1851 | 2.0052 | 0.7029 | 0.28754 | 0.14266 | 0.08642 | 0.05893 | 0.0436
|  | 970 | 74.5165 | 45.8216 | 18.5098 | 6.1553 | 2.0039 | 0.70443 | 0.28706 | 0.14282 | 0.0855 | 0.06017 | 0.04402
|  | 972 | 73.5635 | 45.3915 | 18.4284 | 6.1744 | 2.0195 | 0.70946 | 0.28927 | 0.14265 | 0.08537 | 0.06062 | 0.0438
|  | 974 | 72.787 | 45.1546 | 18.4642 | 6.2378 | 2.0473 | 0.72374 | 0.29516 | 0.14631 | 0.08683 | 0.05964 | 0.04787
|  | 976 | 72.2141 | 45.1393 | 18.6113 | 6.3345 | 2.0893 | 0.73906 | 0.3013 | 0.1481 | 0.08656 | 0.05899 | 0.04735
|  | 978 | 71.8902 | 45.3119 | 18.8473 | 6.4625 | 2.1415 | 0.75484 | 0.30568 | 0.151 | 0.09108 | 0.06264 | 0.04698
|  | 980 | 71.827 | 45.6499 | 19.1577 | 6.6065 | 2.1927 | 0.77666 | 0.31313 | 0.15504 | 0.09242 | 0.06215 | 0.04757
|  | 982 | 72.0422 | 46.1258 | 19.5062 | 6.7561 | 2.2446 | 0.7908 | 0.32252 | 0.15556 | 0.09134 | 0.06486 | 0.04928
|  | 984 | 72.4815 | 46.7204 | 19.8658 | 6.9001 | 2.289 | 0.80515 | 0.32567 | 0.15865 | 0.09332 | 0.06533 | 0.04795
|  | 986 | 73.161 | 47.3614 | 20.2213 | 7.021 | 2.3236 | 0.81879 | 0.33213 | 0.16244 | 0.09372 | 0.06404 | 0.04984
|  | 988 | 73.9711 | 47.9776 | 20.5079 | 7.1055 | 2.3466 | 0.82202 | 0.33308 | 0.16379 | 0.09507 | 0.06742 | 0.04834
|  | 990 | 74.8637 | 48.5209 | 20.7134 | 7.1485 | 2.3495 | 0.82092 | 0.33365 | 0.16367 | 0.09577 | 0.06628 | 0.04797
|  | 992 | 75.7828 | 48.9421 | 20.8132 | 7.1386 | 2.3318 | 0.81581 | 0.33009 | 0.16164 | 0.09259 | 0.06449 | 0.05068
|  | 994 | 76.614 | 49.1909 | 20.789 | 7.0761 | 2.3008 | 0.79955 | 0.32373 | 0.15649 | 0.0907 | 0.064 | 0.04885
|  | 996 | 77.2643 | 49.2174 | 20.6341 | 6.96 | 2.2523 | 0.78254 | 0.31547 | 0.15406 | 0.09155 | 0.06185 | 0.04929
|  | 998 | 77.7075 | 49.0154 | 20.3586 | 6.802 | 2.1872 | 0.75853 | 0.30639 | 0.15082 | 0.08981 | 0.06069 | 0.04678
|  | 1000 | 77.8602 | 48.5965 | 19.9736 | 6.6178 | 2.1184 | 0.73128 | 0.29441 | 0.14344 | 0.08721 | 0.05983 | 0.04311
|  | 1002 | 77.6832 | 47.9791 | 19.506 | 6.4096 | 2.0437 | 0.70449 | 0.28571 | 0.14031 | 0.0833 | 0.05619 | 0.04485
|  | 1004 | 77.2083 | 47.2016 | 18.9951 | 6.1971 | 1.9727 | 0.68216 | 0.27612 | 0.13386 | 0.07805 | 0.05615 | 0.04347
|  | 1006 | 76.4614 | 46.3165 | 18.4727 | 5.9949 | 1.9078 | 0.65739 | 0.26649 | 0.13036 | 0.07904 | 0.05214 | 0.04059
|  | 1008 | 75.4848 | 45.3835 | 17.9694 | 5.8187 | 1.8507 | 0.6416 | 0.25872 | 0.12895 | 0.07737 | 0.05455 | 0.04166
|  | 1010 | 74.3535 | 44.453 | 17.5153 | 5.6739 | 1.8085 | 0.62758 | 0.25232 | 0.12591 | 0.07555 | 0.05269 | 0.03877
|  | 1012 | 73.1301 | 43.5935 | 17.1419 | 5.5683 | 1.7813 | 0.62142 | 0.25195 | 0.12349 | 0.07386 | 0.04929 | 0.03967
|  | 1014 | 71.9282 | 42.8581 | 16.8637 | 5.5023 | 1.7712 | 0.61735 | 0.25113 | 0.12158 | 0.07118 | 0.04973 | 0.03975
|  | 1016 | 70.7956 | 42.2593 | 16.6851 | 5.4834 | 1.7734 | 0.61845 | 0.24941 | 0.12396 | 0.07481 | 0.05165 | 0.03832
|  | 1018 | 69.7992 | 41.8355 | 16.6184 | 5.5006 | 1.7862 | 0.62689 | 0.25369 | 0.12635 | 0.07527 | 0.05124 | 0.04039
|  | 1020 | 69.0155 | 41.6213 | 16.658 | 5.5641 | 1.8134 | 0.63512 | 0.25963 | 0.12739 | 0.07607 | 0.0525 | 0.04129
|  | 1022 | 68.4916 | 41.5952 | 16.7934 | 5.6571 | 1.8561 | 0.65246 | 0.26477 | 0.12778 | 0.07687 | 0.05225 | 0.04053
|  | 1024 | 68.2006 | 41.7634 | 17.0188 | 5.7784 | 1.9022 | 0.67 | 0.27142 | 0.13487 | 0.07801 | 0.05519 | 0.04227
|  | 1026 | 68.1875 | 42.0986 | 17.3184 | 5.9218 | 1.9539 | 0.68608 | 0.27574 | 0.13527 | 0.082 | 0.05579 | 0.04184
|  | 1028 | 68.4283 | 42.5579 | 17.6494 | 6.0666 | 2.003 | 0.70587 | 0.28538 | 0.13983 | 0.08279 | 0.05502 | 0.04493
|  | 1030 | 68.9338 | 43.1506 | 18.0168 | 6.2141 | 2.0513 | 0.72327 | 0.29194 | 0.14277 | 0.08276 | 0.05967 | 0.0445
|  | 1032 | 69.6193 | 43.7955 | 18.3756 | 6.3437 | 2.0954 | 0.73565 | 0.29524 | 0.14281 | 0.0866 | 0.05841 | 0.04288
|  | 1034 | 70.4564 | 44.4371 | 18.695 | 6.4503 | 2.1227 | 0.74408 | 0.29969 | 0.14807 | 0.08637 | 0.06051 | 0.04446
|  | 1036 | 71.3711 | 45.0514 | 18.9652 | 6.5248 | 2.1412 | 0.74883 | 0.3018 | 0.14709 | 0.0848 | 0.05907 | 0.04299
|  | 1038 | 72.3266 | 45.5609 | 19.1431 | 6.5509 | 2.1395 | 0.74736 | 0.30121 | 0.14713 | 0.08323 | 0.05763 | 0.04577
|  | 1040 | 73.2119 | 45.937 | 19.2216 | 6.5362 | 2.126 | 0.73803 | 0.29637 | 0.14275 | 0.083 | 0.05924 | 0.04278
|  | 1042 | 73.9766 | 46.1276 | 19.1784 | 6.4719 | 2.0931 | 0.72286 | 0.28945 | 0.1426 | 0.08379 | 0.05847 | 0.04113
|  | 1044 | 74.5463 | 46.1306 | 19.0277 | 6.3625 | 2.0466 | 0.70783 | 0.28473 | 0.1399 | 0.0805 | 0.05838 | 0.0434
|  | 1046 | 74.8582 | 45.9078 | 18.7632 | 6.2152 | 1.9906 | 0.68381 | 0.27383 | 0.1324 | 0.07975 | 0.05334 | 0.04004
|  | 1048 | 74.8929 | 45.5079 | 18.4142 | 6.0466 | 1.9266 | 0.66314 | 0.2658 | 0.13086 | 0.0778 | 0.05511 | 0.04163
|  | 1050 | 74.6207 | 44.9064 | 17.986 | 5.8613 | 1.8586 | 0.63677 | 0.25655 | 0.12691 | 0.07362 | 0.05193 | 0.03707
|  | 1052 | 74.073 | 44.1694 | 17.5137 | 5.6664 | 1.793 | 0.61715 | 0.24796 | 0.1209 | 0.07028 | 0.04874 | 0.03916
|  | 1054 | 73.288 | 43.3438 | 17.0317 | 5.4842 | 1.7343 | 0.59721 | 0.24108 | 0.119 | 0.06969 | 0.04983 | 0.0387
|  | 1056 | 72.2801 | 42.4744 | 16.5613 | 5.3172 | 1.6839 | 0.57907 | 0.23159 | 0.11348 | 0.06994 | 0.04817 | 0.0372
|  | 1058 | 71.1319 | 41.5764 | 16.1212 | 5.171 | 1.6371 | 0.56521 | 0.22639 | 0.11397 | 0.06471 | 0.046 | 0.03776
|  | 1060 | 69.9461 | 40.7439 | 15.7454 | 5.0572 | 1.6074 | 0.55396 | 0.22516 | 0.11121 | 0.06549 | 0.044 | 0.03695
|  | 1062 | 68.7223 | 39.9736 | 15.4295 | 4.9696 | 1.5889 | 0.55157 | 0.22162 | 0.10798 | 0.06482 | 0.04694 | 0.03473
|  | 1064 | 67.5956 | 39.3171 | 15.2026 | 4.9273 | 1.5805 | 0.54741 | 0.22226 | 0.11079 | 0.06647 | 0.04414 | 0.03521
|  | 1066 | 66.5518 | 38.8004 | 15.0622 | 4.9134 | 1.5834 | 0.55033 | 0.22191 | 0.11096 | 0.06438 | 0.04401 | 0.03613
|  | 1068 | 65.7023 | 38.4503 | 15.0144 | 4.9338 | 1.5961 | 0.55861 | 0.2274 | 0.11217 | 0.0658 | 0.04739 | 0.03682
|  | 1070 | 65.0352 | 38.2601 | 15.0527 | 4.9902 | 1.6239 | 0.56721 | 0.23149 | 0.11168 | 0.0688 | 0.04508 | 0.03406
|  | 1072 | 64.5689 | 38.23 | 15.1671 | 5.0679 | 1.6539 | 0.58228 | 0.23625 | 0.11686 | 0.07022 | 0.04866 | 0.03873
|  | 1074 | 64.3422 | 38.3652 | 15.351 | 5.1673 | 1.6959 | 0.5955 | 0.24349 | 0.11589 | 0.07184 | 0.04723 | 0.03751
|  | 1076 | 64.3671 | 38.6454 | 15.5966 | 5.286 | 1.7388 | 0.61189 | 0.24843 | 0.12221 | 0.07103 | 0.05069 | 0.03835
|  | 1078 | 64.5984 | 39.0498 | 15.8907 | 5.4181 | 1.7841 | 0.62617 | 0.25386 | 0.12527 | 0.07459 | 0.05017 | 0.03921
|  | 1080 | 65.0203 | 39.5469 | 16.2038 | 5.5458 | 1.8275 | 0.6444 | 0.26174 | 0.12689 | 0.07637 | 0.05086 | 0.04092
|  | 1082 | 65.626 | 40.1138 | 16.5296 | 5.6721 | 1.8699 | 0.65648 | 0.266 | 0.12845 | 0.07803 | 0.05323 | 0.04083
|  | 1084 | 66.3695 | 40.7077 | 16.8412 | 5.7811 | 1.9039 | 0.66622 | 0.27078 | 0.12978 | 0.07612 | 0.05284 | 0.03946
|  | 1086 | 67.2089 | 41.2754 | 17.1176 | 5.8673 | 1.9257 | 0.67589 | 0.273 | 0.13254 | 0.07658 | 0.05579 | 0.04242
|  | 1088 | 68.0584 | 41.7965 | 17.3339 | 5.9245 | 1.941 | 0.67761 | 0.27177 | 0.1306 | 0.08008 | 0.05465 | 0.04078
|  | 1090 | 68.9172 | 42.2485 | 17.485 | 5.9496 | 1.9407 | 0.67681 | 0.2731 | 0.13143 | 0.0782 | 0.05489 | 0.04183
|  | 1092 | 69.702 | 42.5652 | 17.552 | 5.9363 | 1.9275 | 0.66938 | 0.27017 | 0.12987 | 0.07852 | 0.05135 | 0.03893
|  | 1094 | 70.3368 | 42.7296 | 17.5229 | 5.886 | 1.8977 | 0.65902 | 0.26673 | 0.13087 | 0.07756 | 0.05481 | 0.04136
|  | 1096 | 70.7934 | 42.7405 | 17.4084 | 5.8013 | 1.8645 | 0.64377 | 0.25924 | 0.12712 | 0.07647 | 0.05215 | 0.04049
|  | 1098 | 71.025 | 42.5768 | 17.1985 | 5.6823 | 1.8174 | 0.62475 | 0.25067 | 0.12408 | 0.07341 | 0.04983 | 0.03679
|  | 1100 | 71.0405 | 42.2419 | 16.9152 | 5.5424 | 1.7636 | 0.60896 | 0.24536 | 0.12159 | 0.0697 | 0.05038 | 0.03913
|  | 1102 | 70.7955 | 41.7668 | 16.5693 | 5.385 | 1.711 | 0.58664 | 0.23756 | 0.11456 | 0.06968 | 0.0464 | 0.03712
|  | 1104 | 70.2931 | 41.1645 | 16.1724 | 5.2206 | 1.6546 | 0.56861 | 0.22938 | 0.11291 | 0.06578 | 0.04798 | 0.03509
|  | 1106 | 69.5989 | 40.4591 | 15.7552 | 5.0577 | 1.5978 | 0.54782 | 0.21954 | 0.10653 | 0.06545 | 0.04585 | 0.03187
|  | 1108 | 68.7278 | 39.6936 | 15.333 | 4.9013 | 1.5479 | 0.53191 | 0.21455 | 0.10847 | 0.06272 | 0.04575 | 0.03324
|  | 1110 | 67.7097 | 38.8966 | 14.9286 | 4.7642 | 1.5048 | 0.51976 | 0.21111 | 0.10444 | 0.06273 | 0.04412 | 0.03378
|  | 1112 | 66.6083 | 38.0876 | 14.5483 | 4.6406 | 1.4709 | 0.50559 | 0.20289 | 0.09946 | 0.0622 | 0.04037 | 0.03136
|  | 1114 | 65.4977 | 37.3342 | 14.2162 | 4.5409 | 1.4406 | 0.5003 | 0.20162 | 0.10142 | 0.0596 | 0.04269 | 0.03154
|  | 1116 | 64.3878 | 36.6421 | 13.9428 | 4.4653 | 1.4229 | 0.49165 | 0.19887 | 0.09987 | 0.0608 | 0.03907 | 0.03364
|  | 1118 | 63.3309 | 36.0359 | 13.7237 | 4.4194 | 1.4151 | 0.49284 | 0.20087 | 0.09779 | 0.05973 | 0.04211 | 0.03225
|  | 1120 | 62.3987 | 35.5405 | 13.5769 | 4.3968 | 1.4116 | 0.4922 | 0.19862 | 0.09922 | 0.06024 | 0.04022 | 0.03136
|  | 1122 | 61.5837 | 35.1607 | 13.4968 | 4.4008 | 1.4188 | 0.49724 | 0.20292 | 0.09852 | 0.06075 | 0.04009 | 0.03171
|  | 1124 | 60.8971 | 34.9082 | 13.4819 | 4.4272 | 1.4331 | 0.50318 | 0.20521 | 0.10261 | 0.06106 | 0.04351 | 0.03349
|  | 1126 | 60.4004 | 34.7872 | 13.5329 | 4.4773 | 1.4581 | 0.5116 | 0.20755 | 0.10081 | 0.06156 | 0.0432 | 0.03186
|  | 1128 | 60.1059 | 34.8024 | 13.6436 | 4.545 | 1.483 | 0.52285 | 0.21439 | 0.10692 | 0.06151 | 0.04288 | 0.03311
|  | 1130 | 59.9721 | 34.9348 | 13.8087 | 4.6261 | 1.5154 | 0.53506 | 0.21526 | 0.10818 | 0.06509 | 0.04327 | 0.03563
|  | 1132 | 60.0382 | 35.1755 | 14.0135 | 4.7276 | 1.5546 | 0.54857 | 0.22378 | 0.11125 | 0.06576 | 0.04713 | 0.03708
|  | 1134 | 60.2431 | 35.5088 | 14.247 | 4.8295 | 1.5891 | 0.55819 | 0.22772 | 0.10918 | 0.06734 | 0.04404 | 0.03395
|  | 1136 | 60.6249 | 35.9134 | 14.5067 | 4.9352 | 1.6273 | 0.5708 | 0.2302 | 0.11243 | 0.06838 | 0.04626 | 0.03612
|  | 1138 | 61.118 | 36.3714 | 14.7719 | 5.0379 | 1.6603 | 0.5844 | 0.23761 | 0.11732 | 0.07106 | 0.04941 | 0.03757
|  | 1140 | 61.7318 | 36.8573 | 15.0286 | 5.1299 | 1.69 | 0.59147 | 0.24064 | 0.11707 | 0.06987 | 0.04701 | 0.03754
|  | 1142 | 62.4086 | 37.3543 | 15.2685 | 5.2067 | 1.7102 | 0.60364 | 0.24325 | 0.11752 | 0.07051 | 0.04757 | 0.03973
|  | 1144 | 63.1346 | 37.8104 | 15.4741 | 5.2678 | 1.7278 | 0.6031 | 0.24435 | 0.1217 | 0.07377 | 0.05037 | 0.03632
|  | 1146 | 63.8508 | 38.2216 | 15.6305 | 5.3049 | 1.7344 | 0.60693 | 0.24578 | 0.11951 | 0.07159 | 0.05036 | 0.03908
|  | 1148 | 64.5112 | 38.5342 | 15.7217 | 5.3094 | 1.7306 | 0.60282 | 0.24071 | 0.11989 | 0.07106 | 0.04637 | 0.03506
|  | 1150 | 65.0965 | 38.7596 | 15.7549 | 5.2894 | 1.7128 | 0.59584 | 0.24272 | 0.12004 | 0.06881 | 0.0499 | 0.03592
|  | 1152 | 65.5395 | 38.8654 | 15.7186 | 5.2433 | 1.6913 | 0.58787 | 0.2375 | 0.11761 | 0.07064 | 0.04792 | 0.03788
|  | 1154 | 65.8428 | 38.8354 | 15.6057 | 5.1672 | 1.6618 | 0.57334 | 0.22971 | 0.11182 | 0.06785 | 0.04511 | 0.03374
|  | 1156 | 65.9455 | 38.6684 | 15.4277 | 5.0711 | 1.6214 | 0.5623 | 0.22803 | 0.1142 | 0.0661 | 0.04886 | 0.0375
|  | 1158 | 65.8717 | 38.3742 | 15.1854 | 4.9524 | 1.5813 | 0.54614 | 0.22126 | 0.1076 | 0.06259 | 0.04633 | 0.03272
|  | 1160 | 65.5799 | 37.9624 | 14.8905 | 4.8276 | 1.5347 | 0.52967 | 0.21428 | 0.1062 | 0.06451 | 0.04433 | 0.03452
|  | 1162 | 65.0977 | 37.4316 | 14.5586 | 4.6875 | 1.4842 | 0.51008 | 0.20528 | 0.10066 | 0.06228 | 0.04064 | 0.03086
|  | 1164 | 64.454 | 36.8224 | 14.2057 | 4.5516 | 1.4415 | 0.49766 | 0.20207 | 0.10066 | 0.06179 | 0.04301 | 0.03305
|  | 1166 | 63.6335 | 36.1313 | 13.8298 | 4.4098 | 1.3959 | 0.47887 | 0.19159 | 0.09382 | 0.05611 | 0.03959 | 0.02833
|  | 1168 | 62.7338 | 35.4276 | 13.4751 | 4.2874 | 1.3538 | 0.46872 | 0.18978 | 0.09292 | 0.055 | 0.04111 | 0.03247
|  | 1170 | 61.7295 | 34.6948 | 13.1207 | 4.1693 | 1.3202 | 0.45655 | 0.18608 | 0.09342 | 0.05751 | 0.03985 | 0.03064
|  | 1172 | 60.6883 | 33.9806 | 12.7952 | 4.0668 | 1.2912 | 0.44634 | 0.18212 | 0.0887 | 0.05349 | 0.03748 | 0.02882
|  | 1174 | 59.6356 | 33.2984 | 12.5059 | 3.9789 | 1.266 | 0.43616 | 0.17597 | 0.08572 | 0.05249 | 0.03833 | 0.02983
|  | 1176 | 58.6298 | 32.6766 | 12.266 | 3.9144 | 1.2461 | 0.43399 | 0.17712 | 0.0896 | 0.05399 | 0.03902 | 0.03088
|  | 1178 | 57.6865 | 32.1285 | 12.0724 | 3.8704 | 1.2391 | 0.43262 | 0.17655 | 0.08808 | 0.05346 | 0.0371 | 0.0293
|  | 1180 | 56.8488 | 31.6691 | 11.9275 | 3.844 | 1.2331 | 0.43136 | 0.17411 | 0.08811 | 0.05026 | 0.03536 | 0.02676
|  | 1182 | 56.1015 | 31.3056 | 11.8392 | 3.8358 | 1.2372 | 0.43386 | 0.17735 | 0.08915 | 0.05553 | 0.03785 | 0.03074
|  | 1184 | 55.4684 | 31.0315 | 11.7925 | 3.8426 | 1.2447 | 0.43382 | 0.17566 | 0.08618 | 0.05333 | 0.03478 | 0.02821
|  | 1186 | 54.9876 | 30.8655 | 11.8032 | 3.8712 | 1.2543 | 0.43961 | 0.17732 | 0.08788 | 0.05425 | 0.03694 | 0.028
|  | 1188 | 54.6335 | 30.7965 | 11.8553 | 3.9126 | 1.2748 | 0.4486 | 0.18312 | 0.09078 | 0.05478 | 0.03874 | 0.02954
|  | 1190 | 54.4402 | 30.8284 | 11.9526 | 3.968 | 1.2977 | 0.45566 | 0.18364 | 0.09074 | 0.05708 | 0.03937 | 0.02854
|  | 1192 | 54.386 | 30.9521 | 12.084 | 4.0361 | 1.3215 | 0.46567 | 0.18785 | 0.09274 | 0.05747 | 0.03705 | 0.02992
|  | 1194 | 54.4875 | 31.1722 | 12.2611 | 4.1162 | 1.3532 | 0.47793 | 0.19496 | 0.09718 | 0.06007 | 0.04231 | 0.03213
|  | 1196 | 54.7227 | 31.4664 | 12.4587 | 4.1994 | 1.3825 | 0.48649 | 0.19693 | 0.09525 | 0.05948 | 0.04039 | 0.03034
|  | 1198 | 55.0948 | 31.836 | 12.6802 | 4.2866 | 1.4091 | 0.49588 | 0.20078 | 0.09917 | 0.05789 | 0.0419 | 0.02995
|  | 1200 | 55.5652 | 32.2387 | 12.9095 | 4.3758 | 1.441 | 0.50832 | 0.20598 | 0.10228 | 0.06132 | 0.04278 | 0.03301

## Transmission by Temp
LCC1622(/M) Transmission by Temperature
|  |  | 25 °C | 40 °C | 60 °C
|  | Wavelength (nm) | Transmission (%) | Transmission (%) | Transmission (%)
|  | 600 | 59.6674 | 59.7608 | 62.4261
|  | 605 | 61.0569 | 61.2044 | 64.1087
|  | 610 | 62.4365 | 62.6448 | 65.7015
|  | 615 | 63.549 | 63.9098 | 67.4163
Product Raw Data |  | 620 | 64.7093 | 65.1051 | 68.8535
Liquid Crystal Optical Shutter / Variable Attenuator, 700 - 1100 nm |  | 625 | 65.8459 | 66.4734 | 70.0605
|  | 630 | 66.7339 | 67.6703 | 71.6536
Item # | LCC1622(/M) | 635 | 67.6325 | 68.4508 | 73.0252
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 640 | 68.8121 | 69.6066 | 73.7696
|  | 645 | 69.6489 | 71.003 | 74.8744
|  | 650 | 70.0872 | 71.6378 | 76.3487
|  | 655 | 71.0875 | 72.0883 | 77.0703
|  | 660 | 72.3167 | 73.3337 | 77.2846
|  | 665 | 72.7049 | 74.6157 | 78.5169
This data may be used in publications. However, please cite Thorlabs as the source. |  | 670 | 72.7921 | 74.7451 | 79.8834
|  | 675 | 73.9798 | 74.9404 | 79.9639
|  | 680 | 75.3978 | 76.4769 | 79.921
Additional Information: |  | 685 | 75.4941 | 77.763 | 81.2414
Shutter Mode |  | 690 | 75.234 | 77.5339 | 82.6079
|  | 695 | 76.3505 | 77.36 | 82.2809
|  | 700 | 78.1437 | 78.9097 | 81.7796
|  | 705 | 78.3333 | 80.5004 | 82.9583
|  | 710 | 77.5201 | 80.3316 | 84.6839
|  | 715 | 78.0778 | 79.4909 | 84.4692
|  | 720 | 80.2105 | 80.4784 | 83.1883
|  | 725 | 81.2736 | 82.6675 | 83.6144
|  | 730 | 80.2212 | 83.1981 | 85.7344
|  | 735 | 79.5648 | 81.9094 | 86.5708
|  | 740 | 81.1346 | 81.4802 | 85.0317
|  | 745 | 83.4428 | 83.4732 | 83.7952
|  | 755 | 82.0465 | 85.1919 | 87.4578
|  | 760 | 81.5992 | 83.3851 | 87.6144
|  | 765 | 83.5097 | 83.211 | 85.3647
|  | 770 | 85.9697 | 85.5334 | 84.0577
|  | 775 | 86.0206 | 87.7891 | 85.6257
|  | 780 | 84.0413 | 87.3244 | 88.2595
|  | 785 | 83.0845 | 85.0332 | 88.5742
|  | 790 | 84.816 | 84.2237 | 86.1482
|  | 795 | 87.6933 | 86.2278 | 84.033
|  | 800 | 88.6261 | 89.1367 | 84.7974
|  | 805 | 86.7699 | 89.7261 | 87.5712
|  | 810 | 84.5784 | 87.4197 | 89.2397
|  | 815 | 84.7784 | 85.1456 | 87.6603
|  | 820 | 87.5424 | 85.4982 | 84.5317
|  | 825 | 90.2202 | 88.2844 | 83.1957
|  | 830 | 90.0954 | 90.8153 | 84.7406
|  | 840 | 85.4055 | 87.9964 | 88.8599
|  | 845 | 85.6489 | 85.6653 | 87.0697
|  | 850 | 88.2573 | 86.0057 | 84.4081
|  | 855 | 90.8247 | 88.1801 | 82.9065
|  | 865 | 82.3069 | 83.9154 | 80.1068
|  | 870 | 80.6193 | 82.309 | 81.0356
|  | 875 | 80.3048 | 80.4118 | 80.1277
|  | 880 | 81.9135 | 79.9073 | 77.8638
|  | 885 | 84.4856 | 81.4216 | 75.9565
|  | 890 | 86.1067 | 84.0369 | 75.8899
|  | 895 | 85.4259 | 85.7315 | 77.7674
|  | 900 | 82.9572 | 85.0963 | 80.191
|  | 905 | 80.6601 | 82.5416 | 81.1893
|  | 910 | 80.2675 | 79.9872 | 79.7505
|  | 915 | 82.1725 | 79.2678 | 76.8291
|  | 920 | 85.3196 | 80.9202 | 74.4295
|  | 925 | 87.6431 | 84.0061 | 74.0631
|  | 930 | 87.4416 | 86.4893 | 75.9036
|  | 935 | 84.8505 | 86.5531 | 78.7321
|  | 940 | 81.6392 | 84.0899 | 80.599
|  | 945 | 79.8645 | 80.8217 | 80.1229
|  | 950 | 80.4994 | 78.747 | 77.4775
|  | 955 | 83.2057 | 78.9675 | 74.3325
|  | 960 | 86.5228 | 81.2931 | 72.3415
|  | 965 | 88.512 | 84.5436 | 72.4855
|  | 970 | 87.8111 | 86.7941 | 74.5639
|  | 975 | 84.9104 | 86.5525 | 77.3886
|  | 980 | 81.5286 | 83.9377 | 79.2853
|  | 985 | 79.3935 | 80.4799 | 78.9546
|  | 990 | 79.369 | 77.8965 | 76.4372
|  | 995 | 81.4136 | 77.3169 | 73.1451
|  | 1000 | 84.5975 | 78.8266 | 70.5311
|  | 1005 | 87.3078 | 81.6839 | 69.6366
|  | 1010 | 88.0266 | 84.5656 | 70.6808
|  | 1015 | 86.2421 | 85.7926 | 73.0205
|  | 1020 | 82.8763 | 84.618 | 75.5229
|  | 1025 | 79.5748 | 81.615 | 76.8001
|  | 1030 | 77.5247 | 78.1639 | 76.0494
|  | 1035 | 77.4261 | 75.688 | 73.5422
|  | 1040 | 79.1718 | 74.9344 | 70.3834
|  | 1045 | 82.052 | 76.021 | 67.7768
|  | 1050 | 84.9335 | 78.5423 | 66.5448
|  | 1055 | 86.3556 | 81.3688 | 66.96
|  | 1060 | 85.5961 | 83.245 | 68.7168
|  | 1065 | 82.9538 | 83.222 | 71.0342
|  | 1070 | 79.5081 | 81.193 | 72.9342
|  | 1075 | 76.5738 | 78.0287 | 73.4132
|  | 1080 | 74.9315 | 74.8743 | 72.1853
|  | 1085 | 74.9328 | 72.7052 | 69.6774
|  | 1090 | 76.4804 | 72.0049 | 66.7438
|  | 1095 | 79.002 | 72.848 | 64.3432
|  | 1100 | 81.6635 | 74.8919 | 63.0433
|  | 1105 | 83.3778 | 77.3983 | 63.0326
|  | 1110 | 83.3756 | 79.4578 | 64.2172
|  | 1115 | 81.5981 | 80.1574 | 66.0889
|  | 1120 | 78.6656 | 79.1802 | 68.0132
|  | 1125 | 75.4844 | 76.7621 | 69.1598
|  | 1130 | 72.8724 | 73.6535 | 68.9703
|  | 1135 | 71.4413 | 70.8031 | 67.4268
|  | 1140 | 71.3235 | 68.8 | 64.9899
|  | 1145 | 72.471 | 68.0326 | 62.368
|  | 1150 | 74.497 | 68.5159 | 60.1356
|  | 1155 | 76.769 | 69.9941 | 58.7432
|  | 1160 | 78.5395 | 72.0258 | 58.3465
|  | 1165 | 79.1298 | 73.9126 | 58.8908
|  | 1170 | 78.1399 | 74.9799 | 60.1157
|  | 1175 | 75.9018 | 74.7684 | 61.6207
|  | 1180 | 73.0184 | 73.2867 | 62.8968
|  | 1185 | 70.228 | 70.9638 | 63.5094
|  | 1190 | 67.947 | 68.2348 | 63.1252
|  | 1195 | 66.6299 | 65.7909 | 61.8264
|  | 1200 | 66.4372 | 64.095 | 59.9132

## Contrast Ratio by Temp
LCC1622(/M) Contrast Ratio by Temperature
|  |  | 25 °C | 40 °C | 60 °C
|  | Wavelength (nm) | Contrast Ratio | Contrast Ratio | Contrast Ratio
|  | 600 | 30.6888 | 30.7881 | 32.3716
|  | 605 | 33.2099 | 33.3128 | 35.1326
|  | 610 | 36.3896 | 36.5238 | 38.5489
|  | 615 | 40.1352 | 40.3298 | 42.8368
Product Raw Data |  | 620 | 44.805 | 44.9945 | 47.9005
Liquid Crystal Optical Shutter / Variable Attenuator, 700 - 1100 nm |  | 625 | 50.465 | 50.8274 | 53.9479
|  | 630 | 57.1936 | 57.7992 | 61.7037
Item # | LCC1622(/M) | 635 | 65.3048 | 65.7421 | 70.8216
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 640 | 75.3479 | 75.7069 | 81.0995
|  | 645 | 86.7497 | 87.9224 | 93.6991
|  | 650 | 99.699 | 101.3039 | 109.1561
|  | 655 | 115.7946 | 116.7137 | 126.2658
|  | 660 | 135.006 | 136.0761 | 145.4071
|  | 665 | 156.1684 | 158.6665 | 169.8024
This data may be used in publications. However, please cite Thorlabs as the source. |  | 670 | 179.9105 | 182.2098 | 198.0974
|  | 675 | 209.6672 | 209.9632 | 228.104
|  | 680 | 246.6677 | 247.3174 | 262.5757
Additional Information: |  | 685 | 285.6569 | 290.1754 | 308.0936
Shutter Mode |  | 690 | 327.9703 | 335.3774 | 362.3743
|  | 695 | 383.7089 | 387.8557 | 418.966
|  | 700 | 456.5479 | 457.092 | 485.5334
|  | 705 | 534.0842 | 543.3089 | 573.6709
|  | 710 | 617.6836 | 627.6645 | 678.2269
|  | 715 | 723.8082 | 722.7863 | 780.0759
|  | 720 | 855.4778 | 850.2644 | 890.8215
|  | 725 | 1009.9518 | 1030.4387 | 1057.9797
|  | 730 | 1164.0059 | 1200.86 | 1273.7339
|  | 735 | 1339.6617 | 1380.7026 | 1528.3846
|  | 740 | 1592.2275 | 1596.3999 | 1759.8984
|  | 750 | 1926.4531 | 1953.6656 | 2083.0985
|  | 755 | 2211.5275 | 2294.1089 | 2537.856
|  | 760 | 2599.2423 | 2667.3766 | 3003.2894
|  | 765 | 3045.1115 | 2974.3531 | 3504.2733
|  | 770 | 3509.2269 | 3591.3582 | 4086.1889
|  | 775 | 4013.6878 | 4211.0214 | 4895.9228
|  | 780 | 4536.5539 | 4705.1186 | 5890.8216
|  | 785 | 5273.1097 | 5238.7042 | 6831.5029
|  | 790 | 6074.0242 | 5823.975 | 7165.7698
|  | 795 | 6887.683 | 6319.2827 | 7597.5437
|  | 800 | 7405.9295 | 7422.0973 | 8339.0391
|  | 805 | 8137.4738 | 8180.1732 | 9565.2972
|  | 810 | 9068.4787 | 8710.5384 | 10351.3286
|  | 815 | 9283.2967 | 8118.0283 | 11017.1305
|  | 820 | 9515.7584 | 8689.2447 | 10792.2433
|  | 825 | 10157.3286 | 9208.8511 | 11607.5714
|  | 830 | 10628.6785 | 9883.433 | 12440.8944
|  | 840 | 10415.652 | 9979.2813 | 13974.0795
|  | 845 | 10053.9755 | 9717.2273 | 13622.0486
|  | 850 | 11257.8253 | 10364.966 | 14433.2152
|  | 855 | 11694.7666 | 10908.8408 | 14648.0351
|  | 865 | 10195.2162 | 9614.8036 | 13783.6456
|  | 870 | 9948.6492 | 9219.5754 | 13099.0699
|  | 875 | 9370.3538 | 8604.3729 | 11971.8613
|  | 880 | 9360.5679 | 9076.525 | 10823.7148
|  | 885 | 9869.4977 | 9171.5423 | 10368.1987
|  | 890 | 9902.0837 | 9240.5487 | 10191.0399
|  | 895 | 9690.2672 | 9265.1761 | 10196.6996
|  | 900 | 9135.7962 | 9168.4259 | 10041.7954
|  | 905 | 8590.9161 | 8521.9806 | 10048.4084
|  | 910 | 8045.5437 | 7702.1857 | 9440.0647
|  | 915 | 8256.735 | 7567.2056 | 8978.2179
|  | 920 | 8559.7362 | 7797.8279 | 8551.8988
|  | 925 | 8786.4377 | 8179.3895 | 8514.5094
|  | 930 | 8831.102 | 8494.5564 | 8771.2025
|  | 935 | 8495.3177 | 8418.2953 | 9229.1434
|  | 940 | 8272.4406 | 8206.5841 | 9694.2643
|  | 945 | 8092.392 | 7748.892 | 9735.7853
|  | 950 | 8245.661 | 7474.4742 | 9376.4383
|  | 955 | 8662.3378 | 7516.3575 | 8954.0531
|  | 960 | 9138.2709 | 7818.2204 | 8509.8537
|  | 965 | 9324.7221 | 8257.3149 | 8448.1938
|  | 970 | 9211.0134 | 8548.3886 | 8738.8538
|  | 975 | 8941.4432 | 8545.3249 | 9301.5139
|  | 980 | 8539.2166 | 8164.211 | 9609.1698
|  | 985 | 8218.092 | 7729.6011 | 9729.3558
|  | 990 | 8209.9926 | 7485.267 | 9428.4399
|  | 995 | 8457.1936 | 7465.0481 | 8916.0843
|  | 1000 | 8837.1755 | 7720.0515 | 8524.8028
|  | 1005 | 9201.7428 | 8142.26 | 8386.0971
|  | 1010 | 9290.3161 | 8485.0261 | 8510.7301
|  | 1015 | 8983.5541 | 8562.7557 | 8815.8053
|  | 1020 | 8637.4496 | 8427.7781 | 9348.5762
|  | 1025 | 8262.128 | 8076.3291 | 9547.0736
|  | 1030 | 7930.9212 | 7594.1621 | 9354.5843
|  | 1035 | 7880.7419 | 7336.6327 | 9020.5707
|  | 1040 | 8068.2041 | 7291.1426 | 8626.8625
|  | 1045 | 8373.042 | 7416.0269 | 8164.8978
|  | 1050 | 8715.764 | 7758.5163 | 8042.1112
|  | 1055 | 8929.0875 | 8143.2516 | 8075.3471
|  | 1060 | 8696.7041 | 8393.9404 | 8302.2359
|  | 1065 | 8324.5141 | 8351.7403 | 8536.3611
|  | 1070 | 7967.1768 | 8212.4011 | 8832.2357
|  | 1075 | 7640.1591 | 7930.6943 | 8843.515
|  | 1080 | 7509.1218 | 7562.9197 | 8674.9829
|  | 1085 | 7572.5857 | 7406.2536 | 8467.3933
|  | 1090 | 7842.6807 | 7444.8114 | 8233.691
|  | 1095 | 8194.7612 | 7596.5346 | 7864.9567
|  | 1100 | 8538.1464 | 7987.4579 | 7805.4681
|  | 1105 | 8807.1151 | 8245.7434 | 7749.6207
|  | 1110 | 8847.5 | 8392.0902 | 7801.9507
|  | 1115 | 8808.343 | 8371.297 | 8033.0883
|  | 1120 | 8469.9308 | 8374.8317 | 8392.2664
|  | 1125 | 8193.1693 | 8063.168 | 8675.6354
|  | 1130 | 7965.4586 | 7731.8358 | 8726.2962
|  | 1135 | 7799.9691 | 7507.1243 | 8432.2829
|  | 1140 | 7756.3851 | 7345.2202 | 8196.1928
|  | 1145 | 7889.5987 | 7147.7119 | 7802.5646
|  | 1150 | 8070.225 | 7169.3177 | 7649.8645
|  | 1155 | 8395.8909 | 7154.7363 | 7446.0407
|  | 1160 | 8396.5944 | 7321.7958 | 7524.7836
|  | 1165 | 8404.0885 | 7455.1741 | 7808.4727
|  | 1170 | 8293.9911 | 7630.6907 | 8000.9817
|  | 1175 | 8183.0838 | 7623.3462 | 8189.7814
|  | 1180 | 7840.4842 | 7589.0435 | 8351.92
|  | 1185 | 7593.7803 | 7347.6751 | 8424.4243
|  | 1190 | 7299.1377 | 7008.0481 | 8472.0388
|  | 1195 | 7311.1584 | 6697.0802 | 8245.7147
|  | 1200 | 7177.6058 | 6627.3551 | 8028.4169

## Transmission by AOI
LCC1622(/M) Transmission by AOI
|  |  | 0° AOI | 3° AOI | 5° AOI | -3° AOI | -5° AOI
|  | Wavelength (nm) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%)
|  | 600 | 59.6674 | 60.1692 | 60.5975 | 59.0353 | 58.7939
|  | 605 | 61.0569 | 61.5577 | 61.9947 | 60.3619 | 60.1378
|  | 610 | 62.4365 | 62.8848 | 63.2657 | 61.6676 | 61.3909
|  | 615 | 63.549 | 64.0159 | 64.3892 | 62.7951 | 62.5216
Product Raw Data |  | 620 | 64.7093 | 65.2301 | 65.6085 | 64.0068 | 63.7711
Liquid Crystal Optical Shutter / Variable Attenuator, 700 - 1100 nm |  | 625 | 65.8459 | 66.3282 | 66.5894 | 65.1673 | 64.783
|  | 630 | 66.7339 | 67.135 | 67.4277 | 66.0659 | 65.6977
Item # | LCC1622(/M) | 635 | 67.6325 | 68.0601 | 68.5143 | 67.0967 | 66.8144
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 640 | 68.8121 | 69.2513 | 69.5528 | 68.297 | 67.8216
|  | 645 | 69.6489 | 69.9111 | 70.0499 | 69.0527 | 68.4042
|  | 650 | 70.0872 | 70.3659 | 70.7465 | 69.5753 | 69.2382
|  | 655 | 71.0875 | 71.5324 | 72.0613 | 70.7298 | 70.5429
|  | 660 | 72.3167 | 72.6095 | 72.7454 | 71.8113 | 71.1616
|  | 665 | 72.7049 | 72.7554 | 72.771 | 72.0492 | 71.2983
This data may be used in publications. However, please cite Thorlabs as the source. |  | 670 | 72.7921 | 73.0224 | 73.5659 | 72.3371 | 72.2118
|  | 675 | 73.9798 | 74.4365 | 75.128 | 73.7248 | 73.6689
|  | 680 | 75.3978 | 75.6031 | 75.6732 | 74.8953 | 74.0731
Additional Information: |  | 685 | 75.4941 | 75.3496 | 75.3505 | 74.7171 | 73.7843
Shutter Mode |  | 690 | 75.234 | 75.3546 | 75.951 | 74.7146 | 74.6575
|  | 695 | 76.3505 | 76.861 | 77.8457 | 76.1706 | 76.3762
|  | 700 | 78.1437 | 78.4353 | 78.6894 | 77.7258 | 76.9584
|  | 705 | 78.3333 | 78.1226 | 77.9366 | 77.4514 | 76.1662
|  | 710 | 77.5201 | 77.4493 | 77.9495 | 76.7659 | 76.4158
|  | 715 | 78.0778 | 78.6072 | 79.8687 | 77.8897 | 78.366
|  | 720 | 80.2105 | 80.8115 | 81.525 | 80.0087 | 79.6529
|  | 725 | 81.2736 | 81.1883 | 80.9762 | 80.3894 | 78.8981
|  | 730 | 80.2212 | 79.9381 | 79.9528 | 79.1605 | 78.059
|  | 735 | 79.5648 | 79.8692 | 80.962 | 79.0471 | 79.2881
|  | 740 | 81.1346 | 82.0263 | 83.4221 | 81.0364 | 81.5224
|  | 745 | 83.4428 | 83.9684 | 84.3036 | 82.9459 | 82.0051
|  | 750 | 83.6163 | 83.4011 | 82.9244 | 82.3889 | 80.4949
|  | 755 | 82.0465 | 81.8005 | 81.9785 | 80.8061 | 79.8025
|  | 760 | 81.5992 | 82.0983 | 83.5117 | 80.9782 | 81.5458
|  | 765 | 83.5097 | 84.6342 | 86.1838 | 83.4214 | 83.9655
|  | 770 | 85.9697 | 86.6456 | 86.9345 | 85.3806 | 84.212
|  | 775 | 86.0206 | 85.8086 | 85.1876 | 84.5915 | 82.3386
|  | 780 | 84.0413 | 83.7503 | 83.7769 | 82.5187 | 81.2194
|  | 790 | 84.816 | 86.098 | 88.0731 | 84.6236 | 85.5234
|  | 795 | 87.6933 | 88.7882 | 89.621 | 87.2476 | 86.5703
|  | 800 | 88.6261 | 88.737 | 88.1617 | 87.2405 | 84.8171
|  | 805 | 86.7699 | 86.3367 | 85.782 | 84.8999 | 82.5919
|  | 810 | 84.5784 | 84.6798 | 85.5526 | 83.1759 | 82.6827
|  | 815 | 84.7784 | 85.9015 | 88.0315 | 84.2174 | 85.2224
|  | 820 | 87.5424 | 89.1231 | 91.1141 | 87.3123 | 87.8759
|  | 825 | 90.2202 | 91.1728 | 91.6363 | 89.3611 | 87.8602
|  | 830 | 90.0954 | 90.105 | 89.2468 | 88.2533 | 85.2912
|  | 835 | 87.6044 | 87.388 | 86.8367 | 85.4933 | 83.0759
|  | 840 | 85.4055 | 85.8366 | 86.7949 | 83.7983 | 83.187
|  | 845 | 85.6489 | 87.177 | 89.4212 | 84.763 | 85.6206
|  | 855 | 90.8247 | 92.5889 | 93.6383 | 89.7642 | 88.7986
|  | 865 | 82.3069 | 81.2654 | 80.0059 | 81.787 | 80.8502
|  | 870 | 80.6193 | 79.8525 | 79.4389 | 80.5094 | 80.7831
|  | 875 | 80.3048 | 80.1681 | 80.7911 | 80.8551 | 82.3855
|  | 880 | 81.9135 | 82.2929 | 83.3228 | 82.9183 | 84.7017
|  | 885 | 84.4856 | 84.8292 | 85.1974 | 85.3146 | 85.9665
|  | 890 | 86.1067 | 85.8094 | 84.8915 | 86.1518 | 85.0733
|  | 895 | 85.4259 | 84.3945 | 82.6284 | 84.6896 | 82.6752
|  | 900 | 82.9572 | 81.7224 | 80.2135 | 82.0234 | 80.6484
|  | 905 | 80.6601 | 79.8874 | 79.5185 | 80.2501 | 80.5567
|  | 910 | 80.2675 | 80.2891 | 81.1474 | 80.6949 | 82.6434
|  | 915 | 82.1725 | 82.7957 | 84.1855 | 83.2114 | 85.6163
|  | 920 | 85.3196 | 85.9393 | 86.6623 | 86.2799 | 87.5082
|  | 925 | 87.6431 | 87.5442 | 86.805 | 87.781 | 86.896
|  | 930 | 87.4416 | 86.4165 | 84.4765 | 86.6082 | 84.2079
|  | 935 | 84.8505 | 83.3864 | 81.3491 | 83.6197 | 81.3277
|  | 940 | 81.6392 | 80.4503 | 79.3414 | 80.7893 | 79.9819
|  | 945 | 79.8645 | 79.4191 | 79.6709 | 79.8856 | 81.0051
|  | 950 | 80.4994 | 80.8596 | 82.1991 | 81.4188 | 83.9257
|  | 955 | 83.2057 | 83.987 | 85.5165 | 84.5811 | 87.0435
|  | 960 | 86.5228 | 87.0852 | 87.6571 | 87.5997 | 88.4588
|  | 965 | 88.512 | 88.2339 | 87.2444 | 88.6155 | 87.2242
|  | 970 | 87.8111 | 86.6015 | 84.4663 | 86.8594 | 84.0616
|  | 975 | 84.9104 | 83.2842 | 81.1065 | 83.5377 | 80.9406
|  | 980 | 81.5286 | 80.1666 | 78.8735 | 80.4783 | 79.33
|  | 985 | 79.3935 | 78.7269 | 78.7384 | 79.1295 | 79.8924
|  | 990 | 79.369 | 79.4986 | 80.7024 | 80.0089 | 82.3444
|  | 995 | 81.4136 | 82.1308 | 83.8553 | 82.6718 | 85.4944
|  | 1000 | 84.5975 | 85.3813 | 86.6359 | 85.8603 | 87.7034
|  | 1005 | 87.3078 | 87.5514 | 87.4617 | 87.8794 | 87.6368
|  | 1010 | 88.0266 | 87.3531 | 85.7857 | 87.514 | 85.2478
|  | 1015 | 86.2421 | 84.8567 | 82.525 | 84.889 | 81.7814
|  | 1020 | 82.8763 | 81.3228 | 79.201 | 81.3303 | 78.7686
|  | 1025 | 79.5748 | 78.3605 | 77.1717 | 78.4276 | 77.3503
|  | 1030 | 77.5247 | 77.0172 | 77.0467 | 77.1709 | 77.8842
|  | 1035 | 77.4261 | 77.6543 | 78.7574 | 77.8918 | 80.0719
|  | 1040 | 79.1718 | 79.9811 | 81.6571 | 80.2405 | 83.045
|  | 1045 | 82.052 | 83.0438 | 84.5128 | 83.2685 | 85.4631
|  | 1050 | 84.9335 | 85.5957 | 85.9735 | 85.658 | 86.1137
|  | 1055 | 86.3556 | 86.2865 | 85.2411 | 86.164 | 84.5858
|  | 1060 | 85.5961 | 84.717 | 82.6175 | 84.4408 | 81.5185
|  | 1065 | 82.9538 | 81.6315 | 79.2474 | 81.3058 | 78.1944
|  | 1070 | 79.5081 | 78.2119 | 76.3034 | 77.905 | 75.661
|  | 1075 | 76.5738 | 75.6812 | 74.712 | 75.4474 | 74.6553
|  | 1080 | 74.9315 | 74.6526 | 74.7647 | 74.5263 | 75.3011
|  | 1085 | 74.9328 | 75.3019 | 76.3603 | 75.2513 | 77.2955
|  | 1090 | 76.4804 | 77.3692 | 78.966 | 77.3453 | 79.9756
|  | 1095 | 79.002 | 80.1095 | 81.6003 | 80.0433 | 82.2779
|  | 1100 | 81.6635 | 82.5729 | 83.2927 | 82.3748 | 83.2738
|  | 1105 | 83.3778 | 83.7016 | 83.2119 | 83.3471 | 82.4304
|  | 1110 | 83.3756 | 82.9894 | 81.3707 | 82.4635 | 80.032
|  | 1115 | 81.5981 | 80.644 | 78.4123 | 80.0133 | 76.8784
|  | 1120 | 78.6656 | 77.4906 | 75.3021 | 76.8473 | 73.95
|  | 1125 | 75.4844 | 74.4697 | 72.7995 | 73.8576 | 71.8898
|  | 1130 | 72.8724 | 72.2712 | 71.4709 | 71.7442 | 71.0865
|  | 1135 | 71.4413 | 71.361 | 71.4817 | 70.924 | 71.5965
|  | 1140 | 71.3235 | 71.778 | 72.6906 | 71.4142 | 73.1692
|  | 1145 | 72.471 | 73.3662 | 74.7883 | 73.0373 | 75.3658
|  | 1150 | 74.497 | 75.6129 | 77.0783 | 75.2702 | 77.4306
|  | 1155 | 76.769 | 77.8206 | 78.7714 | 77.3849 | 78.6231
|  | 1160 | 78.5395 | 79.2199 | 79.2673 | 78.6428 | 78.4635
|  | 1165 | 79.1298 | 79.2101 | 78.243 | 78.4856 | 76.8499
|  | 1170 | 78.1399 | 77.6643 | 75.8973 | 76.8338 | 74.1445
|  | 1175 | 75.9018 | 75.0331 | 72.9331 | 74.1589 | 71.1581
|  | 1180 | 73.0184 | 72.0322 | 70.0733 | 71.1849 | 68.5119
|  | 1185 | 70.228 | 69.3835 | 67.9034 | 68.5945 | 66.7337
|  | 1190 | 67.947 | 67.4322 | 66.6505 | 66.7225 | 65.9163
|  | 1195 | 66.6299 | 66.5238 | 66.4841 | 65.9092 | 66.1898
|  | 1200 | 66.4372 | 66.768 | 67.4091 | 66.215 | 67.448

## Contrast Ratio by AOI
LCC1622(/M) Contrast Ratio by AOI
|  |  | 0° AOI | 3° AOI | 5° AOI | -3° AOI | -5° AOI
|  | Wavelength (nm) | Contrast Ratio | Contrast Ratio | Contrast Ratio | Contrast Ratio | Contrast Ratio
|  | 600 | 30.6888 | 30.2746 | 29.695 | 30.7722 | 30.4119
|  | 605 | 33.2099 | 32.6816 | 32.0117 | 33.2441 | 32.8313
|  | 610 | 36.3896 | 35.6868 | 34.8267 | 36.3781 | 35.816
|  | 615 | 40.1352 | 39.2571 | 38.1802 | 40.0963 | 39.433
Product Raw Data |  | 620 | 44.805 | 43.7202 | 42.3717 | 44.76 | 43.9059
Liquid Crystal Optical Shutter / Variable Attenuator, 700 - 1100 nm |  | 625 | 50.465 | 49.0597 | 47.3071 | 50.4183 | 49.1388
|  | 630 | 57.1936 | 55.2795 | 53.0818 | 57.0328 | 55.4092
Item # | LCC1622(/M) | 635 | 65.3048 | 62.753 | 60.1326 | 65.1 | 63.0833
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 640 | 75.3479 | 71.942 | 68.3363 | 75.013 | 72.0714
|  | 645 | 86.7497 | 82.2043 | 77.1848 | 86.1899 | 81.9641
|  | 650 | 99.699 | 93.8801 | 87.5622 | 99.0345 | 93.8483
|  | 655 | 115.7946 | 108.3429 | 100.2815 | 114.8457 | 108.2589
|  | 660 | 135.006 | 125.1599 | 113.9302 | 133.5394 | 123.8212
|  | 665 | 156.1684 | 142.6156 | 127.947 | 152.9873 | 140.4604
This data may be used in publications. However, please cite Thorlabs as the source. |  | 670 | 179.9105 | 162.4392 | 144.9345 | 175.78 | 160.5017
|  | 675 | 209.6672 | 187.8819 | 165.155 | 204.9145 | 184.2986
|  | 680 | 246.6677 | 216.5935 | 185.665 | 238.4227 | 209.8385
Additional Information: |  | 685 | 285.6569 | 245.529 | 206.3528 | 272.9986 | 236.0077
Shutter Mode |  | 690 | 327.9703 | 278.7108 | 231.0105 | 312.6834 | 268.7337
|  | 695 | 383.7089 | 321.3325 | 262.4208 | 366.369 | 309.2929
|  | 700 | 456.5479 | 370.3027 | 294.4318 | 428.5445 | 351.2316
|  | 705 | 534.0842 | 418.5845 | 323.4513 | 492.5256 | 391.7605
|  | 710 | 617.6836 | 469.9546 | 356.982 | 566.653 | 438.3967
|  | 715 | 723.8082 | 533.3167 | 398.4141 | 656.4716 | 493.6976
|  | 720 | 855.4778 | 612.2503 | 443.7454 | 773.8583 | 554.8651
|  | 725 | 1009.9518 | 693.4522 | 481.0297 | 894.1271 | 614.7074
|  | 730 | 1164.0059 | 759.821 | 519.8878 | 1000.8514 | 678.3849
|  | 735 | 1339.6617 | 850.7289 | 570.3895 | 1155.1015 | 751.13
|  | 740 | 1592.2275 | 966.6813 | 628.7001 | 1353.9177 | 838.0505
|  | 745 | 1932.338 | 1094.0448 | 681.3892 | 1623.9091 | 919.7383
|  | 750 | 2246.9536 | 1197.6363 | 720.4434 | 1813.5022 | 985.0282
|  | 755 | 2533.7557 | 1284.0108 | 752.6733 | 2034.7181 | 1043.0633
|  | 760 | 2892.889 | 1385.2924 | 801.3793 | 2249.36 | 1111.7308
|  | 765 | 3295.7098 | 1505.6391 | 858.5925 | 2517.7326 | 1211.9283
|  | 770 | 3889.7587 | 1646.982 | 903.5975 | 2826.1855 | 1304.6617
|  | 775 | 4414.5041 | 1719.1141 | 923.2628 | 3073.9719 | 1330.4138
|  | 780 | 4845.3774 | 1767.9244 | 943.6182 | 3234.7484 | 1352.1113
|  | 785 | 5585.3797 | 1849.1095 | 983.59 | 3475.3451 | 1410.9912
|  | 790 | 6187.6654 | 1972.9799 | 1033.046 | 3672.1325 | 1486.0869
|  | 795 | 6618.1847 | 2092.2403 | 1060.6897 | 3918.1515 | 1541.009
|  | 800 | 7405.9295 | 2218.5871 | 1068.0477 | 3959.5035 | 1532.1957
|  | 805 | 8137.4738 | 2207.8315 | 1047.2342 | 4079.8361 | 1492.3155
|  | 810 | 9068.4787 | 2233.6302 | 1067.4869 | 4043.2699 | 1538.1245
|  | 815 | 9283.2967 | 2283.6819 | 1123.5262 | 4182.4845 | 1628.6938
|  | 820 | 9515.7584 | 2408.8226 | 1185.9654 | 4457.5811 | 1692.812
|  | 825 | 10157.3286 | 2532.073 | 1205.4295 | 4639.1535 | 1690.2963
|  | 830 | 10628.6785 | 2578.3001 | 1179.4622 | 4696.5501 | 1671.7187
|  | 835 | 10731.6554 | 2526.7736 | 1159.6375 | 4786.0775 | 1649.9654
|  | 840 | 10031.0775 | 2485.6073 | 1155.969 | 4965.935 | 1678.7326
|  | 845 | 10500.6346 | 2554.2507 | 1209.874 | 5086.1503 | 1767.9806
|  | 850 | 11703.6543 | 2698.131 | 1291.4461 | 5357.5913 | 1858.8615
|  | 855 | 11680.5469 | 2740.9177 | 1311.3505 | 5645.2253 | 1901.5834
|  | 865 | 10443.7136 | 2427.1044 | 1134.0245 | 5035.6397 | 1737.3242
|  | 870 | 9737.0618 | 2371.0568 | 1133.5408 | 4887.4356 | 1723.1797
|  | 875 | 9471.8331 | 2409.9584 | 1167.4433 | 4887.519 | 1773.7314
|  | 880 | 9998.9821 | 2534.2782 | 1223.847 | 4975.1892 | 1855.6628
|  | 885 | 10004.8608 | 2628.4739 | 1275.7387 | 5085.571 | 1900.5919
|  | 890 | 10133.562 | 2688.8699 | 1301.2144 | 5096.6994 | 1877.9862
|  | 895 | 9690.2672 | 2668.4625 | 1275.5845 | 4807.5655 | 1791.6822
|  | 900 | 9135.7962 | 2601.887 | 1253.6709 | 4475.1936 | 1725.8712
|  | 905 | 8590.9161 | 2538.0207 | 1258.3536 | 4302.389 | 1723.6414
|  | 910 | 8045.5437 | 2554.2639 | 1299.6457 | 4284.7618 | 1782.0403
|  | 915 | 8256.735 | 2670.2337 | 1388.7122 | 4360.2284 | 1864.5988
|  | 920 | 8559.7362 | 2815.0638 | 1457.2714 | 4563.4298 | 1930.4891
|  | 925 | 8786.4377 | 2906.495 | 1474.5708 | 4695.1959 | 1925.0178
|  | 930 | 8831.102 | 2871.4125 | 1436.8612 | 4629.9474 | 1855.9595
|  | 935 | 8495.3177 | 2768.8314 | 1380.3794 | 4431.9745 | 1776.9735
|  | 940 | 8272.4406 | 2671.742 | 1345.8483 | 4230.8932 | 1748.6444
|  | 945 | 8092.392 | 2630.0489 | 1360.8405 | 4192.7715 | 1791.9529
|  | 950 | 8245.661 | 2698.6813 | 1425.4137 | 4344.4189 | 1897.9469
|  | 955 | 8662.3378 | 2844.7989 | 1509.7938 | 4583.0314 | 2007.5243
|  | 960 | 9138.2709 | 2988.6028 | 1568.5213 | 4845.1892 | 2071.5015
|  | 965 | 9324.7221 | 3052.1072 | 1571.3407 | 4991.1451 | 2046.6218
|  | 970 | 9211.0134 | 3019.6056 | 1521.2144 | 4889.9057 | 1967.5169
|  | 975 | 8941.4432 | 2902.9003 | 1455.05 | 4686.7375 | 1884.9144
|  | 980 | 8539.2166 | 2789.0997 | 1414.1883 | 4479.8638 | 1848.5372
|  | 985 | 8218.092 | 2748.9242 | 1420.1706 | 4388.7936 | 1879.7197
|  | 990 | 8209.9926 | 2792.3358 | 1471.5456 | 4462.5649 | 1975.4777
|  | 995 | 8457.1936 | 2916.1264 | 1553.3518 | 4692.3161 | 2094.565
|  | 1000 | 8837.1755 | 3085.6788 | 1628.62 | 4950.6925 | 2184.4869
|  | 1005 | 9201.7428 | 3213.4087 | 1659.7944 | 5097.3565 | 2202.216
|  | 1010 | 9290.3161 | 3224.8963 | 1632.1403 | 5123.4969 | 2150.939
|  | 1015 | 8983.5541 | 3124.4317 | 1565.0911 | 4957.2338 | 2057.1918
|  | 1020 | 8637.4496 | 2988.2311 | 1498.9573 | 4692.2248 | 1978.4903
|  | 1025 | 8262.128 | 2857.5392 | 1458.2403 | 4531.746 | 1943.6702
|  | 1030 | 7930.9212 | 2812.1427 | 1461.1946 | 4489.5969 | 1978.2765
|  | 1035 | 7880.7419 | 2852.3044 | 1510.583 | 4551.4719 | 2064.711
|  | 1040 | 8068.2041 | 2956.3093 | 1587.2974 | 4770.8227 | 2177.7519
|  | 1045 | 8373.042 | 3097.6526 | 1662.5398 | 5042.4053 | 2277.7518
|  | 1050 | 8715.764 | 3229.5279 | 1708.7462 | 5232.7364 | 2315.302
|  | 1055 | 8929.0875 | 3262.5299 | 1701.4399 | 5284.2765 | 2294.4289
|  | 1060 | 8696.7041 | 3207.2537 | 1654.5215 | 5194.8755 | 2218.2829
|  | 1065 | 8324.5141 | 3109.0401 | 1588.9513 | 5033.6483 | 2135.8755
|  | 1070 | 7967.1768 | 2984.8868 | 1538.0058 | 4820.7443 | 2080.9839
|  | 1075 | 7640.1591 | 2880.698 | 1512.7999 | 4705.2485 | 2082.5556
|  | 1080 | 7509.1218 | 2852.5229 | 1527.8961 | 4698.9023 | 2134.4678
|  | 1085 | 7572.5857 | 2893.6268 | 1579.1098 | 4782.3622 | 2219.6792
|  | 1090 | 7842.6807 | 2992.1523 | 1647.0551 | 5009.3783 | 2336.6735
|  | 1095 | 8194.7612 | 3130.3011 | 1714.6101 | 5220.4547 | 2433.6215
|  | 1100 | 8538.1464 | 3254.3124 | 1761.6297 | 5417.5174 | 2482.0941
|  | 1105 | 8807.1151 | 3320.8102 | 1768.3834 | 5552.3658 | 2485.7978
|  | 1110 | 8847.5 | 3324.1914 | 1738.9494 | 5554.8645 | 2434.3058
|  | 1115 | 8808.343 | 3233.9919 | 1683.6258 | 5451.7454 | 2364.5028
|  | 1120 | 8469.9308 | 3115.9181 | 1628.8622 | 5240.4465 | 2301.2554
|  | 1125 | 8193.1693 | 3002.7014 | 1583.788 | 5136.749 | 2269.282
|  | 1130 | 7965.4586 | 2932.6192 | 1563.3758 | 5070.7851 | 2270.6916
|  | 1135 | 7799.9691 | 2919.5723 | 1567.9843 | 5047.3508 | 2313.7793
|  | 1140 | 7756.3851 | 2940.9311 | 1599.3828 | 5133.1772 | 2392.6725
|  | 1145 | 7889.5987 | 2994.8814 | 1649.1947 | 5278.3329 | 2469.721
|  | 1150 | 8070.225 | 3089.4988 | 1698.3715 | 5475.2474 | 2554.248
|  | 1155 | 8395.8909 | 3186.2455 | 1743.9467 | 5654.6892 | 2617.5743
|  | 1160 | 8396.5944 | 3255.598 | 1766.2556 | 5805.222 | 2635.4726
|  | 1165 | 8404.0885 | 3270.3553 | 1759.2192 | 5851.8571 | 2596.8222
|  | 1170 | 8293.9911 | 3239.5216 | 1722.0135 | 5800.2897 | 2541.8463
|  | 1175 | 8183.0838 | 3167.1679 | 1669.6368 | 5701.2603 | 2468.6085
|  | 1180 | 7840.4842 | 3081.9397 | 1623.5469 | 5543.3283 | 2422.7278
|  | 1185 | 7593.7803 | 3000.5795 | 1589.165 | 5409.814 | 2397.4909
|  | 1190 | 7299.1377 | 2926.7933 | 1570.5786 | 5291.1269 | 2387.6019
|  | 1195 | 7311.1584 | 2875.9263 | 1568.6127 | 5260.5283 | 2418.4394
|  | 1200 | 7177.6058 | 2895.3678 | 1590.4963 | 5293.853 | 2499.3519

## Normalized Contrast Ratio
LCC1622(/M) Normalized Contrast Ratio
|  | Frequency (Hz) | Normalized Contrast Ratio
|  | 1 | 1
|  | 2 | 1
|  | 5 | 1
|  | 15 | 1
Product Raw Data |  | 17 | 1
Liquid Crystal Optical Shutter / Variable Attenuator, 700 - 1100 nm |  | 18 | 0.98391
|  | 19 | 0.98391
Item # | LCC1622(/M) | 20 | 0.98391
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 21 | 0.96783
|  | 22 | 0.94906
|  | 23 | 0.91689
|  | 24 | 0.9008
|  | 25 | 0.86863
|  | 35 | 0.42627
This data may be used in publications. However, please cite Thorlabs as the source.
Additional Information:
Shutter Mode

## Transmission & Contrast
LCC1622(/M) Transmission & Contrast Ratio
|  | Wavelength (nm) | Transmission (%) | Contrast Ratio
|  | 600 | 59.6674 | 30.6888
|  | 605 | 61.0569 | 33.2099
|  | 610 | 62.4365 | 36.3896
|  | 615 | 63.549 | 40.1352
Product Raw Data |  | 620 | 64.7093 | 44.805
Liquid Crystal Optical Shutter / Variable Attenuator, 700 - 1100 nm |  | 625 | 65.8459 | 50.465
|  | 630 | 66.7339 | 57.1936
Item # | LCC1622(/M) | 635 | 67.6325 | 65.3048
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 640 | 68.8121 | 75.3479
|  | 645 | 69.6489 | 86.7497
|  | 650 | 70.0872 | 99.699
|  | 655 | 71.0875 | 115.7946
|  | 660 | 72.3167 | 135.006
|  | 665 | 72.7049 | 156.1684
This data may be used in publications. However, please cite Thorlabs as the source. |  | 670 | 72.7921 | 179.9105
|  | 675 | 73.9798 | 209.6672
|  | 680 | 75.3978 | 246.6677
Additional Information: |  | 685 | 75.4941 | 285.6569
T = 25 °C |  | 690 | 75.234 | 327.9703
|  | 695 | 76.3505 | 383.7089
|  | 700 | 78.1437 | 456.5479
|  | 705 | 78.3333 | 534.0842
|  | 710 | 77.5201 | 617.6836
|  | 715 | 78.0778 | 723.8082
|  | 720 | 80.2105 | 855.4778
|  | 725 | 81.2736 | 1009.9518
|  | 730 | 80.2212 | 1164.0059
|  | 735 | 79.5648 | 1339.6617
|  | 740 | 81.1346 | 1592.2275
|  | 745 | 83.4428 | 1926.4531
|  | 755 | 82.0465 | 2211.5276
|  | 760 | 81.5992 | 2599.2423
|  | 765 | 83.5097 | 3045.1115
|  | 770 | 85.9697 | 3509.2269
|  | 775 | 86.0206 | 4013.6878
|  | 780 | 84.0413 | 4536.5539
|  | 785 | 83.0845 | 5273.1097
|  | 790 | 84.816 | 6074.0242
|  | 795 | 87.6933 | 6887.683
|  | 800 | 88.6261 | 7405.9295
|  | 805 | 86.7699 | 8137.4738
|  | 810 | 84.5784 | 9068.4787
|  | 815 | 84.7784 | 9283.2967
|  | 820 | 87.5424 | 9515.7584
|  | 825 | 90.2202 | 10157.3286
|  | 830 | 90.0954 | 10628.6785
|  | 840 | 85.4055 | 10415.652
|  | 845 | 85.6489 | 10053.9755
|  | 850 | 88.2573 | 11257.8253
|  | 855 | 90.8247 | 11694.7666
|  | 865 | 82.3069 | 10195.2162
|  | 870 | 80.6193 | 9948.6492
|  | 875 | 80.3048 | 9370.3538
|  | 880 | 81.9135 | 9360.5679
|  | 885 | 84.4856 | 9869.4977
|  | 890 | 86.1067 | 9902.0837
|  | 895 | 85.4259 | 9690.2672
|  | 900 | 82.9572 | 9135.7962
|  | 905 | 80.6601 | 8590.9161
|  | 910 | 80.2675 | 8045.5437
|  | 915 | 82.1725 | 8256.735
|  | 920 | 85.3196 | 8559.7362
|  | 925 | 87.6431 | 8786.4377
|  | 930 | 87.4416 | 8831.102
|  | 935 | 84.8505 | 8495.3177
|  | 940 | 81.6392 | 8272.4406
|  | 945 | 79.8645 | 8092.392
|  | 950 | 80.4994 | 8245.661
|  | 955 | 83.2057 | 8662.3378
|  | 960 | 86.5228 | 9138.2709
|  | 965 | 88.512 | 9324.7221
|  | 970 | 87.8111 | 9211.0134
|  | 975 | 84.9104 | 8941.4432
|  | 980 | 81.5286 | 8539.2166
|  | 985 | 79.3935 | 8218.092
|  | 990 | 79.369 | 8209.9926
|  | 995 | 81.4136 | 8457.1936
|  | 1000 | 84.5975 | 8837.1755
|  | 1005 | 87.3078 | 9201.7428
|  | 1010 | 88.0266 | 9290.3161
|  | 1015 | 86.2421 | 8983.5541
|  | 1020 | 82.8763 | 8637.4496
|  | 1025 | 79.5748 | 8262.128
|  | 1030 | 77.5247 | 7930.9212
|  | 1035 | 77.4261 | 7880.7419
|  | 1040 | 79.1718 | 8068.2041
|  | 1045 | 82.052 | 8373.042
|  | 1050 | 84.9335 | 8715.764
|  | 1055 | 86.3556 | 8929.0875
|  | 1060 | 85.5961 | 8696.7041
|  | 1065 | 82.9538 | 8324.5141
|  | 1070 | 79.5081 | 7967.1768
|  | 1075 | 76.5738 | 7640.1591
|  | 1080 | 74.9315 | 7509.1218
|  | 1085 | 74.9328 | 7572.5857
|  | 1090 | 76.4804 | 7842.6807
|  | 1095 | 79.002 | 8194.7612
|  | 1100 | 81.6635 | 8538.1464
|  | 1105 | 83.3778 | 8807.1151
|  | 1110 | 83.3756 | 8847.5
|  | 1115 | 81.5981 | 8808.343
|  | 1120 | 78.6656 | 8469.9308
|  | 1125 | 75.4844 | 8193.1693
|  | 1130 | 72.8724 | 7965.4586
|  | 1135 | 71.4413 | 7799.9691
|  | 1140 | 71.3235 | 7756.3851
|  | 1145 | 72.471 | 7889.5987
|  | 1150 | 74.497 | 8070.225
|  | 1155 | 76.769 | 8395.8909
|  | 1160 | 78.5395 | 8396.5944
|  | 1165 | 79.1298 | 8404.0885
|  | 1170 | 78.1399 | 8293.9911
|  | 1175 | 75.9018 | 8183.0838
|  | 1180 | 73.0184 | 7840.4842
|  | 1185 | 70.228 | 7593.7803
|  | 1190 | 67.947 | 7299.1377
|  | 1195 | 66.6299 | 7311.1584
|  | 1200 | 66.4372 | 7177.6058