## Control Voltage
Rotation Angle and Extinction Ratio vs. Control Voltage
|  | Axis 1 |  |  | Axis 2
|  | Control Voltage (V) | Extinction Ratio | Rotation Angle (°) | Control Voltage (V) | Extinction Ratio | Rotation Angle (°)
|  | 0 | 2804.7489 | 239.395 | 0 | 3796.2573 | 239.731
|  | 0.01 | 2841.386 | 239.389 | 0.01 | 3771.8876 | 239.737
|  | 0.02 | 2809.9392 | 239.38 | 0.02 | 3829.1194 | 239.743
|  | 0.03 | 2809.9392 | 239.384 | 0.03 | 3804.433 | 239.737
Product Raw Data |  | 0.04 | 2804.7489 | 239.373 | 0.04 | 3788.1079 | 239.738
LC Polarization Rotator, 633 nm |  | 0.05 | 2804.7489 | 239.369 | 0.05 | 3820.864 | 239.72
|  | 0.06 | 2830.8453 | 239.358 | 0.06 | 3788.1079 | 239.72
Item # | LCR1-633 | 0.07 | 2804.7489 | 239.349 | 0.07 | 3788.1079 | 239.704
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 0.08 | 2825.597 | 239.338 | 0.08 | 3796.2573 | 239.693
|  | 0.09 | 2804.7489 | 239.327 | 0.09 | 3812.6352 | 239.679
|  | 0.1 | 2825.597 | 239.319 | 0.1 | 3796.2573 | 239.654
|  | 0.11 | 2846.6785 | 239.299 | 0.11 | 3763.8165 | 239.638
|  | 0.12 | 2815.144 | 239.291 | 0.12 | 3771.8876 | 239.634
|  | 0.13 | 2815.144 | 239.281 | 0.13 | 3739.7581 | 239.616
This data may be used in publications. However, please cite Thorlabs as the source. |  | 0.14 | 2804.7489 | 239.265 | 0.14 | 3723.847 | 239.598
|  | 0.15 | 2779.0117 | 239.244 | 0.15 | 3763.8165 | 239.559
|  | 0.16 | 2815.144 | 239.213 | 0.16 | 3779.9847 | 239.526
Additional Information: |  | 0.17 | 2830.8453 | 239.197 | 0.17 | 3763.8165 | 239.507
The input polarization state was linearly polarized at 0° (horizontal) and precisely aligned with either axis 1 or axis 2 of the polarization rotator. The control voltage supplied to the polarization rotator was varied to continuously rotate the output polarization. |  | 0.18 | 2804.7489 | 239.168 | 0.18 | 3700.1703 | 239.481
|  | 0.19 | 2799.5729 | 239.142 | 0.19 | 3755.7713 | 239.447
|  | 0.2 | 2830.8453 | 239.116 | 0.2 | 3723.847 | 239.405
|  | 0.21 | 2799.5729 | 239.07 | 0.21 | 3763.8165 | 239.38
|  | 0.22 | 2799.5729 | 239.04 | 0.22 | 3715.9296 | 239.331
|  | 0.23 | 2820.3632 | 238.995 | 0.23 | 3684.511 | 239.295
|  | 0.24 | 2799.5729 | 238.954 | 0.24 | 3731.7898 | 239.262
|  | 0.25 | 2768.8159 | 238.919 | 0.25 | 3723.847 | 239.197
|  | 0.26 | 2789.2638 | 238.87 | 0.26 | 3676.7187 | 239.161
|  | 0.27 | 2799.5729 | 238.825 | 0.27 | 3700.1703 | 239.102
|  | 0.28 | 2799.5729 | 238.772 | 0.28 | 3708.0374 | 239.03
|  | 0.29 | 2784.1307 | 238.726 | 0.29 | 3723.847 | 238.966
|  | 0.3 | 2799.5729 | 238.662 | 0.3 | 3692.3282 | 238.911
|  | 0.31 | 2773.9068 | 238.596 | 0.31 | 3661.2079 | 238.835
|  | 0.32 | 2794.4112 | 238.534 | 0.32 | 3607.6864 | 238.76
|  | 0.33 | 2779.0117 | 238.465 | 0.33 | 3607.6864 | 238.691
|  | 0.34 | 2784.1307 | 238.386 | 0.34 | 3630.4795 | 238.611
|  | 0.35 | 2748.5921 | 238.306 | 0.35 | 3615.2602 | 238.497
|  | 0.36 | 2773.9068 | 238.235 | 0.36 | 3607.6864 | 238.418
|  | 0.37 | 2773.9068 | 238.144 | 0.37 | 3622.8578 | 238.323
|  | 0.38 | 2773.9068 | 238.026 | 0.38 | 3525.9225 | 238.189
|  | 0.39 | 2768.8159 | 237.933 | 0.39 | 3562.7395 | 238.07
|  | 0.4 | 2743.5707 | 237.83 | 0.4 | 3540.5805 | 237.951
|  | 0.41 | 2753.6272 | 237.684 | 0.41 | 3547.9438 | 237.79
|  | 0.42 | 2768.8159 | 237.577 | 0.42 | 3489.6733 | 237.67
|  | 0.43 | 2728.589 | 237.453 | 0.43 | 3511.3553 | 237.523
|  | 0.44 | 2728.589 | 237.304 | 0.44 | 3446.9075 | 237.347
|  | 0.45 | 2748.5921 | 237.122 | 0.45 | 3468.1915 | 237.135
|  | 0.46 | 2743.5707 | 236.972 | 0.46 | 3468.1915 | 236.966
|  | 0.47 | 2713.7297 | 236.794 | 0.47 | 3439.8564 | 236.761
|  | 0.48 | 2703.8909 | 236.568 | 0.48 | 3411.8672 | 236.489
|  | 0.49 | 2698.9915 | 236.371 | 0.49 | 3391.0989 | 236.266
|  | 0.5 | 2713.7297 | 236.143 | 0.5 | 3439.8564 | 236.032
|  | 0.51 | 2669.8731 | 235.818 | 0.51 | 3350.1273 | 235.662
|  | 0.52 | 2669.8731 | 235.577 | 0.52 | 3363.7016 | 235.387
|  | 0.53 | 2655.4904 | 235.294 | 0.53 | 3404.9233 | 235.075
|  | 0.54 | 2622.3793 | 234.972 | 0.54 | 3363.7016 | 234.721
|  | 0.55 | 2603.7361 | 234.556 | 0.55 | 3336.635 | 234.243
|  | 0.56 | 2589.8838 | 234.202 | 0.56 | 3323.2241 | 233.866
|  | 0.57 | 2576.1419 | 233.774 | 0.57 | 3329.9194 | 233.394
|  | 0.58 | 2553.4805 | 233.201 | 0.58 | 3290.0485 | 232.75
|  | 0.59 | 2557.9888 | 232.725 | 0.59 | 3250.8895 | 232.268
|  | 0.6 | 2526.6795 | 232.191 | 0.6 | 3296.6437 | 231.685
|  | 0.61 | 2526.6795 | 231.42 | 0.61 | 3276.9172 | 230.861
|  | 0.62 | 2482.9399 | 230.834 | 0.62 | 3263.8644 | 230.215
|  | 0.63 | 2478.6285 | 230.119 | 0.63 | 3257.3673 | 229.49
|  | 0.64 | 2452.9946 | 229.359 | 0.64 | 3276.9172 | 228.678
|  | 0.65 | 2495.9417 | 228.314 | 0.65 | 3296.6437 | 227.603
|  | 0.66 | 2474.3283 | 227.472 | 0.66 | 3263.8644 | 226.708
|  | 0.67 | 2500.2984 | 226.523 | 0.67 | 3370.5197 | 225.682
|  | 0.68 | 2544.4997 | 225.189 | 0.68 | 3384.2182 | 224.291
|  | 0.69 | 2580.7104 | 224.144 | 0.69 | 3439.8564 | 223.16
|  | 0.7 | 2641.2235 | 222.95 | 0.7 | 3482.4906 | 221.944
|  | 0.71 | 2748.5921 | 221.329 | 0.71 | 3615.2602 | 220.229
|  | 0.72 | 2841.386 | 220.082 | 0.72 | 3684.511 | 218.975
|  | 0.73 | 2955.7113 | 218.752 | 0.73 | 3812.6352 | 217.532
|  | 0.74 | 3113.1309 | 217.256 | 0.74 | 3947.5618 | 215.483
|  | 0.75 | 3425.8189 | 215.252 | 0.75 | 4163.7905 | 214.01
|  | 0.76 | 3715.9296 | 213.714 | 0.76 | 4398.2875 | 212.387
|  | 0.77 | 4062.5354 | 212.013 | 0.77 | 4653.17 | 210.636
|  | 0.78 | 4720.3533 | 209.754 | 0.78 | 5079.1399 | 208.374
|  | 0.79 | 5260.7313 | 208.069 | 0.79 | 5566.4055 | 206.594
|  | 0.8 | 6246.196 | 206.144 | 0.8 | 6127.3171 | 204.618
|  | 0.81 | 7940.7181 | 203.536 | 0.81 | 7227.1245 | 202.041
|  | 0.82 | 9367.6954 | 201.724 | 0.82 | 8167.7455 | 200.116
|  | 0.83 | 11469.9875 | 199.688 | 0.83 | 9692.3518 | 198.023
|  | 0.84 | 15447.6406 | 197.52 | 0.84 | 12141.2227 | 195.219
|  | 0.85 | 22497.3523 | 194.896 | 0.85 | 15380.843 | 193.23
|  | 0.86 | 30701.4714 | 192.716 | 0.86 | 20621.18 | 191.034
|  | 0.87 | 46396.8218 | 190.35 | 0.87 | 29605.1031 | 188.572
|  | 0.88 | 81256.2383 | 187.545 | 0.88 | 52107.8769 | 185.816
|  | 0.89 | 149873.126 | 185.316 | 0.89 | 89987.4091 | 183.53
|  | 0.9 | 286733.687 | 182.894 | 0.9 | 235766.7073 | 181.088
|  | 0.91 | 1125790 | 179.925 | 0.91 | 3647560 | 178.204
|  | 0.92 | 10132100 | 177.63 | 0.92 | 3014520 | 175.857
|  | 0.93 | 12823500 | 175.099 | 0.93 | 243966.6558 | 173.258
|  | 0.94 | 2051750 | 172.567 | 0.94 | 84589.4566 | 170.226
|  | 0.95 | 633258.0644 | 169.709 | 0.95 | 47824.3126 | 167.839
|  | 0.96 | 405285.4012 | 167.238 | 0.96 | 30329.3439 | 165.28
|  | 0.97 | 309436.6503 | 164.672 | 0.97 | 20014.7276 | 162.133
|  | 0.98 | 224220.7575 | 161.661 | 0.98 | 15582.548 | 159.775
|  | 0.99 | 191295.2503 | 159.152 | 0.99 | 12721.5667 | 157.113
|  | 1 | 143977.0866 | 156.581 | 1 | 10468.7992 | 154.448
|  | 1.01 | 129853.3762 | 153.587 | 1.01 | 8939.8947 | 151.534
|  | 1.02 | 108429.9952 | 151.154 | 1.02 | 8324.5498 | 148.932
|  | 1.03 | 89987.4091 | 148.549 | 1.03 | 7818.6592 | 146.273
|  | 1.04 | 78883.9411 | 145.912 | 1.04 | 7357.5241 | 143.252
|  | 1.05 | 69077.4773 | 142.98 | 1.05 | 7313.6681 | 140.643
|  | 1.06 | 60469.7553 | 140.376 | 1.06 | 7491.4854 | 137.961
|  | 1.07 | 52107.8769 | 137.734 | 1.07 | 7867.1428 | 134.914
|  | 1.08 | 48562.8908 | 134.876 | 1.08 | 8736.9018 | 132.432
|  | 1.09 | 44372.5085 | 132.312 | 1.09 | 10248.0363 | 129.784
|  | 1.1 | 42173.8961 | 129.628 | 1.1 | 12048.3698 | 127.09
|  | 1.11 | 43727.1085 | 126.609 | 1.11 | 15650.6655 | 124.13
|  | 1.12 | 44372.5085 | 124.067 | 1.12 | 22033.5155 | 121.515
|  | 1.13 | 46396.8218 | 121.402 | 1.13 | 34382.4426 | 118.824
|  | 1.14 | 50092.3163 | 118.717 | 1.14 | 58942.1768 | 115.954
|  | 1.15 | 67827.2441 | 115.957 | 1.15 | 151919.1428 | 113.373
|  | 1.16 | 91901.967 | 113.29 | 1.16 | 911891.3194 | 110.72
|  | 1.17 | 162805.9806 | 110.516 | 1.17 | 1952890 | 107.706
|  | 1.18 | 443863.072 | 107.748 | 1.18 | 200367.2652 | 105.197
|  | 1.19 | 3014520 | 105.108 | 1.19 | 73736.7991 | 102.574
|  | 1.2 | 2158320 | 102.478 | 1.2 | 36967.5415 | 99.922
|  | 1.21 | 200367.2652 | 99.697 | 1.21 | 22615.6001 | 97.246
|  | 1.22 | 74440.7199 | 97.165 | 1.22 | 15788.2472 | 94.647
|  | 1.23 | 34606.0633 | 94.413 | 1.23 | 11599.7054 | 91.93
|  | 1.24 | 20518.2064 | 91.841 | 1.24 | 9367.6954 | 89.268
|  | 1.25 | 12721.5667 | 89.216 | 1.25 | 7842.8448 | 86.752
|  | 1.26 | 8568.361 | 86.685 | 1.26 | 6758.0679 | 84.199
|  | 1.27 | 6194.8279 | 84.165 | 1.27 | 5947.2517 | 81.59
|  | 1.28 | 4697.7981 | 81.601 | 1.28 | 5368.9046 | 79.169
|  | 1.29 | 3708.0374 | 79.054 | 1.29 | 5016.5592 | 76.63
|  | 1.3 | 3024.1656 | 76.603 | 1.3 | 4720.3533 | 74.099
|  | 1.31 | 2553.4805 | 74.109 | 1.31 | 4533.6711 | 71.709
|  | 1.32 | 2184.7254 | 71.759 | 1.32 | 4367.9068 | 69.342
|  | 1.33 | 1946.1475 | 69.383 | 1.33 | 4357.8498 | 66.948
|  | 1.34 | 1742.0893 | 66.965 | 1.34 | 4249.4787 | 64.605
|  | 1.35 | 1564.2048 | 64.622 | 1.35 | 4220.6243 | 62.206
|  | 1.36 | 1451.9412 | 62.307 | 1.36 | 4249.4787 | 59.917
|  | 1.37 | 1367.0793 | 60.051 | 1.37 | 4278.6299 | 57.622
|  | 1.38 | 1319.0183 | 57.782 | 1.38 | 4298.2311 | 55.413
|  | 1.39 | 1271.8655 | 55.555 | 1.39 | 4357.8498 | 53.174
|  | 1.4 | 1250.0026 | 53.357 | 1.4 | 4460.0077 | 50.918
|  | 1.41 | 1239.282 | 51.06 | 1.41 | 4439.2907 | 48.707
|  | 1.42 | 1257.7456 | 48.926 | 1.42 | 4470.4206 | 46.574
|  | 1.43 | 1273.4491 | 46.779 | 1.43 | 4631.0941 | 44.364
|  | 1.44 | 1315.6828 | 44.627 | 1.44 | 4653.17 | 42.314
|  | 1.45 | 1368.8441 | 42.557 | 1.45 | 4871.003 | 40.198
|  | 1.46 | 1450.0132 | 40.484 | 1.46 | 4835.6039 | 38.106
|  | 1.47 | 1530.2389 | 38.344 | 1.47 | 4955.1281 | 36.002
|  | 1.48 | 1673.1777 | 36.287 | 1.48 | 5274.0733 | 33.943
|  | 1.49 | 1856.5128 | 34.308 | 1.49 | 5424.2469 | 31.981
|  | 1.5 | 1985.6795 | 32.311 | 1.5 | 5963.2911 | 29.946
|  | 1.51 | 2220.7951 | 30.317 | 1.51 | 6211.8799 | 27.973
|  | 1.52 | 2548.9842 | 28.391 | 1.52 | 6875.9273 | 26.039
|  | 1.53 | 2955.7113 | 26.349 | 1.53 | 7401.7758 | 23.972
|  | 1.54 | 3468.1915 | 24.442 | 1.54 | 7940.7181 | 22.046
|  | 1.55 | 4145.1009 | 22.528 | 1.55 | 9367.6954 | 20.207
|  | 1.56 | 4906.7922 | 20.668 | 1.56 | 11216.9955 | 18.28
|  | 1.57 | 6160.9338 | 18.838 | 1.57 | 12721.5667 | 16.409
|  | 1.58 | 8245.5886 | 16.936 | 1.58 | 16728.4276 | 14.612
|  | 1.59 | 10431.5129 | 15.109 | 1.59 | 19721.4853 | 12.679
|  | 1.6 | 14489.4314 | 13.26 | 1.6 | 26196.8934 | 10.894
|  | 1.61 | 20518.2064 | 11.51 | 1.61 | 37468.7815 | 9.105
|  | 1.62 | 29783.7117 | 9.775 | 1.62 | 64846.2242 | 7.4
|  | 1.63 | 50092.3163 | 8.033 | 1.63 | 145903.1711 | 5.687
|  | 1.64 | 102457.0928 | 6.338 | 1.64 | 387855.8592 | 3.957
|  | 1.65 | 321812.8762 | 4.534 | 1.65 | 2273410 | 2.182
|  | 1.66 | 2533030 | 2.875 | 1.66 | 1952890 | 0.546
|  | 1.67 | 2273410 | 1.24 | 1.67 | 356207.9529 | -1.107
|  | 1.68 | 414444.0892 | -0.372 | 1.68 | 109687.1363 | -2.675
|  | 1.69 | 142088.8917 | -1.976 | 1.69 | 56055.6894 | -4.258
|  | 1.7 | 77359.6626 | -3.533 | 1.7 | 35994.7716 | -5.821
|  | 1.71 | 48562.8908 | -5.192 | 1.71 | 24914.0101 | -7.474
|  | 1.72 | 31662.315 | -6.719 | 1.72 | 17921.4804 | -8.975
|  | 1.73 | 21919.7978 | -8.256 | 1.73 | 14248.9581 | -10.495
|  | 1.74 | 17509.9944 | -9.707 | 1.74 | 11384.714 | -11.937
|  | 1.75 | 15582.548 | -11.191 | 1.75 | 9059.0831 | -13.375
|  | 1.76 | 12924.287 | -12.653 | 1.76 | 7446.4279 | -14.809
|  | 1.77 | 10581.8655 | -14.121 | 1.77 | 6568.2628 | -16.258
|  | 1.78 | 9431.3083 | -15.523 | 1.78 | 5852.361 | -17.696
|  | 1.79 | 8090.9997 | -16.918 | 1.79 | 5207.8667 | -19.028
|  | 1.8 | 6915.8997 | -18.293 | 1.8 | 4847.3606 | -20.41
|  | 1.81 | 6531.2623 | -19.642 | 1.81 | 4239.8277 | -21.732
|  | 1.82 | 5610.1439 | -20.977 | 1.82 | 4008.8549 | -23.014
|  | 1.83 | 5300.9099 | -22.323 | 1.83 | 3845.7107 | -24.371
|  | 1.84 | 4777.4573 | -23.616 | 1.84 | 3653.4893 | -25.696
|  | 1.85 | 4470.4206 | -24.875 | 1.85 | 3475.33 | -26.917
|  | 1.86 | 4071.5869 | -26.135 | 1.86 | 3329.9194 | -28.187
|  | 1.87 | 3837.4016 | -27.355 | 1.87 | 3131.3947 | -29.361
|  | 1.88 | 3547.9438 | -28.591 | 1.88 | 3137.5184 | -30.602
|  | 1.89 | 3356.9041 | -29.845 | 1.89 | 3047.513 | -31.804
|  | 1.9 | 3155.9976 | -31.013 | 1.9 | 3053.3921 | -32.975
|  | 1.91 | 2927.873 | -32.179 | 1.91 | 3018.3707 | -34.146
|  | 1.92 | 2857.3078 | -33.344 | 1.92 | 2972.6052 | -35.269
|  | 1.93 | 2713.7297 | -34.463 | 1.93 | 3029.9772 | -36.414
|  | 1.94 | 2557.9888 | -35.54 | 1.94 | 2938.9609 | -37.519
|  | 1.95 | 2436.1256 | -36.695 | 1.95 | 3083.0445 | -38.664
|  | 1.96 | 2362.3282 | -37.771 | 1.96 | 3065.2015 | -39.75
|  | 1.97 | 2224.4512 | -38.87 | 1.97 | 3162.1937 | -40.794
|  | 1.98 | 2135.6864 | -39.927 | 1.98 | 3244.4311 | -41.838
|  | 1.99 | 2065.1676 | -40.969 | 1.99 | 3283.473 | -42.867
|  | 2 | 1973.3884 | -41.972 | 2 | 3468.1915 | -43.915
|  | 2.01 | 1913.6125 | -43.052 | 2.01 | 3533.2401 | -44.969
|  | 2.02 | 1850.9439 | -44.063 | 2.02 | 3645.7951 | -45.973
|  | 2.03 | 1801.9321 | -45.031 | 2.03 | 3755.7713 | -46.968
|  | 2.04 | 1754.8422 | -46.037 | 2.04 | 3938.9205 | -47.914
|  | 2.05 | 1690.0169 | -46.985 | 2.05 | 4173.1828 | -48.887
|  | 2.06 | 1640.2458 | -47.945 | 2.06 | 4439.2907 | -49.852
|  | 2.07 | 1612.7865 | -48.909 | 2.07 | 4565.801 | -50.816
|  | 2.08 | 1549.2069 | -49.837 | 2.08 | 4955.1281 | -51.744
|  | 2.09 | 1499.3912 | -50.762 | 2.09 | 5079.1399 | -52.789
|  | 2.1 | 1485.314 | -51.652 | 2.1 | 5523.1766 | -53.686
|  | 2.11 | 1453.873 | -52.567 | 2.11 | 5790.3567 | -54.583
|  | 2.12 | 1417.8171 | -53.432 | 2.12 | 6160.9338 | -55.422
|  | 2.13 | 1401.2046 | -54.345 | 2.13 | 6797.0154 | -56.355
|  | 2.14 | 1395.732 | -55.192 | 2.14 | 7205.7286 | -57.22
|  | 2.15 | 1367.0793 | -56.036 | 2.15 | 7536.953 | -57.922
|  | 2.16 | 1363.5598 | -56.853 | 2.16 | 8245.5886 | -58.744
|  | 2.17 | 1344.4439 | -57.676 | 2.17 | 8852.0404 | -59.566
|  | 2.18 | 1337.5923 | -58.483 | 2.18 | 9692.3518 | -60.373
|  | 2.19 | 1324.0453 | -59.304 | 2.19 | 10357.5355 | -61.238
|  | 2.2 | 1310.7032 | -60.108 | 2.2 | 11258.576 | -62.002
|  | 2.21 | 1309.0497 | -60.891 | 2.21 | 12330.1779 | -62.776
|  | 2.22 | 1284.6173 | -61.663 | 2.22 | 13729.3076 | -63.563
|  | 2.23 | 1281.4114 | -62.438 | 2.23 | 15248.541 | -64.313
|  | 2.24 | 1292.6848 | -63.188 | 2.24 | 16578.4036 | -65.061
|  | 2.25 | 1286.2247 | -63.975 | 2.25 | 19246.8741 | -65.835
|  | 2.26 | 1275.0356 | -64.681 | 2.26 | 21919.7978 | -66.574
|  | 2.27 | 1275.0356 | -65.418 | 2.27 | 22975.9918 | -67.288
|  | 2.28 | 1283.0129 | -66.124 | 2.28 | 27422.2841 | -68.01
|  | 2.29 | 1284.6173 | -66.834 | 2.29 | 30514.5567 | -68.718
|  | 2.3 | 1284.6173 | -67.523 | 2.3 | 35522.7229 | -69.405
|  | 2.31 | 1295.9331 | -68.25 | 2.31 | 42785.0943 | -70.117
|  | 2.32 | 1287.8352 | -68.926 | 2.32 | 48938.6126 | -70.794
|  | 2.33 | 1300.8286 | -69.593 | 2.33 | 59444.874 | -71.462
|  | 2.34 | 1320.6908 | -70.27 | 2.34 | 68448.0792 | -72.115
|  | 2.35 | 1324.0453 | -70.914 | 2.35 | 87225.8327 | -72.765
|  | 2.36 | 1339.3003 | -71.556 | 2.36 | 109687.1363 | -73.419
|  | 2.37 | 1341.0116 | -72.236 | 2.37 | 142088.8917 | -74.073
|  | 2.38 | 1347.8895 | -72.859 | 2.38 | 194249.5631 | -74.701
|  | 2.39 | 1372.384 | -73.491 | 2.39 | 271306.9766 | -75.327
|  | 2.4 | 1388.4849 | -74.107 | 2.4 | 387855.8592 | -75.932
|  | 2.41 | 1399.3768 | -74.718 | 2.41 | 568353.5666 | -76.537
|  | 2.42 | 1415.9567 | -75.315 | 2.42 | 1046810 | -77.131
|  | 2.43 | 1427.1743 | -75.936 | 2.43 | 2051750 | -77.736
|  | 2.44 | 1451.9412 | -76.524 | 2.44 | 7444010 | -78.325
|  | 2.45 | 1483.3192 | -77.097 | 2.45 | 91189100 | -78.909
|  | 2.46 | 1505.4857 | -77.681 | 2.46 | 27130600 | -79.462
|  | 2.47 | 1523.9937 | -78.252 | 2.47 | 5252490 | -80.046
|  | 2.48 | 1559.8975 | -78.806 | 2.48 | 1551420 | -80.584
|  | 2.49 | 1583.8101 | -79.378 | 2.49 | 943064.8293 | -81.147
|  | 2.5 | 1594.8617 | -79.93 | 2.5 | 669961.1463 | -81.685
|  | 2.51 | 1654.2393 | -80.456 | 2.51 | 379559.7313 | -82.224
|  | 2.52 | 1666.0378 | -81.002 | 2.52 | 321812.8762 | -82.759
|  | 2.53 | 1716.9971 | -81.527 | 2.53 | 227973.3299 | -83.281
|  | 2.54 | 1744.6287 | -82.046 | 2.54 | 185585.2871 | -83.784
|  | 2.55 | 1791.3052 | -82.585 | 2.55 | 140237.599 | -84.321
|  | 2.56 | 1818.0507 | -83.093 | 2.56 | 123558.4351 | -84.821
|  | 2.57 | 1864.9135 | -83.6 | 2.57 | 108429.9952 | -85.3
|  | 2.58 | 1910.6953 | -84.094 | 2.58 | 88132.0621 | -85.791
|  | 2.59 | 1949.1463 | -84.601 | 2.59 | 77359.6626 | -86.28
|  | 2.6 | 1994.9733 | -85.06 | 2.6 | 67827.2441 | -86.761
|  | 2.61 | 2052.1321 | -85.572 | 2.61 | 61521.3719 | -87.252
|  | 2.62 | 2094.9556 | -86.031 | 2.62 | 56993.8325 | -87.721
|  | 2.63 | 2159.9971 | -86.512 | 2.63 | 49318.7117 | -88.189
|  | 2.64 | 2231.7904 | -86.972 | 2.64 | 45367.7339 | -88.648
|  | 2.65 | 2265.2708 | -87.441 | 2.65 | 41873.1966 | -89.098
|  | 2.66 | 2338.4731 | -87.901 | 2.66 | 38239.9746 | -89.532
|  | 2.67 | 2411.1467 | -88.363 | 2.67 | 35059.8998 | -89.992
|  | 2.68 | 2504.6665 | -88.809 | 2.68 | 32876.0707 | -90.434
|  | 2.69 | 2553.4805 | -89.228 | 2.69 | 30514.5567 | -90.868
|  | 2.7 | 2650.7219 | -89.679 | 2.7 | 28067.4765 | -91.29
|  | 2.71 | 2718.6693 | -90.095 | 2.71 | 26646.6058 | -91.711
|  | 2.72 | 2841.386 | -90.519 | 2.72 | 25051.843 | -92.122
|  | 2.73 | 2905.8847 | -90.968 | 2.73 | 23470.0706 | -92.565
|  | 2.74 | 3012.5924 | -91.367 | 2.74 | 22263.6221 | -92.96
|  | 2.75 | 3113.1309 | -91.783 | 2.75 | 20829.4667 | -93.361
|  | 2.76 | 3218.7887 | -92.194 | 2.76 | 20113.9298 | -93.757
|  | 2.77 | 3343.3709 | -92.598 | 2.77 | 18879.4132 | -94.16
|  | 2.78 | 3468.1915 | -92.992 | 2.78 | 18434.6998 | -94.561
|  | 2.79 | 3607.6864 | -93.397 | 2.79 | 17349.3592 | -94.949
|  | 2.8 | 3739.7581 | -93.781 | 2.8 | 16578.4036 | -95.341
|  | 2.81 | 3879.2186 | -94.163 | 2.81 | 15857.7194 | -95.72
|  | 2.82 | 3991.1977 | -94.552 | 2.82 | 15314.4777 | -96.088
|  | 2.83 | 4154.4299 | -94.933 | 2.83 | 14611.9574 | -96.465
|  | 2.84 | 4347.8275 | -95.3 | 2.84 | 13956.6932 | -96.836
|  | 2.85 | 4512.4393 | -95.687 | 2.85 | 13507.4342 | -97.204
|  | 2.86 | 4812.2185 | -96.048 | 2.86 | 13131.8921 | -97.566
|  | 2.87 | 4930.8713 | -96.409 | 2.87 | 12873.155 | -97.926
|  | 2.88 | 5142.8991 | -96.765 | 2.88 | 12426.3141 | -98.276
|  | 2.89 | 5410.3314 | -97.12 | 2.89 | 12094.6626 | -98.633
|  | 2.9 | 5624.8381 | -97.471 | 2.9 | 11599.7054 | -98.958
|  | 2.91 | 5915.3666 | -97.826 | 2.91 | 11427.2314 | -99.322
|  | 2.92 | 6177.846 | -98.164 | 2.92 | 11012.5089 | -99.658
|  | 2.93 | 6350.8678 | -98.505 | 2.93 | 10813.5637 | -99.995
|  | 2.94 | 6681.1707 | -98.842 | 2.94 | 10357.5355 | -100.321
|  | 2.95 | 7037.9309 | -99.18 | 2.95 | 10284.3423 | -100.639
|  | 2.96 | 7424.0515 | -99.505 | 2.96 | 9964.3859 | -100.954
|  | 2.97 | 7867.1428 | -99.841 | 2.97 | 9725.7426 | -101.303
|  | 2.98 | 8219.5177 | -100.167 | 2.98 | 9659.1327 | -101.612
|  | 2.99 | 8736.9018 | -100.486 | 2.99 | 9336.13 | -101.927
|  | 3 | 9119.5732 | -100.802 | 3 | 9029.0635 | -102.237
|  | 3.01 | 9626.084 | -101.113 | 3.01 | 8823.0433 | -102.551
|  | 3.02 | 10248.0363 | -101.417 | 3.02 | 8736.9018 | -102.856
|  | 3.03 | 10892.4897 | -101.744 | 3.03 | 8596.1107 | -103.166
|  | 3.04 | 11427.2314 | -102.047 | 3.04 | 8485.9138 | -103.468
|  | 3.05 | 12048.3698 | -102.356 | 3.05 | 8324.5498 | -103.763
|  | 3.06 | 13184.575 | -102.653 | 3.06 | 8351.1225 | -104.064
|  | 3.07 | 13842.3 | -102.949 | 3.07 | 8142.0427 | -104.351
|  | 3.08 | 14798.6812 | -103.235 | 3.08 | 7990.3434 | -104.638
|  | 3.09 | 16068.9098 | -103.54 | 3.09 | 7891.5539 | -104.94
|  | 3.1 | 16880.4973 | -103.826 | 3.1 | 7867.1428 | -105.221
|  | 3.11 | 18261.2039 | -104.118 | 3.11 | 7723.0272 | -105.503
|  | 3.12 | 18970.2855 | -104.39 | 3.12 | 7723.0272 | -105.783
|  | 3.13 | 20518.2064 | -104.668 | 3.13 | 7605.9347 | -106.059
|  | 3.14 | 22380.0295 | -104.965 | 3.14 | 7536.953 | -106.334
|  | 3.15 | 24110.407 | -105.242 | 3.15 | 7536.953 | -106.606
|  | 3.16 | 26495.4235 | -105.513 | 3.16 | 7379.6002 | -106.88
|  | 3.17 | 29078.8125 | -105.788 | 3.17 | 7446.4279 | -107.154
|  | 3.18 | 31662.315 | -106.049 | 3.18 | 7270.2031 | -107.407
|  | 3.19 | 33724.4334 | -106.318 | 3.19 | 7335.5469 | -107.67
|  | 3.2 | 37468.7815 | -106.576 | 3.2 | 7291.887 | -107.94
|  | 3.21 | 40701.9952 | -106.843 | 3.21 | 7184.4276 | -108.194
|  | 3.22 | 45032.3038 | -107.1 | 3.22 | 7121.0884 | -108.449
|  | 3.23 | 49318.7117 | -107.356 | 3.23 | 7058.5832 | -108.697
|  | 3.24 | 52525.5683 | -107.606 | 3.24 | 7100.1614 | -108.955
|  | 3.25 | 59444.874 | -107.868 | 3.25 | 7037.9309 | -109.202
|  | 3.26 | 69077.4773 | -108.124 | 3.26 | 6956.2217 | -109.449
|  | 3.27 | 74440.7199 | -108.364 | 3.27 | 6976.515 | -109.7
|  | 3.28 | 82897.7236 | -108.613 | 3.28 | 6915.8997 | -109.938
|  | 3.29 | 98027.0738 | -108.859 | 3.29 | 6856.071 | -110.17
|  | 3.3 | 113592.5819 | -109.093 | 3.3 | 6797.0154 | -110.404
|  | 3.31 | 131502.283 | -109.331 | 3.31 | 6719.4543 | -110.64
|  | 3.32 | 160536.9447 | -109.577 | 3.32 | 6643.2133 | -110.887
|  | 3.33 | 177488.0342 | -109.817 | 3.33 | 6681.1707 | -111.124
|  | 3.34 | 213502.6405 | -110.039 | 3.34 | 6681.1707 | -111.337
|  | 3.35 | 281448.399 | -110.28 | 3.35 | 6624.3559 | -111.573
|  | 3.36 | 321812.8762 | -110.508 | 3.36 | 6586.881 | -111.79
|  | 3.37 | 454368.3276 | -110.729 | 3.37 | 6494.5736 | -112.013
|  | 3.38 | 651221.9224 | -110.965 | 3.38 | 6512.8792 | -112.251
|  | 3.39 | 827112.3699 | -111.188 | 3.39 | 6458.1933 | -112.467
|  | 3.4 | 1168680 | -111.409 | 3.4 | 6512.8792 | -112.69
|  | 3.41 | 1952890 | -111.632 | 3.41 | 6494.5736 | -112.908
|  | 3.42 | 2839800 | -111.847 | 3.42 | 6512.8792 | -113.117
|  | 3.43 | 6782660 | -112.064 | 3.43 | 6422.1178 | -113.33
|  | 3.44 | 22797300 | -112.282 | 3.44 | 6404.1933 | -113.554
|  | 3.45 | 820702000 | -112.499 | 3.45 | 6404.1933 | -113.752
|  | 3.46 | 91189100 | -112.706 | 3.46 | 6404.1933 | -113.964
|  | 3.47 | 8207020 | -112.927 | 3.47 | 6333.2406 | -114.171
|  | 3.48 | 4503160 | -113.134 | 3.48 | 6386.3438 | -114.378
|  | 3.49 | 2397960 | -113.338 | 3.49 | 6315.6867 | -114.582
|  | 3.5 | 1313120 | -113.564 | 3.5 | 6386.3438 | -114.79
|  | 3.51 | 911891.3194 | -113.763 | 3.51 | 6333.2406 | -114.988
|  | 3.52 | 689521.009 | -113.96 | 3.52 | 6315.6867 | -115.187
|  | 3.53 | 553687.0134 | -114.16 | 3.53 | 6246.196 | -115.378
|  | 3.54 | 379559.7313 | -114.353 | 3.54 | 6280.7972 | -115.573
|  | 3.55 | 348901.3309 | -114.559 | 3.55 | 6229.0025 | -115.774
|  | 3.56 | 286733.687 | -114.758 | 3.56 | 6194.8279 | -115.965
|  | 3.57 | 235766.7073 | -114.947 | 3.57 | 6211.8799 | -116.163
|  | 3.58 | 197272.8468 | -115.154 | 3.58 | 6127.3171 | -116.339
|  | 3.59 | 174906.4342 | -115.341 | 3.59 | 6194.8279 | -116.534
|  | 3.6 | 160536.9447 | -115.53 | 3.6 | 6160.9338 | -116.726
|  | 3.61 | 145903.1711 | -115.718 | 3.61 | 6110.6119 | -116.911
|  | 3.62 | 131502.283 | -115.917 | 3.62 | 6044.4695 | -117.101
|  | 3.63 | 123558.4351 | -116.093 | 3.63 | 6060.904 | -117.28
|  | 3.64 | 119132.8466 | -116.283 | 3.64 | 6044.4695 | -117.46
|  | 3.65 | 99107.2465 | -116.47 | 3.65 | 5979.3954 | -117.646
|  | 3.66 | 93878.2826 | -116.656 | 3.66 | 5979.3954 | -117.817
|  | 3.67 | 84589.4566 | -116.836 | 3.67 | 5979.3954 | -118.007
|  | 3.68 | 82070.8254 | -117.018 | 3.68 | 5821.235 | -118.176
|  | 3.69 | 73736.7991 | -117.199 | 3.69 | 5821.235 | -118.364
|  | 3.7 | 69077.4773 | -117.377 | 3.7 | 5805.765 | -118.522
|  | 3.71 | 64846.2242 | -117.563 | 3.71 | 5931.277 | -118.703
|  | 3.72 | 58445.8295 | -117.725 | 3.72 | 5790.3567 | -118.875
|  | 3.73 | 56993.8325 | -117.909 | 3.73 | 5805.765 | -119.052
|  | 3.74 | 52948.3022 | -118.092 | 3.74 | 5790.3567 | -119.229
|  | 3.75 | 48938.6126 | -118.252 | 3.75 | 5639.59 | -119.384
|  | 3.76 | 46049.9358 | -118.426 | 3.76 | 5669.2685 | -119.559
|  | 3.77 | 44372.5085 | -118.596 | 3.77 | 5699.1819 | -119.735
|  | 3.78 | 41873.1966 | -118.756 | 3.78 | 5624.8381 | -119.883
|  | 3.79 | 39305.8276 | -118.94 | 3.79 | 5624.8381 | -120.047
|  | 3.8 | 37468.7815 | -119.103 | 3.8 | 5566.4055 | -120.215
|  | 3.81 | 36967.5415 | -119.266 | 3.81 | 5566.4055 | -120.388
|  | 3.82 | 34160.9825 | -119.431 | 3.82 | 5595.5074 | -120.541
|  | 3.83 | 34606.0633 | -119.601 | 3.83 | 5494.6366 | -120.704
|  | 3.84 | 32876.0707 | -119.751 | 3.84 | 5494.6366 | -120.87
|  | 3.85 | 31466.5712 | -119.92 | 3.85 | 5452.2395 | -121.015
|  | 3.86 | 30514.5567 | -120.075 | 3.86 | 5494.6366 | -121.179
|  | 3.87 | 29252.6725 | -120.24 | 3.87 | 5466.3172 | -121.343
|  | 3.88 | 27742.067 | -120.406 | 3.88 | 5438.2162 | -121.493
|  | 3.89 | 27107.9988 | -120.556 | 3.89 | 5396.4693 | -121.641
|  | 3.9 | 25472.275 | -120.708 | 3.9 | 5396.4693 | -121.802
|  | 3.91 | 24507.2685 | -120.863 | 3.91 | 5396.4693 | -121.952
|  | 3.92 | 23221.0602 | -121.03 | 3.92 | 5341.5506 | -122.148
|  | 3.93 | 22854.9099 | -121.176 | 3.93 | 5341.5506 | -122.287
|  | 3.94 | 21364.2024 | -121.331 | 3.94 | 5355.2014 | -122.435
|  | 3.95 | 20518.2064 | -121.473 | 3.95 | 5300.9099 | -122.582
|  | 3.96 | 20213.8713 | -121.639 | 3.96 | 5327.9519 | -122.705
|  | 3.97 | 19625.1688 | -121.771 | 3.97 | 5300.9099 | -122.839
|  | 3.98 | 18879.4132 | -121.931 | 3.98 | 5314.4051 | -122.999
|  | 3.99 | 18347.6442 | -122.075 | 3.99 | 5274.0733 | -123.141
|  | 4 | 17838.0309 | -122.226 | 4 | 5260.7313 | -123.28
|  | 4.01 | 17509.9944 | -122.369 | 4.01 | 5247.4399 | -123.465
|  | 4.02 | 16957.311 | -122.513 | 4.02 | 5181.7327 | -123.57
|  | 4.03 | 16430.3888 | -122.656 | 4.03 | 5234.1989 | -123.707
|  | 4.04 | 16357.1237 | -122.801 | 4.04 | 5247.4399 | -123.854
|  | 4.05 | 15857.7194 | -122.935 | 4.05 | 5194.775 | -124.001
|  | 4.06 | 15248.541 | -123.09 | 4.06 | 5142.8991 | -124.165
|  | 4.07 | 14736.0442 | -123.23 | 4.07 | 5181.7327 | -124.272
|  | 4.08 | 14489.4314 | -123.355 | 4.08 | 5155.795 | -124.403
|  | 4.09 | 14489.4314 | -123.507 | 4.09 | 5155.795 | -124.556
|  | 4.1 | 13842.3 | -123.656 | 4.1 | 5066.5304 | -124.689
|  | 4.11 | 13673.3295 | -123.793 | 4.11 | 5104.5005 | -124.827
|  | 4.12 | 13562.3956 | -123.914 | 4.12 | 5130.0516 | -124.952
|  | 4.13 | 12924.287 | -124.06 | 4.13 | 5066.5304 | -125.083
|  | 4.14 | 12721.5667 | -124.193 | 4.14 | 5104.5005 | -125.217
|  | 4.15 | 12330.1779 | -124.33 | 4.15 | 5117.2521 | -125.356
|  | 4.16 | 11911.0752 | -124.46 | 4.16 | 5066.5304 | -125.477
|  | 4.17 | 12048.3698 | -124.591 | 4.17 | 5028.9824 | -125.62
|  | 4.18 | 11342.4335 | -124.719 | 4.18 | 4979.5644 | -125.74
|  | 4.19 | 11258.576 | -124.848 | 4.19 | 4991.8504 | -125.913
|  | 4.2 | 11012.5089 | -124.987 | 4.2 | 5016.5592 | -126.001
|  | 4.21 | 10932.2771 | -125.109 | 4.21 | 5091.7965 | -126.135
|  | 4.22 | 10696.7736 | -125.249 | 4.22 | 4967.3237 | -126.262
|  | 4.23 | 10320.8415 | -125.364 | 4.23 | 5016.5592 | -126.393
|  | 4.24 | 10284.3423 | -125.501 | 4.24 | 5028.9824 | -126.526
|  | 4.25 | 10284.3423 | -125.619 | 4.25 | 5016.5592 | -126.644
|  | 4.26 | 10034.184 | -125.759 | 4.26 | 5016.5592 | -126.765
|  | 4.27 | 9725.7426 | -125.871 | 4.27 | 5028.9824 | -126.894
|  | 4.28 | 9659.1327 | -126.003 | 4.28 | 5016.5592 | -127.019
|  | 4.29 | 9463.358 | -126.121 | 4.29 | 5016.5592 | -127.132
|  | 4.3 | 9399.4211 | -126.244 | 4.3 | 5079.1399 | -127.264
|  | 4.31 | 9119.5732 | -126.366 | 4.31 | 4991.8504 | -127.379
|  | 4.32 | 8852.0404 | -126.486 | 4.32 | 5053.9678 | -127.497
|  | 4.33 | 8823.0433 | -126.613 | 4.33 | 5066.5304 | -127.622
|  | 4.34 | 8596.1107 | -126.719 | 4.34 | 5016.5592 | -127.745
|  | 4.35 | 8596.1107 | -126.843 | 4.35 | 5016.5592 | -127.862
|  | 4.36 | 8351.1225 | -126.97 | 4.36 | 5053.9678 | -127.97
|  | 4.37 | 8271.7837 | -127.08 | 4.37 | 5079.1399 | -128.102
|  | 4.38 | 8404.6509 | -127.196 | 4.38 | 5053.9678 | -128.214
|  | 4.39 | 8142.0427 | -127.317 | 4.39 | 5104.5005 | -128.324
|  | 4.4 | 7990.3434 | -127.441 | 4.4 | 5130.0516 | -128.452
|  | 4.41 | 7867.1428 | -127.547 | 4.41 | 5104.5005 | -128.559
|  | 4.42 | 7940.7181 | -127.66 | 4.42 | 5155.795 | -128.681
|  | 4.43 | 7770.6225 | -127.768 | 4.43 | 5155.795 | -128.784
|  | 4.44 | 7629.1392 | -127.889 | 4.44 | 5142.8991 | -128.896
|  | 4.45 | 7582.836 | -127.989 | 4.45 | 5207.8667 | -129.014
|  | 4.46 | 7446.4279 | -128.106 | 4.46 | 5181.7327 | -129.13
|  | 4.47 | 7379.6002 | -128.219 | 4.47 | 5181.7327 | -129.242
|  | 4.48 | 7335.5469 | -128.335 | 4.48 | 5221.0079 | -129.35
|  | 4.49 | 7270.2031 | -128.442 | 4.49 | 5221.0079 | -129.455
|  | 4.5 | 7270.2031 | -128.547 | 4.5 | 5234.1989 | -129.563
|  | 4.51 | 7079.3265 | -128.66 | 4.51 | 5287.466 | -129.676
|  | 4.52 | 7058.5832 | -128.775 | 4.52 | 5287.466 | -129.782
|  | 4.53 | 7037.9309 | -128.878 | 4.53 | 5274.0733 | -129.898
|  | 4.54 | 6956.2217 | -128.976 | 4.54 | 5234.1989 | -129.995
|  | 4.55 | 6836.3006 | -129.086 | 4.55 | 5274.0733 | -130.094
|  | 4.56 | 6856.071 | -129.191 | 4.56 | 5368.9046 | -130.211
|  | 4.57 | 6797.0154 | -129.304 | 4.57 | 5260.7313 | -130.309
|  | 4.58 | 6719.4543 | -129.416 | 4.58 | 5368.9046 | -130.413
|  | 4.59 | 6624.3559 | -129.509 | 4.59 | 5327.9519 | -130.526
|  | 4.6 | 6624.3559 | -129.617 | 4.6 | 5327.9519 | -130.621
|  | 4.61 | 6643.2133 | -129.728 | 4.61 | 5368.9046 | -130.716
|  | 4.62 | 6624.3559 | -129.812 | 4.62 | 5314.4051 | -130.824
|  | 4.63 | 6568.2628 | -129.927 | 4.63 | 5368.9046 | -130.931
|  | 4.64 | 6422.1178 | -130.029 | 4.64 | 5368.9046 | -131.036
|  | 4.65 | 6422.1178 | -130.133 | 4.65 | 5410.3314 | -131.126
|  | 4.66 | 6386.3438 | -130.225 | 4.66 | 5396.4693 | -131.231
|  | 4.67 | 6386.3438 | -130.337 | 4.67 | 5396.4693 | -131.329
|  | 4.68 | 6280.7972 | -130.417 | 4.68 | 5396.4693 | -131.421
|  | 4.69 | 6350.8678 | -130.509 | 4.69 | 5396.4693 | -131.514
|  | 4.7 | 6333.2406 | -130.613 | 4.7 | 5452.2395 | -131.628
|  | 4.71 | 6229.0025 | -130.712 | 4.71 | 5452.2395 | -131.725
|  | 4.72 | 6229.0025 | -130.805 | 4.72 | 5466.3172 | -131.821
|  | 4.73 | 6246.196 | -130.9 | 4.73 | 5466.3172 | -131.92
|  | 4.74 | 6263.4607 | -130.995 | 4.74 | 5551.9397 | -132.011
|  | 4.75 | 6211.8799 | -131.086 | 4.75 | 5452.2395 | -132.102
|  | 4.76 | 6144.0909 | -131.188 | 4.76 | 5494.6366 | -132.196
|  | 4.77 | 6127.3171 | -131.285 | 4.77 | 5466.3172 | -132.294
|  | 4.78 | 6263.4607 | -131.365 | 4.78 | 5580.928 | -132.387
|  | 4.79 | 6110.6119 | -131.461 | 4.79 | 5551.9397 | -132.484
|  | 4.8 | 6144.0909 | -131.557 | 4.8 | 5551.9397 | -132.574
|  | 4.81 | 6077.4057 | -131.651 | 4.81 | 5580.928 | -132.662
|  | 4.82 | 6060.904 | -131.743 | 4.82 | 5595.5074 | -132.769
|  | 4.83 | 6110.6119 | -131.83 | 4.83 | 5624.8381 | -132.85
|  | 4.84 | 6011.8004 | -131.924 | 4.84 | 5595.5074 | -132.953
|  | 4.85 | 6044.4695 | -132.013 | 4.85 | 5595.5074 | -133.026
|  | 4.86 | 6060.904 | -132.095 | 4.86 | 5595.5074 | -133.121
|  | 4.87 | 6060.904 | -132.189 | 4.87 | 5595.5074 | -133.212
|  | 4.88 | 6060.904 | -132.286 | 4.88 | 5595.5074 | -133.3
|  | 4.89 | 5947.2517 | -132.371 | 4.89 | 5624.8381 | -133.396
|  | 4.9 | 6060.904 | -132.456 | 4.9 | 5610.1439 | -133.489
|  | 4.91 | 6060.904 | -132.55 | 4.91 | 5566.4055 | -133.565
|  | 4.92 | 6060.904 | -132.63 | 4.92 | 5580.928 | -133.649
|  | 4.93 | 6011.8004 | -132.712 | 4.93 | 5566.4055 | -133.751
|  | 4.94 | 6110.6119 | -132.797 | 4.94 | 5566.4055 | -133.845
|  | 4.95 | 6060.904 | -132.892 | 4.95 | 5624.8381 | -133.917
|  | 4.96 | 6060.904 | -132.972 | 4.96 | 5595.5074 | -134.011
|  | 4.97 | 6127.3171 | -133.052 | 4.97 | 5494.6366 | -134.099
|  | 4.98 | 6177.846 | -133.135 | 4.98 | 5595.5074 | -134.18
|  | 4.99 | 6144.0909 | -133.228 | 4.99 | 5595.5074 | -134.266
|  | 5 | 6110.6119 | -133.299 | 5 | 5580.928 | -134.351
|  | 5.01 | 6160.9338 | -133.382 | 5.01 | 5610.1439 | -134.428
|  | 5.02 | 6160.9338 | -133.469 | 5.02 | 5595.5074 | -134.52
|  | 5.03 | 6194.8279 | -133.552 | 5.03 | 5669.2685 | -134.601
|  | 5.04 | 6177.846 | -133.635 | 5.04 | 5610.1439 | -134.684
|  | 5.05 | 6160.9338 | -133.721 | 5.05 | 5610.1439 | -134.759
|  | 5.06 | 6194.8279 | -133.81 | 5.06 | 5537.5301 | -134.858
|  | 5.07 | 6127.3171 | -133.896 | 5.07 | 5669.2685 | -134.936
|  | 5.08 | 6110.6119 | -133.971 | 5.08 | 5610.1439 | -135.015
|  | 5.09 | 6093.9748 | -134.055 | 5.09 | 5580.928 | -135.098
|  | 5.1 | 6044.4695 | -134.136 | 5.1 | 5610.1439 | -135.181
|  | 5.11 | 6160.9338 | -134.222 | 5.11 | 5566.4055 | -135.266
|  | 5.12 | 6110.6119 | -134.304 | 5.12 | 5551.9397 | -135.341
|  | 5.13 | 6060.904 | -134.394 | 5.13 | 5551.9397 | -135.426
|  | 5.14 | 6093.9748 | -134.47 | 5.14 | 5523.1766 | -135.505
|  | 5.15 | 5995.565 | -134.548 | 5.15 | 5537.5301 | -135.581
|  | 5.16 | 6127.3171 | -134.635 | 5.16 | 5566.4055 | -135.672
|  | 5.17 | 6044.4695 | -134.716 | 5.17 | 5508.8789 | -135.754
|  | 5.18 | 5995.565 | -134.8 | 5.18 | 5480.4494 | -135.822
|  | 5.19 | 6077.4057 | -134.868 | 5.19 | 5452.2395 | -135.905
|  | 5.2 | 6044.4695 | -134.951 | 5.2 | 5466.3172 | -135.986
|  | 5.21 | 6044.4695 | -135.028 | 5.21 | 5508.8789 | -136.06
|  | 5.22 | 6044.4695 | -135.111 | 5.22 | 5480.4494 | -136.137
|  | 5.23 | 6028.1017 | -135.177 | 5.23 | 5566.4055 | -136.207
|  | 5.24 | 6077.4057 | -135.26 | 5.24 | 5480.4494 | -136.298
|  | 5.25 | 6110.6119 | -135.344 | 5.25 | 5537.5301 | -136.375
|  | 5.26 | 6077.4057 | -135.411 | 5.26 | 5551.9397 | -136.443
|  | 5.27 | 6077.4057 | -135.494 | 5.27 | 5566.4055 | -136.512
|  | 5.28 | 6127.3171 | -135.571 | 5.28 | 5537.5301 | -136.587
|  | 5.29 | 6127.3171 | -135.639 | 5.29 | 5551.9397 | -136.661
|  | 5.3 | 6127.3171 | -135.717 | 5.3 | 5610.1439 | -136.738
|  | 5.31 | 6177.846 | -135.788 | 5.31 | 5566.4055 | -136.816
|  | 5.32 | 6177.846 | -135.866 | 5.32 | 5566.4055 | -136.879
|  | 5.33 | 6177.846 | -135.941 | 5.33 | 5566.4055 | -136.954
|  | 5.34 | 6177.846 | -136.008 | 5.34 | 5654.4 | -137.037
|  | 5.35 | 6280.7972 | -136.092 | 5.35 | 5610.1439 | -137.104
|  | 5.36 | 6160.9338 | -136.164 | 5.36 | 5595.5074 | -137.174
|  | 5.37 | 6127.3171 | -136.24 | 5.37 | 5639.59 | -137.244
|  | 5.38 | 6263.4607 | -136.301 | 5.38 | 5580.928 | -137.324
|  | 5.39 | 6229.0025 | -136.384 | 5.39 | 5639.59 | -137.393
|  | 5.4 | 6298.2057 | -136.457 | 5.4 | 5654.4 | -137.462
|  | 5.41 | 6211.8799 | -136.526 | 5.41 | 5654.4 | -137.526
|  | 5.42 | 6315.6867 | -136.593 | 5.42 | 5610.1439 | -137.602
|  | 5.43 | 6280.7972 | -136.665 | 5.43 | 5624.8381 | -137.659
|  | 5.44 | 6298.2057 | -136.74 | 5.44 | 5684.1956 | -137.739
|  | 5.45 | 6422.1178 | -136.812 | 5.45 | 5639.59 | -137.803
|  | 5.46 | 6315.6867 | -136.884 | 5.46 | 5595.5074 | -137.868
|  | 5.47 | 6458.1933 | -136.943 | 5.47 | 5595.5074 | -137.94
|  | 5.48 | 6386.3438 | -137.019 | 5.48 | 5566.4055 | -138.013
|  | 5.49 | 6440.1176 | -137.083 | 5.49 | 5580.928 | -138.08
|  | 5.5 | 6458.1933 | -137.172 | 5.5 | 5610.1439 | -138.146
|  | 5.51 | 6476.3451 | -137.225 | 5.51 | 5566.4055 | -138.211
|  | 5.52 | 6458.1933 | -137.294 | 5.52 | 5508.8789 | -138.27
|  | 5.53 | 6494.5736 | -137.369 | 5.53 | 5551.9397 | -138.34
|  | 5.54 | 6512.8792 | -137.435 | 5.54 | 5551.9397 | -138.417
|  | 5.55 | 6458.1933 | -137.507 | 5.55 | 5480.4494 | -138.479
|  | 5.56 | 6512.8792 | -137.583 | 5.56 | 5438.2162 | -138.542
|  | 5.57 | 6494.5736 | -137.648 | 5.57 | 5424.2469 | -138.594
|  | 5.58 | 6440.1176 | -137.712 | 5.58 | 5466.3172 | -138.67
|  | 5.59 | 6476.3451 | -137.774 | 5.59 | 5452.2395 | -138.737
|  | 5.6 | 6512.8792 | -137.86 | 5.6 | 5466.3172 | -138.805
|  | 5.61 | 6458.1933 | -137.922 | 5.61 | 5355.2014 | -138.873
|  | 5.62 | 6568.2628 | -137.985 | 5.62 | 5341.5506 | -138.935
|  | 5.63 | 6624.3559 | -138.039 | 5.63 | 5396.4693 | -138.998
|  | 5.64 | 6605.5786 | -138.108 | 5.64 | 5314.4051 | -139.062
|  | 5.65 | 6643.2133 | -138.181 | 5.65 | 5327.9519 | -139.116
|  | 5.66 | 6624.3559 | -138.25 | 5.66 | 5314.4051 | -139.193
|  | 5.67 | 6719.4543 | -138.313 | 5.67 | 5247.4399 | -139.257
|  | 5.68 | 6816.6155 | -138.375 | 5.68 | 5221.0079 | -139.323
|  | 5.69 | 6816.6155 | -138.437 | 5.69 | 5181.7327 | -139.371
|  | 5.7 | 6777.4997 | -138.507 | 5.7 | 5194.775 | -139.44
|  | 5.71 | 6758.0679 | -138.571 | 5.71 | 5168.7395 | -139.507
|  | 5.72 | 6777.4997 | -138.626 | 5.72 | 5117.2521 | -139.573
|  | 5.73 | 6777.4997 | -138.702 | 5.73 | 5053.9678 | -139.625
|  | 5.74 | 6797.0154 | -138.769 | 5.74 | 5016.5592 | -139.684
|  | 5.75 | 6816.6155 | -138.842 | 5.75 | 4967.3237 | -139.749
|  | 5.76 | 6758.0679 | -138.896 | 5.76 | 4918.8097 | -139.814
|  | 5.77 | 6816.6155 | -138.957 | 5.77 | 4847.3606 | -139.873
|  | 5.78 | 6836.3006 | -139.021 | 5.78 | 4823.8899 | -139.946
|  | 5.79 | 6797.0154 | -139.092 | 5.79 | 4731.6919 | -139.986
|  | 5.8 | 6816.6155 | -139.15 | 5.8 | 4720.3533 | -140.055
|  | 5.81 | 6875.9273 | -139.216 | 5.81 | 4631.0941 | -140.109
|  | 5.82 | 6875.9273 | -139.273 | 5.82 | 4609.1749 | -140.178
|  | 5.83 | 6856.071 | -139.333 | 5.83 | 4491.3562 | -140.237
|  | 5.84 | 6816.6155 | -139.396 | 5.84 | 4418.7177 | -140.292
|  | 5.85 | 6875.9273 | -139.458 | 5.85 | 4418.7177 | -140.358
|  | 5.86 | 6875.9273 | -139.53 | 5.86 | 4398.2875 | -140.418
|  | 5.87 | 6956.2217 | -139.586 | 5.87 | 4317.9673 | -140.474
|  | 5.88 | 6915.8997 | -139.653 | 5.88 | 4239.8277 | -140.529
|  | 5.89 | 6956.2217 | -139.707 | 5.89 | 4182.6069 | -140.602
|  | 5.9 | 6936.0167 | -139.766 | 5.9 | 4163.7905 | -140.651
|  | 5.91 | 6956.2217 | -139.833 | 5.91 | 4089.7809 | -140.716
|  | 5.92 | 6996.8974 | -139.889 | 5.92 | 4062.5354 | -140.777
|  | 5.93 | 7037.9309 | -139.957 | 5.93 | 4008.8549 | -140.841
|  | 5.94 | 7037.9309 | -140.013 | 5.94 | 3973.6569 | -140.902
|  | 5.95 | 7017.3691 | -140.072 | 5.95 | 3887.664 | -140.953
|  | 5.96 | 7100.1614 | -140.133 | 5.96 | 3845.7107 | -141.013
|  | 5.97 | 6976.515 | -140.194 | 5.97 | 3804.433 | -141.066
|  | 5.98 | 7079.3265 | -140.24 | 5.98 | 3771.8876 | -141.139
|  | 5.99 | 7058.5832 | -140.313 | 5.99 | 3692.3282 | -141.181
|  | 6 | 7163.221 | -140.371 | 6 | 3684.511 | -141.249
|  | 6.01 | 7121.0884 | -140.423 | 6.01 | 3615.2602 | -141.303
|  | 6.02 | 7100.1614 | -140.487 | 6.02 | 3540.5805 | -141.37
|  | 6.03 | 7079.3265 | -140.544 | 6.03 | 3540.5805 | -141.417
|  | 6.04 | 7079.3265 | -140.599 | 6.04 | 3511.3553 | -141.482
|  | 6.05 | 7100.1614 | -140.663 | 6.05 | 3475.33 | -141.531
|  | 6.06 | 7142.1081 | -140.722 | 6.06 | 3432.8269 | -141.595
|  | 6.07 | 7163.221 | -140.78 | 6.07 | 3425.8189 | -141.644
|  | 6.08 | 7227.1245 | -140.838 | 6.08 | 3411.8672 | -141.702
|  | 6.09 | 7248.6158 | -140.899 | 6.09 | 3384.2182 | -141.763
|  | 6.1 | 7270.2031 | -140.961 | 6.1 | 3363.7016 | -141.814
|  | 6.11 | 7248.6158 | -141.009 | 6.11 | 3316.5489 | -141.868
|  | 6.12 | 7248.6158 | -141.072 | 6.12 | 3290.0485 | -141.929
|  | 6.13 | 7184.4276 | -141.125 | 6.13 | 3296.6437 | -141.99
|  | 6.14 | 7248.6158 | -141.187 | 6.14 | 3270.3811 | -142.047
|  | 6.15 | 7248.6158 | -141.246 | 6.15 | 3257.3673 | -142.1
|  | 6.16 | 7335.5469 | -141.294 | 6.16 | 3244.4311 | -142.151
|  | 6.17 | 7291.887 | -141.357 | 6.17 | 3225.1707 | -142.201
|  | 6.18 | 7270.2031 | -141.411 | 6.18 | 3231.5717 | -142.259
|  | 6.19 | 7205.7286 | -141.465 | 6.19 | 3206.0815 | -142.311
|  | 6.2 | 7163.221 | -141.521 | 6.2 | 3212.4257 | -142.366
|  | 6.21 | 7291.887 | -141.574 | 6.21 | 3193.4493 | -142.425
|  | 6.22 | 7335.5469 | -141.634 | 6.22 | 3193.4493 | -142.474
|  | 6.23 | 7291.887 | -141.688 | 6.23 | 3162.1937 | -142.528
|  | 6.24 | 7270.2031 | -141.744 | 6.24 | 3155.9976 | -142.574
|  | 6.25 | 7270.2031 | -141.8 | 6.25 | 3174.6406 | -142.628
|  | 6.26 | 7313.6681 | -141.854 | 6.26 | 3162.1937 | -142.68
|  | 6.27 | 7270.2031 | -141.91 | 6.27 | 3149.8198 | -142.746
|  | 6.28 | 7313.6681 | -141.962 | 6.28 | 3155.9976 | -142.794
|  | 6.29 | 7248.6158 | -142.018 | 6.29 | 3155.9976 | -142.838
|  | 6.3 | 7313.6681 | -142.081 | 6.3 | 3131.3947 | -142.888
|  | 6.31 | 7291.887 | -142.124 | 6.31 | 3131.3947 | -142.944
|  | 6.32 | 7313.6681 | -142.184 | 6.32 | 3131.3947 | -142.996
|  | 6.33 | 7313.6681 | -142.246 | 6.33 | 3107.0785 | -143.039
|  | 6.34 | 7379.6002 | -142.296 | 6.34 | 3119.2011 | -143.088
|  | 6.35 | 7248.6158 | -142.345 | 6.35 | 3113.1309 | -143.15
|  | 6.36 | 7227.1245 | -142.395 | 6.36 | 3089.0267 | -143.213
|  | 6.37 | 7291.887 | -142.447 | 6.37 | 3089.0267 | -143.264
|  | 6.38 | 7313.6681 | -142.498 | 6.38 | 3059.2883 | -143.299
|  | 6.39 | 7335.5469 | -142.553 | 6.39 | 3065.2015 | -143.342
|  | 6.4 | 7335.5469 | -142.609 | 6.4 | 3047.513 | -143.395
|  | 6.41 | 7248.6158 | -142.66 | 6.41 | 3041.6509 | -143.442
|  | 6.42 | 7248.6158 | -142.705 | 6.42 | 3024.1656 | -143.494
|  | 6.43 | 7313.6681 | -142.762 | 6.43 | 3024.1656 | -143.558
|  | 6.44 | 7291.887 | -142.814 | 6.44 | 3018.3707 | -143.603
|  | 6.45 | 7335.5469 | -142.875 | 6.45 | 3001.0856 | -143.652
|  | 6.46 | 7335.5469 | -142.92 | 6.46 | 2983.9485 | -143.691
|  | 6.47 | 7335.5469 | -142.972 | 6.47 | 2961.3266 | -143.74
|  | 6.48 | 7335.5469 | -143.011 | 6.48 | 2972.6052 | -143.793
|  | 6.49 | 7313.6681 | -143.071 | 6.49 | 2961.3266 | -143.84
|  | 6.5 | 7379.6002 | -143.106 | 6.5 | 2961.3266 | -143.891
|  | 6.51 | 7401.7758 | -143.165 | 6.51 | 2961.3266 | -143.938
|  | 6.52 | 7357.5241 | -143.209 | 6.52 | 2938.9609 | -143.984
|  | 6.53 | 7313.6681 | -143.258 | 6.53 | 2933.4091 | -144.029
|  | 6.54 | 7291.887 | -143.305 | 6.54 | 2927.873 | -144.073
|  | 6.55 | 7313.6681 | -143.364 | 6.55 | 2911.3585 | -144.121
|  | 6.56 | 7248.6158 | -143.413 | 6.56 | 2911.3585 | -144.172
|  | 6.57 | 7335.5469 | -143.455 | 6.57 | 2905.8847 | -144.22
|  | 6.58 | 7401.7758 | -143.498 | 6.58 | 2905.8847 | -144.257
|  | 6.59 | 7424.0515 | -143.549 | 6.59 | 2884.1432 | -144.315
|  | 6.6 | 7313.6681 | -143.605 | 6.6 | 2889.5556 | -144.347
|  | 6.61 | 7291.887 | -143.649 | 6.61 | 2862.6449 | -144.401
|  | 6.62 | 7335.5469 | -143.7 | 6.62 | 2878.746 | -144.446
|  | 6.63 | 7335.5469 | -143.742 | 6.63 | 2846.6785 | -144.485
|  | 6.64 | 7335.5469 | -143.796 | 6.64 | 2846.6785 | -144.534
|  | 6.65 | 7313.6681 | -143.844 | 6.65 | 2820.3632 | -144.586
|  | 6.66 | 7291.887 | -143.889 | 6.66 | 2841.386 | -144.631
|  | 6.67 | 7291.887 | -143.942 | 6.67 | 2841.386 | -144.674
|  | 6.68 | 7357.5241 | -143.987 | 6.68 | 2841.386 | -144.718
|  | 6.69 | 7248.6158 | -144.037 | 6.69 | 2815.144 | -144.762
|  | 6.7 | 7357.5241 | -144.079 | 6.7 | 2809.9392 | -144.794
|  | 6.71 | 7335.5469 | -144.127 | 6.71 | 2794.4112 | -144.84
|  | 6.72 | 7357.5241 | -144.174 | 6.72 | 2794.4112 | -144.884
|  | 6.73 | 7379.6002 | -144.223 | 6.73 | 2773.9068 | -144.935
|  | 6.74 | 7248.6158 | -144.277 | 6.74 | 2789.2638 | -144.987
|  | 6.75 | 7357.5241 | -144.322 | 6.75 | 2779.0117 | -145.031
|  | 6.76 | 7379.6002 | -144.359 | 6.76 | 2773.9068 | -145.075
|  | 6.77 | 7424.0515 | -144.411 | 6.77 | 2768.8159 | -145.118
|  | 6.78 | 7401.7758 | -144.454 | 6.78 | 2773.9068 | -145.158
|  | 6.79 | 7335.5469 | -144.501 | 6.79 | 2738.5631 | -145.201
|  | 6.8 | 7291.887 | -144.542 | 6.8 | 2748.5921 | -145.251
|  | 6.81 | 7313.6681 | -144.591 | 6.81 | 2763.7391 | -145.291
|  | 6.82 | 7491.4854 | -144.643 | 6.82 | 2784.1307 | -145.332
|  | 6.83 | 7446.4279 | -144.677 | 6.83 | 2758.6762 | -145.38
|  | 6.84 | 7379.6002 | -144.725 | 6.84 | 2748.5921 | -145.428
|  | 6.85 | 7401.7758 | -144.77 | 6.85 | 2753.6272 | -145.464
|  | 6.86 | 7468.9057 | -144.817 | 6.86 | 2753.6272 | -145.511
|  | 6.87 | 7424.0515 | -144.851 | 6.87 | 2758.6762 | -145.551
|  | 6.88 | 7313.6681 | -144.908 | 6.88 | 2768.8159 | -145.601
|  | 6.89 | 7379.6002 | -144.94 | 6.89 | 2758.6762 | -145.64
|  | 6.9 | 7446.4279 | -144.991 | 6.9 | 2768.8159 | -145.676
|  | 6.91 | 7401.7758 | -145.034 | 6.91 | 2763.7391 | -145.726
|  | 6.92 | 7446.4279 | -145.074 | 6.92 | 2768.8159 | -145.767
|  | 6.93 | 7468.9057 | -145.122 | 6.93 | 2779.0117 | -145.817
|  | 6.94 | 7424.0515 | -145.168 | 6.94 | 2779.0117 | -145.863
|  | 6.95 | 7514.1676 | -145.208 | 6.95 | 2763.7391 | -145.896
|  | 6.96 | 7491.4854 | -145.248 | 6.96 | 2784.1307 | -145.948
|  | 6.97 | 7536.953 | -145.295 | 6.97 | 2773.9068 | -145.988
|  | 6.98 | 7491.4854 | -145.326 | 6.98 | 2784.1307 | -146.023
|  | 6.99 | 7514.1676 | -145.377 | 6.99 | 2784.1307 | -146.074
|  | 7 | 7468.9057 | -145.409 | 7 | 2799.5729 | -146.103
|  | 7.01 | 7446.4279 | -145.46 | 7.01 | 2815.144 | -146.152
|  | 7.02 | 7629.1392 | -145.492 | 7.02 | 2820.3632 | -146.19
|  | 7.03 | 7605.9347 | -145.543 | 7.03 | 2830.8453 | -146.229
|  | 7.04 | 7536.953 | -145.586 | 7.04 | 2841.386 | -146.274
|  | 7.05 | 7582.836 | -145.628 | 7.05 | 2825.597 | -146.314
|  | 7.06 | 7605.9347 | -145.665 | 7.06 | 2836.1083 | -146.36
|  | 7.07 | 7559.8423 | -145.709 | 7.07 | 2825.597 | -146.398
|  | 7.08 | 7652.45 | -145.754 | 7.08 | 2841.386 | -146.436
|  | 7.09 | 7605.9347 | -145.785 | 7.09 | 2846.6785 | -146.475
|  | 7.1 | 7605.9347 | -145.831 | 7.1 | 2851.9857 | -146.508
|  | 7.11 | 7536.953 | -145.872 | 7.11 | 2873.3639 | -146.551
|  | 7.12 | 7652.45 | -145.909 | 7.12 | 2857.3078 | -146.603
|  | 7.13 | 7605.9347 | -145.954 | 7.13 | 2889.5556 | -146.631
|  | 7.14 | 7675.8678 | -145.995 | 7.14 | 2878.746 | -146.674
|  | 7.15 | 7699.3934 | -146.041 | 7.15 | 2878.746 | -146.706
|  | 7.16 | 7629.1392 | -146.068 | 7.16 | 2894.9833 | -146.749
|  | 7.17 | 7675.8678 | -146.108 | 7.17 | 2884.1432 | -146.781
|  | 7.18 | 7559.8423 | -146.158 | 7.18 | 2889.5556 | -146.809
|  | 7.19 | 7582.836 | -146.196 | 7.19 | 2878.746 | -146.857
|  | 7.2 | 7559.8423 | -146.236 | 7.2 | 2894.9833 | -146.893
|  | 7.21 | 7582.836 | -146.274 | 7.21 | 2900.4263 | -146.931
|  | 7.22 | 7536.953 | -146.313 | 7.22 | 2889.5556 | -146.968
|  | 7.23 | 7629.1392 | -146.356 | 7.23 | 2884.1432 | -146.998
|  | 7.24 | 7514.1676 | -146.391 | 7.24 | 2878.746 | -147.044
|  | 7.25 | 7559.8423 | -146.435 | 7.25 | 2867.9968 | -147.073
|  | 7.26 | 7536.953 | -146.476 | 7.26 | 2862.6449 | -147.111
|  | 7.27 | 7536.953 | -146.513 | 7.27 | 2894.9833 | -147.141
|  | 7.28 | 7514.1676 | -146.55 | 7.28 | 2889.5556 | -147.182
|  | 7.29 | 7491.4854 | -146.586 | 7.29 | 2894.9833 | -147.209
|  | 7.3 | 7468.9057 | -146.631 | 7.3 | 2873.3639 | -147.25
|  | 7.31 | 7491.4854 | -146.656 | 7.31 | 2878.746 | -147.281
|  | 7.32 | 7491.4854 | -146.701 | 7.32 | 2862.6449 | -147.319
|  | 7.33 | 7559.8423 | -146.738 | 7.33 | 2867.9968 | -147.357
|  | 7.34 | 7582.836 | -146.772 | 7.34 | 2878.746 | -147.403
|  | 7.35 | 7582.836 | -146.809 | 7.35 | 2830.8453 | -147.425
|  | 7.36 | 7582.836 | -146.847 | 7.36 | 2851.9857 | -147.463
|  | 7.37 | 7582.836 | -146.894 | 7.37 | 2867.9968 | -147.502
|  | 7.38 | 7468.9057 | -146.923 | 7.38 | 2862.6449 | -147.543
|  | 7.39 | 7514.1676 | -146.961 | 7.39 | 2862.6449 | -147.567
|  | 7.4 | 7582.836 | -146.994 | 7.4 | 2851.9857 | -147.6
|  | 7.41 | 7559.8423 | -147.031 | 7.41 | 2851.9857 | -147.628
|  | 7.42 | 7629.1392 | -147.072 | 7.42 | 2841.386 | -147.658
|  | 7.43 | 7652.45 | -147.098 | 7.43 | 2825.597 | -147.699
|  | 7.44 | 7605.9347 | -147.142 | 7.44 | 2820.3632 | -147.738
|  | 7.45 | 7652.45 | -147.175 | 7.45 | 2820.3632 | -147.78
|  | 7.46 | 7582.836 | -147.22 | 7.46 | 2815.144 | -147.813
|  | 7.47 | 7582.836 | -147.256 | 7.47 | 2815.144 | -147.843
|  | 7.48 | 7605.9347 | -147.285 | 7.48 | 2799.5729 | -147.871
|  | 7.49 | 7652.45 | -147.326 | 7.49 | 2794.4112 | -147.906
|  | 7.5 | 7652.45 | -147.353 | 7.5 | 2794.4112 | -147.933
|  | 7.51 | 7699.3934 | -147.402 | 7.51 | 2789.2638 | -147.969
|  | 7.52 | 7699.3934 | -147.428 | 7.52 | 2784.1307 | -148.003
|  | 7.53 | 7559.8423 | -147.463 | 7.53 | 2809.9392 | -148.03
|  | 7.54 | 7629.1392 | -147.49 | 7.54 | 2768.8159 | -148.067
|  | 7.55 | 7746.77 | -147.532 | 7.55 | 2748.5921 | -148.105
|  | 7.56 | 7746.77 | -147.559 | 7.56 | 2748.5921 | -148.144
|  | 7.57 | 7723.0272 | -147.597 | 7.57 | 2733.5693 | -148.176
|  | 7.58 | 7746.77 | -147.64 | 7.58 | 2723.6224 | -148.201
|  | 7.59 | 7699.3934 | -147.663 | 7.59 | 2713.7297 | -148.237
|  | 7.6 | 7699.3934 | -147.687 | 7.6 | 2708.8036 | -148.27
|  | 7.61 | 7699.3934 | -147.736 | 7.61 | 2708.8036 | -148.296
|  | 7.62 | 7675.8678 | -147.773 | 7.62 | 2718.6693 | -148.328
|  | 7.63 | 7605.9347 | -147.809 | 7.63 | 2703.8909 | -148.37
|  | 7.64 | 7746.77 | -147.838 | 7.64 | 2674.6934 | -148.406
|  | 7.65 | 7699.3934 | -147.872 | 7.65 | 2660.2717 | -148.428
|  | 7.66 | 7794.5854 | -147.91 | 7.66 | 2674.6934 | -148.467
|  | 7.67 | 7916.0787 | -147.942 | 7.67 | 2645.9663 | -148.496
|  | 7.68 | 7842.8448 | -147.971 | 7.68 | 2645.9663 | -148.525
|  | 7.69 | 7675.8678 | -148.01 | 7.69 | 2622.3793 | -148.557
|  | 7.7 | 7770.6225 | -148.046 | 7.7 | 2599.1063 | -148.592
|  | 7.71 | 7770.6225 | -148.083 | 7.71 | 2603.7361 | -148.623
|  | 7.72 | 7699.3934 | -148.118 | 7.72 | 2594.4889 | -148.663
|  | 7.73 | 7699.3934 | -148.145 | 7.73 | 2603.7361 | -148.694
|  | 7.74 | 7675.8678 | -148.18 | 7.74 | 2585.291 | -148.725
|  | 7.75 | 7818.6592 | -148.213 | 7.75 | 2580.7104 | -148.756
|  | 7.76 | 7746.77 | -148.24 | 7.76 | 2576.1419 | -148.794
|  | 7.77 | 7867.1428 | -148.27 | 7.77 | 2571.5855 | -148.827
|  | 7.78 | 7794.5854 | -148.311 | 7.78 | 2548.9842 | -148.856
|  | 7.79 | 7818.6592 | -148.345 | 7.79 | 2544.4997 | -148.892
|  | 7.8 | 7818.6592 | -148.386 | 7.8 | 2535.5661 | -148.925
|  | 7.81 | 7818.6592 | -148.424 | 7.81 | 2540.027 | -148.956
|  | 7.82 | 7770.6225 | -148.461 | 7.82 | 2526.6795 | -148.995
|  | 7.83 | 7723.0272 | -148.48 | 7.83 | 2535.5661 | -149.031
|  | 7.84 | 7723.0272 | -148.514 | 7.84 | 2526.6795 | -149.054
|  | 7.85 | 7699.3934 | -148.552 | 7.85 | 2522.2537 | -149.088
|  | 7.86 | 7699.3934 | -148.573 | 7.86 | 2531.117 | -149.125
|  | 7.87 | 7699.3934 | -148.608 | 7.87 | 2513.437 | -149.156
|  | 7.88 | 7770.6225 | -148.636 | 7.88 | 2526.6795 | -149.195
|  | 7.89 | 7818.6592 | -148.66 | 7.89 | 2522.2537 | -149.218
|  | 7.9 | 7818.6592 | -148.698 | 7.9 | 2513.437 | -149.261
|  | 7.91 | 7746.77 | -148.728 | 7.91 | 2517.8396 | -149.295
|  | 7.92 | 7629.1392 | -148.758 | 7.92 | 2513.437 | -149.333
|  | 7.93 | 7652.45 | -148.789 | 7.93 | 2526.6795 | -149.371
|  | 7.94 | 7652.45 | -148.821 | 7.94 | 2517.8396 | -149.403
|  | 7.95 | 7559.8423 | -148.863 | 7.95 | 2500.2984 | -149.433
|  | 7.96 | 7582.836 | -148.901 | 7.96 | 2531.117 | -149.453
|  | 7.97 | 7605.9347 | -148.93 | 7.97 | 2517.8396 | -149.484
|  | 7.98 | 7652.45 | -148.957 | 7.98 | 2500.2984 | -149.515
|  | 7.99 | 7699.3934 | -148.978 | 7.99 | 2495.9417 | -149.551
|  | 8 | 7723.0272 | -149.019 | 8 | 2500.2984 | -149.591
|  | 8.01 | 7629.1392 | -149.058 | 8.01 | 2509.046 | -149.614
|  | 8.02 | 7675.8678 | -149.089 | 8.02 | 2526.6795 | -149.651
|  | 8.03 | 7699.3934 | -149.111 | 8.03 | 2531.117 | -149.676
|  | 8.04 | 7675.8678 | -149.15 | 8.04 | 2509.046 | -149.707
|  | 8.05 | 7794.5854 | -149.184 | 8.05 | 2517.8396 | -149.744
|  | 8.06 | 7818.6592 | -149.208 | 8.06 | 2517.8396 | -149.783
|  | 8.07 | 7770.6225 | -149.238 | 8.07 | 2509.046 | -149.806
|  | 8.08 | 7770.6225 | -149.272 | 8.08 | 2522.2537 | -149.834
|  | 8.09 | 7770.6225 | -149.303 | 8.09 | 2513.437 | -149.858
|  | 8.1 | 7770.6225 | -149.344 | 8.1 | 2522.2537 | -149.887
|  | 8.11 | 7770.6225 | -149.373 | 8.11 | 2522.2537 | -149.935
|  | 8.12 | 7746.77 | -149.396 | 8.12 | 2517.8396 | -149.959
|  | 8.13 | 7842.8448 | -149.434 | 8.13 | 2517.8396 | -149.99
|  | 8.14 | 7867.1428 | -149.469 | 8.14 | 2553.4805 | -150.023
|  | 8.15 | 7842.8448 | -149.499 | 8.15 | 2526.6795 | -150.048
|  | 8.16 | 7916.0787 | -149.518 | 8.16 | 2535.5661 | -150.082
|  | 8.17 | 7891.5539 | -149.552 | 8.17 | 2535.5661 | -150.116
|  | 8.18 | 7891.5539 | -149.583 | 8.18 | 2548.9842 | -150.14
|  | 8.19 | 7867.1428 | -149.609 | 8.19 | 2562.5091 | -150.17
|  | 8.2 | 7965.4728 | -149.645 | 8.2 | 2535.5661 | -150.208
|  | 8.21 | 7990.3434 | -149.682 | 8.21 | 2544.4997 | -150.237
|  | 8.22 | 7940.7181 | -149.707 | 8.22 | 2540.027 | -150.261
|  | 8.23 | 7916.0787 | -149.748 | 8.23 | 2553.4805 | -150.293
|  | 8.24 | 7867.1428 | -149.777 | 8.24 | 2544.4997 | -150.318
|  | 8.25 | 7867.1428 | -149.797 | 8.25 | 2548.9842 | -150.364
|  | 8.26 | 7842.8448 | -149.827 | 8.26 | 2548.9842 | -150.379
|  | 8.27 | 7891.5539 | -149.848 | 8.27 | 2562.5091 | -150.408
|  | 8.28 | 7891.5539 | -149.886 | 8.28 | 2576.1419 | -150.433
|  | 8.29 | 7891.5539 | -149.92 | 8.29 | 2571.5855 | -150.474
|  | 8.3 | 7867.1428 | -149.937 | 8.3 | 2571.5855 | -150.499
|  | 8.31 | 7867.1428 | -149.967 | 8.31 | 2571.5855 | -150.522
|  | 8.32 | 7940.7181 | -150 | 8.32 | 2576.1419 | -150.544
|  | 8.33 | 7891.5539 | -150.031 | 8.33 | 2576.1419 | -150.572
|  | 8.34 | 7916.0787 | -150.057 | 8.34 | 2585.291 | -150.61
|  | 8.35 | 7965.4728 | -150.082 | 8.35 | 2576.1419 | -150.64
|  | 8.36 | 7891.5539 | -150.128 | 8.36 | 2571.5855 | -150.67
|  | 8.37 | 7916.0787 | -150.152 | 8.37 | 2594.4889 | -150.695
|  | 8.38 | 7940.7181 | -150.185 | 8.38 | 2576.1419 | -150.712
|  | 8.39 | 7916.0787 | -150.214 | 8.39 | 2589.8838 | -150.743
|  | 8.4 | 7891.5539 | -150.241 | 8.4 | 2580.7104 | -150.77
|  | 8.41 | 8015.3306 | -150.27 | 8.41 | 2585.291 | -150.792
|  | 8.42 | 7965.4728 | -150.291 | 8.42 | 2585.291 | -150.824
|  | 8.43 | 7965.4728 | -150.328 | 8.43 | 2585.291 | -150.848
|  | 8.44 | 7965.4728 | -150.351 | 8.44 | 2589.8838 | -150.873
|  | 8.45 | 7990.3434 | -150.382 | 8.45 | 2576.1419 | -150.896
|  | 8.46 | 8040.4353 | -150.409 | 8.46 | 2576.1419 | -150.926
|  | 8.47 | 7990.3434 | -150.429 | 8.47 | 2580.7104 | -150.96
|  | 8.48 | 7965.4728 | -150.461 | 8.48 | 2571.5855 | -150.976
|  | 8.49 | 7965.4728 | -150.486 | 8.49 | 2562.5091 | -151.002
|  | 8.5 | 8040.4353 | -150.517 | 8.5 | 2553.4805 | -151.023
|  | 8.51 | 7990.3434 | -150.543 | 8.51 | 2544.4997 | -151.053
|  | 8.52 | 8015.3306 | -150.578 | 8.52 | 2548.9842 | -151.077
|  | 8.53 | 8065.658 | -150.604 | 8.53 | 2553.4805 | -151.105
|  | 8.54 | 8040.4353 | -150.634 | 8.54 | 2535.5661 | -151.133
|  | 8.55 | 8015.3306 | -150.663 | 8.55 | 2548.9842 | -151.154
|  | 8.56 | 8040.4353 | -150.679 | 8.56 | 2548.9842 | -151.177
|  | 8.57 | 8090.9997 | -150.714 | 8.57 | 2522.2537 | -151.198
|  | 8.58 | 8116.461 | -150.742 | 8.58 | 2531.117 | -151.225
|  | 8.59 | 8090.9997 | -150.772 | 8.59 | 2517.8396 | -151.248
|  | 8.6 | 8015.3306 | -150.799 | 8.6 | 2517.8396 | -151.288
|  | 8.61 | 8065.658 | -150.832 | 8.61 | 2517.8396 | -151.308
|  | 8.62 | 8142.0427 | -150.854 | 8.62 | 2500.2984 | -151.325
|  | 8.63 | 8116.461 | -150.872 | 8.63 | 2504.6665 | -151.36
|  | 8.64 | 8116.461 | -150.893 | 8.64 | 2491.5964 | -151.377
|  | 8.65 | 8142.0427 | -150.92 | 8.65 | 2491.5964 | -151.4
|  | 8.66 | 8193.5703 | -150.951 | 8.66 | 2487.2625 | -151.435
|  | 8.67 | 8219.5177 | -150.985 | 8.67 | 2474.3283 | -151.454
|  | 8.68 | 8167.7455 | -151.008 | 8.68 | 2470.0394 | -151.483
|  | 8.69 | 8193.5703 | -151.039 | 8.69 | 2461.4949 | -151.508
|  | 8.7 | 8167.7455 | -151.071 | 8.7 | 2461.4949 | -151.534
|  | 8.71 | 8142.0427 | -151.092 | 8.71 | 2452.9946 | -151.557
|  | 8.72 | 8167.7455 | -151.12 | 8.72 | 2452.9946 | -151.586
|  | 8.73 | 8116.461 | -151.147 | 8.73 | 2444.5383 | -151.602
|  | 8.74 | 8116.461 | -151.172 | 8.74 | 2440.3265 | -151.635
|  | 8.75 | 8167.7455 | -151.21 | 8.75 | 2440.3265 | -151.66
|  | 8.76 | 8219.5177 | -151.23 | 8.76 | 2431.9356 | -151.682
|  | 8.77 | 8167.7455 | -151.266 | 8.77 | 2431.9356 | -151.7
|  | 8.78 | 8298.1039 | -151.291 | 8.78 | 2427.7564 | -151.738
|  | 8.79 | 8193.5703 | -151.321 | 8.79 | 2427.7564 | -151.758
|  | 8.8 | 8298.1039 | -151.352 | 8.8 | 2423.5879 | -151.793
|  | 8.81 | 8271.7837 | -151.373 | 8.81 | 2419.4302 | -151.81
|  | 8.82 | 8298.1039 | -151.391 | 8.82 | 2419.4302 | -151.836
|  | 8.83 | 8298.1039 | -151.422 | 8.83 | 2419.4302 | -151.858
|  | 8.84 | 8193.5703 | -151.441 | 8.84 | 2431.9356 | -151.886
|  | 8.85 | 8245.5886 | -151.479 | 8.85 | 2415.2831 | -151.902
|  | 8.86 | 8271.7837 | -151.514 | 8.86 | 2411.1467 | -151.93
|  | 8.87 | 8324.5498 | -151.539 | 8.87 | 2415.2831 | -151.951
|  | 8.88 | 8193.5703 | -151.547 | 8.88 | 2407.021 | -151.983
|  | 8.89 | 8193.5703 | -151.58 | 8.89 | 2415.2831 | -152.006
|  | 8.9 | 8351.1225 | -151.608 | 8.9 | 2419.4302 | -152.035
|  | 8.91 | 8271.7837 | -151.636 | 8.91 | 2427.7564 | -152.059
|  | 8.92 | 8271.7837 | -151.659 | 8.92 | 2423.5879 | -152.083
|  | 8.93 | 8245.5886 | -151.681 | 8.93 | 2427.7564 | -152.102
|  | 8.94 | 8245.5886 | -151.712 | 8.94 | 2427.7564 | -152.138
|  | 8.95 | 8193.5703 | -151.735 | 8.95 | 2436.1256 | -152.167
|  | 8.96 | 8142.0427 | -151.766 | 8.96 | 2440.3265 | -152.181
|  | 8.97 | 8271.7837 | -151.792 | 8.97 | 2444.5383 | -152.206
|  | 8.98 | 8245.5886 | -151.814 | 8.98 | 2436.1256 | -152.235
|  | 8.99 | 8219.5177 | -151.844 | 8.99 | 2440.3265 | -152.257
|  | 9 | 8193.5703 | -151.87 | 9 | 2448.761 | -152.278
|  | 9.01 | 8271.7837 | -151.893 | 9.01 | 2431.9356 | -152.307
|  | 9.02 | 8245.5886 | -151.925 | 9.02 | 2448.761 | -152.325
|  | 9.03 | 8245.5886 | -151.946 | 9.03 | 2448.761 | -152.35
|  | 9.04 | 8298.1039 | -151.981 | 9.04 | 2461.4949 | -152.373
|  | 9.05 | 8324.5498 | -152 | 9.05 | 2452.9946 | -152.395
|  | 9.06 | 8271.7837 | -152.027 | 9.06 | 2461.4949 | -152.426
|  | 9.07 | 8298.1039 | -152.044 | 9.07 | 2478.6285 | -152.452
|  | 9.08 | 8351.1225 | -152.078 | 9.08 | 2478.6285 | -152.477
|  | 9.09 | 8298.1039 | -152.099 | 9.09 | 2470.0394 | -152.498
|  | 9.1 | 8298.1039 | -152.127 | 9.1 | 2491.5964 | -152.516
|  | 9.11 | 8298.1039 | -152.147 | 9.11 | 2487.2625 | -152.552
|  | 9.12 | 8377.8226 | -152.176 | 9.12 | 2513.437 | -152.578
|  | 9.13 | 8298.1039 | -152.193 | 9.13 | 2509.046 | -152.591
|  | 9.14 | 8324.5498 | -152.223 | 9.14 | 2522.2537 | -152.623
|  | 9.15 | 8404.6509 | -152.237 | 9.15 | 2531.117 | -152.645
|  | 9.16 | 8324.5498 | -152.268 | 9.16 | 2526.6795 | -152.663
|  | 9.17 | 8351.1225 | -152.296 | 9.17 | 2535.5661 | -152.69
|  | 9.18 | 8351.1225 | -152.316 | 9.18 | 2535.5661 | -152.714
|  | 9.19 | 8324.5498 | -152.34 | 9.19 | 2540.027 | -152.733
|  | 9.2 | 8298.1039 | -152.363 | 9.2 | 2557.9888 | -152.759
|  | 9.21 | 8219.5177 | -152.383 | 9.21 | 2548.9842 | -152.782
|  | 9.22 | 8377.8226 | -152.41 | 9.22 | 2544.4997 | -152.805
|  | 9.23 | 8351.1225 | -152.434 | 9.23 | 2548.9842 | -152.832
|  | 9.24 | 8351.1225 | -152.462 | 9.24 | 2544.4997 | -152.858
|  | 9.25 | 8351.1225 | -152.477 | 9.25 | 2544.4997 | -152.874
|  | 9.26 | 8377.8226 | -152.504 | 9.26 | 2553.4805 | -152.898
|  | 9.27 | 8377.8226 | -152.524 | 9.27 | 2557.9888 | -152.918
|  | 9.28 | 8377.8226 | -152.559 | 9.28 | 2567.0413 | -152.952
|  | 9.29 | 8324.5498 | -152.58 | 9.29 | 2562.5091 | -152.977
|  | 9.3 | 8351.1225 | -152.595 | 9.3 | 2567.0413 | -152.998
|  | 9.31 | 8404.6509 | -152.623 | 9.31 | 2557.9888 | -153.021
|  | 9.32 | 8377.8226 | -152.648 | 9.32 | 2562.5091 | -153.046
|  | 9.33 | 8431.6083 | -152.669 | 9.33 | 2571.5855 | -153.072
|  | 9.34 | 8458.6957 | -152.692 | 9.34 | 2576.1419 | -153.091
|  | 9.35 | 8485.9138 | -152.715 | 9.35 | 2585.291 | -153.109
|  | 9.36 | 8431.6083 | -152.733 | 9.36 | 2599.1063 | -153.142
|  | 9.37 | 8431.6083 | -152.753 | 9.37 | 2589.8838 | -153.156
|  | 9.38 | 8404.6509 | -152.777 | 9.38 | 2599.1063 | -153.183
|  | 9.39 | 8485.9138 | -152.787 | 9.39 | 2594.4889 | -153.195
|  | 9.4 | 8458.6957 | -152.809 | 9.4 | 2589.8838 | -153.222
|  | 9.41 | 8513.2635 | -152.843 | 9.41 | 2580.7104 | -153.241
|  | 9.42 | 8431.6083 | -152.867 | 9.42 | 2585.291 | -153.261
|  | 9.43 | 8485.9138 | -152.894 | 9.43 | 2589.8838 | -153.274
|  | 9.44 | 8568.361 | -152.911 | 9.44 | 2576.1419 | -153.308
|  | 9.45 | 8431.6083 | -152.934 | 9.45 | 2580.7104 | -153.321
|  | 9.46 | 8485.9138 | -152.956 | 9.46 | 2580.7104 | -153.338
|  | 9.47 | 8431.6083 | -152.972 | 9.47 | 2567.0413 | -153.361
|  | 9.48 | 8458.6957 | -152.997 | 9.48 | 2580.7104 | -153.388
|  | 9.49 | 8485.9138 | -153.018 | 9.49 | 2548.9842 | -153.405
|  | 9.5 | 8458.6957 | -153.032 | 9.5 | 2571.5855 | -153.423
|  | 9.51 | 8485.9138 | -153.056 | 9.51 | 2553.4805 | -153.448
|  | 9.52 | 8513.2635 | -153.079 | 9.52 | 2535.5661 | -153.472
|  | 9.53 | 8513.2635 | -153.099 | 9.53 | 2540.027 | -153.495
|  | 9.54 | 8540.7456 | -153.118 | 9.54 | 2540.027 | -153.519
|  | 9.55 | 8513.2635 | -153.147 | 9.55 | 2535.5661 | -153.538
|  | 9.56 | 8596.1107 | -153.169 | 9.56 | 2531.117 | -153.55
|  | 9.57 | 8513.2635 | -153.187 | 9.57 | 2526.6795 | -153.582
|  | 9.58 | 8513.2635 | -153.211 | 9.58 | 2535.5661 | -153.605
|  | 9.59 | 8568.361 | -153.228 | 9.59 | 2531.117 | -153.619
|  | 9.6 | 8596.1107 | -153.251 | 9.6 | 2535.5661 | -153.644
|  | 9.61 | 8513.2635 | -153.261 | 9.61 | 2526.6795 | -153.663
|  | 9.62 | 8652.0158 | -153.281 | 9.62 | 2522.2537 | -153.676
|  | 9.63 | 8623.9953 | -153.304 | 9.63 | 2540.027 | -153.71
|  | 9.64 | 8513.2635 | -153.329 | 9.64 | 2526.6795 | -153.731
|  | 9.65 | 8596.1107 | -153.35 | 9.65 | 2526.6795 | -153.753
|  | 9.66 | 8513.2635 | -153.369 | 9.66 | 2517.8396 | -153.769
|  | 9.67 | 8568.361 | -153.384 | 9.67 | 2517.8396 | -153.79
|  | 9.68 | 8596.1107 | -153.412 | 9.68 | 2526.6795 | -153.811
|  | 9.69 | 8623.9953 | -153.43 | 9.69 | 2526.6795 | -153.837
|  | 9.7 | 8568.361 | -153.454 | 9.7 | 2522.2537 | -153.84
|  | 9.71 | 8680.1732 | -153.467 | 9.71 | 2531.117 | -153.875
|  | 9.72 | 8623.9953 | -153.492 | 9.72 | 2535.5661 | -153.891
|  | 9.73 | 8596.1107 | -153.504 | 9.73 | 2522.2537 | -153.902
|  | 9.74 | 8596.1107 | -153.527 | 9.74 | 2531.117 | -153.929
|  | 9.75 | 8623.9953 | -153.55 | 9.75 | 2548.9842 | -153.948
|  | 9.76 | 8513.2635 | -153.571 | 9.76 | 2544.4997 | -153.965
|  | 9.77 | 8513.2635 | -153.591 | 9.77 | 2548.9842 | -153.997
|  | 9.78 | 8485.9138 | -153.611 | 9.78 | 2553.4805 | -154.01
|  | 9.79 | 8540.7456 | -153.634 | 9.79 | 2571.5855 | -154.034
|  | 9.8 | 8596.1107 | -153.658 | 9.8 | 2580.7104 | -154.056
|  | 9.81 | 8623.9953 | -153.678 | 9.81 | 2580.7104 | -154.082
|  | 9.82 | 8568.361 | -153.709 | 9.82 | 2589.8838 | -154.091
|  | 9.83 | 8568.361 | -153.723 | 9.83 | 2594.4889 | -154.121
|  | 9.84 | 8568.361 | -153.743 | 9.84 | 2599.1063 | -154.142
|  | 9.85 | 8596.1107 | -153.768 | 9.85 | 2585.291 | -154.169
|  | 9.86 | 8680.1732 | -153.781 | 9.86 | 2603.7361 | -154.182
|  | 9.87 | 8623.9953 | -153.807 | 9.87 | 2608.3782 | -154.192
|  | 9.88 | 8596.1107 | -153.819 | 9.88 | 2594.4889 | -154.215
|  | 9.89 | 8540.7456 | -153.848 | 9.89 | 2603.7361 | -154.241
|  | 9.9 | 8596.1107 | -153.862 | 9.9 | 2613.0327 | -154.265
|  | 9.91 | 8623.9953 | -153.873 | 9.91 | 2622.3793 | -154.283
|  | 9.92 | 8568.361 | -153.903 | 9.92 | 2617.6998 | -154.299
|  | 9.93 | 8652.0158 | -153.919 | 9.93 | 2613.0327 | -154.318
|  | 9.94 | 8680.1732 | -153.935 | 9.94 | 2608.3782 | -154.345
|  | 9.95 | 8708.4682 | -153.959 | 9.95 | 2613.0327 | -154.356
|  | 9.96 | 8623.9953 | -153.98 | 9.96 | 2631.7761 | -154.375
|  | 9.97 | 8596.1107 | -154 | 9.97 | 2613.0327 | -154.399
|  | 9.98 | 8708.4682 | -154.025 | 9.98 | 2608.3782 | -154.408
|  | 9.99 | 8736.9018 | -154.044 | 9.99 | 2608.3782 | -154.433

## Extinction Ratio
Extinction Ratio
|  | Wavelength (nm) | Extinction Ratio
|  | 500 | 15.4076
|  | 503.03 | 16.3358
|  | 506.06 | 17.299
|  | 509.09 | 18.3975
Product Raw Data |  | 512.12 | 19.5453
LC Polarization Rotator, 633 nm |  | 515.15 | 20.7336
|  | 518.18 | 22.1012
Item # | LCR1-633 | 521.21 | 23.5276
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 524.24 | 25.0926
|  | 527.27 | 26.8146
|  | 530.3 | 28.6157
|  | 533.33 | 30.5999
|  | 536.36 | 32.7921
|  | 539.39 | 35.2238
This data may be used in publications. However, please cite Thorlabs as the source. |  | 542.42 | 37.7793
|  | 545.45 | 40.7849
|  | 548.48 | 43.9687
Additional Information: |  | 551.52 | 47.3246
The Extinction Ratio (ER) data is the lowest achievable ER at each wavelength. |  | 554.55 | 51.3066
|  | 557.58 | 55.5403
|  | 560.61 | 60.3103
|  | 563.64 | 65.7162
|  | 566.67 | 71.8661
|  | 569.7 | 78.4743
|  | 572.73 | 86.5242
|  | 575.76 | 95.273
|  | 578.79 | 105.4031
|  | 581.82 | 116.4242
|  | 584.85 | 130.1695
|  | 587.88 | 145.3635
|  | 590.91 | 163.3393
|  | 593.94 | 184.8171
|  | 596.97 | 210.7371
|  | 600 | 242.4019
|  | 603.03 | 278.7097
|  | 606.06 | 327.1667
|  | 609.09 | 384.3157
|  | 612.12 | 457.0339
|  | 615.15 | 550.935
|  | 618.18 | 673.6513
|  | 621.21 | 821.5074
|  | 624.24 | 1023.6044
|  | 627.27 | 1239.7908
|  | 630.3 | 1419.6243
|  | 633.33 | 1442.8529
|  | 636.36 | 1288.4554
|  | 639.39 | 1072.2265
|  | 642.42 | 888.5406
|  | 645.45 | 726.2199
|  | 648.48 | 608.1313
|  | 651.52 | 514.5392
|  | 654.55 | 439.8863
|  | 657.58 | 379.7708
|  | 660.61 | 330.8251
|  | 663.64 | 290.5457
|  | 666.67 | 257.0562
|  | 669.7 | 231.1126
|  | 672.73 | 208.8444
|  | 675.76 | 187.9853
|  | 678.79 | 171.4607
|  | 681.82 | 156.998
|  | 684.85 | 144.2706
|  | 687.88 | 133.014
|  | 690.91 | 123.8742
|  | 693.94 | 114.8574
|  | 696.97 | 106.7819
|  | 700 | 100.1519
|  | 703.03 | 94.1089
|  | 706.06 | 88.0705
|  | 709.09 | 83.0644
|  | 712.12 | 78.4705
|  | 715.15 | 74.2424
|  | 718.18 | 70.3452
|  | 721.21 | 67.0891
|  | 724.24 | 63.7278
|  | 727.27 | 60.6095
|  | 730.3 | 57.9929
|  | 733.33 | 55.2763
|  | 736.36 | 52.9905
|  | 739.39 | 50.8407
|  | 742.42 | 48.5992
|  | 745.45 | 46.7053
|  | 748.48 | 44.9191
|  | 751.52 | 43.2307
|  | 754.55 | 41.634
|  | 757.58 | 40.2874
|  | 760.61 | 38.8473
|  | 763.64 | 37.4819
|  | 766.67 | 36.3277
|  | 769.7 | 35.0898
|  | 772.73 | 34.0398
|  | 775.76 | 32.9142
|  | 778.79 | 31.9583
|  | 781.82 | 31.043
|  | 784.85 | 30.166
|  | 787.88 | 29.2221
|  | 790.91 | 28.4179
|  | 793.94 | 27.6471
|  | 796.97 | 26.9965
|  | 800 | 26.2802

## Rotation Angle
Typical Rotation Angle
|  | Incident Angle (°) | Rotation Angle (°)
|  | -8 | 13.94
|  | -7.8 | 13.962
|  | -7.6 | 13.929
|  | -7.4 | 13.867
Product Raw Data |  | -7.2 | 13.795
LC Polarization Rotator, 633 nm |  | -7 | 13.623
|  | -6.8 | 13.44
Item # | LCR1-633 | -6.6 | 13.264
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | -6.4 | 13.022
|  | -6.2 | 12.771
|  | -6 | 12.486
|  | -5.8 | 12.206
|  | -5.6 | 11.868
|  | -5.4 | 11.518
This data may be used in publications. However, please cite Thorlabs as the source. |  | -5.2 | 11.166
|  | -5 | 10.823
|  | -4.8 | 10.438
Additional Information: |  | -4.6 | 10.022
One axis of the rotator was aligned with the polarization state of the input beam, and the voltage on the rotator was set to produce an output polarization parallel to the input polarization at 0° AOI. |  | -4.4 | 9.663
|  | -4.2 | 9.246
|  | -4 | 8.813
|  | -3.8 | 8.39
|  | -3.6 | 7.934
|  | -3.4 | 7.508
|  | -3.2 | 7.066
|  | -3 | 6.59
|  | -2.8 | 6.16
|  | -2.6 | 5.693
|  | -2.4 | 5.244
|  | -2.2 | 4.796
|  | -2 | 4.32
|  | -1.8 | 3.849
|  | -1.6 | 3.394
|  | -1.4 | 2.919
|  | -1.2 | 2.442
|  | -1 | 2.016
|  | -0.8 | 1.533
|  | -0.6 | 1.115
|  | -0.4 | 0.638
|  | -0.2 | 0.169
|  | 0 | -0.295
|  | 0.2 | -0.732
|  | 0.4 | -1.201
|  | 0.6 | -1.654
|  | 0.8 | -2.084
|  | 1 | -2.527
|  | 1.2 | -3.018
|  | 1.4 | -3.424
|  | 1.6 | -3.886
|  | 1.8 | -4.329
|  | 2 | -4.784
|  | 2.2 | -5.196
|  | 2.4 | -5.652
|  | 2.6 | -6.083
|  | 2.8 | -6.49
|  | 3 | -6.913
|  | 3.2 | -7.351
|  | 3.4 | -7.769
|  | 3.6 | -8.197
|  | 3.8 | -8.627
|  | 4 | -8.991
|  | 4.2 | -9.396
|  | 4.4 | -9.779
|  | 4.6 | -10.154
|  | 4.8 | -10.55
|  | 5 | -10.895
|  | 5.2 | -11.224
|  | 5.4 | -11.556
|  | 5.6 | -11.882
|  | 5.8 | -12.171
|  | 6 | -12.436
|  | 6.2 | -12.741
|  | 6.4 | -12.971
|  | 6.6 | -13.234
|  | 6.8 | -13.439
|  | 7 | -13.611
|  | 7.2 | -13.762
|  | 7.4 | -13.878
|  | 7.6 | -13.984
|  | 7.8 | -14.061
|  | 8 | -13.986

## Transmission
Typical Transmission
|  | Wavelength (nm) | Transmission (%)
|  | 400 | 48.9689
|  | 401 | 49.1263
|  | 402 | 49.2987
|  | 403 | 49.3966
Product Raw Data |  | 404 | 49.6082
LC Polarization Rotator, 633 nm |  | 405 | 49.8801
|  | 406 | 50.0219
Item # | LCR1-633 | 407 | 50.1837
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 408 | 50.4433
|  | 409 | 50.6907
|  | 410 | 51.0567
|  | 411 | 51.3058
|  | 412 | 51.4883
|  | 413 | 51.7304
This data may be used in publications. However, please cite Thorlabs as the source. |  | 414 | 51.9879
|  | 415 | 52.2918
|  | 416 | 52.5226
Additional Information: |  | 417 | 52.8549
|  | 418 | 53.1061
|  | 419 | 53.4787
|  | 420 | 53.699
|  | 421 | 54.0223
|  | 422 | 54.2715
|  | 423 | 54.4903
|  | 424 | 54.7931
|  | 425 | 55.0407
|  | 426 | 55.3608
|  | 427 | 55.71
|  | 428 | 55.9647
|  | 429 | 56.3874
|  | 430 | 56.5986
|  | 431 | 56.8428
|  | 432 | 57.021
|  | 433 | 57.2203
|  | 434 | 57.4677
|  | 435 | 57.7503
|  | 436 | 58.0718
|  | 437 | 58.3785
|  | 438 | 58.6324
|  | 439 | 58.8612
|  | 440 | 59.0403
|  | 441 | 59.1854
|  | 442 | 59.3109
|  | 443 | 59.5179
|  | 444 | 59.7618
|  | 445 | 60.0075
|  | 446 | 60.3138
|  | 447 | 60.477
|  | 448 | 60.6756
|  | 449 | 60.856
|  | 450 | 60.9827
|  | 451 | 61.1801
|  | 452 | 61.3874
|  | 453 | 61.5244
|  | 454 | 61.7023
|  | 455 | 61.8914
|  | 456 | 62.1125
|  | 457 | 62.354
|  | 458 | 62.5168
|  | 459 | 62.7374
|  | 460 | 62.8402
|  | 461 | 62.902
|  | 462 | 63.0501
|  | 463 | 63.1756
|  | 464 | 63.3521
|  | 465 | 63.6066
|  | 466 | 63.8103
|  | 467 | 63.9879
|  | 468 | 64.1459
|  | 469 | 64.2669
|  | 470 | 64.3879
|  | 471 | 64.5551
|  | 472 | 64.7587
|  | 473 | 65.0015
|  | 474 | 65.2195
|  | 475 | 65.3991
|  | 476 | 65.549
|  | 477 | 65.7129
|  | 478 | 65.8799
|  | 479 | 66.0565
|  | 480 | 66.3045
|  | 481 | 66.5484
|  | 482 | 66.7759
|  | 483 | 66.9697
|  | 484 | 67.1182
|  | 485 | 67.2744
|  | 486 | 67.4417
|  | 487 | 67.6826
|  | 488 | 67.9396
|  | 489 | 68.2343
|  | 490 | 68.4662
|  | 491 | 68.6853
|  | 492 | 68.9071
|  | 493 | 69.0943
|  | 494 | 69.2609
|  | 495 | 69.4654
|  | 496 | 69.7381
|  | 497 | 69.9977
|  | 498 | 70.2982
|  | 499 | 70.5306
|  | 500 | 70.778
|  | 501 | 71.035
|  | 502 | 71.2747
|  | 503 | 71.5144
|  | 504 | 71.7464
|  | 505 | 72.0287
|  | 506 | 72.3084
|  | 507 | 72.5344
|  | 508 | 72.7933
|  | 509 | 73.0202
|  | 510 | 73.2488
|  | 511 | 73.4727
|  | 512 | 73.7477
|  | 513 | 74.0144
|  | 514 | 74.3252
|  | 515 | 74.6342
|  | 516 | 74.9594
|  | 517 | 75.263
|  | 518 | 75.5409
|  | 519 | 75.7689
|  | 520 | 75.9595
|  | 521 | 76.1603
|  | 522 | 76.3773
|  | 523 | 76.6094
|  | 524 | 76.8691
|  | 525 | 77.1425
|  | 526 | 77.4824
|  | 527 | 77.7898
|  | 528 | 78.0776
|  | 529 | 78.3607
|  | 530 | 78.6329
|  | 531 | 78.8775
|  | 532 | 79.1358
|  | 533 | 79.3647
|  | 534 | 79.5957
|  | 535 | 79.783
|  | 536 | 80.0264
|  | 537 | 80.283
|  | 538 | 80.5286
|  | 539 | 80.8188
|  | 540 | 81.1205
|  | 541 | 81.4106
|  | 542 | 81.689
|  | 543 | 81.9653
|  | 544 | 82.2067
|  | 545 | 82.4203
|  | 546 | 82.6277
|  | 547 | 82.8308
|  | 548 | 83.0514
|  | 549 | 83.2873
|  | 550 | 83.5108
|  | 551 | 83.7559
|  | 552 | 83.9553
|  | 553 | 84.1423
|  | 554 | 84.3601
|  | 555 | 84.534
|  | 556 | 84.7284
|  | 557 | 84.956
|  | 558 | 85.1748
|  | 559 | 85.4426
|  | 560 | 85.6919
|  | 561 | 85.927
|  | 562 | 86.1703
|  | 563 | 86.3493
|  | 564 | 86.5061
|  | 565 | 86.6331
|  | 566 | 86.7803
|  | 567 | 86.9402
|  | 568 | 87.0895
|  | 569 | 87.2717
|  | 570 | 87.5258
|  | 571 | 87.7363
|  | 572 | 87.9891
|  | 573 | 88.2097
|  | 574 | 88.4123
|  | 575 | 88.5735
|  | 576 | 88.693
|  | 577 | 88.8044
|  | 578 | 88.9121
|  | 579 | 89.0294
|  | 580 | 89.1399
|  | 581 | 89.274
|  | 582 | 89.4639
|  | 583 | 89.6568
|  | 584 | 89.8348
|  | 585 | 90.0105
|  | 586 | 90.1559
|  | 587 | 90.2899
|  | 588 | 90.3659
|  | 589 | 90.4506
|  | 590 | 90.514
|  | 591 | 90.5812
|  | 592 | 90.683
|  | 593 | 90.7974
|  | 594 | 90.9418
|  | 595 | 91.1123
|  | 596 | 91.2732
|  | 597 | 91.4399
|  | 598 | 91.5958
|  | 599 | 91.6836
|  | 600 | 91.7827
|  | 601 | 91.804
|  | 602 | 91.8709
|  | 603 | 91.9237
|  | 604 | 91.9599
|  | 605 | 92.0533
|  | 606 | 92.1433
|  | 607 | 92.2911
|  | 608 | 92.4486
|  | 609 | 92.5767
|  | 610 | 92.7294
|  | 611 | 92.8329
|  | 612 | 92.9176
|  | 613 | 92.9872
|  | 614 | 92.9863
|  | 615 | 93.0135
|  | 616 | 93.0145
|  | 617 | 93.0444
|  | 618 | 93.0884
|  | 619 | 93.1568
|  | 620 | 93.2369
|  | 621 | 93.3413
|  | 622 | 93.4811
|  | 623 | 93.5803
|  | 624 | 93.6855
|  | 625 | 93.7658
|  | 626 | 93.8146
|  | 627 | 93.836
|  | 628 | 93.8289
|  | 629 | 93.8077
|  | 630 | 93.8073
|  | 631 | 93.8111
|  | 632 | 93.8322
|  | 633 | 93.8847
|  | 634 | 93.9622
|  | 635 | 94.0466
|  | 636 | 94.1497
|  | 637 | 94.2602
|  | 638 | 94.3443
|  | 639 | 94.3998
|  | 640 | 94.4329
|  | 641 | 94.4666
|  | 642 | 94.4459
|  | 643 | 94.4213
|  | 644 | 94.3943
|  | 645 | 94.3779
|  | 646 | 94.3892
|  | 647 | 94.3916
|  | 648 | 94.443
|  | 649 | 94.521
|  | 650 | 94.5655
|  | 651 | 94.6679
|  | 652 | 94.7407
|  | 653 | 94.8032
|  | 654 | 94.8541
|  | 655 | 94.8645
|  | 656 | 94.8547
|  | 657 | 94.8171
|  | 658 | 94.7874
|  | 659 | 94.7261
|  | 660 | 94.7037
|  | 661 | 94.6782
|  | 662 | 94.6585
|  | 663 | 94.6872
|  | 664 | 94.7125
|  | 665 | 94.7558
|  | 666 | 94.8228
|  | 667 | 94.8596
|  | 668 | 94.9147
|  | 669 | 94.9561
|  | 670 | 94.9337
|  | 671 | 94.9358
|  | 672 | 94.9129
|  | 673 | 94.8452
|  | 674 | 94.7944
|  | 675 | 94.7361
|  | 676 | 94.6909
|  | 677 | 94.6177
|  | 678 | 94.6013
|  | 679 | 94.5832
|  | 680 | 94.6008
|  | 681 | 94.6166
|  | 682 | 94.6229
|  | 683 | 94.6599
|  | 684 | 94.6749
|  | 685 | 94.6749
|  | 686 | 94.6577
|  | 687 | 94.6163
|  | 688 | 94.5784
|  | 689 | 94.5053
|  | 690 | 94.4239
|  | 691 | 94.3298
|  | 692 | 94.2456
|  | 693 | 94.1654
|  | 694 | 94.0753
|  | 695 | 94.0251
|  | 696 | 93.983
|  | 697 | 93.971
|  | 698 | 93.9522
|  | 699 | 93.9304
|  | 700 | 93.906