## Intensity Profile
LGL160 Laser Line Profile at 633 nm
|  | Angle (Degrees) | Normalized Intensity
|  | -32 | 6.6185e-06
|  | -31.8 | 6.9795e-06
|  | -31.6 | 1.1432e-05
|  | -31.4 | 2.2262e-05
Product Raw Data |  | -31.2 | 9.0253e-06
Powell Lens with 60° Fan Angle |  | -31 | 1.805e-05
|  | -30.8 | 1.6245e-05
Item # | LGL160 | -30.6 | 1.6245e-05
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | -30.4 | 0.0001444
|  | -30.2 | 0.37906
|  | -30 | 0.67629
|  | -29.8 | 0.8219
|  | -29.6 | 0.90854
|  | -29.4 | 0.93622
This data may be used in publications. However, please cite Thorlabs as the source. |  | -29.2 | 0.81709
|  | -29 | 0.75331
|  | -28.8 | 0.73526
Additional Information: |  | -28.6 | 0.75933
Uniformity and Contained Power are specified over the central 80% of the specified fan angle. |  | -28.4 | 0.7846
|  | -28.2 | 0.72323
|  | -28 | 0.71239
|  | -27.8 | 0.71239
|  | -27.6 | 0.74248
|  | -27.4 | 0.77136
|  | -27.2 | 0.76895
|  | -27 | 0.74729
|  | -26.8 | 0.70638
|  | -26.6 | 0.67268
|  | -26.4 | 0.69194
|  | -26.2 | 0.75812
|  | -26 | 0.75451
|  | -25.8 | 0.74368
|  | -25.6 | 0.73526
|  | -25.4 | 0.72684
|  | -25.2 | 0.71841
|  | -25 | 0.7509
|  | -24.8 | 0.75211
|  | -24.6 | 0.78941
|  | -24.4 | 0.77617
|  | -24.2 | 0.7497
|  | -24 | 0.72443
|  | -23.8 | 0.7148
|  | -23.6 | 0.72082
|  | -23.4 | 0.72563
|  | -23.2 | 0.74007
|  | -23 | 0.76053
|  | -22.8 | 0.75572
|  | -22.6 | 0.75451
|  | -22.4 | 0.74007
|  | -22.2 | 0.71721
|  | -22 | 0.69795
|  | -21.8 | 0.70397
|  | -21.6 | 0.74007
|  | -21.4 | 0.76655
|  | -21.2 | 0.78099
|  | -21 | 0.80265
|  | -20.8 | 0.78339
|  | -20.6 | 0.76655
|  | -20.4 | 0.73045
|  | -20.2 | 0.71119
|  | -20 | 0.7148
|  | -19.8 | 0.70758
|  | -19.6 | 0.70999
|  | -19.4 | 0.72563
|  | -19.2 | 0.74368
|  | -19 | 0.75451
|  | -18.8 | 0.75211
|  | -18.6 | 0.74128
|  | -18.4 | 0.72443
|  | -18.2 | 0.73045
|  | -18 | 0.73887
|  | -17.8 | 0.72924
|  | -17.6 | 0.73526
|  | -17.4 | 0.73406
|  | -17.2 | 0.74128
|  | -17 | 0.73767
|  | -16.8 | 0.75451
|  | -16.6 | 0.7485
|  | -16.4 | 0.73646
|  | -16.2 | 0.74489
|  | -16 | 0.73767
|  | -15.8 | 0.72563
|  | -15.6 | 0.7136
|  | -15.4 | 0.71721
|  | -15.2 | 0.7148
|  | -15 | 0.70999
|  | -14.8 | 0.72202
|  | -14.6 | 0.71239
|  | -14.4 | 0.7148
|  | -14.2 | 0.70758
|  | -14 | 0.70277
|  | -13.8 | 0.69675
|  | -13.6 | 0.69675
|  | -13.4 | 0.69434
|  | -13.2 | 0.69916
|  | -13 | 0.69314
|  | -12.8 | 0.68472
|  | -12.6 | 0.69073
|  | -12.4 | 0.69795
|  | -12.2 | 0.7148
|  | -12 | 0.72563
|  | -11.8 | 0.74609
|  | -11.6 | 0.76173
|  | -11.4 | 0.75812
|  | -11.2 | 0.7509
|  | -11 | 0.73767
|  | -10.8 | 0.73526
|  | -10.6 | 0.74128
|  | -10.4 | 0.73045
|  | -10.2 | 0.69795
|  | -10 | 0.68351
|  | -9.8 | 0.68111
|  | -9.6 | 0.68231
|  | -9.4 | 0.67389
|  | -9.2 | 0.66065
|  | -9 | 0.64982
|  | -8.8 | 0.66907
|  | -8.6 | 0.6787
|  | -8.4 | 0.68472
|  | -8.2 | 0.68231
|  | -8 | 0.65945
|  | -7.8 | 0.6426
|  | -7.6 | 0.6438
|  | -7.4 | 0.65824
|  | -7.2 | 0.65584
|  | -7 | 0.65704
|  | -6.8 | 0.65824
|  | -6.6 | 0.66306
|  | -6.4 | 0.66306
|  | -6.2 | 0.65945
|  | -6 | 0.66667
|  | -5.8 | 0.66907
|  | -5.6 | 0.66065
|  | -5.4 | 0.66426
|  | -5.2 | 0.65824
|  | -5 | 0.64621
|  | -4.8 | 0.64019
|  | -4.6 | 0.62696
|  | -4.4 | 0.61974
|  | -4.2 | 0.61252
|  | -4 | 0.59928
|  | -3.8 | 0.58724
|  | -3.6 | 0.58243
|  | -3.4 | 0.59687
|  | -3.2 | 0.6077
|  | -3 | 0.6077
|  | -2.8 | 0.61372
|  | -2.6 | 0.61492
|  | -2.4 | 0.61613
|  | -2.2 | 0.62094
|  | -2 | 0.61853
|  | -1.8 | 0.61011
|  | -1.6 | 0.60409
|  | -1.4 | 0.59807
|  | -1.2 | 0.58845
|  | -1 | 0.58484
|  | -0.8 | 0.56919
|  | -0.6 | 0.55235
|  | -0.4 | 0.53309
|  | -0.2 | 0.52708
|  | 0 | 0.52708
|  | 0.2 | 0.5355
|  | 0.4 | 0.54272
|  | 0.6 | 0.5367
|  | 0.8 | 0.52708
|  | 1 | 0.52708
|  | 1.2 | 0.53309
|  | 1.4 | 0.54633
|  | 1.6 | 0.56077
|  | 1.8 | 0.56679
|  | 2 | 0.58604
|  | 2.2 | 0.58965
|  | 2.4 | 0.59085
|  | 2.6 | 0.59085
|  | 2.8 | 0.58965
|  | 3 | 0.57641
|  | 3.2 | 0.57641
|  | 3.4 | 0.57641
|  | 3.6 | 0.57521
|  | 3.8 | 0.5728
|  | 4 | 0.57401
|  | 4.2 | 0.5728
|  | 4.4 | 0.57401
|  | 4.6 | 0.57401
|  | 4.8 | 0.57762
|  | 5 | 0.56679
|  | 5.2 | 0.56558
|  | 5.4 | 0.56919
|  | 5.6 | 0.56077
|  | 5.8 | 0.55836
|  | 6 | 0.5704
|  | 6.2 | 0.57521
|  | 6.4 | 0.56679
|  | 6.6 | 0.56197
|  | 6.8 | 0.57882
|  | 7 | 0.59807
|  | 7.2 | 0.6089
|  | 7.4 | 0.61613
|  | 7.6 | 0.61733
|  | 7.8 | 0.61733
|  | 8 | 0.62575
|  | 8.2 | 0.63538
|  | 8.4 | 0.63658
|  | 8.6 | 0.63899
|  | 8.8 | 0.63658
|  | 9 | 0.63538
|  | 9.2 | 0.63658
|  | 9.4 | 0.64501
|  | 9.6 | 0.6438
|  | 9.8 | 0.65102
|  | 10 | 0.65945
|  | 10.2 | 0.65704
|  | 10.4 | 0.65463
|  | 10.6 | 0.64621
|  | 10.8 | 0.62816
|  | 11 | 0.61613
|  | 11.2 | 0.62214
|  | 11.4 | 0.62936
|  | 11.6 | 0.62214
|  | 11.8 | 0.6077
|  | 12 | 0.61492
|  | 12.2 | 0.61733
|  | 12.4 | 0.62936
|  | 12.6 | 0.64862
|  | 12.8 | 0.64741
|  | 13 | 0.63779
|  | 13.2 | 0.64019
|  | 13.4 | 0.63177
|  | 13.6 | 0.62575
|  | 13.8 | 0.62575
|  | 14 | 0.61853
|  | 14.2 | 0.61733
|  | 14.4 | 0.61252
|  | 14.6 | 0.59807
|  | 14.8 | 0.6089
|  | 15 | 0.60529
|  | 15.2 | 0.59326
|  | 15.4 | 0.59687
|  | 15.6 | 0.60048
|  | 15.8 | 0.60409
|  | 16 | 0.61974
|  | 16.2 | 0.62936
|  | 16.4 | 0.62696
|  | 16.6 | 0.62696
|  | 16.8 | 0.61492
|  | 17 | 0.59928
|  | 17.2 | 0.58965
|  | 17.4 | 0.58484
|  | 17.6 | 0.58724
|  | 17.8 | 0.58845
|  | 18 | 0.57882
|  | 18.2 | 0.57401
|  | 18.4 | 0.5716
|  | 18.6 | 0.58123
|  | 18.8 | 0.59928
|  | 19 | 0.59928
|  | 19.2 | 0.58123
|  | 19.4 | 0.5704
|  | 19.6 | 0.55957
|  | 19.8 | 0.55475
|  | 20 | 0.55475
|  | 20.2 | 0.54392
|  | 20.4 | 0.56077
|  | 20.6 | 0.58604
|  | 20.8 | 0.59206
|  | 21 | 0.59446
|  | 21.2 | 0.59446
|  | 21.4 | 0.59687
|  | 21.6 | 0.58965
|  | 21.8 | 0.58604
|  | 22 | 0.59085
|  | 22.2 | 0.58243
|  | 22.4 | 0.59206
|  | 22.6 | 0.59807
|  | 22.8 | 0.62575
|  | 23 | 0.64621
|  | 23.2 | 0.67028
|  | 23.4 | 0.66667
|  | 23.6 | 0.66185
|  | 23.8 | 0.67389
|  | 24 | 0.69314
|  | 24.2 | 0.70277
|  | 24.4 | 0.70999
|  | 24.6 | 0.73406
|  | 24.8 | 0.78821
|  | 25 | 0.80746
|  | 25.2 | 0.8207
|  | 25.4 | 0.84356
|  | 25.6 | 0.85921
|  | 25.8 | 0.87244
|  | 26 | 0.88448
|  | 26.2 | 0.91336
|  | 26.4 | 0.91817
|  | 26.6 | 0.93502
|  | 26.8 | 0.96631
|  | 27 | 0.95788
|  | 27.2 | 0.98797
|  | 27.4 | 0.97954
|  | 27.6 | 0.95187
|  | 27.8 | 0.93863
|  | 28 | 0.90493
|  | 28.2 | 0.90253
|  | 28.4 | 0.88568
|  | 28.6 | 0.84116
|  | 28.8 | 0.84477
|  | 29 | 0.91456
|  | 29.2 | 1
|  | 29.4 | 0.93502
|  | 29.6 | 0.93261
|  | 29.8 | 0.858
|  | 30 | 0.61974
|  | 30.2 | 0.01475
|  | 30.4 | 1.2034e-05
|  | 30.6 | 6.438e-05
|  | 30.8 | 7.16e-05
|  | 31 | 4.5728e-05
|  | 31.2 | 1.2635e-05
|  | 31.4 | 1.6847e-05
|  | 31.6 | 1.1432e-05
|  | 31.8 | 1.6245e-05
|  | 32 | 1.6847e-05