## MIR Attenuation
MIR Fiber Feedthrough Attenuation
|  | Wavelength µm | Attenuation dB/m
|  | 0.30052 | 3.4668
|  | 0.30089 | 3.4028
|  | 0.30126 | 3.3783
|  | 0.30163 | 3.4205
Product Raw Data |  | 0.302 | 3.3883
MIR Fiber Feedthrough Attenuation |  | 0.30237 | 3.369
|  | 0.30274 | 3.3524
Item # | VK4F1S | 0.30311 | 3.3421
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 0.30347 | 3.3183
|  | 0.30384 | 3.3462
|  | 0.30421 | 3.2955
|  | 0.30458 | 3.264
|  | 0.30495 | 3.2258
|  | 0.30532 | 3.2357
This data may be used in publications. However, please cite Thorlabs as the source. |  | 0.30568 | 3.2257
|  | 0.30605 | 3.1919
|  | 0.30642 | 3.1639
Additional Information: |  | 0.30679 | 3.1436
|  | 0.30716 | 3.1527
|  | 0.30753 | 3.1109
|  | 0.30789 | 3.0911
|  | 0.30826 | 3.0715
|  | 0.30863 | 3.0635
|  | 0.309 | 3.0286
|  | 0.30937 | 3.0023
|  | 0.30973 | 2.9675
|  | 0.3101 | 2.9409
|  | 0.31047 | 2.9255
|  | 0.31084 | 2.9114
|  | 0.31121 | 2.8748
|  | 0.31157 | 2.8536
|  | 0.31194 | 2.8398
|  | 0.31231 | 2.8097
|  | 0.31268 | 2.7738
|  | 0.31305 | 2.7649
|  | 0.31342 | 2.7248
|  | 0.31378 | 2.715
|  | 0.31415 | 2.6778
|  | 0.31452 | 2.6672
|  | 0.31489 | 2.6376
|  | 0.31525 | 2.6062
|  | 0.31562 | 2.5934
|  | 0.31599 | 2.5702
|  | 0.31636 | 2.5509
|  | 0.31672 | 2.5217
|  | 0.31709 | 2.4967
|  | 0.31746 | 2.4667
|  | 0.31783 | 2.4523
|  | 0.31819 | 2.4138
|  | 0.31856 | 2.4036
|  | 0.31893 | 2.3771
|  | 0.3193 | 2.3588
|  | 0.31966 | 2.336
|  | 0.32003 | 2.3193
|  | 0.3204 | 2.2923
|  | 0.32076 | 2.2688
|  | 0.32113 | 2.2537
|  | 0.3215 | 2.2313
|  | 0.32187 | 2.2086
|  | 0.32223 | 2.186
|  | 0.3226 | 2.171
|  | 0.32297 | 2.1514
|  | 0.32333 | 2.1275
|  | 0.3237 | 2.1126
|  | 0.32407 | 2.0819
|  | 0.32443 | 2.0605
|  | 0.3248 | 2.0371
|  | 0.32517 | 2.0219
|  | 0.32553 | 2.0016
|  | 0.3259 | 1.9791
|  | 0.32627 | 1.9574
|  | 0.32663 | 1.943
|  | 0.327 | 1.9237
|  | 0.32737 | 1.9178
|  | 0.32773 | 1.9063
|  | 0.3281 | 1.898
|  | 0.32847 | 1.8817
|  | 0.32883 | 1.8664
|  | 0.3292 | 1.8291
|  | 0.32957 | 1.8092
|  | 0.32993 | 1.794
|  | 0.3303 | 1.775
|  | 0.33067 | 1.7654
|  | 0.33103 | 1.7464
|  | 0.3314 | 1.7269
|  | 0.33176 | 1.7186
|  | 0.33213 | 1.7037
|  | 0.3325 | 1.6849
|  | 0.33286 | 1.6624
|  | 0.33323 | 1.6455
|  | 0.33359 | 1.6352
|  | 0.33396 | 1.6147
|  | 0.33433 | 1.6025
|  | 0.33469 | 1.5839
|  | 0.33506 | 1.5811
|  | 0.33542 | 1.5597
|  | 0.33579 | 1.5403
|  | 0.33616 | 1.5377
|  | 0.33652 | 1.5204
|  | 0.33689 | 1.5079
|  | 0.33725 | 1.496
|  | 0.33762 | 1.4797
|  | 0.33798 | 1.4692
|  | 0.33835 | 1.4563
|  | 0.33872 | 1.4454
|  | 0.33908 | 1.4315
|  | 0.33945 | 1.4193
|  | 0.33981 | 1.4075
|  | 0.34018 | 1.398
|  | 0.34054 | 1.3858
|  | 0.34091 | 1.3805
|  | 0.34128 | 1.37
|  | 0.34164 | 1.358
|  | 0.34201 | 1.3507
|  | 0.34237 | 1.3363
|  | 0.34274 | 1.3242
|  | 0.3431 | 1.318
|  | 0.34347 | 1.3101
|  | 0.34383 | 1.3028
|  | 0.3442 | 1.2892
|  | 0.34456 | 1.2839
|  | 0.34493 | 1.2772
|  | 0.34529 | 1.2725
|  | 0.34566 | 1.2582
|  | 0.34602 | 1.247
|  | 0.34639 | 1.2412
|  | 0.34675 | 1.2332
|  | 0.34712 | 1.2269
|  | 0.34748 | 1.2092
|  | 0.34785 | 1.2029
|  | 0.34821 | 1.1926
|  | 0.34858 | 1.1878
|  | 0.34894 | 1.1795
|  | 0.34931 | 1.1697
|  | 0.34967 | 1.1655
|  | 0.35003 | 1.1564
|  | 0.3504 | 1.1464
|  | 0.35076 | 1.1361
|  | 0.35113 | 1.1306
|  | 0.35149 | 1.1254
|  | 0.35186 | 1.1188
|  | 0.35222 | 1.1179
|  | 0.35259 | 1.1041
|  | 0.35295 | 1.0945
|  | 0.35332 | 1.0908
|  | 0.35368 | 1.0834
|  | 0.35404 | 1.0761
|  | 0.35441 | 1.0712
|  | 0.35477 | 1.0596
|  | 0.35514 | 1.0521
|  | 0.3555 | 1.0434
|  | 0.35586 | 1.037
|  | 0.35623 | 1.0243
|  | 0.35659 | 1.017
|  | 0.35696 | 1.0103
|  | 0.35732 | 1.0049
|  | 0.35768 | 0.99646
|  | 0.35805 | 0.98674
|  | 0.35841 | 0.98341
|  | 0.35878 | 0.97637
|  | 0.35914 | 0.96581
|  | 0.35951 | 0.96162
|  | 0.35987 | 0.95499
|  | 0.36023 | 0.94733
|  | 0.3606 | 0.94813
|  | 0.36096 | 0.94227
|  | 0.36132 | 0.93517
|  | 0.36169 | 0.93271
|  | 0.36205 | 0.92113
|  | 0.36241 | 0.92032
|  | 0.36278 | 0.91276
|  | 0.36314 | 0.91071
|  | 0.3635 | 0.90434
|  | 0.36387 | 0.89872
|  | 0.36423 | 0.89744
|  | 0.36459 | 0.88897
|  | 0.36496 | 0.88978
|  | 0.36532 | 0.88551
|  | 0.36568 | 0.87948
|  | 0.36605 | 0.87408
|  | 0.36641 | 0.87214
|  | 0.36677 | 0.86908
|  | 0.36714 | 0.86592
|  | 0.3675 | 0.86144
|  | 0.36786 | 0.85718
|  | 0.36823 | 0.85321
|  | 0.36859 | 0.84804
|  | 0.36895 | 0.8459
|  | 0.36932 | 0.84351
|  | 0.36968 | 0.83664
|  | 0.37004 | 0.83715
|  | 0.3704 | 0.83358
|  | 0.37077 | 0.83235
|  | 0.37113 | 0.82621
|  | 0.37149 | 0.82303
|  | 0.37185 | 0.82223
|  | 0.37222 | 0.81717
|  | 0.37258 | 0.81858
|  | 0.37294 | 0.81378
|  | 0.3733 | 0.8062
|  | 0.37367 | 0.8129
|  | 0.37403 | 0.80398
|  | 0.37439 | 0.79521
|  | 0.37475 | 0.79795
|  | 0.37512 | 0.79496
|  | 0.37548 | 0.78783
|  | 0.37584 | 0.78638
|  | 0.3762 | 0.78201
|  | 0.37657 | 0.78184
|  | 0.37693 | 0.78173
|  | 0.37729 | 0.77804
|  | 0.37765 | 0.78069
|  | 0.37801 | 0.77347
|  | 0.37838 | 0.76741
|  | 0.37874 | 0.76464
|  | 0.3791 | 0.76569
|  | 0.37946 | 0.7618
|  | 0.37982 | 0.76061
|  | 0.38019 | 0.7614
|  | 0.38055 | 0.7532
|  | 0.38091 | 0.75598
|  | 0.38127 | 0.75328
|  | 0.38163 | 0.7562
|  | 0.38199 | 0.75758
|  | 0.38236 | 0.75167
|  | 0.38272 | 0.75021
|  | 0.38308 | 0.75168
|  | 0.38344 | 0.74558
|  | 0.3838 | 0.74337
|  | 0.38416 | 0.7416
|  | 0.38453 | 0.73719
|  | 0.38489 | 0.74009
|  | 0.38525 | 0.74037
|  | 0.38561 | 0.74075
|  | 0.38597 | 0.74135
|  | 0.38633 | 0.7415
|  | 0.3867 | 0.74267
|  | 0.38706 | 0.7406
|  | 0.38742 | 0.7358
|  | 0.38778 | 0.73455
|  | 0.38814 | 0.73562
|  | 0.3885 | 0.73003
|  | 0.38886 | 0.72852
|  | 0.38922 | 0.72298
|  | 0.38958 | 0.73069
|  | 0.38994 | 0.7272
|  | 0.39031 | 0.72787
|  | 0.39067 | 0.72946
|  | 0.39103 | 0.72762
|  | 0.39139 | 0.73132
|  | 0.39175 | 0.7311
|  | 0.39211 | 0.73202
|  | 0.39247 | 0.72279
|  | 0.39283 | 0.72057
|  | 0.39319 | 0.71808
|  | 0.39355 | 0.71525
|  | 0.39391 | 0.71638
|  | 0.39427 | 0.71772
|  | 0.39464 | 0.71784
|  | 0.39499 | 0.72365
|  | 0.39536 | 0.72099
|  | 0.39572 | 0.71609
|  | 0.39608 | 0.71205
|  | 0.39644 | 0.7086
|  | 0.3968 | 0.71936
|  | 0.39716 | 0.71578
|  | 0.39752 | 0.72227
|  | 0.39788 | 0.71152
|  | 0.39824 | 0.71014
|  | 0.3986 | 0.70175
|  | 0.39896 | 0.69977
|  | 0.39932 | 0.70086
|  | 0.39968 | 0.70187
|  | 0.40004 | 0.70373
|  | 0.4004 | 0.70435
|  | 0.40076 | 0.70278
|  | 0.40112 | 0.70737
|  | 0.40148 | 0.70194
|  | 0.40184 | 0.70052
|  | 0.4022 | 0.70073
|  | 0.40256 | 0.69599
|  | 0.40292 | 0.69445
|  | 0.40328 | 0.69229
|  | 0.40364 | 0.69393
|  | 0.404 | 0.6932
|  | 0.40436 | 0.69305
|  | 0.40472 | 0.69707
|  | 0.40508 | 0.69449
|  | 0.40543 | 0.6925
|  | 0.40579 | 0.69529
|  | 0.40615 | 0.69859
|  | 0.40651 | 0.69752
|  | 0.40687 | 0.70009
|  | 0.40723 | 0.7058
|  | 0.40759 | 0.7058
|  | 0.40795 | 0.70962
|  | 0.40831 | 0.70647
|  | 0.40867 | 0.71202
|  | 0.40903 | 0.70398
|  | 0.40939 | 0.70769
|  | 0.40975 | 0.70332
|  | 0.41011 | 0.69764
|  | 0.41389 | 0.68496
|  | 0.41534 | 0.68609
|  | 0.41679 | 0.68646
|  | 0.41823 | 0.68356
|  | 0.41968 | 0.68113
|  | 0.42113 | 0.68573
|  | 0.42257 | 0.68875
|  | 0.42402 | 0.67665
|  | 0.42546 | 0.66675
|  | 0.42691 | 0.67251
|  | 0.42836 | 0.67638
|  | 0.4298 | 0.66209
|  | 0.43125 | 0.65123
|  | 0.4327 | 0.65012
|  | 0.43414 | 0.6492
|  | 0.43559 | 0.64407
|  | 0.43704 | 0.64019
|  | 0.43848 | 0.63854
|  | 0.43993 | 0.63721
|  | 0.44138 | 0.62678
|  | 0.44282 | 0.61607
|  | 0.44427 | 0.6023
|  | 0.44572 | 0.59134
|  | 0.44716 | 0.59428
|  | 0.44861 | 0.59652
|  | 0.45005 | 0.58498
|  | 0.4515 | 0.57412
|  | 0.45295 | 0.56489
|  | 0.45439 | 0.55665
|  | 0.45584 | 0.55322
|  | 0.45729 | 0.55038
|  | 0.45873 | 0.54806
|  | 0.46018 | 0.54532
|  | 0.46163 | 0.53847
|  | 0.46307 | 0.53214
|  | 0.46452 | 0.52061
|  | 0.46597 | 0.51003
|  | 0.46741 | 0.50371
|  | 0.46886 | 0.49536
|  | 0.4703 | 0.46409
|  | 0.47175 | 0.44568
|  | 0.4732 | 0.44452
|  | 0.47464 | 0.44301
|  | 0.47609 | 0.43837
|  | 0.47754 | 0.43421
|  | 0.47898 | 0.43409
|  | 0.48043 | 0.43221
|  | 0.48188 | 0.4241
|  | 0.48332 | 0.41623
|  | 0.48477 | 0.41049
|  | 0.48622 | 0.40528
|  | 0.48766 | 0.4
|  | 0.48911 | 0.39408
|  | 0.49056 | 0.38725
|  | 0.492 | 0.38146
|  | 0.49345 | 0.3756
|  | 0.49489 | 0.36955
|  | 0.49634 | 0.36614
|  | 0.49779 | 0.36318
|  | 0.49923 | 0.35956
|  | 0.50068 | 0.35493
|  | 0.50213 | 0.35029
|  | 0.50357 | 0.34607
|  | 0.50502 | 0.34477
|  | 0.50647 | 0.34245
|  | 0.50791 | 0.33999
|  | 0.50936 | 0.33666
|  | 0.51081 | 0.33434
|  | 0.51225 | 0.33173
|  | 0.5137 | 0.32709
|  | 0.51514 | 0.32335
|  | 0.51659 | 0.32567
|  | 0.51804 | 0.32746
|  | 0.51948 | 0.3258
|  | 0.52093 | 0.32418
|  | 0.52238 | 0.31946
|  | 0.52382 | 0.31378
|  | 0.52527 | 0.30525
|  | 0.52672 | 0.29755
|  | 0.52816 | 0.28894
|  | 0.52961 | 0.28131
|  | 0.53106 | 0.27675
|  | 0.5325 | 0.27278
|  | 0.53395 | 0.26938
|  | 0.53539 | 0.26648
|  | 0.53684 | 0.26359
|  | 0.53829 | 0.26077
|  | 0.53973 | 0.25837
|  | 0.54118 | 0.25589
|  | 0.54263 | 0.25581
|  | 0.54407 | 0.25523
|  | 0.54552 | 0.25465
|  | 0.54697 | 0.25398
|  | 0.54841 | 0.25291
|  | 0.54986 | 0.25242
|  | 0.55131 | 0.25242
|  | 0.55275 | 0.25233
|  | 0.5542 | 0.25175
|  | 0.55565 | 0.25144
|  | 0.55709 | 0.25251
|  | 0.55854 | 0.25327
|  | 0.55998 | 0.25501
|  | 0.56143 | 0.25712
|  | 0.56288 | 0.26099
|  | 0.56432 | 0.2652
|  | 0.56577 | 0.27612
|  | 0.56722 | 0.28712
|  | 0.56866 | 0.30103
|  | 0.57011 | 0.31513
|  | 0.57156 | 0.3303
|  | 0.573 | 0.34487
|  | 0.57445 | 0.35415
|  | 0.5759 | 0.36135
|  | 0.57734 | 0.35845
|  | 0.57879 | 0.35446
|  | 0.58023 | 0.34539
|  | 0.58168 | 0.33687
|  | 0.58313 | 0.32654
|  | 0.58457 | 0.31689
|  | 0.58602 | 0.3084
|  | 0.58747 | 0.30149
|  | 0.58891 | 0.29754
|  | 0.59036 | 0.29416
|  | 0.59181 | 0.29137
|  | 0.59325 | 0.28958
|  | 0.5947 | 0.29026
|  | 0.59615 | 0.29142
|  | 0.59759 | 0.29258
|  | 0.59904 | 0.29396
|  | 0.60049 | 0.29638
|  | 0.60193 | 0.29917
|  | 0.60338 | 0.30149
|  | 0.60482 | 0.30381
|  | 0.60627 | 0.30613
|  | 0.60772 | 0.30856
|  | 0.60916 | 0.31134
|  | 0.61061 | 0.31366
|  | 0.61206 | 0.31598
|  | 0.6135 | 0.31807
|  | 0.61495 | 0.31946
|  | 0.6164 | 0.32166
|  | 0.61784 | 0.3234
|  | 0.61929 | 0.32514
|  | 0.62074 | 0.32688
|  | 0.62218 | 0.32861
|  | 0.62363 | 0.33059
|  | 0.62508 | 0.33325
|  | 0.62652 | 0.33523
|  | 0.62797 | 0.338
|  | 0.62941 | 0.34032
|  | 0.63086 | 0.34264
|  | 0.63231 | 0.34496
|  | 0.63375 | 0.34728
|  | 0.6352 | 0.34935
|  | 0.63665 | 0.35051
|  | 0.63809 | 0.35154
|  | 0.63954 | 0.35212
|  | 0.64099 | 0.3527
|  | 0.64243 | 0.35303
|  | 0.64388 | 0.35245
|  | 0.64533 | 0.35187
|  | 0.64677 | 0.35117
|  | 0.64822 | 0.34988
|  | 0.64967 | 0.34827
|  | 0.65111 | 0.34685
|  | 0.65256 | 0.34467
|  | 0.654 | 0.34319
|  | 0.65545 | 0.34261
|  | 0.6569 | 0.34216
|  | 0.65834 | 0.34229
|  | 0.65979 | 0.34313
|  | 0.66124 | 0.34474
|  | 0.66268 | 0.3463
|  | 0.66413 | 0.34893
|  | 0.66558 | 0.3508
|  | 0.66702 | 0.35298
|  | 0.66847 | 0.35472
|  | 0.66992 | 0.35633
|  | 0.67136 | 0.35721
|  | 0.67281 | 0.35735
|  | 0.67425 | 0.35751
|  | 0.6757 | 0.35649
|  | 0.67715 | 0.35577
|  | 0.67859 | 0.35462
|  | 0.68004 | 0.35318
|  | 0.68149 | 0.351
|  | 0.68293 | 0.34884
|  | 0.68438 | 0.34564
|  | 0.68583 | 0.34318
|  | 0.68727 | 0.34028
|  | 0.68872 | 0.33739
|  | 0.69017 | 0.33449
|  | 0.69161 | 0.33145
|  | 0.69306 | 0.32811
|  | 0.6945 | 0.32522
|  | 0.69595 | 0.32247
|  | 0.6974 | 0.32
|  | 0.69884 | 0.31725
|  | 0.70029 | 0.31478
|  | 0.70174 | 0.31204
|  | 0.70318 | 0.30972
|  | 0.70463 | 0.30725
|  | 0.70608 | 0.3045
|  | 0.70752 | 0.30203
|  | 0.70897 | 0.29944
|  | 0.71042 | 0.2974
|  | 0.71186 | 0.29465
|  | 0.71331 | 0.29249
|  | 0.71476 | 0.29059
|  | 0.7162 | 0.28843
|  | 0.71765 | 0.28685
|  | 0.71909 | 0.28553
|  | 0.72054 | 0.28426
|  | 0.72199 | 0.28426
|  | 0.72343 | 0.28552
|  | 0.72488 | 0.29032
|  | 0.72633 | 0.29553
|  | 0.72777 | 0.30091
|  | 0.72922 | 0.30702
|  | 0.73067 | 0.31414
|  | 0.73211 | 0.32167
|  | 0.73356 | 0.32937
|  | 0.73501 | 0.33651
|  | 0.73645 | 0.34115
|  | 0.7379 | 0.34447
|  | 0.73934 | 0.34464
|  | 0.74079 | 0.34456
|  | 0.74224 | 0.34282
|  | 0.74368 | 0.33959
|  | 0.74513 | 0.3328
|  | 0.74658 | 0.32559
|  | 0.74802 | 0.31649
|  | 0.74947 | 0.30779
|  | 0.75092 | 0.29944
|  | 0.75236 | 0.29191
|  | 0.75381 | 0.28437
|  | 0.75526 | 0.27735
|  | 0.7567 | 0.27138
|  | 0.75815 | 0.26587
|  | 0.7596 | 0.26239
|  | 0.76104 | 0.25926
|  | 0.76249 | 0.25694
|  | 0.76393 | 0.25497
|  | 0.76538 | 0.25381
|  | 0.76683 | 0.25283
|  | 0.76827 | 0.25225
|  | 0.76972 | 0.25202
|  | 0.77117 | 0.25242
|  | 0.77261 | 0.25278
|  | 0.77406 | 0.25411
|  | 0.77551 | 0.25585
|  | 0.77695 | 0.25741
|  | 0.7784 | 0.25911
|  | 0.77985 | 0.26201
|  | 0.78129 | 0.26563
|  | 0.78274 | 0.27102
|  | 0.78418 | 0.27791
|  | 0.78563 | 0.28718
|  | 0.78708 | 0.29737
|  | 0.78852 | 0.30973
|  | 0.78997 | 0.32303
|  | 0.79142 | 0.33752
|  | 0.79286 | 0.35052
|  | 0.79431 | 0.36037
|  | 0.79576 | 0.36705
|  | 0.7972 | 0.36724
|  | 0.79865 | 0.36538
|  | 0.8001 | 0.35842
|  | 0.80154 | 0.34977
|  | 0.80299 | 0.33779
|  | 0.80443 | 0.32677
|  | 0.80588 | 0.31711
|  | 0.80733 | 0.30879
|  | 0.80877 | 0.30242
|  | 0.81022 | 0.29662
|  | 0.81167 | 0.29198
|  | 0.81311 | 0.28793
|  | 0.81456 | 0.28522
|  | 0.81601 | 0.2831
|  | 0.81745 | 0.28136
|  | 0.8189 | 0.27982
|  | 0.82034 | 0.27846
|  | 0.82179 | 0.27732
|  | 0.82324 | 0.27712
|  | 0.82469 | 0.27674
|  | 0.82613 | 0.27674
|  | 0.82758 | 0.27694
|  | 0.82902 | 0.27752
|  | 0.83047 | 0.2781
|  | 0.83192 | 0.27868
|  | 0.83336 | 0.27925
|  | 0.83481 | 0.28004
|  | 0.83626 | 0.28099
|  | 0.8377 | 0.28177
|  | 0.83915 | 0.28293
|  | 0.8406 | 0.28409
|  | 0.84204 | 0.28525
|  | 0.84349 | 0.28641
|  | 0.84493 | 0.28757
|  | 0.84638 | 0.28894
|  | 0.84783 | 0.29068
|  | 0.84927 | 0.29262
|  | 0.85072 | 0.29536
|  | 0.85217 | 0.29904
|  | 0.85361 | 0.30289
|  | 0.85506 | 0.30679
|  | 0.85651 | 0.311
|  | 0.85795 | 0.31427
|  | 0.8594 | 0.31759
|  | 0.86085 | 0.32165
|  | 0.86229 | 0.32549
|  | 0.86374 | 0.32854
|  | 0.86518 | 0.32957
|  | 0.86663 | 0.32863
|  | 0.86808 | 0.32805
|  | 0.86952 | 0.32747
|  | 0.87097 | 0.32624
|  | 0.87242 | 0.32414
|  | 0.87386 | 0.32218
|  | 0.87531 | 0.31986
|  | 0.87676 | 0.31842
|  | 0.8782 | 0.3182
|  | 0.87965 | 0.31806
|  | 0.8811 | 0.31864
|  | 0.88254 | 0.31878
|  | 0.88399 | 0.31864
|  | 0.88543 | 0.31922
|  | 0.88688 | 0.3198
|  | 0.88833 | 0.32016
|  | 0.88977 | 0.32038
|  | 0.89122 | 0.32074
|  | 0.89267 | 0.32096
|  | 0.89411 | 0.32132
|  | 0.89556 | 0.32154
|  | 0.89701 | 0.32212
|  | 0.89845 | 0.32247
|  | 0.8999 | 0.3227
|  | 0.90135 | 0.32305
|  | 0.90279 | 0.32328
|  | 0.90424 | 0.32409
|  | 0.90569 | 0.32479
|  | 0.90713 | 0.32502
|  | 0.90858 | 0.32583
|  | 0.91002 | 0.32699
|  | 0.91147 | 0.32792
|  | 0.91292 | 0.3285
|  | 0.91436 | 0.32931
|  | 0.91581 | 0.33047
|  | 0.91726 | 0.33116
|  | 0.9187 | 0.33163
|  | 0.92015 | 0.33255
|  | 0.9216 | 0.33313
|  | 0.92304 | 0.33395
|  | 0.92449 | 0.33487
|  | 0.92594 | 0.33545
|  | 0.92738 | 0.33627
|  | 0.92883 | 0.33695
|  | 0.93027 | 0.33719
|  | 0.93172 | 0.33801
|  | 0.93317 | 0.33868
|  | 0.93461 | 0.33893
|  | 0.93606 | 0.33975
|  | 0.93751 | 0.34066
|  | 0.93895 | 0.34124
|  | 0.9404 | 0.34182
|  | 0.94185 | 0.3424
|  | 0.94329 | 0.34298
|  | 0.94474 | 0.34356
|  | 0.94619 | 0.34414
|  | 0.94763 | 0.34472
|  | 0.94908 | 0.34505
|  | 0.95053 | 0.3453
|  | 0.95197 | 0.34588
|  | 0.95342 | 0.34646
|  | 0.95486 | 0.34704
|  | 0.95631 | 0.34762
|  | 0.95776 | 0.34795
|  | 0.9592 | 0.34795
|  | 0.96065 | 0.3482
|  | 0.9621 | 0.34878
|  | 0.96354 | 0.34961
|  | 0.96499 | 0.35052
|  | 0.96644 | 0.35161
|  | 0.96788 | 0.35335
|  | 0.96933 | 0.35483
|  | 0.97078 | 0.35624
|  | 0.97222 | 0.35747
|  | 0.97367 | 0.35779
|  | 0.97511 | 0.35779
|  | 0.97656 | 0.35753
|  | 0.97801 | 0.35669
|  | 0.97945 | 0.35553
|  | 0.9809 | 0.35437
|  | 0.98235 | 0.35321
|  | 0.98379 | 0.35232
|  | 0.98524 | 0.35174
|  | 0.98669 | 0.35142
|  | 0.98813 | 0.35116
|  | 0.98958 | 0.35084
|  | 0.99103 | 0.35058
|  | 0.99247 | 0.35053
|  | 0.99392 | 0.35084
|  | 0.99537 | 0.35058
|  | 0.99681 | 0.35026
|  | 0.99826 | 0.35
|  | 0.9997 | 0.34995
|  | 1.0011 | 0.34999
|  | 1.0026 | 0.34941
|  | 1.004 | 0.34911
|  | 1.0055 | 0.34883
|  | 1.0069 | 0.34853
|  | 1.0084 | 0.34853
|  | 1.0098 | 0.34798
|  | 1.0113 | 0.34737
|  | 1.0127 | 0.34737
|  | 1.0142 | 0.34737
|  | 1.0156 | 0.34709
|  | 1.0171 | 0.34651
|  | 1.0185 | 0.34621
|  | 1.0199 | 0.34621
|  | 1.0214 | 0.34621
|  | 1.0229 | 0.34593
|  | 1.0243 | 0.34535
|  | 1.0257 | 0.34505
|  | 1.0272 | 0.34477
|  | 1.0286 | 0.34447
|  | 1.0301 | 0.34419
|  | 1.0315 | 0.3439
|  | 1.033 | 0.34361
|  | 1.0344 | 0.34332
|  | 1.0359 | 0.34303
|  | 1.0373 | 0.34245
|  | 1.0388 | 0.34187
|  | 1.0402 | 0.34129
|  | 1.0416 | 0.341
|  | 1.0431 | 0.34071
|  | 1.0446 | 0.34013
|  | 1.046 | 0.33984
|  | 1.0474 | 0.33955
|  | 1.0489 | 0.33897
|  | 1.0503 | 0.3384
|  | 1.0518 | 0.33782
|  | 1.0532 | 0.33724
|  | 1.0547 | 0.33666
|  | 1.0561 | 0.33637
|  | 1.0576 | 0.33578
|  | 1.059 | 0.33492
|  | 1.0604 | 0.33463
|  | 1.0619 | 0.33434
|  | 1.0634 | 0.33376
|  | 1.0648 | 0.33318
|  | 1.0662 | 0.3326
|  | 1.0677 | 0.33202
|  | 1.0691 | 0.33174
|  | 1.0706 | 0.33114
|  | 1.072 | 0.33028
|  | 1.0735 | 0.3297
|  | 1.0749 | 0.32942
|  | 1.0764 | 0.32882
|  | 1.0778 | 0.32826
|  | 1.0793 | 0.32796
|  | 1.0807 | 0.32738
|  | 1.0821 | 0.3268
|  | 1.0836 | 0.32622
|  | 1.0851 | 0.32565
|  | 1.0865 | 0.32476
|  | 1.0879 | 0.32391
|  | 1.0894 | 0.32333
|  | 1.0908 | 0.32244
|  | 1.0923 | 0.3219
|  | 1.0937 | 0.32128
|  | 1.0952 | 0.32043
|  | 1.0966 | 0.31985
|  | 1.0981 | 0.31927
|  | 1.0995 | 0.31838
|  | 1.101 | 0.31753
|  | 1.1024 | 0.31695
|  | 1.1038 | 0.31637
|  | 1.1053 | 0.31548
|  | 1.1067 | 0.31464
|  | 1.1082 | 0.31406
|  | 1.1096 | 0.31348
|  | 1.1111 | 0.31258
|  | 1.1125 | 0.31143
|  | 1.114 | 0.31058
|  | 1.1154 | 0.31
|  | 1.1169 | 0.30911
|  | 1.1183 | 0.30858
|  | 1.1198 | 0.30795
|  | 1.1212 | 0.3071
|  | 1.1226 | 0.30652
|  | 1.1241 | 0.30531
|  | 1.1256 | 0.30421
|  | 1.127 | 0.30363
|  | 1.1284 | 0.30273
|  | 1.1299 | 0.30189
|  | 1.1313 | 0.30099
|  | 1.1328 | 0.30015
|  | 1.1342 | 0.29925
|  | 1.1357 | 0.29841
|  | 1.1371 | 0.29751
|  | 1.1386 | 0.29668
|  | 1.14 | 0.2961
|  | 1.1415 | 0.29552
|  | 1.1429 | 0.29461
|  | 1.1443 | 0.29345
|  | 1.1458 | 0.29229
|  | 1.1472 | 0.29146
|  | 1.1487 | 0.29055
|  | 1.1501 | 0.28972
|  | 1.1516 | 0.28914
|  | 1.153 | 0.2889
|  | 1.1545 | 0.28823
|  | 1.1559 | 0.28741
|  | 1.1574 | 0.28683
|  | 1.1588 | 0.28592
|  | 1.1603 | 0.28509
|  | 1.1617 | 0.28418
|  | 1.1631 | 0.28335
|  | 1.1646 | 0.28277
|  | 1.1661 | 0.28219
|  | 1.1675 | 0.28161
|  | 1.1689 | 0.28103
|  | 1.1704 | 0.28012
|  | 1.1718 | 0.27929
|  | 1.1733 | 0.27838
|  | 1.1747 | 0.2779
|  | 1.1762 | 0.27722
|  | 1.1776 | 0.27606
|  | 1.1791 | 0.27524
|  | 1.1805 | 0.27466
|  | 1.182 | 0.27408
|  | 1.1834 | 0.2735
|  | 1.1848 | 0.27292
|  | 1.1863 | 0.272
|  | 1.1877 | 0.27153
|  | 1.1892 | 0.27084
|  | 1.1906 | 0.27037
|  | 1.1921 | 0.26968
|  | 1.1935 | 0.26852
|  | 1.195 | 0.26805
|  | 1.1964 | 0.26736
|  | 1.1979 | 0.26655
|  | 1.1993 | 0.26597
|  | 1.2008 | 0.26539
|  | 1.2022 | 0.26481
|  | 1.2037 | 0.26423
|  | 1.2051 | 0.2633
|  | 1.2066 | 0.26284
|  | 1.208 | 0.26249
|  | 1.2094 | 0.26156
|  | 1.2109 | 0.26075
|  | 1.2123 | 0.26017
|  | 1.2138 | 0.25959
|  | 1.2152 | 0.25901
|  | 1.2167 | 0.25843
|  | 1.2181 | 0.25821
|  | 1.2196 | 0.2575
|  | 1.221 | 0.25705
|  | 1.2225 | 0.25634
|  | 1.2239 | 0.25554
|  | 1.2253 | 0.25496
|  | 1.2268 | 0.25438
|  | 1.2282 | 0.25452
|  | 1.2297 | 0.25402
|  | 1.2311 | 0.25322
|  | 1.2326 | 0.25264
|  | 1.234 | 0.25206
|  | 1.2355 | 0.25184
|  | 1.2369 | 0.25112
|  | 1.2384 | 0.25032
|  | 1.2398 | 0.24974
|  | 1.2413 | 0.24916
|  | 1.2427 | 0.24895
|  | 1.2442 | 0.24821
|  | 1.2456 | 0.24742
|  | 1.247 | 0.24721
|  | 1.2485 | 0.24684
|  | 1.2499 | 0.24626
|  | 1.2514 | 0.24568
|  | 1.2528 | 0.24547
|  | 1.2543 | 0.2451
|  | 1.2557 | 0.24452
|  | 1.2572 | 0.24432
|  | 1.2586 | 0.24394
|  | 1.2601 | 0.24336
|  | 1.2615 | 0.24278
|  | 1.263 | 0.24258
|  | 1.2644 | 0.24183
|  | 1.2658 | 0.24105
|  | 1.2673 | 0.24084
|  | 1.2687 | 0.24047
|  | 1.2702 | 0.23989
|  | 1.2716 | 0.23931
|  | 1.2731 | 0.2391
|  | 1.2745 | 0.23873
|  | 1.276 | 0.23815
|  | 1.2774 | 0.23795
|  | 1.2789 | 0.23757
|  | 1.2803 | 0.23737
|  | 1.2818 | 0.23699
|  | 1.2832 | 0.23641
|  | 1.2847 | 0.23621
|  | 1.2861 | 0.23583
|  | 1.2875 | 0.23563
|  | 1.289 | 0.23525
|  | 1.2904 | 0.23467
|  | 1.2919 | 0.23447
|  | 1.2933 | 0.23409
|  | 1.2948 | 0.23351
|  | 1.2962 | 0.23332
|  | 1.2977 | 0.23293
|  | 1.2991 | 0.23235
|  | 1.3006 | 0.23216
|  | 1.302 | 0.23177
|  | 1.3035 | 0.23119
|  | 1.3049 | 0.23061
|  | 1.3063 | 0.23042
|  | 1.3078 | 0.23003
|  | 1.3092 | 0.22984
|  | 1.3107 | 0.22945
|  | 1.3121 | 0.22926
|  | 1.3136 | 0.22887
|  | 1.315 | 0.22868
|  | 1.3165 | 0.22829
|  | 1.3179 | 0.2281
|  | 1.3194 | 0.22771
|  | 1.3208 | 0.22753
|  | 1.3223 | 0.22753
|  | 1.3237 | 0.22713
|  | 1.3252 | 0.22735
|  | 1.3266 | 0.22713
|  | 1.328 | 0.22695
|  | 1.3295 | 0.22655
|  | 1.3309 | 0.22637
|  | 1.3324 | 0.22597
|  | 1.3338 | 0.22579
|  | 1.3353 | 0.22579
|  | 1.3367 | 0.22539
|  | 1.3382 | 0.22521
|  | 1.3396 | 0.22481
|  | 1.3411 | 0.22463
|  | 1.3425 | 0.22463
|  | 1.344 | 0.22463
|  | 1.3454 | 0.22423
|  | 1.3469 | 0.22405
|  | 1.3483 | 0.22364
|  | 1.3498 | 0.22388
|  | 1.3512 | 0.22405
|  | 1.3526 | 0.22364
|  | 1.3541 | 0.22347
|  | 1.3555 | 0.22306
|  | 1.357 | 0.2229
|  | 1.3584 | 0.2229
|  | 1.3599 | 0.2229
|  | 1.3613 | 0.22248
|  | 1.3628 | 0.22232
|  | 1.3642 | 0.2219
|  | 1.3657 | 0.22132
|  | 1.3671 | 0.22074
|  | 1.3685 | 0.22058
|  | 1.37 | 0.22016
|  | 1.3714 | 0.22
|  | 1.3729 | 0.22
|  | 1.3743 | 0.21958
|  | 1.3758 | 0.21942
|  | 1.3772 | 0.21942
|  | 1.3787 | 0.219
|  | 1.3801 | 0.21884
|  | 1.3816 | 0.21884
|  | 1.383 | 0.21842
|  | 1.3845 | 0.21826
|  | 1.3859 | 0.21826
|  | 1.3874 | 0.21784
|  | 1.3888 | 0.21768
|  | 1.3902 | 0.21726
|  | 1.3917 | 0.2171
|  | 1.3931 | 0.21668
|  | 1.3946 | 0.21695
|  | 1.396 | 0.21668
|  | 1.3975 | 0.21653
|  | 1.3989 | 0.21695
|  | 1.4004 | 0.21668
|  | 1.4018 | 0.21653
|  | 1.4033 | 0.21653
|  | 1.4047 | 0.2161
|  | 1.4062 | 0.21595
|  | 1.4076 | 0.21552
|  | 1.409 | 0.21537
|  | 1.4105 | 0.21537
|  | 1.4119 | 0.21537
|  | 1.4134 | 0.21493
|  | 1.4148 | 0.21435
|  | 1.4163 | 0.21421
|  | 1.4177 | 0.21421
|  | 1.4192 | 0.21421
|  | 1.4206 | 0.21421
|  | 1.4221 | 0.21421
|  | 1.4235 | 0.21377
|  | 1.425 | 0.21363
|  | 1.4264 | 0.21319
|  | 1.4279 | 0.21305
|  | 1.4293 | 0.21261
|  | 1.4307 | 0.21291
|  | 1.4322 | 0.21305
|  | 1.4336 | 0.21305
|  | 1.4351 | 0.21261
|  | 1.4365 | 0.21203
|  | 1.438 | 0.2119
|  | 1.4394 | 0.21145
|  | 1.4409 | 0.21176
|  | 1.4423 | 0.2119
|  | 1.4438 | 0.21145
|  | 1.4452 | 0.21132
|  | 1.4467 | 0.21132
|  | 1.4481 | 0.21087
|  | 1.4495 | 0.21074
|  | 1.451 | 0.21119
|  | 1.4524 | 0.21087
|  | 1.4539 | 0.21074
|  | 1.4553 | 0.21074
|  | 1.4568 | 0.21074
|  | 1.4582 | 0.21074
|  | 1.4597 | 0.21074
|  | 1.4611 | 0.21074
|  | 1.4626 | 0.21028
|  | 1.464 | 0.21016
|  | 1.4655 | 0.21016
|  | 1.4669 | 0.21061
|  | 1.4684 | 0.21028
|  | 1.4698 | 0.21016
|  | 1.4712 | 0.21016
|  | 1.4727 | 0.21016
|  | 1.4741 | 0.2097
|  | 1.4756 | 0.21004
|  | 1.477 | 0.2097
|  | 1.4785 | 0.20958
|  | 1.4799 | 0.20958
|  | 1.4814 | 0.20912
|  | 1.4828 | 0.20946
|  | 1.4843 | 0.20912
|  | 1.4857 | 0.20854
|  | 1.4872 | 0.20888
|  | 1.4886 | 0.20854
|  | 1.4901 | 0.20842
|  | 1.4915 | 0.20796
|  | 1.4929 | 0.20784
|  | 1.4944 | 0.20831
|  | 1.4958 | 0.20795
|  | 1.4973 | 0.20737
|  | 1.4987 | 0.20726
|  | 1.5002 | 0.20726
|  | 1.5016 | 0.20679
|  | 1.5031 | 0.20668
|  | 1.5045 | 0.20621
|  | 1.506 | 0.2061
|  | 1.5074 | 0.2061
|  | 1.5089 | 0.20563
|  | 1.5103 | 0.20553
|  | 1.5117 | 0.20553
|  | 1.5132 | 0.20553
|  | 1.5146 | 0.20553
|  | 1.5161 | 0.20553
|  | 1.5175 | 0.20505
|  | 1.519 | 0.20495
|  | 1.5204 | 0.20447
|  | 1.5219 | 0.20485
|  | 1.5233 | 0.20495
|  | 1.5248 | 0.20495
|  | 1.5262 | 0.20447
|  | 1.5277 | 0.20437
|  | 1.5291 | 0.20389
|  | 1.5306 | 0.20379
|  | 1.532 | 0.20331
|  | 1.5334 | 0.20321
|  | 1.5349 | 0.20273
|  | 1.5363 | 0.20263
|  | 1.5378 | 0.20312
|  | 1.5392 | 0.20273
|  | 1.5407 | 0.20263
|  | 1.5421 | 0.20263
|  | 1.5436 | 0.20166
|  | 1.545 | 0.20196
|  | 1.5465 | 0.20205
|  | 1.5479 | 0.20205
|  | 1.5494 | 0.20205
|  | 1.5508 | 0.20156
|  | 1.5522 | 0.20147
|  | 1.5537 | 0.20147
|  | 1.5551 | 0.20147
|  | 1.5566 | 0.20147
|  | 1.558 | 0.20098
|  | 1.5595 | 0.2009
|  | 1.5609 | 0.20089
|  | 1.5624 | 0.2009
|  | 1.5638 | 0.20089
|  | 1.5653 | 0.2009
|  | 1.5667 | 0.2009
|  | 1.5682 | 0.2004
|  | 1.5696 | 0.20032
|  | 1.5711 | 0.19982
|  | 1.5725 | 0.19974
|  | 1.5739 | 0.19974
|  | 1.5754 | 0.19924
|  | 1.5768 | 0.19866
|  | 1.5783 | 0.19908
|  | 1.5797 | 0.19866
|  | 1.5812 | 0.19858
|  | 1.5826 | 0.19808
|  | 1.5841 | 0.198
|  | 1.5855 | 0.1985
|  | 1.587 | 0.19858
|  | 1.5884 | 0.19858
|  | 1.5899 | 0.19858
|  | 1.5913 | 0.19858
|  | 1.5928 | 0.19858
|  | 1.5942 | 0.19858
|  | 1.5956 | 0.19858
|  | 1.5971 | 0.19858
|  | 1.5985 | 0.19756
|  | 1.6 | 0.19742
|  | 1.6014 | 0.19742
|  | 1.6029 | 0.19691
|  | 1.6043 | 0.19684
|  | 1.6058 | 0.19684
|  | 1.6072 | 0.19633
|  | 1.6087 | 0.19626
|  | 1.6101 | 0.19575
|  | 1.6116 | 0.19568
|  | 1.613 | 0.19568
|  | 1.6144 | 0.19517
|  | 1.6159 | 0.1951
|  | 1.6173 | 0.19511
|  | 1.6188 | 0.19459
|  | 1.6202 | 0.19453
|  | 1.6217 | 0.19401
|  | 1.6231 | 0.19395
|  | 1.6246 | 0.19343
|  | 1.626 | 0.19337
|  | 1.6275 | 0.19337
|  | 1.6289 | 0.19337
|  | 1.6304 | 0.19285
|  | 1.6318 | 0.19279
|  | 1.6333 | 0.19279
|  | 1.6347 | 0.19279
|  | 1.6361 | 0.19279
|  | 1.6376 | 0.19279
|  | 1.639 | 0.19226
|  | 1.6405 | 0.19274
|  | 1.6419 | 0.19279
|  | 1.6434 | 0.19226
|  | 1.6448 | 0.19221
|  | 1.6463 | 0.19221
|  | 1.6477 | 0.19221
|  | 1.6492 | 0.19221
|  | 1.6506 | 0.19274
|  | 1.6521 | 0.19226
|  | 1.6535 | 0.19274
|  | 1.6549 | 0.19332
|  | 1.6564 | 0.19337
|  | 1.6578 | 0.1939
|  | 1.6593 | 0.19395
|  | 1.6607 | 0.19395
|  | 1.6622 | 0.19448
|  | 1.6636 | 0.19453
|  | 1.6651 | 0.19506
|  | 1.6665 | 0.19511
|  | 1.668 | 0.1951
|  | 1.6694 | 0.19457
|  | 1.6709 | 0.19399
|  | 1.6723 | 0.19341
|  | 1.6738 | 0.19283
|  | 1.6752 | 0.19279
|  | 1.6766 | 0.19279
|  | 1.6781 | 0.19225
|  | 1.6795 | 0.19221
|  | 1.681 | 0.19167
|  | 1.6824 | 0.19217
|  | 1.6839 | 0.19113
|  | 1.6853 | 0.19051
|  | 1.6868 | 0.18993
|  | 1.6882 | 0.18881
|  | 1.6897 | 0.18928
|  | 1.6911 | 0.18932
|  | 1.6925 | 0.18932
|  | 1.694 | 0.18932
|  | 1.6954 | 0.18932
|  | 1.6969 | 0.18932
|  | 1.6983 | 0.18877
|  | 1.6998 | 0.18874
|  | 1.7012 | 0.18874
|  | 1.7027 | 0.18929
|  | 1.7041 | 0.18877
|  | 1.7056 | 0.18874
|  | 1.707 | 0.18874
|  | 1.7085 | 0.18818
|  | 1.7099 | 0.1876
|  | 1.7114 | 0.18758
|  | 1.7128 | 0.18758
|  | 1.7143 | 0.18869
|  | 1.7157 | 0.18763
|  | 1.7171 | 0.18702
|  | 1.7186 | 0.18644
|  | 1.72 | 0.18642
|  | 1.7215 | 0.18586
|  | 1.7229 | 0.18584
|  | 1.7244 | 0.1864
|  | 1.7258 | 0.18698
|  | 1.7273 | 0.18588
|  | 1.7287 | 0.18528
|  | 1.7302 | 0.18526
|  | 1.7316 | 0.18583
|  | 1.733 | 0.18584
|  | 1.7345 | 0.18697
|  | 1.736 | 0.18644
|  | 1.7374 | 0.18698
|  | 1.7388 | 0.18587
|  | 1.7403 | 0.18415
|  | 1.7417 | 0.1841
|  | 1.7432 | 0.18467
|  | 1.7446 | 0.18582
|  | 1.7461 | 0.18811
|  | 1.7475 | 0.18702
|  | 1.749 | 0.187
|  | 1.7504 | 0.18586
|  | 1.7519 | 0.18527
|  | 1.7533 | 0.18526
|  | 1.7548 | 0.18583
|  | 1.7562 | 0.18584
|  | 1.7576 | 0.18584
|  | 1.7591 | 0.18412
|  | 1.7605 | 0.18296
|  | 1.762 | 0.18524
|  | 1.7634 | 0.18814
|  | 1.7649 | 0.18643
|  | 1.7663 | 0.18354
|  | 1.7678 | 0.18295
|  | 1.7692 | 0.18295
|  | 1.7707 | 0.18757
|  | 1.7805 | 0.18012
|  | 1.783 | 0.17926
|  | 1.7854 | 0.17819
|  | 1.7879 | 0.17734
|  | 1.7904 | 0.17741
|  | 1.7929 | 0.17775
|  | 1.7953 | 0.17669
|  | 1.7978 | 0.17638
|  | 1.8003 | 0.1767
|  | 1.8028 | 0.176
|  | 1.8053 | 0.17559
|  | 1.8078 | 0.1753
|  | 1.8104 | 0.17506
|  | 1.8129 | 0.17474
|  | 1.8154 | 0.17407
|  | 1.818 | 0.17405
|  | 1.8205 | 0.17375
|  | 1.8231 | 0.17242
|  | 1.8257 | 0.17221
|  | 1.8282 | 0.17247
|  | 1.8308 | 0.17162
|  | 1.8334 | 0.17141
|  | 1.836 | 0.17116
|  | 1.8386 | 0.1702
|  | 1.8412 | 0.17023
|  | 1.8438 | 0.17047
|  | 1.8465 | 0.17013
|  | 1.8491 | 0.16904
|  | 1.8518 | 0.16854
|  | 1.8544 | 0.16841
|  | 1.8571 | 0.16749
|  | 1.8597 | 0.1671
|  | 1.8624 | 0.16678
|  | 1.8651 | 0.1662
|  | 1.8678 | 0.16632
|  | 1.8705 | 0.16648
|  | 1.8732 | 0.16576
|  | 1.8759 | 0.16486
|  | 1.8786 | 0.16406
|  | 1.8813 | 0.16337
|  | 1.8841 | 0.16318
|  | 1.8868 | 0.16351
|  | 1.8895 | 0.16319
|  | 1.8923 | 0.16217
|  | 1.8951 | 0.16172
|  | 1.8978 | 0.16134
|  | 1.9006 | 0.1615
|  | 1.9034 | 0.16139
|  | 1.9062 | 0.16031
|  | 1.909 | 0.16055
|  | 1.9118 | 0.16086
|  | 1.9147 | 0.15985
|  | 1.9175 | 0.15875
|  | 1.9203 | 0.15806
|  | 1.9232 | 0.15827
|  | 1.926 | 0.15854
|  | 1.9289 | 0.15754
|  | 1.9318 | 0.15658
|  | 1.9347 | 0.15664
|  | 1.9376 | 0.156
|  | 1.9405 | 0.15509
|  | 1.9434 | 0.15511
|  | 1.9463 | 0.15517
|  | 1.9492 | 0.15444
|  | 1.9522 | 0.15321
|  | 1.9551 | 0.153
|  | 1.9581 | 0.15341
|  | 1.961 | 0.15282
|  | 1.964 | 0.1518
|  | 1.967 | 0.15127
|  | 1.97 | 0.15062
|  | 1.9729 | 0.15004
|  | 1.976 | 0.14996
|  | 1.979 | 0.14968
|  | 1.982 | 0.1497
|  | 1.985 | 0.14936
|  | 1.9881 | 0.14782
|  | 1.9911 | 0.14714
|  | 1.9942 | 0.14771
|  | 1.9973 | 0.14719
|  | 2.0004 | 0.1465
|  | 2.0034 | 0.1467
|  | 2.0065 | 0.14563
|  | 2.0097 | 0.14474
|  | 2.0128 | 0.14468
|  | 2.0159 | 0.14427
|  | 2.0191 | 0.14432
|  | 2.0222 | 0.14369
|  | 2.0253 | 0.14243
|  | 2.0285 | 0.14192
|  | 2.0317 | 0.14143
|  | 2.0349 | 0.1414
|  | 2.0381 | 0.14143
|  | 2.0413 | 0.14088
|  | 2.0445 | 0.14053
|  | 2.0478 | 0.13968
|  | 2.051 | 0.13866
|  | 2.0542 | 0.13808
|  | 2.0575 | 0.13766
|  | 2.0608 | 0.13775
|  | 2.0641 | 0.13718
|  | 2.0673 | 0.13616
|  | 2.0707 | 0.13621
|  | 2.074 | 0.13628
|  | 2.0773 | 0.13535
|  | 2.0806 | 0.13448
|  | 2.084 | 0.13444
|  | 2.0873 | 0.13384
|  | 2.0907 | 0.13327
|  | 2.0941 | 0.13335
|  | 2.0974 | 0.1323
|  | 2.1008 | 0.13109
|  | 2.1043 | 0.13131
|  | 2.1077 | 0.13148
|  | 2.1111 | 0.13067
|  | 2.1146 | 0.12984
|  | 2.118 | 0.12913
|  | 2.1215 | 0.12906
|  | 2.125 | 0.1294
|  | 2.1284 | 0.12878
|  | 2.1319 | 0.12805
|  | 2.1355 | 0.12794
|  | 2.139 | 0.12702
|  | 2.1425 | 0.12613
|  | 2.1461 | 0.12636
|  | 2.1496 | 0.12647
|  | 2.1532 | 0.12567
|  | 2.1568 | 0.12493
|  | 2.1604 | 0.12467
|  | 2.164 | 0.12425
|  | 2.1676 | 0.12392
|  | 2.1712 | 0.12338
|  | 2.1749 | 0.12245
|  | 2.1785 | 0.1222
|  | 2.1822 | 0.12213
|  | 2.1859 | 0.12168
|  | 2.1896 | 0.12126
|  | 2.1933 | 0.1206
|  | 2.197 | 0.12026
|  | 2.2007 | 0.1197
|  | 2.2045 | 0.11932
|  | 2.2082 | 0.11969
|  | 2.212 | 0.11925
|  | 2.2158 | 0.11799
|  | 2.2196 | 0.11741
|  | 2.2234 | 0.11737
|  | 2.2272 | 0.11652
|  | 2.231 | 0.11638
|  | 2.2349 | 0.11684
|  | 2.2387 | 0.11628
|  | 2.2426 | 0.11607
|  | 2.2465 | 0.11527
|  | 2.2504 | 0.11363
|  | 2.2543 | 0.1139
|  | 2.2582 | 0.11452
|  | 2.2622 | 0.11346
|  | 2.2661 | 0.11245
|  | 2.2701 | 0.11203
|  | 2.2741 | 0.11211
|  | 2.2781 | 0.11172
|  | 2.2821 | 0.11089
|  | 2.2861 | 0.11066
|  | 2.2902 | 0.11041
|  | 2.2942 | 0.10979
|  | 2.2983 | 0.10916
|  | 2.3024 | 0.10881
|  | 2.3064 | 0.10805
|  | 2.3106 | 0.1074
|  | 2.3147 | 0.10773
|  | 2.3188 | 0.10785
|  | 2.323 | 0.10723
|  | 2.3272 | 0.10696
|  | 2.3313 | 0.10694
|  | 2.3355 | 0.10657
|  | 2.3398 | 0.10678
|  | 2.344 | 0.10744
|  | 2.3482 | 0.10677
|  | 2.3525 | 0.10633
|  | 2.3568 | 0.10689
|  | 2.3611 | 0.10695
|  | 2.3654 | 0.10723
|  | 2.3697 | 0.10737
|  | 2.374 | 0.10706
|  | 2.3784 | 0.10666
|  | 2.3828 | 0.10658
|  | 2.3872 | 0.10697
|  | 2.3916 | 0.10701
|  | 2.396 | 0.10687
|  | 2.4004 | 0.10663
|  | 2.4049 | 0.107
|  | 2.4093 | 0.10761
|  | 2.4138 | 0.10757
|  | 2.4183 | 0.10769
|  | 2.4228 | 0.10831
|  | 2.4274 | 0.10829
|  | 2.432 | 0.10744
|  | 2.4365 | 0.10772
|  | 2.4411 | 0.10851
|  | 2.4457 | 0.10878
|  | 2.4503 | 0.10886
|  | 2.455 | 0.10839
|  | 2.4596 | 0.10769
|  | 2.4643 | 0.10792
|  | 2.469 | 0.10826
|  | 2.4737 | 0.10722
|  | 2.4785 | 0.10681
|  | 2.4832 | 0.10707
|  | 2.488 | 0.10657
|  | 2.4927 | 0.10662
|  | 2.4975 | 0.10631
|  | 2.5024 | 0.10527
|  | 2.5072 | 0.10469
|  | 2.5121 | 0.10378
|  | 2.517 | 0.10354
|  | 2.5218 | 0.10343
|  | 2.5268 | 0.10252
|  | 2.5317 | 0.10201
|  | 2.5366 | 0.1012
|  | 2.5416 | 0.09986
|  | 2.5466 | 0.0984
|  | 2.5516 | 0.09681
|  | 2.5567 | 0.0955
|  | 2.5617 | 0.09382
|  | 2.5668 | 0.09245
|  | 2.5719 | 0.0922
|  | 2.577 | 0.09161
|  | 2.5821 | 0.09033
|  | 2.5873 | 0.08983
|  | 2.5924 | 0.08986
|  | 2.5976 | 0.08917
|  | 2.6029 | 0.08836
|  | 2.6081 | 0.08724
|  | 2.6134 | 0.08684
|  | 2.6186 | 0.08685
|  | 2.6239 | 0.08602
|  | 2.6293 | 0.08496
|  | 2.6346 | 0.08391
|  | 2.64 | 0.08331
|  | 2.6454 | 0.08328
|  | 2.6508 | 0.08299
|  | 2.6562 | 0.0823
|  | 2.6617 | 0.08223
|  | 2.6671 | 0.08251
|  | 2.6726 | 0.08225
|  | 2.6782 | 0.08121
|  | 2.6837 | 0.08052
|  | 2.6893 | 0.07998
|  | 2.6949 | 0.07934
|  | 2.7005 | 0.07954
|  | 2.7061 | 0.08027
|  | 2.7118 | 0.08025
|  | 2.7175 | 0.0803
|  | 2.7232 | 0.08158
|  | 2.7289 | 0.08135
|  | 2.7347 | 0.08129
|  | 2.7404 | 0.08368
|  | 2.7462 | 0.08612
|  | 2.7521 | 0.08787
|  | 2.7579 | 0.09021
|  | 2.7638 | 0.09409
|  | 2.7697 | 0.10112
|  | 2.7757 | 0.10824
|  | 2.7816 | 0.11533
|  | 2.7876 | 0.12507
|  | 2.7936 | 0.13372
|  | 2.7996 | 0.142
|  | 2.8057 | 0.15378
|  | 2.8118 | 0.16332
|  | 2.8179 | 0.17137
|  | 2.824 | 0.17951
|  | 2.8302 | 0.1859
|  | 2.8364 | 0.19332
|  | 2.8426 | 0.20037
|  | 2.8489 | 0.20528
|  | 2.8551 | 0.20789
|  | 2.8614 | 0.2083
|  | 2.8678 | 0.21264
|  | 2.8741 | 0.21959
|  | 2.8805 | 0.21773
|  | 2.8869 | 0.21797
|  | 2.8934 | 0.22318
|  | 2.8998 | 0.2236
|  | 2.9063 | 0.22453
|  | 2.9129 | 0.22624
|  | 2.9194 | 0.22584
|  | 2.926 | 0.2257
|  | 2.9326 | 0.22612
|  | 2.9393 | 0.22798
|  | 2.946 | 0.22986
|  | 2.9527 | 0.2293
|  | 2.9594 | 0.22717
|  | 2.9662 | 0.22602
|  | 2.973 | 0.22785
|  | 2.9798 | 0.22707
|  | 2.9867 | 0.22388
|  | 2.9936 | 0.224
|  | 3.0005 | 0.22572
|  | 3.0075 | 0.22589
|  | 3.0145 | 0.22229
|  | 3.0215 | 0.22033
|  | 3.0286 | 0.21982
|  | 3.0357 | 0.21704
|  | 3.0428 | 0.21696
|  | 3.0499 | 0.2151
|  | 3.0571 | 0.21219
|  | 3.0644 | 0.2122
|  | 3.0716 | 0.21039
|  | 3.0789 | 0.20565
|  | 3.0863 | 0.20203
|  | 3.0936 | 0.20255
|  | 3.101 | 0.19936
|  | 3.1085 | 0.19413
|  | 3.1159 | 0.19318
|  | 3.1234 | 0.19123
|  | 3.131 | 0.18695
|  | 3.1386 | 0.18271
|  | 3.1462 | 0.18146
|  | 3.1538 | 0.18069
|  | 3.1615 | 0.17714
|  | 3.1693 | 0.17387
|  | 3.177 | 0.17144
|  | 3.1848 | 0.16861
|  | 3.1927 | 0.16736
|  | 3.2006 | 0.16503
|  | 3.2085 | 0.16115
|  | 3.2164 | 0.16006
|  | 3.2245 | 0.15784
|  | 3.2325 | 0.15271
|  | 3.2406 | 0.14914
|  | 3.2487 | 0.14851
|  | 3.2569 | 0.14673
|  | 3.2651 | 0.14214
|  | 3.2733 | 0.13923
|  | 3.2816 | 0.13804
|  | 3.2899 | 0.13579
|  | 3.2983 | 0.13353
|  | 3.3067 | 0.13217
|  | 3.3152 | 0.13089
|  | 3.3237 | 0.12902
|  | 3.3322 | 0.12601
|  | 3.3408 | 0.1246
|  | 3.3494 | 0.12436
|  | 3.3581 | 0.12215
|  | 3.3668 | 0.12072
|  | 3.3756 | 0.11954
|  | 3.3844 | 0.11769
|  | 3.3933 | 0.11707
|  | 3.4022 | 0.11632
|  | 3.4111 | 0.11572
|  | 3.4201 | 0.11468
|  | 3.4292 | 0.11292
|  | 3.4383 | 0.11127
|  | 3.4474 | 0.10953
|  | 3.4566 | 0.10795
|  | 3.4659 | 0.10654
|  | 3.4751 | 0.105
|  | 3.4845 | 0.10389
|  | 3.4939 | 0.10435
|  | 3.5033 | 0.10363
|  | 3.5128 | 0.10127
|  | 3.5224 | 0.10087
|  | 3.532 | 0.1004
|  | 3.5416 | 0.09935
|  | 3.5513 | 0.09905
|  | 3.5611 | 0.09836
|  | 3.5709 | 0.0974
|  | 3.5807 | 0.09671
|  | 3.5907 | 0.0967
|  | 3.6006 | 0.09648
|  | 3.6107 | 0.09576
|  | 3.6208 | 0.09609
|  | 3.6309 | 0.09644
|  | 3.6411 | 0.09597
|  | 3.6513 | 0.09563
|  | 3.6617 | 0.09517
|  | 3.672 | 0.0954
|  | 3.6825 | 0.0955
|  | 3.693 | 0.09504
|  | 3.7035 | 0.09557
|  | 3.7141 | 0.09605
|  | 3.7248 | 0.09603
|  | 3.7355 | 0.09613
|  | 3.7463 | 0.09593
|  | 3.7572 | 0.09575
|  | 3.7681 | 0.09627
|  | 3.7791 | 0.09662
|  | 3.7901 | 0.09668
|  | 3.8013 | 0.09751
|  | 3.8124 | 0.09787
|  | 3.8237 | 0.09762
|  | 3.835 | 0.09797
|  | 3.8464 | 0.0985
|  | 3.8578 | 0.09913
|  | 3.8693 | 0.09972
|  | 3.8809 | 0.10043
|  | 3.8926 | 0.10171
|  | 3.9043 | 0.10246
|  | 3.9161 | 0.10271
|  | 3.928 | 0.10341
|  | 3.9399 | 0.1044
|  | 3.9519 | 0.10556
|  | 3.964 | 0.1065
|  | 3.9762 | 0.10766
|  | 3.9884 | 0.10853
|  | 4.0007 | 0.10879
|  | 4.0131 | 0.11005
|  | 4.0255 | 0.11173
|  | 4.0381 | 0.11292
|  | 4.0507 | 0.11417
|  | 4.0634 | 0.11546
|  | 4.0762 | 0.11679
|  | 4.089 | 0.11839
|  | 4.102 | 0.12061
|  | 4.115 | 0.12279
|  | 4.1281 | 0.12418
|  | 4.1413 | 0.12564
|  | 4.1546 | 0.12767
|  | 4.1679 | 0.13007
|  | 4.1814 | 0.13238
|  | 4.1949 | 0.13456
|  | 4.2085 | 0.13654
|  | 4.2222 | 0.13842
|  | 4.236 | 0.14221
|  | 4.2499 | 0.14549
|  | 4.2639 | 0.14789
|  | 4.278 | 0.15102
|  | 4.2921 | 0.15273
|  | 4.3064 | 0.15424
|  | 4.3208 | 0.15703
|  | 4.3352 | 0.15996
|  | 4.3498 | 0.16291
|  | 4.3644 | 0.16596
|  | 4.3792 | 0.1697
|  | 4.394 | 0.17427
|  | 4.4089 | 0.17863
|  | 4.424 | 0.18277
|  | 4.4391 | 0.18783
|  | 4.4544 | 0.19375
|  | 4.4698 | 0.19958
|  | 4.4852 | 0.20558
|  | 4.5008 | 0.21217
|  | 4.5165 | 0.21951
|  | 4.5323 | 0.22732
|  | 4.5482 | 0.23471
|  | 4.5642 | 0.24251
|  | 4.5803 | 0.25113
|  | 4.5965 | 0.26
|  | 4.6129 | 0.26852
|  | 4.6294 | 0.27659
|  | 4.646 | 0.28502
|  | 4.6627 | 0.29361
|  | 4.6795 | 0.30248
|  | 4.6965 | 0.31231
|  | 4.7135 | 0.32388
|  | 4.7308 | 0.33723
|  | 4.7481 | 0.35138
|  | 4.7655 | 0.36742
|  | 4.7831 | 0.38591
|  | 4.8008 | 0.40451
|  | 4.8187 | 0.4237
|  | 4.8367 | 0.44418
|  | 4.8548 | 0.46353
|  | 4.873 | 0.48202
|  | 4.8914 | 0.50055
|  | 4.91 | 0.52117
|  | 4.9286 | 0.5423
|  | 4.9474 | 0.56463
|  | 4.9664 | 0.59249
|  | 4.9855 | 0.61996
|  | 5.0047 | 0.65072
|  | 5.0241 | 0.68782
|  | 5.0437 | 0.71009
|  | 5.0634 | 0.75169
|  | 5.0832 | 0.79544
|  | 5.1033 | 0.80554
|  | 5.1234 | 0.91757
|  | 5.1438 | 0.94615
|  | 5.1643 | 1.0185
|  | 5.1849 | 1.0684
|  | 5.2057 | 1.122
|  | 5.2267 | 1.184
|  | 5.2479 | 1.2449
|  | 5.2692 | 1.3071
|  | 5.2907 | 1.3839
|  | 5.3124 | 1.459
|  | 5.3343 | 1.5307
|  | 5.3563 | 1.6286
|  | 5.3785 | 1.7193
|  | 5.4009 | 1.8035
|  | 5.4235 | 1.923
|  | 5.4463 | 2.261