## Item List
MIR Gas Spectroscopy using the Optical Spectrum Analyzer
| Metric Item # | Imperial Item # | Quantity | Item Description | Metric Features | Imperial Features
The application setup featured on our website at the URL below was built using a selection of imperial and universal items. This spreadsheet lists the components that should be purchased to build the setup from metric and universal items. When the Item # is the same, the product is universal. | SLS202L/M | SLS202L | 1 | Stabilized Fiber-Coupled Light Source, 450 nm - 5.5 µm | M6 Tap | 1/4"-20 Tap
| FB2000-500 |  | 1 | Ø1" Bandpass Filter, 2.0 µm CWL, 0.5 µm FWHM | -
| MZ21L1 |  | 1 | ZrF4 Multimode Fiber Patch Cable, SMA905 Connectors | -
| F028SMA-2000 |  | 1 | SMA905 Fiber Collimator, AR Coated: 1.8 - 3.0 µm | -
| POLARIS-K1 |  | 1 | Polaris™ Ø1" Kinematic Mirror Mount | -
| AD11NT |  | 1 | Unthreaded Adapter for Ø11 mm Cylindrical Components | -
| OSA203C |  | 1 | Optical Spectrum Analyzer, 1.0 - 2.6 µm | -
| TC200-EC* | TC200* | 2 | Temperature Controller | 230 VAC | 120 VAC
| MB3045/M | MB1218 | 1 | Aluminum Breadboard | 300 mm x 450 mm | 12" x 18"
URL | CF125C/M | CF125C | 3 | Clamping Fork with Captive Screw | M6 Cap Screw | 1/4"-20 Cap Screw
http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=5276&tabname=Gas Spectroscopy | RS50/M | RS2 | 6 | Pillar Post | Ø25.0 mm, Length = 50 mm | Ø1", Length = 2"
| RS75/M | RS3 | 1 | Pillar Post | Ø25.0 mm, Length = 75 mm | Ø1", Length = 3"
| RS100/M | RS4 | 2 | Pillar Post | Ø25.0 mm, Length = 100 mm | Ø1", Length = 4"
Photo | BA2F/M | BA2F | 9 | Flexure Clamping Base | Ø25.0 mm Double Bore | Ø1" Double Bore
| LB4374 |  | 1 | Uncoated, Ø1", f = 1000 mm Bi-Convex UV Fused Silica Lens | -
| CP33/M | CP33 | 1 | Post-Mountable, SM1-Threaded Cage Plate for Ø1" Optics | M4 Tap | 8-32 Tap
| CM750-200-M01 |  | 2 | Ø75 mm, f = 200 mm Protected Gold Concave Mirror | -
| KS3 |  | 2 | Kinematic Mount for Ø3" Mirrors | -
| VPCH512 |  | 2 | Ø2.75" CF Flange with CaF2 Window, 180 nm - 8.0 µm | -
| C1513/M | C1513 | 1 | Kinematic V-Clamp Mount | M6 Locking Handle | 1/4"-20 Locking Handle
| PM4/M | PM4 | 2 | Clamping Arm (One is Included with Each C1513 Mount) | M4 Threads | 6-32 Threads
| P150/M | P6 | 1 | Ø1.5" Mounting Post | Length = 150 mm | Length = 6"
Imperial vs. Metric Tutorial | PB2/M | PB2 | 1 | Base for Ø1.5" Mounting Posts | M6 Tap | 1/4"-20 Tap
http://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=9015 | PFD10-03-M01 |  | 1 | 1" Protected Gold D-Shaped Pickoff Mirror | -
| KM100D |  | 1 | Kinematic Mount for 1" D-Shaped Pickoff Mirrors | -
| MB1560/M | MB624 | 1 | Aluminum Breadboard | 150 mm x 600 mm | 6" x 24"
*This previous-generation item is not available for individual purchase.