## T150708
SN: | T150708
Item #: | PN980R3A2
Item Description: | 2x2 75:25 PM Narrowband Fiber Optic Coupler
Fiber Type: | Equivalent to PM 98-U25D
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 980
Insertion Loss (dB): | -1.43
Coupling Ratio (%): | 75.2
PER (dB): | 21
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 980
Insertion Loss (dB): | -6.24
Coupling Ratio (%): | 24.8
PER (dB): | 25