## ASE Spectrum
S9FC1082P Typical ASE Spectrum
|  | Wavelength (nm) | Intensity (dB)
|  | 1500 | -53.3691
|  | 1500.1999 | -53.3239
|  | 1500.4 | -53.3839
|  | 1500.6 | -53.3248
Product Raw Data |  | 1500.8001 | -53.2607
1600 - 1650 nm Booster Optical Amplifier, Polarization Maintaining |  | 1501 | -53.2577
|  | 1501.1999 | -53.2207
Item # | S9FC1082P | 1501.4 | -53.1037
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1501.6 | -53.067
|  | 1501.8001 | -53.0526
|  | 1502 | -53.0104
|  | 1502.1999 | -52.9838
|  | 1502.4 | -52.8801
|  | 1502.6 | -52.9324
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1502.8001 | -52.9158
|  | 1503 | -52.8327
|  | 1503.1999 | -52.7431
Additional Information: |  | 1503.4 | -52.7462
I = 600 mA |  | 1503.6 | -52.6631
|  | 1503.8001 | -52.5829
|  | 1504 | -52.5189
|  | 1504.1999 | -52.5689
|  | 1504.4 | -52.4866
|  | 1504.6 | -52.4601
|  | 1504.8001 | -52.4755
|  | 1505 | -52.4274
|  | 1505.1999 | -52.3039
|  | 1505.4 | -52.2499
|  | 1505.6 | -52.2227
|  | 1505.8001 | -52.1674
|  | 1506 | -52.0939
|  | 1506.1999 | -52.0982
|  | 1506.4 | -52.0631
|  | 1506.6 | -52.0962
|  | 1506.8001 | -52.0158
|  | 1507 | -51.9477
|  | 1507.1999 | -51.9312
|  | 1507.4 | -51.8747
|  | 1507.6 | -51.7606
|  | 1507.8001 | -51.6905
|  | 1508 | -51.6848
|  | 1508.1999 | -51.6176
|  | 1508.4 | -51.5648
|  | 1508.6 | -51.6058
|  | 1508.8001 | -51.5951
|  | 1509 | -51.4977
|  | 1509.1999 | -51.4336
|  | 1509.4 | -51.3841
|  | 1509.6 | -51.3321
|  | 1509.8001 | -51.2676
|  | 1510 | -51.2078
|  | 1510.1999 | -51.1922
|  | 1510.4 | -51.2134
|  | 1510.6 | -51.1586
|  | 1510.8001 | -51.0983
|  | 1511 | -51.0692
|  | 1511.1999 | -51.0075
|  | 1511.4 | -50.916
|  | 1511.6 | -50.8643
|  | 1511.8001 | -50.8398
|  | 1512 | -50.7629
|  | 1512.1999 | -50.7356
|  | 1512.4 | -50.6927
|  | 1512.6 | -50.6827
|  | 1512.8001 | -50.6571
|  | 1513 | -50.6272
|  | 1513.1999 | -50.5432
|  | 1513.4 | -50.5155
|  | 1513.6 | -50.4336
|  | 1513.8001 | -50.3289
|  | 1514 | -50.3235
|  | 1514.1999 | -50.2655
|  | 1514.4 | -50.2245
|  | 1514.6 | -50.2182
|  | 1514.8001 | -50.2195
|  | 1515 | -50.1458
|  | 1515.1999 | -50.063
|  | 1515.4 | -50.0188
|  | 1515.6 | -49.9517
|  | 1515.8001 | -49.8948
|  | 1516 | -49.858
|  | 1516.1999 | -49.848
|  | 1516.4 | -49.8049
|  | 1516.6 | -49.7914
|  | 1516.8001 | -49.7433
|  | 1517 | -49.7287
|  | 1517.1999 | -49.6706
|  | 1517.4 | -49.5945
|  | 1517.6 | -49.5197
|  | 1517.8001 | -49.4875
|  | 1518 | -49.4023
|  | 1518.1999 | -49.3321
|  | 1518.4 | -49.329
|  | 1518.6 | -49.3053
|  | 1518.8001 | -49.2527
|  | 1519 | -49.208
|  | 1519.1999 | -49.191
|  | 1519.4 | -49.1137
|  | 1519.6 | -49.0514
|  | 1519.8001 | -48.9835
|  | 1520 | -48.9316
|  | 1520.1999 | -48.9062
|  | 1520.4 | -48.8749
|  | 1520.6 | -48.8669
|  | 1520.8001 | -48.8534
|  | 1521 | -48.801
|  | 1521.1999 | -48.734
|  | 1521.4 | -48.6983
|  | 1521.6 | -48.6406
|  | 1521.8001 | -48.5515
|  | 1522 | -48.5085
|  | 1522.1999 | -48.4726
|  | 1522.4 | -48.4229
|  | 1522.6 | -48.3794
|  | 1522.8001 | -48.3779
|  | 1523 | -48.3584
|  | 1523.1999 | -48.3216
|  | 1523.4 | -48.2604
|  | 1523.6 | -48.1957
|  | 1523.8001 | -48.1307
|  | 1524 | -48.0659
|  | 1524.1999 | -47.9866
|  | 1524.4 | -47.978
|  | 1524.6 | -47.9488
|  | 1524.8001 | -47.9177
|  | 1525 | -47.9023
|  | 1525.1999 | -47.8721
|  | 1525.4 | -47.7942
|  | 1525.6 | -47.724
|  | 1525.8001 | -47.6848
|  | 1526 | -47.6041
|  | 1526.1999 | -47.5807
|  | 1526.4 | -47.5226
|  | 1526.6 | -47.4804
|  | 1526.8001 | -47.4725
|  | 1527 | -47.4391
|  | 1527.1999 | -47.4193
|  | 1527.4 | -47.3854
|  | 1527.6 | -47.3485
|  | 1527.8001 | -47.2439
|  | 1528 | -47.1819
|  | 1528.1999 | -47.1319
|  | 1528.4 | -47.0492
|  | 1528.6 | -47.0273
|  | 1528.8001 | -47.0077
|  | 1529 | -46.9937
|  | 1529.1999 | -46.9655
|  | 1529.4 | -46.9285
|  | 1529.6 | -46.8743
|  | 1529.8001 | -46.8214
|  | 1530 | -46.7317
|  | 1530.1999 | -46.6726
|  | 1530.4 | -46.6504
|  | 1530.6 | -46.6244
|  | 1530.8001 | -46.5913
|  | 1531 | -46.5905
|  | 1531.1999 | -46.5684
|  | 1531.4 | -46.5481
|  | 1531.6 | -46.4874
|  | 1531.8001 | -46.4457
|  | 1532 | -46.3623
|  | 1532.1999 | -46.2961
|  | 1532.4 | -46.2292
|  | 1532.6 | -46.1834
|  | 1532.8001 | -46.1557
|  | 1533 | -46.1182
|  | 1533.1999 | -46.1182
|  | 1533.4 | -46.0841
|  | 1533.6 | -46.0375
|  | 1533.8001 | -45.986
|  | 1534 | -45.9268
|  | 1534.1999 | -45.8594
|  | 1534.4 | -45.8035
|  | 1534.6 | -45.7625
|  | 1534.8001 | -45.7542
|  | 1535 | -45.7274
|  | 1535.1999 | -45.7151
|  | 1535.4 | -45.7082
|  | 1535.6 | -45.6644
|  | 1535.8001 | -45.6264
|  | 1536 | -45.5664
|  | 1536.1999 | -45.5009
|  | 1536.4 | -45.4239
|  | 1536.6 | -45.3526
|  | 1536.8001 | -45.3103
|  | 1537 | -45.2867
|  | 1537.1999 | -45.2575
|  | 1537.4 | -45.2359
|  | 1537.6 | -45.2268
|  | 1537.8001 | -45.1777
|  | 1538 | -45.1125
|  | 1538.1999 | -45.059
|  | 1538.4 | -44.9838
|  | 1538.6 | -44.9219
|  | 1538.8001 | -44.8894
|  | 1539 | -44.8672
|  | 1539.1999 | -44.8497
|  | 1539.4 | -44.8413
|  | 1539.6 | -44.835
|  | 1539.8001 | -44.8043
|  | 1540 | -44.7597
|  | 1540.1999 | -44.6813
|  | 1540.4 | -44.6129
|  | 1540.6 | -44.5574
|  | 1540.8001 | -44.4852
|  | 1541 | -44.4448
|  | 1541.1999 | -44.4135
|  | 1541.4 | -44.3989
|  | 1541.6 | -44.3708
|  | 1541.8001 | -44.3513
|  | 1542 | -44.3058
|  | 1542.1999 | -44.2637
|  | 1542.4 | -44.2062
|  | 1542.6 | -44.1415
|  | 1542.8001 | -44.0823
|  | 1543 | -44.0339
|  | 1543.1999 | -44.0135
|  | 1543.4 | -44.0088
|  | 1543.6 | -43.9997
|  | 1543.8001 | -43.9937
|  | 1544 | -43.9667
|  | 1544.1999 | -43.9296
|  | 1544.4 | -43.8586
|  | 1544.6 | -43.7885
|  | 1544.8001 | -43.7138
|  | 1545 | -43.6523
|  | 1545.1999 | -43.6123
|  | 1545.4 | -43.5782
|  | 1545.6 | -43.5693
|  | 1545.8001 | -43.55
|  | 1546 | -43.5217
|  | 1546.1999 | -43.484
|  | 1546.4 | -43.435
|  | 1546.6 | -43.3748
|  | 1546.8001 | -43.3178
|  | 1547 | -43.2623
|  | 1547.1999 | -43.2143
|  | 1547.4 | -43.1783
|  | 1547.6 | -43.1713
|  | 1547.8001 | -43.1553
|  | 1548 | -43.1517
|  | 1548.1999 | -43.1391
|  | 1548.4 | -43.1072
|  | 1548.6 | -43.0524
|  | 1548.8001 | -42.9908
|  | 1549 | -42.9075
|  | 1549.1999 | -42.8486
|  | 1549.4 | -42.7986
|  | 1549.6 | -42.7634
|  | 1549.8001 | -42.7551
|  | 1550 | -42.7453
|  | 1550.1999 | -42.7227
|  | 1550.4 | -42.7008
|  | 1550.6 | -42.6513
|  | 1550.8001 | -42.5843
|  | 1551 | -42.5227
|  | 1551.1999 | -42.4669
|  | 1551.4 | -42.4163
|  | 1551.6 | -42.3899
|  | 1551.8001 | -42.3769
|  | 1552 | -42.3646
|  | 1552.1999 | -42.3564
|  | 1552.4 | -42.3367
|  | 1552.6 | -42.3181
|  | 1552.8001 | -42.2669
|  | 1553 | -42.2045
|  | 1553.1999 | -42.1425
|  | 1553.4 | -42.0777
|  | 1553.6 | -42.0066
|  | 1553.8001 | -41.9638
|  | 1554 | -41.9447
|  | 1554.1999 | -41.9357
|  | 1554.4 | -41.9252
|  | 1554.6 | -41.9127
|  | 1554.8001 | -41.8737
|  | 1555 | -41.8168
|  | 1555.1999 | -41.7524
|  | 1555.4 | -41.6911
|  | 1555.6 | -41.6337
|  | 1555.8001 | -41.6024
|  | 1556 | -41.5839
|  | 1556.1999 | -41.5846
|  | 1556.4 | -41.5778
|  | 1556.6 | -41.5703
|  | 1556.8001 | -41.5549
|  | 1557 | -41.5172
|  | 1557.1999 | -41.467
|  | 1557.4 | -41.4074
|  | 1557.6 | -41.3467
|  | 1557.8001 | -41.2824
|  | 1558 | -41.2336
|  | 1558.1999 | -41.2011
|  | 1558.4 | -41.1839
|  | 1558.6 | -41.1845
|  | 1558.8001 | -41.1713
|  | 1559 | -41.1538
|  | 1559.1999 | -41.1147
|  | 1559.4 | -41.0571
|  | 1559.6 | -40.9954
|  | 1559.8001 | -40.9309
|  | 1560 | -40.8793
|  | 1560.1999 | -40.8613
|  | 1560.4 | -40.8476
|  | 1560.6 | -40.8454
|  | 1560.8001 | -40.844
|  | 1561 | -40.8361
|  | 1561.1999 | -40.8062
|  | 1561.4 | -40.7639
|  | 1561.6 | -40.7117
|  | 1561.8001 | -40.651
|  | 1562 | -40.5946
|  | 1562.1999 | -40.5427
|  | 1562.4 | -40.508
|  | 1562.6 | -40.4889
|  | 1562.8001 | -40.4773
|  | 1563 | -40.4774
|  | 1563.1999 | -40.468
|  | 1563.4 | -40.4506
|  | 1563.6 | -40.4167
|  | 1563.8001 | -40.3598
|  | 1564 | -40.2894
|  | 1564.1999 | -40.2313
|  | 1564.4 | -40.1842
|  | 1564.6 | -40.1584
|  | 1564.8001 | -40.1476
|  | 1565 | -40.1568
|  | 1565.1999 | -40.159
|  | 1565.4 | -40.144
|  | 1565.6 | -40.1138
|  | 1565.8001 | -40.0701
|  | 1566 | -40.0123
|  | 1566.1999 | -39.9507
|  | 1566.4 | -39.9008
|  | 1566.6 | -39.8719
|  | 1566.8001 | -39.8428
|  | 1567 | -39.8359
|  | 1567.1999 | -39.8333
|  | 1567.4 | -39.8327
|  | 1567.6 | -39.8302
|  | 1567.8001 | -39.8063
|  | 1568 | -39.7623
|  | 1568.1999 | -39.7127
|  | 1568.4 | -39.6494
|  | 1568.6 | -39.5901
|  | 1568.8001 | -39.5377
|  | 1569 | -39.5079
|  | 1569.1999 | -39.4991
|  | 1569.4 | -39.497
|  | 1569.6 | -39.5011
|  | 1569.8001 | -39.4905
|  | 1570 | -39.4684
|  | 1570.1999 | -39.4247
|  | 1570.4 | -39.3657
|  | 1570.6 | -39.309
|  | 1570.8001 | -39.2603
|  | 1571 | -39.2333
|  | 1571.1999 | -39.2208
|  | 1571.4 | -39.2194
|  | 1571.6 | -39.2285
|  | 1571.8001 | -39.2372
|  | 1572 | -39.2254
|  | 1572.1999 | -39.1977
|  | 1572.4 | -39.1559
|  | 1572.6 | -39.1043
|  | 1572.8001 | -39.0431
|  | 1573 | -38.9831
|  | 1573.1999 | -38.9407
|  | 1573.4 | -38.9119
|  | 1573.6 | -38.8929
|  | 1573.8001 | -38.8948
|  | 1574 | -38.8911
|  | 1574.1999 | -38.8826
|  | 1574.4 | -38.8608
|  | 1574.6 | -38.8167
|  | 1574.8001 | -38.7675
|  | 1575 | -38.707
|  | 1575.1999 | -38.6594
|  | 1575.4 | -38.62
|  | 1575.6 | -38.6033
|  | 1575.8001 | -38.6107
|  | 1576 | -38.6224
|  | 1576.1999 | -38.6271
|  | 1576.4 | -38.6245
|  | 1576.6 | -38.6031
|  | 1576.8001 | -38.5584
|  | 1577 | -38.5009
|  | 1577.1999 | -38.4438
|  | 1577.4 | -38.3966
|  | 1577.6 | -38.3605
|  | 1577.8001 | -38.3387
|  | 1578 | -38.3399
|  | 1578.1999 | -38.3412
|  | 1578.4 | -38.3442
|  | 1578.6 | -38.3372
|  | 1578.8001 | -38.3191
|  | 1579 | -38.2877
|  | 1579.1999 | -38.2427
|  | 1579.4 | -38.1854
|  | 1579.6 | -38.1328
|  | 1579.8001 | -38.09
|  | 1580 | -38.0613
|  | 1580.1999 | -38.0505
|  | 1580.4 | -38.0572
|  | 1580.6 | -38.0711
|  | 1580.8001 | -38.0708
|  | 1581 | -38.0532
|  | 1581.1999 | -38.0178
|  | 1581.4 | -37.9676
|  | 1581.6 | -37.9061
|  | 1581.8001 | -37.8517
|  | 1582 | -37.8207
|  | 1582.1999 | -37.8094
|  | 1582.4 | -37.817
|  | 1582.6 | -37.8313
|  | 1582.8001 | -37.8437
|  | 1583 | -37.8447
|  | 1583.1999 | -37.8309
|  | 1583.4 | -37.7957
|  | 1583.6 | -37.7529
|  | 1583.8001 | -37.7053
|  | 1584 | -37.6521
|  | 1584.1999 | -37.607
|  | 1584.4 | -37.5786
|  | 1584.6 | -37.5613
|  | 1584.8001 | -37.5586
|  | 1585 | -37.5626
|  | 1585.1999 | -37.5705
|  | 1585.4 | -37.5726
|  | 1585.6 | -37.5521
|  | 1585.8001 | -37.5139
|  | 1586 | -37.4623
|  | 1586.1999 | -37.4106
|  | 1586.4 | -37.3697
|  | 1586.6 | -37.3459
|  | 1586.8001 | -37.3438
|  | 1587 | -37.3629
|  | 1587.1999 | -37.3839
|  | 1587.4 | -37.3895
|  | 1587.6 | -37.3831
|  | 1587.8001 | -37.3565
|  | 1588 | -37.3099
|  | 1588.1999 | -37.2578
|  | 1588.4 | -37.2469
|  | 1588.6 | -37.1717
|  | 1588.8001 | -37.1335
|  | 1589 | -37.1205
|  | 1589.1999 | -37.1191
|  | 1589.4 | -37.137
|  | 1589.6 | -37.1328
|  | 1589.8001 | -37.1429
|  | 1590 | -37.1382
|  | 1590.1999 | -37.1108
|  | 1590.4 | -37.0704
|  | 1590.6 | -37.0063
|  | 1590.8001 | -36.9464
|  | 1591 | -36.9008
|  | 1591.1999 | -36.8753
|  | 1591.4 | -36.8686
|  | 1591.6 | -36.8845
|  | 1591.8001 | -36.9037
|  | 1592 | -36.9052
|  | 1592.1999 | -36.8859
|  | 1592.4 | -36.8542
|  | 1592.6 | -36.8067
|  | 1592.8001 | -36.7516
|  | 1593 | -36.7156
|  | 1593.1999 | -36.6908
|  | 1593.4 | -36.6865
|  | 1593.6 | -36.6929
|  | 1593.8001 | -36.6999
|  | 1594 | -36.7158
|  | 1594.1999 | -36.7252
|  | 1594.4 | -36.7123
|  | 1594.6 | -36.7019
|  | 1594.8001 | -36.6643
|  | 1595 | -36.6182
|  | 1595.1999 | -36.5685
|  | 1595.4 | -36.5093
|  | 1595.6 | -36.4801
|  | 1595.8001 | -36.4747
|  | 1596 | -36.4708
|  | 1596.1999 | -36.4971
|  | 1596.4 | -36.5182
|  | 1596.6 | -36.5252
|  | 1596.8001 | -36.5114
|  | 1597 | -36.4695
|  | 1597.1999 | -36.4146
|  | 1597.4 | -36.3612
|  | 1597.6 | -36.3194
|  | 1597.8001 | -36.2894
|  | 1598 | -36.2841
|  | 1598.1999 | -36.2784
|  | 1598.4 | -36.2844
|  | 1598.6 | -36.2922
|  | 1598.8001 | -36.2889
|  | 1599 | -36.2766
|  | 1599.1999 | -36.2435
|  | 1599.4 | -36.2162
|  | 1599.6 | -36.1748
|  | 1599.8001 | -36.1345
|  | 1600 | -36.1057
|  | 1600.1999 | -36.0948
|  | 1600.4 | -36.1036
|  | 1600.6 | -36.1133
|  | 1600.8001 | -36.1368
|  | 1601 | -36.1634
|  | 1601.1999 | -36.1676
|  | 1601.4 | -36.1508
|  | 1601.6 | -36.1096
|  | 1601.8001 | -36.0762
|  | 1602 | -36.0116
|  | 1602.1999 | -35.9673
|  | 1602.4 | -35.9368
|  | 1602.6 | -35.9274
|  | 1602.8001 | -35.9338
|  | 1603 | -35.9539
|  | 1603.1999 | -35.9719
|  | 1603.4 | -35.9779
|  | 1603.6 | -35.9642
|  | 1603.8001 | -35.9446
|  | 1604 | -35.8995
|  | 1604.1999 | -35.8585
|  | 1604.4 | -35.8077
|  | 1604.6 | -35.7772
|  | 1604.8001 | -35.7636
|  | 1605 | -35.7652
|  | 1605.1999 | -35.7779
|  | 1605.4 | -35.7871
|  | 1605.6 | -35.7958
|  | 1605.8001 | -35.7954
|  | 1606 | -35.7716
|  | 1606.1999 | -35.7442
|  | 1606.4 | -35.6974
|  | 1606.6 | -35.6566
|  | 1606.8001 | -35.6197
|  | 1607 | -35.6024
|  | 1607.1999 | -35.6075
|  | 1607.4 | -35.614
|  | 1607.6 | -35.6387
|  | 1607.8001 | -35.6608
|  | 1608 | -35.6664
|  | 1608.1999 | -35.6582
|  | 1608.4 | -35.634
|  | 1608.6 | -35.6035
|  | 1608.8001 | -35.551
|  | 1609 | -35.505
|  | 1609.1999 | -35.4808
|  | 1609.4 | -35.4654
|  | 1609.6 | -35.4808
|  | 1609.8001 | -35.5023
|  | 1610 | -35.5299
|  | 1610.1999 | -35.5494
|  | 1610.4 | -35.5508
|  | 1610.6 | -35.5397
|  | 1610.8001 | -35.4977
|  | 1611 | -35.4594
|  | 1611.1999 | -35.4161
|  | 1611.4 | -35.3764
|  | 1611.6 | -35.3506
|  | 1611.8001 | -35.3513
|  | 1612 | -35.3543
|  | 1612.1999 | -35.367
|  | 1612.4 | -35.3822
|  | 1612.6 | -35.3819
|  | 1612.8001 | -35.3838
|  | 1613 | -35.3694
|  | 1613.1999 | -35.3415
|  | 1613.4 | -35.3123
|  | 1613.6 | -35.271
|  | 1613.8001 | -35.2399
|  | 1614 | -35.2285
|  | 1614.1999 | -35.2355
|  | 1614.4 | -35.2621
|  | 1614.6 | -35.2918
|  | 1614.8001 | -35.3191
|  | 1615 | -35.3208
|  | 1615.1999 | -35.3067
|  | 1615.4 | -35.2684
|  | 1615.6 | -35.2293
|  | 1615.8001 | -35.1879
|  | 1616 | -35.1555
|  | 1616.1999 | -35.1575
|  | 1616.4 | -35.1575
|  | 1616.6 | -35.1823
|  | 1616.8001 | -35.2106
|  | 1617 | -35.2253
|  | 1617.1999 | -35.2455
|  | 1617.4 | -35.2507
|  | 1617.6 | -35.2407
|  | 1617.8001 | -35.2197
|  | 1618 | -35.2013
|  | 1618.1999 | -35.1655
|  | 1618.4 | -35.1283
|  | 1618.6 | -35.0992
|  | 1618.8001 | -35.1017
|  | 1619 | -35.1134
|  | 1619.1999 | -35.1431
|  | 1619.4 | -35.1728
|  | 1619.6 | -35.1986
|  | 1619.8001 | -35.1977
|  | 1620 | -35.1879
|  | 1620.1999 | -35.1467
|  | 1620.4 | -35.1016
|  | 1620.6 | -35.0597
|  | 1620.8001 | -35.0413
|  | 1621 | -35.033
|  | 1621.1999 | -35.0485
|  | 1621.4 | -35.0738
|  | 1621.6 | -35.09
|  | 1621.8001 | -35.1095
|  | 1622 | -35.1037
|  | 1622.1999 | -35.0971
|  | 1622.4 | -35.0789
|  | 1622.6 | -35.0624
|  | 1622.8001 | -35.0459
|  | 1623 | -35.022
|  | 1623.1999 | -35.0177
|  | 1623.4 | -35.0156
|  | 1623.6 | -35.0291
|  | 1623.8001 | -35.051
|  | 1624 | -35.0917
|  | 1624.1999 | -35.1252
|  | 1624.4 | -35.1374
|  | 1624.6 | -35.1456
|  | 1624.8001 | -35.1186
|  | 1625 | -35.0772
|  | 1625.1999 | -35.0467
|  | 1625.4 | -35.0196
|  | 1625.6 | -35.0104
|  | 1625.8001 | -35.0233
|  | 1626 | -35.0596
|  | 1626.1999 | -35.1009
|  | 1626.4 | -35.1336
|  | 1626.6 | -35.1525
|  | 1626.8001 | -35.1581
|  | 1627 | -35.1493
|  | 1627.1999 | -35.1313
|  | 1627.4 | -35.1036
|  | 1627.6 | -35.0806
|  | 1627.8001 | -35.0673
|  | 1628 | -35.0618
|  | 1628.1999 | -35.0642
|  | 1628.4 | -35.0749
|  | 1628.6 | -35.1072
|  | 1628.8001 | -35.1348
|  | 1629 | -35.1614
|  | 1629.1999 | -35.1851
|  | 1629.4 | -35.1846
|  | 1629.6 | -35.1709
|  | 1629.8001 | -35.1535
|  | 1630 | -35.1226
|  | 1630.1999 | -35.1018
|  | 1630.4 | -35.1015
|  | 1630.6 | -35.1229
|  | 1630.8001 | -35.1482
|  | 1631 | -35.1867
|  | 1631.1999 | -35.2222
|  | 1631.4 | -35.2496
|  | 1631.6 | -35.2555
|  | 1631.8001 | -35.2524
|  | 1632 | -35.2343
|  | 1632.1999 | -35.2199
|  | 1632.4 | -35.2166
|  | 1632.6 | -35.2149
|  | 1632.8001 | -35.2311
|  | 1633 | -35.2536
|  | 1633.1999 | -35.2893
|  | 1633.4 | -35.3287
|  | 1633.6 | -35.3688
|  | 1633.8001 | -35.4053
|  | 1634 | -35.4179
|  | 1634.1999 | -35.4219
|  | 1634.4 | -35.4074
|  | 1634.6 | -35.399
|  | 1634.8001 | -35.3827
|  | 1635 | -35.3924
|  | 1635.1999 | -35.4148
|  | 1635.4 | -35.448
|  | 1635.6 | -35.5067
|  | 1635.8001 | -35.5626
|  | 1636 | -35.6027
|  | 1636.1999 | -35.6429
|  | 1636.4 | -35.6608
|  | 1636.6 | -35.6624
|  | 1636.8001 | -35.6531
|  | 1637 | -35.6445
|  | 1637.1999 | -35.645
|  | 1637.4 | -35.6545
|  | 1637.6 | -35.6694
|  | 1637.8001 | -35.716
|  | 1638 | -35.7551
|  | 1638.1999 | -35.8133
|  | 1638.4 | -35.8803
|  | 1638.6 | -35.9207
|  | 1638.8001 | -35.9442
|  | 1639 | -35.9662
|  | 1639.1999 | -35.9623
|  | 1639.4 | -35.9427
|  | 1639.6 | -35.9502
|  | 1639.8001 | -35.9602
|  | 1640 | -35.9841
|  | 1640.1999 | -36.033
|  | 1640.4 | -36.0941
|  | 1640.6 | -36.1328
|  | 1640.8001 | -36.1826
|  | 1641 | -36.2268
|  | 1641.1999 | -36.248
|  | 1641.4 | -36.2555
|  | 1641.6 | -36.2578
|  | 1641.8001 | -36.277
|  | 1642 | -36.284
|  | 1642.1999 | -36.3001
|  | 1642.4 | -36.3277
|  | 1642.6 | -36.3598
|  | 1642.8001 | -36.4055
|  | 1643 | -36.4474
|  | 1643.1999 | -36.4996
|  | 1643.4 | -36.5455
|  | 1643.6 | -36.5764
|  | 1643.8001 | -36.5999
|  | 1644 | -36.6033
|  | 1644.1999 | -36.5972
|  | 1644.4 | -36.597
|  | 1644.6 | -36.6049
|  | 1644.8001 | -36.6338
|  | 1645 | -36.6928
|  | 1645.1999 | -36.7578
|  | 1645.4 | -36.8133
|  | 1645.6 | -36.855
|  | 1645.8001 | -36.892
|  | 1646 | -36.8969
|  | 1646.1999 | -36.8994
|  | 1646.4 | -36.8998
|  | 1646.6 | -36.8986
|  | 1646.8001 | -36.9023
|  | 1647 | -36.9389
|  | 1647.1999 | -36.9525
|  | 1647.4 | -36.9748
|  | 1647.6 | -37.0138
|  | 1647.8001 | -37.0536
|  | 1648 | -37.1004
|  | 1648.1999 | -37.1314
|  | 1648.4 | -37.1675
|  | 1648.6 | -37.1681
|  | 1648.8001 | -37.1711
|  | 1649 | -37.1472
|  | 1649.1999 | -37.1367
|  | 1649.4 | -37.1228
|  | 1649.6 | -37.1302
|  | 1649.8001 | -37.1633
|  | 1650 | -37.2023
|  | 1650.1999 | -37.2646
|  | 1650.4 | -37.3047
|  | 1650.6 | -37.3315
|  | 1650.8001 | -37.3463
|  | 1651 | -37.3413
|  | 1651.1999 | -37.3176
|  | 1651.4 | -37.2835
|  | 1651.6 | -37.2881
|  | 1651.8001 | -37.2926
|  | 1652 | -37.3165
|  | 1652.1999 | -37.3239
|  | 1652.4 | -37.3546
|  | 1652.6 | -37.3743
|  | 1652.8001 | -37.3891
|  | 1653 | -37.425
|  | 1653.1999 | -37.4404
|  | 1653.4 | -37.4661
|  | 1653.6 | -37.4414
|  | 1653.8001 | -37.4374
|  | 1654 | -37.4051
|  | 1654.1999 | -37.41
|  | 1654.4 | -37.3694
|  | 1654.6 | -37.3994
|  | 1654.8001 | -37.387
|  | 1655 | -37.4595
|  | 1655.1999 | -37.5179
|  | 1655.4 | -37.5484
|  | 1655.6 | -37.5607
|  | 1655.8001 | -37.5586
|  | 1656 | -37.5389
|  | 1656.1999 | -37.5124
|  | 1656.4 | -37.5029
|  | 1656.6 | -37.4968
|  | 1656.8001 | -37.512
|  | 1657 | -37.5292
|  | 1657.1999 | -37.5457
|  | 1657.4 | -37.5664
|  | 1657.6 | -37.5856
|  | 1657.8001 | -37.6029
|  | 1658 | -37.6236
|  | 1658.1999 | -37.6263
|  | 1658.4 | -37.6395
|  | 1658.6 | -37.6364
|  | 1658.8001 | -37.6245
|  | 1659 | -37.6064
|  | 1659.1999 | -37.5993
|  | 1659.4 | -37.593
|  | 1659.6 | -37.6037
|  | 1659.8001 | -37.6313
|  | 1660 | -37.6776
|  | 1660.1999 | -37.7121
|  | 1660.4 | -37.7334
|  | 1660.6 | -37.7532
|  | 1660.8001 | -37.7403
|  | 1661 | -37.7168
|  | 1661.1999 | -37.7015
|  | 1661.4 | -37.6987
|  | 1661.6 | -37.6919
|  | 1661.8001 | -37.7238
|  | 1662 | -37.7515
|  | 1662.1999 | -37.7777
|  | 1662.4 | -37.8047
|  | 1662.6 | -37.8195
|  | 1662.8001 | -37.839
|  | 1663 | -37.8402
|  | 1663.1999 | -37.857
|  | 1663.4 | -37.864
|  | 1663.6 | -37.8509
|  | 1663.8001 | -37.8417
|  | 1664 | -37.8472
|  | 1664.1999 | -37.8364
|  | 1664.4 | -37.8499
|  | 1664.6 | -37.8738
|  | 1664.8001 | -37.9078
|  | 1665 | -37.9429
|  | 1665.1999 | -37.9724
|  | 1665.4 | -38.012
|  | 1665.6 | -38.0194
|  | 1665.8001 | -37.999
|  | 1666 | -37.9871
|  | 1666.1999 | -37.9688
|  | 1666.4 | -37.9553
|  | 1666.6 | -37.9744
|  | 1666.8001 | -37.9938
|  | 1667 | -38.0466
|  | 1667.1999 | -38.0731
|  | 1667.4 | -38.1015
|  | 1667.6 | -38.1439
|  | 1667.8001 | -38.1536
|  | 1668 | -38.1508
|  | 1668.1999 | -38.1728
|  | 1668.4 | -38.1598
|  | 1668.6 | -38.1631
|  | 1668.8001 | -38.1619
|  | 1669 | -38.1578
|  | 1669.1999 | -38.1636
|  | 1669.4 | -38.1663
|  | 1669.6 | -38.2103
|  | 1669.8001 | -38.2377
|  | 1670 | -38.2756
|  | 1670.1999 | -38.3201
|  | 1670.4 | -38.3322
|  | 1670.6 | -38.3416
|  | 1670.8001 | -38.3351
|  | 1671 | -38.3162
|  | 1671.1999 | -38.3108
|  | 1671.4 | -38.3283
|  | 1671.6 | -38.3234
|  | 1671.8001 | -38.3623
|  | 1672 | -38.3786
|  | 1672.1999 | -38.4371
|  | 1672.4 | -38.4694
|  | 1672.6 | -38.4808
|  | 1672.8001 | -38.5116
|  | 1673 | -38.5397
|  | 1673.1999 | -38.5457
|  | 1673.4 | -38.5588
|  | 1673.6 | -38.5482
|  | 1673.8001 | -38.5519
|  | 1674 | -38.5388
|  | 1674.1999 | -38.5563
|  | 1674.4 | -38.5843
|  | 1674.6 | -38.6068
|  | 1674.8001 | -38.6579
|  | 1675 | -38.7051
|  | 1675.1999 | -38.7575
|  | 1675.4 | -38.7656
|  | 1675.6 | -38.7852
|  | 1675.8001 | -38.7851
|  | 1676 | -38.7644
|  | 1676.1999 | -38.7638
|  | 1676.4 | -38.7875
|  | 1676.6 | -38.8122
|  | 1676.8001 | -38.8562
|  | 1677 | -38.8962
|  | 1677.1999 | -38.9419
|  | 1677.4 | -38.966
|  | 1677.6 | -38.9921
|  | 1677.8001 | -39.0208
|  | 1678 | -39.0617
|  | 1678.1999 | -39.0691
|  | 1678.4 | -39.1005
|  | 1678.6 | -39.1012
|  | 1678.8001 | -39.1314
|  | 1679 | -39.1349
|  | 1679.1999 | -39.1424
|  | 1679.4 | -39.1568
|  | 1679.6 | -39.1764
|  | 1679.8001 | -39.2292
|  | 1680 | -39.3078
|  | 1680.1999 | -39.3501
|  | 1680.4 | -39.402
|  | 1680.6 | -39.4319
|  | 1680.8001 | -39.4302
|  | 1681 | -39.4411
|  | 1681.1999 | -39.4259
|  | 1681.4 | -39.4424
|  | 1681.6 | -39.4662
|  | 1681.8001 | -39.5151
|  | 1682 | -39.5858
|  | 1682.1999 | -39.6325
|  | 1682.4 | -39.6785
|  | 1682.6 | -39.7056
|  | 1682.8001 | -39.7505
|  | 1683 | -39.7538
|  | 1683.1999 | -39.7657
|  | 1683.4 | -39.8236
|  | 1683.6 | -39.8416
|  | 1683.8001 | -39.8869
|  | 1684 | -39.9035
|  | 1684.1999 | -39.931
|  | 1684.4 | -39.9403
|  | 1684.6 | -39.9697
|  | 1684.8001 | -40.023
|  | 1685 | -40.0839
|  | 1685.1999 | -40.129
|  | 1685.4 | -40.2211
|  | 1685.6 | -40.2395
|  | 1685.8001 | -40.2819
|  | 1686 | -40.2974
|  | 1686.1999 | -40.2838
|  | 1686.4 | -40.3062
|  | 1686.6 | -40.3063
|  | 1686.8001 | -40.3662
|  | 1687 | -40.4188
|  | 1687.1999 | -40.4808
|  | 1687.4 | -40.5455
|  | 1687.6 | -40.5769
|  | 1687.8001 | -40.6474
|  | 1688 | -40.6427
|  | 1688.1999 | -40.6615
|  | 1688.4 | -40.6896
|  | 1688.6 | -40.7027
|  | 1688.8001 | -40.757
|  | 1689 | -40.7951
|  | 1689.1999 | -40.8244
|  | 1689.4 | -40.8627
|  | 1689.6 | -40.8647
|  | 1689.8001 | -40.9321
|  | 1690 | -40.9333
|  | 1690.1999 | -41.0109
|  | 1690.4 | -41.0906
|  | 1690.6 | -41.1557
|  | 1690.8001 | -41.166
|  | 1691 | -41.2027
|  | 1691.1999 | -41.2402
|  | 1691.4 | -41.2363
|  | 1691.6 | -41.246
|  | 1691.8001 | -41.2657
|  | 1692 | -41.3028
|  | 1692.1999 | -41.4031
|  | 1692.4 | -41.4314
|  | 1692.6 | -41.518
|  | 1692.8001 | -41.5595
|  | 1693 | -41.5746
|  | 1693.1999 | -41.5962
|  | 1693.4 | -41.5656
|  | 1693.6 | -41.6317
|  | 1693.8001 | -41.681
|  | 1694 | -41.7538
|  | 1694.1999 | -41.7807
|  | 1694.4 | -41.8058
|  | 1694.6 | -41.8611
|  | 1694.8001 | -41.8934
|  | 1695 | -41.9317
|  | 1695.1999 | -41.97
|  | 1695.4 | -42.0309
|  | 1695.6 | -42.0998
|  | 1695.8001 | -42.1303
|  | 1696 | -42.1979
|  | 1696.1999 | -42.1885
|  | 1696.4 | -42.2381
|  | 1696.6 | -42.236
|  | 1696.8001 | -42.2876
|  | 1697 | -42.2953
|  | 1697.1999 | -42.3404
|  | 1697.4 | -42.4326
|  | 1697.6 | -42.4584
|  | 1697.8001 | -42.5453
|  | 1698 | -42.5495
|  | 1698.1999 | -42.6432
|  | 1698.4 | -42.6604
|  | 1698.6 | -42.6835
|  | 1698.8001 | -42.7131
|  | 1699 | -42.726
|  | 1699.1999 | -42.8133
|  | 1699.4 | -42.883
|  | 1699.6 | -42.9439
|  | 1699.8001 | -42.9942
|  | 1700 | -43.0132

## Gain vs Output Power
S9FC1082P Gain vs. Output Power
|  | Output Power (dBm) | Gain (dB)
|  | -2.099 | 16.439
|  | -0.118 | 16.419
|  | 1.839 | 16.373
|  | 3.767 | 16.307
Product Raw Data |  | 5.633 | 16.172
1600 - 1650 nm Booster Optical Amplifier, Polarization Maintaining |  | 7.42 | 15.956
|  | 9.087 | 15.63
Item # | S9FC1082P
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data.
This data may be used in publications. However, please cite Thorlabs as the source.
Additional Information:
I = 600 mA, λ = 1620 nm