## LIV
Sample SAF781T LIV Characteristics
|  | Current (mA) | ASE Power (mW) | Forward Voltage (V)
|  | 0 | 0 | 0
|  | 9.594 | 0 | 1.526
|  | 19.683 | 0.03744 | 1.571
|  | 29.773 | 0 | 1.604
Product Raw Data |  | 39.618 | 0.08021 | 1.631
Single Active Facet Gain Chip, Ø9 mm TO Can, CWL = 780 nm |  | 49.626 | 0.01872 | 1.655
|  | 59.715 | 0.05615 | 1.677
Item # | SAF781T | 69.56 | 0.2005 | 1.697
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 79.65 | 0.07487 | 1.715
|  | 89.576 | 0.2353 | 1.732
|  | 99.665 | 0.1417 | 1.748
|  | 109.673 | 0.3316 | 1.762
|  | 119.681 | 0.4973 | 1.776
|  | 129.689 | 0.9118 | 1.79
This data may be used in publications. However, please cite Thorlabs as the source. |  | 139.616 | 1.527 | 1.802
|  | 149.623 | 3.166 | 1.814
|  | 159.713 | 5.85 | 1.825
|  | 169.721 | 9.843 | 1.835
Additional Information: |  | 179.647 | 15.35 | 1.846
These Single Active Facet (SAF) gain chips were meant to be used in external cavity lasers. Product lifetime will be significantly reduced by using it in an Amplified Spontaneous Emission (ASE) mode. |  | 189.655 | 22.17 | 1.856
|  | 199.744 | 29.62 | 1.866
|  | 209.508 | 37.39 | 1.876
|  | 219.679 | 45.47 | 1.886
|  | 229.687 | 53.37 | 1.896
|  | 239.694 | 61.54 | 1.905
|  | 249.702 | 69.49 | 1.915
|  | 259.71 | 77.6 | 1.924
|  | 269.718 | 85.54 | 1.934
|  | 279.645 | 93.5 | 1.943
|  | 289.653 | 101.5 | 1.952
|  | 299.742 | 109.3 | 1.961
|  | 309.75 | 117.3 | 1.97
|  | 319.595 | 125.1 | 1.978
|  | 329.603 | 133 | 1.987
|  | 339.692 | 140.7 | 1.996
|  | 349.7 | 148.5 | 2.004

## Spectrum
Sample Spectrum
|  | Wavelength (nm) | Intensity (dB)
|  | 730 | -58.9141
|  | 730.2 | -58.0787
|  | 730.4 | -90
|  | 730.6 | -56.905
Product Raw Data |  | 730.8001 | -90
Single Active Facet Gain Chip, Ø9 mm TO Can, CWL = 780 nm |  | 731 | -57.1173
|  | 731.1999 | -61.1152
Item # | SAF781T | 731.4 | -66.801
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 731.6 | -58.6609
|  | 731.8 | -60.4634
|  | 732 | -68.9463
|  | 732.2 | -66.1012
|  | 732.4 | -60.2537
|  | 732.6 | -65.4177
This data may be used in publications. However, please cite Thorlabs as the source. |  | 732.8 | -57.5816
|  | 733 | -60.8122
|  | 733.2 | -68.7314
|  | 733.4 | -57.4735
Additional Information: |  | 733.6 | -58.2618
These Single Active Facet (SAF) gain chips were meant to be used in external cavity lasers. Product lifetime will be significantly reduced by using it in an Amplified Spontaneous Emission (ASE) mode. |  | 733.8 | -59.6347
|  | 734 | -68.293
|  | 734.2 | -59.0383
|  | 734.4 | -57.6388
|  | 734.6 | -59.2746
|  | 734.8 | -60.5662
|  | 735 | -65.1141
|  | 735.2 | -62.1896
|  | 735.4 | -60.3599
|  | 735.6 | -58.0443
|  | 735.8 | -62.8854
|  | 736 | -59.4633
|  | 736.1999 | -62.0275
|  | 736.4 | -57.2644
|  | 736.6 | -59.3205
|  | 736.8001 | -59.1363
|  | 737 | -72.9438
|  | 737.2 | -62.2811
|  | 737.4 | -58.2856
|  | 737.6 | -65.6889
|  | 737.8 | -64.2365
|  | 738 | -59.0003
|  | 738.2 | -69.9787
|  | 738.4 | -64.9573
|  | 738.6 | -57.587
|  | 738.8 | -58.2082
|  | 739 | -58.7892
|  | 739.2 | -57.2144
|  | 739.4 | -61.6581
|  | 739.6 | -56.4408
|  | 739.8 | -90
|  | 740 | -55.6958
|  | 740.2 | -57.8787
|  | 740.4 | -59.3156
|  | 740.6 | -60.7802
|  | 740.8 | -56.3652
|  | 741 | -56.124
|  | 741.2 | -59.8671
|  | 741.4 | -90
|  | 741.6 | -57.8149
|  | 741.8001 | -57.0745
|  | 742 | -62.5539
|  | 742.1999 | -59.0092
|  | 742.4 | -58.5031
|  | 742.6 | -56.5232
|  | 742.8 | -61.5365
|  | 743 | -57.4556
|  | 743.2 | -57.879
|  | 743.4 | -58.447
|  | 743.6 | -57.7952
|  | 743.8 | -56.4323
|  | 744 | -62.9645
|  | 744.2 | -57.5913
|  | 744.4 | -56.9513
|  | 744.6 | -57.4391
|  | 744.8 | -57.688
|  | 745 | -64.3705
|  | 745.2 | -61.7286
|  | 745.4 | -55.4941
|  | 745.6 | -56.5963
|  | 745.8 | -56.0696
|  | 746 | -57.0212
|  | 746.2 | -57.2039
|  | 746.4 | -56.3172
|  | 746.6 | -56.1125
|  | 746.8001 | -55.9198
|  | 747 | -58.569
|  | 747.1999 | -56.9603
|  | 747.4 | -56.8628
|  | 747.6 | -57.1092
|  | 747.8 | -56.0439
|  | 748 | -55.4218
|  | 748.2 | -58.0941
|  | 748.4 | -55.3224
|  | 748.6 | -56.7183
|  | 748.8 | -54.007
|  | 749 | -55.148
|  | 749.2 | -58.1127
|  | 749.4 | -56.261
|  | 749.6 | -54.6551
|  | 749.8 | -57.3547
|  | 750 | -54.7697
|  | 750.2 | -55.3708
|  | 750.4 | -53.6951
|  | 750.6 | -55.4954
|  | 750.8 | -53.7996
|  | 751 | -54.4891
|  | 751.2 | -55.658
|  | 751.4 | -54.9311
|  | 751.6 | -54.1135
|  | 751.8 | -54.2858
|  | 752 | -54.0886
|  | 752.1999 | -54.3348
|  | 752.4 | -54.4494
|  | 752.6 | -55.0179
|  | 752.8001 | -54.3316
|  | 753 | -55.7521
|  | 753.2 | -54.4349
|  | 753.4 | -54.8413
|  | 753.6 | -53.6417
|  | 753.8 | -53.8544
|  | 754 | -53.9011
|  | 754.2 | -54.1453
|  | 754.4 | -53.826
|  | 754.6 | -54.5733
|  | 754.8 | -54.2897
|  | 755 | -53.7354
|  | 755.2 | -54.0184
|  | 755.4 | -53.1114
|  | 755.6 | -53.5216
|  | 755.8 | -53.7863
|  | 756 | -53.712
|  | 756.2 | -53.7982
|  | 756.4 | -53.108
|  | 756.6 | -53.8419
|  | 756.8 | -53.3694
|  | 757 | -52.7895
|  | 757.2 | -52.1007
|  | 757.4 | -52.9436
|  | 757.6 | -53.175
|  | 757.8001 | -52.298
|  | 758 | -53.5221
|  | 758.1999 | -52.1894
|  | 758.4 | -51.8899
|  | 758.6 | -51.7597
|  | 758.8 | -52.3186
|  | 759 | -52.1605
|  | 759.2 | -52.0521
|  | 759.4 | -51.6594
|  | 759.6 | -51.4527
|  | 759.8 | -50.9339
|  | 760 | -51.6112
|  | 760.2 | -50.8353
|  | 760.4 | -50.7926
|  | 760.6 | -50.9385
|  | 760.8 | -49.9574
|  | 761 | -50.2309
|  | 761.2 | -49.7252
|  | 761.4 | -49.5299
|  | 761.6 | -49.2638
|  | 761.8 | -48.7974
|  | 762 | -48.7335
|  | 762.2 | -48.3677
|  | 762.4 | -47.709
|  | 762.6 | -47.3337
|  | 762.8001 | -46.8032
|  | 763 | -46.8461
|  | 763.1999 | -46.2066
|  | 763.4 | -45.8829
|  | 763.6 | -45.4591
|  | 763.8 | -44.7749
|  | 764 | -44.2525
|  | 764.2 | -43.6479
|  | 764.4 | -43.1456
|  | 764.6 | -42.5806
|  | 764.8 | -42.0679
|  | 765 | -41.41
|  | 765.2 | -40.8287
|  | 765.4 | -40.1457
|  | 765.6 | -39.5613
|  | 765.8 | -38.8813
|  | 766 | -38.2868
|  | 766.2 | -37.6367
|  | 766.4 | -36.9404
|  | 766.6 | -36.2663
|  | 766.8 | -35.578
|  | 767 | -34.8756
|  | 767.2 | -34.2044
|  | 767.4 | -33.5364
|  | 767.6 | -32.8655
|  | 767.8 | -32.1667
|  | 768 | -31.464
|  | 768.2 | -30.7511
|  | 768.4 | -30.0489
|  | 768.6 | -29.3635
|  | 768.8001 | -28.6817
|  | 769 | -27.9715
|  | 769.2 | -27.2575
|  | 769.4 | -26.5488
|  | 769.6 | -25.8581
|  | 769.8 | -25.1685
|  | 770 | -24.5551
|  | 770.2 | -23.8822
|  | 770.4 | -23.188
|  | 770.6 | -22.4967
|  | 770.8 | -21.8177
|  | 771 | -21.1531
|  | 771.2 | -20.4986
|  | 771.4 | -19.8714
|  | 771.6 | -19.2227
|  | 771.8 | -18.5657
|  | 772 | -17.9092
|  | 772.2 | -17.2873
|  | 772.4 | -16.6848
|  | 772.6 | -16.0742
|  | 772.8 | -15.4851
|  | 773 | -14.8487
|  | 773.2 | -14.2391
|  | 773.4 | -13.611
|  | 773.6 | -12.9807
|  | 773.8001 | -12.4557
|  | 774 | -11.9242
|  | 774.1999 | -11.3534
|  | 774.4 | -10.7806
|  | 774.6 | -10.2246
|  | 774.8 | -9.7012
|  | 775 | -9.1736
|  | 775.2 | -8.6698
|  | 775.4 | -8.1747
|  | 775.6 | -7.6842
|  | 775.8 | -7.1768
|  | 776 | -6.6719
|  | 776.2 | -6.2018
|  | 776.4 | -5.82
|  | 776.6 | -5.3546
|  | 776.8 | -4.9312
|  | 777 | -4.4848
|  | 777.2 | -4.065
|  | 777.4 | -3.6561
|  | 777.6 | -3.219
|  | 777.8 | -2.825
|  | 778 | -2.439
|  | 778.2 | -2.0271
|  | 778.4 | -1.617
|  | 778.6 | -1.2173
|  | 778.8 | -0.85578
|  | 779 | -0.52401
|  | 779.1999 | -0.1868
|  | 779.4 | 0.16107
|  | 779.6 | 0.47858
|  | 779.8001 | 0.71947
|  | 780 | 0.93695
|  | 780.2 | 1.1625
|  | 780.4 | 1.3514
|  | 780.6 | 1.5229
|  | 780.8 | 1.707
|  | 781 | 1.8722
|  | 781.2 | 2.0217
|  | 781.4 | 2.1597
|  | 781.6 | 2.3114
|  | 781.8 | 2.4429
|  | 782 | 2.5632
|  | 782.2 | 2.6872
|  | 782.4 | 2.7953
|  | 782.6 | 2.8602
|  | 782.8 | 2.8855
|  | 783 | 2.9146
|  | 783.2 | 2.9426
|  | 783.4 | 2.9236
|  | 783.6 | 2.903
|  | 783.8 | 2.886
|  | 784 | 2.8327
|  | 784.2 | 2.7466
|  | 784.4 | 2.6372
|  | 784.6 | 2.5301
|  | 784.8001 | 2.3762
|  | 785 | 2.1981
|  | 785.1999 | 2.0147
|  | 785.4 | 1.8028
|  | 785.6 | 1.5645
|  | 785.8 | 1.3197
|  | 786 | 1.0605
|  | 786.2 | 0.76752
|  | 786.4 | 0.46674
|  | 786.6 | 0.16315
|  | 786.8 | -0.14767
|  | 787 | -0.48268
|  | 787.2 | -0.85335
|  | 787.4 | -1.2409
|  | 787.6 | -1.6469
|  | 787.8 | -2.0689
|  | 788 | -2.5066
|  | 788.2 | -2.923
|  | 788.4 | -3.3599
|  | 788.6 | -3.8175
|  | 788.8 | -4.2884
|  | 789 | -4.7787
|  | 789.2 | -5.2798
|  | 789.4 | -5.7928
|  | 789.6 | -6.2979
|  | 789.8001 | -6.8263
|  | 790 | -7.3876
|  | 790.1999 | -7.9587
|  | 790.4 | -8.5242
|  | 790.6 | -9.096
|  | 790.8 | -9.7273
|  | 791 | -10.2157
|  | 791.2 | -10.7893
|  | 791.4 | -11.4083
|  | 791.6 | -12.0419
|  | 791.8 | -12.6668
|  | 792 | -13.2782
|  | 792.2 | -13.9045
|  | 792.4 | -14.5297
|  | 792.6 | -15.1668
|  | 792.8 | -15.8148
|  | 793 | -16.4919
|  | 793.2 | -17.1426
|  | 793.4 | -17.7712
|  | 793.6 | -18.3965
|  | 793.8 | -19.0704
|  | 794 | -19.7356
|  | 794.2 | -20.4195
|  | 794.4 | -21.1289
|  | 794.6 | -21.8035
|  | 794.8 | -22.4187
|  | 795 | -23.0743
|  | 795.1999 | -23.7297
|  | 795.4 | -24.3813
|  | 795.6 | -25.0497
|  | 795.8001 | -25.7111
|  | 796 | -26.3439
|  | 796.2 | -26.9485
|  | 796.4 | -27.5531
|  | 796.6 | -28.1655
|  | 796.8 | -28.7809
|  | 797 | -29.7121
|  | 797.2 | -29.9869
|  | 797.4 | -30.5278
|  | 797.6 | -31.0247
|  | 797.8 | -31.5369
|  | 798 | -32.0804
|  | 798.2 | -32.6185
|  | 798.4 | -33.1336
|  | 798.6 | -33.6082
|  | 798.8 | -34.0594
|  | 799 | -34.5105
|  | 799.2 | -34.9554
|  | 799.4 | -35.3825
|  | 799.6 | -35.8301
|  | 799.8 | -36.2376
|  | 800 | -36.5881
|  | 800.2 | -36.9261
|  | 800.4 | -37.3208
|  | 800.6 | -37.6707
|  | 800.8001 | -38.0608
|  | 801 | -38.3845
|  | 801.1999 | -38.7471
|  | 801.4 | -39.0569
|  | 801.6 | -39.3167
|  | 801.8 | -39.6284
|  | 802 | -39.9355
|  | 802.2 | -40.1996
|  | 802.4 | -40.4685
|  | 802.6 | -40.7011
|  | 802.8 | -41.0433
|  | 803 | -41.2461
|  | 803.2 | -41.5197
|  | 803.4 | -41.8582
|  | 803.6 | -42.103
|  | 803.8 | -42.2631
|  | 804 | -42.495
|  | 804.2 | -42.7555
|  | 804.4 | -42.9449
|  | 804.6 | -43.1735
|  | 804.8 | -43.4933
|  | 805 | -43.5927
|  | 805.2 | -43.8861
|  | 805.4 | -44.0811
|  | 805.6 | -44.2606
|  | 805.8001 | -44.4832
|  | 806 | -44.6373
|  | 806.1999 | -44.9384
|  | 806.4 | -45.1185
|  | 806.6 | -45.1704
|  | 806.8 | -45.4884
|  | 807 | -45.7236
|  | 807.2 | -45.8933
|  | 807.4 | -46.0437
|  | 807.6 | -46.1654
|  | 807.8 | -46.55
|  | 808 | -46.497
|  | 808.2 | -46.8298
|  | 808.4 | -46.7363
|  | 808.6 | -47.2628
|  | 808.8 | -47.212
|  | 809 | -47.5601
|  | 809.2 | -47.5257
|  | 809.4 | -47.6948
|  | 809.6 | -47.8275
|  | 809.8 | -48.0487
|  | 810 | -48.2743
|  | 810.2 | -48.4686
|  | 810.4 | -48.424
|  | 810.6 | -48.8101
|  | 810.8 | -48.9421
|  | 811 | -48.9109
|  | 811.2 | -49.2701
|  | 811.4 | -49.2916
|  | 811.6 | -49.3028
|  | 811.8001 | -49.4795
|  | 812 | -49.6721
|  | 812.2 | -49.503
|  | 812.4 | -50.1942
|  | 812.6 | -50.1102
|  | 812.8 | -50.5755
|  | 813 | -50.0918
|  | 813.2 | -50.7551
|  | 813.4 | -50.6966
|  | 813.6 | -51.0177
|  | 813.8 | -50.4672
|  | 814 | -51.5088
|  | 814.2 | -51.2531
|  | 814.4 | -51.0119
|  | 814.6 | -51.3083
|  | 814.8 | -51.6973
|  | 815 | -51.9888
|  | 815.2 | -51.7497
|  | 815.4 | -51.8334
|  | 815.6 | -51.8614
|  | 815.8 | -52.1537
|  | 816 | -52.3876
|  | 816.2 | -52.1139
|  | 816.4 | -52.592
|  | 816.6 | -52.5007
|  | 816.8001 | -52.8161
|  | 817 | -53.06
|  | 817.1999 | -52.9984
|  | 817.4 | -53.3725
|  | 817.6 | -53.4311
|  | 817.8 | -52.9887
|  | 818 | -53.2814
|  | 818.2 | -53.2245
|  | 818.4 | -54.2648
|  | 818.6 | -53.4961
|  | 818.8 | -53.7833
|  | 819 | -53.3041
|  | 819.2 | -53.9073
|  | 819.4 | -53.8366
|  | 819.6 | -54.6355
|  | 819.8 | -54.7737
|  | 820 | -54.7451
|  | 820.2 | -53.6644
|  | 820.4 | -53.8772
|  | 820.6 | -54.9624
|  | 820.8 | -54.2814
|  | 821 | -54.0278
|  | 821.2 | -54.568
|  | 821.4 | -55.6756
|  | 821.6 | -54.6817
|  | 821.8 | -55.3503
|  | 822 | -54.5044
|  | 822.1999 | -55.7934
|  | 822.4 | -55.3912
|  | 822.6 | -55.8667
|  | 822.8001 | -54.6826
|  | 823 | -56.0141
|  | 823.2 | -55.8164
|  | 823.4 | -56.1933
|  | 823.6 | -54.6661
|  | 823.8 | -57.1133
|  | 824 | -56.0963
|  | 824.2 | -55.8025
|  | 824.4 | -57.9013
|  | 824.6 | -54.6815
|  | 824.8 | -58.7072
|  | 825 | -55.3798
|  | 825.2 | -56.0765
|  | 825.4 | -55.8228
|  | 825.6 | -57.4545
|  | 825.8 | -57.9204
|  | 826 | -56.2436
|  | 826.2 | -56.9353
|  | 826.4 | -56.1391
|  | 826.6 | -56.585
|  | 826.8 | -57.8735
|  | 827 | -57.6333
|  | 827.2 | -56.298
|  | 827.4 | -58.3217
|  | 827.6 | -57.0766
|  | 827.8001 | -56.9424
|  | 828 | -57.4469
|  | 828.1999 | -56.7006
|  | 828.4 | -56.8376
|  | 828.6 | -58.3003
|  | 828.8 | -59.2443
|  | 829 | -61.7335
|  | 829.2 | -57.4223
|  | 829.4 | -57.7151
|  | 829.6 | -56.9313
|  | 829.8 | -57.314
|  | 830 | -59.2883

## Far Field
Sample Far Field Measurement
|  | Angle (Degrees) | Transverse (0°) | Lateral (90°)
|  | -72.5658 | 0 | 1.2618e-05
|  | -72.0601 | 1.8886e-05 | 1.3976e-05
|  | -71.5555 | 3.6715e-05 | 2.9248e-05
|  | -71.0523 | 4.2092e-05 | 1.9038e-05
Product Raw Data |  | -70.5502 | 3.7317e-05 | 3.5671e-05
Single Active Facet Gain Chip, Ø9 mm TO Can, CWL = 780 nm |  | -70.0493 | 3.1205e-05 | 4.4237e-05
|  | -69.5495 | 4.56e-05 | 4.3403e-05
Item # | SAF781T | -69.051 | 2.9166e-05 | 3.8972e-05
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | -68.5536 | 3.0704e-05 | 5.6036e-05
|  | -68.0574 | 3.6175e-05 | 3.4829e-05
|  | -67.5623 | 3.5142e-05 | 3.8743e-05
|  | -67.0683 | 3.1487e-05 | 4.2697e-05
|  | -66.5754 | 4.363e-05 | 6.3747e-05
|  | -66.0836 | 6.9178e-05 | 8.6225e-05
This data may be used in publications. However, please cite Thorlabs as the source. |  | -65.5929 | 8.2958e-05 | 0.00011626
|  | -65.1032 | 0.00012637 | 0.0001503
|  | -64.6146 | 0.00014724 | 0.00015855
|  | -64.1271 | 0.00014394 | 0.00016064
Additional Information: |  | -63.6406 | 0.00013111 | 0.000164
The far field measurement measures the light divergence angle from the gain chip. A Transverse measurement is when the measurement slit is at a 0 ° orientation to measure the horizontal cone of light. A Lateral measurement is when the slit is rotated 90 ° to measure the vertical cone of light. |  | -63.1551 | 0.0001277 | 0.00016361
|  | -62.6706 | 0.00012976 | 0.00016068
|  | -62.1871 | 0.00014145 | 0.00016786
|  | -61.7046 | 0.00013942 | 0.00015852
|  | -61.2231 | 0.00014429 | 0.00016703
|  | -60.7425 | 0.00015759 | 0.00016786
|  | -60.2629 | 0.00017238 | 0.00017517
|  | -59.7842 | 0.00017039 | 0.00016434
|  | -59.3065 | 0.00016838 | 0.00016645
|  | -58.8297 | 0.00016207 | 0.00016597
|  | -58.3537 | 0.0001828 | 0.00017597
|  | -57.8787 | 0.00018938 | 0.00018341
|  | -57.4046 | 0.00017874 | 0.00017631
|  | -56.9313 | 0.00020122 | 0.00018247
|  | -56.4589 | 0.00021808 | 0.00018598
|  | -55.9874 | 0.00019866 | 0.00018952
|  | -55.5167 | 0.00020682 | 0.00018767
|  | -55.0468 | 0.00021506 | 0.00019121
|  | -54.5778 | 0.00022631 | 0.00019478
|  | -54.1095 | 0.00023762 | 0.00018337
|  | -53.6421 | 0.00027569 | 0.00018554
|  | -53.1755 | 0.00026488 | 0.00019733
|  | -52.7097 | 0.00030485 | 0.00019266
|  | -52.2446 | 0.00029856 | 0.00019762
|  | -51.7803 | 0.00033589 | 0.00018874
|  | -51.3167 | 0.00035382 | 0.00019786
|  | -50.8539 | 0.0003734 | 0.00018891
|  | -50.3919 | 0.00041287 | 0.00019107
|  | -49.9305 | 0.00042817 | 0.00018622
|  | -49.4699 | 0.00044048 | 0.00019545
|  | -49.01 | 0.00046516 | 0.00020897
|  | -48.5508 | 0.00051317 | 0.00020835
|  | -48.0923 | 0.00056302 | 0.00019917
|  | -47.6345 | 0.00060698 | 0.00022141
|  | -47.1773 | 0.0006278 | 0.0002208
|  | -46.7209 | 0.0006894 | 0.00020864
|  | -46.265 | 0.00072628 | 0.0002152
|  | -45.8098 | 0.00076965 | 0.00021452
|  | -45.3553 | 0.0008354 | 0.00022696
|  | -44.9014 | 0.00090469 | 0.00022336
|  | -44.4481 | 0.00096961 | 0.00022853
|  | -43.9954 | 0.00103 | 0.00023962
|  | -43.5434 | 0.00112 | 0.00023159
|  | -43.0919 | 0.00119 | 0.00023977
|  | -42.641 | 0.00127 | 0.00024353
|  | -42.1908 | 0.00139 | 0.00024137
|  | -41.741 | 0.0015 | 0.00024962
|  | -41.2919 | 0.00164 | 0.00027285
|  | -40.8433 | 0.00174 | 0.00026021
|  | -40.3953 | 0.00188 | 0.00024748
|  | -39.9478 | 0.00206 | 0.0002573
|  | -39.5008 | 0.00226 | 0.00026414
|  | -39.0544 | 0.00247 | 0.00026495
|  | -38.6085 | 0.00272 | 0.00027333
|  | -38.1631 | 0.00291 | 0.00026956
|  | -37.7182 | 0.00278 | 0.00026421
|  | -37.2739 | 0.0032 | 0.00027265
|  | -36.83 | 0.00381 | 0.00026111
|  | -36.3865 | 0.00424 | 0.00027265
|  | -35.9436 | 0.00459 | 0.00028886
|  | -35.5012 | 0.00504 | 0.00028652
|  | -35.0592 | 0.00549 | 0.0002935
|  | -34.6176 | 0.00594 | 0.00030828
|  | -34.1766 | 0.00648 | 0.00029036
|  | -33.7359 | 0.00708 | 0.00028641
|  | -33.2957 | 0.00765 | 0.00027772
|  | -32.8559 | 0.00822 | 0.00031144
|  | -32.4166 | 0.00888 | 0.00029958
|  | -31.9777 | 0.00951 | 0.0003003
|  | -31.5391 | 0.01016 | 0.00030103
|  | -31.101 | 0.01084 | 0.00029064
|  | -30.6633 | 0.01157 | 0.00031197
|  | -30.226 | 0.0123 | 0.00033657
|  | -29.789 | 0.01303 | 0.0003772
|  | -29.3524 | 0.01381 | 0.00037003
|  | -28.9162 | 0.01459 | 0.00037563
|  | -28.4804 | 0.01542 | 0.00040371
|  | -28.0449 | 0.01629 | 0.0003965
|  | -27.6098 | 0.01718 | 0.00037153
|  | -27.175 | 0.01818 | 0.00039812
|  | -26.7405 | 0.01919 | 0.00043933
|  | -26.3064 | 0.0203 | 0.00044341
|  | -25.8727 | 0.02146 | 0.00044425
|  | -25.4392 | 0.0226 | 0.00045483
|  | -25.0061 | 0.02391 | 0.00040518
|  | -24.5732 | 0.02525 | 0.00042876
|  | -24.1407 | 0.02693 | 0.00046547
|  | -23.7085 | 0.02868 | 0.00043026
|  | -23.2765 | 0.03065 | 0.00050642
|  | -22.8449 | 0.03258 | 0.00046619
|  | -22.4135 | 0.03461 | 0.00042749
|  | -21.9824 | 0.03674 | 0.00053524
|  | -21.5516 | 0.03916 | 0.00049317
|  | -21.121 | 0.04175 | 0.00044935
|  | -20.6907 | 0.04391 | 0.00059068
|  | -20.2606 | 0.04514 | 0.00073397
|  | -19.8308 | 0.04925 | 0.0005376
|  | -19.4013 | 0.0517 | 0.00050348
|  | -18.9719 | 0.05467 | 0.00060565
|  | -18.5428 | 0.0591 | 0.00076468
|  | -18.114 | 0.06244 | 0.00083902
|  | -17.6853 | 0.06589 | 0.00101
|  | -17.2569 | 0.06943 | 0.0012
|  | -16.8286 | 0.0734 | 0.00128
|  | -16.4006 | 0.07762 | 0.00137
|  | -15.9727 | 0.0818 | 0.00164
|  | -15.5451 | 0.08607 | 0.00182
|  | -15.1176 | 0.09067 | 0.00228
|  | -14.6903 | 0.09732 | 0.00282
|  | -14.2632 | 0.10398 | 0.00339
|  | -13.8363 | 0.11096 | 0.00435
|  | -13.4095 | 0.11917 | 0.00606
|  | -12.9829 | 0.12712 | 0.00758
|  | -12.5564 | 0.13541 | 0.0089
|  | -12.1301 | 0.14833 | 0.0111
|  | -11.704 | 0.16157 | 0.01476
|  | -11.2779 | 0.17619 | 0.01937
|  | -10.8521 | 0.19184 | 0.02486
|  | -10.4263 | 0.20894 | 0.03072
|  | -10.0007 | 0.22906 | 0.03646
|  | -9.5751 | 0.25107 | 0.04283
|  | -9.1497 | 0.27495 | 0.05113
|  | -8.7244 | 0.2987 | 0.06167
|  | -8.2992 | 0.32328 | 0.07425
|  | -7.8741 | 0.35389 | 0.08884
|  | -7.4491 | 0.38793 | 0.10516
|  | -7.0242 | 0.42201 | 0.12808
|  | -6.5994 | 0.45646 | 0.1574
|  | -6.1746 | 0.49225 | 0.19328
|  | -5.7499 | 0.53019 | 0.23533
|  | -5.3253 | 0.56896 | 0.28342
|  | -4.9007 | 0.60699 | 0.34609
|  | -4.4762 | 0.64462 | 0.42838
|  | -4.0518 | 0.68379 | 0.51325
|  | -3.6274 | 0.72182 | 0.60053
|  | -3.203 | 0.7593 | 0.68665
|  | -2.7787 | 0.79088 | 0.7653
|  | -2.3544 | 0.82767 | 0.85024
|  | -1.9302 | 0.86062 | 0.91887
|  | -1.5059 | 0.88845 | 0.96961
|  | -1.0817 | 0.91587 | 0.99922
|  | -0.65749 | 0.93682 | 1
|  | -0.23325 | 0.95833 | 0.98587
|  | 0.19083 | 0.97035 | 0.96225
|  | 0.61507 | 0.98058 | 0.91716
|  | 1.0393 | 0.99211 | 0.85913
|  | 1.4635 | 1 | 0.79125
|  | 1.8877 | 0.99608 | 0.71318
|  | 2.312 | 0.99092 | 0.63452
|  | 2.7363 | 0.98144 | 0.55806
|  | 3.1606 | 0.9673 | 0.48527
|  | 3.585 | 0.95229 | 0.41552
|  | 4.0093 | 0.93145 | 0.34778
|  | 4.4338 | 0.90676 | 0.29366
|  | 4.8583 | 0.88033 | 0.24734
|  | 5.2828 | 0.84721 | 0.20359
|  | 5.7074 | 0.82191 | 0.16606
|  | 6.1321 | 0.7822 | 0.13701
|  | 6.5569 | 0.74782 | 0.11197
|  | 6.9817 | 0.72124 | 0.09184
|  | 7.4066 | 0.68605 | 0.07584
|  | 7.8316 | 0.65096 | 0.06115
|  | 8.2567 | 0.61614 | 0.04944
|  | 8.6819 | 0.58119 | 0.04025
|  | 9.1072 | 0.54809 | 0.03322
|  | 9.5326 | 0.51339 | 0.02757
|  | 9.9581 | 0.48339 | 0.02256
|  | 10.3837 | 0.45489 | 0.01892
|  | 10.8095 | 0.42723 | 0.0158
|  | 11.2354 | 0.39961 | 0.01318
|  | 11.6614 | 0.37376 | 0.01067
|  | 12.0875 | 0.33941 | 0.00885
|  | 12.5138 | 0.31918 | 0.00742
|  | 12.9403 | 0.31141 | 0.0061
|  | 13.3668 | 0.29419 | 0.00505
|  | 13.7936 | 0.27816 | 0.00428
|  | 14.2205 | 0.26339 | 0.00358
|  | 14.6476 | 0.24894 | 0.00298
|  | 15.0749 | 0.23571 | 0.00252
|  | 15.5023 | 0.2233 | 0.00215
|  | 15.9299 | 0.2128 | 0.0018
|  | 16.3578 | 0.20215 | 0.00153
|  | 16.7858 | 0.19218 | 0.00127
|  | 17.214 | 0.18309 | 0.00105
|  | 17.6424 | 0.17286 | 0.00092703
|  | 18.0711 | 0.16503 | 0.00081079
|  | 18.4999 | 0.15655 | 0.00072146
|  | 18.929 | 0.14814 | 0.00067726
|  | 19.3583 | 0.13967 | 0.0006265
|  | 19.7879 | 0.13114 | 0.0005659
|  | 20.2177 | 0.12315 | 0.0005336
|  | 20.6477 | 0.11549 | 0.00050469
|  | 21.078 | 0.10743 | 0.0004775
|  | 21.5085 | 0.0988 | 0.00045037
|  | 21.9393 | 0.09147 | 0.00045461
|  | 22.3704 | 0.08539 | 0.00043414
|  | 22.8017 | 0.07849 | 0.00040879
|  | 23.2334 | 0.07212 | 0.00040319
|  | 23.6653 | 0.06599 | 0.00039104
|  | 24.0975 | 0.06017 | 0.000392
|  | 24.53 | 0.05468 | 0.00038151
|  | 24.9628 | 0.04965 | 0.0003743
|  | 25.3959 | 0.04503 | 0.00037199
|  | 25.8293 | 0.04021 | 0.00034856
|  | 26.263 | 0.03618 | 0.00032844
|  | 26.6971 | 0.03365 | 0.00032457
|  | 27.1315 | 0.03056 | 0.00034329
|  | 27.5663 | 0.02786 | 0.00032648
|  | 28.0014 | 0.02559 | 0.0003242
|  | 28.4368 | 0.02353 | 0.00034279
|  | 28.8726 | 0.02179 | 0.00031802
|  | 29.3088 | 0.02037 | 0.00031735
|  | 29.7453 | 0.01908 | 0.00033579
|  | 30.1822 | 0.01795 | 0.00030797
|  | 30.6195 | 0.01702 | 0.00030251
|  | 31.0572 | 0.01619 | 0.00030181
|  | 31.4953 | 0.01544 | 0.00030586
|  | 31.9338 | 0.01479 | 0.00030512
|  | 32.3727 | 0.01414 | 0.00029652
|  | 32.812 | 0.01351 | 0.00030835
|  | 33.2517 | 0.01289 | 0.00030289
|  | 33.6919 | 0.01235 | 0.00027397
|  | 34.1325 | 0.01175 | 0.00027638
|  | 34.5735 | 0.01117 | 0.000271
|  | 35.015 | 0.01055 | 0.00027961
|  | 35.4569 | 0.00986 | 0.00027421
|  | 35.8994 | 0.00916 | 0.00025955
|  | 36.3422 | 0.00863 | 0.00025575
|  | 36.7856 | 0.00796 | 0.00025812
|  | 37.2294 | 0.00727 | 0.00026813
|  | 37.6738 | 0.00672 | 0.0002444
|  | 38.1186 | 0.00616 | 0.00024676
|  | 38.5639 | 0.00558 | 0.00024145
|  | 39.0098 | 0.00502 | 0.00023769
|  | 39.4562 | 0.00453 | 0.0002703
|  | 39.9031 | 0.00407 | 0.00025285
|  | 40.3505 | 0.00364 | 0.00025508
|  | 40.7985 | 0.00313 | 0.00024978
|  | 41.247 | 0.00272 | 0.00023851
|  | 41.6961 | 0.00249 | 0.00024374
|  | 42.1458 | 0.00225 | 0.00023399
|  | 42.596 | 0.00198 | 0.00024213
|  | 43.0468 | 0.00172 | 0.00023394
|  | 43.4982 | 0.00155 | 0.00022577
|  | 43.9502 | 0.00141 | 0.00022059
|  | 44.4028 | 0.00128 | 0.00022424
|  | 44.856 | 0.00116 | 0.00022929
|  | 45.3099 | 0.00106 | 0.00021973
|  | 45.7644 | 0.00098419 | 0.00023638
|  | 46.2195 | 0.00092284 | 0.00022973
|  | 46.6752 | 0.00086968 | 0.00022458
|  | 47.1317 | 0.00081837 | 0.00021514
|  | 47.5887 | 0.00077514 | 0.00021575
|  | 48.0465 | 0.00074921 | 0.00021209
|  | 48.505 | 0.00072189 | 0.00021271
|  | 48.9641 | 0.00070086 | 0.00021331
|  | 49.4239 | 0.00067228 | 0.00020257
|  | 49.8845 | 0.00063775 | 0.00019896
|  | 50.3457 | 0.00063697 | 0.0002094
|  | 50.8077 | 0.00060122 | 0.00020156
|  | 51.2704 | 0.00057326 | 0.00020771
|  | 51.7339 | 0.00055001 | 0.00021379
|  | 52.1981 | 0.00052538 | 0.00019079
|  | 52.6631 | 0.00050241 | 0.00020377
|  | 53.1289 | 0.0004811 | 0.00020016
|  | 53.5954 | 0.00045693 | 0.00018973
|  | 54.0628 | 0.00044327 | 0.00019572
|  | 54.5309 | 0.00040761 | 0.00018535
|  | 54.9999 | 0.00039713 | 0.00018725
|  | 55.4697 | 0.00036626 | 0.00019045
|  | 55.9403 | 0.00035017 | 0.00018691
|  | 56.4117 | 0.00032838 | 0.00019408
|  | 56.884 | 0.00031254 | 0.00019454
|  | 57.3572 | 0.00029824 | 0.000187
|  | 57.8313 | 0.00028834 | 0.00017293
|  | 58.3062 | 0.00026851 | 0.00018393
|  | 58.782 | 0.00024456 | 0.00019353
|  | 59.2588 | 0.00022649 | 0.00018087
|  | 59.7364 | 0.00020571 | 0.00018261
|  | 60.215 | 0.00019492 | 0.00018817
|  | 60.6945 | 0.00016184 | 0.00018339
|  | 61.175 | 0.00016661 | 0.00019016
|  | 61.6564 | 0.00014364 | 0.00018412
|  | 62.1388 | 0.00014979 | 0.0001705
|  | 62.6222 | 0.00013395 | 0.00016076
|  | 63.1066 | 0.00011276 | 0.00017378
|  | 63.592 | 9.5843e-05 | 0.00016911
|  | 64.0784 | 7.9066e-05 | 0.00016201
|  | 64.5658 | 7.3198e-05 | 0.00015243
|  | 65.0543 | 7.5454e-05 | 0.00010711
|  | 65.5439 | 5.7625e-05 | 7.2018e-05
|  | 66.0345 | 6.7887e-05 | 4.3394e-05
|  | 66.5262 | 4.631e-05 | 4.4275e-05
|  | 67.0189 | 5.1243e-05 | 4.2728e-05
|  | 67.5128 | 5.2199e-05 | 4.4799e-05
|  | 68.0078 | 6.6174e-05 | 4.4461e-05
|  | 68.504 | 5.0191e-05 | 5.1278e-05
|  | 69.0012 | 4.7252e-05 | 5.5659e-05
|  | 69.4997 | 4.4335e-05 | 5.1706e-05
|  | 69.9992 | 4.9148e-05 | 4.1906e-05
|  | 70.5 | 6.0219e-05 | 4.8591e-05
|  | 71.002 | 5.7284e-05 | 2.6065e-05
|  | 71.5052 | 3.1708e-05 | 2.2322e-05
|  | 72.0096 | 2.8926e-05 | 4.7609e-06
|  | 72.5152 | 1.3705e-05 | 0