## Transmission
TL1X-SAP Transmission
|  | Wavelength (nm) | % Transmission
|  | 300 | 0.02532
|  | 301 | 0.000388
|  | 302 | 0.00581
|  | 303 | 0.00116
Product Raw Data |  | 304 | 0.01194
Thorlabs Super Apochromatic Microscope Objective, 1X Magnification |  | 305 | 0.01689
|  | 306 | 0.01649
Item # | TL1X-SAP | 307 | 0.01148
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 308 | 0.00457
|  | 309 | 0.00758
|  | 310 | 0.00417
|  | 311 | 0.02045
|  | 312 | 0.00188
|  | 313 | 0.00301
This data may be used in publications. However, please cite Thorlabs as the source. |  | 314 | 0.00977
|  | 315 | 0.00524
|  | 316 | 0.01644
Additional Information: |  | 317 | 0.00559
|  | 318 | 0.00373
|  | 319 | 0.01847
|  | 320 | 0.03796
|  | 321 | 0.00442
|  | 322 | 0.01044
|  | 323 | 0.01762
|  | 324 | 0.0272
|  | 325 | 0.00639
|  | 326 | 0.00119
|  | 327 | 0.00437
|  | 328 | 0.00278
|  | 329 | 0.02022
|  | 330 | 0.02287
|  | 331 | 0.0138
|  | 332 | 0.00276
|  | 333 | 0.00943
|  | 334 | 0.01567
|  | 335 | 0.01213
|  | 336 | 0.00898
|  | 337 | 0.00545
|  | 338 | 0.01712
|  | 339 | 0.02216
|  | 340 | 0.01667
|  | 341 | 0.00927
|  | 342 | 0.00541
|  | 343 | 0.00231
|  | 344 | 0.000384
|  | 345 | 0.01037
|  | 346 | 0.01034
|  | 347 | 0.01224
|  | 348 | 0.00992
|  | 349 | 0.00114
|  | 350 | 0.02052
|  | 351 | 0.01553
|  | 352 | 0.02042
|  | 353 | 0.00681
|  | 354 | 0.02376
|  | 355 | 0.00452
|  | 356 | 0.01918
|  | 357 | 0.03564
|  | 358 | 0.09995
|  | 359 | 0.1471
|  | 360 | 0.26334
|  | 361 | 0.41828
|  | 362 | 0.63696
|  | 363 | 0.98215
|  | 364 | 1.4063
|  | 365 | 1.9476
|  | 366 | 2.6716
|  | 367 | 3.5795
|  | 368 | 4.6733
|  | 369 | 6.0453
|  | 370 | 7.6547
|  | 371 | 9.5197
|  | 372 | 11.5013
|  | 373 | 13.7468
|  | 374 | 16.2408
|  | 375 | 18.8246
|  | 376 | 21.592
|  | 377 | 24.5341
|  | 378 | 27.5903
|  | 379 | 31.3238
|  | 380 | 34.5039
|  | 381 | 37.7089
|  | 382 | 40.8273
|  | 383 | 43.7245
|  | 384 | 46.5107
|  | 385 | 49.2172
|  | 386 | 51.7638
|  | 387 | 54.117
|  | 388 | 56.4016
|  | 389 | 58.3913
|  | 390 | 60.1518
|  | 391 | 61.8946
|  | 392 | 63.4875
|  | 393 | 64.862
|  | 394 | 66.068
|  | 395 | 67.1911
|  | 396 | 68.0259
|  | 397 | 68.9531
|  | 398 | 69.7942
|  | 399 | 70.5217
|  | 400 | 71.1672
|  | 401 | 71.8548
|  | 402 | 72.411
|  | 403 | 72.7786
|  | 404 | 73.3078
|  | 405 | 73.7113
|  | 406 | 74.2657
|  | 407 | 74.624
|  | 408 | 74.9636
|  | 409 | 75.3361
|  | 410 | 75.6655
|  | 411 | 75.9902
|  | 412 | 76.4278
|  | 413 | 76.8847
|  | 414 | 77.2384
|  | 415 | 77.6411
|  | 416 | 77.8504
|  | 417 | 78.1101
|  | 418 | 78.3968
|  | 419 | 78.7828
|  | 420 | 79.1567
|  | 421 | 79.5938
|  | 422 | 79.9698
|  | 423 | 80.2197
|  | 424 | 80.4757
|  | 425 | 80.7109
|  | 426 | 80.9969
|  | 427 | 81.3094
|  | 428 | 81.6808
|  | 429 | 82.0504
|  | 430 | 82.2468
|  | 431 | 82.4205
|  | 432 | 82.5483
|  | 433 | 82.7673
|  | 434 | 82.9788
|  | 435 | 83.2863
|  | 436 | 83.5494
|  | 437 | 83.8307
|  | 438 | 84.0986
|  | 439 | 84.2492
|  | 440 | 84.3396
|  | 441 | 84.4141
|  | 442 | 84.6601
|  | 443 | 84.8822
|  | 444 | 85.0596
|  | 445 | 85.3541
|  | 446 | 85.4909
|  | 447 | 85.5768
|  | 448 | 85.6712
|  | 449 | 85.7158
|  | 450 | 85.8588
|  | 451 | 85.9964
|  | 452 | 86.2362
|  | 453 | 86.5066
|  | 454 | 86.6255
|  | 455 | 86.8725
|  | 456 | 87.0065
|  | 457 | 87.0421
|  | 458 | 87.0408
|  | 459 | 87.0818
|  | 460 | 87.1663
|  | 461 | 87.371
|  | 462 | 87.5829
|  | 463 | 87.7691
|  | 464 | 87.9089
|  | 465 | 88.0796
|  | 466 | 88.1825
|  | 467 | 88.1558
|  | 468 | 88.2204
|  | 469 | 88.3263
|  | 470 | 88.3959
|  | 471 | 88.56
|  | 472 | 88.7362
|  | 473 | 88.9309
|  | 474 | 89.027
|  | 475 | 89.0901
|  | 476 | 89.1491
|  | 477 | 89.1446
|  | 478 | 89.136
|  | 479 | 89.2483
|  | 480 | 89.4403
|  | 481 | 89.6232
|  | 482 | 89.7939
|  | 483 | 89.8776
|  | 484 | 90.0278
|  | 485 | 90.1411
|  | 486 | 90.0613
|  | 487 | 90.0442
|  | 488 | 90.0799
|  | 489 | 90.1448
|  | 490 | 90.1814
|  | 491 | 90.2789
|  | 492 | 90.4122
|  | 493 | 90.5301
|  | 494 | 90.6536
|  | 495 | 90.6817
|  | 496 | 90.6926
|  | 497 | 90.6925
|  | 498 | 90.6844
|  | 499 | 90.6379
|  | 500 | 90.6064
|  | 501 | 90.7
|  | 502 | 90.7883
|  | 503 | 90.9133
|  | 504 | 90.9893
|  | 505 | 91.0418
|  | 506 | 91.0662
|  | 507 | 91.0811
|  | 508 | 91.0435
|  | 509 | 90.9715
|  | 510 | 90.9188
|  | 511 | 90.8676
|  | 512 | 90.8774
|  | 513 | 90.9618
|  | 514 | 91.0074
|  | 515 | 91.0919
|  | 516 | 91.1961
|  | 517 | 91.2651
|  | 518 | 91.3054
|  | 519 | 91.3158
|  | 520 | 91.2725
|  | 521 | 91.153
|  | 522 | 91.0568
|  | 523 | 91.0418
|  | 524 | 91.029
|  | 525 | 91.1324
|  | 526 | 91.2625
|  | 527 | 91.2899
|  | 528 | 91.381
|  | 529 | 91.5004
|  | 530 | 91.5045
|  | 531 | 91.4801
|  | 532 | 91.4386
|  | 533 | 91.369
|  | 534 | 91.3505
|  | 535 | 91.3358
|  | 536 | 91.3863
|  | 537 | 91.4541
|  | 538 | 91.5318
|  | 539 | 91.6902
|  | 540 | 91.8251
|  | 541 | 91.9647
|  | 542 | 92.0254
|  | 543 | 92.0547
|  | 544 | 92.0874
|  | 545 | 92.0807
|  | 546 | 92.0203
|  | 547 | 91.9938
|  | 548 | 91.9833
|  | 549 | 92.0103
|  | 550 | 92.094
|  | 551 | 92.1886
|  | 552 | 92.2982
|  | 553 | 92.4356
|  | 554 | 92.6158
|  | 555 | 92.7
|  | 556 | 92.7504
|  | 557 | 92.7546
|  | 558 | 92.722
|  | 559 | 92.68
|  | 560 | 92.646
|  | 561 | 92.5562
|  | 562 | 92.4681
|  | 563 | 92.5054
|  | 564 | 92.6023
|  | 565 | 92.6663
|  | 566 | 92.7811
|  | 567 | 92.9025
|  | 568 | 92.996
|  | 569 | 93.0838
|  | 570 | 93.1892
|  | 571 | 93.1796
|  | 572 | 93.0985
|  | 573 | 93.0302
|  | 574 | 92.9529
|  | 575 | 92.989
|  | 576 | 92.9504
|  | 577 | 92.8923
|  | 578 | 92.9509
|  | 579 | 93.0035
|  | 580 | 93.0568
|  | 581 | 93.2006
|  | 582 | 93.2884
|  | 583 | 93.3218
|  | 584 | 93.3942
|  | 585 | 93.4184
|  | 586 | 93.431
|  | 587 | 93.4494
|  | 588 | 93.3667
|  | 589 | 93.2812
|  | 590 | 93.2121
|  | 591 | 93.1396
|  | 592 | 93.1138
|  | 593 | 93.142
|  | 594 | 93.1883
|  | 595 | 93.287
|  | 596 | 93.2908
|  | 597 | 93.4167
|  | 598 | 93.5156
|  | 599 | 93.4998
|  | 600 | 93.4868
|  | 601 | 93.4964
|  | 602 | 93.467
|  | 603 | 93.4216
|  | 604 | 93.3508
|  | 605 | 93.295
|  | 606 | 93.2541
|  | 607 | 93.271
|  | 608 | 93.2142
|  | 609 | 93.1424
|  | 610 | 93.1364
|  | 611 | 93.237
|  | 612 | 93.3212
|  | 613 | 93.3646
|  | 614 | 93.4207
|  | 615 | 93.4131
|  | 616 | 93.5225
|  | 617 | 93.5858
|  | 618 | 93.5496
|  | 619 | 93.5768
|  | 620 | 93.3849
|  | 621 | 93.3231
|  | 622 | 93.2289
|  | 623 | 93.1417
|  | 624 | 93.1261
|  | 625 | 93.0659
|  | 626 | 93.0291
|  | 627 | 93.0181
|  | 628 | 93.0443
|  | 629 | 93.0365
|  | 630 | 93.1154
|  | 631 | 93.1988
|  | 632 | 93.2124
|  | 633 | 93.3023
|  | 634 | 93.3452
|  | 635 | 93.3552
|  | 636 | 93.3084
|  | 637 | 93.2964
|  | 638 | 93.2427
|  | 639 | 93.136
|  | 640 | 93.0683
|  | 641 | 93.0108
|  | 642 | 92.917
|  | 643 | 92.8445
|  | 644 | 92.7908
|  | 645 | 92.8203
|  | 646 | 92.8619
|  | 647 | 92.8735
|  | 648 | 92.9613
|  | 649 | 92.9899
|  | 650 | 93.1179
|  | 651 | 93.1717
|  | 652 | 93.061
|  | 653 | 93.1088
|  | 654 | 93.1642
|  | 655 | 93.1491
|  | 656 | 93.0037
|  | 657 | 93.0092
|  | 658 | 92.8564
|  | 659 | 92.797
|  | 660 | 92.7123
|  | 661 | 92.6133
|  | 662 | 92.6262
|  | 663 | 92.5375
|  | 664 | 92.5599
|  | 665 | 92.5185
|  | 666 | 92.6173
|  | 667 | 92.65
|  | 668 | 92.6409
|  | 669 | 92.6232
|  | 670 | 92.733
|  | 671 | 92.7831
|  | 672 | 92.8477
|  | 673 | 92.8503
|  | 674 | 92.8732
|  | 675 | 92.7868
|  | 676 | 92.7723
|  | 677 | 92.7324
|  | 678 | 92.5217
|  | 679 | 92.4472
|  | 680 | 92.4236
|  | 681 | 92.3298
|  | 682 | 92.1506
|  | 683 | 92.1076
|  | 684 | 92.002
|  | 685 | 92.0628
|  | 686 | 91.9659
|  | 687 | 91.9512
|  | 688 | 91.9208
|  | 689 | 91.9457
|  | 690 | 92.0362
|  | 691 | 91.9112
|  | 692 | 91.9864
|  | 693 | 92.0324
|  | 694 | 91.9424
|  | 695 | 91.8812
|  | 696 | 91.6602
|  | 697 | 91.6273
|  | 698 | 91.6523
|  | 699 | 91.4014
|  | 700 | 91.2824
|  | 701 | 91.2223
|  | 702 | 91.0098
|  | 703 | 90.8755
|  | 704 | 90.7187
|  | 705 | 90.5191
|  | 706 | 90.4535
|  | 707 | 90.3654
|  | 708 | 90.2747
|  | 709 | 90.1641
|  | 710 | 90.1708
|  | 711 | 90.0945
|  | 712 | 90.0152
|  | 713 | 89.8717
|  | 714 | 89.8513
|  | 715 | 89.7217
|  | 716 | 89.6
|  | 717 | 89.4932
|  | 718 | 89.2757
|  | 719 | 89.1767
|  | 720 | 88.9497
|  | 721 | 88.6966
|  | 722 | 88.4457
|  | 723 | 88.2341
|  | 724 | 87.9119
|  | 725 | 87.6946
|  | 726 | 87.3822
|  | 727 | 87.2246
|  | 728 | 86.8905
|  | 729 | 86.7142
|  | 730 | 86.4686
|  | 731 | 86.2809
|  | 732 | 86.0222
|  | 733 | 85.8624
|  | 734 | 85.7165
|  | 735 | 85.4631
|  | 736 | 85.2329
|  | 737 | 85.2747
|  | 738 | 84.9798
|  | 739 | 84.8862
|  | 740 | 84.57
|  | 741 | 84.3059
|  | 742 | 84.1012
|  | 743 | 83.8729
|  | 744 | 83.4238
|  | 745 | 83.0737
|  | 746 | 82.8573
|  | 747 | 82.5048
|  | 748 | 82.1301
|  | 749 | 81.7088
|  | 750 | 81.3506
|  | 751 | 81.0757
|  | 752 | 80.767
|  | 753 | 80.4377
|  | 754 | 80.0599
|  | 755 | 79.7424
|  | 756 | 79.391
|  | 757 | 79.1149
|  | 758 | 78.8032
|  | 759 | 78.5131
|  | 760 | 78.2086
|  | 761 | 77.8899
|  | 762 | 77.5899
|  | 763 | 77.1868
|  | 764 | 76.9608
|  | 765 | 76.6996
|  | 766 | 76.3001
|  | 767 | 75.9349
|  | 768 | 75.6613
|  | 769 | 75.2614
|  | 770 | 74.7308
|  | 771 | 74.4717
|  | 772 | 74.0776
|  | 773 | 73.701
|  | 774 | 73.2461
|  | 775 | 72.84
|  | 776 | 72.4504
|  | 777 | 71.9346
|  | 778 | 71.5643
|  | 779 | 71.1388
|  | 780 | 70.6754
|  | 781 | 70.2892
|  | 782 | 69.9467
|  | 783 | 69.5796
|  | 784 | 69.0515
|  | 785 | 68.8886
|  | 786 | 68.4282
|  | 787 | 68.1235
|  | 788 | 67.654
|  | 789 | 67.3381
|  | 790 | 66.9916
|  | 791 | 66.6622
|  | 792 | 66.3315
|  | 793 | 66.0185
|  | 794 | 65.5914
|  | 795 | 65.1517
|  | 796 | 64.729
|  | 797 | 64.3674
|  | 798 | 63.9382
|  | 799 | 63.5524
|  | 800 | 63.1851
|  | 801 | 62.6779
|  | 802 | 62.2262
|  | 803 | 61.8284
|  | 804 | 61.2671
|  | 805 | 60.7893
|  | 806 | 60.4287
|  | 807 | 60.0984
|  | 808 | 59.5997
|  | 809 | 59.1219
|  | 810 | 58.7297
|  | 811 | 58.3213
|  | 812 | 57.8544
|  | 813 | 57.5402
|  | 814 | 57.1532
|  | 815 | 56.8297
|  | 816 | 56.5692
|  | 817 | 56.0641
|  | 818 | 55.7059
|  | 819 | 55.3667
|  | 820 | 55.0491
|  | 821 | 54.6074
|  | 822 | 54.1923
|  | 823 | 53.8518
|  | 824 | 53.6434
|  | 825 | 53.1863
|  | 826 | 52.8108
|  | 827 | 52.397
|  | 828 | 52.0171
|  | 829 | 51.6262
|  | 830 | 51.3116
|  | 831 | 50.8689
|  | 832 | 50.4524
|  | 833 | 50.0652
|  | 834 | 49.6649
|  | 835 | 49.2805
|  | 836 | 48.7385
|  | 837 | 48.4425
|  | 838 | 48.0671
|  | 839 | 47.6765
|  | 840 | 47.3497
|  | 841 | 46.9147
|  | 842 | 46.5402
|  | 843 | 46.1593
|  | 844 | 45.8315
|  | 845 | 45.5801
|  | 846 | 45.2032
|  | 847 | 44.8456
|  | 848 | 44.6991
|  | 849 | 44.406
|  | 850 | 43.9881
|  | 851 | 43.722
|  | 852 | 43.2811
|  | 853 | 42.8641
|  | 854 | 42.6439
|  | 855 | 42.392
|  | 856 | 42.1719
|  | 857 | 41.6953
|  | 858 | 41.4333
|  | 859 | 41.1744
|  | 860 | 40.2956
|  | 861 | 39.2248
|  | 862 | 38.5814
|  | 863 | 37.7858
|  | 864 | 38.0082
|  | 865 | 37.5624
|  | 866 | 36.7349
|  | 867 | 36.8994
|  | 868 | 37.1879
|  | 869 | 37.1167
|  | 870 | 36.3733
|  | 871 | 35.3681
|  | 872 | 35.6767
|  | 873 | 35.6713
|  | 874 | 34.9046
|  | 875 | 34.4511
|  | 876 | 34.6524
|  | 877 | 34.4588
|  | 878 | 33.8757
|  | 879 | 33.4275
|  | 880 | 33.3058
|  | 881 | 33.2129
|  | 882 | 32.7926
|  | 883 | 32.2732
|  | 884 | 32.2869
|  | 885 | 32.4816
|  | 886 | 31.7748
|  | 887 | 31.3248
|  | 888 | 31.4412
|  | 889 | 31.4012
|  | 890 | 31.013
|  | 891 | 30.7722
|  | 892 | 30.7048
|  | 893 | 30.3655
|  | 894 | 29.8834
|  | 895 | 29.5233
|  | 896 | 29.6232
|  | 897 | 29.4586
|  | 898 | 29.0947
|  | 899 | 28.8116
|  | 900 | 28.8052
|  | 901 | 28.6534
|  | 902 | 28.3961
|  | 903 | 28.2351
|  | 904 | 28.1005
|  | 905 | 28.0501
|  | 906 | 27.6711
|  | 907 | 27.1931
|  | 908 | 27.1861
|  | 909 | 27.1446
|  | 910 | 26.7468
|  | 911 | 26.5668
|  | 912 | 26.6436
|  | 913 | 26.4225
|  | 914 | 25.8915
|  | 915 | 25.7619
|  | 916 | 25.828
|  | 917 | 25.6191
|  | 918 | 25.1883
|  | 919 | 24.904
|  | 920 | 24.9389
|  | 921 | 25.0119
|  | 922 | 24.6806
|  | 923 | 24.3745
|  | 924 | 24.3916
|  | 925 | 24.3307
|  | 926 | 24.1516
|  | 927 | 23.9598
|  | 928 | 23.722
|  | 929 | 23.5307
|  | 930 | 23.4359
|  | 931 | 23.3488
|  | 932 | 23.2048
|  | 933 | 22.9896
|  | 934 | 22.7886
|  | 935 | 22.6406
|  | 936 | 22.7051
|  | 937 | 22.6873
|  | 938 | 22.2999
|  | 939 | 22.0779
|  | 940 | 22.0395
|  | 941 | 21.8744
|  | 942 | 21.6806
|  | 943 | 21.6247
|  | 944 | 21.5226
|  | 945 | 21.4521
|  | 946 | 21.3162
|  | 947 | 21.1091
|  | 948 | 21.1191
|  | 949 | 21.0169
|  | 950 | 20.6656
|  | 951 | 20.6035
|  | 952 | 20.6425
|  | 953 | 20.4684
|  | 954 | 20.2198
|  | 955 | 20.1739
|  | 956 | 20.1082
|  | 957 | 19.8937
|  | 958 | 19.7775
|  | 959 | 19.6546
|  | 960 | 19.6342
|  | 961 | 19.6023
|  | 962 | 19.3443
|  | 963 | 19.2445
|  | 964 | 19.2894
|  | 965 | 19.2174
|  | 966 | 18.9731
|  | 967 | 18.9057
|  | 968 | 18.8689
|  | 969 | 18.693
|  | 970 | 18.541
|  | 971 | 18.4635
|  | 972 | 18.5035
|  | 973 | 18.4652
|  | 974 | 18.2086
|  | 975 | 18.1494
|  | 976 | 18.1491
|  | 977 | 18.0505
|  | 978 | 17.8648
|  | 979 | 17.7956
|  | 980 | 17.7805
|  | 981 | 17.7398
|  | 982 | 17.5945
|  | 983 | 17.4838
|  | 984 | 17.4926
|  | 985 | 17.4611
|  | 986 | 17.186
|  | 987 | 17.0878
|  | 988 | 17.1119
|  | 989 | 17.1046
|  | 990 | 16.8654
|  | 991 | 16.8285
|  | 992 | 16.8265
|  | 993 | 16.7798
|  | 994 | 16.5979
|  | 995 | 16.5084
|  | 996 | 16.5803
|  | 997 | 16.5764
|  | 998 | 16.3729
|  | 999 | 16.2764
|  | 1000 | 16.2878
|  | 1001 | 16.2683
|  | 1002 | 16.1168
|  | 1003 | 16.03
|  | 1004 | 16.047
|  | 1005 | 15.9081
|  | 1006 | 15.7444
|  | 1007 | 15.7602
|  | 1008 | 15.7554
|  | 1009 | 15.7523
|  | 1010 | 15.5826
|  | 1011 | 15.5451
|  | 1012 | 15.5919
|  | 1013 | 15.5267
|  | 1014 | 15.4175
|  | 1015 | 15.3879
|  | 1016 | 15.4217
|  | 1017 | 15.3053
|  | 1018 | 15.1663
|  | 1019 | 15.1726
|  | 1020 | 15.1979
|  | 1021 | 15.1421
|  | 1022 | 14.9434
|  | 1023 | 14.9314
|  | 1024 | 14.9896
|  | 1025 | 15.0124
|  | 1026 | 14.8393
|  | 1027 | 14.785
|  | 1028 | 14.7935
|  | 1029 | 14.8052
|  | 1030 | 14.6743
|  | 1031 | 14.6322
|  | 1032 | 14.6421
|  | 1033 | 14.5828
|  | 1034 | 14.4483
|  | 1035 | 14.5174
|  | 1036 | 14.4001
|  | 1037 | 14.4564
|  | 1038 | 14.2391
|  | 1039 | 14.3147
|  | 1040 | 14.2852
|  | 1041 | 14.235
|  | 1042 | 14.1255
|  | 1043 | 14.1237
|  | 1044 | 14.1531
|  | 1045 | 14.1433
|  | 1046 | 14.0396
|  | 1047 | 13.9907
|  | 1048 | 13.8346
|  | 1049 | 13.9921
|  | 1050 | 13.8808
|  | 1051 | 13.9197
|  | 1052 | 13.8547
|  | 1053 | 13.9023
|  | 1054 | 13.7904
|  | 1055 | 13.745
|  | 1056 | 13.7228
|  | 1057 | 13.8421
|  | 1058 | 13.6478
|  | 1059 | 13.6225
|  | 1060 | 13.6949
|  | 1061 | 13.6371
|  | 1062 | 13.4791
|  | 1063 | 13.5803
|  | 1064 | 13.5994
|  | 1065 | 13.527
|  | 1066 | 13.4012
|  | 1067 | 13.5198
|  | 1068 | 13.5223
|  | 1069 | 13.4608
|  | 1070 | 13.3077
|  | 1071 | 13.385
|  | 1072 | 13.3719
|  | 1073 | 13.4002
|  | 1074 | 13.2856
|  | 1075 | 13.3176
|  | 1076 | 13.3479
|  | 1077 | 13.3457
|  | 1078 | 13.1562
|  | 1079 | 13.2147
|  | 1080 | 13.2298
|  | 1081 | 13.271
|  | 1082 | 13.03
|  | 1083 | 13.1723
|  | 1084 | 13.1863
|  | 1085 | 13.1248
|  | 1086 | 13.0468
|  | 1087 | 13.1233
|  | 1088 | 13.1504
|  | 1089 | 13.1189
|  | 1090 | 12.9812
|  | 1091 | 13.0246
|  | 1092 | 13.0762
|  | 1093 | 13.1366
|  | 1094 | 12.9327
|  | 1095 | 13.0153
|  | 1096 | 12.9978
|  | 1097 | 13.0189
|  | 1098 | 12.9241
|  | 1099 | 12.9787
|  | 1100 | 13.0008

## Axial Color Correction
TL1X-SAP Axial Color Correction
|  | Wavelength (nm) | Theoretical Axial Focal Shift (mm)
|  | 420 | 0
|  | 422.75 | -0.02341
|  | 425.5 | -0.04571
|  | 428.25 | -0.06695
Product Raw Data |  | 431 | -0.08716
Thorlabs Super Apochromatic Microscope Objective, 1X Magnification |  | 433.75 | -0.1064
|  | 436.5 | -0.12468
Item # | TL1X-SAP | 439.25 | -0.14207
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 442 | -0.15859
|  | 444.75 | -0.17428
|  | 447.5 | -0.18917
|  | 450.25 | -0.20331
|  | 453 | -0.21671
|  | 455.75 | -0.22942
This data may be used in publications. However, please cite Thorlabs as the source. |  | 458.5 | -0.24145
|  | 461.25 | -0.25285
|  | 464 | -0.26363
Additional Information: |  | 466.75 | -0.27383
|  | 469.5 | -0.28346
|  | 472.25 | -0.29256
|  | 475 | -0.30114
|  | 477.75 | -0.30923
|  | 480.5 | -0.31685
|  | 483.25 | -0.32401
|  | 486 | -0.33074
|  | 488.75 | -0.33706
|  | 491.5 | -0.34298
|  | 494.25 | -0.34852
|  | 497 | -0.35369
|  | 499.75 | -0.35851
|  | 502.5 | -0.363
|  | 505.25 | -0.36717
|  | 508 | -0.37103
|  | 510.75 | -0.37459
|  | 513.5 | -0.37787
|  | 516.25 | -0.38087
|  | 519 | -0.38362
|  | 521.75 | -0.38611
|  | 524.5 | -0.38837
|  | 527.25 | -0.39039
|  | 530 | -0.39219
|  | 532.75 | -0.39377
|  | 535.5 | -0.39515
|  | 538.25 | -0.39634
|  | 541 | -0.39733
|  | 543.75 | -0.39814
|  | 546.5 | -0.39877
|  | 549.25 | -0.39924
|  | 552 | -0.39954
|  | 554.75 | -0.39968
|  | 557.5 | -0.39967
|  | 560.25 | -0.39952
|  | 563 | -0.39922
|  | 565.75 | -0.39879
|  | 568.5 | -0.39823
|  | 571.25 | -0.39754
|  | 574 | -0.39673
|  | 576.75 | -0.39581
|  | 579.5 | -0.39476
|  | 582.25 | -0.39361
|  | 585 | -0.39235
|  | 587.75 | -0.39099
|  | 590.5 | -0.38953
|  | 593.25 | -0.38797
|  | 596 | -0.38632
|  | 598.75 | -0.38458
|  | 601.5 | -0.38275
|  | 604.25 | -0.38084
|  | 607 | -0.37884
|  | 609.75 | -0.37677
|  | 612.5 | -0.37461
|  | 615.25 | -0.37239
|  | 618 | -0.37008
|  | 620.75 | -0.36771
|  | 623.5 | -0.36527
|  | 626.25 | -0.36276
|  | 629 | -0.36019
|  | 631.75 | -0.35755
|  | 634.5 | -0.35485
|  | 637.25 | -0.35209
|  | 640 | -0.34927
|  | 642.75 | -0.34639
|  | 645.5 | -0.34346
|  | 648.25 | -0.34048
|  | 651 | -0.33744
|  | 653.75 | -0.33435
|  | 656.5 | -0.33121
|  | 659.25 | -0.32802
|  | 662 | -0.32478
|  | 664.75 | -0.32149
|  | 667.5 | -0.31816
|  | 670.25 | -0.31478
|  | 673 | -0.31136
|  | 675.75 | -0.30789
|  | 678.5 | -0.30439
|  | 681.25 | -0.30084
|  | 684 | -0.29725
|  | 686.75 | -0.29362
|  | 689.5 | -0.28995
|  | 692.25 | -0.28624
|  | 695 | -0.2825
|  | 697.75 | -0.27872
|  | 700.5 | -0.2749
|  | 703.25 | -0.27104
|  | 706 | -0.26715
|  | 708.75 | -0.26323
|  | 711.5 | -0.25927
|  | 714.25 | -0.25528
|  | 717 | -0.25126
|  | 719.75 | -0.2472
|  | 722.5 | -0.24311
|  | 725.25 | -0.23899
|  | 728 | -0.23484
|  | 730.75 | -0.23066
|  | 733.5 | -0.22644
|  | 736.25 | -0.2222
|  | 739 | -0.21793
|  | 741.75 | -0.21363
|  | 744.5 | -0.2093
|  | 747.25 | -0.20494
|  | 750 | -0.20055

## Strehl Ratio
TL1X-SAP Strehl Ratio
|  | Field (°) | Strehl Ratio
|  |  | Measured | Theoretical
|  | -3.1481 | 0.836 | 0.947
|  | -2.1476 | 0.846 | 0.95
|  | -1.0742 | 0.913 | 0.968
|  | 0 | 0.926 | 0.974
Product Raw Data |  | 1.0742 | 0.929 | 0.968
Thorlabs Super Apochromatic Microscope Objective, 1X Magnification |  | 2.1476 | 0.898 | 0.95
|  | 3.1481 | 0.911 | 0.947
Item # | TL1X-SAP
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data.
This data may be used in publications. However, please cite Thorlabs as the source.
Additional Information:

## Strehl Ratio vs. Wavelength
TL1X-SAP Strehl Ratio
|  | Wavelength (nm) | Strehl Ratio
|  |  | On Axis | 1° Off Axis | 1.65° Off Axis | 3.25° Off Axis
|  | 420 | 0.93872 | 0.92392 | 0.86674 | 0.51007
|  | 431.2 | 0.88994 | 0.88488 | 0.86765 | 0.62778
|  | 442.4 | 0.84579 | 0.84824 | 0.86071 | 0.70256
|  | 453.6 | 0.81204 | 0.82066 | 0.85502 | 0.75111
Product Raw Data |  | 464.8 | 0.79077 | 0.80378 | 0.85262 | 0.78206
Thorlabs Super Apochromatic Microscope Objective, 1X Magnification |  | 476 | 0.78088 | 0.79705 | 0.85454 | 0.80099
|  | 487.2 | 0.7803 | 0.79818 | 0.86071 | 0.8115
Item # | TL1X-SAP | 498.4 | 0.78673 | 0.806 | 0.86993 | 0.81584
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 509.6 | 0.79874 | 0.81799 | 0.88058 | 0.81476
|  | 520.8 | 0.81422 | 0.8332 | 0.89243 | 0.80986
|  | 532 | 0.83114 | 0.84922 | 0.90405 | 0.80155
|  | 543.2 | 0.84922 | 0.86628 | 0.915 | 0.7902
|  | 554.4 | 0.86719 | 0.88317 | 0.92495 | 0.77615
|  | 565.6 | 0.88445 | 0.89892 | 0.93364 | 0.76043
This data may be used in publications. However, please cite Thorlabs as the source. |  | 576.8 | 0.90051 | 0.91353 | 0.94087 | 0.7429
|  | 588 | 0.91537 | 0.92666 | 0.94625 | 0.72343
|  | 599.2 | 0.92869 | 0.93809 | 0.94997 | 0.70325
Additional Information: |  | 610.4 | 0.94026 | 0.94769 | 0.95191 | 0.68164
|  | 621.6 | 0.95025 | 0.9557 | 0.95219 | 0.65855
|  | 632.8 | 0.9583 | 0.96206 | 0.95108 | 0.63541
|  | 644 | 0.96471 | 0.9668 | 0.94827 | 0.61151
|  | 655.2 | 0.96971 | 0.96971 | 0.94419 | 0.58685
|  | 666.4 | 0.9729 | 0.97122 | 0.93872 | 0.56226
|  | 677.6 | 0.97453 | 0.97122 | 0.93168 | 0.53696
|  | 688.8 | 0.97493 | 0.96993 | 0.92392 | 0.51183
|  | 700 | 0.97372 | 0.96726 | 0.915 | 0.48604