## Transmission
TL28X-MP Transmission
|  | Wavelength (nm) | % Transmission
|  | 1650 | 46.7682
|  | 1649 | 47.1112
|  | 1648 | 47.3852
|  | 1647 | 47.7527
Product Raw Data |  | 1646 | 48.0228
Thorlabs Plan Apochromatic NIR Microscope Objective, 28X Magnification |  | 1645 | 48.338
|  | 1644 | 48.6707
|  | 1643 | 48.929
Item # | TL28X-MP | 1642 | 49.2521
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1641 | 49.5775
|  | 1640 | 49.8589
|  | 1639 | 50.1774
|  | 1638 | 50.5051
|  | 1637 | 50.9158
|  | 1636 | 50.8582
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1635 | 51.1479
|  | 1634 | 51.4406
|  | 1633 | 51.6427
Additional Information: |  | 1632 | 51.9388
|  | 1631 | 52.091
|  | 1630 | 52.3671
|  | 1629 | 52.678
|  | 1628 | 52.9097
|  | 1627 | 53.1348
|  | 1626 | 53.3724
|  | 1625 | 53.6497
|  | 1624 | 54.1234
|  | 1623 | 54.2513
|  | 1622 | 54.5918
|  | 1621 | 54.8503
|  | 1620 | 55.0356
|  | 1619 | 55.3591
|  | 1618 | 55.6839
|  | 1617 | 55.9102
|  | 1616 | 56.1746
|  | 1615 | 56.462
|  | 1614 | 56.6865
|  | 1613 | 56.9845
|  | 1612 | 57.3713
|  | 1611 | 57.6315
|  | 1610 | 57.9662
|  | 1609 | 58.1422
|  | 1608 | 58.5452
|  | 1607 | 58.762
|  | 1606 | 59.0008
|  | 1605 | 59.3004
|  | 1604 | 59.5528
|  | 1603 | 59.8558
|  | 1602 | 60.131
|  | 1601 | 60.3695
|  | 1600 | 60.6881
|  | 1599 | 61.1481
|  | 1598 | 61.3776
|  | 1597 | 61.609
|  | 1596 | 62.0206
|  | 1595 | 62.1876
|  | 1594 | 62.4898
|  | 1593 | 62.7056
|  | 1592 | 62.9305
|  | 1591 | 63.3629
|  | 1590 | 63.5258
|  | 1589 | 63.7895
|  | 1588 | 64.0784
|  | 1587 | 64.3587
|  | 1586 | 64.6635
|  | 1585 | 64.9212
|  | 1584 | 65.2369
|  | 1583 | 65.5421
|  | 1582 | 65.8062
|  | 1581 | 65.9905
|  | 1580 | 66.2844
|  | 1579 | 66.5467
|  | 1578 | 66.9389
|  | 1577 | 67.2811
|  | 1576 | 67.6053
|  | 1575 | 67.9673
|  | 1574 | 68.2228
|  | 1573 | 68.6156
|  | 1572 | 68.9619
|  | 1571 | 69.2673
|  | 1570 | 69.5966
|  | 1569 | 69.9748
|  | 1568 | 70.2503
|  | 1567 | 70.5683
|  | 1566 | 70.9293
|  | 1565 | 71.2981
|  | 1564 | 71.5314
|  | 1563 | 71.8859
|  | 1562 | 72.2447
|  | 1561 | 72.5338
|  | 1560 | 72.8623
|  | 1559 | 73.2341
|  | 1558 | 73.4177
|  | 1557 | 73.828
|  | 1556 | 74.1779
|  | 1555 | 74.3589
|  | 1554 | 74.72
|  | 1553 | 74.9415
|  | 1552 | 75.1457
|  | 1551 | 75.4448
|  | 1550 | 75.7281
|  | 1549 | 75.9263
|  | 1548 | 76.1381
|  | 1547 | 76.3852
|  | 1546 | 76.6775
|  | 1545 | 76.8878
|  | 1544 | 77.0685
|  | 1543 | 77.3932
|  | 1542 | 77.5174
|  | 1541 | 77.7635
|  | 1540 | 77.9706
|  | 1539 | 78.1244
|  | 1538 | 78.3563
|  | 1537 | 78.5783
|  | 1536 | 78.8245
|  | 1535 | 78.9893
|  | 1534 | 79.1522
|  | 1533 | 79.3885
|  | 1532 | 79.5632
|  | 1531 | 79.7828
|  | 1530 | 79.9707
|  | 1529 | 80.1022
|  | 1528 | 80.3782
|  | 1527 | 80.4591
|  | 1526 | 80.6935
|  | 1525 | 80.8553
|  | 1524 | 80.9976
|  | 1523 | 81.2621
|  | 1522 | 81.273
|  | 1521 | 81.5666
|  | 1520 | 81.6341
|  | 1519 | 81.7886
|  | 1518 | 81.9353
|  | 1517 | 82.0982
|  | 1516 | 82.2471
|  | 1515 | 82.3417
|  | 1514 | 82.4794
|  | 1513 | 82.7197
|  | 1512 | 82.7741
|  | 1511 | 82.9502
|  | 1510 | 82.9797
|  | 1509 | 83.1065
|  | 1508 | 83.2808
|  | 1507 | 83.3756
|  | 1506 | 83.5153
|  | 1505 | 83.6701
|  | 1504 | 83.7443
|  | 1503 | 83.8727
|  | 1502 | 83.7788
|  | 1501 | 84.0323
|  | 1500 | 84.0952
|  | 1499 | 84.2325
|  | 1498 | 84.1786
|  | 1497 | 84.4383
|  | 1496 | 84.5163
|  | 1495 | 84.3713
|  | 1494 | 84.5538
|  | 1493 | 84.609
|  | 1492 | 84.7071
|  | 1491 | 84.7673
|  | 1490 | 84.7981
|  | 1489 | 84.7633
|  | 1488 | 84.8999
|  | 1487 | 84.8819
|  | 1486 | 84.9626
|  | 1485 | 85.0606
|  | 1484 | 85.078
|  | 1483 | 85.1323
|  | 1482 | 85.1904
|  | 1481 | 85.1988
|  | 1480 | 85.197
|  | 1479 | 85.2423
|  | 1478 | 85.2839
|  | 1477 | 85.2955
|  | 1476 | 85.388
|  | 1475 | 85.2991
|  | 1474 | 85.3264
|  | 1473 | 85.2943
|  | 1472 | 85.3695
|  | 1471 | 85.4238
|  | 1470 | 85.2817
|  | 1469 | 85.2807
|  | 1468 | 85.294
|  | 1467 | 85.3556
|  | 1466 | 85.3252
|  | 1465 | 85.2164
|  | 1464 | 85.1928
|  | 1463 | 85.2207
|  | 1462 | 85.2262
|  | 1461 | 85.0963
|  | 1460 | 85.0858
|  | 1459 | 85.0602
|  | 1458 | 85.1185
|  | 1457 | 85.0608
|  | 1456 | 84.9881
|  | 1455 | 84.8886
|  | 1454 | 84.7722
|  | 1453 | 84.9047
|  | 1452 | 84.7665
|  | 1451 | 84.8041
|  | 1450 | 84.7279
|  | 1449 | 84.7215
|  | 1448 | 84.7011
|  | 1447 | 84.742
|  | 1446 | 84.6726
|  | 1445 | 84.7176
|  | 1444 | 84.7046
|  | 1443 | 84.7666
|  | 1442 | 84.6226
|  | 1441 | 84.6583
|  | 1440 | 84.6513
|  | 1439 | 84.6616
|  | 1438 | 84.601
|  | 1437 | 84.5938
|  | 1436 | 84.5917
|  | 1435 | 84.5062
|  | 1434 | 84.5549
|  | 1433 | 84.4764
|  | 1432 | 84.4692
|  | 1431 | 84.4558
|  | 1430 | 84.4421
|  | 1429 | 84.4129
|  | 1428 | 84.4024
|  | 1427 | 84.4001
|  | 1426 | 84.2678
|  | 1425 | 84.2432
|  | 1424 | 84.279
|  | 1423 | 84.1991
|  | 1422 | 84.1582
|  | 1421 | 84.0699
|  | 1420 | 84.203
|  | 1419 | 83.9257
|  | 1418 | 83.9634
|  | 1417 | 83.9169
|  | 1416 | 83.8858
|  | 1415 | 83.8684
|  | 1414 | 83.8153
|  | 1413 | 83.7527
|  | 1412 | 83.7511
|  | 1411 | 83.5987
|  | 1410 | 83.6645
|  | 1409 | 83.498
|  | 1408 | 83.4467
|  | 1407 | 83.4489
|  | 1406 | 83.374
|  | 1405 | 83.18
|  | 1404 | 83.2561
|  | 1403 | 83.1301
|  | 1402 | 83.042
|  | 1401 | 83.0157
|  | 1400 | 82.9541
|  | 1399 | 82.9334
|  | 1398 | 82.8774
|  | 1397 | 82.7545
|  | 1396 | 82.7926
|  | 1395 | 82.6719
|  | 1394 | 82.6059
|  | 1393 | 82.5163
|  | 1392 | 82.4563
|  | 1391 | 82.4305
|  | 1390 | 82.3522
|  | 1389 | 82.2621
|  | 1388 | 82.1625
|  | 1387 | 82.1815
|  | 1386 | 82.0037
|  | 1385 | 81.9558
|  | 1384 | 82.0939
|  | 1383 | 82.1374
|  | 1382 | 81.9663
|  | 1381 | 81.8798
|  | 1380 | 81.763
|  | 1379 | 81.707
|  | 1378 | 81.6349
|  | 1377 | 81.5893
|  | 1376 | 81.4354
|  | 1375 | 81.4533
|  | 1374 | 81.3923
|  | 1373 | 81.2699
|  | 1372 | 81.4816
|  | 1371 | 81.3791
|  | 1370 | 81.2495
|  | 1369 | 81.1372
|  | 1368 | 81.1314
|  | 1367 | 81.0393
|  | 1366 | 81.015
|  | 1365 | 81.031
|  | 1364 | 80.9477
|  | 1363 | 80.7715
|  | 1362 | 80.8853
|  | 1361 | 80.6529
|  | 1360 | 80.6139
|  | 1359 | 80.7841
|  | 1358 | 80.756
|  | 1357 | 80.6249
|  | 1356 | 80.6851
|  | 1355 | 80.6384
|  | 1354 | 80.5023
|  | 1353 | 80.3234
|  | 1352 | 80.3882
|  | 1351 | 80.3874
|  | 1350 | 80.2383
|  | 1349 | 80.2574
|  | 1348 | 80.2185
|  | 1347 | 80.1351
|  | 1346 | 80.2121
|  | 1345 | 80.1406
|  | 1344 | 80.0945
|  | 1343 | 80.0551
|  | 1342 | 80.0031
|  | 1341 | 80
|  | 1340 | 79.9614
|  | 1339 | 79.9012
|  | 1338 | 79.8798
|  | 1337 | 79.8083
|  | 1336 | 79.8151
|  | 1335 | 79.8316
|  | 1334 | 79.8063
|  | 1333 | 79.8291
|  | 1332 | 79.7784
|  | 1331 | 79.7241
|  | 1330 | 79.7289
|  | 1329 | 79.7114
|  | 1328 | 79.7416
|  | 1327 | 79.6328
|  | 1326 | 79.5548
|  | 1325 | 79.656
|  | 1324 | 79.643
|  | 1323 | 79.497
|  | 1322 | 79.5635
|  | 1321 | 79.719
|  | 1320 | 79.6238
|  | 1319 | 79.6687
|  | 1318 | 79.7188
|  | 1317 | 79.6097
|  | 1316 | 79.6436
|  | 1315 | 79.6355
|  | 1314 | 79.7172
|  | 1313 | 79.6164
|  | 1312 | 79.6023
|  | 1311 | 79.6427
|  | 1310 | 79.5511
|  | 1309 | 79.8446
|  | 1308 | 79.8069
|  | 1307 | 79.8226
|  | 1306 | 79.8194
|  | 1305 | 79.7548
|  | 1304 | 79.7712
|  | 1303 | 79.7224
|  | 1302 | 79.841
|  | 1301 | 79.8147
|  | 1300 | 79.7406
|  | 1299 | 79.6806
|  | 1298 | 79.7517
|  | 1297 | 79.7333
|  | 1296 | 79.9553
|  | 1295 | 79.8492
|  | 1294 | 79.7979
|  | 1293 | 79.8799
|  | 1292 | 79.9383
|  | 1291 | 79.9097
|  | 1290 | 79.978
|  | 1289 | 79.9152
|  | 1288 | 80.0043
|  | 1287 | 80.0381
|  | 1286 | 79.9673
|  | 1285 | 79.9588
|  | 1284 | 79.978
|  | 1283 | 80.1533
|  | 1282 | 80.2017
|  | 1281 | 80.1829
|  | 1280 | 80.2681
|  | 1279 | 80.2728
|  | 1278 | 80.2451
|  | 1277 | 80.2487
|  | 1276 | 80.3696
|  | 1275 | 80.3339
|  | 1274 | 80.4453
|  | 1273 | 80.505
|  | 1272 | 80.4349
|  | 1271 | 80.7409
|  | 1270 | 80.7765
|  | 1269 | 80.784
|  | 1268 | 80.7782
|  | 1267 | 80.9037
|  | 1266 | 80.907
|  | 1265 | 80.9809
|  | 1264 | 81.0366
|  | 1263 | 81.0415
|  | 1262 | 81.1478
|  | 1261 | 81.2087
|  | 1260 | 81.247
|  | 1259 | 81.2905
|  | 1258 | 81.4927
|  | 1257 | 81.5929
|  | 1256 | 81.6621
|  | 1255 | 81.7135
|  | 1254 | 81.7502
|  | 1253 | 81.82
|  | 1252 | 81.8512
|  | 1251 | 81.9885
|  | 1250 | 82.1149
|  | 1249 | 82.0502
|  | 1248 | 82.1679
|  | 1247 | 82.2572
|  | 1246 | 82.3514
|  | 1245 | 82.5101
|  | 1244 | 82.6903
|  | 1243 | 82.7694
|  | 1242 | 82.7438
|  | 1241 | 82.7954
|  | 1240 | 83.0313
|  | 1239 | 83.0427
|  | 1238 | 83.1307
|  | 1237 | 83.1708
|  | 1236 | 83.3579
|  | 1235 | 83.3692
|  | 1234 | 83.5508
|  | 1233 | 83.7276
|  | 1232 | 83.7831
|  | 1231 | 83.9213
|  | 1230 | 84.1029
|  | 1229 | 84.1434
|  | 1228 | 84.2896
|  | 1227 | 84.255
|  | 1226 | 84.4251
|  | 1225 | 84.4516
|  | 1224 | 84.6869
|  | 1223 | 84.8105
|  | 1222 | 84.9176
|  | 1221 | 84.9937
|  | 1220 | 85.2067
|  | 1219 | 85.4046
|  | 1218 | 85.3609
|  | 1217 | 85.5112
|  | 1216 | 85.6197
|  | 1215 | 85.6878
|  | 1214 | 85.8132
|  | 1213 | 86.008
|  | 1212 | 86.0182
|  | 1211 | 86.1577
|  | 1210 | 86.3096
|  | 1209 | 86.4418
|  | 1208 | 86.6782
|  | 1207 | 86.7946
|  | 1206 | 86.9035
|  | 1205 | 86.9728
|  | 1204 | 87.0968
|  | 1203 | 87.2369
|  | 1202 | 87.348
|  | 1201 | 87.3738
|  | 1200 | 87.5
|  | 1199 | 87.6896
|  | 1198 | 87.8053
|  | 1197 | 87.8349
|  | 1196 | 88.0318
|  | 1195 | 88.2029
|  | 1194 | 88.2264
|  | 1193 | 88.3767
|  | 1192 | 88.4849
|  | 1191 | 88.4744
|  | 1190 | 88.7748
|  | 1189 | 88.7393
|  | 1188 | 88.8788
|  | 1187 | 89.0722
|  | 1186 | 89.0937
|  | 1185 | 89.2727
|  | 1184 | 89.2427
|  | 1183 | 89.2526
|  | 1182 | 89.5171
|  | 1181 | 89.7214
|  | 1180 | 89.8196
|  | 1179 | 89.8252
|  | 1178 | 89.994
|  | 1177 | 89.9784
|  | 1176 | 90.0601
|  | 1175 | 90.1456
|  | 1174 | 90.3042
|  | 1173 | 90.4031
|  | 1172 | 90.6158
|  | 1171 | 90.5031
|  | 1170 | 90.6565
|  | 1169 | 90.7227
|  | 1168 | 90.7885
|  | 1167 | 90.8277
|  | 1166 | 90.9261
|  | 1165 | 91.0656
|  | 1164 | 91.0873
|  | 1163 | 91.21
|  | 1162 | 91.2087
|  | 1161 | 91.2341
|  | 1160 | 91.4885
|  | 1159 | 91.4909
|  | 1158 | 91.5295
|  | 1157 | 91.7096
|  | 1156 | 91.6335
|  | 1155 | 91.6861
|  | 1154 | 91.6258
|  | 1153 | 91.8935
|  | 1152 | 91.7379
|  | 1151 | 91.98
|  | 1150 | 92.022
|  | 1149 | 91.9728
|  | 1148 | 92.1765
|  | 1147 | 92.0535
|  | 1146 | 92.0865
|  | 1145 | 92.0997
|  | 1144 | 92.1289
|  | 1143 | 92.236
|  | 1142 | 92.1352
|  | 1141 | 92.3699
|  | 1140 | 92.233
|  | 1139 | 92.2623
|  | 1138 | 92.0893
|  | 1137 | 92.3603
|  | 1136 | 92.1954
|  | 1135 | 92.045
|  | 1134 | 92.2229
|  | 1133 | 92.2866
|  | 1132 | 92.1871
|  | 1131 | 92.2398
|  | 1130 | 92.1895
|  | 1129 | 92.2294
|  | 1128 | 92.1661
|  | 1127 | 92.0827
|  | 1126 | 92.1921
|  | 1125 | 92.1211
|  | 1124 | 92.0223
|  | 1123 | 91.9503
|  | 1122 | 91.9383
|  | 1121 | 91.8335
|  | 1120 | 91.8425
|  | 1119 | 91.8167
|  | 1118 | 91.8149
|  | 1117 | 91.7866
|  | 1116 | 91.8127
|  | 1115 | 91.7047
|  | 1114 | 91.4793
|  | 1113 | 91.5753
|  | 1112 | 91.529
|  | 1111 | 91.2827
|  | 1110 | 91.4956
|  | 1109 | 91.2442
|  | 1108 | 91.2083
|  | 1107 | 91.1488
|  | 1106 | 90.9199
|  | 1105 | 90.8947
|  | 1104 | 90.953
|  | 1103 | 90.6299
|  | 1102 | 90.6132
|  | 1101 | 90.5533
|  | 1100 | 90.3511
|  | 1099 | 90.3102
|  | 1098 | 90.2045
|  | 1097 | 89.9979
|  | 1096 | 89.9388
|  | 1095 | 89.9547
|  | 1094 | 89.6524
|  | 1093 | 89.621
|  | 1092 | 89.5251
|  | 1091 | 89.3789
|  | 1090 | 89.1813
|  | 1089 | 89.1603
|  | 1088 | 88.8823
|  | 1087 | 88.7251
|  | 1086 | 88.4955
|  | 1085 | 88.5091
|  | 1084 | 88.4071
|  | 1083 | 88.157
|  | 1082 | 87.9611
|  | 1081 | 87.9384
|  | 1080 | 87.7902
|  | 1079 | 87.6287
|  | 1078 | 87.4493
|  | 1077 | 87.2585
|  | 1076 | 87.0768
|  | 1075 | 86.8876
|  | 1074 | 86.8245
|  | 1073 | 86.5749
|  | 1072 | 86.3158
|  | 1071 | 86.1874
|  | 1070 | 85.9571
|  | 1069 | 85.8465
|  | 1068 | 85.651
|  | 1067 | 85.4266
|  | 1066 | 85.1649
|  | 1065 | 84.9272
|  | 1064 | 84.8973
|  | 1063 | 84.7469
|  | 1062 | 84.5959
|  | 1061 | 84.1438
|  | 1060 | 84.2632
|  | 1059 | 83.9674
|  | 1058 | 83.8025
|  | 1057 | 83.4983
|  | 1056 | 83.2846
|  | 1055 | 83.2064
|  | 1054 | 83.23
|  | 1053 | 83.0184
|  | 1052 | 82.8045
|  | 1051 | 82.4469
|  | 1050 | 82.4496
|  | 1049 | 82.0913
|  | 1048 | 81.9169
|  | 1047 | 81.7413
|  | 1046 | 81.562
|  | 1045 | 81.391
|  | 1044 | 81.218
|  | 1043 | 81.0422
|  | 1042 | 80.8665
|  | 1041 | 80.6874
|  | 1040 | 80.5104
|  | 1039 | 80.3399
|  | 1038 | 80.1675
|  | 1037 | 79.9952
|  | 1036 | 79.8178
|  | 1035 | 79.6444
|  | 1034 | 79.4762
|  | 1033 | 79.301
|  | 1032 | 79.1351
|  | 1031 | 78.9695
|  | 1030 | 78.7936
|  | 1029 | 78.6262
|  | 1028 | 78.4603
|  | 1027 | 78.2946
|  | 1026 | 78.1298
|  | 1025 | 77.9713
|  | 1024 | 77.8122
|  | 1023 | 77.6546
|  | 1022 | 77.4957
|  | 1021 | 77.3439
|  | 1020 | 77.1942
|  | 1019 | 77.0444
|  | 1018 | 76.8937
|  | 1017 | 76.743
|  | 1016 | 76.5969
|  | 1015 | 76.4436
|  | 1014 | 76.2996
|  | 1013 | 76.1578
|  | 1012 | 76.0173
|  | 1011 | 75.8696
|  | 1010 | 75.7337
|  | 1009 | 75.5984
|  | 1008 | 75.4627
|  | 1007 | 75.3366
|  | 1006 | 75.2087
|  | 1005 | 75.0788
|  | 1004 | 74.952
|  | 1003 | 74.8304
|  | 1002 | 74.7086
|  | 1001 | 74.594
|  | 1000 | 74.4813
|  | 999 | 74.3649
|  | 998 | 74.2553
|  | 997 | 74.1464
|  | 996 | 74.0365
|  | 995 | 73.9375
|  | 994 | 73.8385
|  | 993 | 73.7421
|  | 992 | 73.6436
|  | 991 | 73.5556
|  | 990 | 73.4703
|  | 989 | 73.3803
|  | 988 | 73.2994
|  | 987 | 73.2224
|  | 986 | 73.1416
|  | 985 | 73.0671
|  | 984 | 72.9946
|  | 983 | 72.9241
|  | 982 | 72.8619
|  | 981 | 72.8014
|  | 980 | 72.7406
|  | 979 | 72.6835
|  | 978 | 72.6326
|  | 977 | 72.5841
|  | 976 | 72.5387
|  | 975 | 72.4983
|  | 974 | 72.4595
|  | 973 | 72.4208
|  | 972 | 72.3884
|  | 971 | 72.3593
|  | 970 | 72.3306
|  | 969 | 72.3056
|  | 968 | 72.2885
|  | 967 | 72.2714
|  | 966 | 72.2591
|  | 965 | 72.2489
|  | 964 | 72.2402
|  | 963 | 72.2395
|  | 962 | 72.2409
|  | 961 | 72.2472
|  | 960 | 72.2566
|  | 959 | 72.2635
|  | 958 | 72.2795
|  | 957 | 72.2978
|  | 956 | 72.3182
|  | 955 | 72.3478
|  | 954 | 72.3706
|  | 953 | 72.4063
|  | 952 | 72.4414
|  | 951 | 72.4796
|  | 950 | 72.5241
|  | 949 | 72.5752
|  | 948 | 72.6239
|  | 947 | 72.677
|  | 946 | 72.7341
|  | 945 | 72.7956
|  | 944 | 72.8627
|  | 943 | 72.9276
|  | 942 | 72.9987
|  | 941 | 73.0747
|  | 940 | 73.1507
|  | 939 | 73.2297
|  | 938 | 73.2446
|  | 937 | 73.2639
|  | 936 | 73.2822
|  | 935 | 73.307
|  | 934 | 73.3371
|  | 933 | 73.3642
|  | 932 | 73.394
|  | 931 | 73.4317
|  | 930 | 73.4657
|  | 929 | 73.5148
|  | 928 | 73.5609
|  | 927 | 73.6072
|  | 926 | 73.6671
|  | 925 | 73.7222
|  | 924 | 73.7847
|  | 923 | 73.8473
|  | 922 | 73.9107
|  | 921 | 73.9809
|  | 920 | 74.0495
|  | 919 | 74.1192
|  | 918 | 74.1968
|  | 917 | 74.2736
|  | 916 | 74.3501
|  | 915 | 74.4354
|  | 914 | 74.5338
|  | 913 | 74.6214
|  | 912 | 74.7148
|  | 911 | 74.8073
|  | 910 | 74.9107
|  | 909 | 75.0089
|  | 908 | 75.1047
|  | 907 | 75.2053
|  | 906 | 75.3103
|  | 905 | 75.416
|  | 904 | 75.5333
|  | 903 | 75.6473
|  | 902 | 75.756
|  | 901 | 75.8798
|  | 900 | 75.9876
|  | 899 | 76.1105
|  | 898 | 76.2299
|  | 897 | 76.3622
|  | 896 | 76.4876
|  | 895 | 76.6106
|  | 894 | 76.7288
|  | 893 | 76.8538
|  | 892 | 76.9943
|  | 891 | 77.1281
|  | 890 | 77.2574
|  | 889 | 77.3822
|  | 888 | 77.5187
|  | 887 | 77.6496
|  | 886 | 77.7797
|  | 885 | 77.9145
|  | 884 | 78.0464
|  | 883 | 78.1752
|  | 882 | 78.3099
|  | 881 | 78.4418
|  | 880 | 78.5768
|  | 879 | 78.7285
|  | 878 | 78.8568
|  | 877 | 78.9891
|  | 876 | 79.1195
|  | 875 | 79.2407
|  | 874 | 79.3739
|  | 873 | 79.5129
|  | 872 | 79.6217
|  | 871 | 79.7694
|  | 870 | 79.8997
|  | 869 | 79.9982
|  | 868 | 80.14
|  | 867 | 80.2502
|  | 866 | 80.3871
|  | 865 | 80.4955
|  | 864 | 80.6108
|  | 863 | 80.7177
|  | 862 | 80.8108
|  | 861 | 80.915
|  | 860 | 81.018
|  | 859 | 81.1466
|  | 858 | 81.2226
|  | 857 | 81.3151
|  | 856 | 81.4249
|  | 855 | 81.4703
|  | 854 | 81.5807
|  | 853 | 81.6546
|  | 852 | 81.7477
|  | 851 | 81.7914
|  | 850 | 81.8438
|  | 849 | 81.9206
|  | 848 | 81.9553
|  | 847 | 82.0067
|  | 846 | 82.0696
|  | 845 | 82.1035
|  | 844 | 82.1591
|  | 843 | 82.1886
|  | 842 | 82.217
|  | 841 | 82.2654
|  | 840 | 82.2597
|  | 839 | 82.3056
|  | 838 | 82.3045
|  | 837 | 82.2784
|  | 836 | 82.2641
|  | 835 | 82.3096
|  | 834 | 82.2686
|  | 833 | 82.2603
|  | 832 | 82.2456
|  | 831 | 82.1814
|  | 830 | 82.1321
|  | 829 | 82.1521
|  | 828 | 82.1739
|  | 827 | 82.1349
|  | 826 | 82.0993
|  | 825 | 82.0737
|  | 824 | 82.0664
|  | 823 | 81.9614
|  | 822 | 81.8917
|  | 821 | 81.901
|  | 820 | 81.7606
|  | 819 | 81.771
|  | 818 | 81.664
|  | 817 | 81.6196
|  | 816 | 81.4902
|  | 815 | 81.4124
|  | 814 | 81.3109
|  | 813 | 81.2346
|  | 812 | 81.1958
|  | 811 | 81.0306
|  | 810 | 80.9137
|  | 809 | 80.8149
|  | 808 | 80.6608
|  | 807 | 80.5734
|  | 806 | 80.4028
|  | 805 | 80.3214
|  | 804 | 80.1548
|  | 803 | 79.9363
|  | 802 | 79.829
|  | 801 | 79.6961
|  | 800 | 79.4853
|  | 799 | 79.347
|  | 798 | 79.1686
|  | 797 | 78.9743
|  | 796 | 78.8041
|  | 795 | 78.5773
|  | 794 | 78.4356
|  | 793 | 78.2527
|  | 792 | 78.0415
|  | 791 | 77.8088
|  | 790 | 77.6063
|  | 789 | 77.4637
|  | 788 | 77.206
|  | 787 | 77.046
|  | 786 | 76.7782
|  | 785 | 76.6306
|  | 784 | 76.3847
|  | 783 | 76.1591
|  | 782 | 75.9475
|  | 781 | 75.8057
|  | 780 | 75.544
|  | 779 | 75.3986
|  | 778 | 75.0869
|  | 777 | 74.8837
|  | 776 | 74.6389
|  | 775 | 74.4429
|  | 774 | 74.2718
|  | 773 | 74.0645
|  | 772 | 73.7908
|  | 771 | 73.5641
|  | 770 | 73.4174
|  | 769 | 73.1778
|  | 768 | 73.016
|  | 767 | 72.8145
|  | 766 | 72.5645
|  | 765 | 72.3755
|  | 764 | 72.2161
|  | 763 | 72.0312
|  | 762 | 71.82
|  | 761 | 71.6664
|  | 760 | 71.4491
|  | 759 | 71.3454
|  | 758 | 71.1404
|  | 757 | 70.9166
|  | 756 | 70.8276
|  | 755 | 70.6784
|  | 754 | 70.5025
|  | 753 | 70.3889
|  | 752 | 70.1428
|  | 751 | 70.0653
|  | 750 | 69.8793
|  | 749 | 69.7518
|  | 748 | 69.7009
|  | 747 | 69.5644
|  | 746 | 69.4309
|  | 745 | 69.3054
|  | 744 | 69.2621
|  | 743 | 69.1093
|  | 742 | 69.0706
|  | 741 | 68.9229
|  | 740 | 68.83
|  | 739 | 68.8045
|  | 738 | 68.8019
|  | 737 | 68.6309
|  | 736 | 68.584
|  | 735 | 68.5864
|  | 734 | 68.56
|  | 733 | 68.4814
|  | 732 | 68.4842
|  | 731 | 68.5002
|  | 730 | 68.4744
|  | 729 | 68.5402
|  | 728 | 68.5205
|  | 727 | 68.5292
|  | 726 | 68.5974
|  | 725 | 68.6215
|  | 724 | 68.6123
|  | 723 | 68.673
|  | 722 | 68.7129
|  | 721 | 68.6849
|  | 720 | 68.8607
|  | 719 | 69.2049
|  | 718 | 69.2843
|  | 717 | 69.404
|  | 716 | 69.5414
|  | 715 | 69.6656
|  | 714 | 69.7431
|  | 713 | 69.8794
|  | 712 | 70.041
|  | 711 | 70.1432
|  | 710 | 70.3139
|  | 709 | 70.5093
|  | 708 | 70.6597
|  | 707 | 70.8134
|  | 706 | 71.0046
|  | 705 | 71.2218
|  | 704 | 71.4373
|  | 703 | 71.6078
|  | 702 | 71.7955
|  | 701 | 72.0302
|  | 700 | 72.275
|  | 699 | 72.5025
|  | 698 | 72.7644
|  | 697 | 73.0084
|  | 696 | 73.2536
|  | 695 | 73.5296
|  | 694 | 73.8368
|  | 693 | 74.1256
|  | 692 | 74.4055
|  | 691 | 74.6735
|  | 690 | 74.9199
|  | 689 | 75.2318
|  | 688 | 75.5094
|  | 687 | 75.8243
|  | 686 | 76.1553
|  | 685 | 76.4888
|  | 684 | 76.7529
|  | 683 | 77.1272
|  | 682 | 77.453
|  | 681 | 77.7926
|  | 680 | 78.1512
|  | 679 | 78.4499
|  | 678 | 78.7798
|  | 677 | 79.0776
|  | 676 | 79.3961
|  | 675 | 79.7559
|  | 674 | 80.122
|  | 673 | 80.4659
|  | 672 | 80.8068
|  | 671 | 81.1613
|  | 670 | 81.5068
|  | 669 | 81.833
|  | 668 | 82.1717
|  | 667 | 82.5275
|  | 666 | 82.8684
|  | 665 | 83.1378
|  | 664 | 83.4578
|  | 663 | 83.8
|  | 662 | 84.1196
|  | 661 | 84.4385
|  | 660 | 84.7506
|  | 659 | 85.0895
|  | 658 | 85.3828
|  | 657 | 85.6879
|  | 656 | 85.9838
|  | 655 | 86.2873
|  | 654 | 86.5494
|  | 653 | 86.8474
|  | 652 | 87.0551
|  | 651 | 87.3404
|  | 650 | 87.6021
|  | 649 | 87.8324
|  | 648 | 88.1056
|  | 647 | 88.3313
|  | 646 | 88.6021
|  | 645 | 88.8263
|  | 644 | 89.0309
|  | 643 | 89.2942
|  | 642 | 89.4693
|  | 641 | 89.6806
|  | 640 | 89.8756
|  | 639 | 90.0468
|  | 638 | 90.2129
|  | 637 | 90.4294
|  | 636 | 90.5483
|  | 635 | 90.6837
|  | 634 | 90.8005
|  | 633 | 90.8807
|  | 632 | 90.982
|  | 631 | 91.0465
|  | 630 | 91.1302
|  | 629 | 91.201
|  | 628 | 91.1978
|  | 627 | 91.2603
|  | 626 | 91.3108
|  | 625 | 91.3596
|  | 624 | 91.3853
|  | 623 | 91.3928
|  | 622 | 91.339
|  | 621 | 91.3902
|  | 620 | 91.3926
|  | 619 | 91.3531
|  | 618 | 91.4013
|  | 617 | 91.3149
|  | 616 | 91.3574
|  | 615 | 91.3213
|  | 614 | 91.2804
|  | 613 | 91.2431
|  | 612 | 91.1514
|  | 611 | 91.1343
|  | 610 | 91.0761
|  | 609 | 91.0081
|  | 608 | 90.9692
|  | 607 | 90.9029
|  | 606 | 90.8443
|  | 605 | 90.7726
|  | 604 | 90.6996
|  | 603 | 90.5932
|  | 602 | 90.6255
|  | 601 | 90.5261
|  | 600 | 90.4364
|  | 599 | 90.3465
|  | 598 | 90.3079
|  | 597 | 90.1984
|  | 596 | 90.0778
|  | 595 | 90.0345
|  | 594 | 89.9425
|  | 593 | 89.8988
|  | 592 | 89.8102
|  | 591 | 89.6656
|  | 590 | 89.5837
|  | 589 | 89.5311
|  | 588 | 89.4964
|  | 587 | 89.3796
|  | 586 | 89.2429
|  | 585 | 89.2819
|  | 584 | 89.1178
|  | 583 | 89.0841
|  | 582 | 89.0446
|  | 581 | 88.9718
|  | 580 | 88.8808
|  | 579 | 88.7837
|  | 578 | 88.719
|  | 577 | 88.6692
|  | 576 | 88.7041
|  | 575 | 88.556
|  | 574 | 88.4638
|  | 573 | 88.5176
|  | 572 | 88.4383
|  | 571 | 88.3254
|  | 570 | 88.3247
|  | 569 | 88.2524
|  | 568 | 88.199
|  | 567 | 88.2448
|  | 566 | 88.1249
|  | 565 | 88.0898
|  | 564 | 88.0885
|  | 563 | 88.0442
|  | 562 | 88.0599
|  | 561 | 88.0067
|  | 560 | 87.9714
|  | 559 | 87.9894
|  | 558 | 87.9343
|  | 557 | 87.9237
|  | 556 | 87.7942
|  | 555 | 87.8513
|  | 554 | 87.8466
|  | 553 | 87.8435
|  | 552 | 87.8749
|  | 551 | 87.8286
|  | 550 | 87.847
|  | 549 | 87.7933
|  | 548 | 87.7758
|  | 547 | 87.6979
|  | 546 | 87.5764
|  | 545 | 87.6793
|  | 544 | 87.5314
|  | 543 | 87.6118
|  | 542 | 87.4862
|  | 541 | 87.4055
|  | 540 | 87.3042
|  | 539 | 87.2105
|  | 538 | 86.9223
|  | 537 | 86.7611
|  | 536 | 86.6896
|  | 535 | 86.5346
|  | 534 | 86.4212
|  | 533 | 86.2695
|  | 532 | 86.1248
|  | 531 | 85.8679
|  | 530 | 85.623
|  | 529 | 85.3804
|  | 528 | 85.1648
|  | 527 | 84.8738
|  | 526 | 84.3169
|  | 525 | 84.1284
|  | 524 | 83.7672
|  | 523 | 83.4287
|  | 522 | 83.1149
|  | 521 | 82.7659
|  | 520 | 82.4392
|  | 519 | 82.1257
|  | 518 | 81.7419
|  | 517 | 81.5923
|  | 516 | 81.4379
|  | 515 | 81.1668
|  | 514 | 80.9361
|  | 513 | 80.4631
|  | 512 | 80.2854
|  | 511 | 80.1447
|  | 510 | 79.8878
|  | 509 | 79.6637
|  | 508 | 79.5311
|  | 507 | 79.4233
|  | 506 | 79.2284
|  | 505 | 79.0778
|  | 504 | 78.9056
|  | 503 | 78.7823
|  | 502 | 78.6351
|  | 501 | 78.2605
|  | 500 | 78.2248
|  | 499 | 77.9817
|  | 498 | 77.9539
|  | 497 | 77.8497
|  | 496 | 77.9463
|  | 495 | 77.7624
|  | 494 | 77.8863
|  | 493 | 77.8303
|  | 492 | 77.804
|  | 491 | 77.9285
|  | 490 | 77.9924
|  | 489 | 78.0356
|  | 488 | 77.5215
|  | 487 | 77.581
|  | 486 | 77.6967
|  | 485 | 77.7415
|  | 484 | 77.7838
|  | 483 | 77.9135
|  | 482 | 77.9171
|  | 481 | 78.1435
|  | 480 | 78.1483
|  | 479 | 78.3067
|  | 478 | 78.3803
|  | 477 | 78.5069
|  | 476 | 78.5058
|  | 475 | 78.0153
|  | 474 | 78.1314
|  | 473 | 78.249
|  | 472 | 78.3042
|  | 471 | 78.3034
|  | 470 | 78.327
|  | 469 | 78.506
|  | 468 | 78.6222
|  | 467 | 78.5208
|  | 466 | 78.4517
|  | 465 | 78.5243
|  | 464 | 78.3798
|  | 463 | 77.7323
|  | 462 | 77.7464
|  | 461 | 77.6705
|  | 460 | 77.6933
|  | 459 | 77.5645
|  | 458 | 77.5717
|  | 457 | 77.4824
|  | 456 | 77.4464
|  | 455 | 77.4837
|  | 454 | 77.2626
|  | 453 | 77.2119
|  | 452 | 77.314
|  | 451 | 77.1542
|  | 450 | 76.221
|  | 449 | 76.0303
|  | 448 | 76.124
|  | 447 | 75.9636
|  | 446 | 75.8909
|  | 445 | 75.7365
|  | 444 | 75.638
|  | 443 | 75.5671
|  | 442 | 75.4414
|  | 441 | 75.3546
|  | 440 | 75.1081
|  | 439 | 75.0222
|  | 438 | 74.6892
|  | 437 | 73.4926
|  | 436 | 73.3363
|  | 435 | 72.797
|  | 434 | 72.3409
|  | 433 | 71.8947
|  | 432 | 71.441
|  | 431 | 70.7514
|  | 430 | 70.4071
|  | 429 | 69.773
|  | 428 | 69.0664
|  | 427 | 68.3839
|  | 426 | 67.6871
|  | 425 | 65.6487
|  | 424 | 65.1548
|  | 423 | 64.1456
|  | 422 | 63.6459
|  | 421 | 62.5928
|  | 420 | 62.0275
|  | 419 | 61.3573
|  | 418 | 60.666
|  | 417 | 60.1911
|  | 416 | 59.5906
|  | 415 | 59.0829
|  | 414 | 58.7159
|  | 413 | 58.5961
|  | 412 | 56.2122
|  | 411 | 56.0201
|  | 410 | 55.9773
|  | 409 | 56.0249
|  | 408 | 56.0538
|  | 407 | 56.4337
|  | 406 | 56.4216
|  | 405 | 56.9239
|  | 404 | 57.4526
|  | 403 | 57.6796
|  | 402 | 57.9802
|  | 401 | 58.6126
|  | 400 | 56.1318

## Axial Color Correction
TL28X-MP Axial Color Correction
|  | Wavelength (nm) | Theoretical Axial Focal Shift (mm)
|  | 900 | -2.7545e-05
|  | 935.7143 | -0.00010988
|  | 971.4286 | -0.00015268
|  | 1007.143 | -0.00016712
Product Raw Data |  | 1042.857 | -0.00016167
Thorlabs Plan Apochromatic NIR Microscope Objective, 28X Magnification |  | 1078.571 | -0.0001428
|  | 1114.286 | -0.00011554
|  | 1150 | -8.3816e-05
Item # | TL28X-MP | 1185.714 | -5.076e-05
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1221.429 | -1.8902e-05
|  | 1257.143 | 9.6819e-06
|  | 1292.857 | 3.3253e-05
|  | 1328.571 | 5.0325e-05
|  | 1364.286 | 5.96e-05
|  | 1400 | 5.9916e-05
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1435.714 | 5.0214e-05
|  | 1471.429 | 2.9503e-05
|  | 1507.143 | -3.1604e-06
Additional Information: |  | 1542.857 | -4.869e-05
|  | 1578.571 | -0.00010799
|  | 1614.286 | -0.00018194
|  | 1650 | -0.00027146

## Strehl Ratio
TL28X-MP Strehl Ratio
|  | Measured Field (°) | Measured Strehl Ratio | Theoretical Field (°) | Theoretical Strehl Ratio
|  | -3.0636 | 0.868 | -3.1441 | 0.9589
|  | -2.4195 | 0.92 | -2.9872 | 0.9646
|  | -1.6135 | 0.947 | -2.8302 | 0.9685
|  | 0 | 0.973 | -2.6732 | 0.9706
Product Raw Data |  | 1.6135 | 0.94 | -2.5162 | 0.9709
Thorlabs Plan Apochromatic NIR Microscope Objective, 28X Magnification |  | 2.4195 | 0.913 | -2.3591 | 0.9697
|  | 3.0636 | 0.87 | -2.202 | 0.9678
|  |  |  | -2.0448 | 0.9655
Item # | TL28X-MP |  |  | -1.8877 | 0.9634
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  |  |  | -1.7305 | 0.9618
|  |  |  | -1.5732 | 0.9606
|  |  |  | -1.416 | 0.96
|  |  |  | -1.2587 | 0.9599
|  |  |  | -1.1014 | 0.96
|  |  |  | -0.94408 | 0.9602
This data may be used in publications. However, please cite Thorlabs as the source. |  |  |  | -0.78676 | 0.9605
|  |  |  | -0.62942 | 0.9608
|  |  |  | -0.47207 | 0.961
Additional Information: |  |  |  | -0.31472 | 0.9611
|  |  |  | -0.15736 | 0.9612
|  |  |  | 0 | 0.9612
|  |  |  | 0.15736 | 0.9612
|  |  |  | 0.31472 | 0.9611
|  |  |  | 0.47207 | 0.961
|  |  |  | 0.62942 | 0.9608
|  |  |  | 0.78676 | 0.9605
|  |  |  | 0.94408 | 0.9602
|  |  |  | 1.1014 | 0.96
|  |  |  | 1.2587 | 0.9599
|  |  |  | 1.416 | 0.96
|  |  |  | 1.5732 | 0.9606
|  |  |  | 1.7305 | 0.9618
|  |  |  | 1.8877 | 0.9634
|  |  |  | 2.0448 | 0.9655
|  |  |  | 2.202 | 0.9678
|  |  |  | 2.3591 | 0.9697
|  |  |  | 2.5162 | 0.9709
|  |  |  | 2.6732 | 0.9706
|  |  |  | 2.8302 | 0.9685
|  |  |  | 2.9872 | 0.9646
|  |  |  | 3.1441 | 0.9589

## Strehl Ratio vs. Wavelength
TL28X-MP Strehl Ratio
|  | Wavelength (nm) | Strehl Ratio
|  |  | On Axis | 1.21° Off Axis | 2.26° Off Axis | 2.58° Off Axis | 3.14° Off Axis
|  | 900 | 0.9538 | 0.9508 | 0.938 | 0.9331 | 0.9055
|  | 915 | 0.9734 | 0.9661 | 0.9521 | 0.9487 | 0.9266
|  | 930 | 0.9844 | 0.9746 | 0.9612 | 0.9593 | 0.9421
|  | 945 | 0.9895 | 0.9785 | 0.9668 | 0.9663 | 0.9532
Product Raw Data |  | 960 | 0.9905 | 0.9794 | 0.9702 | 0.9709 | 0.9608
Thorlabs Plan Apochromatic NIR Microscope Objective, 28X Magnification |  | 975 | 0.989 | 0.9784 | 0.9721 | 0.9737 | 0.9658
|  | 990 | 0.9857 | 0.9763 | 0.9729 | 0.9752 | 0.9684
|  | 1005 | 0.9814 | 0.9734 | 0.9729 | 0.9757 | 0.9692
Item # | TL28X-MP | 1020 | 0.9766 | 0.9702 | 0.9724 | 0.9754 | 0.9684
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1035 | 0.9714 | 0.9667 | 0.9714 | 0.9744 | 0.9662
|  | 1050 | 0.9661 | 0.9632 | 0.9701 | 0.9728 | 0.9629
|  | 1065 | 0.9608 | 0.9597 | 0.9684 | 0.9708 | 0.9586
|  | 1080 | 0.9557 | 0.9562 | 0.9665 | 0.9683 | 0.9535
|  | 1095 | 0.9508 | 0.9528 | 0.9645 | 0.9656 | 0.9478
|  | 1110 | 0.9462 | 0.9496 | 0.9622 | 0.9626 | 0.9417
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1125 | 0.9419 | 0.9466 | 0.96 | 0.9595 | 0.9353
|  | 1140 | 0.938 | 0.9438 | 0.9576 | 0.9562 | 0.9287
|  | 1155 | 0.9345 | 0.9413 | 0.9554 | 0.953 | 0.9221
Additional Information: |  | 1170 | 0.9314 | 0.9391 | 0.9532 | 0.9499 | 0.9156
|  | 1185 | 0.9287 | 0.9372 | 0.9512 | 0.9469 | 0.9093
|  | 1200 | 0.9266 | 0.9357 | 0.9495 | 0.9442 | 0.9033
|  | 1215 | 0.925 | 0.9346 | 0.948 | 0.9418 | 0.8977
|  | 1230 | 0.9239 | 0.9339 | 0.9468 | 0.9396 | 0.8926
|  | 1245 | 0.9233 | 0.9336 | 0.9459 | 0.9379 | 0.888
|  | 1260 | 0.9232 | 0.9338 | 0.9454 | 0.9366 | 0.8839
|  | 1275 | 0.9237 | 0.9344 | 0.9454 | 0.9357 | 0.8805
|  | 1290 | 0.9248 | 0.9354 | 0.9457 | 0.9353 | 0.8777
|  | 1305 | 0.9263 | 0.9369 | 0.9464 | 0.9354 | 0.8756
|  | 1320 | 0.9283 | 0.9388 | 0.9476 | 0.936 | 0.8741
|  | 1335 | 0.9308 | 0.9411 | 0.9492 | 0.937 | 0.8732
|  | 1350 | 0.9337 | 0.9438 | 0.9511 | 0.9384 | 0.873
|  | 1365 | 0.937 | 0.9468 | 0.9534 | 0.9403 | 0.8733
|  | 1380 | 0.9407 | 0.95 | 0.956 | 0.9425 | 0.8742
|  | 1395 | 0.9445 | 0.9535 | 0.9588 | 0.9451 | 0.8757
|  | 1410 | 0.9486 | 0.9571 | 0.9619 | 0.9479 | 0.8776
|  | 1425 | 0.9528 | 0.9608 | 0.965 | 0.9509 | 0.8799
|  | 1440 | 0.957 | 0.9645 | 0.9682 | 0.9541 | 0.8825
|  | 1455 | 0.9611 | 0.968 | 0.9713 | 0.9572 | 0.8854
|  | 1470 | 0.965 | 0.9713 | 0.9743 | 0.9603 | 0.8884
|  | 1485 | 0.9685 | 0.9743 | 0.977 | 0.9632 | 0.8914
|  | 1500 | 0.9716 | 0.9767 | 0.9793 | 0.9658 | 0.8944
|  | 1515 | 0.9741 | 0.9786 | 0.981 | 0.9679 | 0.8972
|  | 1530 | 0.9759 | 0.9797 | 0.9821 | 0.9695 | 0.8997
|  | 1545 | 0.9767 | 0.9798 | 0.9823 | 0.9703 | 0.9017
|  | 1560 | 0.9765 | 0.9789 | 0.9816 | 0.9702 | 0.9031
|  | 1575 | 0.975 | 0.9767 | 0.9796 | 0.9691 | 0.9037
|  | 1590 | 0.9721 | 0.9731 | 0.9764 | 0.9667 | 0.9033
|  | 1605 | 0.9675 | 0.9679 | 0.9717 | 0.9628 | 0.9018
|  | 1620 | 0.9612 | 0.9609 | 0.9652 | 0.9574 | 0.899
|  | 1635 | 0.9529 | 0.952 | 0.957 | 0.9503 | 0.8947
|  | 1650 | 0.9425 | 0.941 | 0.9467 | 0.9412 | 0.8888

## Group Delay Dispersion
TL28X-MP Group Delay Dispersion
|  | Wavelength(nm) | GDD (fs2)
|  | 436 | 12246.4
|  | 461.28 | 11079.06
|  | 486.56 | 10137.74
|  | 511.84 | 9355.864
Product Raw Data |  | 537.12 | 8691.333
Thorlabs Plan Apochromatic NIR Microscope Objective, 28X Magnification |  | 562.4 | 8116.108
|  | 587.68 | 7610.68
|  | 612.96 | 7160.969
Item # | TL28X-MP | 638.24 | 6756.493
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 663.52 | 6389.242
|  | 688.8 | 6052.957
|  | 714.08 | 5742.649
|  | 739.36 | 5454.279
|  | 764.64 | 5184.526
|  | 789.92 | 4930.625
This data may be used in publications. However, please cite Thorlabs as the source. |  | 815.2 | 4690.249
|  | 840.48 | 4461.415
|  | 865.76 | 4242.424
Additional Information: |  | 891.04 | 4031.799
|  | 916.32 | 3828.252
|  | 941.6 | 3630.651
|  | 966.88 | 3437.988
|  | 992.16 | 3249.367
|  | 1017.44 | 3063.981
|  | 1042.72 | 2881.1
|  | 1068 | 2700.06
|  | 1093.28 | 2520.253
|  | 1118.56 | 2341.118
|  | 1143.84 | 2162.138
|  | 1169.12 | 1982.829
|  | 1194.4 | 1802.74
|  | 1219.68 | 1621.445
|  | 1244.96 | 1438.543
|  | 1270.24 | 1253.649
|  | 1295.52 | 1066.401
|  | 1320.8 | 876.4481
|  | 1346.08 | 683.4521
|  | 1371.36 | 487.0877
|  | 1396.64 | 287.0388
|  | 1421.92 | 82.9966
|  | 1447.2 | -125.3406
|  | 1472.48 | -338.2694
|  | 1497.76 | -556.0809
|  | 1523.04 | -779.0628
|  | 1548.32 | -1007.501
|  | 1573.6 | -1241.677
|  | 1598.88 | -1481.874
|  | 1624.16 | -1728.372
|  | 1649.44 | -1981.45
|  | 1674.72 | -2241.392
|  | 1700 | -2508.479