## T144661
SN: | T144661
Item #: | TN1550R5F1
Item Description: | 1x2 50:50 Narrowband Fiber Optic Coupler
Fiber Type: | SMF-28e+
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -0.01
Coupling Ratio (%): | 50
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -0.01
Coupling Ratio (%): | 50