## T150198
SN: | T150198
Item #: | TN632R2A2
Item Description: | 2x2 90:10 Narrowband Fiber Optic Coupler
Fiber Type: | Thorlabs 630HP
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 632
Insertion Loss (dB): | -0.59
Coupling Ratio (%): | 89.7
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 632
Insertion Loss (dB): | -10.01
Coupling Ratio (%): | 10.3