## T107162
SN: | T107162
Item #: | TW1550R5A1
Item Description: | 1x2 50:50 Wideband Fiber Optic Coupler
Fiber Type: | SMF-28e+
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -3.2
Coupling Ratio (%): | 48.4
Uniformity (dB): | 0.19
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -2.92
Coupling Ratio (%): | 51.6
Uniformity (dB): | 0.24
Spectral Response
Wavelength (nm) | Insertion Loss - White (Signal Output) (dB) | Coupling Ratio - White (Signal Output) (%) | Insertion Loss - Red (Tap Output) (dB) | Coupling Ratio - Red (Tap Output) (%)
1440 | -3.105 | 50.269 | -3.151 | 49.731
1440.441 | -3.105 | 50.269 | -3.151 | 49.731
1440.882 | -3.103 | 50.257 | -3.147 | 49.743
1441.323 | -3.096 | 50.21 | -3.133 | 49.79
1441.764 | -3.099 | 50.167 | -3.128 | 49.833
1442.204 | -3.111 | 50.129 | -3.133 | 49.871
1442.645 | -3.111 | 50.208 | -3.147 | 49.792
1443.086 | -3.104 | 50.345 | -3.164 | 49.655
1443.527 | -3.101 | 50.293 | -3.151 | 49.707
1443.968 | -3.096 | 50.214 | -3.133 | 49.786
1444.409 | -3.078 | 50.248 | -3.121 | 49.752
1444.85 | -3.067 | 50.284 | -3.116 | 49.716
1445.291 | -3.076 | 50.316 | -3.131 | 49.684
1445.731 | -3.086 | 50.312 | -3.14 | 49.688
1446.172 | -3.096 | 50.263 | -3.142 | 49.737
1446.613 | -3.094 | 50.201 | -3.129 | 49.799
1447.054 | -3.085 | 50.133 | -3.108 | 49.867
1447.495 | -3.083 | 50.106 | -3.102 | 49.894
1447.936 | -3.084 | 50.088 | -3.1 | 49.912
1448.377 | -3.094 | 50.057 | -3.104 | 49.943
1448.818 | -3.102 | 50.027 | -3.106 | 49.973
1449.259 | -3.099 | 50 | -3.099 | 50
1449.699 | -3.093 | 49.991 | -3.091 | 50.009
1450.14 | -3.082 | 50 | -3.082 | 50
1450.581 | -3.085 | 49.947 | -3.076 | 50.053
1451.022 | -3.097 | 49.863 | -3.073 | 50.137
1451.463 | -3.097 | 49.929 | -3.085 | 50.071
1451.904 | -3.095 | 50.028 | -3.099 | 49.972
1452.345 | -3.098 | 50.026 | -3.103 | 49.974
1452.786 | -3.099 | 50.016 | -3.101 | 49.984
1453.226 | -3.087 | 49.993 | -3.086 | 50.007
1453.667 | -3.092 | 49.93 | -3.08 | 50.07
1454.108 | -3.121 | 49.817 | -3.089 | 50.183
1454.549 | -3.127 | 49.761 | -3.085 | 50.239
1454.99 | -3.118 | 49.747 | -3.074 | 50.253
1455.431 | -3.121 | 49.725 | -3.073 | 50.275
1455.872 | -3.128 | 49.699 | -3.076 | 50.301
1456.313 | -3.131 | 49.66 | -3.072 | 50.34
1456.754 | -3.133 | 49.631 | -3.069 | 50.369
1457.194 | -3.134 | 49.635 | -3.071 | 50.365
1457.635 | -3.137 | 49.634 | -3.073 | 50.366
1458.076 | -3.14 | 49.624 | -3.074 | 50.376
1458.517 | -3.137 | 49.667 | -3.08 | 50.333
1458.958 | -3.131 | 49.738 | -3.086 | 50.262
1459.399 | -3.126 | 49.67 | -3.068 | 50.33
1459.84 | -3.122 | 49.556 | -3.044 | 50.444
1460.281 | -3.135 | 49.478 | -3.044 | 50.522
1460.721 | -3.149 | 49.398 | -3.045 | 50.602
1461.162 | -3.159 | 49.304 | -3.038 | 50.696
1461.603 | -3.16 | 49.3 | -3.038 | 50.7
1462.044 | -3.15 | 49.427 | -3.05 | 50.573
1462.485 | -3.147 | 49.469 | -3.055 | 50.531
1462.926 | -3.152 | 49.432 | -3.053 | 50.568
1463.367 | -3.155 | 49.399 | -3.05 | 50.601
1463.808 | -3.158 | 49.368 | -3.048 | 50.632
1464.249 | -3.168 | 49.327 | -3.051 | 50.673
1464.689 | -3.174 | 49.297 | -3.052 | 50.703
1465.13 | -3.162 | 49.308 | -3.042 | 50.692
1465.571 | -3.156 | 49.321 | -3.038 | 50.679
1466.012 | -3.161 | 49.326 | -3.044 | 50.674
1466.453 | -3.167 | 49.313 | -3.047 | 50.687
1466.894 | -3.172 | 49.274 | -3.046 | 50.726
1467.335 | -3.179 | 49.164 | -3.033 | 50.836
1467.776 | -3.183 | 49.044 | -3.017 | 50.956
1468.216 | -3.17 | 49.072 | -3.009 | 50.928
1468.657 | -3.159 | 49.126 | -3.007 | 50.874
1469.098 | -3.165 | 49.163 | -3.019 | 50.837
1469.539 | -3.168 | 49.182 | -3.026 | 50.818
1469.98 | -3.166 | 49.175 | -3.023 | 50.825
1470.421 | -3.168 | 49.164 | -3.023 | 50.836
1470.862 | -3.172 | 49.157 | -3.025 | 50.843
1471.303 | -3.168 | 49.175 | -3.025 | 50.825
1471.744 | -3.163 | 49.201 | -3.024 | 50.799
1472.184 | -3.173 | 49.201 | -3.034 | 50.799
1472.625 | -3.181 | 49.199 | -3.042 | 50.801
1473.066 | -3.174 | 49.217 | -3.038 | 50.783
1473.507 | -3.166 | 49.238 | -3.034 | 50.762
1473.948 | -3.162 | 49.25 | -3.032 | 50.75
1474.389 | -3.164 | 49.219 | -3.028 | 50.781
1474.83 | -3.171 | 49.151 | -3.023 | 50.849
1475.271 | -3.182 | 49.109 | -3.028 | 50.891
1475.711 | -3.194 | 49.085 | -3.035 | 50.915
1476.152 | -3.194 | 49.061 | -3.031 | 50.939
1476.593 | -3.191 | 49.052 | -3.026 | 50.948
1477.034 | -3.185 | 49.09 | -3.027 | 50.91
1477.475 | -3.18 | 49.104 | -3.024 | 50.896
1477.916 | -3.175 | 49.061 | -3.012 | 50.939
1478.357 | -3.172 | 49.029 | -3.004 | 50.971
1478.798 | -3.173 | 49.017 | -3.002 | 50.983
1479.239 | -3.185 | 48.999 | -3.011 | 51.001
1479.679 | -3.2 | 48.977 | -3.022 | 51.023
1480.12 | -3.198 | 48.968 | -3.019 | 51.032
1480.561 | -3.192 | 48.994 | -3.017 | 51.006
1481.002 | -3.185 | 49.119 | -3.032 | 50.881
1481.443 | -3.18 | 49.196 | -3.04 | 50.804
1481.884 | -3.178 | 49.144 | -3.029 | 50.856
1482.325 | -3.179 | 49.057 | -3.015 | 50.943
1482.766 | -3.182 | 48.964 | -3.002 | 51.036
1483.206 | -3.187 | 48.895 | -2.995 | 51.105
1483.647 | -3.191 | 48.866 | -2.994 | 51.134
1484.088 | -3.189 | 48.942 | -3.005 | 51.058
1484.529 | -3.188 | 49.002 | -3.015 | 50.998
1484.97 | -3.197 | 48.895 | -3.005 | 51.105
1485.411 | -3.199 | 48.856 | -3 | 51.144
1485.852 | -3.186 | 48.992 | -3.011 | 51.008
1486.293 | -3.176 | 49.036 | -3.009 | 50.964
1486.734 | -3.173 | 48.954 | -2.991 | 51.046
1487.174 | -3.173 | 48.956 | -2.991 | 51.044
1487.615 | -3.173 | 49.018 | -3.002 | 50.982
1488.056 | -3.171 | 49.018 | -3 | 50.982
1488.497 | -3.171 | 48.975 | -2.993 | 51.025
1488.938 | -3.182 | 48.898 | -2.991 | 51.102
1489.379 | -3.188 | 48.851 | -2.989 | 51.149
1489.82 | -3.18 | 48.882 | -2.985 | 51.118
1490.26 | -3.169 | 48.951 | -2.987 | 51.049
1490.701 | -3.162 | 49.023 | -2.992 | 50.977
1491.142 | -3.16 | 49.019 | -2.99 | 50.981
1491.583 | -3.163 | 48.965 | -2.983 | 51.035
1492.024 | -3.169 | 48.932 | -2.984 | 51.068
1492.465 | -3.172 | 48.929 | -2.986 | 51.071
1492.906 | -3.16 | 48.974 | -2.982 | 51.026
1493.347 | -3.149 | 49.022 | -2.979 | 50.978
1493.788 | -3.151 | 49.057 | -2.987 | 50.943
1494.229 | -3.156 | 49.107 | -3.001 | 50.893
1494.669 | -3.158 | 49.151 | -3.011 | 50.849
1495.11 | -3.157 | 49.083 | -2.997 | 50.917
1495.551 | -3.152 | 48.97 | -2.973 | 51.03
1495.992 | -3.146 | 49.001 | -2.972 | 50.999
1496.433 | -3.142 | 49.089 | -2.984 | 50.911
1496.874 | -3.147 | 49.105 | -2.992 | 50.895
1497.315 | -3.154 | 49.072 | -2.993 | 50.928
1497.755 | -3.16 | 49.004 | -2.987 | 50.996
1498.196 | -3.162 | 48.98 | -2.985 | 51.02
1498.637 | -3.162 | 49.006 | -2.989 | 50.994
1499.078 | -3.162 | 48.977 | -2.984 | 51.023
1499.519 | -3.161 | 48.911 | -2.972 | 51.089
1499.96 | -3.151 | 48.911 | -2.962 | 51.089
1500.401 | -3.146 | 48.913 | -2.957 | 51.087
1500.842 | -3.166 | 48.812 | -2.959 | 51.188
1501.283 | -3.187 | 48.753 | -2.97 | 51.247
1501.723 | -3.193 | 48.833 | -2.99 | 51.167
1502.164 | -3.193 | 48.878 | -2.998 | 51.122
1502.605 | -3.191 | 48.832 | -2.988 | 51.168
1503.046 | -3.191 | 48.811 | -2.984 | 51.189
1503.487 | -3.185 | 48.839 | -2.983 | 51.161
1503.928 | -3.16 | 48.879 | -2.965 | 51.121
1504.369 | -3.135 | 48.907 | -2.945 | 51.093
1504.81 | -3.135 | 48.898 | -2.944 | 51.102
1505.25 | -3.147 | 48.855 | -2.948 | 51.145
1505.691 | -3.159 | 48.777 | -2.946 | 51.223
1506.132 | -3.164 | 48.71 | -2.94 | 51.29
1506.573 | -3.161 | 48.697 | -2.934 | 51.303
1507.014 | -3.158 | 48.771 | -2.944 | 51.229
1507.455 | -3.159 | 48.869 | -2.962 | 51.131
1507.896 | -3.164 | 48.851 | -2.964 | 51.149
1508.337 | -3.17 | 48.772 | -2.957 | 51.228
1508.778 | -3.172 | 48.734 | -2.952 | 51.266
1509.218 | -3.175 | 48.706 | -2.95 | 51.294
1509.659 | -3.182 | 48.663 | -2.95 | 51.337
1510.1 | -3.18 | 48.668 | -2.949 | 51.332
1510.541 | -3.169 | 48.707 | -2.944 | 51.293
1510.982 | -3.173 | 48.623 | -2.933 | 51.377
1511.423 | -3.188 | 48.458 | -2.92 | 51.542
1511.864 | -3.19 | 48.413 | -2.914 | 51.587
1512.305 | -3.18 | 48.509 | -2.921 | 51.491
1512.745 | -3.17 | 48.713 | -2.946 | 51.287
1513.186 | -3.165 | 48.844 | -2.964 | 51.156
1513.627 | -3.168 | 48.766 | -2.954 | 51.234
1514.068 | -3.17 | 48.658 | -2.937 | 51.342
1514.509 | -3.165 | 48.636 | -2.928 | 51.364
1514.95 | -3.158 | 48.674 | -2.928 | 51.326
1515.391 | -3.154 | 48.724 | -2.932 | 51.276
1515.832 | -3.158 | 48.72 | -2.936 | 51.28
1516.273 | -3.163 | 48.714 | -2.94 | 51.286
1516.713 | -3.157 | 48.793 | -2.947 | 51.207
1517.154 | -3.152 | 48.84 | -2.95 | 51.16
1517.595 | -3.16 | 48.746 | -2.942 | 51.254
1518.036 | -3.172 | 48.657 | -2.939 | 51.343
1518.477 | -3.183 | 48.636 | -2.946 | 51.364
1518.918 | -3.193 | 48.572 | -2.945 | 51.428
1519.359 | -3.202 | 48.47 | -2.936 | 51.53
1519.8 | -3.207 | 48.439 | -2.936 | 51.561
1520.24 | -3.204 | 48.49 | -2.941 | 51.51
1520.681 | -3.185 | 48.583 | -2.939 | 51.417
1521.122 | -3.17 | 48.629 | -2.932 | 51.371
1521.563 | -3.175 | 48.563 | -2.925 | 51.437
1522.004 | -3.183 | 48.49 | -2.921 | 51.51
1522.445 | -3.186 | 48.482 | -2.922 | 51.518
1522.886 | -3.192 | 48.507 | -2.933 | 51.493
1523.327 | -3.198 | 48.539 | -2.944 | 51.461
1523.768 | -3.191 | 48.561 | -2.941 | 51.439
1524.208 | -3.178 | 48.585 | -2.932 | 51.415
1524.649 | -3.168 | 48.626 | -2.93 | 51.374
1525.09 | -3.172 | 48.614 | -2.932 | 51.386
1525.531 | -3.192 | 48.5 | -2.931 | 51.5
1525.972 | -3.201 | 48.454 | -2.932 | 51.546
1526.413 | -3.19 | 48.549 | -2.938 | 51.451
1526.854 | -3.188 | 48.589 | -2.942 | 51.411
1527.295 | -3.197 | 48.531 | -2.942 | 51.469
1527.735 | -3.193 | 48.51 | -2.934 | 51.49
1528.176 | -3.179 | 48.545 | -2.926 | 51.455
1528.617 | -3.174 | 48.583 | -2.928 | 51.417
1529.058 | -3.18 | 48.593 | -2.935 | 51.407
1529.499 | -3.189 | 48.569 | -2.94 | 51.431
1529.94 | -3.192 | 48.565 | -2.943 | 51.435
1530.381 | -3.185 | 48.604 | -2.942 | 51.396
1530.822 | -3.177 | 48.615 | -2.936 | 51.385
1531.263 | -3.171 | 48.586 | -2.926 | 51.414
1531.703 | -3.166 | 48.572 | -2.918 | 51.428
1532.144 | -3.167 | 48.579 | -2.92 | 51.421
1532.585 | -3.182 | 48.577 | -2.935 | 51.423
1533.026 | -3.2 | 48.559 | -2.95 | 51.441
1533.467 | -3.209 | 48.524 | -2.952 | 51.476
1533.908 | -3.216 | 48.474 | -2.951 | 51.526
1534.349 | -3.228 | 48.415 | -2.953 | 51.585
1534.79 | -3.235 | 48.365 | -2.951 | 51.635
1535.23 | -3.234 | 48.339 | -2.945 | 51.661
1535.671 | -3.231 | 48.338 | -2.943 | 51.662
1536.112 | -3.231 | 48.359 | -2.945 | 51.641
1536.553 | -3.23 | 48.398 | -2.952 | 51.602
1536.994 | -3.227 | 48.443 | -2.957 | 51.557
1537.435 | -3.219 | 48.489 | -2.956 | 51.511
1537.876 | -3.21 | 48.541 | -2.957 | 51.459
1538.317 | -3.208 | 48.593 | -2.963 | 51.407
1538.758 | -3.208 | 48.619 | -2.968 | 51.381
1539.198 | -3.208 | 48.605 | -2.966 | 51.395
1539.639 | -3.209 | 48.56 | -2.959 | 51.44
1540.08 | -3.21 | 48.523 | -2.953 | 51.477
1540.521 | -3.206 | 48.535 | -2.952 | 51.465
1540.962 | -3.206 | 48.548 | -2.954 | 51.452
1541.403 | -3.215 | 48.508 | -2.956 | 51.492
1541.844 | -3.221 | 48.506 | -2.962 | 51.494
1542.285 | -3.214 | 48.6 | -2.971 | 51.4
1542.725 | -3.2 | 48.694 | -2.973 | 51.306
1543.166 | -3.188 | 48.728 | -2.967 | 51.272
1543.607 | -3.183 | 48.727 | -2.961 | 51.273
1544.048 | -3.185 | 48.706 | -2.96 | 51.294
1544.489 | -3.191 | 48.66 | -2.958 | 51.34
1544.93 | -3.196 | 48.645 | -2.96 | 51.355
1545.371 | -3.195 | 48.691 | -2.968 | 51.309
1545.812 | -3.198 | 48.614 | -2.957 | 51.386
1546.253 | -3.207 | 48.355 | -2.921 | 51.645
1546.693 | -3.199 | 48.27 | -2.898 | 51.73
1547.134 | -3.178 | 48.438 | -2.907 | 51.562
1547.575 | -3.178 | 48.487 | -2.915 | 51.513
1548.016 | -3.197 | 48.365 | -2.913 | 51.635
1548.457 | -3.206 | 48.305 | -2.911 | 51.695
1548.898 | -3.202 | 48.329 | -2.912 | 51.671
1549.339 | -3.199 | 48.361 | -2.914 | 51.639
1549.78 | -3.196 | 48.388 | -2.916 | 51.612
1550.22 | -3.194 | 48.416 | -2.919 | 51.584
1550.661 | -3.194 | 48.441 | -2.923 | 51.559
1551.102 | -3.194 | 48.456 | -2.926 | 51.544
1551.543 | -3.195 | 48.455 | -2.927 | 51.545
1551.984 | -3.197 | 48.444 | -2.926 | 51.556
1552.425 | -3.199 | 48.438 | -2.927 | 51.562
1552.866 | -3.2 | 48.439 | -2.928 | 51.561
1553.307 | -3.197 | 48.445 | -2.927 | 51.555
1553.747 | -3.192 | 48.467 | -2.926 | 51.533
1554.188 | -3.186 | 48.503 | -2.926 | 51.497
1554.629 | -3.184 | 48.516 | -2.926 | 51.484
1555.07 | -3.184 | 48.489 | -2.922 | 51.511
1555.511 | -3.174 | 48.451 | -2.905 | 51.549
1555.952 | -3.163 | 48.442 | -2.892 | 51.558
1556.393 | -3.176 | 48.49 | -2.914 | 51.51
1556.834 | -3.197 | 48.554 | -2.946 | 51.446
1557.275 | -3.194 | 48.581 | -2.948 | 51.419
1557.715 | -3.18 | 48.628 | -2.942 | 51.372
1558.156 | -3.173 | 48.726 | -2.951 | 51.274
1558.597 | -3.173 | 48.742 | -2.955 | 51.258
1559.038 | -3.178 | 48.646 | -2.943 | 51.354
1559.479 | -3.182 | 48.604 | -2.939 | 51.396
1559.92 | -3.183 | 48.639 | -2.947 | 51.361
1560.361 | -3.19 | 48.624 | -2.951 | 51.376
1560.802 | -3.195 | 48.583 | -2.949 | 51.417
1561.242 | -3.186 | 48.607 | -2.944 | 51.393
1561.683 | -3.175 | 48.649 | -2.941 | 51.351
1562.124 | -3.177 | 48.658 | -2.944 | 51.342
1562.565 | -3.18 | 48.693 | -2.953 | 51.307
1563.006 | -3.18 | 48.766 | -2.966 | 51.234
1563.447 | -3.183 | 48.79 | -2.973 | 51.21
1563.888 | -3.195 | 48.732 | -2.974 | 51.268
1564.329 | -3.214 | 48.627 | -2.976 | 51.373
1564.77 | -3.226 | 48.577 | -2.979 | 51.423
1565.21 | -3.212 | 48.678 | -2.982 | 51.322
1565.651 | -3.189 | 48.79 | -2.979 | 51.21
1566.092 | -3.179 | 48.767 | -2.964 | 51.233
1566.533 | -3.181 | 48.687 | -2.953 | 51.313
1566.974 | -3.189 | 48.63 | -2.951 | 51.37
1567.415 | -3.193 | 48.613 | -2.952 | 51.387
1567.856 | -3.191 | 48.627 | -2.952 | 51.373
1568.297 | -3.195 | 48.645 | -2.959 | 51.355
1568.737 | -3.206 | 48.63 | -2.968 | 51.37
1569.178 | -3.216 | 48.56 | -2.966 | 51.44
1569.619 | -3.221 | 48.523 | -2.965 | 51.477
1570.06 | -3.217 | 48.596 | -2.973 | 51.404
1570.501 | -3.209 | 48.643 | -2.973 | 51.357
1570.942 | -3.203 | 48.576 | -2.956 | 51.424
1571.383 | -3.206 | 48.48 | -2.942 | 51.52
1571.824 | -3.209 | 48.463 | -2.941 | 51.537
1572.265 | -3.194 | 48.607 | -2.952 | 51.393
1572.705 | -3.177 | 48.761 | -2.961 | 51.239
1573.146 | -3.184 | 48.684 | -2.955 | 51.316
1573.587 | -3.202 | 48.526 | -2.946 | 51.474
1574.028 | -3.21 | 48.488 | -2.947 | 51.512
1574.469 | -3.208 | 48.486 | -2.945 | 51.514
1574.91 | -3.199 | 48.484 | -2.936 | 51.516
1575.351 | -3.187 | 48.596 | -2.943 | 51.404
1575.792 | -3.176 | 48.787 | -2.966 | 51.213
1576.232 | -3.177 | 48.847 | -2.977 | 51.153
1576.673 | -3.185 | 48.771 | -2.971 | 51.229
1577.114 | -3.19 | 48.68 | -2.96 | 51.32
1577.555 | -3.19 | 48.652 | -2.956 | 51.348
1577.996 | -3.187 | 48.729 | -2.967 | 51.271
1578.437 | -3.187 | 48.807 | -2.979 | 51.193
1578.878 | -3.191 | 48.812 | -2.985 | 51.188
1579.319 | -3.197 | 48.78 | -2.985 | 51.22
1579.76 | -3.202 | 48.752 | -2.985 | 51.248
1580.2 | -3.199 | 48.758 | -2.984 | 51.242
1580.641 | -3.193 | 48.783 | -2.982 | 51.217
1581.082 | -3.189 | 48.786 | -2.978 | 51.214
1581.523 | -3.189 | 48.773 | -2.976 | 51.227
1581.964 | -3.189 | 48.772 | -2.976 | 51.228
1582.405 | -3.18 | 48.832 | -2.977 | 51.168
1582.846 | -3.157 | 48.954 | -2.976 | 51.046
1583.287 | -3.145 | 48.985 | -2.968 | 51.015
1583.727 | -3.15 | 48.903 | -2.959 | 51.097
1584.168 | -3.157 | 48.879 | -2.962 | 51.121
1584.609 | -3.159 | 48.928 | -2.973 | 51.072
1585.05 | -3.155 | 48.958 | -2.974 | 51.042
1585.491 | -3.15 | 48.959 | -2.969 | 51.041
1585.932 | -3.15 | 48.953 | -2.968 | 51.047
1586.373 | -3.149 | 48.983 | -2.972 | 51.017
1586.814 | -3.144 | 49.061 | -2.981 | 50.939
1587.255 | -3.147 | 49.082 | -2.987 | 50.918
1587.695 | -3.156 | 49.039 | -2.989 | 50.961
1588.136 | -3.155 | 49.076 | -2.994 | 50.924
1588.577 | -3.145 | 49.153 | -2.998 | 50.847
1589.018 | -3.147 | 49.098 | -2.99 | 50.902
1589.459 | -3.153 | 49.002 | -2.979 | 50.998
1589.9 | -3.149 | 49.028 | -2.98 | 50.972
1590.341 | -3.143 | 49.088 | -2.984 | 50.912
1590.782 | -3.141 | 49.128 | -2.99 | 50.872
1591.222 | -3.137 | 49.24 | -3.005 | 50.76
1591.663 | -3.127 | 49.422 | -3.027 | 50.578
1592.104 | -3.113 | 49.502 | -3.027 | 50.498
1592.545 | -3.104 | 49.46 | -3.01 | 50.54
1592.986 | -3.111 | 49.376 | -3.002 | 50.624
1593.427 | -3.121 | 49.335 | -3.005 | 50.665
1593.868 | -3.111 | 49.423 | -3.011 | 50.577
1594.309 | -3.097 | 49.501 | -3.01 | 50.499
1594.75 | -3.092 | 49.465 | -2.999 | 50.535
1595.19 | -3.092 | 49.455 | -2.998 | 50.545
1595.631 | -3.094 | 49.53 | -3.012 | 50.47
1596.072 | -3.091 | 49.603 | -3.022 | 50.397
1596.513 | -3.086 | 49.627 | -3.021 | 50.373
1596.954 | -3.091 | 49.571 | -3.016 | 50.429
1597.395 | -3.101 | 49.492 | -3.012 | 50.508
1597.836 | -3.104 | 49.472 | -3.013 | 50.528
1598.277 | -3.102 | 49.502 | -3.015 | 50.498
1598.717 | -3.093 | 49.571 | -3.018 | 50.429
1599.158 | -3.089 | 49.614 | -3.021 | 50.386
1599.599 | -3.091 | 49.608 | -3.023 | 50.392
1600.04 | -3.089 | 49.63 | -3.024 | 50.37
1600.481 | -3.079 | 49.695 | -3.026 | 50.305
1600.922 | -3.073 | 49.775 | -3.034 | 50.225
1601.363 | -3.073 | 49.825 | -3.042 | 50.175
1601.804 | -3.08 | 49.763 | -3.039 | 50.237
1602.245 | -3.086 | 49.679 | -3.03 | 50.321
1602.685 | -3.084 | 49.649 | -3.024 | 50.351
1603.126 | -3.082 | 49.657 | -3.022 | 50.343
1603.567 | -3.08 | 49.703 | -3.029 | 50.297
1604.008 | -3.073 | 49.78 | -3.035 | 50.22
1604.449 | -3.063 | 49.861 | -3.039 | 50.139
1604.89 | -3.063 | 49.876 | -3.041 | 50.124
1605.331 | -3.068 | 49.834 | -3.039 | 50.166
1605.771 | -3.073 | 49.748 | -3.029 | 50.252
1606.212 | -3.077 | 49.7 | -3.025 | 50.3
1606.653 | -3.08 | 49.783 | -3.042 | 50.217
1607.094 | -3.077 | 49.857 | -3.052 | 50.143
1607.535 | -3.069 | 49.849 | -3.043 | 50.151
1607.976 | -3.074 | 49.8 | -3.04 | 50.2
1608.417 | -3.087 | 49.751 | -3.044 | 50.249
1608.858 | -3.077 | 49.782 | -3.039 | 50.218
1609.299 | -3.058 | 49.821 | -3.027 | 50.179
1609.74 | -3.072 | 49.694 | -3.019 | 50.306
1610.18 | -3.093 | 49.552 | -3.015 | 50.448
1610.621 | -3.096 | 49.56 | -3.02 | 50.44
1611.062 | -3.09 | 49.609 | -3.022 | 50.391
1611.503 | -3.079 | 49.654 | -3.019 | 50.346
1611.944 | -3.084 | 49.662 | -3.026 | 50.338
1612.385 | -3.102 | 49.647 | -3.041 | 50.353
1612.826 | -3.094 | 49.7 | -3.042 | 50.3
1613.266 | -3.072 | 49.781 | -3.034 | 50.219
1613.707 | -3.071 | 49.775 | -3.032 | 50.225
1614.148 | -3.079 | 49.736 | -3.033 | 50.264
1614.589 | -3.084 | 49.703 | -3.032 | 50.297
1615.03 | -3.09 | 49.642 | -3.028 | 50.358
1615.471 | -3.101 | 49.539 | -3.021 | 50.461
1615.912 | -3.105 | 49.517 | -3.021 | 50.483
1616.353 | -3.1 | 49.597 | -3.03 | 50.403
1616.794 | -3.084 | 49.681 | -3.029 | 50.319
1617.234 | -3.066 | 49.728 | -3.019 | 50.272
1617.675 | -3.068 | 49.659 | -3.009 | 50.341
1618.116 | -3.077 | 49.583 | -3.005 | 50.417
1618.557 | -3.085 | 49.633 | -3.021 | 50.367
1618.998 | -3.097 | 49.64 | -3.035 | 50.36
1619.439 | -3.116 | 49.522 | -3.033 | 50.478
1619.88 | -3.119 | 49.487 | -3.03 | 50.513
1620.321 | -3.103 | 49.581 | -3.03 | 50.419
1620.761 | -3.097 | 49.686 | -3.043 | 50.314
1621.202 | -3.1 | 49.755 | -3.058 | 50.245
1621.643 | -3.1 | 49.681 | -3.044 | 50.319
1622.084 | -3.096 | 49.574 | -3.022 | 50.426
1622.525 | -3.088 | 49.563 | -3.012 | 50.437
1622.966 | -3.082 | 49.618 | -3.015 | 50.382
1623.407 | -3.08 | 49.754 | -3.038 | 50.246
1623.848 | -3.09 | 49.765 | -3.049 | 50.235
1624.289 | -3.108 | 49.631 | -3.044 | 50.369
1624.729 | -3.105 | 49.672 | -3.048 | 50.328
1625.17 | -3.089 | 49.813 | -3.057 | 50.187
1625.611 | -3.085 | 49.718 | -3.036 | 50.282
1626.052 | -3.089 | 49.567 | -3.014 | 50.433
1626.493 | -3.103 | 49.634 | -3.04 | 50.366
1626.934 | -3.118 | 49.652 | -3.057 | 50.348
1627.375 | -3.128 | 49.477 | -3.037 | 50.523
1627.816 | -3.13 | 49.478 | -3.04 | 50.522
1628.256 | -3.126 | 49.719 | -3.077 | 50.281
1628.697 | -3.128 | 49.726 | -3.08 | 50.274
1629.138 | -3.134 | 49.566 | -3.058 | 50.434
1629.579 | -3.133 | 49.628 | -3.069 | 50.372
1630.02 | -3.131 | 49.758 | -3.089 | 50.242
1630.461 | -3.132 | 49.69 | -3.078 | 50.31
1630.902 | -3.13 | 49.646 | -3.068 | 50.354
1631.343 | -3.117 | 49.75 | -3.074 | 50.25
1631.784 | -3.107 | 49.83 | -3.077 | 50.17
1632.224 | -3.104 | 49.835 | -3.076 | 50.165
1632.665 | -3.117 | 49.759 | -3.075 | 50.241
1633.106 | -3.136 | 49.653 | -3.076 | 50.347
1633.547 | -3.112 | 49.742 | -3.067 | 50.258
1633.988 | -3.078 | 49.896 | -3.06 | 50.104
1634.429 | -3.1 | 49.92 | -3.086 | 50.08
1634.87 | -3.124 | 49.873 | -3.102 | 50.127
1635.311 | -3.125 | 49.681 | -3.07 | 50.319
1635.751 | -3.125 | 49.597 | -3.055 | 50.403
1636.192 | -3.126 | 49.703 | -3.074 | 50.297
1636.633 | -3.118 | 49.783 | -3.08 | 50.217
1637.074 | -3.104 | 49.823 | -3.073 | 50.177
1637.515 | -3.103 | 49.868 | -3.08 | 50.132
1637.956 | -3.109 | 49.917 | -3.094 | 50.083
1638.397 | -3.111 | 49.973 | -3.107 | 50.027
1638.838 | -3.107 | 50.029 | -3.112 | 49.971
1639.279 | -3.078 | 50.086 | -3.092 | 49.914
1639.719 | -3.058 | 50.154 | -3.085 | 49.846
1640.16 | -3.059 | 50.233 | -3.099 | 49.767
1640.601 | -3.071 | 50.197 | -3.105 | 49.803
1641.042 | -3.09 | 50.071 | -3.102 | 49.929
1641.483 | -3.095 | 50.051 | -3.104 | 49.949
1641.924 | -3.093 | 50.087 | -3.108 | 49.913
1642.365 | -3.083 | 50.188 | -3.116 | 49.812
1642.806 | -3.073 | 50.262 | -3.119 | 49.738
1643.246 | -3.065 | 50.177 | -3.095 | 49.823
1643.687 | -3.054 | 50.12 | -3.075 | 49.88
1644.128 | -3.04 | 50.141 | -3.065 | 49.859
1644.569 | -3.041 | 50.222 | -3.08 | 49.778
1645.01 | -3.054 | 50.353 | -3.116 | 49.647
1645.451 | -3.039 | 50.487 | -3.124 | 49.513
1645.892 | -3.014 | 50.606 | -3.119 | 49.394
1646.333 | -3.033 | 50.516 | -3.122 | 49.484
1646.774 | -3.052 | 50.427 | -3.126 | 49.573
1647.214 | -3.034 | 50.507 | -3.122 | 49.493
1647.655 | -3.016 | 50.616 | -3.123 | 49.384
1648.096 | -3.003 | 50.756 | -3.134 | 49.244
1648.537 | -3.001 | 50.778 | -3.137 | 49.222
1648.978 | -3.012 | 50.687 | -3.131 | 49.313
1649.419 | -3.026 | 50.673 | -3.143 | 49.327
1649.86 | -3.041 | 50.694 | -3.161 | 49.306
1650.301 | -3.036 | 50.639 | -3.147 | 49.361
1650.741 | -3.028 | 50.585 | -3.13 | 49.415
1651.182 | -3.018 | 50.616 | -3.125 | 49.384
1651.623 | -3.007 | 50.673 | -3.124 | 49.327
1652.064 | -2.993 | 50.779 | -3.129 | 49.221
1652.505 | -2.991 | 50.856 | -3.14 | 49.144
1652.946 | -3 | 50.903 | -3.157 | 49.097
1653.387 | -2.987 | 51.002 | -3.161 | 48.998
1653.828 | -2.964 | 51.12 | -3.159 | 48.88
1654.269 | -2.969 | 51.022 | -3.147 | 48.978
1654.709 | -2.978 | 50.903 | -3.135 | 49.097
1655.15 | -2.976 | 50.895 | -3.131 | 49.105
1655.591 | -2.973 | 50.903 | -3.13 | 49.097
1656.032 | -2.971 | 50.942 | -3.134 | 49.058
1656.473 | -2.971 | 50.952 | -3.136 | 49.048
1656.914 | -2.974 | 50.932 | -3.136 | 49.068
1657.355 | -2.967 | 51.048 | -3.149 | 48.952
1657.796 | -2.955 | 51.23 | -3.169 | 48.77
1658.236 | -2.961 | 51.147 | -3.16 | 48.853
1658.677 | -2.969 | 51.028 | -3.147 | 48.972
1659.118 | -2.972 | 51.031 | -3.151 | 48.969
1659.559 | -2.97 | 51.078 | -3.157 | 48.922
1660 | -2.955 | 51.25 | -3.172 | 48.75