## T153765
SN: | T153765
Item #: | TW2000R5A2B
Item Description: | 2x2 50:50 Wideband Fiber Optic Coupler
Fiber Type: | SMF-28e+
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 2000
Insertion Loss (dB): | -3.29
Coupling Ratio (%): | 49.75
Uniformity (dB): | 1.88
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 2000
Insertion Loss (dB): | -3.25
Coupling Ratio (%): | 50.25
Uniformity (dB): | 1.56
Spectral Response
Wavelength (nm) | Insertion Loss - White (Signal Output) (dB) | Coupling Ratio - White (Signal Output) (%) | Insertion Loss - Red (Tap Output) (dB) | Coupling Ratio - Red (Tap Output) (%)
1790 | -2.921 | 52.872 | -3.421 | 47.128
1790.842 | -2.917 | 52.875 | -3.417 | 47.125
1791.683 | -2.913 | 52.879 | -3.414 | 47.121
1792.525 | -2.912 | 52.867 | -3.411 | 47.133
1793.367 | -2.912 | 52.853 | -3.408 | 47.147
1794.208 | -2.91 | 52.845 | -3.405 | 47.155
1795.05 | -2.907 | 52.84 | -3.401 | 47.16
1795.892 | -2.904 | 52.838 | -3.398 | 47.162
1796.734 | -2.9 | 52.838 | -3.394 | 47.162
1797.575 | -2.898 | 52.836 | -3.391 | 47.164
1798.417 | -2.898 | 52.831 | -3.39 | 47.169
1799.259 | -2.898 | 52.82 | -3.388 | 47.18
1800.1 | -2.898 | 52.801 | -3.385 | 47.199
1800.942 | -2.899 | 52.781 | -3.382 | 47.219
1801.784 | -2.899 | 52.762 | -3.379 | 47.238
1802.625 | -2.9 | 52.743 | -3.377 | 47.257
1803.467 | -2.902 | 52.729 | -3.376 | 47.271
1804.309 | -2.903 | 52.715 | -3.375 | 47.285
1805.15 | -2.902 | 52.7 | -3.372 | 47.3
1805.992 | -2.902 | 52.685 | -3.368 | 47.315
1806.834 | -2.902 | 52.666 | -3.366 | 47.334
1807.675 | -2.904 | 52.647 | -3.364 | 47.353
1808.517 | -2.906 | 52.617 | -3.361 | 47.383
1809.359 | -2.908 | 52.584 | -3.357 | 47.416
1810.2 | -2.911 | 52.542 | -3.353 | 47.458
1811.042 | -2.914 | 52.498 | -3.348 | 47.502
1811.884 | -2.917 | 52.459 | -3.344 | 47.541
1812.725 | -2.919 | 52.423 | -3.341 | 47.577
1813.567 | -2.924 | 52.383 | -3.338 | 47.617
1814.409 | -2.93 | 52.337 | -3.336 | 47.663
1815.25 | -2.937 | 52.289 | -3.334 | 47.711
1816.092 | -2.945 | 52.237 | -3.333 | 47.763
1816.934 | -2.951 | 52.188 | -3.332 | 47.812
1817.776 | -2.955 | 52.145 | -3.328 | 47.855
1818.617 | -2.96 | 52.094 | -3.324 | 47.906
1819.459 | -2.968 | 52.013 | -3.317 | 47.987
1820.301 | -2.975 | 51.932 | -3.311 | 48.068
1821.142 | -2.983 | 51.861 | -3.306 | 48.139
1821.984 | -2.99 | 51.791 | -3.301 | 48.209
1822.826 | -2.999 | 51.728 | -3.299 | 48.272
1823.667 | -3.008 | 51.666 | -3.298 | 48.334
1824.509 | -3.015 | 51.609 | -3.295 | 48.391
1825.351 | -3.021 | 51.555 | -3.291 | 48.445
1826.192 | -3.026 | 51.509 | -3.288 | 48.491
1827.034 | -3.031 | 51.467 | -3.286 | 48.533
1827.876 | -3.037 | 51.423 | -3.284 | 48.577
1828.717 | -3.044 | 51.377 | -3.283 | 48.623
1829.559 | -3.051 | 51.334 | -3.282 | 48.666
1830.401 | -3.058 | 51.294 | -3.282 | 48.706
1831.242 | -3.064 | 51.245 | -3.28 | 48.755
1832.084 | -3.069 | 51.187 | -3.275 | 48.813
1832.926 | -3.073 | 51.125 | -3.269 | 48.875
1833.768 | -3.077 | 51.061 | -3.262 | 48.939
1834.609 | -3.081 | 51.004 | -3.255 | 48.996
1835.451 | -3.082 | 50.97 | -3.251 | 49.03
1836.293 | -3.084 | 50.934 | -3.246 | 49.066
1837.134 | -3.089 | 50.872 | -3.241 | 49.128
1837.976 | -3.095 | 50.808 | -3.235 | 49.192
1838.818 | -3.1 | 50.764 | -3.233 | 49.236
1839.659 | -3.106 | 50.724 | -3.232 | 49.276
1840.501 | -3.108 | 50.693 | -3.229 | 49.307
1841.343 | -3.11 | 50.667 | -3.226 | 49.333
1842.184 | -3.112 | 50.643 | -3.224 | 49.357
1843.026 | -3.115 | 50.621 | -3.223 | 49.379
1843.868 | -3.119 | 50.607 | -3.224 | 49.393
1844.709 | -3.122 | 50.599 | -3.226 | 49.401
1845.551 | -3.124 | 50.586 | -3.225 | 49.414
1846.393 | -3.122 | 50.57 | -3.221 | 49.43
1847.234 | -3.12 | 50.561 | -3.218 | 49.439
1848.076 | -3.118 | 50.563 | -3.216 | 49.437
1848.918 | -3.116 | 50.572 | -3.215 | 49.428
1849.76 | -3.115 | 50.591 | -3.218 | 49.409
1850.601 | -3.114 | 50.61 | -3.22 | 49.39
1851.443 | -3.114 | 50.625 | -3.223 | 49.375
1852.285 | -3.114 | 50.639 | -3.225 | 49.361
1853.126 | -3.115 | 50.65 | -3.228 | 49.35
1853.968 | -3.116 | 50.663 | -3.231 | 49.337
1854.81 | -3.115 | 50.69 | -3.235 | 49.31
1855.651 | -3.114 | 50.719 | -3.239 | 49.281
1856.493 | -3.113 | 50.745 | -3.242 | 49.255
1857.335 | -3.112 | 50.765 | -3.245 | 49.235
1858.176 | -3.111 | 50.767 | -3.244 | 49.233
1859.018 | -3.109 | 50.759 | -3.241 | 49.241
1859.86 | -3.104 | 50.753 | -3.235 | 49.247
1860.701 | -3.098 | 50.749 | -3.228 | 49.251
1861.543 | -3.091 | 50.745 | -3.221 | 49.255
1862.385 | -3.086 | 50.739 | -3.214 | 49.261
1863.226 | -3.081 | 50.73 | -3.208 | 49.27
1864.068 | -3.078 | 50.715 | -3.202 | 49.285
1864.91 | -3.074 | 50.702 | -3.196 | 49.298
1865.751 | -3.069 | 50.694 | -3.19 | 49.306
1866.593 | -3.065 | 50.683 | -3.184 | 49.317
1867.435 | -3.064 | 50.665 | -3.179 | 49.335
1868.277 | -3.063 | 50.647 | -3.175 | 49.353
1869.118 | -3.061 | 50.635 | -3.172 | 49.365
1869.96 | -3.059 | 50.628 | -3.168 | 49.372
1870.802 | -3.054 | 50.635 | -3.164 | 49.365
1871.643 | -3.049 | 50.645 | -3.161 | 49.355
1872.485 | -3.046 | 50.646 | -3.158 | 49.354
1873.327 | -3.044 | 50.643 | -3.156 | 49.357
1874.168 | -3.044 | 50.629 | -3.154 | 49.371
1875.01 | -3.045 | 50.613 | -3.152 | 49.387
1875.852 | -3.045 | 50.61 | -3.151 | 49.39
1876.693 | -3.044 | 50.62 | -3.151 | 49.38
1877.535 | -3.042 | 50.635 | -3.153 | 49.365
1878.377 | -3.041 | 50.652 | -3.155 | 49.348
1879.218 | -3.042 | 50.656 | -3.156 | 49.344
1880.06 | -3.044 | 50.642 | -3.155 | 49.358
1880.902 | -3.046 | 50.624 | -3.155 | 49.376
1881.744 | -3.047 | 50.609 | -3.153 | 49.391
1882.585 | -3.047 | 50.594 | -3.151 | 49.406
1883.427 | -3.047 | 50.581 | -3.148 | 49.419
1884.269 | -3.046 | 50.566 | -3.144 | 49.434
1885.11 | -3.047 | 50.544 | -3.142 | 49.456
1885.952 | -3.049 | 50.52 | -3.139 | 49.48
1886.794 | -3.052 | 50.495 | -3.138 | 49.505
1887.635 | -3.056 | 50.469 | -3.137 | 49.531
1888.477 | -3.059 | 50.435 | -3.135 | 49.565
1889.319 | -3.064 | 50.398 | -3.133 | 49.602
1890.16 | -3.068 | 50.362 | -3.131 | 49.638
1891.002 | -3.072 | 50.328 | -3.129 | 49.672
1891.844 | -3.076 | 50.3 | -3.128 | 49.7
1892.685 | -3.08 | 50.277 | -3.128 | 49.723
1893.527 | -3.084 | 50.253 | -3.128 | 49.747
1894.369 | -3.088 | 50.226 | -3.128 | 49.774
1895.21 | -3.094 | 50.193 | -3.127 | 49.807
1896.052 | -3.1 | 50.15 | -3.126 | 49.85
1896.894 | -3.108 | 50.104 | -3.126 | 49.896
1897.735 | -3.116 | 50.056 | -3.125 | 49.944
1898.577 | -3.123 | 50.007 | -3.125 | 49.993
1899.419 | -3.131 | 49.953 | -3.122 | 50.047
1900.26 | -3.137 | 49.898 | -3.12 | 50.102
1901.102 | -3.143 | 49.843 | -3.115 | 50.157
1901.944 | -3.148 | 49.786 | -3.111 | 50.214
1902.786 | -3.156 | 49.73 | -3.109 | 50.27
1903.627 | -3.165 | 49.675 | -3.108 | 50.325
1904.469 | -3.174 | 49.625 | -3.109 | 50.375
1905.311 | -3.184 | 49.579 | -3.111 | 50.421
1906.152 | -3.193 | 49.537 | -3.112 | 50.463
1906.994 | -3.2 | 49.499 | -3.113 | 50.501
1907.836 | -3.205 | 49.467 | -3.112 | 50.533
1908.677 | -3.209 | 49.443 | -3.112 | 50.557
1909.519 | -3.212 | 49.426 | -3.112 | 50.574
1910.361 | -3.215 | 49.416 | -3.114 | 50.584
1911.202 | -3.218 | 49.402 | -3.114 | 50.598
1912.044 | -3.22 | 49.38 | -3.112 | 50.62
1912.886 | -3.222 | 49.355 | -3.11 | 50.645
1913.727 | -3.223 | 49.327 | -3.107 | 50.673
1914.569 | -3.225 | 49.307 | -3.105 | 50.693
1915.411 | -3.228 | 49.305 | -3.107 | 50.695
1916.253 | -3.231 | 49.308 | -3.11 | 50.692
1917.094 | -3.232 | 49.307 | -3.112 | 50.693
1917.936 | -3.233 | 49.307 | -3.113 | 50.693
1918.778 | -3.237 | 49.311 | -3.117 | 50.689
1919.619 | -3.242 | 49.317 | -3.123 | 50.683
1920.461 | -3.247 | 49.323 | -3.129 | 50.677
1921.303 | -3.25 | 49.332 | -3.134 | 50.668
1922.144 | -3.253 | 49.347 | -3.139 | 50.653
1922.986 | -3.254 | 49.368 | -3.144 | 50.632
1923.828 | -3.256 | 49.389 | -3.15 | 50.611
1924.669 | -3.259 | 49.411 | -3.157 | 50.589
1925.511 | -3.26 | 49.436 | -3.162 | 50.564
1926.353 | -3.258 | 49.464 | -3.165 | 50.536
1927.194 | -3.256 | 49.484 | -3.166 | 50.516
1928.036 | -3.254 | 49.494 | -3.166 | 50.506
1928.878 | -3.252 | 49.506 | -3.167 | 50.494
1929.719 | -3.251 | 49.529 | -3.169 | 50.471
1930.561 | -3.249 | 49.559 | -3.172 | 50.441
1931.403 | -3.246 | 49.592 | -3.175 | 50.408
1932.245 | -3.243 | 49.623 | -3.178 | 50.377
1933.086 | -3.244 | 49.646 | -3.182 | 50.354
1933.928 | -3.245 | 49.667 | -3.187 | 50.333
1934.77 | -3.245 | 49.691 | -3.192 | 50.309
1935.611 | -3.245 | 49.715 | -3.195 | 50.285
1936.453 | -3.245 | 49.735 | -3.199 | 50.265
1937.295 | -3.245 | 49.753 | -3.202 | 50.247
1938.136 | -3.244 | 49.774 | -3.205 | 50.226
1938.978 | -3.243 | 49.799 | -3.208 | 50.201
1939.82 | -3.24 | 49.83 | -3.21 | 50.17
1940.661 | -3.236 | 49.866 | -3.213 | 50.134
1941.503 | -3.234 | 49.902 | -3.217 | 50.098
1942.345 | -3.233 | 49.938 | -3.222 | 50.062
1943.186 | -3.231 | 49.971 | -3.226 | 50.029
1944.028 | -3.225 | 49.999 | -3.225 | 50.001
1944.87 | -3.219 | 50.026 | -3.223 | 49.974
1945.711 | -3.214 | 50.053 | -3.224 | 49.947
1946.553 | -3.212 | 50.078 | -3.226 | 49.922
1947.395 | -3.214 | 50.097 | -3.231 | 49.903
1948.236 | -3.216 | 50.115 | -3.236 | 49.885
1949.078 | -3.217 | 50.134 | -3.24 | 49.866
1949.92 | -3.217 | 50.152 | -3.243 | 49.848
1950.761 | -3.217 | 50.163 | -3.245 | 49.837
1951.603 | -3.217 | 50.168 | -3.247 | 49.832
1952.445 | -3.218 | 50.162 | -3.247 | 49.838
1953.287 | -3.22 | 50.149 | -3.246 | 49.851
1954.128 | -3.222 | 50.131 | -3.244 | 49.869
1954.97 | -3.224 | 50.112 | -3.243 | 49.888
1955.812 | -3.225 | 50.1 | -3.242 | 49.9
1956.653 | -3.224 | 50.096 | -3.241 | 49.904
1957.495 | -3.225 | 50.093 | -3.241 | 49.907
1958.337 | -3.227 | 50.088 | -3.243 | 49.912
1959.178 | -3.23 | 50.076 | -3.243 | 49.924
1960.02 | -3.231 | 50.054 | -3.24 | 49.946
1960.862 | -3.232 | 50.028 | -3.237 | 49.972
1961.703 | -3.234 | 50.001 | -3.234 | 49.999
1962.545 | -3.238 | 49.972 | -3.233 | 50.028
1963.387 | -3.244 | 49.94 | -3.234 | 50.06
1964.229 | -3.252 | 49.908 | -3.236 | 50.092
1965.07 | -3.257 | 49.879 | -3.236 | 50.121
1965.912 | -3.262 | 49.848 | -3.236 | 50.152
1966.754 | -3.27 | 49.804 | -3.236 | 50.196
1967.595 | -3.277 | 49.751 | -3.234 | 50.249
1968.437 | -3.282 | 49.694 | -3.229 | 50.306
1969.279 | -3.284 | 49.638 | -3.221 | 50.362
1970.12 | -3.287 | 49.59 | -3.216 | 50.41
1970.962 | -3.29 | 49.552 | -3.212 | 50.448
1971.804 | -3.292 | 49.521 | -3.209 | 50.479
1972.645 | -3.294 | 49.494 | -3.206 | 50.506
1973.487 | -3.296 | 49.462 | -3.202 | 50.538
1974.329 | -3.3 | 49.424 | -3.2 | 50.576
1975.17 | -3.304 | 49.383 | -3.196 | 50.617
1976.012 | -3.307 | 49.343 | -3.193 | 50.657
1976.854 | -3.31 | 49.315 | -3.191 | 50.685
1977.695 | -3.311 | 49.309 | -3.191 | 50.691
1978.537 | -3.313 | 49.308 | -3.193 | 50.692
1979.379 | -3.316 | 49.298 | -3.194 | 50.702
1980.22 | -3.32 | 49.285 | -3.196 | 50.715
1981.062 | -3.321 | 49.272 | -3.195 | 50.728
1981.904 | -3.323 | 49.263 | -3.195 | 50.737
1982.745 | -3.326 | 49.26 | -3.197 | 50.74
1983.587 | -3.329 | 49.266 | -3.202 | 50.734
1984.429 | -3.33 | 49.288 | -3.207 | 50.712
1985.271 | -3.329 | 49.32 | -3.211 | 50.68
1986.112 | -3.328 | 49.351 | -3.216 | 50.649
1986.954 | -3.328 | 49.379 | -3.22 | 50.621
1987.796 | -3.326 | 49.404 | -3.222 | 50.596
1988.637 | -3.322 | 49.429 | -3.223 | 50.571
1989.479 | -3.319 | 49.452 | -3.224 | 50.548
1990.321 | -3.317 | 49.474 | -3.226 | 50.526
1991.162 | -3.315 | 49.494 | -3.227 | 50.506
1992.004 | -3.311 | 49.513 | -3.227 | 50.487
1992.846 | -3.308 | 49.532 | -3.227 | 50.468
1993.687 | -3.305 | 49.551 | -3.227 | 50.449
1994.529 | -3.303 | 49.571 | -3.228 | 50.429
1995.371 | -3.302 | 49.595 | -3.231 | 50.405
1996.212 | -3.3 | 49.623 | -3.235 | 50.377
1997.054 | -3.299 | 49.654 | -3.238 | 50.346
1997.896 | -3.296 | 49.685 | -3.241 | 50.315
1998.737 | -3.293 | 49.711 | -3.243 | 50.289
1999.579 | -3.29 | 49.739 | -3.245 | 50.261
2000.421 | -3.288 | 49.775 | -3.249 | 50.225
2001.263 | -3.286 | 49.82 | -3.255 | 50.18
2002.104 | -3.284 | 49.868 | -3.262 | 50.132
2002.946 | -3.284 | 49.914 | -3.269 | 50.086
2003.788 | -3.282 | 49.954 | -3.274 | 50.046
2004.629 | -3.28 | 49.987 | -3.278 | 50.013
2005.471 | -3.278 | 50.021 | -3.281 | 49.979
2006.313 | -3.274 | 50.058 | -3.284 | 49.942
2007.154 | -3.272 | 50.092 | -3.288 | 49.908
2007.996 | -3.271 | 50.12 | -3.292 | 49.88
2008.838 | -3.27 | 50.145 | -3.295 | 49.855
2009.679 | -3.269 | 50.168 | -3.299 | 49.832
2010.521 | -3.269 | 50.183 | -3.3 | 49.817
2011.363 | -3.267 | 50.185 | -3.299 | 49.815
2012.204 | -3.266 | 50.18 | -3.298 | 49.82
2013.046 | -3.267 | 50.178 | -3.298 | 49.822
2013.888 | -3.269 | 50.178 | -3.3 | 49.822
2014.729 | -3.272 | 50.182 | -3.304 | 49.818
2015.571 | -3.276 | 50.191 | -3.309 | 49.809
2016.413 | -3.278 | 50.205 | -3.313 | 49.795
2017.255 | -3.278 | 50.223 | -3.317 | 49.777
2018.096 | -3.278 | 50.239 | -3.319 | 49.761
2018.938 | -3.277 | 50.251 | -3.321 | 49.749
2019.78 | -3.278 | 50.262 | -3.324 | 49.738
2020.621 | -3.281 | 50.272 | -3.328 | 49.728
2021.463 | -3.283 | 50.285 | -3.333 | 49.715
2022.305 | -3.286 | 50.301 | -3.338 | 49.699
2023.146 | -3.289 | 50.315 | -3.343 | 49.685
2023.988 | -3.291 | 50.321 | -3.347 | 49.679
2024.83 | -3.295 | 50.318 | -3.35 | 49.682
2025.671 | -3.3 | 50.306 | -3.353 | 49.694
2026.513 | -3.305 | 50.287 | -3.355 | 49.713
2027.355 | -3.31 | 50.265 | -3.356 | 49.735
2028.196 | -3.314 | 50.241 | -3.356 | 49.759
2029.038 | -3.318 | 50.219 | -3.357 | 49.781
2029.88 | -3.322 | 50.195 | -3.356 | 49.805
2030.721 | -3.327 | 50.163 | -3.356 | 49.837
2031.563 | -3.333 | 50.118 | -3.354 | 49.882
2032.405 | -3.34 | 50.058 | -3.35 | 49.942
2033.246 | -3.348 | 49.985 | -3.345 | 50.015
2034.088 | -3.353 | 49.911 | -3.338 | 50.089
2034.93 | -3.358 | 49.838 | -3.33 | 50.162
2035.771 | -3.362 | 49.768 | -3.322 | 50.232
2036.613 | -3.367 | 49.703 | -3.315 | 50.297
2037.455 | -3.373 | 49.64 | -3.31 | 50.36
2038.297 | -3.38 | 49.582 | -3.308 | 50.418
2039.138 | -3.389 | 49.524 | -3.306 | 50.476
2039.98 | -3.398 | 49.466 | -3.305 | 50.534
2040.822 | -3.407 | 49.411 | -3.304 | 50.589
2041.663 | -3.415 | 49.359 | -3.304 | 50.641
2042.505 | -3.424 | 49.312 | -3.305 | 50.688
2043.347 | -3.433 | 49.275 | -3.307 | 50.725
2044.188 | -3.443 | 49.241 | -3.311 | 50.759
2045.03 | -3.454 | 49.201 | -3.315 | 50.799
2045.872 | -3.465 | 49.16 | -3.319 | 50.84
2046.713 | -3.475 | 49.122 | -3.322 | 50.878
2047.555 | -3.483 | 49.085 | -3.324 | 50.915
2048.397 | -3.49 | 49.048 | -3.324 | 50.952
2049.239 | -3.495 | 49.01 | -3.323 | 50.99
2050.08 | -3.498 | 48.975 | -3.32 | 51.025
2050.922 | -3.5 | 48.944 | -3.316 | 51.056
2051.763 | -3.5 | 48.915 | -3.311 | 51.085
2052.605 | -3.498 | 48.889 | -3.305 | 51.111
2053.447 | -3.495 | 48.869 | -3.298 | 51.131
2054.289 | -3.491 | 48.857 | -3.292 | 51.143
2055.13 | -3.486 | 48.851 | -3.286 | 51.149
2055.972 | -3.481 | 48.85 | -3.281 | 51.15
2056.814 | -3.476 | 48.855 | -3.277 | 51.145
2057.655 | -3.47 | 48.868 | -3.273 | 51.132
2058.497 | -3.463 | 48.886 | -3.27 | 51.114
2059.339 | -3.458 | 48.905 | -3.267 | 51.095
2060.18 | -3.452 | 48.928 | -3.266 | 51.072
2061.022 | -3.448 | 48.956 | -3.266 | 51.044
2061.864 | -3.444 | 48.985 | -3.267 | 51.015
2062.705 | -3.44 | 49.012 | -3.268 | 50.988
2063.547 | -3.436 | 49.035 | -3.269 | 50.965
2064.389 | -3.433 | 49.051 | -3.268 | 50.949
2065.23 | -3.429 | 49.062 | -3.266 | 50.938
2066.072 | -3.425 | 49.072 | -3.264 | 50.928
2066.914 | -3.423 | 49.085 | -3.264 | 50.915
2067.756 | -3.421 | 49.103 | -3.265 | 50.897
2068.597 | -3.419 | 49.129 | -3.268 | 50.871
2069.439 | -3.417 | 49.159 | -3.271 | 50.841
2070.281 | -3.414 | 49.194 | -3.274 | 50.806
2071.122 | -3.411 | 49.229 | -3.277 | 50.771
2071.964 | -3.406 | 49.261 | -3.278 | 50.739
2072.806 | -3.399 | 49.3 | -3.278 | 50.7
2073.647 | -3.39 | 49.358 | -3.278 | 50.642
2074.489 | -3.38 | 49.418 | -3.279 | 50.582
2075.331 | -3.372 | 49.469 | -3.279 | 50.531
2076.172 | -3.364 | 49.512 | -3.279 | 50.488
2077.014 | -3.356 | 49.542 | -3.277 | 50.458
2077.856 | -3.349 | 49.567 | -3.273 | 50.433
2078.698 | -3.339 | 49.59 | -3.268 | 50.41
2079.539 | -3.33 | 49.611 | -3.262 | 50.389
2080.381 | -3.322 | 49.621 | -3.257 | 50.379
2081.222 | -3.318 | 49.619 | -3.252 | 50.381
2082.064 | -3.315 | 49.602 | -3.246 | 50.398
2082.906 | -3.313 | 49.572 | -3.239 | 50.428
2083.748 | -3.311 | 49.536 | -3.231 | 50.464
2084.589 | -3.31 | 49.5 | -3.223 | 50.5
2085.431 | -3.309 | 49.475 | -3.218 | 50.525
2086.272 | -3.307 | 49.471 | -3.215 | 50.529
2087.114 | -3.305 | 49.477 | -3.214 | 50.523
2087.956 | -3.303 | 49.488 | -3.214 | 50.512
2088.798 | -3.302 | 49.498 | -3.214 | 50.502
2089.639 | -3.304 | 49.496 | -3.216 | 50.504
2090.481 | -3.307 | 49.5 | -3.22 | 50.5
2091.323 | -3.307 | 49.531 | -3.226 | 50.469
2092.164 | -3.306 | 49.575 | -3.232 | 50.425
2093.006 | -3.305 | 49.622 | -3.239 | 50.378
2093.848 | -3.304 | 49.665 | -3.246 | 50.335
2094.689 | -3.303 | 49.689 | -3.249 | 50.311
2095.531 | -3.302 | 49.701 | -3.25 | 50.299
2096.373 | -3.303 | 49.711 | -3.252 | 50.289
2097.214 | -3.304 | 49.724 | -3.256 | 50.276
2098.056 | -3.307 | 49.74 | -3.261 | 50.26
2098.898 | -3.311 | 49.758 | -3.269 | 50.242
2099.74 | -3.315 | 49.773 | -3.276 | 50.227
2100.581 | -3.319 | 49.783 | -3.281 | 50.217
2101.423 | -3.323 | 49.793 | -3.287 | 50.207
2102.265 | -3.326 | 49.802 | -3.292 | 50.198
2103.106 | -3.332 | 49.801 | -3.297 | 50.199
2103.948 | -3.342 | 49.771 | -3.302 | 50.229
2104.79 | -3.354 | 49.731 | -3.307 | 50.269
2105.631 | -3.365 | 49.683 | -3.31 | 50.317
2106.473 | -3.377 | 49.636 | -3.314 | 50.364
2107.315 | -3.389 | 49.601 | -3.32 | 50.399
2108.156 | -3.401 | 49.57 | -3.327 | 50.43
2108.998 | -3.412 | 49.541 | -3.333 | 50.459
2109.84 | -3.424 | 49.509 | -3.339 | 50.491
2110.681 | -3.44 | 49.464 | -3.347 | 50.536
2111.523 | -3.457 | 49.415 | -3.356 | 50.585
2112.365 | -3.473 | 49.388 | -3.367 | 50.612
2113.206 | -3.487 | 49.383 | -3.38 | 50.617
2114.048 | -3.5 | 49.393 | -3.394 | 50.607
2114.89 | -3.512 | 49.411 | -3.41 | 50.589
2115.731 | -3.527 | 49.418 | -3.426 | 50.582
2116.573 | -3.546 | 49.404 | -3.442 | 50.596
2117.415 | -3.566 | 49.379 | -3.458 | 50.621
2118.257 | -3.588 | 49.345 | -3.474 | 50.655
2119.098 | -3.61 | 49.305 | -3.489 | 50.695
2119.94 | -3.63 | 49.259 | -3.501 | 50.741
2120.781 | -3.65 | 49.213 | -3.513 | 50.787
2121.623 | -3.668 | 49.181 | -3.526 | 50.819
2122.465 | -3.687 | 49.146 | -3.538 | 50.854
2123.307 | -3.706 | 49.087 | -3.548 | 50.913
2124.148 | -3.726 | 49.02 | -3.556 | 50.98
2124.99 | -3.747 | 48.954 | -3.565 | 51.046
2125.832 | -3.768 | 48.886 | -3.574 | 51.114
2126.673 | -3.79 | 48.805 | -3.582 | 51.195
2127.515 | -3.813 | 48.718 | -3.59 | 51.282
2128.357 | -3.836 | 48.648 | -3.601 | 51.352
2129.198 | -3.859 | 48.595 | -3.614 | 51.405
2130.04 | -3.883 | 48.545 | -3.63 | 51.455
2130.882 | -3.91 | 48.496 | -3.649 | 51.504
2131.723 | -3.937 | 48.456 | -3.669 | 51.544
2132.565 | -3.965 | 48.428 | -3.692 | 51.572
2133.407 | -3.994 | 48.406 | -3.717 | 51.594
2134.249 | -4.024 | 48.391 | -3.744 | 51.609
2135.09 | -4.054 | 48.381 | -3.773 | 51.619
2135.932 | -4.085 | 48.387 | -3.804 | 51.613
2136.773 | -4.115 | 48.398 | -3.837 | 51.602
2137.615 | -4.147 | 48.422 | -3.873 | 51.578
2138.457 | -4.179 | 48.447 | -3.909 | 51.553
2139.299 | -4.213 | 48.453 | -3.945 | 51.547
2140.14 | -4.249 | 48.452 | -3.98 | 51.548
2140.982 | -4.289 | 48.448 | -4.02 | 51.552
2141.824 | -4.332 | 48.446 | -4.062 | 51.554
2142.665 | -4.377 | 48.459 | -4.11 | 51.541
2143.507 | -4.424 | 48.489 | -4.162 | 51.511
2144.349 | -4.473 | 48.553 | -4.222 | 51.447
2145.19 | -4.524 | 48.65 | -4.289 | 51.35
2146.032 | -4.573 | 48.754 | -4.357 | 51.246
2146.874 | -4.622 | 48.859 | -4.424 | 51.141
2147.715 | -4.67 | 48.971 | -4.491 | 51.029
2148.557 | -4.713 | 49.094 | -4.556 | 50.906
2149.399 | -4.755 | 49.22 | -4.619 | 50.78
2150.24 | -4.792 | 49.349 | -4.679 | 50.651
2151.082 | -4.828 | 49.474 | -4.737 | 50.526
2151.924 | -4.863 | 49.578 | -4.79 | 50.422
2152.766 | -4.897 | 49.671 | -4.84 | 50.329
2153.607 | -4.924 | 49.705 | -4.873 | 50.295
2154.449 | -4.949 | 49.73 | -4.902 | 50.27
2155.291 | -4.967 | 49.776 | -4.928 | 50.224
2156.132 | -4.981 | 49.833 | -4.952 | 50.167
2156.974 | -4.993 | 49.919 | -4.979 | 50.081
2157.816 | -5.004 | 50.016 | -5.007 | 49.984
2158.657 | -5.02 | 50.098 | -5.037 | 49.902
2159.499 | -5.04 | 50.171 | -5.07 | 49.829
2160.341 | -5.066 | 50.255 | -5.11 | 49.745
2161.182 | -5.096 | 50.354 | -5.158 | 49.646
2162.024 | -5.134 | 50.48 | -5.217 | 49.52
2162.866 | -5.18 | 50.643 | -5.292 | 49.357
2163.708 | -5.237 | 50.822 | -5.38 | 49.178
2164.549 | -5.315 | 51.022 | -5.492 | 48.978
2165.391 | -5.404 | 51.209 | -5.614 | 48.791
2166.232 | -5.525 | 51.347 | -5.759 | 48.653
2167.074 | -5.655 | 51.476 | -5.911 | 48.524
2167.916 | -5.815 | 51.58 | -6.089 | 48.42
2168.758 | -5.98 | 51.682 | -6.272 | 48.318
2169.599 | -6.16 | 51.797 | -6.472 | 48.203
2170.441 | -6.342 | 51.909 | -6.674 | 48.091
2171.282 | -6.532 | 51.985 | -6.878 | 48.015
2172.124 | -6.725 | 52.045 | -7.08 | 47.955
2172.966 | -6.915 | 52.047 | -7.271 | 47.953
2173.808 | -7.104 | 52.015 | -7.454 | 47.985
2174.649 | -7.278 | 51.915 | -7.611 | 48.085
2175.491 | -7.44 | 51.766 | -7.747 | 48.234
2176.333 | -7.584 | 51.611 | -7.864 | 48.389
2177.174 | -7.709 | 51.455 | -7.962 | 48.545
2178.016 | -7.826 | 51.314 | -8.055 | 48.686
2178.858 | -7.932 | 51.197 | -8.14 | 48.803
2179.699 | -8.042 | 51.075 | -8.229 | 48.925
2180.541 | -8.161 | 50.939 | -8.324 | 49.061
2181.383 | -8.286 | 50.811 | -8.427 | 49.189
2182.224 | -8.429 | 50.72 | -8.554 | 49.28
2183.066 | -8.579 | 50.63 | -8.688 | 49.37
2183.908 | -8.776 | 50.533 | -8.868 | 49.467
2184.75 | -8.98 | 50.439 | -9.056 | 49.561
2185.591 | -9.248 | 50.396 | -9.317 | 49.604
2186.433 | -9.529 | 50.36 | -9.592 | 49.64
2187.275 | -9.862 | 50.311 | -9.916 | 49.689
2188.116 | -10.213 | 50.259 | -10.258 | 49.741
2188.958 | -10.602 | 50.233 | -10.643 | 49.767
2189.8 | -11.011 | 50.228 | -11.051 | 49.772
2190.641 | -11.437 | 50.419 | -11.509 | 49.581
2191.483 | -11.874 | 50.755 | -12.005 | 49.245
2192.325 | -12.306 | 51.143 | -12.505 | 48.857
2193.166 | -12.733 | 51.577 | -13.007 | 48.423
2194.008 | -13.151 | 51.91 | -13.483 | 48.09
2194.85 | -13.556 | 52.06 | -13.914 | 47.94
2195.691 | -13.965 | 52.028 | -14.318 | 47.972
2196.533 | -14.391 | 51.507 | -14.653 | 48.493
2197.375 | -14.804 | 51.078 | -14.992 | 48.922
2198.217 | -15.147 | 51.248 | -15.364 | 48.752
2199.058 | -15.489 | 51.423 | -15.736 | 48.577
2199.9 | -15.842 | 51.322 | -16.072 | 48.678
2200.741 | -16.195 | 51.186 | -16.401 | 48.814
2201.583 | -16.561 | 49.825 | -16.531 | 50.175
2202.425 | -16.927 | 48.36 | -16.642 | 51.64
2203.267 | -17.173 | 49.508 | -17.088 | 50.492
2204.108 | -17.389 | 51.397 | -17.631 | 48.603
2204.95 | -17.68 | 54.608 | -18.483 | 45.392
2205.792 | -18.01 | 58.382 | -19.48 | 41.618
2206.633 | -18.382 | 60.442 | -20.223 | 39.558
2207.475 | -18.785 | 61.22 | -20.768 | 38.78
2208.317 | -19.176 | 61.098 | -21.137 | 38.902
2209.158 | -19.551 | 59.907 | -21.295 | 40.093
2210 | -19.834 | 59.641 | -21.53 | 40.359