## T146257
SN: | T146257
Item #: | TW850R3A2
Item Description: | 2x2 75:25 Wideband Fiber Optic Coupler
Fiber Type: | Thorlabs 780HP
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 850
Insertion Loss (dB): | -1.44
Coupling Ratio (%): | 72.13
Uniformity (dB): | 0.31
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 850
Insertion Loss (dB): | -5.57
Coupling Ratio (%): | 27.87
Uniformity (dB): | 1.02
Spectral Response
Wavelength (nm) | Insertion Loss - White (Signal Output) (dB) | Coupling Ratio - White (Signal Output) (%) | Insertion Loss - Red (Tap Output) (dB) | Coupling Ratio - Red (Tap Output) (%)
740 | -1.133 | 77.585 | -6.526 | 22.415
740.441 | -1.131 | 77.558 | -6.516 | 22.442
740.882 | -1.117 | 77.422 | -6.469 | 22.578
741.323 | -1.107 | 77.96 | -6.593 | 22.04
741.764 | -1.112 | 77.856 | -6.572 | 22.144
742.204 | -1.125 | 77.244 | -6.433 | 22.756
742.645 | -1.106 | 77.723 | -6.533 | 22.277
743.086 | -1.118 | 77.476 | -6.483 | 22.524
743.527 | -1.138 | 77.136 | -6.419 | 22.864
743.968 | -1.158 | 76.916 | -6.385 | 23.084
744.409 | -1.158 | 76.927 | -6.388 | 23.073
744.85 | -1.17 | 77.19 | -6.465 | 22.81
745.291 | -1.175 | 77.218 | -6.477 | 22.782
745.731 | -1.167 | 77.002 | -6.415 | 22.998
746.172 | -1.154 | 77.803 | -6.601 | 22.197
746.613 | -1.162 | 77.472 | -6.526 | 22.528
747.054 | -1.17 | 77.078 | -6.437 | 22.922
747.495 | -1.166 | 77.139 | -6.448 | 22.861
747.936 | -1.161 | 76.814 | -6.363 | 23.186
748.377 | -1.17 | 76.873 | -6.387 | 23.127
748.818 | -1.182 | 76.924 | -6.411 | 23.076
749.259 | -1.188 | 76.725 | -6.369 | 23.275
749.699 | -1.196 | 76.918 | -6.423 | 23.082
750.14 | -1.194 | 76.843 | -6.403 | 23.157
750.581 | -1.186 | 76.84 | -6.395 | 23.16
751.022 | -1.176 | 77.178 | -6.467 | 22.822
751.463 | -1.193 | 76.697 | -6.367 | 23.303
751.904 | -1.199 | 76.101 | -6.229 | 23.899
752.345 | -1.197 | 75.801 | -6.156 | 24.199
752.786 | -1.193 | 76.187 | -6.243 | 23.813
753.226 | -1.183 | 76.225 | -6.243 | 23.775
753.667 | -1.179 | 76.328 | -6.263 | 23.672
754.108 | -1.184 | 76.394 | -6.284 | 23.606
754.549 | -1.201 | 76.26 | -6.27 | 23.74
754.99 | -1.196 | 76.728 | -6.378 | 23.272
755.431 | -1.202 | 76.794 | -6.399 | 23.206
755.872 | -1.209 | 76.55 | -6.347 | 23.45
756.313 | -1.193 | 76.412 | -6.297 | 23.588
756.753 | -1.195 | 76.08 | -6.22 | 23.92
757.194 | -1.205 | 75.834 | -6.172 | 24.166
757.635 | -1.215 | 75.759 | -6.164 | 24.241
758.076 | -1.212 | 75.854 | -6.183 | 24.146
758.517 | -1.209 | 75.63 | -6.128 | 24.37
758.958 | -1.211 | 75.618 | -6.127 | 24.382
759.399 | -1.215 | 75.854 | -6.187 | 24.146
759.84 | -1.216 | 76.027 | -6.229 | 23.973
760.281 | -1.214 | 76.345 | -6.302 | 23.655
760.721 | -1.209 | 76.153 | -6.251 | 23.847
761.162 | -1.206 | 75.565 | -6.11 | 24.435
761.603 | -1.217 | 75.75 | -6.164 | 24.25
762.044 | -1.226 | 75.693 | -6.159 | 24.307
762.485 | -1.225 | 75.581 | -6.132 | 24.419
762.926 | -1.218 | 75.569 | -6.122 | 24.431
763.367 | -1.22 | 75.709 | -6.157 | 24.291
763.808 | -1.225 | 75.67 | -6.153 | 24.33
764.248 | -1.232 | 75.548 | -6.131 | 24.452
764.689 | -1.24 | 75.464 | -6.12 | 24.536
765.13 | -1.248 | 75.593 | -6.158 | 24.407
765.571 | -1.246 | 75.427 | -6.117 | 24.573
766.012 | -1.24 | 75.351 | -6.093 | 24.649
766.453 | -1.235 | 75.558 | -6.136 | 24.442
766.894 | -1.24 | 75.367 | -6.097 | 24.633
767.335 | -1.25 | 75.202 | -6.068 | 24.798
767.776 | -1.255 | 75.156 | -6.062 | 24.844
768.216 | -1.253 | 75.216 | -6.075 | 24.784
768.657 | -1.255 | 75.186 | -6.07 | 24.814
769.098 | -1.255 | 75.158 | -6.063 | 24.842
769.539 | -1.254 | 75.067 | -6.04 | 24.933
769.98 | -1.254 | 74.886 | -5.999 | 25.114
770.421 | -1.26 | 74.96 | -6.022 | 25.04
770.862 | -1.272 | 74.975 | -6.037 | 25.025
771.303 | -1.285 | 74.905 | -6.035 | 25.095
771.743 | -1.296 | 74.839 | -6.03 | 25.161
772.184 | -1.293 | 74.937 | -6.049 | 25.063
772.625 | -1.287 | 74.956 | -6.048 | 25.044
773.066 | -1.282 | 74.878 | -6.025 | 25.122
773.507 | -1.283 | 74.788 | -6.005 | 25.212
773.948 | -1.285 | 74.777 | -6.005 | 25.223
774.389 | -1.288 | 74.704 | -5.991 | 25.296
774.83 | -1.291 | 74.584 | -5.967 | 25.416
775.271 | -1.295 | 74.561 | -5.965 | 25.439
775.711 | -1.303 | 74.729 | -6.012 | 25.271
776.152 | -1.31 | 74.801 | -6.035 | 25.199
776.593 | -1.311 | 74.713 | -6.016 | 25.287
777.034 | -1.306 | 74.572 | -5.979 | 25.428
777.475 | -1.311 | 74.485 | -5.964 | 25.515
777.916 | -1.319 | 74.433 | -5.96 | 25.567
778.357 | -1.324 | 74.367 | -5.95 | 25.633
778.798 | -1.323 | 74.203 | -5.912 | 25.797
779.238 | -1.326 | 73.969 | -5.862 | 26.031
779.679 | -1.333 | 73.86 | -5.845 | 26.14
780.12 | -1.344 | 73.896 | -5.864 | 26.104
780.561 | -1.355 | 73.856 | -5.865 | 26.144
781.002 | -1.356 | 73.783 | -5.849 | 26.217
781.443 | -1.351 | 73.76 | -5.84 | 26.24
781.884 | -1.346 | 73.763 | -5.835 | 26.237
782.325 | -1.344 | 73.644 | -5.807 | 26.356
782.766 | -1.342 | 73.656 | -5.807 | 26.344
783.206 | -1.339 | 73.803 | -5.837 | 26.197
783.647 | -1.336 | 73.97 | -5.872 | 26.03
784.088 | -1.338 | 73.916 | -5.862 | 26.084
784.529 | -1.342 | 73.743 | -5.827 | 26.257
784.97 | -1.345 | 73.627 | -5.804 | 26.373
785.411 | -1.347 | 73.672 | -5.816 | 26.328
785.852 | -1.349 | 73.761 | -5.838 | 26.239
786.293 | -1.352 | 73.751 | -5.838 | 26.249
786.733 | -1.353 | 73.726 | -5.834 | 26.274
787.174 | -1.353 | 73.798 | -5.85 | 26.202
787.615 | -1.354 | 73.926 | -5.88 | 26.074
788.056 | -1.352 | 74.008 | -5.897 | 25.992
788.497 | -1.351 | 74.017 | -5.897 | 25.983
788.938 | -1.353 | 73.937 | -5.881 | 26.063
789.379 | -1.354 | 73.757 | -5.842 | 26.243
789.82 | -1.353 | 73.545 | -5.794 | 26.455
790.26 | -1.352 | 73.364 | -5.752 | 26.636
790.701 | -1.352 | 73.332 | -5.745 | 26.668
791.142 | -1.355 | 73.564 | -5.8 | 26.436
791.583 | -1.358 | 73.73 | -5.839 | 26.27
792.024 | -1.355 | 73.713 | -5.833 | 26.287
792.465 | -1.345 | 73.59 | -5.796 | 26.41
792.906 | -1.347 | 73.512 | -5.78 | 26.488
793.347 | -1.356 | 73.398 | -5.764 | 26.602
793.788 | -1.361 | 73.365 | -5.762 | 26.635
794.228 | -1.355 | 73.568 | -5.8 | 26.432
794.669 | -1.353 | 73.568 | -5.799 | 26.432
795.11 | -1.363 | 73.427 | -5.777 | 26.573
795.551 | -1.375 | 73.309 | -5.763 | 26.691
795.992 | -1.37 | 73.296 | -5.755 | 26.704
796.433 | -1.353 | 73.308 | -5.741 | 26.692
796.874 | -1.342 | 73.386 | -5.747 | 26.614
797.315 | -1.347 | 73.534 | -5.785 | 26.466
797.755 | -1.366 | 73.586 | -5.816 | 26.414
798.196 | -1.378 | 73.394 | -5.785 | 26.606
798.637 | -1.38 | 73.231 | -5.75 | 26.769
799.078 | -1.377 | 73.202 | -5.741 | 26.798
799.519 | -1.375 | 73.131 | -5.723 | 26.869
799.96 | -1.372 | 73.167 | -5.728 | 26.833
800.401 | -1.374 | 73.387 | -5.78 | 26.613
800.842 | -1.381 | 73.541 | -5.82 | 26.459
801.283 | -1.379 | 73.227 | -5.749 | 26.773
801.723 | -1.384 | 72.998 | -5.703 | 27.002
802.164 | -1.388 | 72.997 | -5.706 | 27.003
802.605 | -1.384 | 73.048 | -5.714 | 26.952
803.046 | -1.387 | 72.956 | -5.697 | 27.044
803.487 | -1.391 | 72.807 | -5.668 | 27.193
803.928 | -1.388 | 72.892 | -5.684 | 27.108
804.369 | -1.382 | 73.205 | -5.747 | 26.795
804.81 | -1.379 | 73.184 | -5.74 | 26.816
805.25 | -1.378 | 73.007 | -5.699 | 26.993
805.691 | -1.379 | 73.015 | -5.702 | 26.985
806.132 | -1.382 | 73.241 | -5.755 | 26.759
806.573 | -1.383 | 73.239 | -5.755 | 26.761
807.014 | -1.386 | 72.956 | -5.696 | 27.044
807.455 | -1.387 | 72.774 | -5.657 | 27.226
807.896 | -1.383 | 72.916 | -5.684 | 27.084
808.337 | -1.385 | 72.978 | -5.7 | 27.022
808.778 | -1.392 | 73.013 | -5.714 | 26.987
809.218 | -1.396 | 73.093 | -5.737 | 26.907
809.659 | -1.395 | 73.101 | -5.737 | 26.899
810.1 | -1.393 | 72.95 | -5.702 | 27.05
810.541 | -1.393 | 72.756 | -5.659 | 27.244
810.982 | -1.395 | 72.678 | -5.643 | 27.322
811.423 | -1.397 | 72.775 | -5.667 | 27.225
811.864 | -1.398 | 72.845 | -5.683 | 27.155
812.305 | -1.396 | 72.758 | -5.662 | 27.242
812.745 | -1.396 | 72.611 | -5.63 | 27.389
813.186 | -1.4 | 72.636 | -5.64 | 27.364
813.627 | -1.401 | 72.839 | -5.685 | 27.161
814.068 | -1.403 | 72.932 | -5.707 | 27.068
814.509 | -1.402 | 72.812 | -5.681 | 27.188
814.95 | -1.397 | 72.626 | -5.634 | 27.374
815.391 | -1.398 | 72.473 | -5.602 | 27.527
815.832 | -1.405 | 72.376 | -5.588 | 27.624
816.273 | -1.409 | 72.367 | -5.59 | 27.633
816.713 | -1.407 | 72.405 | -5.597 | 27.595
817.154 | -1.406 | 72.36 | -5.586 | 27.64
817.595 | -1.407 | 72.357 | -5.586 | 27.643
818.036 | -1.41 | 72.453 | -5.61 | 27.547
818.477 | -1.414 | 72.459 | -5.615 | 27.541
818.918 | -1.414 | 72.383 | -5.599 | 27.617
819.359 | -1.415 | 72.386 | -5.6 | 27.614
819.8 | -1.418 | 72.455 | -5.618 | 27.545
820.24 | -1.415 | 72.441 | -5.613 | 27.559
820.681 | -1.412 | 72.45 | -5.611 | 27.55
821.122 | -1.415 | 72.534 | -5.633 | 27.466
821.563 | -1.424 | 72.606 | -5.658 | 27.394
822.004 | -1.428 | 72.591 | -5.658 | 27.409
822.445 | -1.427 | 72.515 | -5.64 | 27.485
822.886 | -1.426 | 72.421 | -5.619 | 27.579
823.327 | -1.424 | 72.38 | -5.608 | 27.62
823.768 | -1.419 | 72.449 | -5.618 | 27.551
824.208 | -1.417 | 72.528 | -5.633 | 27.472
824.649 | -1.418 | 72.522 | -5.633 | 27.478
825.09 | -1.42 | 72.439 | -5.617 | 27.561
825.531 | -1.423 | 72.348 | -5.6 | 27.652
825.972 | -1.425 | 72.252 | -5.582 | 27.748
826.413 | -1.428 | 72.18 | -5.568 | 27.82
826.854 | -1.43 | 72.178 | -5.57 | 27.822
827.295 | -1.43 | 72.219 | -5.579 | 27.781
827.735 | -1.427 | 72.284 | -5.59 | 27.716
828.176 | -1.422 | 72.359 | -5.602 | 27.641
828.617 | -1.422 | 72.353 | -5.6 | 27.647
829.058 | -1.426 | 72.213 | -5.574 | 27.787
829.499 | -1.43 | 72.098 | -5.553 | 27.902
829.94 | -1.431 | 72.164 | -5.568 | 27.836
830.381 | -1.43 | 72.364 | -5.611 | 27.636
830.822 | -1.432 | 72.494 | -5.641 | 27.506
831.263 | -1.436 | 72.455 | -5.636 | 27.545
831.703 | -1.439 | 72.349 | -5.617 | 27.651
832.144 | -1.438 | 72.287 | -5.602 | 27.713
832.585 | -1.432 | 72.207 | -5.578 | 27.793
833.026 | -1.426 | 72.078 | -5.544 | 27.922
833.467 | -1.426 | 72.029 | -5.534 | 27.971
833.908 | -1.432 | 72.114 | -5.558 | 27.886
834.349 | -1.434 | 72.153 | -5.569 | 27.847
834.79 | -1.431 | 72.082 | -5.55 | 27.918
835.23 | -1.426 | 71.976 | -5.523 | 28.024
835.671 | -1.424 | 71.939 | -5.513 | 28.061
836.112 | -1.426 | 72.065 | -5.542 | 27.935
836.553 | -1.43 | 72.263 | -5.588 | 27.737
836.994 | -1.433 | 72.367 | -5.614 | 27.633
837.435 | -1.436 | 72.337 | -5.611 | 27.663
837.876 | -1.44 | 72.26 | -5.598 | 27.74
838.317 | -1.445 | 72.216 | -5.594 | 27.784
838.758 | -1.447 | 72.249 | -5.603 | 27.751
839.198 | -1.443 | 72.344 | -5.619 | 27.656
839.639 | -1.438 | 72.401 | -5.626 | 27.599
840.08 | -1.435 | 72.317 | -5.606 | 27.683
840.521 | -1.433 | 72.187 | -5.575 | 27.813
840.962 | -1.43 | 72.171 | -5.569 | 27.829
841.403 | -1.429 | 72.158 | -5.565 | 27.842
841.844 | -1.43 | 72.113 | -5.556 | 27.887
842.285 | -1.434 | 72.159 | -5.57 | 27.841
842.725 | -1.437 | 72.262 | -5.595 | 27.738
843.166 | -1.44 | 72.29 | -5.604 | 27.71
843.607 | -1.443 | 72.147 | -5.576 | 27.853
844.048 | -1.443 | 71.921 | -5.528 | 28.079
844.489 | -1.442 | 71.831 | -5.508 | 28.169
844.93 | -1.442 | 71.935 | -5.53 | 28.065
845.371 | -1.44 | 72.165 | -5.577 | 27.835
845.812 | -1.435 | 72.312 | -5.604 | 27.688
846.253 | -1.435 | 72.209 | -5.582 | 27.791
846.693 | -1.433 | 72.082 | -5.553 | 27.918
847.134 | -1.431 | 72.117 | -5.558 | 27.883
847.575 | -1.435 | 72.16 | -5.572 | 27.84
848.016 | -1.438 | 72.091 | -5.559 | 27.909
848.457 | -1.439 | 72.039 | -5.549 | 27.961
848.898 | -1.439 | 72.126 | -5.567 | 27.874
849.339 | -1.435 | 72.208 | -5.582 | 27.792
849.78 | -1.436 | 72.169 | -5.574 | 27.831
850.22 | -1.436 | 72.229 | -5.588 | 27.771
850.661 | -1.434 | 72.398 | -5.622 | 27.602
851.102 | -1.433 | 72.431 | -5.628 | 27.569
851.543 | -1.431 | 72.396 | -5.618 | 27.604
851.984 | -1.427 | 72.413 | -5.618 | 27.587
852.425 | -1.427 | 72.374 | -5.61 | 27.626
852.866 | -1.436 | 72.252 | -5.593 | 27.748
853.307 | -1.44 | 72.189 | -5.582 | 27.811
853.747 | -1.438 | 72.126 | -5.567 | 27.874
854.188 | -1.439 | 72.054 | -5.553 | 27.946
854.629 | -1.439 | 72.117 | -5.566 | 27.883
855.07 | -1.431 | 72.221 | -5.581 | 27.779
855.511 | -1.424 | 72.266 | -5.583 | 27.734
855.952 | -1.427 | 72.307 | -5.595 | 27.693
856.393 | -1.436 | 72.357 | -5.615 | 27.643
856.834 | -1.439 | 72.371 | -5.621 | 27.629
857.275 | -1.433 | 72.385 | -5.618 | 27.615
857.715 | -1.423 | 72.403 | -5.612 | 27.597
858.156 | -1.416 | 72.392 | -5.603 | 27.608
858.597 | -1.416 | 72.428 | -5.61 | 27.572
859.038 | -1.422 | 72.477 | -5.627 | 27.523
859.479 | -1.428 | 72.425 | -5.622 | 27.575
859.92 | -1.432 | 72.313 | -5.602 | 27.687
860.361 | -1.432 | 72.241 | -5.586 | 27.759
860.802 | -1.43 | 72.256 | -5.587 | 27.744
861.242 | -1.427 | 72.299 | -5.594 | 27.701
861.683 | -1.428 | 72.264 | -5.587 | 27.736
862.124 | -1.428 | 72.182 | -5.569 | 27.818
862.565 | -1.423 | 72.144 | -5.556 | 27.856
863.006 | -1.417 | 72.172 | -5.556 | 27.828
863.447 | -1.415 | 72.227 | -5.566 | 27.773
863.888 | -1.415 | 72.277 | -5.577 | 27.723
864.329 | -1.415 | 72.287 | -5.579 | 27.713
864.77 | -1.415 | 72.248 | -5.57 | 27.752
865.21 | -1.417 | 72.222 | -5.566 | 27.778
865.651 | -1.419 | 72.241 | -5.572 | 27.759
866.092 | -1.418 | 72.272 | -5.578 | 27.728
866.533 | -1.414 | 72.301 | -5.581 | 27.699
866.974 | -1.411 | 72.34 | -5.587 | 27.66
867.415 | -1.413 | 72.366 | -5.593 | 27.634
867.856 | -1.414 | 72.368 | -5.595 | 27.632
868.297 | -1.412 | 72.379 | -5.596 | 27.621
868.737 | -1.412 | 72.396 | -5.599 | 27.604
869.178 | -1.414 | 72.393 | -5.601 | 27.607
869.619 | -1.417 | 72.384 | -5.601 | 27.616
870.06 | -1.417 | 72.388 | -5.603 | 27.612
870.501 | -1.418 | 72.376 | -5.601 | 27.624
870.942 | -1.419 | 72.342 | -5.594 | 27.658
871.383 | -1.418 | 72.367 | -5.599 | 27.633
871.824 | -1.417 | 72.482 | -5.623 | 27.518
872.265 | -1.418 | 72.551 | -5.639 | 27.449
872.705 | -1.42 | 72.545 | -5.64 | 27.455
873.146 | -1.422 | 72.524 | -5.637 | 27.476
873.587 | -1.419 | 72.511 | -5.632 | 27.489
874.028 | -1.414 | 72.512 | -5.626 | 27.488
874.469 | -1.407 | 72.527 | -5.623 | 27.473
874.91 | -1.402 | 72.583 | -5.63 | 27.417
875.351 | -1.399 | 72.687 | -5.65 | 27.313
875.792 | -1.398 | 72.754 | -5.663 | 27.246
876.232 | -1.398 | 72.718 | -5.656 | 27.282
876.673 | -1.4 | 72.629 | -5.639 | 27.371
877.114 | -1.404 | 72.598 | -5.635 | 27.402
877.555 | -1.404 | 72.606 | -5.637 | 27.394
877.996 | -1.402 | 72.609 | -5.636 | 27.391
878.437 | -1.401 | 72.628 | -5.64 | 27.372
878.878 | -1.404 | 72.68 | -5.653 | 27.32
879.319 | -1.406 | 72.72 | -5.664 | 27.28
879.76 | -1.406 | 72.733 | -5.667 | 27.267
880.2 | -1.402 | 72.751 | -5.666 | 27.249
880.641 | -1.395 | 72.777 | -5.665 | 27.223
881.082 | -1.39 | 72.799 | -5.666 | 27.201
881.523 | -1.39 | 72.851 | -5.677 | 27.149
881.964 | -1.392 | 72.952 | -5.701 | 27.048
882.405 | -1.392 | 73.009 | -5.714 | 26.991
882.846 | -1.39 | 72.994 | -5.709 | 27.006
883.287 | -1.388 | 72.939 | -5.694 | 27.061
883.727 | -1.388 | 72.897 | -5.685 | 27.103
884.168 | -1.39 | 72.915 | -5.691 | 27.085
884.609 | -1.391 | 72.937 | -5.697 | 27.063
885.05 | -1.392 | 72.95 | -5.701 | 27.05
885.491 | -1.39 | 73.014 | -5.713 | 26.986
885.932 | -1.385 | 73.105 | -5.728 | 26.895
886.373 | -1.381 | 73.125 | -5.729 | 26.875
886.814 | -1.38 | 73.089 | -5.719 | 26.911
887.255 | -1.377 | 73.097 | -5.718 | 26.903
887.695 | -1.375 | 73.09 | -5.715 | 26.91
888.136 | -1.374 | 73.095 | -5.715 | 26.905
888.577 | -1.371 | 73.155 | -5.725 | 26.845
889.018 | -1.367 | 73.221 | -5.736 | 26.779
889.459 | -1.366 | 73.241 | -5.739 | 26.759
889.9 | -1.366 | 73.174 | -5.724 | 26.826
890.341 | -1.366 | 73.078 | -5.703 | 26.922
890.782 | -1.364 | 73.121 | -5.71 | 26.879
891.222 | -1.362 | 73.254 | -5.738 | 26.746
891.663 | -1.361 | 73.36 | -5.76 | 26.64
892.104 | -1.358 | 73.39 | -5.764 | 26.61
892.545 | -1.355 | 73.378 | -5.758 | 26.622
892.986 | -1.353 | 73.354 | -5.751 | 26.646
893.427 | -1.351 | 73.373 | -5.753 | 26.627
893.868 | -1.347 | 73.432 | -5.763 | 26.568
894.309 | -1.347 | 73.39 | -5.753 | 26.61
894.75 | -1.351 | 73.3 | -5.737 | 26.7
895.19 | -1.355 | 73.276 | -5.736 | 26.724
895.631 | -1.354 | 73.366 | -5.755 | 26.634
896.072 | -1.352 | 73.455 | -5.772 | 26.545
896.513 | -1.35 | 73.513 | -5.783 | 26.487
896.954 | -1.347 | 73.557 | -5.79 | 26.443
897.395 | -1.344 | 73.593 | -5.795 | 26.407
897.836 | -1.343 | 73.626 | -5.802 | 26.374
898.277 | -1.345 | 73.658 | -5.81 | 26.342
898.717 | -1.344 | 73.705 | -5.821 | 26.295
899.158 | -1.341 | 73.762 | -5.83 | 26.238
899.599 | -1.34 | 73.74 | -5.824 | 26.26
900.04 | -1.339 | 73.66 | -5.805 | 26.34
900.481 | -1.335 | 73.646 | -5.798 | 26.354
900.922 | -1.331 | 73.8 | -5.829 | 26.2
901.363 | -1.329 | 73.884 | -5.846 | 26.116
901.804 | -1.329 | 73.883 | -5.845 | 26.117
902.245 | -1.329 | 73.86 | -5.841 | 26.14
902.685 | -1.33 | 73.854 | -5.839 | 26.146
903.126 | -1.327 | 73.878 | -5.842 | 26.122
903.567 | -1.325 | 73.937 | -5.853 | 26.063
904.008 | -1.324 | 73.981 | -5.862 | 26.019
904.449 | -1.324 | 73.936 | -5.852 | 26.064
904.89 | -1.323 | 73.963 | -5.857 | 26.037
905.331 | -1.321 | 74.072 | -5.88 | 25.928
905.772 | -1.318 | 74.193 | -5.905 | 25.807
906.212 | -1.314 | 74.223 | -5.907 | 25.777
906.653 | -1.311 | 74.157 | -5.889 | 25.843
907.094 | -1.31 | 74.074 | -5.869 | 25.926
907.535 | -1.309 | 74.054 | -5.863 | 25.946
907.976 | -1.309 | 74.13 | -5.881 | 25.87
908.417 | -1.31 | 74.201 | -5.898 | 25.799
908.858 | -1.308 | 74.258 | -5.909 | 25.742
909.299 | -1.302 | 74.304 | -5.914 | 25.696
909.74 | -1.302 | 74.292 | -5.911 | 25.708
910.18 | -1.302 | 74.309 | -5.915 | 25.691
910.621 | -1.302 | 74.35 | -5.924 | 25.65
911.062 | -1.301 | 74.363 | -5.926 | 25.637
911.503 | -1.297 | 74.338 | -5.916 | 25.662
911.944 | -1.293 | 74.336 | -5.912 | 25.664
912.385 | -1.293 | 74.39 | -5.924 | 25.61
912.826 | -1.293 | 74.485 | -5.946 | 25.515
913.267 | -1.288 | 74.514 | -5.948 | 25.486
913.707 | -1.284 | 74.534 | -5.948 | 25.466
914.148 | -1.281 | 74.585 | -5.957 | 25.415
914.589 | -1.279 | 74.661 | -5.972 | 25.339
915.03 | -1.278 | 74.686 | -5.977 | 25.314
915.471 | -1.279 | 74.685 | -5.977 | 25.315
915.912 | -1.28 | 74.704 | -5.983 | 25.296
916.353 | -1.282 | 74.774 | -6.001 | 25.226
916.794 | -1.28 | 74.821 | -6.009 | 25.179
917.234 | -1.276 | 74.852 | -6.013 | 25.148
917.675 | -1.272 | 74.881 | -6.015 | 25.119
918.116 | -1.266 | 74.905 | -6.016 | 25.095
918.557 | -1.264 | 74.912 | -6.015 | 25.088
918.998 | -1.263 | 74.929 | -6.018 | 25.071
919.439 | -1.263 | 74.964 | -6.026 | 25.036
919.88 | -1.26 | 75.004 | -6.032 | 24.996
920.321 | -1.257 | 75.042 | -6.038 | 24.958
920.762 | -1.257 | 75.075 | -6.045 | 24.925
921.202 | -1.258 | 75.098 | -6.052 | 24.902
921.643 | -1.256 | 75.111 | -6.053 | 24.889
922.084 | -1.253 | 75.135 | -6.056 | 24.865
922.525 | -1.253 | 75.162 | -6.061 | 24.838
922.966 | -1.253 | 75.196 | -6.07 | 24.804
923.407 | -1.251 | 75.259 | -6.082 | 24.741
923.848 | -1.247 | 75.288 | -6.086 | 24.712
924.289 | -1.245 | 75.261 | -6.076 | 24.739
924.729 | -1.244 | 75.207 | -6.063 | 24.793
925.17 | -1.243 | 75.278 | -6.078 | 24.722
925.611 | -1.241 | 75.395 | -6.104 | 24.605
926.052 | -1.239 | 75.479 | -6.121 | 24.521
926.493 | -1.237 | 75.491 | -6.122 | 24.509
926.934 | -1.234 | 75.496 | -6.121 | 24.504
927.375 | -1.232 | 75.512 | -6.122 | 24.488
927.816 | -1.23 | 75.53 | -6.125 | 24.47
928.257 | -1.229 | 75.544 | -6.127 | 24.456
928.697 | -1.228 | 75.593 | -6.138 | 24.407
929.138 | -1.225 | 75.67 | -6.153 | 24.33
929.579 | -1.222 | 75.752 | -6.169 | 24.248
930.02 | -1.219 | 75.805 | -6.179 | 24.195
930.461 | -1.22 | 75.81 | -6.181 | 24.19
930.902 | -1.219 | 75.806 | -6.179 | 24.194
931.343 | -1.216 | 75.828 | -6.181 | 24.172
931.784 | -1.212 | 75.905 | -6.195 | 24.095
932.224 | -1.21 | 75.921 | -6.197 | 24.079
932.665 | -1.209 | 75.919 | -6.195 | 24.081
933.106 | -1.209 | 75.921 | -6.196 | 24.079
933.547 | -1.209 | 75.94 | -6.201 | 24.06
933.988 | -1.207 | 75.957 | -6.202 | 24.043
934.429 | -1.204 | 76.001 | -6.21 | 23.999
934.87 | -1.201 | 76.076 | -6.225 | 23.924
935.311 | -1.199 | 76.156 | -6.243 | 23.844
935.752 | -1.199 | 76.171 | -6.245 | 23.829
936.192 | -1.201 | 76.187 | -6.251 | 23.813
936.633 | -1.205 | 76.205 | -6.26 | 23.795
937.074 | -1.205 | 76.167 | -6.251 | 23.833
937.515 | -1.2 | 76.238 | -6.263 | 23.762
937.956 | -1.194 | 76.343 | -6.282 | 23.657
938.397 | -1.189 | 76.423 | -6.296 | 23.577
938.838 | -1.189 | 76.432 | -6.299 | 23.568
939.279 | -1.188 | 76.521 | -6.319 | 23.479
939.719 | -1.188 | 76.57 | -6.331 | 23.43
940.16 | -1.191 | 76.55 | -6.329 | 23.45
940.601 | -1.185 | 76.687 | -6.356 | 23.313
941.042 | -1.179 | 76.718 | -6.357 | 23.282
941.483 | -1.177 | 76.695 | -6.351 | 23.305
941.924 | -1.183 | 76.678 | -6.352 | 23.322
942.365 | -1.18 | 76.736 | -6.363 | 23.264
942.806 | -1.176 | 76.734 | -6.359 | 23.266
943.247 | -1.173 | 76.773 | -6.365 | 23.227
943.687 | -1.17 | 76.923 | -6.399 | 23.077
944.128 | -1.166 | 76.88 | -6.385 | 23.12
944.569 | -1.163 | 76.986 | -6.407 | 23.014
945.01 | -1.159 | 77.137 | -6.44 | 22.863
945.451 | -1.152 | 77.188 | -6.446 | 22.812
945.892 | -1.151 | 77.148 | -6.436 | 22.852
946.333 | -1.151 | 77.163 | -6.439 | 22.837
946.774 | -1.149 | 77.166 | -6.438 | 22.834
947.214 | -1.147 | 77.068 | -6.411 | 22.932
947.655 | -1.146 | 77.228 | -6.45 | 22.772
948.096 | -1.144 | 77.354 | -6.479 | 22.646
948.537 | -1.141 | 77.407 | -6.49 | 22.593
948.978 | -1.145 | 77.392 | -6.489 | 22.608
949.419 | -1.141 | 77.511 | -6.515 | 22.489
949.86 | -1.137 | 77.587 | -6.53 | 22.413
950.301 | -1.133 | 77.616 | -6.533 | 22.384
950.741 | -1.126 | 77.65 | -6.535 | 22.35
951.182 | -1.126 | 77.57 | -6.514 | 22.43
951.623 | -1.125 | 77.588 | -6.518 | 22.412
952.064 | -1.122 | 77.706 | -6.544 | 22.294
952.505 | -1.114 | 77.784 | -6.556 | 22.216
952.946 | -1.114 | 77.742 | -6.546 | 22.258
953.387 | -1.111 | 77.795 | -6.556 | 22.205
953.828 | -1.105 | 77.946 | -6.588 | 22.054
954.269 | -1.115 | 77.974 | -6.605 | 22.026
954.709 | -1.111 | 78.01 | -6.611 | 21.99
955.15 | -1.104 | 78.071 | -6.618 | 21.929
955.591 | -1.096 | 78.14 | -6.628 | 21.86
956.032 | -1.092 | 78.097 | -6.613 | 21.903
956.473 | -1.093 | 78.091 | -6.613 | 21.909
956.914 | -1.094 | 78.16 | -6.631 | 21.84
957.355 | -1.092 | 78.303 | -6.666 | 21.697
957.796 | -1.09 | 78.378 | -6.683 | 21.622
958.236 | -1.086 | 78.336 | -6.668 | 21.664
958.677 | -1.082 | 78.279 | -6.649 | 21.721
959.118 | -1.08 | 78.268 | -6.645 | 21.732
959.559 | -1.079 | 78.337 | -6.661 | 21.663
960 | -1.076 | 78.4 | -6.675 | 21.6