## Displacement vs Frequency
VCFL35(/M) Max Scan Displacement vs. Frequency
|  | Frequency (Hz) | Displacement (mm)
|  | 0.15915 | 0.75198
|  | 0.16137 | 0.75198
|  | 0.16362 | 0.75199
|  | 0.1659 | 0.75199
Product Raw Data |  | 0.16822 | 0.75199
Voice Coil Flexure Scanner, 30 mm Beam Height |  | 0.17056 | 0.752
|  | 0.17294 | 0.752
Item # | MWWHD4 | 0.17535 | 0.752
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 0.17779 | 0.752
|  | 0.18027 | 0.75201
|  | 0.18278 | 0.75201
|  | 0.18533 | 0.75201
|  | 0.18792 | 0.75202
|  | 0.19054 | 0.75202
This data may be used in publications. However, please cite Thorlabs as the source. |  | 0.19319 | 0.75202
|  | 0.19588 | 0.75203
|  | 0.19862 | 0.75203
|  | 0.20138 | 0.75203
Additional Information: |  | 0.20419 | 0.75204
|  | 0.20704 | 0.75204
|  | 0.20992 | 0.75205
|  | 0.21285 | 0.75205
|  | 0.21582 | 0.75205
|  | 0.21882 | 0.75206
|  | 0.22188 | 0.75206
|  | 0.22497 | 0.75207
|  | 0.2281 | 0.75207
|  | 0.23128 | 0.75208
|  | 0.23451 | 0.75208
|  | 0.23778 | 0.75209
|  | 0.24109 | 0.75209
|  | 0.24445 | 0.7521
|  | 0.24786 | 0.7521
|  | 0.25131 | 0.75211
|  | 0.25482 | 0.75212
|  | 0.25837 | 0.75212
|  | 0.26197 | 0.75213
|  | 0.26562 | 0.75214
|  | 0.26933 | 0.75214
|  | 0.27308 | 0.75215
|  | 0.27689 | 0.75216
|  | 0.28075 | 0.75216
|  | 0.28466 | 0.75217
|  | 0.28863 | 0.75218
|  | 0.29265 | 0.75219
|  | 0.29673 | 0.75219
|  | 0.30087 | 0.7522
|  | 0.30506 | 0.75221
|  | 0.30931 | 0.75222
|  | 0.31362 | 0.75223
|  | 0.318 | 0.75224
|  | 0.32243 | 0.75225
|  | 0.32692 | 0.75226
|  | 0.33148 | 0.75227
|  | 0.3361 | 0.75228
|  | 0.34079 | 0.75229
|  | 0.34554 | 0.7523
|  | 0.35035 | 0.75231
|  | 0.35524 | 0.75232
|  | 0.36019 | 0.75234
|  | 0.36521 | 0.75235
|  | 0.3703 | 0.75236
|  | 0.37546 | 0.75237
|  | 0.3807 | 0.75239
|  | 0.386 | 0.7524
|  | 0.39138 | 0.75241
|  | 0.39684 | 0.75243
|  | 0.40237 | 0.75244
|  | 0.40798 | 0.75246
|  | 0.41367 | 0.75248
|  | 0.41943 | 0.75249
|  | 0.42528 | 0.75251
|  | 0.43121 | 0.75253
|  | 0.43722 | 0.75254
|  | 0.44331 | 0.75256
|  | 0.44949 | 0.75258
|  | 0.45576 | 0.7526
|  | 0.46211 | 0.75262
|  | 0.46855 | 0.75264
|  | 0.47508 | 0.75266
|  | 0.48171 | 0.75268
|  | 0.48842 | 0.7527
|  | 0.49523 | 0.75273
|  | 0.50213 | 0.75275
|  | 0.50913 | 0.75277
|  | 0.51623 | 0.7528
|  | 0.52342 | 0.75282
|  | 0.53072 | 0.75285
|  | 0.53812 | 0.75288
|  | 0.54562 | 0.7529
|  | 0.55323 | 0.75293
|  | 0.56094 | 0.75296
|  | 0.56876 | 0.75299
|  | 0.57668 | 0.75302
|  | 0.58472 | 0.75305
|  | 0.59287 | 0.75309
|  | 0.60114 | 0.75312
|  | 0.60952 | 0.75315
|  | 0.61801 | 0.75319
|  | 0.62663 | 0.75323
|  | 0.63536 | 0.75326
|  | 0.64422 | 0.7533
|  | 0.6532 | 0.75334
|  | 0.66231 | 0.75338
|  | 0.67154 | 0.75342
|  | 0.6809 | 0.75347
|  | 0.69039 | 0.75351
|  | 0.70001 | 0.75356
|  | 0.70977 | 0.7536
|  | 0.71967 | 0.75365
|  | 0.7297 | 0.7537
|  | 0.73987 | 0.75375
|  | 0.75018 | 0.7538
|  | 0.76064 | 0.75386
|  | 0.77124 | 0.75391
|  | 0.78199 | 0.75397
|  | 0.79289 | 0.75403
|  | 0.80395 | 0.75409
|  | 0.81515 | 0.75415
|  | 0.82652 | 0.75421
|  | 0.83804 | 0.75428
|  | 0.84972 | 0.75434
|  | 0.86156 | 0.75441
|  | 0.87357 | 0.75448
|  | 0.88575 | 0.75456
|  | 0.8981 | 0.75463
|  | 0.91062 | 0.75471
|  | 0.92331 | 0.75479
|  | 0.93618 | 0.75487
|  | 0.94923 | 0.75495
|  | 0.96246 | 0.75504
|  | 0.97588 | 0.75513
|  | 0.98948 | 0.75522
|  | 1.0033 | 0.75531
|  | 1.0173 | 0.75541
|  | 1.0314 | 0.75551
|  | 1.0458 | 0.75561
|  | 1.0604 | 0.75571
|  | 1.0752 | 0.75582
|  | 1.0902 | 0.75593
|  | 1.1054 | 0.75605
|  | 1.1208 | 0.75616
|  | 1.1364 | 0.75628
|  | 1.1522 | 0.75641
|  | 1.1683 | 0.75654
|  | 1.1846 | 0.75667
|  | 1.2011 | 0.7568
|  | 1.2178 | 0.75694
|  | 1.2348 | 0.75708
|  | 1.252 | 0.75723
|  | 1.2695 | 0.75738
|  | 1.2872 | 0.75754
|  | 1.3051 | 0.7577
|  | 1.3233 | 0.75786
|  | 1.3418 | 0.75803
|  | 1.3605 | 0.7582
|  | 1.3794 | 0.75838
|  | 1.3986 | 0.75856
|  | 1.4181 | 0.75875
|  | 1.4379 | 0.75895
|  | 1.458 | 0.75915
|  | 1.4783 | 0.75935
|  | 1.4989 | 0.75956
|  | 1.5198 | 0.75978
|  | 1.541 | 0.76
|  | 1.5624 | 0.76023
|  | 1.5842 | 0.76047
|  | 1.6063 | 0.76072
|  | 1.6287 | 0.76097
|  | 1.6514 | 0.76122
|  | 1.6744 | 0.76149
|  | 1.6978 | 0.76176
|  | 1.7214 | 0.76204
|  | 1.7454 | 0.76233
|  | 1.7698 | 0.76263
|  | 1.7944 | 0.76293
|  | 1.8194 | 0.76325
|  | 1.8448 | 0.76357
|  | 1.8705 | 0.7639
|  | 1.8966 | 0.76425
|  | 1.923 | 0.7646
|  | 1.9498 | 0.76496
|  | 1.977 | 0.76534
|  | 2.0046 | 0.76572
|  | 2.0325 | 0.76612
|  | 2.0608 | 0.76652
|  | 2.0896 | 0.76694
|  | 2.1187 | 0.76737
|  | 2.1482 | 0.76782
|  | 2.1782 | 0.76827
|  | 2.2085 | 0.76874
|  | 2.2393 | 0.76923
|  | 2.2705 | 0.76972
|  | 2.3022 | 0.77024
|  | 2.3343 | 0.77076
|  | 2.3668 | 0.77131
|  | 2.3998 | 0.77187
|  | 2.4333 | 0.77244
|  | 2.4672 | 0.77304
|  | 2.5016 | 0.77365
|  | 2.5364 | 0.77428
|  | 2.5718 | 0.77492
|  | 2.6076 | 0.77559
|  | 2.644 | 0.77628
|  | 2.6809 | 0.77698
|  | 2.7182 | 0.77771
|  | 2.7561 | 0.77846
|  | 2.7945 | 0.77923
|  | 2.8335 | 0.78003
|  | 2.873 | 0.78085
|  | 2.913 | 0.7817
|  | 2.9536 | 0.78257
|  | 2.9948 | 0.78346
|  | 3.0366 | 0.78439
|  | 3.0789 | 0.78534
|  | 3.1218 | 0.78632
|  | 3.1653 | 0.78733
|  | 3.2094 | 0.78838
|  | 3.2542 | 0.78945
|  | 3.2995 | 0.79056
|  | 3.3455 | 0.7917
|  | 3.3922 | 0.79288
|  | 3.4395 | 0.7941
|  | 3.4874 | 0.79535
|  | 3.536 | 0.79664
|  | 3.5853 | 0.79797
|  | 3.6353 | 0.79935
|  | 3.686 | 0.80077
|  | 3.7373 | 0.80223
|  | 3.7894 | 0.80374
|  | 3.8423 | 0.8053
|  | 3.8958 | 0.80691
|  | 3.9501 | 0.80857
|  | 4.0052 | 0.81028
|  | 4.061 | 0.81205
|  | 4.1176 | 0.81388
|  | 4.175 | 0.81577
|  | 4.2332 | 0.81772
|  | 4.2922 | 0.81973
|  | 4.3521 | 0.82181
|  | 4.4127 | 0.82396
|  | 4.4742 | 0.82619
|  | 4.5366 | 0.82848
|  | 4.5998 | 0.83086
|  | 4.664 | 0.83331
|  | 4.729 | 0.83585
|  | 4.7949 | 0.83848
|  | 4.8617 | 0.8412
|  | 4.9295 | 0.84401
|  | 4.9982 | 0.84692
|  | 5.0679 | 0.84994
|  | 5.1385 | 0.85306
|  | 5.2101 | 0.85629
|  | 5.2828 | 0.85964
|  | 5.3564 | 0.86311
|  | 5.4311 | 0.86671
|  | 5.5068 | 0.87044
|  | 5.5835 | 0.87431
|  | 5.6614 | 0.87832
|  | 5.7403 | 0.88248
|  | 5.8203 | 0.88681
|  | 5.9014 | 0.89129
|  | 5.9837 | 0.89595
|  | 6.0671 | 0.90079
|  | 6.1517 | 0.90583
|  | 6.2374 | 0.91106
|  | 6.3244 | 0.9165
|  | 6.4125 | 0.92217
|  | 6.5019 | 0.92806
|  | 6.5926 | 0.9342
|  | 6.6845 | 0.9406
|  | 6.7776 | 0.94727
|  | 6.8721 | 0.95422
|  | 6.9679 | 0.96148
|  | 7.065 | 0.96905
|  | 7.1635 | 0.97697
|  | 7.2634 | 0.98524
|  | 7.3646 | 0.99389
|  | 7.4673 | 1.0029
|  | 7.5714 | 1.0124
|  | 7.6769 | 1.0223
|  | 7.7839 | 1.0328
|  | 7.8924 | 1.0437
|  | 8.0024 | 1.0552
|  | 8.114 | 1.0672
|  | 8.2271 | 1.0799
|  | 8.3418 | 1.0933
|  | 8.4581 | 1.1074
|  | 8.576 | 1.1223
|  | 8.6955 | 1.138
|  | 8.8167 | 1.1546
|  | 8.9396 | 1.1722
|  | 9.0642 | 1.1908
|  | 9.1906 | 1.2106
|  | 9.3187 | 1.2316
|  | 9.4486 | 1.254
|  | 9.5803 | 1.2779
|  | 9.7138 | 1.3034
|  | 9.8493 | 1.3307
|  | 9.9865 | 1.36
|  | 10.1258 | 1.3915
|  | 10.2669 | 1.4254
|  | 10.41 | 1.462
|  | 10.5551 | 1.5016
|  | 10.7023 | 1.5446
|  | 10.8514 | 1.5914
|  | 11.0027 | 1.6425
|  | 11.1561 | 1.6986
|  | 11.3116 | 1.7604
|  | 11.4693 | 1.8286
|  | 11.6291 | 1.9044
|  | 11.7912 | 1.9891
|  | 11.9556 | 2
|  | 12.1223 | 2
|  | 12.2912 | 2
|  | 12.4626 | 2
|  | 12.6363 | 2
|  | 12.8124 | 2
|  | 12.991 | 2
|  | 13.1721 | 2
|  | 13.3557 | 2
|  | 13.5419 | 2
|  | 13.7307 | 2
|  | 13.9221 | 2
|  | 14.1161 | 2
|  | 14.3129 | 2
|  | 14.5124 | 2
|  | 14.7147 | 2
|  | 14.8999 | 2
|  | 14.9198 | 2
|  | 15.1278 | 2
|  | 15.3387 | 2
|  | 15.5525 | 2
|  | 15.7693 | 2
|  | 15.9891 | 2
|  | 16.212 | 2
|  | 16.438 | 2
|  | 16.6671 | 2
|  | 16.8994 | 2
|  | 17.135 | 2
|  | 17.3739 | 2
|  | 17.616 | 1.8487
|  | 17.8616 | 1.6882
|  | 18.1106 | 1.5495
|  | 18.363 | 1.4286
|  | 18.619 | 1.3224
|  | 18.8785 | 1.2284
|  | 19.1417 | 1.1446
|  | 19.4085 | 1.0696
|  | 19.6791 | 1.002
|  | 19.9534 | 0.94091
|  | 20.2315 | 0.88534
|  | 20.5135 | 0.83464
|  | 20.7995 | 0.78822
|  | 21.0894 | 0.74558
|  | 21.3834 | 0.70628
|  | 21.6815 | 0.66997
|  | 21.9837 | 0.63634
|  | 22.2901 | 0.60509
|  | 22.6008 | 0.57602
|  | 22.9159 | 0.54889
|  | 23.2353 | 0.52355
|  | 23.5592 | 0.49982
|  | 23.8876 | 0.47756
|  | 24.2206 | 0.45665
|  | 24.5582 | 0.43698
|  | 24.9005 | 0.41845
|  | 25.2476 | 0.40097
|  | 25.5996 | 0.38445
|  | 25.9564 | 0.36884
|  | 26.3182 | 0.35405
|  | 26.6851 | 0.34003
|  | 27.0571 | 0.32673
|  | 27.4342 | 0.3141
|  | 27.8167 | 0.3021
|  | 28.2044 | 0.29068
|  | 28.5976 | 0.2798
|  | 28.9962 | 0.26943
|  | 29.4004 | 0.25955
|  | 29.8102 | 0.25012
|  | 30.2258 | 0.24111
|  | 30.6471 | 0.23249
|  | 31.0743 | 0.22426
|  | 31.5075 | 0.21638
|  | 31.9467 | 0.20884
|  | 32.392 | 0.20161
|  | 32.8435 | 0.19469
|  | 33.3013 | 0.18805
|  | 33.7655 | 0.18168
|  | 34.2362 | 0.17556
|  | 34.7134 | 0.16969
|  | 35.1973 | 0.16405
|  | 35.6879 | 0.15863
|  | 36.1854 | 0.15342
|  | 36.6898 | 0.1484
|  | 37.2013 | 0.14358
|  | 37.7198 | 0.13894
|  | 38.2456 | 0.13447
|  | 38.7787 | 0.13016
|  | 39.3193 | 0.12601
|  | 39.8674 | 0.12202
|  | 40.4231 | 0.11816
|  | 40.9866 | 0.11445
|  | 41.5579 | 0.11086
|  | 42.1372 | 0.1074
|  | 42.7246 | 0.10407
|  | 43.3201 | 0.10085
|  | 43.924 | 0.097735
|  | 44.5363 | 0.094731
|  | 45.1571 | 0.091829
|  | 45.7866 | 0.089026
|  | 46.4248 | 0.086317
|  | 47.0719 | 0.083698
|  | 47.7281 | 0.081167
|  | 48.3934 | 0.078719
|  | 49.068 | 0.076352
|  | 49.752 | 0.074062
|  | 50.4455 | 0.071847
|  | 51.1486 | 0.069704
|  | 51.8616 | 0.06763
|  | 52.5846 | 0.065622
|  | 53.3176 | 0.063679
|  | 54.0608 | 0.061798
|  | 54.8144 | 0.059976
|  | 55.5784 | 0.058212
|  | 56.3532 | 0.056503
|  | 57.1387 | 0.054848
|  | 57.9352 | 0.053245
|  | 58.7428 | 0.051691
|  | 59.5616 | 0.050186
|  | 60.3919 | 0.048727
|  | 61.2337 | 0.047313
|  | 62.0873 | 0.045942
|  | 62.9527 | 0.044613
|  | 63.8302 | 0.043325
|  | 64.72 | 0.042076
|  | 65.6222 | 0.040865
|  | 66.5369 | 0.03969
|  | 67.4644 | 0.038551
|  | 68.4048 | 0.037446
|  | 69.3583 | 0.036374
|  | 70.3252 | 0.035334
|  | 71.3055 | 0.034325
|  | 72.2994 | 0.033347
|  | 73.3072 | 0.032397
|  | 74.3291 | 0.031475
|  | 75.3652 | 0.030581
|  | 76.4157 | 0.029713
|  | 77.4809 | 0.028871
|  | 78.561 | 0.028053
|  | 79.6561 | 0.027259
|  | 80.7664 | 0.026489
|  | 81.8923 | 0.025741
|  | 83.0338 | 0.025015
|  | 84.1913 | 0.024309
|  | 85.3648 | 0.023625
|  | 86.5548 | 0.02296
|  | 87.7613 | 0.022315
|  | 88.9847 | 0.021688
|  | 90.2251 | 0.021079
|  | 91.4827 | 0.020488
|  | 92.758 | 0.019913
|  | 94.051 | 0.019356
|  | 95.362 | 0.018814
|  | 96.6913 | 0.018288
|  | 98.0391 | 0.017777
|  | 99.4057 | 0.01728
|  | 100.7914 | 0.016798

## Force vs Position
VCFL35(/M) Max Scan Force vs. Position
|  | Travel (mm) | Continuous Force (N)
|  | -1.75 | 0.6675
|  | -1.308 | 0.6675
|  | -0.808 | 0.71
|  | -0.308 | 0.71
Product Raw Data |  | 0 | 0.71
Voice Coil Flexure Scanner, 30 mm Beam Height |  | 0.692 | 0.71
|  | 1.192 | 0.712
Item # | MWWHD4 | 1.692 | 0.6675
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1.75 | 0.67
This data may be used in publications. However, please cite Thorlabs as the source.
Additional Information: