Thorlabs Piezoelectric Deformable Mirror Application + TLDFM VXIPnP Instrument Driver - Readme
The Thorlabs Piezoelectric Deformable Mirror Application is used to operate Thorlabs DMPxx-x Deformable Mirror Instruments.

The TLDFM instrument driver module provides programming support for Thorlabs DMP series instruments. The driver installs to into your system's VXIPnP directory. This is typically 'C:\Program Files\IVI Foundation\VISA\WinNT' or '\C:\VXIPNP\WinNT'. The instrument driver package was created with National Instruments LabWindows/CVI 12.0.1. The LabVIEW version of this driver was generated with LabVIEW Interface Generator for LabWindows/CVI Instrument Drivers 2.0 in conjunction with LabVIEW 8.5. The .NET managed library was generated by the National Instruments Measurement Studio plug-in for Visual Studio.NET 2010.

Note:
This software comes with additional software packages:
	- NI VISA runtime engine		http://www.ni.com/visa
	- NI CVI runtime engine		http://www.ni.com/cvi
	- MS .Net Framework		http://www.microsoft.com/net
	- ComponentOne Studio WPF	http://www.componentone.com/SuperProducts/StudioWPF
	- Infragistics WPF Controls	http://www.infragistics.com

License:
The Piezoelectric Deformable Mirror Application software is copyright Ó 2015, Thorlabs GmbH. For license details please see file License.rtf in the applications installation directory.
The TLDFM instrument driver libraries are copyright Ó 2015, Thorlabs GmbH.

Supported Platforms:
This software was verified with the following platforms:
	- Windows 7		32-bit and 64-bit version
	- Windows 8		32-bit and 64-bit version
	- Windows 8.1	32-bit and 64-bit version

Piezoelectric Deformable Mirror Application Change log:
V1.0	Apr-2014		Internal Prototype
V2.0	Jul-2014		Initial Release
V2.0.1	Aug-2014		Minor Bug fixes
V2.1	Sep-2014	Introduced Status Bar, refactored control area and added an segment index overlay
V2.2	Oct-2014		Introduced Temperature Chart and Temperature logging
V2.3	Oct-2015		Introduced Arm relaxing and improved Control Loop Feature

TLDFM VXIpnp Instrument Driver Changelog:
V1.0	Jan-2014		Internal Prototype
V2.0	Jul-2014		Initial Release
V2.1	Aug-2014		Added Zernike Voltage Pattern Calculation
V2.2	Nov-2014		Added Resource functions
V2.3	Sep-2015	Zernike and Relax Function moved to extension driver

TLDFMX VXIpnp Instrument Driver Changelog:
V1.0	Sep-2015	Initial Release