Thorlabs Optical Power Monitor Application + TLPM Instrument Driver - Readme
The Thorlabs Optical Power Monitor Application is used to operate the following Thorlabs Powermeters :
PM160x, PM16-series, PM400, PM101, PM100D, PM100A, PM100USB and PM200.

The TLPM driver installs to into your system's VXIPnP directory. This is typically 'C:\Program Files\IVI Foundation\VISA\WinNT' or '\C:\VXIPNP\WinNT'. The instrument driver package was created with MinGW32 V-4.8.1 and MinGW64 V-4.7.1.The LabVIEW version of this driver was generated with LabVIEW Interface Generator for LabWindows/CVI Instrument Drivers 2.0 in conjunction with LabVIEW 8.5. The .NET managed library was generated by the National Instruments Measurement Studio plug-in for Visual Studio.NET 2015.

Note:
This software comes with additional software packages:
	- MS .Net Framework	http://www.microsoft.com/net

License:
The Optical Power Monitor Application software is copyright Ó 2019, Thorlabs GmbH. For license details please see file License.rtf in the applications installation directory.
The TLPM instrument driver libraries are copyright Ó 2019, Thorlabs GmbH.

Supported Platforms:
This software was verified with the following platforms:
	- Windows 7 (SP1+)	32-bit and 64-bit version
	- Windows 8.1	32-bit and 64-bit version
 	- Windows 10         	32-bit and 64-bit version

Optical Power Monitor Application Change log:

V2.0   Aug-2019
        Bug Fixes:
        - For the pyro sensor the NaN values don't increase the samples counter.
        - The beam size in Y-direction for rectangular beam shape is saved\loaded.
        - The Graph and Statistics view display recorded time correctly.
        - Input Filter state setting is displayed for all power meters with this hardware capability.
        - For the x axis in the graph view the place between the time stamps is now equidistant.
        - Application checks for updates if this option was actvated.
        - PM160/PM16 show the correct range
        New Features:
        - Added support for power meters that use the NI-Visa USB driver
        - Added support for PM101 power meters.
        - Added support for TSP01 and TSP01 rev. B.
        - Added support for thermopile 4Q sensors
        - The wavelength value for the PM100USB and PM16 is saved
        - Each device has now a color indicator in the main view.
        - Auto Range can be disabled for the PM160/PM16
        - A confirmation dialog is opened when the user tries to close the application during logging.
        Changes:
        - Statistics\Graph saved files have the same formatting for the numbers as the monitoring file.
        - Only the selected device can be disconnected from the user interface.

V1.1   September-2018    
        - Adapter type can be selected in the settings.(Adapter)
        - Trigger Level was added to the settings. (Pyro Sensor)
        - Bug: Application crash when a device is disconnected. (Fixed)   
  
V1.0	March-2018	Initial Release

TLPM VXIpnp Instrument Driver Changelog:

V5.0    Aug-2019
         - TLPM Find Resource lists all serial device with vendor ID 0x1313.
         - Support for 4Q sensor.
         - Support for PM101 and PM102 methods.
         - Customer calibration methods used with: PM101, PM102 and PM400 (firmware 1.2.8 and newer).

V4.3  	 September-2018
        - USB connection and all allocated resources are released in the close function. LabView can be closed after calling the close function for each opened device. 
        - Change for pyro sensors: Meas functions of the driver internally use the config/fetch commands

V4.2	March-2018	
	Initial Release