Thorlabs MCLS1- Readme 
Use this software to operate Multi-Channel Fiber-Coupled Laser Source (MCLS1).

License:
This software is copyright ©2021-2024, Thorlabs Shanghai. For license details please see file Thorlabs End-user License.rtf.

Supported platforms:                                                                                                                                                                                         
This software was verified with the following platforms:
 - Windows® 7 SP1 updated with KB3020369 and KB3125574 (32-bit and 64-bit Operating System)
 - Windows® 10 (64-bit version Operating System)
 - Windows® 11

Additional Software
Microsoft .Net Framework 4.6.2 Full Profile or higher version is required. The install program will check and download it from the internet if necessary.

Changelog

Oct-09-2015 - Release V2.0.0
1.	Change Graphic user interface layout.
2.	Disable operation on unselected channel in the software

Jul-21-2016 – Release V2.0.1
1.	Change to use windows com port library for connection

May-15-2019 - Release V2.1.0
1.	Add Thorlabs digital signature and LabVIEW SDK
2.	Fix bugs and make installer with Nsis;
3.	Update the driver to FTDI_Driver_V2.12.28

Jan-18-2021 – Release V3.0.0
1.	Do not support Windows 7 SP1 anymore
2.	New GUI

Mar-4-2024 – Release V3.0.1
1.	Fix the display issue in German